## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63915 | 2021-04-02 17:17 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.9318 | μmol/L | 34.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.287 | 130254.5045 | 274011.7408 | 26.25 | 74
63925 | 2021-04-02 17:18 | 0.32783 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.8214 | μmol/L | 34.8203 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.297 | 130356.1694 | 274003.1681 | 26.25 | 74
63935 | 2021-04-02 17:18 | 0.66069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.8301 | μmol/L | 34.8081 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.301 | 130369.7896 | 273982.8524 | 26.25 | 74
63945 | 2021-04-02 17:18 | 0.99429 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.6438 | μmol/L | 34.8081 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.314 | 130450.091 | 273968.7364 | 26.25 | 74
63955 | 2021-04-02 17:19 | 1.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.4994 | μmol/L | 34.7897 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.331 | 130572.3142 | 273944.2753 | 26.25 | 74
63965 | 2021-04-02 17:19 | 1.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.272 | μmol/L | 34.8081 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.34 | 130587.8737 | 273934.6453 | 26.25 | 74
63975 | 2021-04-02 17:19 | 1.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.6583 | μmol/L | 34.8693 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.36 | 130728.4113 | 273921.1385 | 26.25 | 74
63985 | 2021-04-02 17:20 | 2.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.4364 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.371 | 130833.0863 | 273893.4246 | 26.25 | 74
63995 | 2021-04-02 17:20 | 2.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.5186 | μmol/L | 34.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.386 | 130914.9765 | 273892.8006 | 26.25 | 74
64005 | 2021-04-02 17:20 | 2.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.174 | μmol/L | 34.8326 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.408 | 131057.3337 | 273885.9867 | 26.25 | 74
64015 | 2021-04-02 17:21 | 3.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.4891 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.438 | 131235.4816 | 273869.8516 | 26.25 | 74
64025 | 2021-04-02 17:21 | 3.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2793 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.439 | 131273.268 | 273859.5405 | 26.25 | 74
64035 | 2021-04-02 17:21 | 3.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1292 | μmol/L | 34.9121 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.452 | 131345.6005 | 273843.8109 | 26.25 | 74
64045 | 2021-04-02 17:22 | 4.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9422 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.463 | 131402.6081 | 273823.5365 | 26.25 | 74
64055 | 2021-04-02 17:22 | 4.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8109 | μmol/L | 34.906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.477 | 131461.5607 | 273815.5231 | 26.25 | 74
64065 | 2021-04-02 17:22 | 4.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7733 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.482 | 131507.9566 | 273790.9241 | 26.25 | 74
64075 | 2021-04-02 17:23 | 5.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4795 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.503 | 131644.3957 | 273770.6875 | 26.25 | 74
64085 | 2021-04-02 17:23 | 5.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.2192 | μmol/L | 34.9121 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.517 | 131734.5114 | 273770.1772 | 26.25 | 74
64095 | 2021-04-02 17:23 | 5.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.0425 | μmol/L | 34.906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.532 | 131835.7999 | 273760.345 | 26.25 | 74
64105 | 2021-04-02 17:24 | 6.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.9037 | μmol/L | 34.9244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.535 | 131863.3657 | 273726.4993 | 26.25 | 74
64115 | 2021-04-02 17:24 | 6.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.0092 | μmol/L | 34.8754 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.546 | 131922.758 | 273721.2636 | 26.25 | 74
64125 | 2021-04-02 17:24 | 6.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.5694 | μmol/L | 34.8877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.573 | 132094.323 | 273711.5727 | 26.25 | 74
64135 | 2021-04-02 17:25 | 7.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.145 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.599 | 132267.2774 | 273686.4092 | 26.25 | 74
64145 | 2021-04-02 17:25 | 7.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.0061 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.623 | 132413.8363 | 273673.7675 | 26.25 | 74
64155 | 2021-04-02 17:25 | 7.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.8864 | μmol/L | 34.857 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.634 | 132470.0639 | 273661.1675 | 26.25 | 74
64165 | 2021-04-02 17:26 | 8.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.7258 | μmol/L | 34.8693 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.641 | 132495.3429 | 273652.3728 | 26.25 | 74
64175 | 2021-04-02 17:26 | 8.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.6524 | μmol/L | 34.8754 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.644 | 132534.2761 | 273626.3814 | 26.25 | 74
64185 | 2021-04-02 17:26 | 8.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.4323 | μmol/L | 34.8754 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.66 | 132628.1192 | 273624.6097 | 26.25 | 74
64195 | 2021-04-02 17:27 | 9.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.2216 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.68 | 132743.2871 | 273611.3663 | 26.25 | 74
64205 | 2021-04-02 17:27 | 9.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.7699 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.699 | 132851.3725 | 273585.5746 | 26.25 | 74
64215 | 2021-04-02 17:27 | 9.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.8654 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.706 | 132916.77 | 273572.3709 | 26.25 | 74
64225 | 2021-04-02 17:28 | 10.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.7424 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.715 | 132982.287 | 273565.2848 | 26.25 | 74
64235 | 2021-04-02 17:28 | 10.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.3603 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.736 | 133100.4833 | 273545.1695 | 26.25 | 74
64245 | 2021-04-02 17:28 | 10.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.3285 | μmol/L | 34.8509 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.75 | 133181.8923 | 273532.0714 | 26.25 | 74
64255 | 2021-04-02 17:29 | 11.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8979 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.77 | 133310.5716 | 273523.7395 | 26.25 | 74
64265 | 2021-04-02 17:29 | 11.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8844 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.778 | 133371.5642 | 273507.7895 | 26.25 | 74
64275 | 2021-04-02 17:29 | 11.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8437 | μmol/L | 34.8448 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.788 | 133460.7373 | 273496.0395 | 26.25 | 74
64285 | 2021-04-02 17:30 | 12.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.6043 | μmol/L | 34.8387 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.808 | 133555.4178 | 273474.9943 | 26.25 | 74
64295 | 2021-04-02 17:30 | 12.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.3697 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.816 | 133631.0175 | 273474.8108 | 26.25 | 74
64305 | 2021-04-02 17:30 | 12.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.2347 | μmol/L | 34.8632 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.826 | 133686.2335 | 273463.8008 | 26.25 | 74
64315 | 2021-04-02 17:31 | 13.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.1313 | μmol/L | 34.857 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.836 | 133751.3142 | 273450.0642 | 26.25 | 74
64325 | 2021-04-02 17:31 | 13.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.0099 | μmol/L | 34.857 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.845 | 133807.986 | 273424.3545 | 26.25 | 74
64335 | 2021-04-02 17:31 | 13.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.7807 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.848 | 133827.5317 | 273411.2814 | 26.25 | 74
64345 | 2021-04-02 17:32 | 14.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.5427 | μmol/L | 34.9244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.854 | 133872.2243 | 273396.3097 | 26.25 | 74
64355 | 2021-04-02 17:32 | 14.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.6596 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.857 | 133922.7496 | 273379.735 | 26.25 | 74
64365 | 2021-04-02 17:32 | 14.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.5479 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.87 | 133965.1737 | 273375.9683 | 26.25 | 74
64375 | 2021-04-02 17:33 | 15.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.2254 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.88 | 134054.2965 | 273364.8042 | 26.25 | 74
64385 | 2021-04-02 17:33 | 15.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.0108 | μmol/L | 34.9366 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.889 | 134108.772 | 273350.967 | 26.25 | 74
64395 | 2021-04-02 17:33 | 15.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.0697 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.901 | 134187.4539 | 273333.1827 | 26.25 | 74
64405 | 2021-04-02 17:34 | 16.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.0162 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.905 | 134218.9488 | 273337.0218 | 26.25 | 74
64415 | 2021-04-02 17:34 | 16.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.8738 | μmol/L | 34.8877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.918 | 134305.8695 | 273316.5906 | 26.25 | 74
64425 | 2021-04-02 17:34 | 16.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.9638 | μmol/L | 34.8387 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.93 | 134369.0897 | 273291.9436 | 26.25 | 74
64435 | 2021-04-02 17:35 | 17.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.4959 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.944 | 134467.0328 | 273283.7204 | 26.25 | 74
64445 | 2021-04-02 17:35 | 17.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.2075 | μmol/L | 34.906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.961 | 134596.0962 | 273277.0781 | 26.25 | 74
64455 | 2021-04-02 17:35 | 17.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.1682 | μmol/L | 34.8877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.971 | 134640.3573 | 273268.1336 | 26.25 | 74
64465 | 2021-04-02 17:36 | 18.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 152.8229 | μmol/L | 34.906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.99 | 134760.3216 | 273274.8155 | 26.25 | 74
64475 | 2021-04-02 17:36 | 18.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 152.4336 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.003 | 134870.2732 | 273247.4442 | 26.25 | 74
64485 | 2021-04-02 17:36 | 18.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 152.3459 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.012 | 134910.5012 | 273223.8156 | 26.25 | 74
64495 | 2021-04-02 17:37 | 19.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 151.9445 | μmol/L | 34.9856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.026 | 135001.9993 | 273212.4954 | 26.25 | 74
64505 | 2021-04-02 17:37 | 19.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 151.7257 | μmol/L | 34.9795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.045 | 135117.0553 | 273203.2093 | 26.25 | 74
64515 | 2021-04-02 17:37 | 19.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 151.7274 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.059 | 135215.9436 | 273175.359 | 26.25 | 74
64525 | 2021-04-02 17:38 | 20.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 151.2074 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.094 | 135454.6047 | 273191.9076 | 26.25 | 74
64535 | 2021-04-02 17:38 | 20.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 150.9603 | μmol/L | 34.9366 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.12 | 135629.9705 | 273156.7079 | 26.25 | 74
64545 | 2021-04-02 17:38 | 20.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 150.5204 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.142 | 135734.1376 | 273146.8364 | 26.25 | 74
64555 | 2021-04-02 17:39 | 21.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 150.4128 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.155 | 135824.4917 | 273137.3521 | 26.25 | 74
64565 | 2021-04-02 17:39 | 21.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 150.1523 | μmol/L | 34.9734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.168 | 135919.2916 | 273125.624 | 26.25 | 74
64575 | 2021-04-02 17:39 | 21.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.9452 | μmol/L | 34.9734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.184 | 136016.8745 | 273114.1564 | 26.25 | 74
64585 | 2021-04-02 17:40 | 22.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.5635 | μmol/L | 35.0162 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.197 | 136100.6478 | 273106.8712 | 26.25 | 74
64595 | 2021-04-02 17:40 | 22.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.6305 | μmol/L | 34.9795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.206 | 136181.9056 | 273101.7347 | 26.25 | 74
64605 | 2021-04-02 17:40 | 22.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.1563 | μmol/L | 35.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.231 | 136323.7549 | 273082.2352 | 26.25 | 74
64615 | 2021-04-02 17:41 | 23.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 149.0947 | μmol/L | 34.9734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.25 | 136460.3928 | 273076.0892 | 26.25 | 74
64625 | 2021-04-02 17:41 | 23.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.8941 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.268 | 136584.7367 | 273059.4932 | 26.25 | 74
64635 | 2021-04-02 17:41 | 23.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.6097 | μmol/L | 35.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.276 | 136610.5025 | 273040.5401 | 26.25 | 74
64645 | 2021-04-02 17:42 | 24.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.8044 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.275 | 136595.5686 | 273053.7143 | 26.25 | 74
64655 | 2021-04-02 17:42 | 24.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.6265 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.296 | 136734.1971 | 273043.3626 | 26.25 | 74
64665 | 2021-04-02 17:42 | 24.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4046 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.311 | 136825.7356 | 273026.3143 | 26.25 | 74
64675 | 2021-04-02 17:43 | 25.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.2341 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.322 | 136901.1434 | 273020.5818 | 26.25 | 74
64685 | 2021-04-02 17:43 | 25.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.1892 | μmol/L | 34.9366 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.335 | 136936.9428 | 272998.759 | 26.25 | 74
64695 | 2021-04-02 17:43 | 25.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.143 | μmol/L | 34.9305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.341 | 136986.3761 | 272992.0217 | 26.25 | 74
64705 | 2021-04-02 17:44 | 26.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.9568 | μmol/L | 34.9244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.358 | 137110.6101 | 272978.4166 | 26.25 | 74
64715 | 2021-04-02 17:44 | 26.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.001 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.364 | 137155.8964 | 272977.7451 | 26.25 | 74
64725 | 2021-04-02 17:44 | 26.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.5699 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.379 | 137256.9681 | 272961.4424 | 26.25 | 74
64735 | 2021-04-02 17:45 | 27.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.3561 | μmol/L | 34.9305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.403 | 137414.4658 | 272963.882 | 26.25 | 74
64745 | 2021-04-02 17:45 | 27.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 147.0403 | μmol/L | 34.9305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.428 | 137586.0578 | 272952.0635 | 26.25 | 74
64755 | 2021-04-02 17:45 | 27.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.7694 | μmol/L | 34.906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.459 | 137787.0071 | 272943.8608 | 26.25 | 74
64765 | 2021-04-02 17:46 | 28.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.5023 | μmol/L | 34.8938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.485 | 137974.005 | 272934.9341 | 26.25 | 74
64775 | 2021-04-02 17:46 | 28.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.1575 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.503 | 138069.6563 | 272934.4592 | 26.25 | 74
64785 | 2021-04-02 17:46 | 28.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.0371 | μmol/L | 34.9121 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.515 | 138137.6521 | 272920.1064 | 26.25 | 74
64795 | 2021-04-02 17:47 | 29.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.0356 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.527 | 138233.9177 | 272913.1154 | 26.25 | 74
64805 | 2021-04-02 17:47 | 29.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.6875 | μmol/L | 34.9121 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.543 | 138357.4555 | 272894.7579 | 26.25 | 74
64815 | 2021-04-02 17:47 | 29.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.5332 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.553 | 138418.1611 | 272892.0913 | 26.25 | 74
64825 | 2021-04-02 17:48 | 30.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.5989 | μmol/L | 34.8815 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.562 | 138468.7669 | 272888.6406 | 26.25 | 74
64835 | 2021-04-02 17:48 | 30.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.3093 | μmol/L | 34.9183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.571 | 138500.2478 | 272868.1326 | 26.25 | 74
64845 | 2021-04-02 17:48 | 30.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.0793 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.58 | 138594.3781 | 272861.9967 | 26.25 | 74
64855 | 2021-04-02 17:49 | 31.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.0811 | μmol/L | 34.9244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.587 | 138663.7357 | 272858.4729 | 26.25 | 74
64865 | 2021-04-02 17:49 | 31.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.9695 | μmol/L | 34.9244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.596 | 138716.4118 | 272847.6383 | 26.25 | 74
64875 | 2021-04-02 17:49 | 31.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.5727 | μmol/L | 34.9734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.609 | 138814.3441 | 272839.7178 | 26.25 | 74
64885 | 2021-04-02 17:50 | 32.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.5452 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.616 | 138868.096 | 272839.6985 | 26.25 | 74
64895 | 2021-04-02 17:50 | 32.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.5224 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.625 | 138914.8353 | 272835.1815 | 26.25 | 74
64905 | 2021-04-02 17:50 | 32.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.3895 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.631 | 138983.9325 | 272825.04 | 26.25 | 74
64915 | 2021-04-02 17:51 | 33.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.1971 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.649 | 139072.1541 | 272810.1815 | 26.25 | 74
64925 | 2021-04-02 17:51 | 33.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.0966 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.65 | 139103.0678 | 272791.4015 | 26.25 | 74
64935 | 2021-04-02 17:51 | 33.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.0863 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.658 | 139137.6959 | 272799.7959 | 26.25 | 74
64945 | 2021-04-02 17:52 | 34.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.0371 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.662 | 139147.1997 | 272778.7416 | 26.25 | 74
64955 | 2021-04-02 17:52 | 34.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.9879 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.666 | 139192.83 | 272787.4127 | 26.25 | 74
64965 | 2021-04-02 17:52 | 34.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.7158 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.681 | 139302.2694 | 272762.9262 | 26.25 | 74
64975 | 2021-04-02 17:53 | 35.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.5389 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.705 | 139441.2049 | 272764.2548 | 26.25 | 74
64985 | 2021-04-02 17:53 | 35.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.2678 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.72 | 139551.7555 | 272765.1881 | 26.25 | 74
64995 | 2021-04-02 17:53 | 35.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.1457 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.73 | 139628.1216 | 272742.4115 | 26.25 | 74
65005 | 2021-04-02 17:54 | 36.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.8484 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.752 | 139759.3801 | 272735.924 | 26.25 | 74
65015 | 2021-04-02 17:54 | 36.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.5714 | μmol/L | 34.9795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.77 | 139889.9406 | 272725.0585 | 26.25 | 74
65025 | 2021-04-02 17:54 | 36.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.2733 | μmol/L | 35.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.785 | 140021.4167 | 272726.9469 | 26.25 | 74
65035 | 2021-04-02 17:55 | 37.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.2657 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.8 | 140092.4687 | 272724.3692 | 26.25 | 74
65045 | 2021-04-02 17:55 | 37.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.1472 | μmol/L | 34.9795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.805 | 140148.5484 | 272706.9869 | 26.25 | 74
65055 | 2021-04-02 17:55 | 37.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.9587 | μmol/L | 35.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.811 | 140187.931 | 272694.1164 | 26.25 | 74
65065 | 2021-04-02 17:56 | 38.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.6162 | μmol/L | 35.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.837 | 140385.8569 | 272680.3365 | 26.25 | 74
65075 | 2021-04-02 17:56 | 38.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.3467 | μmol/L | 35.0162 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.857 | 140481.2916 | 272688.4781 | 26.25 | 74
65085 | 2021-04-02 17:56 | 38.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.905 | μmol/L | 35.0591 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.877 | 140648.3284 | 272691.2154 | 26.25 | 74
65095 | 2021-04-02 17:57 | 39.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.6034 | μmol/L | 35.0774 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.895 | 140717.6791 | 272677.556 | 26.25 | 74
65105 | 2021-04-02 17:57 | 39.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.6108 | μmol/L | 35.0529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.904 | 140786.2875 | 272666.786 | 26.25 | 74
65115 | 2021-04-02 17:57 | 39.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.6302 | μmol/L | 35.0285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.912 | 140829.0518 | 272647.7576 | 26.25 | 74
65125 | 2021-04-02 17:58 | 40.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.5873 | μmol/L | 35.0223 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.918 | 140879.5388 | 272634.1006 | 26.25 | 74
65135 | 2021-04-02 17:58 | 40.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.3369 | μmol/L | 35.0223 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.939 | 141022.4914 | 272650.9733 | 26.25 | 74
65145 | 2021-04-02 17:58 | 40.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.0892 | μmol/L | 35.0346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.955 | 141146.6029 | 272636.4695 | 26.25 | 74
65155 | 2021-04-02 17:59 | 41.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.9585 | μmol/L | 35.0346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.966 | 141212.2246 | 272635.8868 | 26.25 | 74
65165 | 2021-04-02 17:59 | 41.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.8922 | μmol/L | 35.0285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.974 | 141295.1429 | 272632.6154 | 26.25 | 74
65175 | 2021-04-02 17:59 | 41.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.7596 | μmol/L | 35.0162 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.99 | 141376.9888 | 272621.7415 | 26.25 | 74
65185 | 2021-04-02 18:00 | 42.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.3047 | μmol/L | 35.0529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.014 | 141488.2908 | 272614.1179 | 26.25 | 74
65195 | 2021-04-02 18:00 | 42.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.2061 | μmol/L | 35.0285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.032 | 141639.9593 | 272615.9051 | 26.25 | 74
65205 | 2021-04-02 18:00 | 42.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.1076 | μmol/L | 35.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 141774.4991 | 272601.9815 | 26.25 | 74
65215 | 2021-04-02 18:01 | 43.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.8978 | μmol/L | 35.0162 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.063 | 141860.1415 | 272594.45 | 26.25 | 74
65225 | 2021-04-02 18:01 | 43.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.6766 | μmol/L | 35.0285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.077 | 141939.0465 | 272582.7964 | 26.25 | 74
65235 | 2021-04-02 18:01 | 43.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.6442 | μmol/L | 35.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 142023.0128 | 272579.5005 | 26.25 | 74
65245 | 2021-04-02 18:02 | 44.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.4195 | μmol/L | 34.9978 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.111 | 142164.203 | 272571.4893 | 26.25 | 74
65255 | 2021-04-02 18:02 | 44.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.1759 | μmol/L | 35.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.127 | 142256.9619 | 272559.408 | 26.25 | 74
65265 | 2021-04-02 18:02 | 44.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.1203 | μmol/L | 34.9917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.139 | 142333.9296 | 272567.7654 | 26.25 | 74
65275 | 2021-04-02 18:03 | 45.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.0813 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.152 | 142432.7628 | 272560.868 | 26.25 | 74
65285 | 2021-04-02 18:03 | 45.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.7987 | μmol/L | 34.9856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.169 | 142557.3004 | 272548.3577 | 26.25 | 74
65295 | 2021-04-02 18:03 | 45.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.6484 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.194 | 142706.3156 | 272553.0489 | 26.25 | 74
65305 | 2021-04-02 18:04 | 46.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.4809 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 142810.5577 | 272538.8644 | 26.25 | 74
65315 | 2021-04-02 18:04 | 46.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.3977 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 142898.1557 | 272524.7598 | 26.25 | 74
65325 | 2021-04-02 18:04 | 46.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.1863 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 142976.4425 | 272540.1394 | 26.25 | 74
65335 | 2021-04-02 18:05 | 47.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.8742 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.256 | 143123.8601 | 272530.0904 | 26.25 | 74
65345 | 2021-04-02 18:05 | 47.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.8396 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 143191.0485 | 272528.7895 | 26.25 | 74
65355 | 2021-04-02 18:05 | 47.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.7387 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.275 | 143293.7653 | 272520.9997 | 26.25 | 74
65365 | 2021-04-02 18:06 | 48.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.5592 | μmol/L | 34.9427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.293 | 143405.424 | 272527.1172 | 26.25 | 74
65375 | 2021-04-02 18:06 | 48.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.3474 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.309 | 143516.2882 | 272511.498 | 26.25 | 74
65385 | 2021-04-02 18:06 | 48.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.069 | μmol/L | 34.9672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.326 | 143615.1227 | 272505.6252 | 26.25 | 74
65395 | 2021-04-02 18:07 | 49.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.9232 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.346 | 143760.586 | 272503.3007 | 26.25 | 74
65405 | 2021-04-02 18:07 | 49.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.8232 | μmol/L | 34.9305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.362 | 143907.618 | 272501.9493 | 26.25 | 74
65415 | 2021-04-02 18:07 | 49.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.587 | μmol/L | 34.955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.373 | 143974.81 | 272500.9889 | 26.25 | 74
65425 | 2021-04-02 18:08 | 50.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.4322 | μmol/L | 34.9489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.389 | 144091.1487 | 272489.474 | 26.25 | 74
65435 | 2021-04-02 18:08 | 50.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.229 | μmol/L | 34.9611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.402 | 144170.3949 | 272491.692 | 26.25 | 74
65445 | 2021-04-02 18:08 | 50.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.0895 | μmol/L | 34.9795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.407 | 144237.6143 | 272485.6115 | 26.25 | 74