## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63916 | 2021-04-02 17:17 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.203 | μmol/L | 34.2907 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.833 | 131845.0568 | 273629.5584 | 32.55 | 27.7
63926 | 2021-04-02 17:18 | 0.33204 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.7954 | μmol/L | 34.3091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.853 | 131932.5126 | 273608.9149 | 32.55 | 27.7
63936 | 2021-04-02 17:18 | 0.66473 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9863 | μmol/L | 34.4136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.868 | 132008.99 | 273568.7912 | 32.55 | 27.7
63946 | 2021-04-02 17:18 | 0.99828 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.3849 | μmol/L | 34.3583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.862 | 131992.1776 | 273532.3762 | 32.55 | 27.7
63956 | 2021-04-02 17:19 | 1.332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.2597 | μmol/L | 34.3644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.868 | 132018.7393 | 273527.0026 | 32.55 | 27.7
63966 | 2021-04-02 17:19 | 1.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.0702 | μmol/L | 34.3767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.876 | 132041.7561 | 273517.8325 | 32.55 | 27.7
63976 | 2021-04-02 17:19 | 1.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.1765 | μmol/L | 34.3521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.878 | 132046.7764 | 273482.1338 | 32.55 | 27.7
63986 | 2021-04-02 17:20 | 2.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9067 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.871 | 131969.2532 | 273465.5862 | 32.55 | 27.7
63996 | 2021-04-02 17:20 | 2.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9521 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.868 | 131992.8154 | 273432.734 | 32.55 | 27.7
64006 | 2021-04-02 17:20 | 2.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.8462 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.875 | 132048.9119 | 273414.2749 | 32.55 | 27.7
64016 | 2021-04-02 17:21 | 3.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9184 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.877 | 131994.7429 | 273387.1839 | 32.55 | 27.7
64026 | 2021-04-02 17:21 | 3.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.7936 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.883 | 132030.0578 | 273371.9374 | 32.55 | 27.7
64036 | 2021-04-02 17:21 | 3.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.738 | μmol/L | 34.3521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.907 | 132183.6682 | 273360.2165 | 32.55 | 27.7
64046 | 2021-04-02 17:22 | 4.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.2062 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.931 | 132362.1035 | 273333.8085 | 32.55 | 27.7
64056 | 2021-04-02 17:22 | 4.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3572 | μmol/L | 34.3583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.93 | 132359.3066 | 273333.6001 | 32.55 | 27.7
64066 | 2021-04-02 17:22 | 4.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3259 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.914 | 132265.9759 | 273321.9167 | 32.55 | 27.7
64076 | 2021-04-02 17:23 | 5.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3868 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.919 | 132253.4199 | 273303.4861 | 32.55 | 27.7
64086 | 2021-04-02 17:23 | 5.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.1977 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.918 | 132241.5069 | 273286.1586 | 32.55 | 27.7
64096 | 2021-04-02 17:23 | 5.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.1447 | μmol/L | 34.432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.917 | 132245.4783 | 273288.5506 | 32.55 | 27.7
64106 | 2021-04-02 17:24 | 6.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.0774 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.926 | 132295.0095 | 273270.6039 | 32.55 | 27.7
64116 | 2021-04-02 17:24 | 6.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.9532 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.932 | 132337.6342 | 273256.6764 | 32.55 | 27.7
64126 | 2021-04-02 17:24 | 6.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.9657 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.947 | 132417.8818 | 273244.2032 | 32.55 | 27.7
64136 | 2021-04-02 17:25 | 7.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6919 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.963 | 132495.3585 | 273223.0492 | 32.55 | 27.7
64146 | 2021-04-02 17:25 | 7.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6319 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.967 | 132535.2572 | 273209.8733 | 32.55 | 27.7
64156 | 2021-04-02 17:25 | 7.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.5909 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.972 | 132548.012 | 273204.6639 | 32.55 | 27.7
64166 | 2021-04-02 17:26 | 8.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.7564 | μmol/L | 34.3583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.97 | 132538.3296 | 273190.1014 | 32.55 | 27.7
64176 | 2021-04-02 17:26 | 8.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4287 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.967 | 132490.4149 | 273177.9065 | 32.55 | 27.7
64186 | 2021-04-02 17:26 | 8.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6619 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.965 | 132458.1808 | 273162.2092 | 32.55 | 27.7
64196 | 2021-04-02 17:27 | 9.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4901 | μmol/L | 34.3767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.981 | 132518.6795 | 273156.8627 | 32.55 | 27.7
64206 | 2021-04-02 17:27 | 9.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4106 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.975 | 132523.3011 | 273169.0019 | 32.55 | 27.7
64216 | 2021-04-02 17:27 | 9.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.3737 | μmol/L | 34.3951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.982 | 132540.5803 | 273141.0324 | 32.55 | 27.7
64226 | 2021-04-02 17:28 | 10.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.5741 | μmol/L | 34.3153 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.998 | 132630.6103 | 273133.2663 | 32.55 | 27.7
64236 | 2021-04-02 17:28 | 10.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4369 | μmol/L | 34.2722 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.023 | 132796.642 | 273118.0676 | 32.55 | 27.7
64246 | 2021-04-02 17:28 | 10.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5997 | μmol/L | 34.3705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.043 | 132936.434 | 273107.3195 | 32.55 | 27.7
64256 | 2021-04-02 17:29 | 11.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.9604 | μmol/L | 34.2477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.064 | 133076.9284 | 273098.2177 | 32.55 | 27.7
64266 | 2021-04-02 17:29 | 11.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.2486 | μmol/L | 34.3398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.078 | 133144.6084 | 273076.857 | 32.55 | 27.7
64276 | 2021-04-02 17:29 | 11.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9675 | μmol/L | 34.3398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.097 | 133288.8709 | 273069.917 | 32.55 | 27.7
64286 | 2021-04-02 17:30 | 12.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8789 | μmol/L | 34.3398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.103 | 133317.2161 | 273059.584 | 32.55 | 27.7
64296 | 2021-04-02 17:30 | 12.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9675 | μmol/L | 34.3398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.097 | 133247.7387 | 273037.9158 | 32.55 | 27.7
64306 | 2021-04-02 17:30 | 12.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.216 | μmol/L | 34.3214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.087 | 133183.894 | 273041.1098 | 32.55 | 27.7
64316 | 2021-04-02 17:31 | 13.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.2151 | μmol/L | 34.346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.078 | 133129.0428 | 273032.7217 | 32.55 | 27.7
64326 | 2021-04-02 17:31 | 13.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.1519 | μmol/L | 34.3521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.08 | 133112.457 | 273030.341 | 32.55 | 27.7
64336 | 2021-04-02 17:31 | 13.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.1736 | μmol/L | 34.3644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.074 | 133086.0072 | 273018.767 | 32.55 | 27.7
64346 | 2021-04-02 17:32 | 14.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9034 | μmol/L | 34.3705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.09 | 133151.9514 | 273010.1497 | 32.55 | 27.7
64356 | 2021-04-02 17:32 | 14.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7585 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.093 | 133184.6917 | 272999.421 | 32.55 | 27.7
64366 | 2021-04-02 17:32 | 14.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7143 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.096 | 133191.1581 | 272986.7479 | 32.55 | 27.7
64376 | 2021-04-02 17:33 | 15.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9016 | μmol/L | 34.3275 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.106 | 133253.7749 | 272975.4622 | 32.55 | 27.7
64386 | 2021-04-02 17:33 | 15.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7057 | μmol/L | 34.3337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.117 | 133357.379 | 272975.9685 | 32.55 | 27.7
64396 | 2021-04-02 17:33 | 15.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.3964 | μmol/L | 34.3337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.138 | 133458.9413 | 272962.6256 | 32.55 | 27.7
64406 | 2021-04-02 17:34 | 16.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.0385 | μmol/L | 34.3644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.151 | 133559.5879 | 272943.8402 | 32.55 | 27.7
64416 | 2021-04-02 17:34 | 16.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9958 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.138 | 133500.1104 | 272946.9791 | 32.55 | 27.7
64426 | 2021-04-02 17:34 | 16.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9731 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.135 | 133436.0626 | 272929.2581 | 32.55 | 27.7
64436 | 2021-04-02 17:35 | 17.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9584 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.136 | 133475.5286 | 272931.3846 | 32.55 | 27.7
64446 | 2021-04-02 17:35 | 17.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.7945 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.154 | 133593.3099 | 272918.2793 | 32.55 | 27.7
64456 | 2021-04-02 17:35 | 17.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3103 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.178 | 133741.6393 | 272915.2331 | 32.55 | 27.7
64466 | 2021-04-02 17:36 | 18.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.8608 | μmol/L | 34.4443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.202 | 133912.0651 | 272898.8877 | 32.55 | 27.7
64476 | 2021-04-02 17:36 | 18.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3732 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.231 | 134106.4348 | 272890.2412 | 32.55 | 27.7
64486 | 2021-04-02 17:36 | 18.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3442 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.233 | 134094.5163 | 272879.2493 | 32.55 | 27.7
64496 | 2021-04-02 17:37 | 19.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4063 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.231 | 134108.5503 | 272873.8612 | 32.55 | 27.7
64506 | 2021-04-02 17:37 | 19.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3071 | μmol/L | 34.4688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.231 | 134088.1099 | 272868.8596 | 32.55 | 27.7
64516 | 2021-04-02 17:37 | 19.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.5288 | μmol/L | 34.4627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.218 | 134012.5501 | 272864.1491 | 32.55 | 27.7
64526 | 2021-04-02 17:38 | 20.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.7962 | μmol/L | 34.432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.211 | 133946.0535 | 272832.6827 | 32.55 | 27.7
64536 | 2021-04-02 17:38 | 20.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4729 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.215 | 133956.5278 | 272821.7932 | 32.55 | 27.7
64546 | 2021-04-02 17:38 | 20.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3155 | μmol/L | 34.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.219 | 133976.6713 | 272823.5757 | 32.55 | 27.7
64556 | 2021-04-02 17:39 | 21.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.33 | μmol/L | 34.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.218 | 133964.7189 | 272821.2506 | 32.55 | 27.7
64566 | 2021-04-02 17:39 | 21.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.419 | μmol/L | 34.475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.221 | 133976.2802 | 272801.4512 | 32.55 | 27.7
64576 | 2021-04-02 17:39 | 21.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4748 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.224 | 133962.6896 | 272796.4335 | 32.55 | 27.7
64586 | 2021-04-02 17:40 | 22.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.2493 | μmol/L | 34.5119 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.219 | 133939.3993 | 272784.0975 | 32.55 | 27.7
64596 | 2021-04-02 17:40 | 22.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4978 | μmol/L | 34.4873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.211 | 133886.1842 | 272773.8096 | 32.55 | 27.7
64606 | 2021-04-02 17:40 | 22.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.7857 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.214 | 133865.3338 | 272785.3432 | 32.55 | 27.7
64616 | 2021-04-02 17:41 | 23.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.6136 | μmol/L | 34.4443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.219 | 133918.7802 | 272769.9927 | 32.55 | 27.7
64626 | 2021-04-02 17:41 | 23.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3714 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.222 | 133928.2203 | 272739.485 | 32.55 | 27.7
64636 | 2021-04-02 17:41 | 23.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4417 | μmol/L | 34.4627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.224 | 133928.0115 | 272753.4984 | 32.55 | 27.7
64646 | 2021-04-02 17:42 | 24.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.2368 | μmol/L | 34.4873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.229 | 133954.9852 | 272747.4356 | 32.55 | 27.7
64656 | 2021-04-02 17:42 | 24.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.5137 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.235 | 133949.1837 | 272747.0501 | 32.55 | 27.7
64666 | 2021-04-02 17:42 | 24.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4969 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.243 | 134014.0723 | 272737.4483 | 32.55 | 27.7
64676 | 2021-04-02 17:43 | 25.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1723 | μmol/L | 34.432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.254 | 134115.4897 | 272738.4241 | 32.55 | 27.7
64686 | 2021-04-02 17:43 | 25.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.9802 | μmol/L | 34.4381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.265 | 134175.4267 | 272715.5299 | 32.55 | 27.7
64696 | 2021-04-02 17:43 | 25.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.6873 | μmol/L | 34.4443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.283 | 134271.4975 | 272719.1216 | 32.55 | 27.7
64706 | 2021-04-02 17:44 | 26.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.3807 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.302 | 134419.9365 | 272710.1016 | 32.55 | 27.7
64716 | 2021-04-02 17:44 | 26.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.05 | μmol/L | 34.4934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.309 | 134455.6853 | 272706.7799 | 32.55 | 27.7
64726 | 2021-04-02 17:44 | 26.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.2574 | μmol/L | 34.4627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.306 | 134455.0788 | 272691.2273 | 32.55 | 27.7
64736 | 2021-04-02 17:45 | 27.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.2513 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.311 | 134449.3574 | 272702.2796 | 32.55 | 27.7
64746 | 2021-04-02 17:45 | 27.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.2759 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.307 | 134443.812 | 272679.4285 | 32.55 | 27.7
64756 | 2021-04-02 17:45 | 27.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8718 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.326 | 134541.6424 | 272686.9304 | 32.55 | 27.7
64766 | 2021-04-02 17:46 | 28.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8515 | μmol/L | 34.4688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.332 | 134570.8209 | 272677.7596 | 32.55 | 27.7
64776 | 2021-04-02 17:46 | 28.6652 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.7738 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.342 | 134602.0423 | 272675.6923 | 32.55 | 27.7
64786 | 2021-04-02 17:46 | 28.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.0483 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.348 | 134654.009 | 272671.7266 | 32.55 | 27.7
64796 | 2021-04-02 17:47 | 29.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.7965 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.361 | 134728.9891 | 272655.5996 | 32.55 | 27.7
64806 | 2021-04-02 17:47 | 29.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8926 | μmol/L | 34.3644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.368 | 134803.5539 | 272663.0241 | 32.55 | 27.7
64816 | 2021-04-02 17:47 | 29.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.7086 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.374 | 134833.2978 | 272637.3822 | 32.55 | 27.7
64826 | 2021-04-02 17:48 | 30.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.7229 | μmol/L | 34.3828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.373 | 134811.1791 | 272634.8458 | 32.55 | 27.7
64836 | 2021-04-02 17:48 | 30.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5737 | μmol/L | 34.4136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.372 | 134773.5367 | 272619.7498 | 32.55 | 27.7
64846 | 2021-04-02 17:48 | 30.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5839 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.369 | 134767.727 | 272624.0955 | 32.55 | 27.7
64856 | 2021-04-02 17:49 | 31.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5737 | μmol/L | 34.4136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.372 | 134787.5807 | 272624.4971 | 32.55 | 27.7
64866 | 2021-04-02 17:49 | 31.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5125 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.374 | 134787.5277 | 272615.1517 | 32.55 | 27.7
64876 | 2021-04-02 17:49 | 31.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8476 | μmol/L | 34.389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.362 | 134711.6576 | 272602.7106 | 32.55 | 27.7
64886 | 2021-04-02 17:50 | 32.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8599 | μmol/L | 34.4136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.352 | 134623.3709 | 272597.6662 | 32.55 | 27.7
64896 | 2021-04-02 17:50 | 32.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.6634 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.352 | 134619.8739 | 272591.956 | 32.55 | 27.7
64906 | 2021-04-02 17:50 | 32.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8271 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.352 | 134637.6797 | 272590.5474 | 32.55 | 27.7
64916 | 2021-04-02 17:51 | 33.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.0032 | μmol/L | 34.3705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.358 | 134657.2361 | 272595.1417 | 32.55 | 27.7
64926 | 2021-04-02 17:51 | 33.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8353 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.356 | 134616.6356 | 272580.705 | 32.55 | 27.7
64936 | 2021-04-02 17:51 | 33.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.1834 | μmol/L | 34.3583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.35 | 134592.2385 | 272574.0121 | 32.55 | 27.7
64946 | 2021-04-02 17:52 | 34.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.7371 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.356 | 134614.1753 | 272575.937 | 32.55 | 27.7
64956 | 2021-04-02 17:52 | 34.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5347 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.361 | 134652.4426 | 272557.6752 | 32.55 | 27.7
64966 | 2021-04-02 17:52 | 34.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5144 | μmol/L | 34.4381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.367 | 134691.4414 | 272564.9068 | 32.55 | 27.7
64976 | 2021-04-02 17:53 | 35.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.582 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.376 | 134756.1684 | 272549.6811 | 32.55 | 27.7
64986 | 2021-04-02 17:53 | 35.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5512 | μmol/L | 34.4258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.369 | 134720.347 | 272551.2168 | 32.55 | 27.7
64996 | 2021-04-02 17:53 | 35.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.4204 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.369 | 134744.7851 | 272539.9553 | 32.55 | 27.7
65006 | 2021-04-02 17:54 | 36.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.3039 | μmol/L | 34.475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.368 | 134711.1433 | 272546.6283 | 32.55 | 27.7
65016 | 2021-04-02 17:54 | 36.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.2201 | μmol/L | 34.4934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.367 | 134724.2644 | 272535.8423 | 32.55 | 27.7
65026 | 2021-04-02 17:54 | 36.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0692 | μmol/L | 34.5057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.373 | 134749.1127 | 272533.5621 | 32.55 | 27.7
65036 | 2021-04-02 17:55 | 37.3318 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0407 | μmol/L | 34.5057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.375 | 134755.8626 | 272530.1866 | 32.55 | 27.7
65046 | 2021-04-02 17:55 | 37.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0289 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.385 | 134819.3448 | 272510.5991 | 32.55 | 27.7
65056 | 2021-04-02 17:55 | 37.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.9151 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.393 | 134894.0224 | 272516.0952 | 32.55 | 27.7
65066 | 2021-04-02 17:56 | 38.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.879 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.407 | 134991.6218 | 272519.6647 | 32.55 | 27.7
65076 | 2021-04-02 17:56 | 38.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.6517 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.423 | 135078.7299 | 272489.2496 | 32.55 | 27.7
65086 | 2021-04-02 17:56 | 38.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.605 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.424 | 135073.3037 | 272495.8785 | 32.55 | 27.7
65096 | 2021-04-02 17:57 | 39.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.7168 | μmol/L | 34.4381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.423 | 135061.7519 | 272491.1669 | 32.55 | 27.7
65106 | 2021-04-02 17:57 | 39.6649 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1508 | μmol/L | 34.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.44 | 135181.0303 | 272479.5352 | 32.55 | 27.7
65116 | 2021-04-02 17:57 | 39.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.8246 | μmol/L | 34.5426 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.447 | 135277.4236 | 272477.9983 | 32.55 | 27.7
65126 | 2021-04-02 17:58 | 40.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1932 | μmol/L | 34.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.437 | 135180.1916 | 272472.475 | 32.55 | 27.7
65136 | 2021-04-02 17:58 | 40.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.364 | μmol/L | 34.4566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.441 | 135196.0788 | 272480.3314 | 32.55 | 27.7
65146 | 2021-04-02 17:58 | 40.9984 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0827 | μmol/L | 34.475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.454 | 135301.4152 | 272475.4536 | 32.55 | 27.7
65156 | 2021-04-02 17:59 | 41.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1559 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.458 | 135317.336 | 272475.821 | 32.55 | 27.7
65166 | 2021-04-02 17:59 | 41.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1675 | μmol/L | 34.475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.448 | 135245.9055 | 272474.2155 | 32.55 | 27.7
65176 | 2021-04-02 17:59 | 41.9982 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0759 | μmol/L | 34.5057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.443 | 135157.8669 | 272458.5272 | 32.55 | 27.7
65186 | 2021-04-02 18:00 | 42.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.7738 | μmol/L | 34.5549 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.446 | 135170.9827 | 272450.966 | 32.55 | 27.7
65196 | 2021-04-02 18:00 | 42.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.7131 | μmol/L | 34.561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.448 | 135191.7615 | 272447.1249 | 32.55 | 27.7
65206 | 2021-04-02 18:00 | 42.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0178 | μmol/L | 34.4873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.454 | 135219.9196 | 272439.139 | 32.55 | 27.7
65216 | 2021-04-02 18:01 | 43.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.1418 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.459 | 135251.7115 | 272438.8634 | 32.55 | 27.7
65226 | 2021-04-02 18:01 | 43.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.6384 | μmol/L | 34.5057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.474 | 135355.6115 | 272412.4978 | 32.55 | 27.7
65236 | 2021-04-02 18:01 | 43.9985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.2277 | μmol/L | 34.5303 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.494 | 135516.4561 | 272422.9466 | 32.55 | 27.7
65246 | 2021-04-02 18:02 | 44.3317 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.9319 | μmol/L | 34.5119 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.522 | 135707.3148 | 272419.157 | 32.55 | 27.7
65256 | 2021-04-02 18:02 | 44.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.8046 | μmol/L | 34.4934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.538 | 135803.4989 | 272418.191 | 32.55 | 27.7
65266 | 2021-04-02 18:02 | 44.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.7655 | μmol/L | 34.4688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.55 | 135903.8193 | 272403.9988 | 32.55 | 27.7
65276 | 2021-04-02 18:03 | 45.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.4358 | μmol/L | 34.4811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.569 | 136014.4088 | 272396.32 | 32.55 | 27.7
65286 | 2021-04-02 18:03 | 45.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.3255 | μmol/L | 34.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.57 | 136014.9421 | 272396.3307 | 32.55 | 27.7
65296 | 2021-04-02 18:03 | 45.9987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.4988 | μmol/L | 34.4504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.576 | 136055.6281 | 272401.7441 | 32.55 | 27.7
65306 | 2021-04-02 18:04 | 46.3315 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.4919 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.588 | 136148.2392 | 272383.203 | 32.55 | 27.7
65316 | 2021-04-02 18:04 | 46.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.2954 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.609 | 136261.6916 | 272390.7715 | 32.55 | 27.7
65326 | 2021-04-02 18:04 | 46.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.198 | μmol/L | 34.4013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.616 | 136338.3141 | 272388.8413 | 32.55 | 27.7
65336 | 2021-04-02 18:05 | 47.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.7777 | μmol/L | 34.4873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.614 | 136297.3235 | 272378.1109 | 32.55 | 27.7
65346 | 2021-04-02 18:05 | 47.6651 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.1728 | μmol/L | 34.4381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.604 | 136217.5923 | 272383.4153 | 32.55 | 27.7
65356 | 2021-04-02 18:05 | 47.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.2243 | μmol/L | 34.4443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.598 | 136174.8366 | 272369.7961 | 32.55 | 27.7
65366 | 2021-04-02 18:06 | 48.3319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.4724 | μmol/L | 34.4074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.594 | 136126.2928 | 272369.9257 | 32.55 | 27.7
65376 | 2021-04-02 18:06 | 48.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.5769 | μmol/L | 34.3767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.598 | 136186.6905 | 272362.6179 | 32.55 | 27.7
65386 | 2021-04-02 18:06 | 48.9986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0615 | μmol/L | 34.4381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.612 | 136259.3705 | 272363.3314 | 32.55 | 27.7
65396 | 2021-04-02 18:07 | 49.3316 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0797 | μmol/L | 34.432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.613 | 136271.9256 | 272370.8911 | 32.55 | 27.7
65406 | 2021-04-02 18:07 | 49.6653 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0434 | μmol/L | 34.4443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.611 | 136209.1214 | 272377.8431 | 32.55 | 27.7
65416 | 2021-04-02 18:07 | 49.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.231 | μmol/L | 34.475 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.586 | 136097.9326 | 272353.2491 | 32.55 | 27.7
65426 | 2021-04-02 18:08 | 50.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.5616 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.583 | 136036.2657 | 272355.4555 | 32.55 | 27.7
65436 | 2021-04-02 18:08 | 50.665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.4835 | μmol/L | 34.432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.584 | 136052.4773 | 272332.9189 | 32.55 | 27.7
65446 | 2021-04-02 18:08 | 50.9983 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.6314 | μmol/L | 34.4197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.578 | 136025.3883 | 272345.4427 | 32.55 | 27.7