## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61010 | 2021-04-02 14:21 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.5288 | μmol/L | 33.5321 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.029 | 156450.8604 | 279634.605 | 62.0402 | 75.7
61018 | 2021-04-02 14:21 | 0.33679 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.4403 | μmol/L | 33.5198 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.04 | 156505.4014 | 279623.589 | 62.0402 | 75.7
61028 | 2021-04-02 14:22 | 0.67589 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8334 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.025 | 156381.59 | 279574.5441 | 62.0402 | 75.7
61039 | 2021-04-02 14:22 | 1.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8371 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.027 | 156385.264 | 279518.8283 | 62.0402 | 75.7
61048 | 2021-04-02 14:22 | 1.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.5987 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.033 | 156409.9758 | 279497.3816 | 62.0402 | 75.7
61059 | 2021-04-02 14:23 | 1.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.434 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.045 | 156457.2786 | 279452.9774 | 62.0402 | 75.7
61069 | 2021-04-02 14:23 | 2.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.5538 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.034 | 156348.0802 | 279406.432 | 62.0402 | 75.7
61079 | 2021-04-02 14:23 | 2.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.6934 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.042 | 156368.3892 | 279357.6467 | 62.0402 | 75.7
61089 | 2021-04-02 14:24 | 2.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3929 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.048 | 156395.6239 | 279330.7142 | 62.0402 | 75.7
61099 | 2021-04-02 14:24 | 3.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.2484 | μmol/L | 33.5198 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.054 | 156405.7217 | 279284.8272 | 62.0402 | 75.7
61109 | 2021-04-02 14:24 | 3.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.4701 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.056 | 156414.2686 | 279249.8813 | 62.0402 | 75.7
61119 | 2021-04-02 14:25 | 3.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.8792 | μmol/L | 33.5198 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.081 | 156531.8765 | 279218.6287 | 62.0402 | 75.7
61128 | 2021-04-02 14:25 | 4.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0681 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.074 | 156488.3016 | 279178.1615 | 62.0402 | 75.7
61139 | 2021-04-02 14:25 | 4.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.1066 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.078 | 156501.8513 | 279142.5439 | 62.0402 | 75.7
61148 | 2021-04-02 14:26 | 4.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.8048 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.091 | 156542.837 | 279097.1145 | 62.0402 | 75.7
61159 | 2021-04-02 14:26 | 5.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.6722 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.103 | 156632.3257 | 279063.5429 | 62.0402 | 75.7
61169 | 2021-04-02 14:26 | 5.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.8545 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.101 | 156562.8958 | 279027.2868 | 62.0402 | 75.7
61179 | 2021-04-02 14:27 | 5.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0196 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.098 | 156554.2483 | 278993.5164 | 62.0402 | 75.7
61189 | 2021-04-02 14:27 | 6.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.6327 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.115 | 156625.8912 | 278968.3207 | 62.0402 | 75.7
61199 | 2021-04-02 14:27 | 6.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4008 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.107 | 156577.2236 | 278929.6126 | 62.0402 | 75.7
61209 | 2021-04-02 14:28 | 6.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.6599 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.113 | 156560.2764 | 278899.5585 | 62.0402 | 75.7
61219 | 2021-04-02 14:28 | 7.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4068 | μmol/L | 33.5568 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.102 | 156487.7846 | 278867.3594 | 62.0402 | 75.7
61228 | 2021-04-02 14:28 | 7.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4529 | μmol/L | 33.526 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.11 | 156508.529 | 278832.4327 | 62.0402 | 75.7
61239 | 2021-04-02 14:29 | 7.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4008 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.107 | 156476.8316 | 278807.5577 | 62.0402 | 75.7
61249 | 2021-04-02 14:29 | 8.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.2421 | μmol/L | 33.5814 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.105 | 156455.7923 | 278774.5626 | 62.0402 | 75.7
61258 | 2021-04-02 14:29 | 8.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3056 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.114 | 156479.447 | 278743.9578 | 62.0402 | 75.7
61268 | 2021-04-02 14:30 | 8.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9336 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.13 | 156550.3933 | 278713.0358 | 62.0402 | 75.7
61279 | 2021-04-02 14:30 | 9.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3741 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.134 | 156577.3234 | 278678.0383 | 62.0402 | 75.7
61289 | 2021-04-02 14:30 | 9.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.3816 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.138 | 156587.4016 | 278644.1662 | 62.0402 | 75.7
61299 | 2021-04-02 14:31 | 9.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8366 | μmol/L | 33.5568 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.144 | 156604.858 | 278604.6714 | 62.0402 | 75.7
61309 | 2021-04-02 14:31 | 10.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8502 | μmol/L | 33.5568 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.143 | 156586.4426 | 278579.2031 | 62.0402 | 75.7
61318 | 2021-04-02 14:31 | 10.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8382 | μmol/L | 33.5321 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.153 | 156633.0145 | 278543.9742 | 62.0402 | 75.7
61329 | 2021-04-02 14:32 | 10.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6298 | μmol/L | 33.5629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.157 | 156634.3194 | 278527.8651 | 62.0402 | 75.7
61339 | 2021-04-02 14:32 | 11.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6395 | μmol/L | 33.5691 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.154 | 156599.1836 | 278496.0254 | 62.0402 | 75.7
61349 | 2021-04-02 14:32 | 11.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3156 | μmol/L | 33.6122 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.162 | 156641.9146 | 278463.626 | 62.0402 | 75.7
61358 | 2021-04-02 14:33 | 11.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.514 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.161 | 156627.5522 | 278433.4087 | 62.0402 | 75.7
61369 | 2021-04-02 14:33 | 12.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3367 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.165 | 156616.9613 | 278411.5638 | 62.0402 | 75.7
61378 | 2021-04-02 14:33 | 12.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1056 | μmol/L | 33.6245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.173 | 156646.3117 | 278379.2469 | 62.0402 | 75.7
61388 | 2021-04-02 14:34 | 12.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1402 | μmol/L | 33.6122 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.175 | 156662.701 | 278355.7939 | 62.0402 | 75.7
61399 | 2021-04-02 14:34 | 13.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0825 | μmol/L | 33.6184 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.177 | 156659.0728 | 278340.7968 | 62.0402 | 75.7
61408 | 2021-04-02 14:34 | 13.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2651 | μmol/L | 33.5629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.184 | 156700.8835 | 278301.0627 | 62.0402 | 75.7
61418 | 2021-04-02 14:35 | 13.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1016 | μmol/L | 33.5876 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.187 | 156720.124 | 278282.7223 | 62.0402 | 75.7
61429 | 2021-04-02 14:35 | 14.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.7826 | μmol/L | 33.6245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.197 | 156761.2407 | 278249.3647 | 62.0402 | 75.7
61439 | 2021-04-02 14:35 | 14.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2011 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.207 | 156808.7128 | 278227.7083 | 62.0402 | 75.7
61448 | 2021-04-02 14:36 | 14.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9033 | μmol/L | 33.5383 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.22 | 156878.4124 | 278206.4811 | 62.0402 | 75.7
61458 | 2021-04-02 14:36 | 15.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3514 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.236 | 156963.4432 | 278168.6919 | 62.0402 | 75.7
61469 | 2021-04-02 14:36 | 15.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3782 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.234 | 156959.7586 | 278142.2075 | 62.0402 | 75.7
61479 | 2021-04-02 14:37 | 15.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.5486 | μmol/L | 33.5691 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.235 | 156937.1822 | 278106.7511 | 62.0402 | 75.7
61488 | 2021-04-02 14:37 | 16.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.0034 | μmol/L | 33.6492 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.246 | 156998.5971 | 278090.8816 | 62.0402 | 75.7
61499 | 2021-04-02 14:37 | 16.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.9844 | μmol/L | 33.6368 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.252 | 156996.9996 | 278056.5053 | 62.0402 | 75.7
61509 | 2021-04-02 14:38 | 16.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.0761 | μmol/L | 33.6184 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.252 | 157006.1346 | 278031.8108 | 62.0402 | 75.7
61519 | 2021-04-02 14:38 | 17.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7537 | μmol/L | 33.643 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.267 | 157069.9422 | 278008.0326 | 62.0402 | 75.7
61529 | 2021-04-02 14:38 | 17.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.1126 | μmol/L | 33.5814 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.263 | 157040.8495 | 277991.3842 | 62.0402 | 75.7
61539 | 2021-04-02 14:39 | 17.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.9484 | μmol/L | 33.5876 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.273 | 157113.3883 | 277969.279 | 62.0402 | 75.7
61549 | 2021-04-02 14:39 | 18.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.0286 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.283 | 157166.0056 | 277949.6823 | 62.0402 | 75.7
61559 | 2021-04-02 14:39 | 18.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7161 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.295 | 157233.1361 | 277920.7604 | 62.0402 | 75.7
61569 | 2021-04-02 14:40 | 18.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8552 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.296 | 157228.3999 | 277896.207 | 62.0402 | 75.7
61579 | 2021-04-02 14:40 | 19.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4345 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.307 | 157291.014 | 277880.2913 | 62.0402 | 75.7
61588 | 2021-04-02 14:40 | 19.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3055 | μmol/L | 33.5937 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.319 | 157361.6245 | 277858.3362 | 62.0402 | 75.7
61599 | 2021-04-02 14:41 | 19.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.408 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.309 | 157288.1329 | 277840.9884 | 62.0402 | 75.7
61609 | 2021-04-02 14:41 | 20.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.2292 | μmol/L | 33.6307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.311 | 157288.6684 | 277817.9325 | 62.0402 | 75.7
61619 | 2021-04-02 14:41 | 20.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3454 | μmol/L | 33.5937 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.316 | 157287.882 | 277793.7844 | 62.0402 | 75.7
61629 | 2021-04-02 14:42 | 20.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.2849 | μmol/L | 33.5629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.332 | 157369.8545 | 277759.7411 | 62.0402 | 75.7
61639 | 2021-04-02 14:42 | 21.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0894 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.333 | 157368.531 | 277731.5137 | 62.0402 | 75.7
61649 | 2021-04-02 14:42 | 21.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8355 | μmol/L | 33.6245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.343 | 157420.0286 | 277713.7185 | 62.0402 | 75.7
61659 | 2021-04-02 14:43 | 21.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0231 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.338 | 157391.5229 | 277697.1455 | 62.0402 | 75.7
61669 | 2021-04-02 14:43 | 22.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.2566 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.341 | 157378.9961 | 277677.6807 | 62.0402 | 75.7
61679 | 2021-04-02 14:43 | 22.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7942 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.353 | 157429.3087 | 277636.9527 | 62.0402 | 75.7
61688 | 2021-04-02 14:44 | 22.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.1145 | μmol/L | 33.5383 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.354 | 157455.2562 | 277607.8283 | 62.0402 | 75.7
61699 | 2021-04-02 14:44 | 23.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7644 | μmol/L | 33.5691 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.369 | 157520.675 | 277609.4624 | 62.0402 | 75.7
61709 | 2021-04-02 14:44 | 23.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.9273 | μmol/L | 33.5198 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.375 | 157566.8411 | 277576.4352 | 62.0402 | 75.7
61719 | 2021-04-02 14:45 | 23.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7533 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.379 | 157586.8927 | 277561.9943 | 62.0402 | 75.7
61729 | 2021-04-02 14:45 | 24.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4546 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.381 | 157579.4378 | 277534.3388 | 62.0402 | 75.7
61739 | 2021-04-02 14:45 | 24.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8065 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.391 | 157620.9967 | 277525.806 | 62.0402 | 75.7
61748 | 2021-04-02 14:46 | 24.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6383 | μmol/L | 33.5383 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.39 | 157621.4137 | 277504.6089 | 62.0402 | 75.7
61758 | 2021-04-02 14:46 | 25.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.542 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.395 | 157627.8222 | 277470.676 | 62.0402 | 75.7
61768 | 2021-04-02 14:46 | 25.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6251 | μmol/L | 33.5383 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.391 | 157620.5242 | 277451.4489 | 62.0402 | 75.7
61779 | 2021-04-02 14:47 | 25.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4684 | μmol/L | 33.5568 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.396 | 157618.6774 | 277437.1219 | 62.0402 | 75.7
61789 | 2021-04-02 14:47 | 26.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6914 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.402 | 157651.7505 | 277408.016 | 62.0402 | 75.7
61799 | 2021-04-02 14:47 | 26.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.9752 | μmol/L | 33.5876 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.422 | 157755.5024 | 277387.6896 | 62.0402 | 75.7
61809 | 2021-04-02 14:48 | 26.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1282 | μmol/L | 33.5321 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.431 | 157752.7739 | 277371.4882 | 62.0402 | 75.7
61819 | 2021-04-02 14:48 | 27.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.756 | μmol/L | 33.5814 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.441 | 157804.5967 | 277365.9568 | 62.0402 | 75.7
61829 | 2021-04-02 14:48 | 27.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.2415 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.443 | 157792.3006 | 277327.5172 | 62.0402 | 75.7
61839 | 2021-04-02 14:49 | 27.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1211 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.443 | 157794.0353 | 277316.4989 | 62.0402 | 75.7
61848 | 2021-04-02 14:49 | 28.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.8972 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.444 | 157786.188 | 277298.4727 | 62.0402 | 75.7
61859 | 2021-04-02 14:49 | 28.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.9164 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.454 | 157876.5507 | 277290.6585 | 62.0402 | 75.7
61868 | 2021-04-02 14:50 | 28.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.8716 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.462 | 157905.7865 | 277261.9758 | 62.0402 | 75.7
61878 | 2021-04-02 14:50 | 29.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.93 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.469 | 157944.3602 | 277236.0316 | 62.0402 | 75.7
61889 | 2021-04-02 14:50 | 29.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.5656 | μmol/L | 33.5506 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.467 | 157917.8408 | 277208.2687 | 62.0402 | 75.7
61899 | 2021-04-02 14:51 | 29.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.1725 | μmol/L | 33.5937 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.481 | 158007.5824 | 277200.5179 | 62.0402 | 75.7
61909 | 2021-04-02 14:51 | 30.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.5794 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.482 | 157993.5344 | 277169.5467 | 62.0402 | 75.7
61919 | 2021-04-02 14:51 | 30.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.4663 | μmol/L | 33.5629 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.47 | 157916.1575 | 277153.8217 | 62.0402 | 75.7
61929 | 2021-04-02 14:52 | 30.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.6542 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.474 | 157920.8052 | 277157.0917 | 62.0402 | 75.7
61939 | 2021-04-02 14:52 | 31.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.3563 | μmol/L | 33.5506 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.483 | 157971.2848 | 277125.7355 | 62.0402 | 75.7
61949 | 2021-04-02 14:52 | 31.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.2886 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.479 | 157929.4251 | 277111.8544 | 62.0402 | 75.7
61959 | 2021-04-02 14:53 | 31.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.4763 | μmol/L | 33.526 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.483 | 157970.3496 | 277084.9503 | 62.0402 | 75.7
61969 | 2021-04-02 14:53 | 32.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.0981 | μmol/L | 33.5876 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.489 | 157977.3285 | 277068.4964 | 62.0402 | 75.7
61979 | 2021-04-02 14:53 | 32.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.775 | μmol/L | 33.6245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.5 | 158047.137 | 277057.0228 | 62.0402 | 75.7
61989 | 2021-04-02 14:54 | 32.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9169 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.496 | 158025.8104 | 277037.6883 | 62.0402 | 75.7
61999 | 2021-04-02 14:54 | 33.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.8296 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.505 | 158091.7106 | 277015.2278 | 62.0402 | 75.7
62008 | 2021-04-02 14:54 | 33.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.0899 | μmol/L | 33.5383 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.508 | 158106.5802 | 277004.5688 | 62.0402 | 75.7
62018 | 2021-04-02 14:55 | 33.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.8322 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.514 | 158111.7616 | 276982.0317 | 62.0402 | 75.7
62028 | 2021-04-02 14:55 | 34.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.576 | μmol/L | 33.6307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.513 | 158106.278 | 276983.1741 | 62.0402 | 75.7
62038 | 2021-04-02 14:55 | 34.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.6644 | μmol/L | 33.5937 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.52 | 158128.9698 | 276959.5256 | 62.0402 | 75.7
62049 | 2021-04-02 14:56 | 34.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.4708 | μmol/L | 33.6122 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.528 | 158211.6488 | 276938.5832 | 62.0402 | 75.7
62059 | 2021-04-02 14:56 | 35.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.3034 | μmol/L | 33.6307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.534 | 158227.8498 | 276930.2359 | 62.0402 | 75.7
62069 | 2021-04-02 14:56 | 35.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.6434 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.54 | 158272.0173 | 276911.7668 | 62.0402 | 75.7
62079 | 2021-04-02 14:57 | 35.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.4747 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.53 | 158198.5574 | 276887.0531 | 62.0402 | 75.7
62089 | 2021-04-02 14:57 | 36.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.2672 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.546 | 158275.2599 | 276867.141 | 62.0402 | 75.7
62099 | 2021-04-02 14:57 | 36.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.0118 | μmol/L | 33.6615 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.545 | 158267.1409 | 276847.1465 | 62.0402 | 75.7
62108 | 2021-04-02 14:58 | 36.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.0612 | μmol/L | 33.6245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.555 | 158320.0714 | 276820.6531 | 62.0402 | 75.7
62119 | 2021-04-02 14:58 | 37.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.0302 | μmol/L | 33.6122 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.562 | 158376.7936 | 276821.0416 | 62.0402 | 75.7
62129 | 2021-04-02 14:58 | 37.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.787 | μmol/L | 33.6492 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.567 | 158379.6883 | 276811.0899 | 62.0402 | 75.7
62139 | 2021-04-02 14:59 | 37.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.3478 | μmol/L | 33.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.578 | 158445.2424 | 276788.1029 | 62.0402 | 75.7
62149 | 2021-04-02 14:59 | 38.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.796 | μmol/L | 33.6553 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.564 | 158376.4782 | 276767.694 | 62.0402 | 75.7
62159 | 2021-04-02 14:59 | 38.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.3211 | μmol/L | 33.6923 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.587 | 158524.5745 | 276763.1494 | 62.0402 | 75.7
62169 | 2021-04-02 15:00 | 38.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.1578 | μmol/L | 33.6861 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.602 | 158592.9675 | 276743.5568 | 62.0402 | 75.7
62179 | 2021-04-02 15:00 | 39.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0254 | μmol/L | 33.6923 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.61 | 158672.379 | 276738.0858 | 62.0402 | 75.7
62189 | 2021-04-02 15:00 | 39.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.4304 | μmol/L | 33.5814 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.62 | 158736.7167 | 276710.2756 | 62.0402 | 75.7
62199 | 2021-04-02 15:01 | 39.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0235 | μmol/L | 33.6553 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.624 | 158771.1951 | 276693.5612 | 62.0402 | 75.7
62209 | 2021-04-02 15:01 | 40.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.7946 | μmol/L | 33.6923 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.628 | 158803.5959 | 276687.6048 | 62.0402 | 75.7
62219 | 2021-04-02 15:01 | 40.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.7296 | μmol/L | 33.6738 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.64 | 158873.7968 | 276672.3407 | 62.0402 | 75.7
62229 | 2021-04-02 15:02 | 40.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.834 | μmol/L | 33.6307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.648 | 158941.8388 | 276648.9449 | 62.0402 | 75.7
62239 | 2021-04-02 15:02 | 41.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.8754 | μmol/L | 33.606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.654 | 158950.4036 | 276639.9764 | 62.0402 | 75.7
62249 | 2021-04-02 15:02 | 41.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.8665 | μmol/L | 33.5999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.657 | 158982.2198 | 276628.9394 | 62.0402 | 75.7