## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61011 | 2021-04-02 14:21 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.9978 | μmol/L | 33.7623 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.465 | 148250.1831 | 303576.0352 | 59.9307 | 38.1
61020 | 2021-04-02 14:21 | 0.32978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.4144 | μmol/L | 33.6519 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.474 | 148323.4885 | 303550.068 | 59.9307 | 38.1
61030 | 2021-04-02 14:22 | 0.66315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.893 | μmol/L | 33.7439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.48 | 148359.066 | 303497.3974 | 59.9307 | 38.1
61040 | 2021-04-02 14:22 | 0.99689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.3621 | μmol/L | 33.8114 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.496 | 148412.7279 | 303473.7117 | 59.9307 | 38.1
61050 | 2021-04-02 14:22 | 1.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.4144 | μmol/L | 33.7684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.508 | 148444.1994 | 303430.1381 | 59.9307 | 38.1
61060 | 2021-04-02 14:23 | 1.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.2732 | μmol/L | 33.7684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.519 | 148489.6915 | 303385.7236 | 59.9307 | 38.1
61070 | 2021-04-02 14:23 | 1.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.1396 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.534 | 148526.9055 | 303348.2539 | 59.9307 | 38.1
61080 | 2021-04-02 14:23 | 2.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.1932 | μmol/L | 33.7316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.539 | 148559.9228 | 303298.7636 | 59.9307 | 38.1
61090 | 2021-04-02 14:24 | 2.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.0176 | μmol/L | 33.7255 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.555 | 148595.9051 | 303260.1514 | 59.9307 | 38.1
61100 | 2021-04-02 14:24 | 2.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.1811 | μmol/L | 33.6887 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.556 | 148591.9111 | 303210.9562 | 59.9307 | 38.1
61110 | 2021-04-02 14:24 | 3.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.4125 | μmol/L | 33.6458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.554 | 148554.4875 | 303172.3699 | 59.9307 | 38.1
61120 | 2021-04-02 14:25 | 3.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6533 | μmol/L | 33.609 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.549 | 148501.1111 | 303134.1862 | 59.9307 | 38.1
61130 | 2021-04-02 14:25 | 3.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6993 | μmol/L | 33.5967 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.55 | 148472.0178 | 303101.0979 | 59.9307 | 38.1
61140 | 2021-04-02 14:25 | 4.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6661 | μmol/L | 33.609 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.548 | 148432.213 | 303062.6903 | 59.9307 | 38.1
61150 | 2021-04-02 14:26 | 4.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.1298 | μmol/L | 33.6887 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.56 | 148409.6657 | 303025.4317 | 59.9307 | 38.1
61160 | 2021-04-02 14:26 | 4.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.5795 | μmol/L | 33.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.564 | 148493.7142 | 302974.0305 | 59.9307 | 38.1
61170 | 2021-04-02 14:26 | 5.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.5461 | μmol/L | 33.7439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.585 | 148568.6407 | 302953.7333 | 59.9307 | 38.1
61180 | 2021-04-02 14:27 | 5.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.4428 | μmol/L | 33.7255 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.6 | 148649.3039 | 302919.6071 | 59.9307 | 38.1
61190 | 2021-04-02 14:27 | 5.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.4451 | μmol/L | 33.701 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.609 | 148701.1878 | 302878.9441 | 59.9307 | 38.1
61200 | 2021-04-02 14:27 | 6.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.262 | μmol/L | 33.75 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.605 | 148714.3783 | 302837.8716 | 59.9307 | 38.1
61210 | 2021-04-02 14:28 | 6.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.3993 | μmol/L | 33.7132 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.608 | 148682.6159 | 302811.0025 | 59.9307 | 38.1
61220 | 2021-04-02 14:28 | 6.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1437 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.612 | 148698.7401 | 302789.1498 | 59.9307 | 38.1
61230 | 2021-04-02 14:28 | 7.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9164 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.623 | 148737.1615 | 302750.973 | 59.9307 | 38.1
61240 | 2021-04-02 14:29 | 7.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8745 | μmol/L | 33.7807 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.624 | 148742.0239 | 302711.147 | 59.9307 | 38.1
61250 | 2021-04-02 14:29 | 7.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9532 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.627 | 148711.7327 | 302688.4382 | 59.9307 | 38.1
61260 | 2021-04-02 14:29 | 8.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9151 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.63 | 148718.7429 | 302651.0406 | 59.9307 | 38.1
61270 | 2021-04-02 14:30 | 8.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9746 | μmol/L | 33.701 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.646 | 148748.8214 | 302627.1676 | 59.9307 | 38.1
61280 | 2021-04-02 14:30 | 8.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7794 | μmol/L | 33.75 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.643 | 148780.4119 | 302583.6382 | 59.9307 | 38.1
61290 | 2021-04-02 14:30 | 9.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4158 | μmol/L | 33.8052 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.651 | 148792.7486 | 302562.2919 | 59.9307 | 38.1
61300 | 2021-04-02 14:31 | 9.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6349 | μmol/L | 33.7378 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.659 | 148808.194 | 302522.2086 | 59.9307 | 38.1
61310 | 2021-04-02 14:31 | 9.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2719 | μmol/L | 33.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.667 | 148845.9272 | 302486.1255 | 59.9307 | 38.1
61320 | 2021-04-02 14:31 | 10.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3756 | μmol/L | 33.7684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.668 | 148867.5982 | 302458.2335 | 59.9307 | 38.1
61330 | 2021-04-02 14:32 | 10.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0795 | μmol/L | 33.8052 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.677 | 148862.2999 | 302405.8092 | 59.9307 | 38.1
61340 | 2021-04-02 14:32 | 10.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.8367 | μmol/L | 33.8236 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.69 | 148891.2312 | 302387.2944 | 59.9307 | 38.1
61350 | 2021-04-02 14:32 | 11.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.8318 | μmol/L | 33.8114 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.695 | 148936.006 | 302356.3691 | 59.9307 | 38.1
61360 | 2021-04-02 14:33 | 11.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.6114 | μmol/L | 33.842 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.701 | 148993.5366 | 302341.1325 | 59.9307 | 38.1
61370 | 2021-04-02 14:33 | 11.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.5447 | μmol/L | 33.8482 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.704 | 148999.757 | 302310.3548 | 59.9307 | 38.1
61380 | 2021-04-02 14:33 | 12.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.3517 | μmol/L | 33.8359 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.724 | 149035.6525 | 302272.9489 | 59.9307 | 38.1
61390 | 2021-04-02 14:34 | 12.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.3353 | μmol/L | 33.842 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.723 | 149052.0895 | 302251.8098 | 59.9307 | 38.1
61400 | 2021-04-02 14:34 | 12.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.1895 | μmol/L | 33.842 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.734 | 149086.4419 | 302219.0563 | 59.9307 | 38.1
61410 | 2021-04-02 14:34 | 13.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.1022 | μmol/L | 33.8543 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.737 | 149126.3393 | 302191.911 | 59.9307 | 38.1
61420 | 2021-04-02 14:35 | 13.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.8858 | μmol/L | 33.8604 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.752 | 149174.4568 | 302163.1854 | 59.9307 | 38.1
61430 | 2021-04-02 14:35 | 13.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.7687 | μmol/L | 33.8482 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.766 | 149209.3537 | 302141.6602 | 59.9307 | 38.1
61440 | 2021-04-02 14:35 | 14.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.6488 | μmol/L | 33.8604 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.771 | 149260.8291 | 302109.7472 | 59.9307 | 38.1
61450 | 2021-04-02 14:36 | 14.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5452 | μmol/L | 33.8666 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.777 | 149315.2663 | 302098.4094 | 59.9307 | 38.1
61460 | 2021-04-02 14:36 | 14.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5364 | μmol/L | 33.8482 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.784 | 149327.4831 | 302057.6862 | 59.9307 | 38.1
61470 | 2021-04-02 14:36 | 15.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1722 | μmol/L | 33.8666 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.807 | 149395.1765 | 302022.7091 | 59.9307 | 38.1
61480 | 2021-04-02 14:37 | 15.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1225 | μmol/L | 33.8666 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.811 | 149409.236 | 301988.9029 | 59.9307 | 38.1
61490 | 2021-04-02 14:37 | 15.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2918 | μmol/L | 33.8543 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.802 | 149421.4441 | 301969.8745 | 59.9307 | 38.1
61500 | 2021-04-02 14:37 | 16.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2374 | μmol/L | 33.842 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.811 | 149451.2793 | 301955.0608 | 59.9307 | 38.1
61510 | 2021-04-02 14:38 | 16.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.4337 | μmol/L | 33.7868 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.816 | 149430.173 | 301929.4036 | 59.9307 | 38.1
61520 | 2021-04-02 14:38 | 16.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.121 | μmol/L | 33.8298 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.825 | 149445.7915 | 301905.8605 | 59.9307 | 38.1
61530 | 2021-04-02 14:38 | 17.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.0362 | μmol/L | 33.8727 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.815 | 149404.782 | 301876.8404 | 59.9307 | 38.1
61540 | 2021-04-02 14:39 | 17.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.7717 | μmol/L | 33.8727 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.837 | 149475.7177 | 301852.601 | 59.9307 | 38.1
61550 | 2021-04-02 14:39 | 17.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.0141 | μmol/L | 33.842 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.829 | 149429.0092 | 301816.6622 | 59.9307 | 38.1
61560 | 2021-04-02 14:39 | 18.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8361 | μmol/L | 33.8298 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.848 | 149484.5456 | 301797.3716 | 59.9307 | 38.1
61570 | 2021-04-02 14:40 | 18.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8771 | μmol/L | 33.8236 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.847 | 149480.7417 | 301772.9755 | 59.9307 | 38.1
61580 | 2021-04-02 14:40 | 18.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.0448 | μmol/L | 33.7807 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.849 | 149505.7165 | 301758.0403 | 59.9307 | 38.1
61590 | 2021-04-02 14:40 | 19.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.6627 | μmol/L | 33.8175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.866 | 149601.4905 | 301737.1362 | 59.9307 | 38.1
61600 | 2021-04-02 14:41 | 19.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8662 | μmol/L | 33.7623 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.871 | 149637.6554 | 301700.095 | 59.9307 | 38.1
61610 | 2021-04-02 14:41 | 19.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.2732 | μmol/L | 33.8482 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.886 | 149725.3113 | 301681.7494 | 59.9307 | 38.1
61620 | 2021-04-02 14:41 | 20.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.3056 | μmol/L | 33.8359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.888 | 149729.4813 | 301659.6515 | 59.9307 | 38.1
61630 | 2021-04-02 14:42 | 20.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.0679 | μmol/L | 33.8543 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.901 | 149796.1246 | 301625.9405 | 59.9307 | 38.1
61640 | 2021-04-02 14:42 | 20.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.1727 | μmol/L | 33.793 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.915 | 149832.4691 | 301612.9182 | 59.9307 | 38.1
61650 | 2021-04-02 14:42 | 21.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.4537 | μmol/L | 33.7378 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.913 | 149821.9503 | 301591.7138 | 59.9307 | 38.1
61660 | 2021-04-02 14:43 | 21.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.3053 | μmol/L | 33.7316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.928 | 149868.4803 | 301557.255 | 59.9307 | 38.1
61670 | 2021-04-02 14:43 | 21.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.2106 | μmol/L | 33.7255 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.938 | 149919.1556 | 301547.4361 | 59.9307 | 38.1
61680 | 2021-04-02 14:43 | 22.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.1582 | μmol/L | 33.7378 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 149939.5731 | 301518.4818 | 59.9307 | 38.1
61690 | 2021-04-02 14:44 | 22.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.2512 | μmol/L | 33.7071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 149979.7267 | 301486.2794 | 59.9307 | 38.1
61700 | 2021-04-02 14:44 | 22.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9984 | μmol/L | 33.7378 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.95 | 150010.873 | 301478.0606 | 59.9307 | 38.1
61710 | 2021-04-02 14:44 | 23.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.7544 | μmol/L | 33.7746 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.956 | 149987.8714 | 301444.4636 | 59.9307 | 38.1
61720 | 2021-04-02 14:45 | 23.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.868 | μmol/L | 33.75 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.956 | 150020.0015 | 301446.8494 | 59.9307 | 38.1
61730 | 2021-04-02 14:45 | 23.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.822 | μmol/L | 33.7255 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.969 | 150028.7098 | 301399.0123 | 59.9307 | 38.1
61740 | 2021-04-02 14:45 | 24.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.7432 | μmol/L | 33.6948 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.987 | 150096.9825 | 301406.9989 | 59.9307 | 38.1
61750 | 2021-04-02 14:46 | 24.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.8205 | μmol/L | 33.6887 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.983 | 150104.1275 | 301382.0067 | 59.9307 | 38.1
61760 | 2021-04-02 14:46 | 24.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9254 | μmol/L | 33.658 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.986 | 150103.3124 | 301354.8223 | 59.9307 | 38.1
61770 | 2021-04-02 14:46 | 25.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.5847 | μmol/L | 33.7132 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.993 | 150098.0797 | 301338.1189 | 59.9307 | 38.1
61780 | 2021-04-02 14:47 | 25.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.685 | μmol/L | 33.6703 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.001 | 150154.051 | 301307.83 | 59.9307 | 38.1
61790 | 2021-04-02 14:47 | 25.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.4663 | μmol/L | 33.7071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.005 | 150194.8397 | 301291.1201 | 59.9307 | 38.1
61800 | 2021-04-02 14:47 | 26.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.138 | μmol/L | 33.7439 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.018 | 150236.4161 | 301274.3519 | 59.9307 | 38.1
61810 | 2021-04-02 14:48 | 26.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.3441 | μmol/L | 33.7071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.015 | 150264.2378 | 301253.7679 | 59.9307 | 38.1
61820 | 2021-04-02 14:48 | 26.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.1412 | μmol/L | 33.7194 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.027 | 150272.7945 | 301224.8471 | 59.9307 | 38.1
61830 | 2021-04-02 14:48 | 27.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.2862 | μmol/L | 33.6826 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.029 | 150293.3684 | 301209.2931 | 59.9307 | 38.1
61840 | 2021-04-02 14:49 | 27.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.2207 | μmol/L | 33.6703 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.039 | 150325.0665 | 301171.2614 | 59.9307 | 38.1
61850 | 2021-04-02 14:49 | 27.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.0386 | μmol/L | 33.6887 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.047 | 150398.0785 | 301163.5506 | 59.9307 | 38.1
61860 | 2021-04-02 14:49 | 28.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.3942 | μmol/L | 33.8052 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.056 | 150453.3847 | 301141.3062 | 59.9307 | 38.1
61870 | 2021-04-02 14:50 | 28.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.8031 | μmol/L | 33.6887 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.067 | 150502.9198 | 301121.6704 | 59.9307 | 38.1
61880 | 2021-04-02 14:50 | 28.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.3167 | μmol/L | 33.7746 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.074 | 150563.2757 | 301117.177 | 59.9307 | 38.1
61890 | 2021-04-02 14:50 | 29.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.2756 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.085 | 150598.6626 | 301089.0604 | 59.9307 | 38.1
61900 | 2021-04-02 14:51 | 29.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.0506 | μmol/L | 33.7746 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.096 | 150609.8422 | 301076.5316 | 59.9307 | 38.1
61910 | 2021-04-02 14:51 | 29.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.9945 | μmol/L | 33.7868 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.096 | 150629.2843 | 301060.4066 | 59.9307 | 38.1
61920 | 2021-04-02 14:51 | 30.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.5849 | μmol/L | 33.8175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.119 | 150708.8207 | 301039.127 | 59.9307 | 38.1
61930 | 2021-04-02 14:52 | 30.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.5244 | μmol/L | 33.7991 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.131 | 150797.2304 | 301002.5266 | 59.9307 | 38.1
61940 | 2021-04-02 14:52 | 30.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.5602 | μmol/L | 33.7684 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.139 | 150847.1058 | 301004.6538 | 59.9307 | 38.1
61950 | 2021-04-02 14:52 | 31.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.6079 | μmol/L | 33.75 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.142 | 150893.6051 | 300993.2979 | 59.9307 | 38.1
61960 | 2021-04-02 14:53 | 31.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.6199 | μmol/L | 33.75 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.141 | 150864.7816 | 300956.9983 | 59.9307 | 38.1
61970 | 2021-04-02 14:53 | 31.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.512 | μmol/L | 33.7684 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.143 | 150875.5753 | 300934.3628 | 59.9307 | 38.1
61980 | 2021-04-02 14:53 | 32.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.3 | μmol/L | 33.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.152 | 150952.1672 | 300922.2675 | 59.9307 | 38.1
61990 | 2021-04-02 14:54 | 32.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.3356 | μmol/L | 33.7746 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.156 | 150946.2765 | 300913.7926 | 59.9307 | 38.1
62000 | 2021-04-02 14:54 | 32.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.2393 | μmol/L | 33.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.171 | 151027.0379 | 300876.0023 | 59.9307 | 38.1
62010 | 2021-04-02 14:54 | 33.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.9403 | μmol/L | 33.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.182 | 151097.601 | 300871.3692 | 59.9307 | 38.1
62020 | 2021-04-02 14:55 | 33.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.8846 | μmol/L | 33.8052 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.182 | 151097.7615 | 300850.6021 | 59.9307 | 38.1
62030 | 2021-04-02 14:55 | 33.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.7651 | μmol/L | 33.793 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.196 | 151165.5233 | 300841.425 | 59.9307 | 38.1
62040 | 2021-04-02 14:55 | 34.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.8326 | μmol/L | 33.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.191 | 151115.6258 | 300816.8319 | 59.9307 | 38.1
62050 | 2021-04-02 14:56 | 34.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6814 | μmol/L | 33.8052 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.199 | 151149.2696 | 300805.4634 | 59.9307 | 38.1
62060 | 2021-04-02 14:56 | 34.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.4152 | μmol/L | 33.8298 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.212 | 151222.2644 | 300780.9999 | 59.9307 | 38.1
62070 | 2021-04-02 14:56 | 35.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.1101 | μmol/L | 33.8666 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 151289.916 | 300761.1762 | 59.9307 | 38.1
62080 | 2021-04-02 14:57 | 35.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.2012 | μmol/L | 33.8543 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.22 | 151259.8124 | 300750.3159 | 59.9307 | 38.1
62090 | 2021-04-02 14:57 | 35.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.0901 | μmol/L | 33.8727 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.223 | 151254.0855 | 300735.4896 | 59.9307 | 38.1
62100 | 2021-04-02 14:57 | 36.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.0309 | μmol/L | 33.8788 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.225 | 151249.2683 | 300725.4349 | 59.9307 | 38.1
62110 | 2021-04-02 14:58 | 36.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.1376 | μmol/L | 33.8543 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.226 | 151226.1434 | 300702.1327 | 59.9307 | 38.1
62120 | 2021-04-02 14:58 | 36.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.8884 | μmol/L | 33.8788 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 151324.8277 | 300682.4948 | 59.9307 | 38.1
62130 | 2021-04-02 14:58 | 37.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.7658 | μmol/L | 33.8666 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.252 | 151409.4829 | 300667.2315 | 59.9307 | 38.1
62140 | 2021-04-02 14:59 | 37.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.6118 | μmol/L | 33.885 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.258 | 151438.1353 | 300657.5991 | 59.9307 | 38.1
62150 | 2021-04-02 14:59 | 37.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.4382 | μmol/L | 33.8972 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.268 | 151482.6413 | 300630.3526 | 59.9307 | 38.1
62160 | 2021-04-02 14:59 | 38.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.438 | μmol/L | 33.8911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.271 | 151498.0984 | 300610.1482 | 59.9307 | 38.1
62170 | 2021-04-02 15:00 | 38.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.5132 | μmol/L | 33.8727 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.271 | 151471.5936 | 300600.3745 | 59.9307 | 38.1
62180 | 2021-04-02 15:00 | 38.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.4343 | μmol/L | 33.8666 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.28 | 151530.4166 | 300592.7377 | 59.9307 | 38.1
62190 | 2021-04-02 15:00 | 39.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.4107 | μmol/L | 33.8482 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.289 | 151583.7183 | 300587.6251 | 59.9307 | 38.1
62200 | 2021-04-02 15:01 | 39.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.3713 | μmol/L | 33.8359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.297 | 151638.2334 | 300559.7044 | 59.9307 | 38.1
62210 | 2021-04-02 15:01 | 39.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.923 | μmol/L | 33.8666 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.324 | 151761.9144 | 300548.2669 | 59.9307 | 38.1
62220 | 2021-04-02 15:01 | 40.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.9938 | μmol/L | 33.8727 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.315 | 151717.4065 | 300522.2228 | 59.9307 | 38.1
62230 | 2021-04-02 15:02 | 40.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.2061 | μmol/L | 33.7991 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.325 | 151773.4815 | 300508.319 | 59.9307 | 38.1
62240 | 2021-04-02 15:02 | 40.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.0411 | μmol/L | 33.8359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.325 | 151753.8626 | 300499.9073 | 59.9307 | 38.1
62250 | 2021-04-02 15:02 | 41.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.4685 | μmol/L | 33.9218 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.341 | 151869.5533 | 300494.3232 | 59.9307 | 38.1