## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61012 | 2021-04-02 14:21 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.4147 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.72 | 118008.9779 | 218426.2 | 27.3 | 43.4
61022 | 2021-04-02 14:21 | 0.34004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1503 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.729 | 118022.5139 | 218413.8359 | 27.3 | 43.4
61032 | 2021-04-02 14:22 | 0.67327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.0254 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.733 | 118004.5957 | 218379.7483 | 27.3 | 43.4
61042 | 2021-04-02 14:22 | 1.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9387 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.739 | 117989.2044 | 218359.6728 | 27.3 | 43.4
61052 | 2021-04-02 14:22 | 1.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9768 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.741 | 117951.8805 | 218336.9039 | 27.3 | 43.4
61062 | 2021-04-02 14:23 | 1.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8134 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.75 | 117946.8612 | 218300.7435 | 27.3 | 43.4
61072 | 2021-04-02 14:23 | 2.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7222 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.754 | 117980.7945 | 218270.9924 | 27.3 | 43.4
61082 | 2021-04-02 14:23 | 2.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8881 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.768 | 118007.324 | 218250.7451 | 27.3 | 43.4
61092 | 2021-04-02 14:24 | 2.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.5475 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.787 | 118073.956 | 218226.5904 | 27.3 | 43.4
61102 | 2021-04-02 14:24 | 3.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.0877 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.819 | 118237.3825 | 218210.9077 | 27.3 | 43.4
61112 | 2021-04-02 14:24 | 3.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6529 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.854 | 118398.8501 | 218189.1206 | 27.3 | 43.4
61122 | 2021-04-02 14:25 | 3.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6856 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.861 | 118418.1169 | 218164.9652 | 27.3 | 43.4
61132 | 2021-04-02 14:25 | 4.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6049 | μmol/L | 33.5514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.862 | 118383.0884 | 218131.1057 | 27.3 | 43.4
61142 | 2021-04-02 14:25 | 4.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.4958 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.865 | 118372.7338 | 218126.2111 | 27.3 | 43.4
61152 | 2021-04-02 14:26 | 4.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5427 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.871 | 118371.122 | 218093.1555 | 27.3 | 43.4
61162 | 2021-04-02 14:26 | 5.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2348 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.874 | 118369.6105 | 218068.4844 | 27.3 | 43.4
61172 | 2021-04-02 14:26 | 5.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.239 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.883 | 118366.919 | 218051.0073 | 27.3 | 43.4
61182 | 2021-04-02 14:27 | 5.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.182 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.887 | 118381.5799 | 218025.8368 | 27.3 | 43.4
61192 | 2021-04-02 14:27 | 6.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.1255 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.884 | 118337.1591 | 218000.57 | 27.3 | 43.4
61202 | 2021-04-02 14:27 | 6.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2487 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.88 | 118281.8935 | 217971.4002 | 27.3 | 43.4
61212 | 2021-04-02 14:28 | 6.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.1397 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.883 | 118259.3873 | 217944.4058 | 27.3 | 43.4
61222 | 2021-04-02 14:28 | 7.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2197 | μmol/L | 33.5514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.889 | 118278.6483 | 217936.996 | 27.3 | 43.4
61232 | 2021-04-02 14:28 | 7.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2004 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.895 | 118293.7696 | 217907.1274 | 27.3 | 43.4
61242 | 2021-04-02 14:29 | 7.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.9259 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.905 | 118315.8205 | 217895.4186 | 27.3 | 43.4
61252 | 2021-04-02 14:29 | 8.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.6613 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.912 | 118348.6686 | 217880.6677 | 27.3 | 43.4
61262 | 2021-04-02 14:29 | 8.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.7834 | μmol/L | 33.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.922 | 118374.8097 | 217867.8577 | 27.3 | 43.4
61272 | 2021-04-02 14:30 | 8.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5706 | μmol/L | 33.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.937 | 118428.4047 | 217853.8144 | 27.3 | 43.4
61282 | 2021-04-02 14:30 | 9.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2877 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.95 | 118482.7348 | 217823.0864 | 27.3 | 43.4
61292 | 2021-04-02 14:30 | 9.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.9819 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.96 | 118540.1711 | 217807.1709 | 27.3 | 43.4
61302 | 2021-04-02 14:31 | 9.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.1506 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.969 | 118564.5302 | 217778.059 | 27.3 | 43.4
61312 | 2021-04-02 14:31 | 10.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8593 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.978 | 118581.9419 | 217753.4258 | 27.3 | 43.4
61322 | 2021-04-02 14:31 | 10.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8029 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.982 | 118602.9247 | 217752.0003 | 27.3 | 43.4
61332 | 2021-04-02 14:32 | 10.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.6669 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.987 | 118611.5817 | 217718.1909 | 27.3 | 43.4
61342 | 2021-04-02 14:32 | 11.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.6667 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.994 | 118620.5944 | 217702.223 | 27.3 | 43.4
61352 | 2021-04-02 14:32 | 11.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5354 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.001 | 118635.5452 | 217693.1706 | 27.3 | 43.4
61362 | 2021-04-02 14:33 | 11.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.3808 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.012 | 118647.2618 | 217672.528 | 27.3 | 43.4
61372 | 2021-04-02 14:33 | 12.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.2217 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.021 | 118705.7026 | 217650.3621 | 27.3 | 43.4
61382 | 2021-04-02 14:33 | 12.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8013 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.03 | 118742.5713 | 217636.9522 | 27.3 | 43.4
61392 | 2021-04-02 14:34 | 12.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6988 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.042 | 118763.5273 | 217612.6613 | 27.3 | 43.4
61402 | 2021-04-02 14:34 | 13.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6102 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.046 | 118805.96 | 217599.3757 | 27.3 | 43.4
61412 | 2021-04-02 14:34 | 13.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.587 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.05 | 118804.7245 | 217585.8286 | 27.3 | 43.4
61422 | 2021-04-02 14:35 | 13.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3168 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.053 | 118788.3469 | 217562.0744 | 27.3 | 43.4
61432 | 2021-04-02 14:35 | 14.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4985 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.054 | 118792.9786 | 217551.0794 | 27.3 | 43.4
61442 | 2021-04-02 14:35 | 14.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3309 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.059 | 118798.3509 | 217516.8819 | 27.3 | 43.4
61452 | 2021-04-02 14:36 | 14.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1961 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.064 | 118813.1994 | 217497.241 | 27.3 | 43.4
61462 | 2021-04-02 14:36 | 15.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1404 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.068 | 118829.6229 | 217485.7299 | 27.3 | 43.4
61472 | 2021-04-02 14:36 | 15.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2568 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.076 | 118841.3471 | 217471.0201 | 27.3 | 43.4
61482 | 2021-04-02 14:37 | 15.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9269 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.081 | 118828.8702 | 217452.1557 | 27.3 | 43.4
61492 | 2021-04-02 14:37 | 16.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.108 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.075 | 118791.0239 | 217429.7697 | 27.3 | 43.4
61502 | 2021-04-02 14:37 | 16.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7221 | μmol/L | 33.7293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.07 | 118739.3082 | 217416.25 | 27.3 | 43.4
61512 | 2021-04-02 14:38 | 16.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1682 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.066 | 118696.0576 | 217401.3338 | 27.3 | 43.4
61522 | 2021-04-02 14:38 | 17.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2008 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.066 | 118674.7048 | 217379.3463 | 27.3 | 43.4
61532 | 2021-04-02 14:38 | 17.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1869 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.067 | 118689.2806 | 217371.2213 | 27.3 | 43.4
61542 | 2021-04-02 14:39 | 17.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2986 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.073 | 118686.626 | 217340.591 | 27.3 | 43.4
61552 | 2021-04-02 14:39 | 18.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.8852 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.084 | 118733.9661 | 217338.8453 | 27.3 | 43.4
61562 | 2021-04-02 14:39 | 18.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6952 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.093 | 118763.6938 | 217323.2052 | 27.3 | 43.4
61572 | 2021-04-02 14:40 | 18.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.5284 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.098 | 118773.4135 | 217307.4416 | 27.3 | 43.4
61582 | 2021-04-02 14:40 | 19.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2835 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.111 | 118818.5266 | 217291.0694 | 27.3 | 43.4
61592 | 2021-04-02 14:40 | 19.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0989 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.122 | 118861.3334 | 217272.7224 | 27.3 | 43.4
61602 | 2021-04-02 14:41 | 19.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0764 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.133 | 118914.4357 | 217259.4198 | 27.3 | 43.4
61612 | 2021-04-02 14:41 | 20.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8599 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.144 | 118955.0685 | 217242.9775 | 27.3 | 43.4
61622 | 2021-04-02 14:41 | 20.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8974 | μmol/L | 33.668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.153 | 119004.473 | 217242.658 | 27.3 | 43.4
61632 | 2021-04-02 14:42 | 20.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.93 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.16 | 119019.9279 | 217219.8372 | 27.3 | 43.4
61642 | 2021-04-02 14:42 | 21.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6859 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.166 | 119034.6562 | 217197.0006 | 27.3 | 43.4
61652 | 2021-04-02 14:42 | 21.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4927 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.173 | 119026.8025 | 217185.7976 | 27.3 | 43.4
61662 | 2021-04-02 14:43 | 21.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6493 | μmol/L | 33.668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.171 | 119022.7537 | 217164.9477 | 27.3 | 43.4
61672 | 2021-04-02 14:43 | 22.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.5255 | μmol/L | 33.668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.18 | 119043.0986 | 217143.0932 | 27.3 | 43.4
61682 | 2021-04-02 14:43 | 22.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4752 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.186 | 119064.6398 | 217133.3656 | 27.3 | 43.4
61692 | 2021-04-02 14:44 | 22.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3236 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.19 | 119086.9239 | 217116.7673 | 27.3 | 43.4
61702 | 2021-04-02 14:44 | 23.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.5656 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.243 | 119359.1559 | 217091.3857 | 27.3 | 43.4
61712 | 2021-04-02 14:44 | 23.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.859 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.309 | 119719.9778 | 217086.3281 | 27.3 | 43.4
61722 | 2021-04-02 14:45 | 23.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.6169 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.348 | 119937.8674 | 217076.0511 | 27.3 | 43.4
61732 | 2021-04-02 14:45 | 24.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.6242 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.431 | 120398.7223 | 217056.759 | 27.3 | 43.4
61742 | 2021-04-02 14:45 | 24.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7062 | μmol/L | 33.533 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.439 | 120423.5908 | 217057.829 | 27.3 | 43.4
61752 | 2021-04-02 14:46 | 24.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7687 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.432 | 120374.6977 | 217039.4583 | 27.3 | 43.4
61762 | 2021-04-02 14:46 | 25.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7182 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.424 | 120277.2358 | 217034.5239 | 27.3 | 43.4
61772 | 2021-04-02 14:46 | 25.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.3597 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.446 | 120401.9623 | 217014.0077 | 27.3 | 43.4
61782 | 2021-04-02 14:47 | 25.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8848 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.465 | 120520.6114 | 217003.6444 | 27.3 | 43.4
61792 | 2021-04-02 14:47 | 26.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8151 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.482 | 120591.3127 | 216980.7484 | 27.3 | 43.4
61802 | 2021-04-02 14:47 | 26.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6769 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.49 | 120611.9112 | 216959.8113 | 27.3 | 43.4
61812 | 2021-04-02 14:48 | 26.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6759 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.483 | 120561.8077 | 216957.7583 | 27.3 | 43.4
61822 | 2021-04-02 14:48 | 27.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7388 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.483 | 120521.4153 | 216945.3383 | 27.3 | 43.4
61832 | 2021-04-02 14:48 | 27.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0525 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.476 | 120504.9871 | 216924.4171 | 27.3 | 43.4
61842 | 2021-04-02 14:49 | 27.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0439 | μmol/L | 33.5575 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.479 | 120485.1234 | 216914.6759 | 27.3 | 43.4
61852 | 2021-04-02 14:49 | 28.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0124 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.479 | 120494.449 | 216905.343 | 27.3 | 43.4
61862 | 2021-04-02 14:49 | 28.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8521 | μmol/L | 33.5636 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.491 | 120527.4708 | 216897.3629 | 27.3 | 43.4
61872 | 2021-04-02 14:50 | 28.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6283 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.496 | 120554.5035 | 216876.9285 | 27.3 | 43.4
61882 | 2021-04-02 14:50 | 29.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7845 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.489 | 120514.2355 | 216868.7429 | 27.3 | 43.4
61892 | 2021-04-02 14:50 | 29.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8599 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.481 | 120435.706 | 216859.1841 | 27.3 | 43.4
61902 | 2021-04-02 14:51 | 29.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6712 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.481 | 120414.804 | 216835.0804 | 27.3 | 43.4
61912 | 2021-04-02 14:51 | 30.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7341 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.481 | 120388.9759 | 216839.2763 | 27.3 | 43.4
61922 | 2021-04-02 14:51 | 30.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0116 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.472 | 120355.6903 | 216824.4468 | 27.3 | 43.4
61932 | 2021-04-02 14:52 | 30.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8542 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.472 | 120326.3848 | 216810.6096 | 27.3 | 43.4
61942 | 2021-04-02 14:52 | 31.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8904 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.474 | 120317.6694 | 216794.6632 | 27.3 | 43.4
61952 | 2021-04-02 14:52 | 31.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8103 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.48 | 120339.5087 | 216781.8816 | 27.3 | 43.4
61962 | 2021-04-02 14:53 | 31.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8017 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.483 | 120351.9433 | 216771.6937 | 27.3 | 43.4
61972 | 2021-04-02 14:53 | 32.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6092 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.488 | 120378.4842 | 216764.3377 | 27.3 | 43.4
61982 | 2021-04-02 14:53 | 32.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.5607 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.494 | 120381.7949 | 216741.2267 | 27.3 | 43.4
61992 | 2021-04-02 14:54 | 32.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6416 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.495 | 120377.2711 | 216728.7738 | 27.3 | 43.4
62002 | 2021-04-02 14:54 | 33.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6644 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.498 | 120398.2263 | 216719.754 | 27.3 | 43.4
62012 | 2021-04-02 14:54 | 33.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.5531 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.504 | 120441.5928 | 216708.8519 | 27.3 | 43.4
62022 | 2021-04-02 14:55 | 33.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.2716 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.511 | 120451.3182 | 216697.8222 | 27.3 | 43.4
62032 | 2021-04-02 14:55 | 34.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.2147 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.52 | 120470.7913 | 216673.3272 | 27.3 | 43.4
62042 | 2021-04-02 14:55 | 34.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.9964 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.527 | 120516.8827 | 216675.8702 | 27.3 | 43.4
62052 | 2021-04-02 14:56 | 34.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8951 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.537 | 120569.4496 | 216658.3154 | 27.3 | 43.4
62062 | 2021-04-02 14:56 | 35.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.6471 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.551 | 120629.1629 | 216639.0985 | 27.3 | 43.4
62072 | 2021-04-02 14:56 | 35.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.5641 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.562 | 120703.1618 | 216628.3384 | 27.3 | 43.4
62082 | 2021-04-02 14:57 | 35.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3839 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.578 | 120770.0453 | 216629.4634 | 27.3 | 43.4
62092 | 2021-04-02 14:57 | 36.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2243 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.583 | 120807.805 | 216615.2631 | 27.3 | 43.4
62102 | 2021-04-02 14:57 | 36.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0842 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.596 | 120855.1151 | 216600.5609 | 27.3 | 43.4
62112 | 2021-04-02 14:58 | 36.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.9704 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.607 | 120916.1804 | 216601.1342 | 27.3 | 43.4
62122 | 2021-04-02 14:58 | 37.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8114 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.612 | 120921.2458 | 216587.598 | 27.3 | 43.4
62132 | 2021-04-02 14:58 | 37.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6283 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.607 | 120899.7819 | 216567.6232 | 27.3 | 43.4
62142 | 2021-04-02 14:59 | 37.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4992 | μmol/L | 33.7293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.605 | 120860.3999 | 216564.3209 | 27.3 | 43.4
62152 | 2021-04-02 14:59 | 38.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6678 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.604 | 120838.9259 | 216548.829 | 27.3 | 43.4
62162 | 2021-04-02 14:59 | 38.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.779 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.605 | 120839.7955 | 216535.4105 | 27.3 | 43.4
62172 | 2021-04-02 15:00 | 38.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.931 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.61 | 120863.3141 | 216526.9748 | 27.3 | 43.4
62182 | 2021-04-02 15:00 | 39.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6082 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.618 | 120907.3909 | 216521.5409 | 27.3 | 43.4
62192 | 2021-04-02 15:00 | 39.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.2991 | μmol/L | 33.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.625 | 120910.9845 | 216514.6394 | 27.3 | 43.4
62202 | 2021-04-02 15:01 | 39.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.335 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.627 | 120925.4301 | 216503.1467 | 27.3 | 43.4
62212 | 2021-04-02 15:01 | 40.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4902 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.627 | 120924.8824 | 216496.7371 | 27.3 | 43.4
62222 | 2021-04-02 15:01 | 40.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3184 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.633 | 120942.1188 | 216497.9717 | 27.3 | 43.4
62232 | 2021-04-02 15:02 | 40.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3232 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.635 | 120937.1065 | 216475.3334 | 27.3 | 43.4
62242 | 2021-04-02 15:02 | 41.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3687 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.641 | 120939.9865 | 216459.896 | 27.3 | 43.4
62252 | 2021-04-02 15:02 | 41.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4403 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.645 | 120970.7343 | 216464.3755 | 27.3 | 43.4