## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61013 | 2021-04-02 14:21 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.5685 | μmol/L | 33.1656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.228 | 112876.329 | 300995.8966 | 28.7 | 67.6
61029 | 2021-04-02 14:22 | 0.56154 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.3653 | μmol/L | 33.1412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.252 | 112975.0974 | 300947.4313 | 28.7 | 67.6
61033 | 2021-04-02 14:22 | 0.67223 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.18 | μmol/L | 33.1595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.259 | 112981.1794 | 300951.1074 | 28.7 | 67.6
61043 | 2021-04-02 14:22 | 1.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.6371 | μmol/L | 33.0374 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.27 | 112977.9885 | 300903.9114 | 28.7 | 67.6
61053 | 2021-04-02 14:22 | 1.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.3846 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.273 | 112947.0838 | 300862.3979 | 28.7 | 67.6
61063 | 2021-04-02 14:23 | 1.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.3212 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.262 | 112889.6589 | 300830.4474 | 28.7 | 67.6
61073 | 2021-04-02 14:23 | 2.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.3883 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.266 | 112921.278 | 300785.8858 | 28.7 | 67.6
61083 | 2021-04-02 14:23 | 2.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.2938 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.273 | 112905.4002 | 300737.8628 | 28.7 | 67.6
61093 | 2021-04-02 14:24 | 2.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.2197 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.274 | 112894.1565 | 300700.9214 | 28.7 | 67.6
61103 | 2021-04-02 14:24 | 3.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.0845 | μmol/L | 33.0862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.293 | 112956.9354 | 300668.15 | 28.7 | 67.6
61113 | 2021-04-02 14:24 | 3.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.0706 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.303 | 112942.1978 | 300645.8053 | 28.7 | 67.6
61123 | 2021-04-02 14:25 | 3.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.7111 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.323 | 112992.2398 | 300603.2379 | 28.7 | 67.6
61133 | 2021-04-02 14:25 | 4.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.4197 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.329 | 113004.6212 | 300556.8959 | 28.7 | 67.6
61143 | 2021-04-02 14:25 | 4.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.3023 | μmol/L | 33.1168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.34 | 113036.2714 | 300523.6223 | 28.7 | 67.6
61153 | 2021-04-02 14:26 | 4.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.3855 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.354 | 113078.7882 | 300485.8018 | 28.7 | 67.6
61163 | 2021-04-02 14:26 | 5.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.2852 | μmol/L | 33.074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.357 | 113067.9448 | 300443.6896 | 28.7 | 67.6
61173 | 2021-04-02 14:26 | 5.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.8108 | μmol/L | 33.019 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.338 | 113048.2818 | 300403.4566 | 28.7 | 67.6
61183 | 2021-04-02 14:27 | 5.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.4763 | μmol/L | 33.0923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.336 | 112997.8713 | 300368.6891 | 28.7 | 67.6
61193 | 2021-04-02 14:27 | 6.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.0481 | μmol/L | 33.1168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.359 | 113070.7661 | 300327.3329 | 28.7 | 67.6
61203 | 2021-04-02 14:27 | 6.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.392 | μmol/L | 33.0496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.358 | 113046.0786 | 300293.8928 | 28.7 | 67.6
61213 | 2021-04-02 14:28 | 6.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.6878 | μmol/L | 33.1412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.377 | 113095.9915 | 300274.3163 | 28.7 | 67.6
61223 | 2021-04-02 14:28 | 7.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.5013 | μmol/L | 33.1412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.391 | 113144.0077 | 300228.0689 | 28.7 | 67.6
61233 | 2021-04-02 14:28 | 7.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.8172 | μmol/L | 33.0496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.401 | 113137.8636 | 300199.9731 | 28.7 | 67.6
61243 | 2021-04-02 14:29 | 7.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.95 | μmol/L | 33.0007 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.409 | 113155.7741 | 300151.1899 | 28.7 | 67.6
61253 | 2021-04-02 14:29 | 8.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.149 | μmol/L | 33.1045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.431 | 113218.3319 | 300118.7333 | 28.7 | 67.6
61263 | 2021-04-02 14:29 | 8.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9137 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.451 | 113266.1875 | 300073.0143 | 28.7 | 67.6
61273 | 2021-04-02 14:30 | 8.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.2349 | μmol/L | 33.019 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.456 | 113248.0978 | 300026.0971 | 28.7 | 67.6
61283 | 2021-04-02 14:30 | 9.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.2684 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.431 | 113174.3439 | 300017.9929 | 28.7 | 67.6
61293 | 2021-04-02 14:30 | 9.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.0329 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.433 | 113170.5057 | 299970.4256 | 28.7 | 67.6
61303 | 2021-04-02 14:31 | 9.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.8043 | μmol/L | 33.1534 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.439 | 113196.2229 | 299956.6524 | 28.7 | 67.6
61313 | 2021-04-02 14:31 | 10.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9004 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.452 | 113213.7742 | 299913.0413 | 28.7 | 67.6
61323 | 2021-04-02 14:31 | 10.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6224 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.455 | 113223.6462 | 299872.3218 | 28.7 | 67.6
61333 | 2021-04-02 14:32 | 10.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6522 | μmol/L | 33.1412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.455 | 113239.3564 | 299841.5569 | 28.7 | 67.6
61343 | 2021-04-02 14:32 | 11.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.5232 | μmol/L | 33.1595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.458 | 113248.0804 | 299810.938 | 28.7 | 67.6
61353 | 2021-04-02 14:32 | 11.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.4704 | μmol/L | 33.1595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.462 | 113277.6041 | 299766.5163 | 28.7 | 67.6
61363 | 2021-04-02 14:33 | 11.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.1931 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.474 | 113351.225 | 299745.3975 | 28.7 | 67.6
61373 | 2021-04-02 14:33 | 12.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.9066 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.489 | 113381.8793 | 299714.4729 | 28.7 | 67.6
61383 | 2021-04-02 14:33 | 12.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.5104 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.495 | 113397.1899 | 299692.2 | 28.7 | 67.6
61393 | 2021-04-02 14:34 | 12.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6671 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.514 | 113470.1658 | 299665.812 | 28.7 | 67.6
61403 | 2021-04-02 14:34 | 13.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.7065 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.511 | 113410.3037 | 299628.7187 | 28.7 | 67.6
61413 | 2021-04-02 14:34 | 13.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6382 | μmol/L | 33.1412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.532 | 113441.4555 | 299587.528 | 28.7 | 67.6
61423 | 2021-04-02 14:35 | 13.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.569 | μmol/L | 33.1717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.526 | 113463.8934 | 299549.6282 | 28.7 | 67.6
61433 | 2021-04-02 14:35 | 14.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8146 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.496 | 113421.4494 | 299526.2228 | 28.7 | 67.6
61443 | 2021-04-02 14:35 | 14.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.9307 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.521 | 113582.614 | 299496.2275 | 28.7 | 67.6
61453 | 2021-04-02 14:36 | 14.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2842 | μmol/L | 33.1656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.55 | 113670.0016 | 299465.5197 | 28.7 | 67.6
61463 | 2021-04-02 14:36 | 15.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8041 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.58 | 113767.8166 | 299432.8518 | 28.7 | 67.6
61473 | 2021-04-02 14:36 | 15.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.381 | μmol/L | 33.1962 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.608 | 113860.6346 | 299408.9479 | 28.7 | 67.6
61483 | 2021-04-02 14:37 | 15.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.6223 | μmol/L | 33.1595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.603 | 113841.626 | 299373.7215 | 28.7 | 67.6
61493 | 2021-04-02 14:37 | 16.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.7723 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.596 | 113812.6478 | 299358.9772 | 28.7 | 67.6
61503 | 2021-04-02 14:37 | 16.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5466 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.593 | 113802.3892 | 299333.8013 | 28.7 | 67.6
61513 | 2021-04-02 14:38 | 16.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5047 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.603 | 113803.7227 | 299294.1267 | 28.7 | 67.6
61523 | 2021-04-02 14:38 | 17.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5381 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.614 | 113808.6172 | 299262.7642 | 28.7 | 67.6
61533 | 2021-04-02 14:38 | 17.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4312 | μmol/L | 33.129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.629 | 113822.3063 | 299241.0856 | 28.7 | 67.6
61543 | 2021-04-02 14:39 | 17.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.6824 | μmol/L | 33.074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.63 | 113817.6742 | 299208.7093 | 28.7 | 67.6
61553 | 2021-04-02 14:39 | 18.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.6156 | μmol/L | 33.1717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.599 | 113757.0279 | 299178.9942 | 28.7 | 67.6
61563 | 2021-04-02 14:39 | 18.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4104 | μmol/L | 33.1901 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.608 | 113776.6104 | 299173.1023 | 28.7 | 67.6
61573 | 2021-04-02 14:40 | 18.6729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5188 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.62 | 113783.2532 | 299121.2749 | 28.7 | 67.6
61583 | 2021-04-02 14:40 | 19.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.1425 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.649 | 113874.7249 | 299100.9192 | 28.7 | 67.6
61593 | 2021-04-02 14:40 | 19.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0591 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.669 | 113908.7388 | 299082.1156 | 28.7 | 67.6
61603 | 2021-04-02 14:41 | 19.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.9055 | μmol/L | 33.1656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.656 | 113894.9172 | 299049.3388 | 28.7 | 67.6
61613 | 2021-04-02 14:41 | 20.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2371 | μmol/L | 33.1045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.653 | 113871.3348 | 299018.3413 | 28.7 | 67.6
61623 | 2021-04-02 14:41 | 20.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4095 | μmol/L | 33.074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.651 | 113845.452 | 298996.6763 | 28.7 | 67.6
61633 | 2021-04-02 14:42 | 20.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.179 | μmol/L | 33.0923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.662 | 113871.4913 | 298965.042 | 28.7 | 67.6
61643 | 2021-04-02 14:42 | 21.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5301 | μmol/L | 33.0435 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.653 | 113861.5406 | 298945.6473 | 28.7 | 67.6
61653 | 2021-04-02 14:42 | 21.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3773 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.658 | 113884.7811 | 298925.2332 | 28.7 | 67.6
61663 | 2021-04-02 14:43 | 21.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.1795 | μmol/L | 33.0679 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.671 | 113936.2092 | 298879.7158 | 28.7 | 67.6
61673 | 2021-04-02 14:43 | 22.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.8325 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.682 | 113947.8946 | 298866.6714 | 28.7 | 67.6
61683 | 2021-04-02 14:43 | 22.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5709 | μmol/L | 33.1168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.7 | 113989.1032 | 298840.0352 | 28.7 | 67.6
61693 | 2021-04-02 14:44 | 22.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.562 | μmol/L | 33.0862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.712 | 114010.54 | 298819.2319 | 28.7 | 67.6
61703 | 2021-04-02 14:44 | 23.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.3363 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.725 | 114020.3892 | 298779.2435 | 28.7 | 67.6
61713 | 2021-04-02 14:44 | 23.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5525 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.715 | 114009.4253 | 298766.8648 | 28.7 | 67.6
61723 | 2021-04-02 14:45 | 23.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0538 | μmol/L | 33.0374 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.692 | 113913.8173 | 298741.7359 | 28.7 | 67.6
61733 | 2021-04-02 14:45 | 24.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6753 | μmol/L | 33.0679 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.71 | 113983.3172 | 298720.5801 | 28.7 | 67.6
61743 | 2021-04-02 14:45 | 24.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.4712 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.71 | 113995.9948 | 298707.5279 | 28.7 | 67.6
61753 | 2021-04-02 14:46 | 24.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.2686 | μmol/L | 33.1045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.728 | 114029.4576 | 298688.2569 | 28.7 | 67.6
61763 | 2021-04-02 14:46 | 25.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.3565 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.737 | 114087.9815 | 298653.6696 | 28.7 | 67.6
61773 | 2021-04-02 14:46 | 25.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.2916 | μmol/L | 33.0862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.733 | 114074.5662 | 298636.0772 | 28.7 | 67.6
61783 | 2021-04-02 14:47 | 25.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.1853 | μmol/L | 33.0923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.739 | 114136.959 | 298603.7459 | 28.7 | 67.6
61793 | 2021-04-02 14:47 | 26.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.9069 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.772 | 114270.164 | 298581.8799 | 28.7 | 67.6
61803 | 2021-04-02 14:47 | 26.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.7733 | μmol/L | 33.0251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 114351.4358 | 298558.895 | 28.7 | 67.6
61813 | 2021-04-02 14:48 | 26.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.8023 | μmol/L | 33.019 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 114341.2916 | 298522.5986 | 28.7 | 67.6
61823 | 2021-04-02 14:48 | 27.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.8346 | μmol/L | 33.0068 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.798 | 114336.1888 | 298502.1315 | 28.7 | 67.6
61833 | 2021-04-02 14:48 | 27.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.426 | μmol/L | 33.0984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 114346.6021 | 298487.6823 | 28.7 | 67.6
61843 | 2021-04-02 14:49 | 27.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.6993 | μmol/L | 33.0435 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.795 | 114297.578 | 298458.1135 | 28.7 | 67.6
61853 | 2021-04-02 14:49 | 28.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.5653 | μmol/L | 33.0312 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.81 | 114380.6443 | 298442.2766 | 28.7 | 67.6
61863 | 2021-04-02 14:49 | 28.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2931 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.82 | 114411.1429 | 298420.7097 | 28.7 | 67.6
61873 | 2021-04-02 14:50 | 28.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.1978 | μmol/L | 33.0496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.832 | 114433.5163 | 298389.6648 | 28.7 | 67.6
61883 | 2021-04-02 14:50 | 29.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.3448 | μmol/L | 33.0374 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.825 | 114407.9408 | 298387.2205 | 28.7 | 67.6
61893 | 2021-04-02 14:50 | 29.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.6076 | μmol/L | 33.0007 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.818 | 114377.3209 | 298360.3306 | 28.7 | 67.6
61903 | 2021-04-02 14:51 | 29.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.3253 | μmol/L | 33.0496 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.822 | 114353.7377 | 298331.965 | 28.7 | 67.6
61913 | 2021-04-02 14:51 | 30.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.1716 | μmol/L | 33.074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.825 | 114415.659 | 298319.8602 | 28.7 | 67.6
61923 | 2021-04-02 14:51 | 30.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.289 | μmol/L | 32.9763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.852 | 114512.5033 | 298280.6219 | 28.7 | 67.6
61933 | 2021-04-02 14:52 | 30.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.5579 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.871 | 114590.2461 | 298259.8902 | 28.7 | 67.6
61943 | 2021-04-02 14:52 | 31.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.6476 | μmol/L | 33.0557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.873 | 114582.5226 | 298258.3176 | 28.7 | 67.6
61953 | 2021-04-02 14:52 | 31.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.6535 | μmol/L | 33.0679 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.868 | 114580.3065 | 298244.4474 | 28.7 | 67.6
61963 | 2021-04-02 14:53 | 31.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4692 | μmol/L | 33.0801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.878 | 114581.8531 | 298218.4808 | 28.7 | 67.6
61973 | 2021-04-02 14:53 | 32.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.5089 | μmol/L | 33.0312 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.893 | 114605.8426 | 298198.3214 | 28.7 | 67.6
61983 | 2021-04-02 14:53 | 32.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4413 | μmol/L | 33.0618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 114589.1277 | 298170.711 | 28.7 | 67.6
61993 | 2021-04-02 14:54 | 32.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.3187 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.874 | 114525.6066 | 298149.2698 | 28.7 | 67.6
62003 | 2021-04-02 14:54 | 33.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.519 | μmol/L | 33.1045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.865 | 114491.9562 | 298131.9275 | 28.7 | 67.6
62013 | 2021-04-02 14:54 | 33.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.438 | μmol/L | 33.0679 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.885 | 114584.7423 | 298113.5932 | 28.7 | 67.6
62023 | 2021-04-02 14:55 | 33.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1357 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.893 | 114641.6245 | 298095.2175 | 28.7 | 67.6
62033 | 2021-04-02 14:55 | 34.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.951 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.894 | 114673.2489 | 298079.3173 | 28.7 | 67.6
62043 | 2021-04-02 14:55 | 34.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.037 | μmol/L | 33.129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.894 | 114670.9553 | 298055.6326 | 28.7 | 67.6
62053 | 2021-04-02 14:56 | 34.6729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0736 | μmol/L | 33.0862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.907 | 114686.3922 | 298038.6365 | 28.7 | 67.6
62063 | 2021-04-02 14:56 | 35.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4596 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.933 | 114751.8893 | 298017.031 | 28.7 | 67.6
62073 | 2021-04-02 14:56 | 35.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4162 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.941 | 114784.1888 | 298005.4192 | 28.7 | 67.6
62083 | 2021-04-02 14:57 | 35.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.5831 | μmol/L | 33.129 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.93 | 114738.7022 | 297978.3733 | 28.7 | 67.6
62093 | 2021-04-02 14:57 | 36.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6369 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.928 | 114778.8151 | 297961.4352 | 28.7 | 67.6
62103 | 2021-04-02 14:57 | 36.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6552 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.922 | 114829.6246 | 297934.7686 | 28.7 | 67.6
62113 | 2021-04-02 14:58 | 36.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9771 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.976 | 115032.2586 | 297943.429 | 28.7 | 67.6
62123 | 2021-04-02 14:58 | 37.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.901 | μmol/L | 33.0923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.998 | 115054.6705 | 297928.9351 | 28.7 | 67.6
62133 | 2021-04-02 14:58 | 37.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6145 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.005 | 115088.0856 | 297886.6851 | 28.7 | 67.6
62143 | 2021-04-02 14:59 | 37.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4815 | μmol/L | 33.1717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.002 | 115067.3575 | 297880.1566 | 28.7 | 67.6
62153 | 2021-04-02 14:59 | 38.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7372 | μmol/L | 33.1168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.002 | 115069.7775 | 297869.2919 | 28.7 | 67.6
62163 | 2021-04-02 14:59 | 38.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6097 | μmol/L | 33.1656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.994 | 115044.7504 | 297845.2823 | 28.7 | 67.6
62173 | 2021-04-02 15:00 | 38.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6576 | μmol/L | 33.1473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.997 | 115043.1957 | 297832.5272 | 28.7 | 67.6
62183 | 2021-04-02 15:00 | 39.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3 | μmol/L | 33.184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.012 | 115070.4671 | 297803.9379 | 28.7 | 67.6
62193 | 2021-04-02 15:00 | 39.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4149 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.021 | 115091.4841 | 297784.4758 | 28.7 | 67.6
62203 | 2021-04-02 15:01 | 39.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4592 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.022 | 115091.1762 | 297778.4853 | 28.7 | 67.6
62213 | 2021-04-02 15:01 | 40.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5999 | μmol/L | 33.1168 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.013 | 115070.5773 | 297748.5186 | 28.7 | 67.6
62223 | 2021-04-02 15:01 | 40.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3775 | μmol/L | 33.1351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.024 | 115129.6202 | 297737.1802 | 28.7 | 67.6
62233 | 2021-04-02 15:02 | 40.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6158 | μmol/L | 33.1107 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.014 | 115067.186 | 297733.587 | 28.7 | 67.6
62243 | 2021-04-02 15:02 | 41.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.642 | μmol/L | 33.0862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.021 | 115098.1433 | 297720.0728 | 28.7 | 67.6
62253 | 2021-04-02 15:02 | 41.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.347 | μmol/L | 33.1229 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.031 | 115136.6852 | 297703.8057 | 28.7 | 67.6