## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 15:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
61014 | 2021-04-02 14:21 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8638 | μmol/L | 33.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.939 | 149443.0273 | 275977.9517 | 36.4 | 83.1
61025 | 2021-04-02 14:22 | 0.52174 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.0123 | μmol/L | 33.5003 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.917 | 148807.5567 | 275935.6067 | 36.4 | 83.1
61034 | 2021-04-02 14:22 | 0.66589 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1178 | μmol/L | 33.4757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.919 | 148882.4265 | 275917.0448 | 36.4 | 83.1
61044 | 2021-04-02 14:22 | 0.99958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1178 | μmol/L | 33.4572 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.926 | 149139.9215 | 275870.0607 | 36.4 | 83.1
61054 | 2021-04-02 14:22 | 1.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1273 | μmol/L | 33.4449 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.93 | 149154.9502 | 275846.7784 | 36.4 | 83.1
61064 | 2021-04-02 14:23 | 1.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7248 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.923 | 149245.3211 | 275805.5551 | 36.4 | 83.1
61074 | 2021-04-02 14:23 | 1.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6148 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.933 | 149104.417 | 275770.7228 | 36.4 | 83.1
61084 | 2021-04-02 14:23 | 2.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4189 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.949 | 149208.8959 | 275732.9055 | 36.4 | 83.1
61094 | 2021-04-02 14:24 | 2.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.314 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.961 | 149176.8931 | 275697.3226 | 36.4 | 83.1
61104 | 2021-04-02 14:24 | 2.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3811 | μmol/L | 33.4634 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.975 | 149251.4209 | 275677.7819 | 36.4 | 83.1
61114 | 2021-04-02 14:24 | 3.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2046 | μmol/L | 33.488 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.978 | 149319.9284 | 275626.3996 | 36.4 | 83.1
61124 | 2021-04-02 14:25 | 3.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1189 | μmol/L | 33.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.991 | 149450.0634 | 275595.5876 | 36.4 | 83.1
61134 | 2021-04-02 14:25 | 3.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.6002 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.004 | 149521.5922 | 275566.5308 | 36.4 | 83.1
61144 | 2021-04-02 14:25 | 4.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.3678 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.018 | 149585.724 | 275528.0612 | 36.4 | 83.1
61154 | 2021-04-02 14:26 | 4.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0098 | μmol/L | 33.3896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.029 | 149637.3342 | 275498.0243 | 36.4 | 83.1
61164 | 2021-04-02 14:26 | 4.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.5157 | μmol/L | 33.4572 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.038 | 149665.392 | 275471.9579 | 36.4 | 83.1
61174 | 2021-04-02 14:26 | 5.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.8478 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.057 | 149763.9792 | 275435.5295 | 36.4 | 83.1
61184 | 2021-04-02 14:27 | 5.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.569 | μmol/L | 33.5618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.065 | 149798.4944 | 275401.086 | 36.4 | 83.1
61194 | 2021-04-02 14:27 | 5.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4755 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.081 | 149841.4497 | 275368.4202 | 36.4 | 83.1
61204 | 2021-04-02 14:27 | 6.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3723 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.093 | 149894.7717 | 275337.1823 | 36.4 | 83.1
61214 | 2021-04-02 14:28 | 6.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4054 | μmol/L | 33.5188 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.093 | 149905.1978 | 275312.255 | 36.4 | 83.1
61224 | 2021-04-02 14:28 | 6.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5279 | μmol/L | 33.5065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.089 | 149818.2517 | 275270.5033 | 36.4 | 83.1
61234 | 2021-04-02 14:28 | 7.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4331 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.084 | 149729.0276 | 275252.1829 | 36.4 | 83.1
61244 | 2021-04-02 14:29 | 7.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3635 | μmol/L | 33.5003 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.103 | 149844.0162 | 275221.1176 | 36.4 | 83.1
61254 | 2021-04-02 14:29 | 7.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.1566 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.113 | 149858.6386 | 275200.7041 | 36.4 | 83.1
61264 | 2021-04-02 14:29 | 8.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.9645 | μmol/L | 33.5065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.129 | 149905.1985 | 275172.6075 | 36.4 | 83.1
61274 | 2021-04-02 14:30 | 8.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.9364 | μmol/L | 33.5065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.131 | 149893.144 | 275146.6556 | 36.4 | 83.1
61284 | 2021-04-02 14:30 | 8.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4308 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.16 | 150074.2717 | 275106.7877 | 36.4 | 83.1
61294 | 2021-04-02 14:30 | 9.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6825 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.135 | 149864.4588 | 275068.8418 | 36.4 | 83.1
61304 | 2021-04-02 14:31 | 9.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.8293 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.148 | 149862.347 | 275038.6197 | 36.4 | 83.1
61314 | 2021-04-02 14:31 | 9.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.5246 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.158 | 149977.4558 | 274997.654 | 36.4 | 83.1
61324 | 2021-04-02 14:31 | 10.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.047 | μmol/L | 33.568 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.171 | 150076.787 | 274975.6176 | 36.4 | 83.1
61334 | 2021-04-02 14:32 | 10.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7631 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.189 | 150111.1047 | 274948.2151 | 36.4 | 83.1
61344 | 2021-04-02 14:32 | 10.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9514 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.199 | 150177.0381 | 274926.631 | 36.4 | 83.1
61354 | 2021-04-02 14:32 | 11.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.6811 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.209 | 150166.4483 | 274899.664 | 36.4 | 83.1
61364 | 2021-04-02 14:33 | 11.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.5746 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.219 | 150258.1763 | 274865.653 | 36.4 | 83.1
61374 | 2021-04-02 14:33 | 11.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.6303 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.215 | 150191.4217 | 274839.3657 | 36.4 | 83.1
61384 | 2021-04-02 14:33 | 12.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.4626 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.22 | 150102.2308 | 274820.9413 | 36.4 | 83.1
61394 | 2021-04-02 14:34 | 12.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.5051 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.224 | 150183.875 | 274811.0791 | 36.4 | 83.1
61404 | 2021-04-02 14:34 | 12.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7388 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.226 | 150077.2136 | 274778.5752 | 36.4 | 83.1
61414 | 2021-04-02 14:34 | 13.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.171 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.241 | 150232.2563 | 274745.7517 | 36.4 | 83.1
61424 | 2021-04-02 14:35 | 13.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8939 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.261 | 150400.8251 | 274718.598 | 36.4 | 83.1
61434 | 2021-04-02 14:35 | 13.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7832 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.269 | 150461.5886 | 274694.7756 | 36.4 | 83.1
61444 | 2021-04-02 14:35 | 14.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7971 | μmol/L | 33.5495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.268 | 150345.7118 | 274664.7281 | 36.4 | 83.1
61454 | 2021-04-02 14:36 | 14.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.5119 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.291 | 150410.7664 | 274647.0541 | 36.4 | 83.1
61464 | 2021-04-02 14:36 | 14.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1644 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.328 | 150713.6389 | 274629.8895 | 36.4 | 83.1
61474 | 2021-04-02 14:36 | 15.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.1443 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.393 | 151103.2653 | 274592.0976 | 36.4 | 83.1
61484 | 2021-04-02 14:37 | 15.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.832 | μmol/L | 33.5864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.397 | 151167.2665 | 274577.8268 | 36.4 | 83.1
61494 | 2021-04-02 14:37 | 15.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.744 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.42 | 151420.0258 | 274548.8275 | 36.4 | 83.1
61504 | 2021-04-02 14:37 | 16.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.0191 | μmol/L | 33.5741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.388 | 151070.1717 | 274533.1426 | 36.4 | 83.1
61514 | 2021-04-02 14:38 | 16.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.3415 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.388 | 151129.3389 | 274519.3063 | 36.4 | 83.1
61524 | 2021-04-02 14:38 | 16.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.1519 | μmol/L | 33.5618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.383 | 150955.7375 | 274476.6888 | 36.4 | 83.1
61534 | 2021-04-02 14:38 | 17.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9324 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.392 | 150913.2439 | 274451.6073 | 36.4 | 83.1
61544 | 2021-04-02 14:39 | 17.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2469 | μmol/L | 33.4942 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.402 | 151091.9745 | 274432.069 | 36.4 | 83.1
61554 | 2021-04-02 14:39 | 17.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.117 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.395 | 150950.3278 | 274421.0482 | 36.4 | 83.1
61564 | 2021-04-02 14:39 | 18.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6563 | μmol/L | 33.568 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.417 | 151085.7109 | 274386.7767 | 36.4 | 83.1
61574 | 2021-04-02 14:40 | 18.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.2746 | μmol/L | 33.5864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.438 | 151288.8786 | 274376.2729 | 36.4 | 83.1
61584 | 2021-04-02 14:40 | 18.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.498 | μmol/L | 33.5618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.431 | 151117.4135 | 274338.4395 | 36.4 | 83.1
61594 | 2021-04-02 14:40 | 19.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.5227 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.441 | 151154.3018 | 274328.0119 | 36.4 | 83.1
61604 | 2021-04-02 14:41 | 19.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.5412 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.442 | 151100.9012 | 274303.7105 | 36.4 | 83.1
61614 | 2021-04-02 14:41 | 19.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8846 | μmol/L | 33.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.438 | 151117.942 | 274286.542 | 36.4 | 83.1
61624 | 2021-04-02 14:41 | 20.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.5141 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.444 | 151109.0129 | 274252.9847 | 36.4 | 83.1
61634 | 2021-04-02 14:42 | 20.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6201 | μmol/L | 33.4942 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.448 | 151247.0114 | 274232.6118 | 36.4 | 83.1
61644 | 2021-04-02 14:42 | 20.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.3228 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.451 | 151198.1523 | 274218.4607 | 36.4 | 83.1
61654 | 2021-04-02 14:42 | 21.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.467 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.464 | 151342.8737 | 274204.1467 | 36.4 | 83.1
61664 | 2021-04-02 14:43 | 21.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8502 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.493 | 151540.6284 | 274173.1413 | 36.4 | 83.1
61674 | 2021-04-02 14:43 | 21.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0284 | μmol/L | 33.488 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.494 | 151459.2075 | 274154.8454 | 36.4 | 83.1
61684 | 2021-04-02 14:43 | 22.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.5262 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.517 | 151613.7106 | 274127.6875 | 36.4 | 83.1
61694 | 2021-04-02 14:44 | 22.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.4467 | μmol/L | 33.5065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.53 | 151568.6094 | 274117.2057 | 36.4 | 83.1
61704 | 2021-04-02 14:44 | 22.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.2031 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.541 | 151674.2828 | 274088.9546 | 36.4 | 83.1
61714 | 2021-04-02 14:44 | 23.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.0249 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.559 | 151836.5391 | 274066.129 | 36.4 | 83.1
61724 | 2021-04-02 14:45 | 23.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.859 | μmol/L | 33.5188 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.569 | 151886.7169 | 274038.9086 | 36.4 | 83.1
61734 | 2021-04-02 14:45 | 23.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.7419 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.573 | 151894.6908 | 274026.6913 | 36.4 | 83.1
61744 | 2021-04-02 14:45 | 24.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.6242 | μmol/L | 33.4942 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.596 | 151991.9181 | 274004.4623 | 36.4 | 83.1
61754 | 2021-04-02 14:46 | 24.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3322 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.606 | 151967.9788 | 273986.5658 | 36.4 | 83.1
61764 | 2021-04-02 14:46 | 24.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3623 | μmol/L | 33.5372 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.599 | 151910.5912 | 273982.4603 | 36.4 | 83.1
61774 | 2021-04-02 14:46 | 25.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.7403 | μmol/L | 33.4326 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.611 | 151869.8199 | 273946.5213 | 36.4 | 83.1
61784 | 2021-04-02 14:47 | 25.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3955 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.606 | 151870.913 | 273925.1965 | 36.4 | 83.1
61794 | 2021-04-02 14:47 | 25.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.7354 | μmol/L | 33.4388 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.609 | 151917.6876 | 273904.5556 | 36.4 | 83.1
61804 | 2021-04-02 14:47 | 26.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.4082 | μmol/L | 33.4634 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.624 | 152015.7247 | 273893.3731 | 36.4 | 83.1
61814 | 2021-04-02 14:48 | 26.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2164 | μmol/L | 33.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.636 | 152093.7599 | 273865.181 | 36.4 | 83.1
61824 | 2021-04-02 14:48 | 26.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2641 | μmol/L | 33.4265 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.649 | 152184.9958 | 273845.2486 | 36.4 | 83.1
61834 | 2021-04-02 14:48 | 27.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.0719 | μmol/L | 33.3834 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.68 | 152278.9496 | 273838.4143 | 36.4 | 83.1
61844 | 2021-04-02 14:49 | 27.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.9823 | μmol/L | 33.3957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.682 | 152383.2501 | 273821.3318 | 36.4 | 83.1
61854 | 2021-04-02 14:49 | 27.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.7829 | μmol/L | 33.3957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.697 | 152427.1268 | 273811.1739 | 36.4 | 83.1
61864 | 2021-04-02 14:49 | 28.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.655 | μmol/L | 33.3896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.709 | 152489.6627 | 273781.2072 | 36.4 | 83.1
61874 | 2021-04-02 14:50 | 28.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.3899 | μmol/L | 33.3896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.729 | 152632.7997 | 273763.8701 | 36.4 | 83.1
61884 | 2021-04-02 14:50 | 28.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.3468 | μmol/L | 33.3773 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.737 | 152671.4405 | 273743.6332 | 36.4 | 83.1
61894 | 2021-04-02 14:50 | 29.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.1572 | μmol/L | 33.4326 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.73 | 152578.28 | 273748.8089 | 36.4 | 83.1
61904 | 2021-04-02 14:51 | 29.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.4408 | μmol/L | 33.3588 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.737 | 152646.0186 | 273717.0764 | 36.4 | 83.1
61914 | 2021-04-02 14:51 | 29.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.7774 | μmol/L | 33.3957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.773 | 152732.4374 | 273693.4101 | 36.4 | 83.1
61924 | 2021-04-02 14:51 | 30.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.1006 | μmol/L | 33.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 152965.4401 | 273679.8606 | 36.4 | 83.1
61934 | 2021-04-02 14:52 | 30.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.8531 | μmol/L | 33.5003 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.803 | 153013.5605 | 273666.5199 | 36.4 | 83.1
61944 | 2021-04-02 14:52 | 30.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.9613 | μmol/L | 33.4634 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.809 | 153048.4148 | 273651.0002 | 36.4 | 83.1
61954 | 2021-04-02 14:52 | 31.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.3484 | μmol/L | 33.4388 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.789 | 152828.8179 | 273630.5338 | 36.4 | 83.1
61964 | 2021-04-02 14:53 | 31.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.1317 | μmol/L | 33.4634 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.796 | 152880.8884 | 273612.2318 | 36.4 | 83.1
61974 | 2021-04-02 14:53 | 31.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.8019 | μmol/L | 33.365 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.783 | 152739.5859 | 273613.0583 | 36.4 | 83.1
61984 | 2021-04-02 14:53 | 32.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0297 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.78 | 152721.9187 | 273601.3122 | 36.4 | 83.1
61994 | 2021-04-02 14:54 | 32.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0513 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.795 | 152815.5058 | 273566.6878 | 36.4 | 83.1
62004 | 2021-04-02 14:54 | 32.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.9054 | μmol/L | 33.5003 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.799 | 152725.8866 | 273554.0142 | 36.4 | 83.1
62014 | 2021-04-02 14:54 | 33.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.5586 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.816 | 152875.2118 | 273535.3786 | 36.4 | 83.1
62024 | 2021-04-02 14:55 | 33.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.2864 | μmol/L | 33.5065 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.844 | 153172.865 | 273518.8278 | 36.4 | 83.1
62034 | 2021-04-02 14:55 | 33.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3435 | μmol/L | 33.5003 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.842 | 152919.2066 | 273486.7063 | 36.4 | 83.1
62044 | 2021-04-02 14:55 | 34.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.8982 | μmol/L | 33.568 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.85 | 153146.3671 | 273475.9044 | 36.4 | 83.1
62054 | 2021-04-02 14:56 | 34.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.0191 | μmol/L | 33.5311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.855 | 153193.8094 | 273468.2611 | 36.4 | 83.1
62064 | 2021-04-02 14:56 | 34.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.5377 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.873 | 153282.0508 | 273451.9373 | 36.4 | 83.1
62074 | 2021-04-02 14:56 | 35.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6195 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 153231.8191 | 273429.4448 | 36.4 | 83.1
62084 | 2021-04-02 14:57 | 35.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.5477 | μmol/L | 33.568 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.877 | 153217.7524 | 273425.2845 | 36.4 | 83.1
62094 | 2021-04-02 14:57 | 35.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6604 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.885 | 153286.8334 | 273416.9818 | 36.4 | 83.1
62104 | 2021-04-02 14:57 | 36.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6455 | μmol/L | 33.5434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.879 | 153178.2427 | 273397.041 | 36.4 | 83.1
62114 | 2021-04-02 14:58 | 36.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.1953 | μmol/L | 33.5557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.909 | 153373.0044 | 273364.9364 | 36.4 | 83.1
62124 | 2021-04-02 14:58 | 36.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8174 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.955 | 153764.181 | 273346.2771 | 36.4 | 83.1
62134 | 2021-04-02 14:58 | 37.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8036 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.968 | 153708.224 | 273339.1672 | 36.4 | 83.1
62144 | 2021-04-02 14:59 | 37.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2995 | μmol/L | 33.5803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.969 | 153821.1014 | 273324.2221 | 36.4 | 83.1
62154 | 2021-04-02 14:59 | 37.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8671 | μmol/L | 33.4511 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.975 | 153832.4328 | 273323.4762 | 36.4 | 83.1
62164 | 2021-04-02 14:59 | 38.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7343 | μmol/L | 33.488 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.971 | 153743.7723 | 273293.8576 | 36.4 | 83.1
62174 | 2021-04-02 15:00 | 38.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5592 | μmol/L | 33.4818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.987 | 153801.5941 | 273287.8214 | 36.4 | 83.1
62184 | 2021-04-02 15:00 | 38.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.726 | μmol/L | 33.5926 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.009 | 154041.1381 | 273278.2078 | 36.4 | 83.1
62194 | 2021-04-02 15:00 | 39.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.0341 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.016 | 153984.4287 | 273260.2638 | 36.4 | 83.1
62204 | 2021-04-02 15:01 | 39.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.914 | μmol/L | 33.5188 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.023 | 154041.6025 | 273251.5914 | 36.4 | 83.1
62214 | 2021-04-02 15:01 | 39.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1053 | μmol/L | 33.488 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.02 | 154072.9509 | 273240.6338 | 36.4 | 83.1
62224 | 2021-04-02 15:01 | 40.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.0725 | μmol/L | 33.5126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.013 | 153976.4894 | 273224.1433 | 36.4 | 83.1
62234 | 2021-04-02 15:02 | 40.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.5515 | μmol/L | 33.5249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.049 | 154224.683 | 273210.4308 | 36.4 | 83.1
62244 | 2021-04-02 15:02 | 40.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6934 | μmol/L | 33.4757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.057 | 154177.0399 | 273201.426 | 36.4 | 83.1
62254 | 2021-04-02 15:02 | 41.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.6778 | μmol/L | 33.5987 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.089 | 154447.3003 | 273185.9578 | 36.4 | 83.1