## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62260 | 2021-04-02 15:38 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.3222 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.232 | 173733.9605 | 275742.9329 | 62.0402 | 75.7
62270 | 2021-04-02 15:39 | 0.33356 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.2356 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.24 | 173836.9714 | 275759.8955 | 62.0402 | 75.7
62280 | 2021-04-02 15:39 | 0.66644 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.0363 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.26 | 174011.6893 | 275747.5605 | 62.0402 | 75.7
62290 | 2021-04-02 15:39 | 0.99997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.2725 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.242 | 173906.4483 | 275739.4304 | 62.0402 | 75.7
62300 | 2021-04-02 15:40 | 1.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.0489 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.248 | 173954.8499 | 275734.4448 | 62.0402 | 75.7
62310 | 2021-04-02 15:40 | 1.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3952 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.294 | 174333.3895 | 275717.0445 | 62.0402 | 75.7
62320 | 2021-04-02 15:40 | 2 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.15 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.306 | 174454.0692 | 275710.3383 | 62.0402 | 75.7
62330 | 2021-04-02 15:41 | 2.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.1544 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.299 | 174433.8386 | 275697.6039 | 62.0402 | 75.7
62340 | 2021-04-02 15:41 | 2.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.01 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.302 | 174441.6549 | 275685.2484 | 62.0402 | 75.7
62350 | 2021-04-02 15:41 | 3.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.7908 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.319 | 174622.4447 | 275692.5501 | 62.0402 | 75.7
62360 | 2021-04-02 15:42 | 3.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8126 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.322 | 174619.9504 | 275678.354 | 62.0402 | 75.7
62370 | 2021-04-02 15:42 | 3.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.0205 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.308 | 174498.9694 | 275669.5432 | 62.0402 | 75.7
62380 | 2021-04-02 15:42 | 3.9998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.872 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.318 | 174578.0263 | 275665.4709 | 62.0402 | 75.7
62390 | 2021-04-02 15:43 | 4.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.9095 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.311 | 174501.2073 | 275677.0003 | 62.0402 | 75.7
62400 | 2021-04-02 15:43 | 4.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6128 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.331 | 174670.246 | 275660.2489 | 62.0402 | 75.7
62410 | 2021-04-02 15:43 | 4.9996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6721 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.327 | 174664.9301 | 275655.3211 | 62.0402 | 75.7
62420 | 2021-04-02 15:44 | 5.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.5648 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.332 | 174701.5649 | 275648.884 | 62.0402 | 75.7
62430 | 2021-04-02 15:44 | 5.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.5133 | μmol/L | 33.526 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.331 | 174677.7986 | 275645.7707 | 62.0402 | 75.7
62440 | 2021-04-02 15:44 | 6.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.3357 | μmol/L | 33.526 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.343 | 174788.7653 | 275640.6016 | 62.0402 | 75.7
62450 | 2021-04-02 15:45 | 6.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.169 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.361 | 174962.5239 | 275634.4532 | 62.0402 | 75.7
62460 | 2021-04-02 15:45 | 6.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2238 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.364 | 174976.7371 | 275630.2778 | 62.0402 | 75.7
62470 | 2021-04-02 15:45 | 6.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0024 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.379 | 175096.2905 | 275616.1162 | 62.0402 | 75.7
62480 | 2021-04-02 15:46 | 7.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0987 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.368 | 175032.452 | 275618.1257 | 62.0402 | 75.7
62490 | 2021-04-02 15:46 | 7.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9588 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.373 | 175050.8652 | 275618.2827 | 62.0402 | 75.7
62500 | 2021-04-02 15:46 | 8.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.5906 | μmol/L | 33.5136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.398 | 175259.7274 | 275617.8142 | 62.0402 | 75.7
62510 | 2021-04-02 15:47 | 8.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6718 | μmol/L | 33.526 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.388 | 175168.9733 | 275606.83 | 62.0402 | 75.7
62520 | 2021-04-02 15:47 | 8.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.4507 | μmol/L | 33.5013 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.412 | 175366.8652 | 275609.353 | 62.0402 | 75.7
62530 | 2021-04-02 15:47 | 9.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0946 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.443 | 175661.8957 | 275595.6533 | 62.0402 | 75.7
62540 | 2021-04-02 15:48 | 9.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1314 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.436 | 175637.364 | 275587.0153 | 62.0402 | 75.7
62550 | 2021-04-02 15:48 | 9.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.9885 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.448 | 175694.3789 | 275589.6909 | 62.0402 | 75.7
62560 | 2021-04-02 15:48 | 10.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8276 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.459 | 175785.0814 | 275591.8977 | 62.0402 | 75.7
62570 | 2021-04-02 15:49 | 10.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6708 | μmol/L | 33.5075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.463 | 175834.4231 | 275583.3057 | 62.0402 | 75.7
62580 | 2021-04-02 15:49 | 10.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8272 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.468 | 175868.8306 | 275566.1859 | 62.0402 | 75.7
62590 | 2021-04-02 15:49 | 11.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8967 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.461 | 175817.7927 | 275576.4927 | 62.0402 | 75.7
62600 | 2021-04-02 15:50 | 11.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4803 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.494 | 176104.6936 | 275572.3342 | 62.0402 | 75.7
62610 | 2021-04-02 15:50 | 11.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4331 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.495 | 176105.0823 | 275576.8737 | 62.0402 | 75.7
62620 | 2021-04-02 15:50 | 12.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.3201 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.505 | 176166.4438 | 275567.4523 | 62.0402 | 75.7
62630 | 2021-04-02 15:51 | 12.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5603 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.493 | 176116.9038 | 275560.9671 | 62.0402 | 75.7
62640 | 2021-04-02 15:51 | 12.6663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0323 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.536 | 176459.2781 | 275556.6382 | 62.0402 | 75.7
62650 | 2021-04-02 15:51 | 13 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.5107 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.563 | 176688.1338 | 275561.9003 | 62.0402 | 75.7
62660 | 2021-04-02 15:52 | 13.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.2142 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.588 | 176924.5761 | 275558.2368 | 62.0402 | 75.7
62670 | 2021-04-02 15:52 | 13.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.1998 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.589 | 176937.6012 | 275563.8355 | 62.0402 | 75.7
62680 | 2021-04-02 15:52 | 14.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.9436 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.618 | 177191.7937 | 275531.5882 | 62.0402 | 75.7
62690 | 2021-04-02 15:53 | 14.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0371 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.616 | 177171.8687 | 275545.0205 | 62.0402 | 75.7
62700 | 2021-04-02 15:53 | 14.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6415 | μmol/L | 33.4336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.63 | 177284.6927 | 275544.0466 | 62.0402 | 75.7
62710 | 2021-04-02 15:53 | 15.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6629 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.642 | 177406.8834 | 275548.6009 | 62.0402 | 75.7
62720 | 2021-04-02 15:54 | 15.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.9542 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.624 | 177283.9095 | 275531.1774 | 62.0402 | 75.7
62730 | 2021-04-02 15:54 | 15.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8461 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.636 | 177361.004 | 275530.9299 | 62.0402 | 75.7
62740 | 2021-04-02 15:54 | 15.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.724 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.64 | 177419.6885 | 275530.5791 | 62.0402 | 75.7
62750 | 2021-04-02 15:55 | 16.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.7815 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.636 | 177369.7047 | 275537.0767 | 62.0402 | 75.7
62760 | 2021-04-02 15:55 | 16.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5266 | μmol/L | 33.4336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.638 | 177430.3588 | 275538.1205 | 62.0402 | 75.7
62770 | 2021-04-02 15:55 | 17.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3902 | μmol/L | 33.4212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.652 | 177532.0936 | 275538.2671 | 62.0402 | 75.7
62780 | 2021-04-02 15:56 | 17.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.512 | μmol/L | 33.3843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.657 | 177535.4625 | 275537.9736 | 62.0402 | 75.7
62790 | 2021-04-02 15:56 | 17.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.4941 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.656 | 177590.4015 | 275535.9939 | 62.0402 | 75.7
62800 | 2021-04-02 15:56 | 18 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.2683 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.665 | 177668.6208 | 275519.5538 | 62.0402 | 75.7
62810 | 2021-04-02 15:57 | 18.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.0892 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.682 | 177784.1957 | 275524.3239 | 62.0402 | 75.7
62820 | 2021-04-02 15:57 | 18.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9605 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.691 | 177879.4477 | 275513.5859 | 62.0402 | 75.7
62830 | 2021-04-02 15:57 | 19.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9069 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.697 | 177916.0797 | 275496.9979 | 62.0402 | 75.7
62840 | 2021-04-02 15:58 | 19.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9355 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.695 | 177913.6016 | 275511.468 | 62.0402 | 75.7
62850 | 2021-04-02 15:58 | 19.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5715 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.725 | 178139.2274 | 275506.7078 | 62.0402 | 75.7
62860 | 2021-04-02 15:58 | 19.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.6036 | μmol/L | 33.372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.725 | 178134.719 | 275492.5469 | 62.0402 | 75.7
62870 | 2021-04-02 15:59 | 20.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3223 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.738 | 178280.0071 | 275488.5016 | 62.0402 | 75.7
62880 | 2021-04-02 15:59 | 20.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2868 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.745 | 178364.6232 | 275504.7892 | 62.0402 | 75.7
62890 | 2021-04-02 15:59 | 20.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1624 | μmol/L | 33.372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.756 | 178450.1048 | 275496.0322 | 62.0402 | 75.7
62900 | 2021-04-02 16:00 | 21.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9459 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.769 | 178537.0587 | 275484.5515 | 62.0402 | 75.7
62910 | 2021-04-02 16:00 | 21.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8572 | μmol/L | 33.3843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.773 | 178580.7534 | 275494.4996 | 62.0402 | 75.7
62920 | 2021-04-02 16:00 | 21.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7403 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.779 | 178617.7493 | 275491.3839 | 62.0402 | 75.7
62930 | 2021-04-02 16:01 | 22.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6412 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.786 | 178714.9052 | 275492.6574 | 62.0402 | 75.7
62940 | 2021-04-02 16:01 | 22.6663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6517 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.783 | 178692.2007 | 275482.8859 | 62.0402 | 75.7
62950 | 2021-04-02 16:01 | 22.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7614 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.773 | 178643.6623 | 275499.6923 | 62.0402 | 75.7
62960 | 2021-04-02 16:02 | 23.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5738 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.784 | 178716.9061 | 275484.6623 | 62.0402 | 75.7
62970 | 2021-04-02 16:02 | 23.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4889 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.79 | 178786.9596 | 275486.5274 | 62.0402 | 75.7
62980 | 2021-04-02 16:02 | 24.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4113 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.8 | 178837.8796 | 275477.9279 | 62.0402 | 75.7
62990 | 2021-04-02 16:03 | 24.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2947 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.806 | 178929.04 | 275474.9838 | 62.0402 | 75.7
63000 | 2021-04-02 16:03 | 24.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2311 | μmol/L | 33.4151 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.806 | 178972.1097 | 275473.1552 | 62.0402 | 75.7
63010 | 2021-04-02 16:03 | 24.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.9351 | μmol/L | 33.4151 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.827 | 179139.1519 | 275472.2229 | 62.0402 | 75.7
63020 | 2021-04-02 16:04 | 25.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0019 | μmol/L | 33.4212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.82 | 179056.766 | 275477.2565 | 62.0402 | 75.7
63030 | 2021-04-02 16:04 | 25.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.9419 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.822 | 179089.2797 | 275472.0768 | 62.0402 | 75.7
63040 | 2021-04-02 16:04 | 26.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.4531 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.85 | 179343.83 | 275481.189 | 62.0402 | 75.7
63050 | 2021-04-02 16:05 | 26.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.4775 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.846 | 179352.2244 | 275472.6233 | 62.0402 | 75.7
63060 | 2021-04-02 16:05 | 26.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.3933 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.852 | 179390.2781 | 275484.3229 | 62.0402 | 75.7
63070 | 2021-04-02 16:05 | 26.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.3507 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.846 | 179364.5995 | 275468.4679 | 62.0402 | 75.7
63080 | 2021-04-02 16:06 | 27.3333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.1788 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.856 | 179452.0279 | 275473.2817 | 62.0402 | 75.7
63090 | 2021-04-02 16:06 | 27.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9373 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.871 | 179568.2039 | 275469.3343 | 62.0402 | 75.7
63100 | 2021-04-02 16:06 | 28.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9167 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.877 | 179625.2599 | 275473.8597 | 62.0402 | 75.7
63110 | 2021-04-02 16:07 | 28.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.952 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.879 | 179646.7932 | 275472.8774 | 62.0402 | 75.7
63120 | 2021-04-02 16:07 | 28.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7035 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.89 | 179722.0408 | 275467.678 | 62.0402 | 75.7
63130 | 2021-04-02 16:07 | 29.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7454 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.887 | 179754.2302 | 275477.9856 | 62.0402 | 75.7
63140 | 2021-04-02 16:08 | 29.3333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.3867 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.915 | 179979.521 | 275468.7644 | 62.0402 | 75.7
63150 | 2021-04-02 16:08 | 29.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1225 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.934 | 180150.8552 | 275464.8861 | 62.0402 | 75.7
63160 | 2021-04-02 16:08 | 30.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1299 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.938 | 180173.8908 | 275467.9364 | 62.0402 | 75.7
63170 | 2021-04-02 16:09 | 30.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1613 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.938 | 180184.9184 | 275458.8573 | 62.0402 | 75.7
63180 | 2021-04-02 16:09 | 30.6664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.9143 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.949 | 180289.2551 | 275465.8755 | 62.0402 | 75.7
63190 | 2021-04-02 16:09 | 31.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7619 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.96 | 180381.127 | 275458.3978 | 62.0402 | 75.7
63200 | 2021-04-02 16:10 | 31.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6788 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.966 | 180412.5753 | 275452.8165 | 62.0402 | 75.7
63210 | 2021-04-02 16:10 | 31.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7868 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.965 | 180423.8395 | 275450.7979 | 62.0402 | 75.7
63220 | 2021-04-02 16:10 | 32.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6575 | μmol/L | 33.489 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.963 | 180415.2614 | 275451.307 | 62.0402 | 75.7
63230 | 2021-04-02 16:11 | 32.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6207 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.977 | 180527.8625 | 275451.6591 | 62.0402 | 75.7
63240 | 2021-04-02 16:11 | 32.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6382 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.978 | 180580.5936 | 275470.4463 | 62.0402 | 75.7
63250 | 2021-04-02 16:11 | 33.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3691 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.002 | 180772.3097 | 275454.1448 | 62.0402 | 75.7
63260 | 2021-04-02 16:12 | 33.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1972 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.019 | 180901.996 | 275451.706 | 62.0402 | 75.7
63270 | 2021-04-02 16:12 | 33.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.9795 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.028 | 180964.6192 | 275457.2869 | 62.0402 | 75.7
63280 | 2021-04-02 16:12 | 33.9996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8832 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.035 | 181067.3106 | 275453.5457 | 62.0402 | 75.7
63290 | 2021-04-02 16:13 | 34.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7394 | μmol/L | 33.4336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.05 | 181188.8971 | 275451.2047 | 62.0402 | 75.7
63300 | 2021-04-02 16:13 | 34.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.5609 | μmol/L | 33.4336 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.063 | 181300.2333 | 275447.3152 | 62.0402 | 75.7
63310 | 2021-04-02 16:13 | 34.9998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3505 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.067 | 181396.1995 | 275456.3606 | 62.0402 | 75.7
63320 | 2021-04-02 16:14 | 35.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3516 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.076 | 181417.4603 | 275456.4811 | 62.0402 | 75.7
63330 | 2021-04-02 16:14 | 35.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3727 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.079 | 181451.2931 | 275441.5821 | 62.0402 | 75.7
63340 | 2021-04-02 16:14 | 36.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3975 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.084 | 181485.1476 | 275452.4523 | 62.0402 | 75.7
63350 | 2021-04-02 16:15 | 36.3332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3627 | μmol/L | 33.4212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.082 | 181510.2183 | 275450.9503 | 62.0402 | 75.7
63360 | 2021-04-02 16:15 | 36.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0381 | μmol/L | 33.4151 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.108 | 181701.8684 | 275456.5704 | 62.0402 | 75.7
63370 | 2021-04-02 16:15 | 36.9998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0097 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.101 | 181665.0973 | 275432.4262 | 62.0402 | 75.7
63380 | 2021-04-02 16:16 | 37.3333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.9662 | μmol/L | 33.4212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.111 | 181785.6832 | 275443.1574 | 62.0402 | 75.7
63390 | 2021-04-02 16:16 | 37.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.8544 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.126 | 181931.7999 | 275432.927 | 62.0402 | 75.7
63400 | 2021-04-02 16:16 | 37.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.7045 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.137 | 181995.8755 | 275441.1089 | 62.0402 | 75.7
63410 | 2021-04-02 16:17 | 38.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.78 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.136 | 181965.4486 | 275433.9397 | 62.0402 | 75.7
63420 | 2021-04-02 16:17 | 38.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.525 | μmol/L | 33.3843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.157 | 182151.8803 | 275452.1636 | 62.0402 | 75.7
63430 | 2021-04-02 16:17 | 39.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4064 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.168 | 182295.9746 | 275442.6724 | 62.0402 | 75.7
63440 | 2021-04-02 16:18 | 39.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9747 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.193 | 182528.4951 | 275443.8322 | 62.0402 | 75.7
63450 | 2021-04-02 16:18 | 39.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8725 | μmol/L | 33.4089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.196 | 182546.2832 | 275434.1202 | 62.0402 | 75.7
63460 | 2021-04-02 16:18 | 39.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7545 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.207 | 182635.0154 | 275440.2558 | 62.0402 | 75.7
63470 | 2021-04-02 16:19 | 40.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7619 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.211 | 182687.5309 | 275439.2154 | 62.0402 | 75.7
63480 | 2021-04-02 16:19 | 40.6665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7889 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.209 | 182692.1872 | 275441.6651 | 62.0402 | 75.7
63490 | 2021-04-02 16:19 | 41.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.542 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.225 | 182797.8791 | 275438.2538 | 62.0402 | 75.7
63500 | 2021-04-02 16:20 | 41.3331 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4513 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.234 | 182877.6858 | 275435.708 | 62.0402 | 75.7
63510 | 2021-04-02 16:20 | 41.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5801 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.229 | 182858.7155 | 275446.2702 | 62.0402 | 75.7
63520 | 2021-04-02 16:20 | 41.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4378 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.235 | 182919.6556 | 275449.0777 | 62.0402 | 75.7
63530 | 2021-04-02 16:21 | 42.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0204 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.266 | 183201.4398 | 275439.7833 | 62.0402 | 75.7
63540 | 2021-04-02 16:21 | 42.6663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3768 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.314 | 183667.1662 | 275445.7599 | 62.0402 | 75.7
63550 | 2021-04-02 16:21 | 43.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3827 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.309 | 183578.1417 | 275445.3351 | 62.0402 | 75.7
63560 | 2021-04-02 16:22 | 43.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.524 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.303 | 183549.1958 | 275443.1332 | 62.0402 | 75.7
63570 | 2021-04-02 16:22 | 43.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.5776 | μmol/L | 33.3905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.299 | 183533.6664 | 275438.6592 | 62.0402 | 75.7
63580 | 2021-04-02 16:22 | 43.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.5032 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.3 | 183547.7035 | 275440.6289 | 62.0402 | 75.7
63590 | 2021-04-02 16:23 | 44.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.6275 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.293 | 183476.631 | 275441.1103 | 62.0402 | 75.7
63600 | 2021-04-02 16:23 | 44.6664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.6007 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.295 | 183521.6442 | 275434.305 | 62.0402 | 75.7
63610 | 2021-04-02 16:23 | 45.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.5605 | μmol/L | 33.3966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.298 | 183545.6339 | 275436.1709 | 62.0402 | 75.7
63620 | 2021-04-02 16:24 | 45.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.2875 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.307 | 183626.075 | 275451.2272 | 62.0402 | 75.7
63630 | 2021-04-02 16:24 | 45.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3276 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.304 | 183610.5626 | 275433.3808 | 62.0402 | 75.7
63640 | 2021-04-02 16:24 | 45.9996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.131 | μmol/L | 33.4212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.321 | 183761.7953 | 275436.7031 | 62.0402 | 75.7
63650 | 2021-04-02 16:25 | 46.3333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8625 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.332 | 183857.9085 | 275435.916 | 62.0402 | 75.7
63660 | 2021-04-02 16:25 | 46.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7864 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.34 | 183936.7493 | 275439.4457 | 62.0402 | 75.7
63670 | 2021-04-02 16:25 | 46.9998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3667 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.367 | 184197.4165 | 275424.836 | 62.0402 | 75.7
63680 | 2021-04-02 16:26 | 47.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4274 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.367 | 184181.9379 | 275445.2231 | 62.0402 | 75.7
63690 | 2021-04-02 16:26 | 47.6664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3079 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.376 | 184272.9758 | 275428.9844 | 62.0402 | 75.7
63700 | 2021-04-02 16:26 | 48 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.1621 | μmol/L | 33.4397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.387 | 184362.164 | 275420.5411 | 62.0402 | 75.7
63710 | 2021-04-02 16:27 | 48.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0599 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.381 | 184330.9895 | 275420.7151 | 62.0402 | 75.7
63720 | 2021-04-02 16:27 | 48.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.9351 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.395 | 184440.5417 | 275420.038 | 62.0402 | 75.7
63730 | 2021-04-02 16:27 | 49.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.0788 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.391 | 184426.0736 | 275417.9649 | 62.0402 | 75.7
63740 | 2021-04-02 16:28 | 49.333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.9521 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.396 | 184524.6963 | 275416.8328 | 62.0402 | 75.7
63750 | 2021-04-02 16:28 | 49.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7425 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.405 | 184564.1569 | 275420.9367 | 62.0402 | 75.7
63760 | 2021-04-02 16:28 | 49.9997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7859 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.404 | 184580.5151 | 275420.3605 | 62.0402 | 75.7
63770 | 2021-04-02 16:29 | 50.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6576 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.416 | 184688.6671 | 275421.9733 | 62.0402 | 75.7
63780 | 2021-04-02 16:29 | 50.6664 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.6746 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.417 | 184656.4326 | 275413.661 | 62.0402 | 75.7
63790 | 2021-04-02 16:29 | 51.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.5257 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.426 | 184752.3501 | 275420.7245 | 62.0402 | 75.7
63800 | 2021-04-02 16:30 | 51.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4127 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.43 | 184814.7449 | 275423.0664 | 62.0402 | 75.7
63810 | 2021-04-02 16:30 | 51.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.2942 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.439 | 184863.5629 | 275418.0378 | 62.0402 | 75.7
63820 | 2021-04-02 16:30 | 51.9998 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1664 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.451 | 184987.4978 | 275426.6848 | 62.0402 | 75.7
63830 | 2021-04-02 16:31 | 52.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1533 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.452 | 185002.545 | 275414.1814 | 62.0402 | 75.7
63840 | 2021-04-02 16:31 | 52.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.977 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.47 | 185186.4227 | 275419.0796 | 62.0402 | 75.7
63850 | 2021-04-02 16:31 | 53.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.7202 | μmol/L | 33.4705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.485 | 185317.2919 | 275405.2631 | 62.0402 | 75.7
63860 | 2021-04-02 16:32 | 53.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.724 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.487 | 185343.6225 | 275409.201 | 62.0402 | 75.7
63870 | 2021-04-02 16:32 | 53.6666 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.6378 | μmol/L | 33.4767 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.489 | 185368.3152 | 275405.3504 | 62.0402 | 75.7
63880 | 2021-04-02 16:32 | 54.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.5146 | μmol/L | 33.4644 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.503 | 185473.9459 | 275401.7193 | 62.0402 | 75.7
63890 | 2021-04-02 16:33 | 54.3333 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.5315 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.504 | 185476.4568 | 275398.2217 | 62.0402 | 75.7
63900 | 2021-04-02 16:33 | 54.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.4661 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.509 | 185569.1732 | 275397.9887 | 62.0402 | 75.7
63906 | 2021-04-02 16:33 | 54.9999 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.1827 | μmol/L | 33.452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.533 | 185735.2324 | 275410.1675 | 62.0402 | 75.7