## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62261 | 2021-04-02 15:38 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.1296 | μmol/L | 33.6519 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.54 | 137589.3601 | 299528.8577 | 59.9307 | 38.1
62271 | 2021-04-02 15:39 | 0.33002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4815 | μmol/L | 33.5354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.558 | 137710.2075 | 299523.1142 | 59.9307 | 38.1
62281 | 2021-04-02 15:39 | 0.66369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.0061 | μmol/L | 33.4434 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.555 | 137726.769 | 299522.6906 | 59.9307 | 38.1
62291 | 2021-04-02 15:39 | 0.99723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4851 | μmol/L | 33.4372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.524 | 137571.8323 | 299507.7388 | 59.9307 | 38.1
62301 | 2021-04-02 15:40 | 1.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.8063 | μmol/L | 33.5967 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.513 | 137546.5498 | 299495.3303 | 59.9307 | 38.1
62311 | 2021-04-02 15:40 | 1.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7563 | μmol/L | 33.609 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.512 | 137545.9509 | 299464.6007 | 59.9307 | 38.1
62321 | 2021-04-02 15:40 | 1.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7425 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.551 | 137699.0164 | 299463.9441 | 59.9307 | 38.1
62331 | 2021-04-02 15:41 | 2.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7163 | μmol/L | 33.474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.564 | 137697.5145 | 299453.3288 | 59.9307 | 38.1
62341 | 2021-04-02 15:41 | 2.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.4118 | μmol/L | 33.609 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.606 | 137936.1641 | 299454.2381 | 59.9307 | 38.1
62351 | 2021-04-02 15:41 | 2.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.4114 | μmol/L | 33.5844 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.615 | 138002.4222 | 299445.3903 | 59.9307 | 38.1
62361 | 2021-04-02 15:42 | 3.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5434 | μmol/L | 33.6028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.599 | 137921.7776 | 299429.0123 | 59.9307 | 38.1
62371 | 2021-04-02 15:42 | 3.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.844 | μmol/L | 33.6335 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.637 | 138128.2595 | 299438.5008 | 59.9307 | 38.1
62381 | 2021-04-02 15:42 | 3.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.3136 | μmol/L | 33.6212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.679 | 138364.0548 | 299408.0022 | 59.9307 | 38.1
62391 | 2021-04-02 15:43 | 4.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.6941 | μmol/L | 33.5231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.688 | 138448.0129 | 299416.6707 | 59.9307 | 38.1
62401 | 2021-04-02 15:43 | 4.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0842 | μmol/L | 33.5599 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.647 | 138306.0486 | 299415.213 | 59.9307 | 38.1
62411 | 2021-04-02 15:43 | 4.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0408 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.668 | 138422.1312 | 299421.3265 | 59.9307 | 38.1
62421 | 2021-04-02 15:44 | 5.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.8066 | μmol/L | 33.6458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.706 | 138598.5715 | 299402.5628 | 59.9307 | 38.1
62431 | 2021-04-02 15:44 | 5.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.5185 | μmol/L | 33.6826 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.713 | 138653.5442 | 299396.6919 | 59.9307 | 38.1
62441 | 2021-04-02 15:44 | 5.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.9683 | μmol/L | 33.6826 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.681 | 138541.8955 | 299391.9549 | 59.9307 | 38.1
62451 | 2021-04-02 15:45 | 6.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.5489 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.705 | 138697.0598 | 299393.4093 | 59.9307 | 38.1
62461 | 2021-04-02 15:45 | 6.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1925 | μmol/L | 33.4863 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.737 | 138822.272 | 299384.8679 | 59.9307 | 38.1
62471 | 2021-04-02 15:45 | 6.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.0138 | μmol/L | 33.5538 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.725 | 138793.8761 | 299382.6344 | 59.9307 | 38.1
62481 | 2021-04-02 15:46 | 7.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.3902 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.714 | 138732.8445 | 299362.9489 | 59.9307 | 38.1
62491 | 2021-04-02 15:46 | 7.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.059 | μmol/L | 33.4986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.742 | 138837.1663 | 299356.9379 | 59.9307 | 38.1
62501 | 2021-04-02 15:46 | 7.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.2247 | μmol/L | 33.5844 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.77 | 138994.1828 | 299364.6415 | 59.9307 | 38.1
62511 | 2021-04-02 15:47 | 8.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.5429 | μmol/L | 33.4924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.781 | 139086.3657 | 299366.303 | 59.9307 | 38.1
62521 | 2021-04-02 15:47 | 8.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.514 | μmol/L | 33.4188 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.81 | 139314.1072 | 299347.5079 | 59.9307 | 38.1
62531 | 2021-04-02 15:47 | 8.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.1681 | μmol/L | 33.4372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.828 | 139409.0889 | 299350.1853 | 59.9307 | 38.1
62541 | 2021-04-02 15:48 | 9.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.0146 | μmol/L | 33.4372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.839 | 139493.6757 | 299338.4278 | 59.9307 | 38.1
62551 | 2021-04-02 15:48 | 9.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.7105 | μmol/L | 33.4434 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.787 | 139289.9295 | 299341.5437 | 59.9307 | 38.1
62561 | 2021-04-02 15:48 | 9.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.8718 | μmol/L | 33.4311 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.78 | 139268.88 | 299340.2882 | 59.9307 | 38.1
62571 | 2021-04-02 15:49 | 10.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.364 | μmol/L | 33.4618 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.805 | 139384.5058 | 299336.9264 | 59.9307 | 38.1
62581 | 2021-04-02 15:49 | 10.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.0909 | μmol/L | 33.4004 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.847 | 139604.786 | 299335.0797 | 59.9307 | 38.1
62591 | 2021-04-02 15:49 | 10.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.9999 | μmol/L | 33.5354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.876 | 139758.2603 | 299343.7733 | 59.9307 | 38.1
62601 | 2021-04-02 15:50 | 11.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.3778 | μmol/L | 33.5599 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.912 | 140018.9502 | 299332.8147 | 59.9307 | 38.1
62611 | 2021-04-02 15:50 | 11.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.3227 | μmol/L | 33.5599 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.916 | 140016.9882 | 299332.9399 | 59.9307 | 38.1
62621 | 2021-04-02 15:50 | 11.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.9931 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.935 | 140157.9189 | 299320.5267 | 59.9307 | 38.1
62631 | 2021-04-02 15:51 | 12.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.6719 | μmol/L | 33.4556 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.929 | 140133.0967 | 299323.7943 | 59.9307 | 38.1
62641 | 2021-04-02 15:51 | 12.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.0793 | μmol/L | 33.3452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.94 | 140193.2522 | 299322.6279 | 59.9307 | 38.1
62651 | 2021-04-02 15:51 | 12.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.0139 | μmol/L | 33.3882 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.929 | 140184.9011 | 299308.3317 | 59.9307 | 38.1
62661 | 2021-04-02 15:52 | 13.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.0866 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.917 | 140102.0139 | 299313.2261 | 59.9307 | 38.1
62671 | 2021-04-02 15:52 | 13.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.2455 | μmol/L | 33.3452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.928 | 140176.5562 | 299319.6125 | 59.9307 | 38.1
62681 | 2021-04-02 15:52 | 13.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.3358 | μmol/L | 33.3575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.917 | 140094.487 | 299298.2928 | 59.9307 | 38.1
62691 | 2021-04-02 15:53 | 14.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.2074 | μmol/L | 33.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.933 | 140224.0248 | 299299.1581 | 59.9307 | 38.1
62701 | 2021-04-02 15:53 | 14.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.8826 | μmol/L | 33.4495 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.916 | 140176.0294 | 299308.8506 | 59.9307 | 38.1
62711 | 2021-04-02 15:53 | 14.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.8301 | μmol/L | 33.6028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.936 | 140271.5753 | 299312.0865 | 59.9307 | 38.1
62721 | 2021-04-02 15:54 | 15.3306 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.6995 | μmol/L | 33.382 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.954 | 140360.3823 | 299295.0223 | 59.9307 | 38.1
62731 | 2021-04-02 15:54 | 15.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.6785 | μmol/L | 33.3207 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.978 | 140517.2801 | 299304.2129 | 59.9307 | 38.1
62741 | 2021-04-02 15:54 | 15.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.2173 | μmol/L | 33.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.007 | 140714.8477 | 299299.5152 | 59.9307 | 38.1
62751 | 2021-04-02 15:55 | 16.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.9118 | μmol/L | 33.3146 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.036 | 140887.8053 | 299302.3649 | 59.9307 | 38.1
62761 | 2021-04-02 15:55 | 16.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.4826 | μmol/L | 33.4924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.002 | 140733.625 | 299289.9149 | 59.9307 | 38.1
62771 | 2021-04-02 15:55 | 16.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.5029 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.996 | 140664.0873 | 299292.0305 | 59.9307 | 38.1
62781 | 2021-04-02 15:56 | 17.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.7062 | μmol/L | 33.5844 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.025 | 140889.0222 | 299288.078 | 59.9307 | 38.1
62791 | 2021-04-02 15:56 | 17.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.5058 | μmol/L | 33.5783 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.042 | 140966.3123 | 299286.7096 | 59.9307 | 38.1
62801 | 2021-04-02 15:56 | 17.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.9864 | μmol/L | 33.5476 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.018 | 140801.7517 | 299292.5129 | 59.9307 | 38.1
62811 | 2021-04-02 15:57 | 18.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.4392 | μmol/L | 33.4004 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.039 | 140932.1799 | 299284.0554 | 59.9307 | 38.1
62821 | 2021-04-02 15:57 | 18.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.5319 | μmol/L | 33.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.057 | 141041.479 | 299278.9153 | 59.9307 | 38.1
62831 | 2021-04-02 15:57 | 18.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.2447 | μmol/L | 33.3084 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.014 | 140845.1309 | 299275.7759 | 59.9307 | 38.1
62841 | 2021-04-02 15:58 | 19.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.9941 | μmol/L | 33.3146 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.03 | 140935.9158 | 299274.2092 | 59.9307 | 38.1
62851 | 2021-04-02 15:58 | 19.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.761 | μmol/L | 33.29 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.056 | 141093.2536 | 299271.7715 | 59.9307 | 38.1
62861 | 2021-04-02 15:58 | 19.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.6584 | μmol/L | 33.3268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.05 | 141078.235 | 299281.1482 | 59.9307 | 38.1
62871 | 2021-04-02 15:59 | 20.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.122 | μmol/L | 33.382 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.069 | 141199.2237 | 299290.2354 | 59.9307 | 38.1
62881 | 2021-04-02 15:59 | 20.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.7625 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.048 | 141123.0561 | 299264.8916 | 59.9307 | 38.1
62891 | 2021-04-02 15:59 | 20.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.3213 | μmol/L | 33.4986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.085 | 141307.6083 | 299274.4628 | 59.9307 | 38.1
62901 | 2021-04-02 16:00 | 21.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.6679 | μmol/L | 33.5292 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.122 | 141525.9352 | 299270.2891 | 59.9307 | 38.1
62911 | 2021-04-02 16:00 | 21.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.47 | μmol/L | 33.4986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.148 | 141674.4666 | 299268.7309 | 59.9307 | 38.1
62921 | 2021-04-02 16:00 | 21.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.2412 | μmol/L | 33.4986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.165 | 141830.8552 | 299258.0232 | 59.9307 | 38.1
62931 | 2021-04-02 16:01 | 22.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.6412 | μmol/L | 33.3882 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.176 | 141891.9384 | 299259.9491 | 59.9307 | 38.1
62941 | 2021-04-02 16:01 | 22.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.914 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.149 | 141740.4132 | 299250.7944 | 59.9307 | 38.1
62951 | 2021-04-02 16:01 | 22.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.829 | μmol/L | 33.4372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.144 | 141732.1032 | 299258.2125 | 59.9307 | 38.1
62961 | 2021-04-02 16:02 | 23.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.894 | μmol/L | 33.5415 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.175 | 141910.7818 | 299247.6988 | 59.9307 | 38.1
62971 | 2021-04-02 16:02 | 23.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.5165 | μmol/L | 33.5231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.21 | 142125.4982 | 299253.4849 | 59.9307 | 38.1
62981 | 2021-04-02 16:02 | 23.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2448 | μmol/L | 33.5538 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.219 | 142178.4779 | 299254.0384 | 59.9307 | 38.1
62991 | 2021-04-02 16:03 | 24.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.114 | μmol/L | 33.4863 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.179 | 141949.6026 | 299253.125 | 59.9307 | 38.1
63001 | 2021-04-02 16:03 | 24.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.7216 | μmol/L | 33.4127 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.161 | 141838.869 | 299245.0718 | 59.9307 | 38.1
63011 | 2021-04-02 16:03 | 24.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.8922 | μmol/L | 33.4986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.191 | 142023.6475 | 299256.0321 | 59.9307 | 38.1
63021 | 2021-04-02 16:04 | 25.3308 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.758 | μmol/L | 33.5906 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.167 | 141920.2116 | 299265.5275 | 59.9307 | 38.1
63031 | 2021-04-02 16:04 | 25.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.7786 | μmol/L | 33.5783 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.17 | 141995.7254 | 299250.5144 | 59.9307 | 38.1
63041 | 2021-04-02 16:04 | 25.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.4778 | μmol/L | 33.4618 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.161 | 142033.1289 | 299258.7568 | 59.9307 | 38.1
63051 | 2021-04-02 16:05 | 26.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.39 | μmol/L | 33.474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.163 | 142023.498 | 299254.0867 | 59.9307 | 38.1
63061 | 2021-04-02 16:05 | 26.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.835 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.193 | 142085.1765 | 299263.2962 | 59.9307 | 38.1
63071 | 2021-04-02 16:05 | 26.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.1042 | μmol/L | 33.566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.225 | 142274.5186 | 299254.0111 | 59.9307 | 38.1
63081 | 2021-04-02 16:06 | 27.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.8177 | μmol/L | 33.4188 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.226 | 142317.2802 | 299261.014 | 59.9307 | 38.1
63091 | 2021-04-02 16:06 | 27.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.4666 | μmol/L | 33.517 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.216 | 142314.0612 | 299256.3251 | 59.9307 | 38.1
63101 | 2021-04-02 16:06 | 27.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3093 | μmol/L | 33.6028 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.196 | 142263.2043 | 299244.8373 | 59.9307 | 38.1
63111 | 2021-04-02 16:07 | 28.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.9395 | μmol/L | 33.5967 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.226 | 142423.75 | 299252.2069 | 59.9307 | 38.1
63121 | 2021-04-02 16:07 | 28.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.0082 | μmol/L | 33.6458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.278 | 142654.5513 | 299236.6489 | 59.9307 | 38.1
63131 | 2021-04-02 16:07 | 28.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.6016 | μmol/L | 33.425 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.315 | 142864.9255 | 299233.7771 | 59.9307 | 38.1
63141 | 2021-04-02 16:08 | 29.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.6635 | μmol/L | 33.3636 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.333 | 142995.9503 | 299237.0376 | 59.9307 | 38.1
63151 | 2021-04-02 16:08 | 29.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.8414 | μmol/L | 33.4004 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.306 | 142936.7165 | 299240.1616 | 59.9307 | 38.1
63161 | 2021-04-02 16:08 | 29.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.0718 | μmol/L | 33.3698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.3 | 142947.2702 | 299241.9008 | 59.9307 | 38.1
63171 | 2021-04-02 16:09 | 30.3306 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.4742 | μmol/L | 33.4618 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.311 | 142996.8339 | 299217.4102 | 59.9307 | 38.1
63181 | 2021-04-02 16:09 | 30.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.4355 | μmol/L | 33.4372 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.323 | 143008.0314 | 299225.9022 | 59.9307 | 38.1
63191 | 2021-04-02 16:09 | 30.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.2466 | μmol/L | 33.4434 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.335 | 143082.61 | 299226.0899 | 59.9307 | 38.1
63201 | 2021-04-02 16:10 | 31.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8302 | μmol/L | 33.4556 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.362 | 143206.6513 | 299223.5738 | 59.9307 | 38.1
63211 | 2021-04-02 16:10 | 31.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.268 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.347 | 143135.017 | 299210.2705 | 59.9307 | 38.1
63221 | 2021-04-02 16:10 | 31.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.728 | μmol/L | 33.5844 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.322 | 143032.8096 | 299217.8611 | 59.9307 | 38.1
63231 | 2021-04-02 16:11 | 32.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.4003 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.337 | 143138.9296 | 299221.3299 | 59.9307 | 38.1
63241 | 2021-04-02 16:11 | 32.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.2415 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.349 | 143243.5665 | 299218.3069 | 59.9307 | 38.1
63251 | 2021-04-02 16:11 | 32.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.311 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.381 | 143395.6708 | 299235.3482 | 59.9307 | 38.1
63261 | 2021-04-02 16:12 | 33.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.0981 | μmol/L | 33.3575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.378 | 143397.0832 | 299225.0433 | 59.9307 | 38.1
63271 | 2021-04-02 16:12 | 33.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.7199 | μmol/L | 33.4188 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.384 | 143466.351 | 299223.211 | 59.9307 | 38.1
63281 | 2021-04-02 16:12 | 33.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.806 | μmol/L | 33.4066 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.382 | 143505.6449 | 299216.7671 | 59.9307 | 38.1
63291 | 2021-04-02 16:13 | 34.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8466 | μmol/L | 33.382 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.388 | 143510.9899 | 299220.328 | 59.9307 | 38.1
63301 | 2021-04-02 16:13 | 34.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.4292 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.422 | 143676.1681 | 299225.7632 | 59.9307 | 38.1
63311 | 2021-04-02 16:13 | 34.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.0002 | μmol/L | 33.3698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.457 | 143877.4194 | 299215.6745 | 59.9307 | 38.1
63321 | 2021-04-02 16:14 | 35.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.8866 | μmol/L | 33.5783 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.465 | 143955.4107 | 299226.6697 | 59.9307 | 38.1
63331 | 2021-04-02 16:14 | 35.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.2012 | μmol/L | 33.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.453 | 143902.1014 | 299218.1015 | 59.9307 | 38.1
63341 | 2021-04-02 16:14 | 35.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.9822 | μmol/L | 33.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.472 | 144044.1212 | 299223.8398 | 59.9307 | 38.1
63351 | 2021-04-02 16:15 | 36.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.6485 | μmol/L | 33.4127 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.468 | 143998.1126 | 299232.0438 | 59.9307 | 38.1
63361 | 2021-04-02 16:15 | 36.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.7482 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.474 | 144031.3676 | 299219.7236 | 59.9307 | 38.1
63371 | 2021-04-02 16:15 | 36.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.8786 | μmol/L | 33.3084 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.489 | 144148.69 | 299218.5968 | 59.9307 | 38.1
63381 | 2021-04-02 16:16 | 37.3308 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.9107 | μmol/L | 33.2839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.495 | 144211.7133 | 299218.668 | 59.9307 | 38.1
63391 | 2021-04-02 16:16 | 37.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.2483 | μmol/L | 33.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.526 | 144433.9381 | 299232.3316 | 59.9307 | 38.1
63401 | 2021-04-02 16:16 | 37.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.2849 | μmol/L | 33.3207 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.53 | 144458.9945 | 299217.4744 | 59.9307 | 38.1
63411 | 2021-04-02 16:17 | 38.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.0279 | μmol/L | 33.4495 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.502 | 144296.3535 | 299227.2707 | 59.9307 | 38.1
63421 | 2021-04-02 16:17 | 38.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.3938 | μmol/L | 33.5354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.519 | 144404.3638 | 299222.6736 | 59.9307 | 38.1
63431 | 2021-04-02 16:17 | 38.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.3559 | μmol/L | 33.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.52 | 144441.7674 | 299217.179 | 59.9307 | 38.1
63441 | 2021-04-02 16:18 | 39.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.6993 | μmol/L | 33.4127 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.541 | 144620.3832 | 299225.3019 | 59.9307 | 38.1
63451 | 2021-04-02 16:18 | 39.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.1203 | μmol/L | 33.474 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.563 | 144722.1956 | 299218.5491 | 59.9307 | 38.1
63461 | 2021-04-02 16:18 | 39.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.3458 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.582 | 144821.1902 | 299213.8461 | 59.9307 | 38.1
63471 | 2021-04-02 16:19 | 40.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.0785 | μmol/L | 33.3698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.605 | 144995.4576 | 299226.0494 | 59.9307 | 38.1
63481 | 2021-04-02 16:19 | 40.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6249 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.638 | 145246.2018 | 299216.8336 | 59.9307 | 38.1
63491 | 2021-04-02 16:19 | 40.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.2949 | μmol/L | 33.241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.636 | 145193.1388 | 299216.7029 | 59.9307 | 38.1
63501 | 2021-04-02 16:20 | 41.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.2447 | μmol/L | 33.3943 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.583 | 144947.0983 | 299215.4632 | 59.9307 | 38.1
63511 | 2021-04-02 16:20 | 41.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.7673 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.579 | 144948.2564 | 299219.6942 | 59.9307 | 38.1
63521 | 2021-04-02 16:20 | 41.9973 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.9452 | μmol/L | 33.4434 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.588 | 145019.3152 | 299218.7571 | 59.9307 | 38.1
63531 | 2021-04-02 16:21 | 42.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.3043 | μmol/L | 33.5354 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.603 | 145080.1085 | 299210.9601 | 59.9307 | 38.1
63541 | 2021-04-02 16:21 | 42.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.1239 | μmol/L | 33.5292 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.62 | 145162.9813 | 299210.5022 | 59.9307 | 38.1
63551 | 2021-04-02 16:21 | 42.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.3453 | μmol/L | 33.4802 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.621 | 145230.5893 | 299222.0879 | 59.9307 | 38.1
63561 | 2021-04-02 16:22 | 43.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.0892 | μmol/L | 33.5231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.625 | 145259.2029 | 299225.1268 | 59.9307 | 38.1
63571 | 2021-04-02 16:22 | 43.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1335 | μmol/L | 33.5231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.7 | 145741.4594 | 299228.2317 | 59.9307 | 38.1
63581 | 2021-04-02 16:22 | 43.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1409 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.704 | 145748.9856 | 299207.1413 | 59.9307 | 38.1
63591 | 2021-04-02 16:23 | 44.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1631 | μmol/L | 33.4311 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.732 | 145918.9098 | 299222.4663 | 59.9307 | 38.1
63601 | 2021-04-02 16:23 | 44.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0362 | μmol/L | 33.4311 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.742 | 146014.4353 | 299221.5225 | 59.9307 | 38.1
63611 | 2021-04-02 16:23 | 44.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.31 | μmol/L | 33.4188 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.725 | 145903.3223 | 299217.5692 | 59.9307 | 38.1
63621 | 2021-04-02 16:24 | 45.3308 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.2664 | μmol/L | 33.4495 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.717 | 145868.7638 | 299217.839 | 59.9307 | 38.1
63631 | 2021-04-02 16:24 | 45.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.8572 | μmol/L | 33.3759 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.698 | 145845.4048 | 299216.2989 | 59.9307 | 38.1
63641 | 2021-04-02 16:24 | 45.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0193 | μmol/L | 33.5231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.709 | 145871.3093 | 299228.1775 | 59.9307 | 38.1
63651 | 2021-04-02 16:25 | 46.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9943 | μmol/L | 33.4802 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.727 | 145912.8615 | 299231.7137 | 59.9307 | 38.1
63661 | 2021-04-02 16:25 | 46.664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1158 | μmol/L | 33.4679 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.722 | 146000.553 | 299226.8821 | 59.9307 | 38.1
63671 | 2021-04-02 16:25 | 46.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.5079 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.754 | 146066.123 | 299209.5092 | 59.9307 | 38.1
63681 | 2021-04-02 16:26 | 47.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.6566 | μmol/L | 33.566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.801 | 146383.7987 | 299199.7599 | 59.9307 | 38.1
63691 | 2021-04-02 16:26 | 47.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.5384 | μmol/L | 33.6028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.796 | 146367.1566 | 299223.0678 | 59.9307 | 38.1
63701 | 2021-04-02 16:26 | 47.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.8258 | μmol/L | 33.5354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.799 | 146384.1359 | 299204.8884 | 59.9307 | 38.1
63711 | 2021-04-02 16:27 | 48.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4411 | μmol/L | 33.517 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.757 | 146191.1928 | 299213.4143 | 59.9307 | 38.1
63721 | 2021-04-02 16:27 | 48.6641 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0956 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.789 | 146372.7021 | 299217.29 | 59.9307 | 38.1
63731 | 2021-04-02 16:27 | 48.9971 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0305 | μmol/L | 33.5292 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.785 | 146352.3112 | 299220.2216 | 59.9307 | 38.1
63741 | 2021-04-02 16:28 | 49.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.5063 | μmol/L | 33.4924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.761 | 146238.7837 | 299215.7862 | 59.9307 | 38.1
63751 | 2021-04-02 16:28 | 49.6638 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3706 | μmol/L | 33.474 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.778 | 146303.3587 | 299202.505 | 59.9307 | 38.1
63761 | 2021-04-02 16:28 | 49.9974 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0448 | μmol/L | 33.4924 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.797 | 146417.1152 | 299226.6974 | 59.9307 | 38.1
63771 | 2021-04-02 16:29 | 50.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.7108 | μmol/L | 33.5047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.819 | 146556.5149 | 299203.7563 | 59.9307 | 38.1
63781 | 2021-04-02 16:29 | 50.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.2639 | μmol/L | 33.4986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.857 | 146781.2243 | 299200.6925 | 59.9307 | 38.1
63791 | 2021-04-02 16:29 | 50.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.0054 | μmol/L | 33.4924 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.88 | 146940.1328 | 299211.1905 | 59.9307 | 38.1
63801 | 2021-04-02 16:30 | 51.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.7681 | μmol/L | 33.5476 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.879 | 146905.906 | 299202.2397 | 59.9307 | 38.1
63811 | 2021-04-02 16:30 | 51.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.8439 | μmol/L | 33.5047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.889 | 146989.8993 | 299209.7227 | 59.9307 | 38.1
63821 | 2021-04-02 16:30 | 51.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5256 | μmol/L | 33.517 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.91 | 147167.4042 | 299220.5341 | 59.9307 | 38.1
63831 | 2021-04-02 16:31 | 52.3305 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.3551 | μmol/L | 33.4986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.93 | 147279.7988 | 299198.9236 | 59.9307 | 38.1
63841 | 2021-04-02 16:31 | 52.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.6877 | μmol/L | 33.4127 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.936 | 147316.8081 | 299190.4894 | 59.9307 | 38.1
63851 | 2021-04-02 16:31 | 52.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1449 | μmol/L | 33.5108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.943 | 147395.6156 | 299213.8113 | 59.9307 | 38.1
63861 | 2021-04-02 16:32 | 53.3307 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1313 | μmol/L | 33.4924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.951 | 147459.1434 | 299203.8044 | 59.9307 | 38.1
63871 | 2021-04-02 16:32 | 53.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5155 | μmol/L | 33.5783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.968 | 147573.5001 | 299212.9537 | 59.9307 | 38.1
63881 | 2021-04-02 16:32 | 53.9972 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.4742 | μmol/L | 33.5047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.999 | 147797.4142 | 299210.8028 | 59.9307 | 38.1
63891 | 2021-04-02 16:33 | 54.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.4846 | μmol/L | 33.6212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.955 | 147576.0526 | 299196.7973 | 59.9307 | 38.1
63901 | 2021-04-02 16:33 | 54.6639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.9496 | μmol/L | 33.3698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.931 | 147478.9456 | 299199.5095 | 59.9307 | 38.1