## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62262 | 2021-04-02 15:38 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2005 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.44 | 106295.7388 | 215772.3246 | 27.3 | 43.4
62272 | 2021-04-02 15:39 | 0.32988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2801 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.433 | 106265.6209 | 215774.8111 | 27.3 | 43.4
62282 | 2021-04-02 15:39 | 0.66355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1336 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.444 | 106306.9044 | 215769.1074 | 27.3 | 43.4
62292 | 2021-04-02 15:39 | 0.99626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1124 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.452 | 106351.652 | 215767.4746 | 27.3 | 43.4
62302 | 2021-04-02 15:40 | 1.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.154 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.454 | 106341.5541 | 215754.2475 | 27.3 | 43.4
62312 | 2021-04-02 15:40 | 1.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.079 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.454 | 106357.5279 | 215764.439 | 27.3 | 43.4
62322 | 2021-04-02 15:40 | 1.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.9329 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.465 | 106400.9093 | 215766.0666 | 27.3 | 43.4
62332 | 2021-04-02 15:41 | 2.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.8328 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.471 | 106413.1726 | 215759.8011 | 27.3 | 43.4
62342 | 2021-04-02 15:41 | 2.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.9243 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.47 | 106415.9615 | 215764.6738 | 27.3 | 43.4
62352 | 2021-04-02 15:41 | 2.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.3792 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.496 | 106557.222 | 215758.4294 | 27.3 | 43.4
62362 | 2021-04-02 15:42 | 3.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.1178 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.505 | 106584.1819 | 215757.2118 | 27.3 | 43.4
62372 | 2021-04-02 15:42 | 3.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.0806 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.496 | 106559.8108 | 215747.6966 | 27.3 | 43.4
62382 | 2021-04-02 15:42 | 3.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.2256 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.503 | 106547.1432 | 215741.4364 | 27.3 | 43.4
62392 | 2021-04-02 15:43 | 4.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.234 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.498 | 106540.8165 | 215748.4956 | 27.3 | 43.4
62402 | 2021-04-02 15:43 | 4.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.9271 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.512 | 106617.7344 | 215747.7965 | 27.3 | 43.4
62412 | 2021-04-02 15:43 | 4.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.7698 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.517 | 106640.3711 | 215737.9802 | 27.3 | 43.4
62422 | 2021-04-02 15:44 | 5.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.7077 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.514 | 106634.705 | 215740.1913 | 27.3 | 43.4
62432 | 2021-04-02 15:44 | 5.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.4348 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.526 | 106665.9861 | 215741.6215 | 27.3 | 43.4
62442 | 2021-04-02 15:44 | 5.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.41 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.532 | 106700.3367 | 215740.3129 | 27.3 | 43.4
62452 | 2021-04-02 15:45 | 6.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.2654 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.534 | 106714.9535 | 215742.6941 | 27.3 | 43.4
62462 | 2021-04-02 15:45 | 6.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.0385 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.541 | 106749.0149 | 215737.0571 | 27.3 | 43.4
62472 | 2021-04-02 15:45 | 6.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.9025 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.547 | 106780.1185 | 215722.9154 | 27.3 | 43.4
62482 | 2021-04-02 15:46 | 7.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.6228 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.564 | 106824.1948 | 215725.2936 | 27.3 | 43.4
62492 | 2021-04-02 15:46 | 7.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.5861 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.573 | 106912.7976 | 215723.008 | 27.3 | 43.4
62502 | 2021-04-02 15:46 | 7.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.2948 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.593 | 107011.7941 | 215721.6009 | 27.3 | 43.4
62512 | 2021-04-02 15:47 | 8.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1881 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.595 | 107008.0474 | 215717.3111 | 27.3 | 43.4
62522 | 2021-04-02 15:47 | 8.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.8645 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.608 | 107082.5451 | 215723.7811 | 27.3 | 43.4
62532 | 2021-04-02 15:47 | 8.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.8402 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.614 | 107116.0727 | 215707.7115 | 27.3 | 43.4
62542 | 2021-04-02 15:48 | 9.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.5421 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.63 | 107201.774 | 215716.1029 | 27.3 | 43.4
62552 | 2021-04-02 15:48 | 9.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.6574 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.641 | 107272.2969 | 215709.2337 | 27.3 | 43.4
62562 | 2021-04-02 15:48 | 9.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.6495 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.646 | 107305.1966 | 215720.48 | 27.3 | 43.4
62572 | 2021-04-02 15:49 | 10.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.4696 | μmol/L | 33.668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.648 | 107321.5684 | 215712.2248 | 27.3 | 43.4
62582 | 2021-04-02 15:49 | 10.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.6947 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.65 | 107330.3478 | 215710.7067 | 27.3 | 43.4
62592 | 2021-04-02 15:49 | 10.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.1193 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.665 | 107397.0576 | 215695.8129 | 27.3 | 43.4
62602 | 2021-04-02 15:50 | 11.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.937 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.683 | 107471.7671 | 215698.3633 | 27.3 | 43.4
62612 | 2021-04-02 15:50 | 11.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.9821 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.687 | 107533.0547 | 215700.2357 | 27.3 | 43.4
62622 | 2021-04-02 15:50 | 11.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.0681 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.693 | 107543.9392 | 215696.7794 | 27.3 | 43.4
62632 | 2021-04-02 15:51 | 12.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.8649 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.701 | 107590.4512 | 215691.6148 | 27.3 | 43.4
62642 | 2021-04-02 15:51 | 12.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6176 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.714 | 107679.3033 | 215682.6772 | 27.3 | 43.4
62652 | 2021-04-02 15:51 | 12.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6794 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.726 | 107719.4781 | 215704.7051 | 27.3 | 43.4
62662 | 2021-04-02 15:52 | 13.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.1963 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.731 | 107737.1595 | 215696.1866 | 27.3 | 43.4
62672 | 2021-04-02 15:52 | 13.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9576 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.739 | 107781.9276 | 215701.0181 | 27.3 | 43.4
62682 | 2021-04-02 15:52 | 13.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.3713 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.736 | 107766.5999 | 215685.1977 | 27.3 | 43.4
62692 | 2021-04-02 15:53 | 14.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.5014 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.737 | 107790.1013 | 215693.9583 | 27.3 | 43.4
62702 | 2021-04-02 15:53 | 14.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.259 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.752 | 107862.9931 | 215695.1151 | 27.3 | 43.4
62712 | 2021-04-02 15:53 | 14.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.2793 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.753 | 107864.0082 | 215687.9934 | 27.3 | 43.4
62722 | 2021-04-02 15:54 | 15.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.5192 | μmol/L | 33.5145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.763 | 107911.9772 | 215697.5768 | 27.3 | 43.4
62732 | 2021-04-02 15:54 | 15.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.3332 | μmol/L | 33.5268 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.77 | 107962.4838 | 215690.7428 | 27.3 | 43.4
62742 | 2021-04-02 15:54 | 15.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9406 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.774 | 107988.3468 | 215690.4446 | 27.3 | 43.4
62752 | 2021-04-02 15:55 | 16.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6136 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.783 | 108028.2461 | 215684.7394 | 27.3 | 43.4
62762 | 2021-04-02 15:55 | 16.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.8279 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.781 | 108039.7893 | 215685.6183 | 27.3 | 43.4
62772 | 2021-04-02 15:55 | 16.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5536 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.789 | 108052.2154 | 215675.625 | 27.3 | 43.4
62782 | 2021-04-02 15:56 | 17.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6145 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.792 | 108089.0824 | 215676.0371 | 27.3 | 43.4
62792 | 2021-04-02 15:56 | 17.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.2283 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.807 | 108154.8813 | 215685.6433 | 27.3 | 43.4
62802 | 2021-04-02 15:56 | 17.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5071 | μmol/L | 33.5575 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.81 | 108190.251 | 215680.3245 | 27.3 | 43.4
62812 | 2021-04-02 15:57 | 18.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.2774 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.813 | 108176.6665 | 215680.0992 | 27.3 | 43.4
62822 | 2021-04-02 15:57 | 18.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6 | μmol/L | 33.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.811 | 108177.4048 | 215675.7303 | 27.3 | 43.4
62832 | 2021-04-02 15:57 | 18.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.004 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.821 | 108218.1495 | 215682.0143 | 27.3 | 43.4
62842 | 2021-04-02 15:58 | 19.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1138 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.83 | 108271.1029 | 215665.3787 | 27.3 | 43.4
62852 | 2021-04-02 15:58 | 19.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.0563 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.82 | 108244.998 | 215665.5688 | 27.3 | 43.4
62862 | 2021-04-02 15:58 | 19.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.8312 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.825 | 108243.7792 | 215658.9111 | 27.3 | 43.4
62872 | 2021-04-02 15:59 | 20.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.6394 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.837 | 108330.6559 | 215658.5341 | 27.3 | 43.4
62882 | 2021-04-02 15:59 | 20.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.6523 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.843 | 108368.6412 | 215660.2011 | 27.3 | 43.4
62892 | 2021-04-02 15:59 | 20.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.4374 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.861 | 108445.1072 | 215659.8293 | 27.3 | 43.4
62902 | 2021-04-02 16:00 | 21.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.481 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.856 | 108427.6307 | 215659.2387 | 27.3 | 43.4
62912 | 2021-04-02 16:00 | 21.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.3694 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.863 | 108452.8878 | 215650.1308 | 27.3 | 43.4
62922 | 2021-04-02 16:00 | 21.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1323 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.862 | 108449.7912 | 215663.774 | 27.3 | 43.4
62932 | 2021-04-02 16:01 | 22.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.9647 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.868 | 108489.4942 | 215658.8824 | 27.3 | 43.4
62942 | 2021-04-02 16:01 | 22.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.9849 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.869 | 108487.3499 | 215656.7545 | 27.3 | 43.4
62952 | 2021-04-02 16:01 | 22.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1409 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.866 | 108492.534 | 215646.5403 | 27.3 | 43.4
62962 | 2021-04-02 16:02 | 23.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.4747 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.87 | 108494.006 | 215660.7891 | 27.3 | 43.4
62972 | 2021-04-02 16:02 | 23.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.084 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.89 | 108606.6456 | 215646.2688 | 27.3 | 43.4
62982 | 2021-04-02 16:02 | 23.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8548 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.884 | 108592.557 | 215652.639 | 27.3 | 43.4
62992 | 2021-04-02 16:03 | 24.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.66 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.894 | 108625.5344 | 215648.6592 | 27.3 | 43.4
63002 | 2021-04-02 16:03 | 24.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.0211 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.923 | 108769.9578 | 215647.7926 | 27.3 | 43.4
63012 | 2021-04-02 16:03 | 24.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7415 | μmol/L | 33.668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.943 | 108881.9443 | 215651.5193 | 27.3 | 43.4
63022 | 2021-04-02 16:04 | 25.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.1046 | μmol/L | 33.6005 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.945 | 108922.1839 | 215667.3801 | 27.3 | 43.4
63032 | 2021-04-02 16:04 | 25.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.0744 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.956 | 108956.074 | 215655.1091 | 27.3 | 43.4
63042 | 2021-04-02 16:04 | 25.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.8092 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.966 | 108989.9087 | 215648.3015 | 27.3 | 43.4
63052 | 2021-04-02 16:05 | 26.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7977 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.969 | 109027.6022 | 215643.3376 | 27.3 | 43.4
63062 | 2021-04-02 16:05 | 26.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.3086 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.991 | 109191.3642 | 215644.2238 | 27.3 | 43.4
63072 | 2021-04-02 16:05 | 26.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.0619 | μmol/L | 33.6066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.009 | 109272.0659 | 215644.9238 | 27.3 | 43.4
63082 | 2021-04-02 16:06 | 27.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.9279 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.013 | 109282.3011 | 215649.8932 | 27.3 | 43.4
63092 | 2021-04-02 16:06 | 27.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.9235 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.011 | 109296.9747 | 215652.9244 | 27.3 | 43.4
63102 | 2021-04-02 16:06 | 27.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.5307 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.027 | 109345.318 | 215656.6589 | 27.3 | 43.4
63112 | 2021-04-02 16:07 | 28.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.1255 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.037 | 109418.9066 | 215646.3876 | 27.3 | 43.4
63122 | 2021-04-02 16:07 | 28.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.0032 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.038 | 109436.5769 | 215640.4284 | 27.3 | 43.4
63132 | 2021-04-02 16:07 | 28.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.0053 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.047 | 109504.0483 | 215647.273 | 27.3 | 43.4
63142 | 2021-04-02 16:08 | 29.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.843 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.062 | 109563.7149 | 215648.5238 | 27.3 | 43.4
63152 | 2021-04-02 16:08 | 29.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.641 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.075 | 109659.2658 | 215653.2087 | 27.3 | 43.4
63162 | 2021-04-02 16:08 | 29.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.3574 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.091 | 109742.9264 | 215648.8616 | 27.3 | 43.4
63172 | 2021-04-02 16:09 | 30.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.9154 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.115 | 109829.5941 | 215653.5091 | 27.3 | 43.4
63182 | 2021-04-02 16:09 | 30.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.8448 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.115 | 109865.8475 | 215641.2844 | 27.3 | 43.4
63192 | 2021-04-02 16:09 | 30.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.5911 | μmol/L | 33.7355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.12 | 109902.7867 | 215635.9849 | 27.3 | 43.4
63202 | 2021-04-02 16:10 | 31.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.5274 | μmol/L | 33.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.131 | 109967.6769 | 215644.147 | 27.3 | 43.4
63212 | 2021-04-02 16:10 | 31.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.2876 | μmol/L | 33.7293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.142 | 110006.9008 | 215648.6024 | 27.3 | 43.4
63222 | 2021-04-02 16:10 | 31.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.2414 | μmol/L | 33.7293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.145 | 110040.7076 | 215658.7431 | 27.3 | 43.4
63232 | 2021-04-02 16:11 | 32.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.8838 | μmol/L | 33.7355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.166 | 110153.4571 | 215654.4616 | 27.3 | 43.4
63242 | 2021-04-02 16:11 | 32.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.8116 | μmol/L | 33.7293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.173 | 110175.7986 | 215658.52 | 27.3 | 43.4
63252 | 2021-04-02 16:11 | 32.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.6565 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.19 | 110285.1934 | 215666.3813 | 27.3 | 43.4
63262 | 2021-04-02 16:12 | 33.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.4801 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.213 | 110426.243 | 215660.929 | 27.3 | 43.4
63272 | 2021-04-02 16:12 | 33.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.3381 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.22 | 110448.9621 | 215654.1155 | 27.3 | 43.4
63282 | 2021-04-02 16:12 | 33.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.4323 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.223 | 110464.0744 | 215657.0474 | 27.3 | 43.4
63292 | 2021-04-02 16:13 | 34.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.2078 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.24 | 110556.7953 | 215665.1863 | 27.3 | 43.4
63302 | 2021-04-02 16:13 | 34.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.922 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.245 | 110591.7207 | 215661.9597 | 27.3 | 43.4
63312 | 2021-04-02 16:13 | 34.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.0733 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.258 | 110645.3886 | 215650.4822 | 27.3 | 43.4
63322 | 2021-04-02 16:14 | 35.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.006 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.267 | 110715.0976 | 215664.3154 | 27.3 | 43.4
63332 | 2021-04-02 16:14 | 35.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.5571 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.269 | 110740.5278 | 215658.7852 | 27.3 | 43.4
63342 | 2021-04-02 16:14 | 35.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.6734 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.282 | 110813.5435 | 215659.6725 | 27.3 | 43.4
63352 | 2021-04-02 16:15 | 36.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.9673 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.281 | 110832.8639 | 215651.9488 | 27.3 | 43.4
63362 | 2021-04-02 16:15 | 36.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.4172 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.292 | 110860.3463 | 215658.624 | 27.3 | 43.4
63372 | 2021-04-02 16:15 | 36.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.4333 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.307 | 110928.8793 | 215669.4413 | 27.3 | 43.4
63382 | 2021-04-02 16:16 | 37.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.6571 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.306 | 110944.6953 | 215664.7739 | 27.3 | 43.4
63392 | 2021-04-02 16:16 | 37.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.592 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.308 | 110953.1208 | 215658.0342 | 27.3 | 43.4
63402 | 2021-04-02 16:16 | 37.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.3797 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.322 | 111024.4994 | 215655.3665 | 27.3 | 43.4
63412 | 2021-04-02 16:17 | 38.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9284 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.322 | 111052.1922 | 215644.704 | 27.3 | 43.4
63422 | 2021-04-02 16:17 | 38.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.1936 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.332 | 111092.1388 | 215640.74 | 27.3 | 43.4
63432 | 2021-04-02 16:17 | 38.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.1163 | μmol/L | 33.5698 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.344 | 111155.0381 | 215653.3486 | 27.3 | 43.4
63442 | 2021-04-02 16:18 | 39.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.7947 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.363 | 111260.2289 | 215645.5776 | 27.3 | 43.4
63452 | 2021-04-02 16:18 | 39.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9163 | μmol/L | 33.533 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.371 | 111288.9455 | 215657.4815 | 27.3 | 43.4
63462 | 2021-04-02 16:18 | 39.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5748 | μmol/L | 33.5882 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.373 | 111310.6806 | 215649.3607 | 27.3 | 43.4
63472 | 2021-04-02 16:19 | 40.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6005 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.369 | 111319.0138 | 215650.8311 | 27.3 | 43.4
63482 | 2021-04-02 16:19 | 40.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6016 | μmol/L | 33.5514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.385 | 111375.0891 | 215650.9211 | 27.3 | 43.4
63492 | 2021-04-02 16:19 | 40.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.2184 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.399 | 111470.8882 | 215646.5326 | 27.3 | 43.4
63502 | 2021-04-02 16:20 | 41.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.0593 | μmol/L | 33.5943 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.405 | 111524.9191 | 215663.2474 | 27.3 | 43.4
63512 | 2021-04-02 16:20 | 41.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.7911 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.416 | 111574.8297 | 215655.6797 | 27.3 | 43.4
63522 | 2021-04-02 16:20 | 41.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.4679 | μmol/L | 33.625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.433 | 111688.8704 | 215653.8149 | 27.3 | 43.4
63532 | 2021-04-02 16:21 | 42.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.3873 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.443 | 111729.7242 | 215665.5322 | 27.3 | 43.4
63542 | 2021-04-02 16:21 | 42.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.4695 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.449 | 111765.6154 | 215660.7215 | 27.3 | 43.4
63552 | 2021-04-02 16:21 | 42.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.474 | μmol/L | 33.5759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.451 | 111786.9597 | 215656.0151 | 27.3 | 43.4
63562 | 2021-04-02 16:22 | 43.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.365 | μmol/L | 33.582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.456 | 111822.7591 | 215654.5076 | 27.3 | 43.4
63572 | 2021-04-02 16:22 | 43.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9997 | μmol/L | 33.6127 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.469 | 111865.5022 | 215654.4658 | 27.3 | 43.4
63582 | 2021-04-02 16:22 | 43.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.8626 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.469 | 111897.2883 | 215653.3812 | 27.3 | 43.4
63592 | 2021-04-02 16:23 | 44.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.6706 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.475 | 111909.6519 | 215645.983 | 27.3 | 43.4
63602 | 2021-04-02 16:23 | 44.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5472 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.481 | 111938.1851 | 215646.536 | 27.3 | 43.4
63612 | 2021-04-02 16:23 | 44.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5996 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.489 | 111981.6181 | 215662.6281 | 27.3 | 43.4
63622 | 2021-04-02 16:24 | 45.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.6396 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.484 | 111972.7936 | 215654.685 | 27.3 | 43.4
63632 | 2021-04-02 16:24 | 45.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5996 | μmol/L | 33.6311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.489 | 111993.5821 | 215659.7542 | 27.3 | 43.4
63642 | 2021-04-02 16:24 | 45.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.4764 | μmol/L | 33.6373 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.495 | 112028.0683 | 215654.7086 | 27.3 | 43.4
63652 | 2021-04-02 16:25 | 46.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.4306 | μmol/L | 33.6189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.505 | 112062.4735 | 215656.5255 | 27.3 | 43.4
63662 | 2021-04-02 16:25 | 46.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.2051 | μmol/L | 33.6434 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.511 | 112119.1918 | 215669.7312 | 27.3 | 43.4
63672 | 2021-04-02 16:25 | 46.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.9593 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.523 | 112215.0658 | 215656.1822 | 27.3 | 43.4
63682 | 2021-04-02 16:26 | 47.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.6641 | μmol/L | 33.6557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.543 | 112312.3383 | 215649.6352 | 27.3 | 43.4
63692 | 2021-04-02 16:26 | 47.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.4035 | μmol/L | 33.6495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.563 | 112412.0137 | 215656.8328 | 27.3 | 43.4
63702 | 2021-04-02 16:26 | 47.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.2179 | μmol/L | 33.6618 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.571 | 112435.5571 | 215648.8149 | 27.3 | 43.4
63712 | 2021-04-02 16:27 | 48.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.0719 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.574 | 112452.8194 | 215653.9608 | 27.3 | 43.4
63722 | 2021-04-02 16:27 | 48.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.0334 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.572 | 112482.5192 | 215652.0146 | 27.3 | 43.4
63732 | 2021-04-02 16:27 | 48.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.2087 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.567 | 112436.0452 | 215661.0509 | 27.3 | 43.4
63742 | 2021-04-02 16:28 | 49.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8674 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.581 | 112522.1896 | 215653.1358 | 27.3 | 43.4
63752 | 2021-04-02 16:28 | 49.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.6677 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.59 | 112589.4648 | 215654.667 | 27.3 | 43.4
63762 | 2021-04-02 16:28 | 49.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.6229 | μmol/L | 33.6925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.6 | 112632.4933 | 215660.3798 | 27.3 | 43.4
63772 | 2021-04-02 16:29 | 50.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.3351 | μmol/L | 33.6864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.622 | 112725.0702 | 215649.7882 | 27.3 | 43.4
63782 | 2021-04-02 16:29 | 50.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.0587 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.634 | 112814.932 | 215652.4138 | 27.3 | 43.4
63792 | 2021-04-02 16:29 | 50.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.8647 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112865.0766 | 215647.3115 | 27.3 | 43.4
63802 | 2021-04-02 16:30 | 51.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.6802 | μmol/L | 33.7048 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.66 | 112931.3682 | 215636.9103 | 27.3 | 43.4
63812 | 2021-04-02 16:30 | 51.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.3765 | μmol/L | 33.7416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.667 | 112997.2945 | 215654.2141 | 27.3 | 43.4
63822 | 2021-04-02 16:30 | 51.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.217 | μmol/L | 33.7416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.678 | 113067.8819 | 215643.2939 | 27.3 | 43.4
63832 | 2021-04-02 16:31 | 52.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1922 | μmol/L | 33.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.689 | 113112.9358 | 215641.1827 | 27.3 | 43.4
63842 | 2021-04-02 16:31 | 52.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.0717 | μmol/L | 33.7232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.695 | 113148.4529 | 215647.6649 | 27.3 | 43.4
63852 | 2021-04-02 16:31 | 52.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.0087 | μmol/L | 33.7109 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.704 | 113211.9316 | 215640.858 | 27.3 | 43.4
63862 | 2021-04-02 16:32 | 53.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7971 | μmol/L | 33.7232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.714 | 113273.2821 | 215637.4899 | 27.3 | 43.4
63872 | 2021-04-02 16:32 | 53.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.5565 | μmol/L | 33.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.733 | 113341.4973 | 215647.3493 | 27.3 | 43.4
63882 | 2021-04-02 16:32 | 53.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.6178 | μmol/L | 33.6741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.745 | 113430.8166 | 215644.4961 | 27.3 | 43.4
63892 | 2021-04-02 16:33 | 54.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1958 | μmol/L | 33.6802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.772 | 113590.3946 | 215650.9614 | 27.3 | 43.4
63902 | 2021-04-02 16:33 | 54.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.8088 | μmol/L | 33.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.792 | 113684.3291 | 215642.7516 | 27.3 | 43.4