## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62263 | 2021-04-02 15:38 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.0677 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.724 | 107792.4493 | 296494.6967 | 28.7 | 67.6
62273 | 2021-04-02 15:39 | 0.32684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.8267 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.739 | 107880.4942 | 296501.5786 | 28.7 | 67.6
62283 | 2021-04-02 15:39 | 0.65948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.7987 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.741 | 107903.2403 | 296507.463 | 28.7 | 67.6
62293 | 2021-04-02 15:39 | 0.99305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.6661 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.746 | 107923.5902 | 296509.1618 | 28.7 | 67.6
62303 | 2021-04-02 15:40 | 1.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.6453 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.752 | 107943.7446 | 296494.1598 | 28.7 | 67.6
62313 | 2021-04-02 15:40 | 1.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.5406 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.755 | 107983.8719 | 296491.7708 | 28.7 | 67.6
62323 | 2021-04-02 15:40 | 1.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.2964 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.759 | 107973.8723 | 296482.2191 | 28.7 | 67.6
62333 | 2021-04-02 15:41 | 2.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.3036 | μmol/L | 33.8866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.763 | 108021.7401 | 296480.0389 | 28.7 | 67.6
62343 | 2021-04-02 15:41 | 2.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 158.0644 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.787 | 108127.5181 | 296482.0532 | 28.7 | 67.6
62353 | 2021-04-02 15:41 | 2.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.9498 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.793 | 108198.7762 | 296509.3551 | 28.7 | 67.6
62363 | 2021-04-02 15:42 | 3.3261 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.7522 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.805 | 108247.9167 | 296467.8139 | 28.7 | 67.6
62373 | 2021-04-02 15:42 | 3.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.5062 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.816 | 108308.8193 | 296494.1899 | 28.7 | 67.6
62383 | 2021-04-02 15:42 | 3.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.3681 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.826 | 108368.999 | 296480.065 | 28.7 | 67.6
62393 | 2021-04-02 15:43 | 4.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.2265 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.834 | 108413.2449 | 296483.4088 | 28.7 | 67.6
62403 | 2021-04-02 15:43 | 4.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 157.1612 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.841 | 108473.3505 | 296474.07 | 28.7 | 67.6
62413 | 2021-04-02 15:43 | 4.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.9409 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.857 | 108547.4519 | 296462.4238 | 28.7 | 67.6
62423 | 2021-04-02 15:44 | 5.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.7036 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.872 | 108620.394 | 296463.2275 | 28.7 | 67.6
62433 | 2021-04-02 15:44 | 5.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.4794 | μmol/L | 33.9354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.877 | 108672.9078 | 296469.0102 | 28.7 | 67.6
62443 | 2021-04-02 15:44 | 5.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.3698 | μmol/L | 33.9354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.885 | 108694.9082 | 296452.9359 | 28.7 | 67.6
62453 | 2021-04-02 15:45 | 6.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.346 | μmol/L | 33.9293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.889 | 108728.0171 | 296446.5187 | 28.7 | 67.6
62463 | 2021-04-02 15:45 | 6.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.3296 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.897 | 108774.2327 | 296456.0385 | 28.7 | 67.6
62473 | 2021-04-02 15:45 | 6.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.2575 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.9 | 108777.3337 | 296446.2271 | 28.7 | 67.6
62483 | 2021-04-02 15:46 | 7.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.4026 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.903 | 108798.7145 | 296443.8888 | 28.7 | 67.6
62493 | 2021-04-02 15:46 | 7.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.5001 | μmol/L | 33.8316 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.914 | 108840.1207 | 296433.0393 | 28.7 | 67.6
62503 | 2021-04-02 15:46 | 7.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.3213 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.918 | 108881.8435 | 296427.2115 | 28.7 | 67.6
62513 | 2021-04-02 15:47 | 8.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 156.026 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.926 | 108900.5595 | 296434.197 | 28.7 | 67.6
62523 | 2021-04-02 15:47 | 8.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.8103 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.935 | 108939.6054 | 296426.4601 | 28.7 | 67.6
62533 | 2021-04-02 15:47 | 8.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.8722 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.935 | 108952.6323 | 296434.1072 | 28.7 | 67.6
62543 | 2021-04-02 15:48 | 9.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.9387 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.946 | 109005.2285 | 296412.8618 | 28.7 | 67.6
62553 | 2021-04-02 15:48 | 9.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.6206 | μmol/L | 33.8866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.958 | 109066.6552 | 296420.0688 | 28.7 | 67.6
62563 | 2021-04-02 15:48 | 9.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.5907 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.967 | 109101.7763 | 296400.4761 | 28.7 | 67.6
62573 | 2021-04-02 15:49 | 10.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.5263 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.974 | 109153.4111 | 296401.6883 | 28.7 | 67.6
62583 | 2021-04-02 15:49 | 10.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.4556 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.986 | 109210.4532 | 296390.9396 | 28.7 | 67.6
62593 | 2021-04-02 15:49 | 10.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.6006 | μmol/L | 33.7827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.998 | 109273.9824 | 296399.3012 | 28.7 | 67.6
62603 | 2021-04-02 15:50 | 11.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.2086 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.011 | 109302.0984 | 296388.194 | 28.7 | 67.6
62613 | 2021-04-02 15:50 | 11.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.6622 | μmol/L | 33.7705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.998 | 109268.0615 | 296386.6016 | 28.7 | 67.6
62623 | 2021-04-02 15:50 | 11.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.5914 | μmol/L | 33.7521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.01 | 109326.8646 | 296386.0451 | 28.7 | 67.6
62633 | 2021-04-02 15:51 | 12.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.6678 | μmol/L | 33.691 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.027 | 109440.7288 | 296384.1891 | 28.7 | 67.6
62643 | 2021-04-02 15:51 | 12.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 155.3033 | μmol/L | 33.7338 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.038 | 109502.0779 | 296401.8009 | 28.7 | 67.6
62653 | 2021-04-02 15:51 | 12.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.8574 | μmol/L | 33.801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.046 | 109527.137 | 296388.3397 | 28.7 | 67.6
62663 | 2021-04-02 15:52 | 13.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.6952 | μmol/L | 33.801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.058 | 109598.2306 | 296384.9377 | 28.7 | 67.6
62673 | 2021-04-02 15:52 | 13.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.4585 | μmol/L | 33.8132 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.071 | 109664.9562 | 296383.9119 | 28.7 | 67.6
62683 | 2021-04-02 15:52 | 13.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.2578 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.07 | 109664.5484 | 296377.4776 | 28.7 | 67.6
62693 | 2021-04-02 15:53 | 14.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.752 | μmol/L | 33.7277 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.081 | 109693.802 | 296376.466 | 28.7 | 67.6
62703 | 2021-04-02 15:53 | 14.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.4993 | μmol/L | 33.7216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.102 | 109773.1877 | 296389.3414 | 28.7 | 67.6
62713 | 2021-04-02 15:53 | 14.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 154.1805 | μmol/L | 33.7827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.103 | 109765.5969 | 296374.7662 | 28.7 | 67.6
62723 | 2021-04-02 15:54 | 15.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.7838 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.103 | 109799.2117 | 296367.1882 | 28.7 | 67.6
62733 | 2021-04-02 15:54 | 15.6599 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.5425 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.121 | 109899.1508 | 296376.6025 | 28.7 | 67.6
62743 | 2021-04-02 15:54 | 15.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.9934 | μmol/L | 33.7582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.126 | 109929.9449 | 296382.4286 | 28.7 | 67.6
62753 | 2021-04-02 15:55 | 16.3263 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.6961 | μmol/L | 33.8071 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.13 | 109958.7186 | 296368.5833 | 28.7 | 67.6
62763 | 2021-04-02 15:55 | 16.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.4879 | μmol/L | 33.8193 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.141 | 110020.7558 | 296367.6522 | 28.7 | 67.6
62773 | 2021-04-02 15:55 | 16.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.0334 | μmol/L | 33.8866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.15 | 110059.972 | 296375.8121 | 28.7 | 67.6
62783 | 2021-04-02 15:56 | 17.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.2594 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.149 | 110051.9518 | 296366.845 | 28.7 | 67.6
62793 | 2021-04-02 15:56 | 17.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.2837 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.154 | 110113.8254 | 296371.1653 | 28.7 | 67.6
62803 | 2021-04-02 15:56 | 17.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9163 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.177 | 110196.0421 | 296369.2707 | 28.7 | 67.6
62813 | 2021-04-02 15:57 | 18.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.7285 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.182 | 110227.7781 | 296374.1099 | 28.7 | 67.6
62823 | 2021-04-02 15:57 | 18.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.8497 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.182 | 110269.3969 | 296350.761 | 28.7 | 67.6
62833 | 2021-04-02 15:57 | 18.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.7432 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.19 | 110300.1168 | 296342.9481 | 28.7 | 67.6
62843 | 2021-04-02 15:58 | 19.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6406 | μmol/L | 33.8316 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.2 | 110340.0035 | 296342.4248 | 28.7 | 67.6
62853 | 2021-04-02 15:58 | 19.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6213 | μmol/L | 33.8193 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.206 | 110378.9597 | 296345.3632 | 28.7 | 67.6
62863 | 2021-04-02 15:58 | 19.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.3183 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.222 | 110467.4085 | 296350.8432 | 28.7 | 67.6
62873 | 2021-04-02 15:59 | 20.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.1403 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.24 | 110562.7719 | 296344.0967 | 28.7 | 67.6
62883 | 2021-04-02 15:59 | 20.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.0344 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.248 | 110607.4119 | 296327.9864 | 28.7 | 67.6
62893 | 2021-04-02 15:59 | 20.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8912 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.252 | 110635.6865 | 296331.1287 | 28.7 | 67.6
62903 | 2021-04-02 16:00 | 21.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8912 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.252 | 110653.3176 | 296325.1985 | 28.7 | 67.6
62913 | 2021-04-02 16:00 | 21.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8384 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.256 | 110657.0873 | 296315.1767 | 28.7 | 67.6
62923 | 2021-04-02 16:00 | 21.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8289 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.259 | 110687.9764 | 296333.235 | 28.7 | 67.6
62933 | 2021-04-02 16:01 | 22.3263 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6104 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.271 | 110755.0927 | 296323.2342 | 28.7 | 67.6
62943 | 2021-04-02 16:01 | 22.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3433 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.289 | 110843.2236 | 296319.1035 | 28.7 | 67.6
62953 | 2021-04-02 16:01 | 22.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1987 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.3 | 110908.5591 | 296324.7302 | 28.7 | 67.6
62963 | 2021-04-02 16:02 | 23.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1125 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.302 | 110946.0667 | 296323.7585 | 28.7 | 67.6
62973 | 2021-04-02 16:02 | 23.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8989 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.316 | 110990.3053 | 296327.11 | 28.7 | 67.6
62983 | 2021-04-02 16:02 | 23.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9362 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.32 | 111025.7066 | 296314.2118 | 28.7 | 67.6
62993 | 2021-04-02 16:03 | 24.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.7229 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.334 | 111116.1132 | 296325.8646 | 28.7 | 67.6
63003 | 2021-04-02 16:03 | 24.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4279 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.352 | 111196.0296 | 296320.5461 | 28.7 | 67.6
63013 | 2021-04-02 16:03 | 24.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.1893 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.368 | 111292.3225 | 296322.6022 | 28.7 | 67.6
63023 | 2021-04-02 16:04 | 25.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.9344 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.383 | 111387.7607 | 296331.9348 | 28.7 | 67.6
63033 | 2021-04-02 16:04 | 25.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.8564 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.389 | 111431.0058 | 296328.6772 | 28.7 | 67.6
63043 | 2021-04-02 16:04 | 25.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6243 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.4 | 111478.943 | 296347.0369 | 28.7 | 67.6
63053 | 2021-04-02 16:05 | 26.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6465 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.396 | 111494.31 | 296349.1716 | 28.7 | 67.6
63063 | 2021-04-02 16:05 | 26.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6524 | μmol/L | 33.8866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.407 | 111539.932 | 296342.5233 | 28.7 | 67.6
63073 | 2021-04-02 16:05 | 26.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.4374 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.419 | 111621.6884 | 296352.7841 | 28.7 | 67.6
63083 | 2021-04-02 16:06 | 27.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.2432 | μmol/L | 33.8988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.434 | 111676.6809 | 296338.8493 | 28.7 | 67.6
63093 | 2021-04-02 16:06 | 27.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.0509 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.442 | 111737.8709 | 296338.6915 | 28.7 | 67.6
63103 | 2021-04-02 16:06 | 27.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.9643 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.451 | 111793.3393 | 296345.402 | 28.7 | 67.6
63113 | 2021-04-02 16:07 | 28.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.8407 | μmol/L | 33.9232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.456 | 111841.3821 | 296341.6485 | 28.7 | 67.6
63123 | 2021-04-02 16:07 | 28.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.8482 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.46 | 111867.6141 | 296346.1513 | 28.7 | 67.6
63133 | 2021-04-02 16:07 | 28.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.7747 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.468 | 111911.3999 | 296330.1824 | 28.7 | 67.6
63143 | 2021-04-02 16:08 | 29.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.5407 | μmol/L | 33.9293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.477 | 111961.4987 | 296322.8442 | 28.7 | 67.6
63153 | 2021-04-02 16:08 | 29.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.3826 | μmol/L | 33.9354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.487 | 112026.9016 | 296322.4554 | 28.7 | 67.6
63163 | 2021-04-02 16:08 | 29.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2043 | μmol/L | 33.9538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.494 | 112070.8524 | 296334.0546 | 28.7 | 67.6
63173 | 2021-04-02 16:09 | 30.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.153 | μmol/L | 33.9538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.498 | 112072.444 | 296326.803 | 28.7 | 67.6
63183 | 2021-04-02 16:09 | 30.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.295 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.503 | 112096.7713 | 296328.1342 | 28.7 | 67.6
63193 | 2021-04-02 16:09 | 30.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.3985 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.511 | 112126.323 | 296321.365 | 28.7 | 67.6
63203 | 2021-04-02 16:10 | 31.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2936 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.51 | 112151.391 | 296318.9804 | 28.7 | 67.6
63213 | 2021-04-02 16:10 | 31.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2422 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.514 | 112183.3261 | 296315.3301 | 28.7 | 67.6
63223 | 2021-04-02 16:10 | 31.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2188 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.525 | 112225.6903 | 296341.9019 | 28.7 | 67.6
63233 | 2021-04-02 16:11 | 32.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.4617 | μmol/L | 33.8071 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.529 | 112271.4634 | 296328.5208 | 28.7 | 67.6
63243 | 2021-04-02 16:11 | 32.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.181 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.544 | 112332.5636 | 296326.6737 | 28.7 | 67.6
63253 | 2021-04-02 16:11 | 32.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7964 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.558 | 112418.4259 | 296334.9741 | 28.7 | 67.6
63263 | 2021-04-02 16:12 | 33.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.5883 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.572 | 112490.9031 | 296330.1033 | 28.7 | 67.6
63273 | 2021-04-02 16:12 | 33.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7243 | μmol/L | 33.8193 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.582 | 112549.1445 | 296313.0429 | 28.7 | 67.6
63283 | 2021-04-02 16:12 | 33.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4655 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.6 | 112624.4232 | 296323.3448 | 28.7 | 67.6
63293 | 2021-04-02 16:13 | 34.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.3292 | μmol/L | 33.8193 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.613 | 112691.1444 | 296312.1866 | 28.7 | 67.6
63303 | 2021-04-02 16:13 | 34.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1624 | μmol/L | 33.801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.633 | 112756.2706 | 296323.5011 | 28.7 | 67.6
63313 | 2021-04-02 16:13 | 34.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.3554 | μmol/L | 33.7766 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.627 | 112784.093 | 296331.3336 | 28.7 | 67.6
63323 | 2021-04-02 16:14 | 35.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.081 | μmol/L | 33.7888 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.644 | 112875.376 | 296315.1803 | 28.7 | 67.6
63333 | 2021-04-02 16:14 | 35.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.8043 | μmol/L | 33.7644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.675 | 113008.3192 | 296308.92 | 28.7 | 67.6
63343 | 2021-04-02 16:14 | 35.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4553 | μmol/L | 33.7766 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.698 | 113134.0342 | 296309.3291 | 28.7 | 67.6
63353 | 2021-04-02 16:15 | 36.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8846 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.718 | 113262.9506 | 296297.3944 | 28.7 | 67.6
63363 | 2021-04-02 16:15 | 36.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4263 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.743 | 113355.485 | 296315.4558 | 28.7 | 67.6
63373 | 2021-04-02 16:15 | 36.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.2548 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.759 | 113464.3457 | 296308.3996 | 28.7 | 67.6
63383 | 2021-04-02 16:16 | 37.3263 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.976 | μmol/L | 33.8743 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.779 | 113584.3363 | 296337.5129 | 28.7 | 67.6
63393 | 2021-04-02 16:16 | 37.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.693 | μmol/L | 33.8682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.804 | 113704.4117 | 296309.2305 | 28.7 | 67.6
63403 | 2021-04-02 16:16 | 37.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5858 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.808 | 113699.9564 | 296319.3799 | 28.7 | 67.6
63413 | 2021-04-02 16:17 | 38.3263 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.7023 | μmol/L | 33.8132 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.824 | 113773.4385 | 296308.6374 | 28.7 | 67.6
63423 | 2021-04-02 16:17 | 38.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.0292 | μmol/L | 33.7277 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.83 | 113835.7952 | 296314.4348 | 28.7 | 67.6
63433 | 2021-04-02 16:17 | 38.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.2199 | μmol/L | 33.6605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.84 | 113907.6259 | 296313.5828 | 28.7 | 67.6
63443 | 2021-04-02 16:18 | 39.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6567 | μmol/L | 33.746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.853 | 114033.8527 | 296326.6359 | 28.7 | 67.6
63453 | 2021-04-02 16:18 | 39.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.0091 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.866 | 114100.3129 | 296332.1605 | 28.7 | 67.6
63463 | 2021-04-02 16:18 | 39.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.3559 | μmol/L | 33.7705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.868 | 114119.9908 | 296319.733 | 28.7 | 67.6
63473 | 2021-04-02 16:19 | 40.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.4303 | μmol/L | 33.7705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114093.8542 | 296322.8178 | 28.7 | 67.6
63483 | 2021-04-02 16:19 | 40.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1978 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.86 | 114066.123 | 296332.2753 | 28.7 | 67.6
63493 | 2021-04-02 16:19 | 40.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1482 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.864 | 114061.2761 | 296327.3865 | 28.7 | 67.6
63503 | 2021-04-02 16:20 | 41.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.0872 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.862 | 114088.5743 | 296337.0897 | 28.7 | 67.6
63513 | 2021-04-02 16:20 | 41.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.0672 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.859 | 114069.5294 | 296335.2741 | 28.7 | 67.6
63523 | 2021-04-02 16:20 | 41.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.277 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.849 | 114013.2101 | 296340.8984 | 28.7 | 67.6
63533 | 2021-04-02 16:21 | 42.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.3342 | μmol/L | 33.8255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.849 | 114000.798 | 296322.7496 | 28.7 | 67.6
63543 | 2021-04-02 16:21 | 42.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.0758 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.856 | 114040.4265 | 296330.821 | 28.7 | 67.6
63553 | 2021-04-02 16:21 | 42.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1082 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.858 | 114058.0238 | 296328.6641 | 28.7 | 67.6
63563 | 2021-04-02 16:22 | 43.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1034 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.863 | 114091.1548 | 296333.0903 | 28.7 | 67.6
63573 | 2021-04-02 16:22 | 43.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.8692 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.875 | 114153.5319 | 296322.7825 | 28.7 | 67.6
63583 | 2021-04-02 16:22 | 43.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.951 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.873 | 114180.1197 | 296331.1096 | 28.7 | 67.6
63593 | 2021-04-02 16:23 | 44.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.8274 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.883 | 114217.9343 | 296329.8963 | 28.7 | 67.6
63603 | 2021-04-02 16:23 | 44.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7855 | μmol/L | 33.8316 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.891 | 114248.7472 | 296333.2535 | 28.7 | 67.6
63613 | 2021-04-02 16:23 | 44.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6829 | μmol/L | 33.8377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.897 | 114303.4293 | 296325.8166 | 28.7 | 67.6
63623 | 2021-04-02 16:24 | 45.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6221 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.895 | 114306.016 | 296341.3589 | 28.7 | 67.6
63633 | 2021-04-02 16:24 | 45.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.4949 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.903 | 114340.7576 | 296326.7532 | 28.7 | 67.6
63643 | 2021-04-02 16:24 | 45.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.3348 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 114418.1729 | 296327.55 | 28.7 | 67.6
63653 | 2021-04-02 16:25 | 46.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.2117 | μmol/L | 33.8621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.926 | 114466.9317 | 296338.5502 | 28.7 | 67.6
63663 | 2021-04-02 16:25 | 46.6599 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.045 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.928 | 114495.7837 | 296322.0444 | 28.7 | 67.6
63673 | 2021-04-02 16:25 | 46.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.0159 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.935 | 114538.9419 | 296326.3555 | 28.7 | 67.6
63683 | 2021-04-02 16:26 | 47.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.8809 | μmol/L | 33.8804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.946 | 114587.0931 | 296326.5091 | 28.7 | 67.6
63693 | 2021-04-02 16:26 | 47.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.7383 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.953 | 114650.0918 | 296319.0534 | 28.7 | 67.6
63703 | 2021-04-02 16:26 | 47.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.6327 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.957 | 114673.2983 | 296330.784 | 28.7 | 67.6
63713 | 2021-04-02 16:27 | 48.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.5715 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.962 | 114695.6925 | 296322.8795 | 28.7 | 67.6
63723 | 2021-04-02 16:27 | 48.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3681 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.974 | 114771.1506 | 296319.5102 | 28.7 | 67.6
63733 | 2021-04-02 16:27 | 48.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.2537 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.988 | 114859.6174 | 296324.2111 | 28.7 | 67.6
63743 | 2021-04-02 16:28 | 49.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.0343 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.006 | 114943.521 | 296325.5758 | 28.7 | 67.6
63753 | 2021-04-02 16:28 | 49.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8805 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.014 | 115006.6386 | 296331.1576 | 28.7 | 67.6
63763 | 2021-04-02 16:28 | 49.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8202 | μmol/L | 33.9354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.012 | 115011.0807 | 296332.7107 | 28.7 | 67.6
63773 | 2021-04-02 16:29 | 50.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8965 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.015 | 115009.1143 | 296323.3065 | 28.7 | 67.6
63783 | 2021-04-02 16:29 | 50.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8075 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.02 | 115028.4944 | 296320.9342 | 28.7 | 67.6
63793 | 2021-04-02 16:29 | 50.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8235 | μmol/L | 33.911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.021 | 115042.7374 | 296336.5394 | 28.7 | 67.6
63803 | 2021-04-02 16:30 | 51.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6253 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.035 | 115116.3992 | 296325.7822 | 28.7 | 67.6
63813 | 2021-04-02 16:30 | 51.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.5238 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 115188.8971 | 296324.2273 | 28.7 | 67.6
63823 | 2021-04-02 16:30 | 51.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.4103 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.062 | 115258.0622 | 296316.3618 | 28.7 | 67.6
63833 | 2021-04-02 16:31 | 52.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.2859 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.063 | 115286.8456 | 296314.6542 | 28.7 | 67.6
63843 | 2021-04-02 16:31 | 52.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.133 | μmol/L | 33.9293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.071 | 115318.6151 | 296322.8368 | 28.7 | 67.6
63853 | 2021-04-02 16:31 | 52.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.1726 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.077 | 115352.3842 | 296319.436 | 28.7 | 67.6
63863 | 2021-04-02 16:32 | 53.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.1359 | μmol/L | 33.8866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 115407.3487 | 296317.7436 | 28.7 | 67.6
63873 | 2021-04-02 16:32 | 53.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.0035 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.091 | 115446.1465 | 296293.0675 | 28.7 | 67.6
63883 | 2021-04-02 16:32 | 53.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.7949 | μmol/L | 33.9293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 115481.1662 | 296323.3895 | 28.7 | 67.6
63893 | 2021-04-02 16:33 | 54.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.0624 | μmol/L | 33.8499 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.107 | 115525.2633 | 296304.3675 | 28.7 | 67.6
63903 | 2021-04-02 16:33 | 54.6599 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.9696 | μmol/L | 33.8438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.117 | 115591.6806 | 296296.9156 | 28.7 | 67.6