## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 16:34

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
62264 | 2021-04-02 15:38 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.5134 | μmol/L | 33.7587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.445 | 144490.5724 | 272264.4518 | 36.4 | 83.1
62274 | 2021-04-02 15:39 | 0.33886 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2985 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.457 | 144610.0517 | 272260.2641 | 36.4 | 83.1
62284 | 2021-04-02 15:39 | 0.67248 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.0191 | μmol/L | 33.7771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.471 | 144698.7867 | 272257.2769 | 36.4 | 83.1
62294 | 2021-04-02 15:39 | 1.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.76 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.486 | 144819.912 | 272258.3732 | 36.4 | 83.1
62304 | 2021-04-02 15:40 | 1.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6551 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.5 | 144891.7228 | 272251.995 | 36.4 | 83.1
62314 | 2021-04-02 15:40 | 1.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3076 | μmol/L | 33.7894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.514 | 144984.2586 | 272246.9682 | 36.4 | 83.1
62324 | 2021-04-02 15:40 | 2.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0796 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.527 | 145098.377 | 272241.0331 | 36.4 | 83.1
62334 | 2021-04-02 15:41 | 2.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8519 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.54 | 145211.9527 | 272237.1544 | 36.4 | 83.1
62344 | 2021-04-02 15:41 | 2.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7084 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.552 | 145285.4179 | 272228.371 | 36.4 | 83.1
62354 | 2021-04-02 15:41 | 3.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5454 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.563 | 145347.6022 | 272227.6014 | 36.4 | 83.1
62364 | 2021-04-02 15:42 | 3.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3728 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.57 | 145430.1919 | 272220.0329 | 36.4 | 83.1
62374 | 2021-04-02 15:42 | 3.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1905 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.58 | 145495.6877 | 272229.0473 | 36.4 | 83.1
62384 | 2021-04-02 15:42 | 4.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0429 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.59 | 145549.9562 | 272223.6932 | 36.4 | 83.1
62394 | 2021-04-02 15:43 | 4.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8659 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.602 | 145612.9425 | 272221.3755 | 36.4 | 83.1
62404 | 2021-04-02 15:43 | 4.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8021 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.604 | 145658.816 | 272207.7792 | 36.4 | 83.1
62414 | 2021-04-02 15:43 | 5.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.6745 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.608 | 145706.8833 | 272202.7889 | 36.4 | 83.1
62424 | 2021-04-02 15:44 | 5.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.6107 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.617 | 145764.7829 | 272201.4662 | 36.4 | 83.1
62434 | 2021-04-02 15:44 | 5.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.5765 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.624 | 145814.2823 | 272195.1322 | 36.4 | 83.1
62444 | 2021-04-02 15:44 | 6.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.4784 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.626 | 145855.4918 | 272199.1635 | 36.4 | 83.1
62454 | 2021-04-02 15:45 | 6.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2679 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.638 | 145909.8583 | 272197.3394 | 36.4 | 83.1
62464 | 2021-04-02 15:45 | 6.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3855 | μmol/L | 33.7894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.644 | 145976.8631 | 272191.2091 | 36.4 | 83.1
62474 | 2021-04-02 15:45 | 7.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1947 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.65 | 146016.8976 | 272179.8931 | 36.4 | 83.1
62484 | 2021-04-02 15:46 | 7.3385 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1018 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.654 | 146078.4224 | 272173.5154 | 36.4 | 83.1
62494 | 2021-04-02 15:46 | 7.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8285 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.668 | 146135.4634 | 272172.0695 | 36.4 | 83.1
62504 | 2021-04-02 15:46 | 8.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6677 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.679 | 146226.7721 | 272166.2448 | 36.4 | 83.1
62514 | 2021-04-02 15:47 | 8.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5509 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.687 | 146266.2348 | 272165.8087 | 36.4 | 83.1
62524 | 2021-04-02 15:47 | 8.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.517 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.694 | 146312.5166 | 272147.0178 | 36.4 | 83.1
62534 | 2021-04-02 15:47 | 9.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5172 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.701 | 146395.3421 | 272165.4239 | 36.4 | 83.1
62544 | 2021-04-02 15:48 | 9.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.571 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.709 | 146436.5319 | 272149.1967 | 36.4 | 83.1
62554 | 2021-04-02 15:48 | 9.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3519 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.71 | 146448.4469 | 272140.1535 | 36.4 | 83.1
62564 | 2021-04-02 15:48 | 10.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2547 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.712 | 146444.7105 | 272141.6144 | 36.4 | 83.1
62574 | 2021-04-02 15:49 | 10.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1915 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.714 | 146485.7745 | 272150.8307 | 36.4 | 83.1
62584 | 2021-04-02 15:49 | 10.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1965 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.716 | 146477.8584 | 272140.8439 | 36.4 | 83.1
62594 | 2021-04-02 15:49 | 11.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1965 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.716 | 146450.0603 | 272136.4713 | 36.4 | 83.1
62604 | 2021-04-02 15:50 | 11.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3228 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.712 | 146434.8503 | 272128.0532 | 36.4 | 83.1
62614 | 2021-04-02 15:50 | 11.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3132 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.715 | 146454.7518 | 272136.1512 | 36.4 | 83.1
62624 | 2021-04-02 15:50 | 12.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3714 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.711 | 146440.1352 | 272136.1078 | 36.4 | 83.1
62634 | 2021-04-02 15:51 | 12.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4687 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.709 | 146428.4431 | 272115.2327 | 36.4 | 83.1
62644 | 2021-04-02 15:51 | 12.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.386 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.71 | 146411.1547 | 272111.7099 | 36.4 | 83.1
62654 | 2021-04-02 15:51 | 13.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5513 | μmol/L | 33.7894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.701 | 146343.8802 | 272108.7459 | 36.4 | 83.1
62664 | 2021-04-02 15:52 | 13.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8875 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.692 | 146284.9016 | 272118.0655 | 36.4 | 83.1
62674 | 2021-04-02 15:52 | 13.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2046 | μmol/L | 33.7218 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.682 | 146192.2972 | 272114.7822 | 36.4 | 83.1
62684 | 2021-04-02 15:52 | 14.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.7712 | μmol/L | 33.6172 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.683 | 146205.668 | 272116.9394 | 36.4 | 83.1
62694 | 2021-04-02 15:53 | 14.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.698 | μmol/L | 33.6356 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.681 | 146194.4764 | 272118.1665 | 36.4 | 83.1
62704 | 2021-04-02 15:53 | 14.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2144 | μmol/L | 33.7279 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.679 | 146163.3243 | 272110.8304 | 36.4 | 83.1
62714 | 2021-04-02 15:53 | 15.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.024 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.685 | 146218.1378 | 272097.3568 | 36.4 | 83.1
62724 | 2021-04-02 15:54 | 15.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.7219 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.708 | 146379.0207 | 272105.5362 | 36.4 | 83.1
62734 | 2021-04-02 15:54 | 15.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.9214 | μmol/L | 33.6356 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.734 | 146585.9878 | 272102.3031 | 36.4 | 83.1
62744 | 2021-04-02 15:54 | 16.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6586 | μmol/L | 33.6172 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.759 | 146738.8601 | 272103.3928 | 36.4 | 83.1
62754 | 2021-04-02 15:55 | 16.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.9943 | μmol/L | 33.6849 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.779 | 146881.0371 | 272110.5038 | 36.4 | 83.1
62764 | 2021-04-02 15:55 | 16.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.6752 | μmol/L | 33.7033 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.794 | 147018.2262 | 272118.2248 | 36.4 | 83.1
62774 | 2021-04-02 15:55 | 17.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4966 | μmol/L | 33.7095 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.804 | 147068.9444 | 272125.4229 | 36.4 | 83.1
62784 | 2021-04-02 15:56 | 17.3385 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4339 | μmol/L | 33.7156 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.806 | 147090.9703 | 272090.0933 | 36.4 | 83.1
62794 | 2021-04-02 15:56 | 17.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2599 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.804 | 147084.1835 | 272119.8081 | 36.4 | 83.1
62804 | 2021-04-02 15:56 | 18.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.477 | μmol/L | 33.7341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.796 | 147021.2046 | 272106.2835 | 36.4 | 83.1
62814 | 2021-04-02 15:57 | 18.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5106 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.789 | 146970.2854 | 272096.7758 | 36.4 | 83.1
62824 | 2021-04-02 15:57 | 18.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.53 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.79 | 146989.1925 | 272096.3033 | 36.4 | 83.1
62834 | 2021-04-02 15:57 | 19.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5589 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.788 | 146978.4799 | 272094.1389 | 36.4 | 83.1
62844 | 2021-04-02 15:58 | 19.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.6023 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.785 | 146948.7794 | 272081.0792 | 36.4 | 83.1
62854 | 2021-04-02 15:58 | 19.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5444 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.789 | 146958.5633 | 272088.7421 | 36.4 | 83.1
62864 | 2021-04-02 15:58 | 20.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4527 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.793 | 147003.9303 | 272075.733 | 36.4 | 83.1
62874 | 2021-04-02 15:59 | 20.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.361 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.797 | 147027.5744 | 272069.5881 | 36.4 | 83.1
62884 | 2021-04-02 15:59 | 20.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.477 | μmol/L | 33.7341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.796 | 147010.0876 | 272064.1986 | 36.4 | 83.1
62894 | 2021-04-02 15:59 | 21.0051 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.501 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.792 | 146982.0946 | 272069.8577 | 36.4 | 83.1
62904 | 2021-04-02 16:00 | 21.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5297 | μmol/L | 33.7587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.783 | 146938.5578 | 272058.9617 | 36.4 | 83.1
62914 | 2021-04-02 16:00 | 21.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5247 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.781 | 146923.0761 | 272065.1431 | 36.4 | 83.1
62924 | 2021-04-02 16:00 | 22.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4669 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.785 | 146958.4094 | 272051.0521 | 36.4 | 83.1
62934 | 2021-04-02 16:01 | 22.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.3078 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.796 | 147039.1871 | 272057.0809 | 36.4 | 83.1
62944 | 2021-04-02 16:01 | 22.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1585 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.804 | 147106.8756 | 272077.8033 | 36.4 | 83.1
62954 | 2021-04-02 16:01 | 23.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.0093 | μmol/L | 33.7771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.812 | 147146.8604 | 272069.5373 | 36.4 | 83.1
62964 | 2021-04-02 16:02 | 23.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8458 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.821 | 147207.7906 | 272075.0367 | 36.4 | 83.1
62974 | 2021-04-02 16:02 | 23.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8314 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.822 | 147255.5263 | 272069.4501 | 36.4 | 83.1
62984 | 2021-04-02 16:02 | 24.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6825 | μmol/L | 33.7894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.83 | 147281.8998 | 272062.8914 | 36.4 | 83.1
62994 | 2021-04-02 16:03 | 24.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6344 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.831 | 147307.0802 | 272050.3762 | 36.4 | 83.1
63004 | 2021-04-02 16:03 | 24.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4233 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.841 | 147335.2651 | 272053.928 | 36.4 | 83.1
63014 | 2021-04-02 16:03 | 25.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3902 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.848 | 147384.0054 | 272070.242 | 36.4 | 83.1
63024 | 2021-04-02 16:04 | 25.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3134 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.851 | 147458.8182 | 272075.9731 | 36.4 | 83.1
63034 | 2021-04-02 16:04 | 25.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1408 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.856 | 147491.9565 | 272061.7726 | 36.4 | 83.1
63044 | 2021-04-02 16:04 | 26.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1314 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.859 | 147542.5435 | 272051.6472 | 36.4 | 83.1
63054 | 2021-04-02 16:05 | 26.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.9932 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.871 | 147619.134 | 272051.4372 | 36.4 | 83.1
63064 | 2021-04-02 16:05 | 26.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.7923 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.878 | 147667.5086 | 272044.8705 | 36.4 | 83.1
63074 | 2021-04-02 16:05 | 27.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.6495 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.888 | 147731.8033 | 272062.9642 | 36.4 | 83.1
63084 | 2021-04-02 16:06 | 27.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.5403 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.898 | 147825.7018 | 272061.9183 | 36.4 | 83.1
63094 | 2021-04-02 16:06 | 27.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.2311 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.915 | 147911.264 | 272059.485 | 36.4 | 83.1
63104 | 2021-04-02 16:06 | 28.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0604 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.927 | 148040.186 | 272064.5985 | 36.4 | 83.1
63114 | 2021-04-02 16:07 | 28.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.8707 | μmol/L | 33.8387 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.938 | 148140.9161 | 272067.9975 | 36.4 | 83.1
63124 | 2021-04-02 16:07 | 28.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.7005 | μmol/L | 33.8387 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.95 | 148225.6889 | 272073.685 | 36.4 | 83.1
63134 | 2021-04-02 16:07 | 29.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5538 | μmol/L | 33.8448 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.958 | 148291.7621 | 272068.1577 | 36.4 | 83.1
63144 | 2021-04-02 16:08 | 29.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4789 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.968 | 148363.2522 | 272058.9547 | 36.4 | 83.1
63154 | 2021-04-02 16:08 | 29.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4747 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.973 | 148430.9042 | 272057.2771 | 36.4 | 83.1
63164 | 2021-04-02 16:08 | 30.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.404 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.978 | 148466.0751 | 272057.5022 | 36.4 | 83.1
63174 | 2021-04-02 16:09 | 30.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.295 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.981 | 148477.4465 | 272061.2644 | 36.4 | 83.1
63184 | 2021-04-02 16:09 | 30.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3283 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.981 | 148455.759 | 272053.6815 | 36.4 | 83.1
63194 | 2021-04-02 16:09 | 31.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.6455 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.968 | 148346.1132 | 272057.6187 | 36.4 | 83.1
63204 | 2021-04-02 16:10 | 31.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.7347 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.957 | 148294.2333 | 272060.2255 | 36.4 | 83.1
63214 | 2021-04-02 16:10 | 31.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.768 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.957 | 148277.1044 | 272047.399 | 36.4 | 83.1
63224 | 2021-04-02 16:10 | 32.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.8348 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.957 | 148299.4539 | 272060.7633 | 36.4 | 83.1
63234 | 2021-04-02 16:11 | 32.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9632 | μmol/L | 33.7771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.955 | 148302.9163 | 272064.6638 | 36.4 | 83.1
63244 | 2021-04-02 16:11 | 32.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.8731 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.959 | 148315.1566 | 272055.7951 | 36.4 | 83.1
63254 | 2021-04-02 16:11 | 33.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5597 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.967 | 148346.8472 | 272064.7656 | 36.4 | 83.1
63264 | 2021-04-02 16:12 | 33.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.6072 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.966 | 148364.3754 | 272048.5607 | 36.4 | 83.1
63274 | 2021-04-02 16:12 | 33.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.683 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.963 | 148339.2243 | 272053.6959 | 36.4 | 83.1
63284 | 2021-04-02 16:12 | 34.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9157 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.956 | 148273.5436 | 272060.6615 | 36.4 | 83.1
63294 | 2021-04-02 16:13 | 34.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.1251 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.953 | 148251.2791 | 272065.9571 | 36.4 | 83.1
63304 | 2021-04-02 16:13 | 34.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0584 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.953 | 148252.8088 | 272054.7789 | 36.4 | 83.1
63314 | 2021-04-02 16:13 | 35.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.1684 | μmol/L | 33.7341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.957 | 148266.5451 | 272038.2468 | 36.4 | 83.1
63324 | 2021-04-02 16:14 | 35.3385 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9299 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.955 | 148284.9668 | 272043.1352 | 36.4 | 83.1
63334 | 2021-04-02 16:14 | 35.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0769 | μmol/L | 33.7771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.947 | 148233.0301 | 272047.2613 | 36.4 | 83.1
63344 | 2021-04-02 16:14 | 36.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.096 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.948 | 148243.0138 | 272045.3722 | 36.4 | 83.1
63354 | 2021-04-02 16:15 | 36.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.1152 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.949 | 148238.9183 | 272046.5196 | 36.4 | 83.1
63364 | 2021-04-02 16:15 | 36.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.4875 | μmol/L | 33.691 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.951 | 148272.0834 | 272058.2725 | 36.4 | 83.1
63374 | 2021-04-02 16:15 | 37.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0591 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.96 | 148345.6406 | 272060.5239 | 36.4 | 83.1
63384 | 2021-04-02 16:16 | 37.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.6654 | μmol/L | 33.7771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.976 | 148465.7873 | 272054.1467 | 36.4 | 83.1
63394 | 2021-04-02 16:16 | 37.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4065 | μmol/L | 33.7648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.999 | 148635.5171 | 272046.1135 | 36.4 | 83.1
63404 | 2021-04-02 16:16 | 38.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.2569 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.019 | 148780.5538 | 272048.5103 | 36.4 | 83.1
63414 | 2021-04-02 16:17 | 38.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.221 | μmol/L | 33.6972 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.038 | 148897.855 | 272046.6003 | 36.4 | 83.1
63424 | 2021-04-02 16:17 | 38.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.825 | μmol/L | 33.7341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.052 | 149030.8266 | 272050.5872 | 36.4 | 83.1
63434 | 2021-04-02 16:17 | 39.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3176 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.074 | 149186.6579 | 272047.3552 | 36.4 | 83.1
63444 | 2021-04-02 16:18 | 39.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.2675 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.087 | 149301.5894 | 272057.5021 | 36.4 | 83.1
63454 | 2021-04-02 16:18 | 39.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.1604 | μmol/L | 33.7402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.097 | 149370.2768 | 272057.8657 | 36.4 | 83.1
63464 | 2021-04-02 16:18 | 40.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3773 | μmol/L | 33.6972 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.098 | 149378.2541 | 272042.8013 | 36.4 | 83.1
63474 | 2021-04-02 16:19 | 40.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4425 | μmol/L | 33.7033 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.091 | 149349.3532 | 272048.75 | 36.4 | 83.1
63484 | 2021-04-02 16:19 | 40.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.5538 | μmol/L | 33.7218 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.076 | 149251.2635 | 272061.1631 | 36.4 | 83.1
63494 | 2021-04-02 16:19 | 41.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.5099 | μmol/L | 33.7587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.065 | 149176.9322 | 272052.4758 | 36.4 | 83.1
63504 | 2021-04-02 16:20 | 41.3385 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6323 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.061 | 149126.69 | 272056.3401 | 36.4 | 83.1
63514 | 2021-04-02 16:20 | 41.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.7025 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.056 | 149115.8668 | 272051.8366 | 36.4 | 83.1
63524 | 2021-04-02 16:20 | 42.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6554 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.057 | 149118.9219 | 272068.7174 | 36.4 | 83.1
63534 | 2021-04-02 16:21 | 42.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6413 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.058 | 149142.0479 | 272066.9016 | 36.4 | 83.1
63544 | 2021-04-02 16:21 | 42.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6042 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.063 | 149164.4859 | 272063.4368 | 36.4 | 83.1
63554 | 2021-04-02 16:21 | 43.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.548 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.067 | 149183.593 | 272056.8779 | 36.4 | 83.1
63564 | 2021-04-02 16:22 | 43.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3456 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.072 | 149233.2975 | 272059.333 | 36.4 | 83.1
63574 | 2021-04-02 16:22 | 43.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3656 | μmol/L | 33.7464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.08 | 149316.3936 | 272053.1222 | 36.4 | 83.1
63584 | 2021-04-02 16:22 | 44.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.1925 | μmol/L | 33.7525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.09 | 149400.4621 | 272059.1598 | 36.4 | 83.1
63594 | 2021-04-02 16:23 | 44.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9396 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.101 | 149490.8515 | 272052.2444 | 36.4 | 83.1
63604 | 2021-04-02 16:23 | 44.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.6604 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.121 | 149614.0226 | 272065.4639 | 36.4 | 83.1
63614 | 2021-04-02 16:23 | 45.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.3956 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.14 | 149753.633 | 272060.7577 | 36.4 | 83.1
63624 | 2021-04-02 16:24 | 45.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.1731 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.156 | 149866.7792 | 272052.4119 | 36.4 | 83.1
63634 | 2021-04-02 16:24 | 45.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.9926 | μmol/L | 33.771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.169 | 149982.5927 | 272058.9995 | 36.4 | 83.1
63644 | 2021-04-02 16:24 | 46.0052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7191 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.184 | 150102.8705 | 272069.3133 | 36.4 | 83.1
63654 | 2021-04-02 16:25 | 46.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.46 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.198 | 150219.9705 | 272062.2092 | 36.4 | 83.1
63664 | 2021-04-02 16:25 | 46.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.2064 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.214 | 150334.738 | 272058.4617 | 36.4 | 83.1
63674 | 2021-04-02 16:25 | 47.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.0736 | μmol/L | 33.7956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.226 | 150395.0746 | 272044.624 | 36.4 | 83.1
63684 | 2021-04-02 16:26 | 47.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8794 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.233 | 150474.6339 | 272058.4981 | 36.4 | 83.1
63694 | 2021-04-02 16:26 | 47.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.862 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.239 | 150520.0508 | 272055.999 | 36.4 | 83.1
63704 | 2021-04-02 16:26 | 48.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8845 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.235 | 150513.6917 | 272059.8782 | 36.4 | 83.1
63714 | 2021-04-02 16:27 | 48.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8157 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.24 | 150536.4557 | 272045.1045 | 36.4 | 83.1
63724 | 2021-04-02 16:27 | 48.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8207 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.242 | 150558.9226 | 272054.0524 | 36.4 | 83.1
63734 | 2021-04-02 16:27 | 49.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.6782 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.25 | 150593.3943 | 272058.8834 | 36.4 | 83.1
63744 | 2021-04-02 16:28 | 49.3385 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.512 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.255 | 150660.5201 | 272046.8325 | 36.4 | 83.1
63754 | 2021-04-02 16:28 | 49.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.421 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.264 | 150758.0162 | 272050.8269 | 36.4 | 83.1
63764 | 2021-04-02 16:28 | 50.0051 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.1744 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.282 | 150875.251 | 272051.7072 | 36.4 | 83.1
63774 | 2021-04-02 16:29 | 50.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9146 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.301 | 151015.2912 | 272056.4939 | 36.4 | 83.1
63784 | 2021-04-02 16:29 | 50.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6366 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.319 | 151126.6043 | 272057.8079 | 36.4 | 83.1
63794 | 2021-04-02 16:29 | 51.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.4918 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.332 | 151257.9178 | 272044.6973 | 36.4 | 83.1
63804 | 2021-04-02 16:30 | 51.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.196 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.349 | 151380.9758 | 272044.0219 | 36.4 | 83.1
63814 | 2021-04-02 16:30 | 51.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0162 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.367 | 151504.6657 | 272041.7994 | 36.4 | 83.1
63824 | 2021-04-02 16:30 | 52.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.7942 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.381 | 151603.5811 | 272041.3202 | 36.4 | 83.1
63834 | 2021-04-02 16:31 | 52.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.7316 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.388 | 151681.0458 | 272041.821 | 36.4 | 83.1
63844 | 2021-04-02 16:31 | 52.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.6521 | μmol/L | 33.8017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.401 | 151750.6619 | 272053.2111 | 36.4 | 83.1
63854 | 2021-04-02 16:31 | 53.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.3853 | μmol/L | 33.8141 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.416 | 151884.0844 | 272042.6781 | 36.4 | 83.1
63864 | 2021-04-02 16:32 | 53.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.0432 | μmol/L | 33.8202 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.439 | 152056.0239 | 272049.2884 | 36.4 | 83.1
63874 | 2021-04-02 16:32 | 53.6718 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.8113 | μmol/L | 33.8079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.461 | 152202.2364 | 272055.3967 | 36.4 | 83.1
63884 | 2021-04-02 16:32 | 54.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.4823 | μmol/L | 33.8325 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.476 | 152348.2228 | 272058.004 | 36.4 | 83.1
63894 | 2021-04-02 16:33 | 54.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2464 | μmol/L | 33.8264 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.496 | 152468.3792 | 272056.668 | 36.4 | 83.1
63904 | 2021-04-02 16:33 | 54.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2686 | μmol/L | 33.7833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.511 | 152588.5196 | 272050.843 | 36.4 | 83.1