## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63907 | 2021-04-02 17:17 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 176.6473 | μmol/L | 34.2159 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.486 | 142999.4467 | 278239.1716 | 62.0402 | 75.7
63917 | 2021-04-02 17:17 | 0.34031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 176.318 | μmol/L | 34.2344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.5 | 143113.2514 | 278226.6773 | 62.0402 | 75.7
63927 | 2021-04-02 17:18 | 0.67311 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 176.2471 | μmol/L | 34.2467 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.5 | 143149.7556 | 278210.4034 | 62.0402 | 75.7
63937 | 2021-04-02 17:18 | 1.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 176.2386 | μmol/L | 34.2344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.505 | 143221.5234 | 278206.5458 | 62.0402 | 75.7
63947 | 2021-04-02 17:18 | 1.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 175.6912 | μmol/L | 34.2221 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.544 | 143508.5658 | 278188.9276 | 62.0402 | 75.7
63957 | 2021-04-02 17:19 | 1.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 174.648 | μmol/L | 34.2529 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.599 | 143913.8856 | 278160.9151 | 62.0402 | 75.7
63967 | 2021-04-02 17:19 | 2.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 174.1896 | μmol/L | 34.2591 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.626 | 144176.3412 | 278156.3945 | 62.0402 | 75.7
63977 | 2021-04-02 17:19 | 2.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.7642 | μmol/L | 34.2899 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.642 | 144282.355 | 278124.5823 | 62.0402 | 75.7
63987 | 2021-04-02 17:20 | 2.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.4603 | μmol/L | 34.3022 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.657 | 144371.3104 | 278104.0819 | 62.0402 | 75.7
63997 | 2021-04-02 17:20 | 3.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.126 | μmol/L | 34.3145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.674 | 144470.331 | 278085.1462 | 62.0402 | 75.7
64007 | 2021-04-02 17:20 | 3.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.9862 | μmol/L | 34.3145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.683 | 144540.3412 | 278065.8558 | 62.0402 | 75.7
64017 | 2021-04-02 17:21 | 3.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.7923 | μmol/L | 34.3268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.691 | 144615.3082 | 278037.2099 | 62.0402 | 75.7
64027 | 2021-04-02 17:21 | 4.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.5909 | μmol/L | 34.3268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.704 | 144705.0224 | 278019.4044 | 62.0402 | 75.7
64037 | 2021-04-02 17:21 | 4.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.4323 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.712 | 144742.0596 | 278005.9425 | 62.0402 | 75.7
64047 | 2021-04-02 17:22 | 4.6737 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.1967 | μmol/L | 34.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.725 | 144809.5411 | 277993.0763 | 62.0402 | 75.7
64057 | 2021-04-02 17:22 | 5.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.0192 | μmol/L | 34.3515 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.732 | 144898.6028 | 277976.0551 | 62.0402 | 75.7
64067 | 2021-04-02 17:22 | 5.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.9421 | μmol/L | 34.3515 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.737 | 144910.4943 | 277957.1577 | 62.0402 | 75.7
64077 | 2021-04-02 17:23 | 5.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.7842 | μmol/L | 34.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.745 | 144967.2666 | 277940.2709 | 62.0402 | 75.7
64087 | 2021-04-02 17:23 | 6.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.4842 | μmol/L | 34.37 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.76 | 145063.5291 | 277934.9788 | 62.0402 | 75.7
64097 | 2021-04-02 17:23 | 6.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.3652 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.77 | 145154.1068 | 277918.7232 | 62.0402 | 75.7
64107 | 2021-04-02 17:24 | 6.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.1199 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.786 | 145245.9527 | 277901.0633 | 62.0402 | 75.7
64117 | 2021-04-02 17:24 | 7.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.0778 | μmol/L | 34.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.791 | 145254.0753 | 277880.1642 | 62.0402 | 75.7
64127 | 2021-04-02 17:24 | 7.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.1394 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.796 | 145298.9245 | 277866.5386 | 62.0402 | 75.7
64137 | 2021-04-02 17:25 | 7.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.9671 | μmol/L | 34.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.805 | 145353.2434 | 277863.9173 | 62.0402 | 75.7
64147 | 2021-04-02 17:25 | 8.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.8867 | μmol/L | 34.3453 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.808 | 145376.1733 | 277835.9735 | 62.0402 | 75.7
64157 | 2021-04-02 17:25 | 8.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.7836 | μmol/L | 34.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.817 | 145430.5537 | 277824.1163 | 62.0402 | 75.7
64167 | 2021-04-02 17:26 | 8.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.7723 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.82 | 145434.7005 | 277808.7131 | 62.0402 | 75.7
64177 | 2021-04-02 17:26 | 9.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5852 | μmol/L | 34.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.83 | 145489.3383 | 277783.4661 | 62.0402 | 75.7
64187 | 2021-04-02 17:26 | 9.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.2421 | μmol/L | 34.3515 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.848 | 145631.1101 | 277781.1301 | 62.0402 | 75.7
64197 | 2021-04-02 17:27 | 9.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.0331 | μmol/L | 34.3453 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.864 | 145718.395 | 277760.1586 | 62.0402 | 75.7
64207 | 2021-04-02 17:27 | 10.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.8436 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.881 | 145843.9091 | 277744.4719 | 62.0402 | 75.7
64217 | 2021-04-02 17:27 | 10.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.684 | μmol/L | 34.3453 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.887 | 145865.3191 | 277734.9098 | 62.0402 | 75.7
64227 | 2021-04-02 17:28 | 10.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.4793 | μmol/L | 34.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.896 | 145941.6172 | 277723.1334 | 62.0402 | 75.7
64237 | 2021-04-02 17:28 | 11.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.5477 | μmol/L | 34.3453 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.896 | 145936.5394 | 277712.6307 | 62.0402 | 75.7
64247 | 2021-04-02 17:28 | 11.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.4648 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.906 | 145978.2107 | 277703.6321 | 62.0402 | 75.7
64257 | 2021-04-02 17:29 | 11.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.3628 | μmol/L | 34.3268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.915 | 146037.5793 | 277681.2186 | 62.0402 | 75.7
64267 | 2021-04-02 17:29 | 12.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.374 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.912 | 146031.6799 | 277673.2124 | 62.0402 | 75.7
64277 | 2021-04-02 17:29 | 12.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1927 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.924 | 146096.1694 | 277664.0252 | 62.0402 | 75.7
64287 | 2021-04-02 17:30 | 12.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.2531 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.92 | 146056.898 | 277651.1957 | 62.0402 | 75.7
64297 | 2021-04-02 17:30 | 13.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1776 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.925 | 146088.486 | 277636.7356 | 62.0402 | 75.7
64307 | 2021-04-02 17:30 | 13.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1776 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.925 | 146128.33 | 277614.5087 | 62.0402 | 75.7
64317 | 2021-04-02 17:31 | 13.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.9402 | μmol/L | 34.3268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.943 | 146223.5992 | 277602.3343 | 62.0402 | 75.7
64327 | 2021-04-02 17:31 | 14.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.8839 | μmol/L | 34.3207 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.949 | 146271.4325 | 277585.7144 | 62.0402 | 75.7
64337 | 2021-04-02 17:31 | 14.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7785 | μmol/L | 34.3207 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.956 | 146307.0399 | 277580.0092 | 62.0402 | 75.7
64347 | 2021-04-02 17:32 | 14.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7706 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.952 | 146285.2078 | 277578.4815 | 62.0402 | 75.7
64357 | 2021-04-02 17:32 | 15.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.6352 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.961 | 146332.7099 | 277544.6362 | 62.0402 | 75.7
64367 | 2021-04-02 17:32 | 15.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.53 | μmol/L | 34.333 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.968 | 146372.533 | 277537.609 | 62.0402 | 75.7
64377 | 2021-04-02 17:33 | 15.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.5711 | μmol/L | 34.3391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.963 | 146340.3489 | 277516.4901 | 62.0402 | 75.7
64387 | 2021-04-02 17:33 | 16.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.2849 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.973 | 146404.8695 | 277507.046 | 62.0402 | 75.7
64397 | 2021-04-02 17:33 | 16.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.127 | μmol/L | 34.3761 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.979 | 146478.2772 | 277513.2208 | 62.0402 | 75.7
64407 | 2021-04-02 17:34 | 16.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.0451 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.989 | 146512.1021 | 277482.2967 | 62.0402 | 75.7
64417 | 2021-04-02 17:34 | 17.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.9742 | μmol/L | 34.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.996 | 146553.0154 | 277476.7789 | 62.0402 | 75.7
64427 | 2021-04-02 17:34 | 17.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8655 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.001 | 146552.6087 | 277469.6775 | 62.0402 | 75.7
64437 | 2021-04-02 17:35 | 17.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8844 | μmol/L | 34.3576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.002 | 146572.3562 | 277443.4599 | 62.0402 | 75.7
64447 | 2021-04-02 17:35 | 18.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6632 | μmol/L | 34.3761 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.01 | 146626.4131 | 277422.0484 | 62.0402 | 75.7
64457 | 2021-04-02 17:35 | 18.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2783 | μmol/L | 34.3946 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.029 | 146756.1225 | 277418.2663 | 62.0402 | 75.7
64467 | 2021-04-02 17:36 | 18.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1214 | μmol/L | 34.4069 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.035 | 146804.6139 | 277405.4488 | 62.0402 | 75.7
64477 | 2021-04-02 17:36 | 19.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1335 | μmol/L | 34.3884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.041 | 146856.5806 | 277390.0579 | 62.0402 | 75.7
64487 | 2021-04-02 17:36 | 19.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1158 | μmol/L | 34.37 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.049 | 146906.3551 | 277387.4906 | 62.0402 | 75.7
64497 | 2021-04-02 17:37 | 19.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0186 | μmol/L | 34.3823 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.051 | 146913.7189 | 277378.2596 | 62.0402 | 75.7
64507 | 2021-04-02 17:37 | 20.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6718 | μmol/L | 34.4131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.063 | 146971.1773 | 277359.7497 | 62.0402 | 75.7
64517 | 2021-04-02 17:37 | 20.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.4118 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.076 | 147055.4397 | 277340.2185 | 62.0402 | 75.7
64527 | 2021-04-02 17:38 | 20.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1711 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.09 | 147174.8165 | 277329.4064 | 62.0402 | 75.7
64537 | 2021-04-02 17:38 | 21.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0423 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.101 | 147237.6057 | 277313.3336 | 62.0402 | 75.7
64547 | 2021-04-02 17:38 | 21.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.876 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.11 | 147314.761 | 277312.1975 | 62.0402 | 75.7
64557 | 2021-04-02 17:39 | 21.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.7245 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.118 | 147362.2319 | 277284.4714 | 62.0402 | 75.7
64567 | 2021-04-02 17:39 | 22.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6297 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.129 | 147418.5232 | 277272.0141 | 62.0402 | 75.7
64577 | 2021-04-02 17:39 | 22.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4409 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.135 | 147467.5645 | 277266.528 | 62.0402 | 75.7
64587 | 2021-04-02 17:40 | 22.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.2565 | μmol/L | 34.4562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.143 | 147536.694 | 277255.3821 | 62.0402 | 75.7
64597 | 2021-04-02 17:40 | 23.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0448 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.162 | 147674.0354 | 277246.929 | 62.0402 | 75.7
64607 | 2021-04-02 17:40 | 23.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.9651 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.172 | 147726.6416 | 277231.2056 | 62.0402 | 75.7
64617 | 2021-04-02 17:41 | 23.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.7667 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.181 | 147808.1419 | 277221.8427 | 62.0402 | 75.7
64627 | 2021-04-02 17:41 | 24.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.6393 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.192 | 147877.9312 | 277217.6444 | 62.0402 | 75.7
64637 | 2021-04-02 17:41 | 24.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.46 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.202 | 147979.9072 | 277200.0179 | 62.0402 | 75.7
64647 | 2021-04-02 17:42 | 24.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.2851 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.214 | 148061.7072 | 277184.0132 | 62.0402 | 75.7
64657 | 2021-04-02 17:42 | 25.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.9941 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.234 | 148180.526 | 277183.37 | 62.0402 | 75.7
64667 | 2021-04-02 17:42 | 25.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8198 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.246 | 148252.3263 | 277166.4958 | 62.0402 | 75.7
64677 | 2021-04-02 17:43 | 25.6737 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5402 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.263 | 148390.2092 | 277146.101 | 62.0402 | 75.7
64687 | 2021-04-02 17:43 | 26.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3665 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.275 | 148525.7994 | 277143.3313 | 62.0402 | 75.7
64697 | 2021-04-02 17:43 | 26.3398 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.158 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.294 | 148631.1966 | 277136.4337 | 62.0402 | 75.7
64707 | 2021-04-02 17:44 | 26.6737 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9044 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.307 | 148714.5774 | 277129.0449 | 62.0402 | 75.7
64717 | 2021-04-02 17:44 | 27.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.888 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.315 | 148798.2567 | 277121.9479 | 62.0402 | 75.7
64727 | 2021-04-02 17:44 | 27.3404 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.6721 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.33 | 148891.1376 | 277119.8696 | 62.0402 | 75.7
64737 | 2021-04-02 17:45 | 27.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2944 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.354 | 149070.5949 | 277110.0249 | 62.0402 | 75.7
64747 | 2021-04-02 17:45 | 28.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2472 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.355 | 149069.746 | 277087.7659 | 62.0402 | 75.7
64757 | 2021-04-02 17:45 | 28.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1612 | μmol/L | 34.4439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.361 | 149100.1504 | 277080.8591 | 62.0402 | 75.7
64767 | 2021-04-02 17:46 | 28.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9935 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.375 | 149178.3455 | 277072.5387 | 62.0402 | 75.7
64777 | 2021-04-02 17:46 | 29.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9303 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.384 | 149276.3826 | 277052.3198 | 62.0402 | 75.7
64787 | 2021-04-02 17:46 | 29.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6873 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.401 | 149387.7833 | 277062.4737 | 62.0402 | 75.7
64797 | 2021-04-02 17:47 | 29.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.569 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.407 | 149480.2581 | 277046.495 | 62.0402 | 75.7
64807 | 2021-04-02 17:47 | 30.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5001 | μmol/L | 34.4069 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.421 | 149529.6572 | 277025.0059 | 62.0402 | 75.7
64817 | 2021-04-02 17:47 | 30.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3736 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.423 | 149580.5814 | 277025.0768 | 62.0402 | 75.7
64827 | 2021-04-02 17:48 | 30.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2128 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.432 | 149630.2267 | 277016.2342 | 62.0402 | 75.7
64837 | 2021-04-02 17:48 | 31.0068 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2371 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.428 | 149611.1086 | 276999.4972 | 62.0402 | 75.7
64847 | 2021-04-02 17:48 | 31.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1275 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.438 | 149668.9083 | 276993.6107 | 62.0402 | 75.7
64857 | 2021-04-02 17:49 | 31.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.207 | μmol/L | 34.4192 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.437 | 149688.3419 | 276989.2961 | 62.0402 | 75.7
64867 | 2021-04-02 17:49 | 32.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1417 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.437 | 149673.3457 | 276987.1218 | 62.0402 | 75.7
64877 | 2021-04-02 17:49 | 32.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1359 | μmol/L | 34.4192 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.442 | 149703.8604 | 276967.7546 | 62.0402 | 75.7
64887 | 2021-04-02 17:50 | 32.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.8477 | μmol/L | 34.4254 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.46 | 149827.2915 | 276967.8501 | 62.0402 | 75.7
64897 | 2021-04-02 17:50 | 33.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.8151 | μmol/L | 34.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.46 | 149825.6829 | 276959.5303 | 62.0402 | 75.7
64907 | 2021-04-02 17:50 | 33.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.7175 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.46 | 149821.4765 | 276957.2564 | 62.0402 | 75.7
64917 | 2021-04-02 17:51 | 33.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.6325 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.466 | 149837.4842 | 276940.6242 | 62.0402 | 75.7
64927 | 2021-04-02 17:51 | 34.0062 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.7317 | μmol/L | 34.4501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.459 | 149824.3967 | 276928.1693 | 62.0402 | 75.7
64937 | 2021-04-02 17:51 | 34.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.5433 | μmol/L | 34.4562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.47 | 149891.8151 | 276920.7207 | 62.0402 | 75.7
64947 | 2021-04-02 17:52 | 34.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.3609 | μmol/L | 34.4747 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.476 | 149914.944 | 276908.6604 | 62.0402 | 75.7
64957 | 2021-04-02 17:52 | 35.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.3326 | μmol/L | 34.4747 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.478 | 149967.4443 | 276912.735 | 62.0402 | 75.7
64967 | 2021-04-02 17:52 | 35.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.173 | μmol/L | 34.4809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.487 | 150013.8907 | 276905.3742 | 62.0402 | 75.7
64977 | 2021-04-02 17:53 | 35.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9981 | μmol/L | 34.4685 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.504 | 150123.3144 | 276898.3281 | 62.0402 | 75.7
64987 | 2021-04-02 17:53 | 36.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.8248 | μmol/L | 34.4747 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.514 | 150195.8873 | 276890.6009 | 62.0402 | 75.7
64997 | 2021-04-02 17:53 | 36.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.573 | μmol/L | 34.4932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.525 | 150279.9413 | 276869.3476 | 62.0402 | 75.7
65007 | 2021-04-02 17:54 | 36.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.3959 | μmol/L | 34.5055 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.533 | 150341.7633 | 276874.8144 | 62.0402 | 75.7
65017 | 2021-04-02 17:54 | 37.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.2234 | μmol/L | 34.5117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.543 | 150399.0504 | 276868.4976 | 62.0402 | 75.7
65027 | 2021-04-02 17:54 | 37.34 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1015 | μmol/L | 34.5055 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.554 | 150494.1165 | 276867.3455 | 62.0402 | 75.7
65037 | 2021-04-02 17:55 | 37.6729 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1143 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.56 | 150538.8378 | 276838.6484 | 62.0402 | 75.7
65047 | 2021-04-02 17:55 | 38.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.9336 | μmol/L | 34.5055 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.566 | 150561.0681 | 276853.6977 | 62.0402 | 75.7
65057 | 2021-04-02 17:55 | 38.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.8455 | μmol/L | 34.5117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.57 | 150599.2501 | 276843.0446 | 62.0402 | 75.7
65067 | 2021-04-02 17:56 | 38.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.636 | μmol/L | 34.5117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.585 | 150720.9547 | 276841.3551 | 62.0402 | 75.7
65077 | 2021-04-02 17:56 | 39.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2555 | μmol/L | 34.5178 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.61 | 150909.1854 | 276836.5009 | 62.0402 | 75.7
65087 | 2021-04-02 17:56 | 39.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1528 | μmol/L | 34.5055 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.622 | 150993.0098 | 276829.0714 | 62.0402 | 75.7
65097 | 2021-04-02 17:57 | 39.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.9082 | μmol/L | 34.5178 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.635 | 151066.1535 | 276818.0796 | 62.0402 | 75.7
65107 | 2021-04-02 17:57 | 40.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7514 | μmol/L | 34.524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.644 | 151139.4776 | 276829.3037 | 62.0402 | 75.7
65117 | 2021-04-02 17:57 | 40.3402 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.4979 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.66 | 151248.524 | 276827.3064 | 62.0402 | 75.7
65127 | 2021-04-02 17:58 | 40.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.2449 | μmol/L | 34.5363 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.676 | 151383.6325 | 276819.0636 | 62.0402 | 75.7
65137 | 2021-04-02 17:58 | 41.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.001 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.696 | 151498.5289 | 276806.3423 | 62.0402 | 75.7
65147 | 2021-04-02 17:58 | 41.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.8228 | μmol/L | 34.5486 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.702 | 151550.1841 | 276800.3097 | 62.0402 | 75.7
65157 | 2021-04-02 17:59 | 41.6731 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.7945 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.711 | 151595.8325 | 276797.6257 | 62.0402 | 75.7
65167 | 2021-04-02 17:59 | 42.0066 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.6707 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.72 | 151692.6862 | 276780.9906 | 62.0402 | 75.7
65177 | 2021-04-02 17:59 | 42.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.415 | μmol/L | 34.5425 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.734 | 151788.602 | 276781.8422 | 62.0402 | 75.7
65187 | 2021-04-02 18:00 | 42.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.1684 | μmol/L | 34.5425 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.752 | 151936.9813 | 276780.7749 | 62.0402 | 75.7
65197 | 2021-04-02 18:00 | 43.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.0582 | μmol/L | 34.524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.767 | 152015.728 | 276776.6663 | 62.0402 | 75.7
65207 | 2021-04-02 18:00 | 43.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8763 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.778 | 152086.2747 | 276774.2359 | 62.0402 | 75.7
65217 | 2021-04-02 18:01 | 43.6732 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.7721 | μmol/L | 34.5425 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.781 | 152128.2554 | 276763.9894 | 62.0402 | 75.7
65227 | 2021-04-02 18:01 | 44.0069 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6989 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.791 | 152198.6091 | 276762.6319 | 62.0402 | 75.7
65237 | 2021-04-02 18:01 | 44.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4673 | μmol/L | 34.5302 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.808 | 152312.3386 | 276750.9044 | 62.0402 | 75.7
65247 | 2021-04-02 18:02 | 44.6736 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6244 | μmol/L | 34.4809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.815 | 152383.0911 | 276734.9729 | 62.0402 | 75.7
65257 | 2021-04-02 18:02 | 45.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4969 | μmol/L | 34.4685 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.829 | 152465.0837 | 276740.3085 | 62.0402 | 75.7
65267 | 2021-04-02 18:02 | 45.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3479 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.833 | 152496.5051 | 276728.3173 | 62.0402 | 75.7
65277 | 2021-04-02 18:03 | 45.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.1985 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.844 | 152566.1958 | 276729.7694 | 62.0402 | 75.7
65287 | 2021-04-02 18:03 | 46.007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0271 | μmol/L | 34.4993 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.852 | 152662.8967 | 276728.2552 | 62.0402 | 75.7
65297 | 2021-04-02 18:03 | 46.3399 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.8866 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.867 | 152762.0101 | 276727.814 | 62.0402 | 75.7
65307 | 2021-04-02 18:04 | 46.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.6972 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.881 | 152857.0101 | 276703.5331 | 62.0402 | 75.7
65317 | 2021-04-02 18:04 | 47.0065 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.5885 | μmol/L | 34.4685 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.896 | 152941.5593 | 276710.2034 | 62.0402 | 75.7
65327 | 2021-04-02 18:04 | 47.3396 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.3547 | μmol/L | 34.4747 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.911 | 153061.9637 | 276696.6039 | 62.0402 | 75.7
65337 | 2021-04-02 18:05 | 47.6734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.1127 | μmol/L | 34.4932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.922 | 153174.2713 | 276704.2386 | 62.0402 | 75.7
65347 | 2021-04-02 18:05 | 48.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.0541 | μmol/L | 34.4809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.931 | 153227.2195 | 276685.2581 | 62.0402 | 75.7
65357 | 2021-04-02 18:05 | 48.3403 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.0978 | μmol/L | 34.4377 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.944 | 153314.2626 | 276679.3875 | 62.0402 | 75.7
65367 | 2021-04-02 18:06 | 48.6733 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.1107 | μmol/L | 34.4192 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.95 | 153358.424 | 276670.5671 | 62.0402 | 75.7
65377 | 2021-04-02 18:06 | 49.0063 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8967 | μmol/L | 34.4562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.952 | 153390.4024 | 276673.925 | 62.0402 | 75.7
65387 | 2021-04-02 18:06 | 49.3401 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7312 | μmol/L | 34.4624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.962 | 153446.9126 | 276659.4802 | 62.0402 | 75.7
65397 | 2021-04-02 18:07 | 49.673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.691 | μmol/L | 34.4624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.965 | 153478.2182 | 276678.8626 | 62.0402 | 75.7
65407 | 2021-04-02 18:07 | 50.0067 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.6508 | μmol/L | 34.4624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.968 | 153484.2112 | 276650.1231 | 62.0402 | 75.7
65417 | 2021-04-02 18:07 | 50.3397 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.6378 | μmol/L | 34.4809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.962 | 153463.0971 | 276659.0713 | 62.0402 | 75.7
65427 | 2021-04-02 18:08 | 50.6735 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4549 | μmol/L | 34.4932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.971 | 153537.2515 | 276649.6298 | 62.0402 | 75.7
65437 | 2021-04-02 18:08 | 51.0064 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.281 | μmol/L | 34.4932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.984 | 153621.2125 | 276651.8429 | 62.0402 | 75.7