## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63908 | 2021-04-02 17:17 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.1933 | μmol/L | 34.3083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.887 | 132841.829 | 302260.1358 | 59.9307 | 38.1
63918 | 2021-04-02 17:17 | 0.32581 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.2047 | μmol/L | 34.3144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.884 | 132768.1023 | 302251.7581 | 59.9307 | 38.1
63928 | 2021-04-02 17:18 | 0.65947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.0654 | μmol/L | 34.3205 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.891 | 132882.3039 | 302244.3351 | 59.9307 | 38.1
63938 | 2021-04-02 17:18 | 0.99243 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.87 | μmol/L | 34.3451 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.895 | 132909.7359 | 302223.0938 | 59.9307 | 38.1
63948 | 2021-04-02 17:18 | 1.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.8286 | μmol/L | 34.3389 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.9 | 132908.131 | 302207.9786 | 59.9307 | 38.1
63958 | 2021-04-02 17:19 | 1.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.6296 | μmol/L | 34.3451 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.911 | 132988.1106 | 302177.7617 | 59.9307 | 38.1
63968 | 2021-04-02 17:19 | 1.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.5171 | μmol/L | 34.3573 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.914 | 132988.7831 | 302157.9457 | 59.9307 | 38.1
63978 | 2021-04-02 17:19 | 2.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.3298 | μmol/L | 34.3696 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.922 | 133053.398 | 302155.9137 | 59.9307 | 38.1
63988 | 2021-04-02 17:20 | 2.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.0193 | μmol/L | 34.388 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.936 | 133122.0695 | 302140.9123 | 59.9307 | 38.1
63998 | 2021-04-02 17:20 | 2.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.8026 | μmol/L | 34.4003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.946 | 133159.1485 | 302093.2675 | 59.9307 | 38.1
64008 | 2021-04-02 17:20 | 3.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.5976 | μmol/L | 34.3941 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.962 | 133240.3097 | 302085.2645 | 59.9307 | 38.1
64018 | 2021-04-02 17:21 | 3.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.3927 | μmol/L | 34.4126 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.969 | 133319.1447 | 302079.5405 | 59.9307 | 38.1
64028 | 2021-04-02 17:21 | 3.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.3148 | μmol/L | 34.3941 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.981 | 133411.8343 | 302040.5878 | 59.9307 | 38.1
64038 | 2021-04-02 17:21 | 4.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.0547 | μmol/L | 34.4064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.994 | 133453.2965 | 302029.964 | 59.9307 | 38.1
64048 | 2021-04-02 17:22 | 4.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.9695 | μmol/L | 34.4003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.002 | 133500.5322 | 302017.6862 | 59.9307 | 38.1
64058 | 2021-04-02 17:22 | 4.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.8729 | μmol/L | 34.4126 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.004 | 133518.8664 | 302001.0001 | 59.9307 | 38.1
64068 | 2021-04-02 17:22 | 5.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.6914 | μmol/L | 34.4187 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.014 | 133524.1952 | 301972.0739 | 59.9307 | 38.1
64078 | 2021-04-02 17:23 | 5.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.5878 | μmol/L | 34.4187 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.021 | 133557.0009 | 301963.3124 | 59.9307 | 38.1
64088 | 2021-04-02 17:23 | 5.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.388 | μmol/L | 34.431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.03 | 133630.6503 | 301951.9315 | 59.9307 | 38.1
64098 | 2021-04-02 17:23 | 6.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9783 | μmol/L | 34.4494 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.051 | 133779.7339 | 301933.3423 | 59.9307 | 38.1
64108 | 2021-04-02 17:24 | 6.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9054 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.065 | 133862.3766 | 301915.7425 | 59.9307 | 38.1
64118 | 2021-04-02 17:24 | 6.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.6184 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.08 | 133960.6766 | 301897.1876 | 59.9307 | 38.1
64128 | 2021-04-02 17:24 | 7.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3621 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.102 | 134105.874 | 301898.7406 | 59.9307 | 38.1
64138 | 2021-04-02 17:25 | 7.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3474 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.103 | 134066.2194 | 301864.6418 | 59.9307 | 38.1
64148 | 2021-04-02 17:25 | 7.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.0707 | μmol/L | 34.431 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.119 | 134197.9335 | 301848.5479 | 59.9307 | 38.1
64158 | 2021-04-02 17:25 | 8.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.8055 | μmol/L | 34.4494 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.131 | 134276.5849 | 301842.2036 | 59.9307 | 38.1
64168 | 2021-04-02 17:26 | 8.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.7656 | μmol/L | 34.4432 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.136 | 134316.6944 | 301812.5842 | 59.9307 | 38.1
64178 | 2021-04-02 17:26 | 8.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.5984 | μmol/L | 34.431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.152 | 134409.86 | 301797.9915 | 59.9307 | 38.1
64188 | 2021-04-02 17:26 | 9.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.2321 | μmol/L | 34.4432 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.172 | 134561.1647 | 301809.6489 | 59.9307 | 38.1
64198 | 2021-04-02 17:27 | 9.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.133 | μmol/L | 34.431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.184 | 134631.3188 | 301789.5325 | 59.9307 | 38.1
64208 | 2021-04-02 17:27 | 9.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.0024 | μmol/L | 34.431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.193 | 134670.882 | 301776.092 | 59.9307 | 38.1
64218 | 2021-04-02 17:27 | 10.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7812 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.206 | 134773.4957 | 301759.5471 | 59.9307 | 38.1
64228 | 2021-04-02 17:28 | 10.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6455 | μmol/L | 34.431 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.217 | 134824.6414 | 301744.5696 | 59.9307 | 38.1
64238 | 2021-04-02 17:28 | 10.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4314 | μmol/L | 34.4187 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.237 | 134946.2764 | 301730.4775 | 59.9307 | 38.1
64248 | 2021-04-02 17:28 | 11.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.3265 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.242 | 134971.9351 | 301707.9532 | 59.9307 | 38.1
64258 | 2021-04-02 17:29 | 11.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.0473 | μmol/L | 34.4187 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.263 | 135121.8399 | 301680.7025 | 59.9307 | 38.1
64268 | 2021-04-02 17:29 | 11.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.0056 | μmol/L | 34.431 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.262 | 135100.7552 | 301693.1888 | 59.9307 | 38.1
64278 | 2021-04-02 17:29 | 12.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.8147 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.273 | 135151.265 | 301672.78 | 59.9307 | 38.1
64288 | 2021-04-02 17:30 | 12.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.6148 | μmol/L | 34.4432 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.284 | 135255.5766 | 301652.2196 | 59.9307 | 38.1
64298 | 2021-04-02 17:30 | 12.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5706 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.29 | 135240.5341 | 301637.7713 | 59.9307 | 38.1
64308 | 2021-04-02 17:30 | 13.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.478 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.301 | 135356.9709 | 301625.8079 | 59.9307 | 38.1
64318 | 2021-04-02 17:31 | 13.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3778 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.308 | 135398.0211 | 301618.4153 | 59.9307 | 38.1
64328 | 2021-04-02 17:31 | 13.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2815 | μmol/L | 34.4187 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.317 | 135425.483 | 301610.975 | 59.9307 | 38.1
64338 | 2021-04-02 17:31 | 14.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3348 | μmol/L | 34.4248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.311 | 135367.3087 | 301582.5824 | 59.9307 | 38.1
64348 | 2021-04-02 17:32 | 14.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2747 | μmol/L | 34.4371 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.31 | 135346.8208 | 301582.0128 | 59.9307 | 38.1
64358 | 2021-04-02 17:32 | 14.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2085 | μmol/L | 34.4432 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.313 | 135349.7931 | 301566.92 | 59.9307 | 38.1
64368 | 2021-04-02 17:32 | 15.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2268 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.314 | 135313.3652 | 301557.5048 | 59.9307 | 38.1
64378 | 2021-04-02 17:33 | 15.6589 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1838 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.317 | 135358.8262 | 301534.4626 | 59.9307 | 38.1
64388 | 2021-04-02 17:33 | 15.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1799 | μmol/L | 34.4432 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.315 | 135300.7635 | 301509.4662 | 59.9307 | 38.1
64398 | 2021-04-02 17:33 | 16.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1838 | μmol/L | 34.4371 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.317 | 135318.0994 | 301510.5269 | 59.9307 | 38.1
64408 | 2021-04-02 17:34 | 16.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.7914 | μmol/L | 34.4555 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.337 | 135433.4898 | 301494.7734 | 59.9307 | 38.1
64418 | 2021-04-02 17:34 | 16.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.5972 | μmol/L | 34.4616 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.349 | 135509.4539 | 301493.056 | 59.9307 | 38.1
64428 | 2021-04-02 17:34 | 17.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.5118 | μmol/L | 34.4616 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.355 | 135528.4685 | 301477.9148 | 59.9307 | 38.1
64438 | 2021-04-02 17:35 | 17.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.4662 | μmol/L | 34.4739 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.353 | 135515.3924 | 301462.222 | 59.9307 | 38.1
64448 | 2021-04-02 17:35 | 17.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.2866 | μmol/L | 34.48 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.364 | 135613.6356 | 301458.3062 | 59.9307 | 38.1
64458 | 2021-04-02 17:35 | 18.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.095 | μmol/L | 34.4984 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.37 | 135625.3528 | 301436.018 | 59.9307 | 38.1
64468 | 2021-04-02 17:36 | 18.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.8774 | μmol/L | 34.4984 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.386 | 135706.677 | 301423.839 | 59.9307 | 38.1
64478 | 2021-04-02 17:36 | 18.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.7832 | μmol/L | 34.4984 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.392 | 135754.1143 | 301404.2623 | 59.9307 | 38.1
64488 | 2021-04-02 17:36 | 19.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.6531 | μmol/L | 34.5169 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.395 | 135796.678 | 301398.7981 | 59.9307 | 38.1
64498 | 2021-04-02 17:37 | 19.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.6095 | μmol/L | 34.5046 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.402 | 135811.7194 | 301374.4966 | 59.9307 | 38.1
64508 | 2021-04-02 17:37 | 19.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.3936 | μmol/L | 34.5107 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.415 | 135881.6247 | 301383.1448 | 59.9307 | 38.1
64518 | 2021-04-02 17:37 | 20.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.1047 | μmol/L | 34.5353 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.427 | 135986.499 | 301355.707 | 59.9307 | 38.1
64528 | 2021-04-02 17:38 | 20.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.8796 | μmol/L | 34.5353 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.443 | 136060.9478 | 301340.6267 | 59.9307 | 38.1
64538 | 2021-04-02 17:38 | 20.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.7158 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.454 | 136123.2731 | 301332.7149 | 59.9307 | 38.1
64548 | 2021-04-02 17:38 | 21.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.6548 | μmol/L | 34.5353 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.459 | 136168.8409 | 301312.1045 | 59.9307 | 38.1
64558 | 2021-04-02 17:39 | 21.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.2683 | μmol/L | 34.5475 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.482 | 136296.8257 | 301300.1707 | 59.9307 | 38.1
64568 | 2021-04-02 17:39 | 21.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.1745 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.491 | 136359.8933 | 301285.8858 | 59.9307 | 38.1
64578 | 2021-04-02 17:39 | 22.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.0207 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.502 | 136449.1255 | 301280.2587 | 59.9307 | 38.1
64588 | 2021-04-02 17:40 | 22.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.9131 | μmol/L | 34.5353 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.512 | 136497.0397 | 301265.7109 | 59.9307 | 38.1
64598 | 2021-04-02 17:40 | 22.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.6361 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.525 | 136587.2246 | 301257.5014 | 59.9307 | 38.1
64608 | 2021-04-02 17:40 | 23.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.4691 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.537 | 136668.9954 | 301241.6972 | 59.9307 | 38.1
64618 | 2021-04-02 17:41 | 23.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.2925 | μmol/L | 34.5475 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.552 | 136751.916 | 301235.6985 | 59.9307 | 38.1
64628 | 2021-04-02 17:41 | 23.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.0167 | μmol/L | 34.5659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.565 | 136842.9819 | 301222.719 | 59.9307 | 38.1
64638 | 2021-04-02 17:41 | 24.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.9417 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.575 | 136918.7223 | 301200.0373 | 59.9307 | 38.1
64648 | 2021-04-02 17:42 | 24.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.7536 | μmol/L | 34.5659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.584 | 137000.5034 | 301192.2677 | 59.9307 | 38.1
64658 | 2021-04-02 17:42 | 24.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.5602 | μmol/L | 34.5659 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.598 | 137048.0487 | 301187.0809 | 59.9307 | 38.1
64668 | 2021-04-02 17:42 | 25.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.4254 | μmol/L | 34.5475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.614 | 137149.6886 | 301185.7672 | 59.9307 | 38.1
64678 | 2021-04-02 17:43 | 25.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.26 | μmol/L | 34.5475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.626 | 137214.2977 | 301163.5749 | 59.9307 | 38.1
64688 | 2021-04-02 17:43 | 25.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.2553 | μmol/L | 34.5475 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.627 | 137256.3846 | 301139.4144 | 59.9307 | 38.1
64698 | 2021-04-02 17:43 | 26.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.0536 | μmol/L | 34.5475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.641 | 137340.156 | 301149.0432 | 59.9307 | 38.1
64708 | 2021-04-02 17:44 | 26.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.8153 | μmol/L | 34.5475 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.659 | 137443.4635 | 301122.3199 | 59.9307 | 38.1
64718 | 2021-04-02 17:44 | 26.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.674 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.667 | 137510.2613 | 301121.6068 | 59.9307 | 38.1
64728 | 2021-04-02 17:44 | 27.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.4144 | μmol/L | 34.5598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.683 | 137597.5853 | 301096.1685 | 59.9307 | 38.1
64738 | 2021-04-02 17:45 | 27.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.2497 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.698 | 137703.6438 | 301099.0591 | 59.9307 | 38.1
64748 | 2021-04-02 17:45 | 27.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.1404 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.706 | 137747.8516 | 301088.1041 | 59.9307 | 38.1
64758 | 2021-04-02 17:45 | 28.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.1214 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.712 | 137789.0485 | 301072.4419 | 59.9307 | 38.1
64768 | 2021-04-02 17:46 | 28.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.8942 | μmol/L | 34.5414 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.728 | 137910.4971 | 301070.8724 | 59.9307 | 38.1
64778 | 2021-04-02 17:46 | 28.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.735 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.742 | 138000.359 | 301040.5862 | 59.9307 | 38.1
64788 | 2021-04-02 17:46 | 29.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.6208 | μmol/L | 34.523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.755 | 138084.4439 | 301052.5675 | 59.9307 | 38.1
64798 | 2021-04-02 17:47 | 29.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.5747 | μmol/L | 34.5107 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.763 | 138146.9195 | 301046.3914 | 59.9307 | 38.1
64808 | 2021-04-02 17:47 | 29.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.2768 | μmol/L | 34.523 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.781 | 138266.905 | 301022.6319 | 59.9307 | 38.1
64818 | 2021-04-02 17:47 | 30.326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0836 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.79 | 138294.0872 | 301021.5229 | 59.9307 | 38.1
64828 | 2021-04-02 17:48 | 30.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0377 | μmol/L | 34.523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.798 | 138361.2006 | 301007.7565 | 59.9307 | 38.1
64838 | 2021-04-02 17:48 | 30.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.006 | μmol/L | 34.523 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.801 | 138397.6848 | 300995.0406 | 59.9307 | 38.1
64848 | 2021-04-02 17:48 | 31.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.798 | μmol/L | 34.5107 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.821 | 138519.541 | 300993.6632 | 59.9307 | 38.1
64858 | 2021-04-02 17:49 | 31.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.7269 | μmol/L | 34.523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.821 | 138501.7772 | 300971.5215 | 59.9307 | 38.1
64868 | 2021-04-02 17:49 | 31.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.7534 | μmol/L | 34.5169 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.822 | 138495.9205 | 300961.7774 | 59.9307 | 38.1
64878 | 2021-04-02 17:49 | 32.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6905 | μmol/L | 34.5169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.826 | 138508.1043 | 300956.7782 | 59.9307 | 38.1
64888 | 2021-04-02 17:50 | 32.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.619 | μmol/L | 34.523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.829 | 138528.804 | 300958.2762 | 59.9307 | 38.1
64898 | 2021-04-02 17:50 | 32.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.4889 | μmol/L | 34.5291 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.837 | 138589.9524 | 300931.762 | 59.9307 | 38.1
64908 | 2021-04-02 17:50 | 33.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3144 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.847 | 138661.2554 | 300935.8991 | 59.9307 | 38.1
64918 | 2021-04-02 17:51 | 33.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3144 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.847 | 138661.1575 | 300940.519 | 59.9307 | 38.1
64928 | 2021-04-02 17:51 | 33.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.0906 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.862 | 138773.5506 | 300921.106 | 59.9307 | 38.1
64938 | 2021-04-02 17:51 | 34.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.9032 | μmol/L | 34.5475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.873 | 138818.9556 | 300923.0864 | 59.9307 | 38.1
64948 | 2021-04-02 17:52 | 34.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.8228 | μmol/L | 34.5475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.879 | 138870.2979 | 300913.6404 | 59.9307 | 38.1
64958 | 2021-04-02 17:52 | 34.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.6884 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.892 | 138986.2642 | 300926.8898 | 59.9307 | 38.1
64968 | 2021-04-02 17:52 | 35.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.4799 | μmol/L | 34.5598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.9 | 139002.0084 | 300901.483 | 59.9307 | 38.1
64978 | 2021-04-02 17:53 | 35.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.3246 | μmol/L | 34.5721 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.907 | 139064.4029 | 300896.0463 | 59.9307 | 38.1
64988 | 2021-04-02 17:53 | 35.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.2537 | μmol/L | 34.5782 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.91 | 139032.2497 | 300874.0617 | 59.9307 | 38.1
64998 | 2021-04-02 17:53 | 36.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.1204 | μmol/L | 34.5782 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.92 | 139136.5154 | 300881.3824 | 59.9307 | 38.1
65008 | 2021-04-02 17:54 | 36.659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.9435 | μmol/L | 34.5966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.927 | 139163.3375 | 300864.6069 | 59.9307 | 38.1
65018 | 2021-04-02 17:54 | 36.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.9522 | μmol/L | 34.5905 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.928 | 139193.4041 | 300847.9293 | 59.9307 | 38.1
65028 | 2021-04-02 17:54 | 37.3257 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8324 | μmol/L | 34.5905 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.937 | 139233.445 | 300857.5118 | 59.9307 | 38.1
65038 | 2021-04-02 17:55 | 37.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.6824 | μmol/L | 34.6089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.942 | 139303.582 | 300847.0921 | 59.9307 | 38.1
65048 | 2021-04-02 17:55 | 37.9925 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.4878 | μmol/L | 34.6089 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.956 | 139385.1646 | 300847.7507 | 59.9307 | 38.1
65058 | 2021-04-02 17:55 | 38.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.2716 | μmol/L | 34.615 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.97 | 139445.202 | 300831.3333 | 59.9307 | 38.1
65068 | 2021-04-02 17:56 | 38.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.1348 | μmol/L | 34.615 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.981 | 139534.8024 | 300816.1008 | 59.9307 | 38.1
65078 | 2021-04-02 17:56 | 38.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.9939 | μmol/L | 34.615 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.991 | 139594.4453 | 300825.6148 | 59.9307 | 38.1
65088 | 2021-04-02 17:56 | 39.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.9189 | μmol/L | 34.6089 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.999 | 139665.3935 | 300813.3944 | 59.9307 | 38.1
65098 | 2021-04-02 17:57 | 39.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.6688 | μmol/L | 34.6273 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.011 | 139725.8631 | 300797.53 | 59.9307 | 38.1
65108 | 2021-04-02 17:57 | 39.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.5065 | μmol/L | 34.6334 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.021 | 139797.5766 | 300789.4034 | 59.9307 | 38.1
65118 | 2021-04-02 17:57 | 40.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.3791 | μmol/L | 34.6212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.036 | 139851.1448 | 300804.1922 | 59.9307 | 38.1
65128 | 2021-04-02 17:58 | 40.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.1778 | μmol/L | 34.6273 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.049 | 139961.8358 | 300785.0941 | 59.9307 | 38.1
65138 | 2021-04-02 17:58 | 40.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.086 | μmol/L | 34.6273 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.056 | 140017.1249 | 300786.792 | 59.9307 | 38.1
65148 | 2021-04-02 17:58 | 41.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.9069 | μmol/L | 34.6273 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.069 | 140111.4562 | 300783.0714 | 59.9307 | 38.1
65158 | 2021-04-02 17:59 | 41.6589 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.8891 | μmol/L | 34.6089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.078 | 140172.4135 | 300781.1874 | 59.9307 | 38.1
65168 | 2021-04-02 17:59 | 41.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.6494 | μmol/L | 34.615 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.094 | 140280.6996 | 300770.2074 | 59.9307 | 38.1
65178 | 2021-04-02 17:59 | 42.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.5884 | μmol/L | 34.6089 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.101 | 140353.1801 | 300777.0308 | 59.9307 | 38.1
65188 | 2021-04-02 18:00 | 42.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.3625 | μmol/L | 34.6212 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.113 | 140413.4621 | 300765.7274 | 59.9307 | 38.1
65198 | 2021-04-02 18:00 | 42.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.3229 | μmol/L | 34.5966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.126 | 140499.7312 | 300767.675 | 59.9307 | 38.1
65208 | 2021-04-02 18:00 | 43.3255 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.1841 | μmol/L | 34.5966 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.136 | 140567.0052 | 300762.5988 | 59.9307 | 38.1
65218 | 2021-04-02 18:01 | 43.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.0106 | μmol/L | 34.5966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.15 | 140683.1735 | 300751.153 | 59.9307 | 38.1
65228 | 2021-04-02 18:01 | 43.9923 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.8159 | μmol/L | 34.5966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.165 | 140782.3737 | 300745.2222 | 59.9307 | 38.1
65238 | 2021-04-02 18:01 | 44.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6255 | μmol/L | 34.5782 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.186 | 140907.7531 | 300741.1109 | 59.9307 | 38.1
65248 | 2021-04-02 18:02 | 44.6593 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.2892 | μmol/L | 34.5782 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.212 | 141099.1316 | 300722.3889 | 59.9307 | 38.1
65258 | 2021-04-02 18:02 | 44.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.0226 | μmol/L | 34.5843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.231 | 141236.3313 | 300717.7463 | 59.9307 | 38.1
65268 | 2021-04-02 18:02 | 45.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.8638 | μmol/L | 34.5905 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.241 | 141286.926 | 300728.875 | 59.9307 | 38.1
65278 | 2021-04-02 18:03 | 45.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.6067 | μmol/L | 34.5966 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.258 | 141399.8524 | 300713.4605 | 59.9307 | 38.1
65288 | 2021-04-02 18:03 | 45.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.4099 | μmol/L | 34.5843 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 141548.2461 | 300711.5333 | 59.9307 | 38.1
65298 | 2021-04-02 18:03 | 46.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.2945 | μmol/L | 34.5782 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.29 | 141647.3828 | 300695.563 | 59.9307 | 38.1
65308 | 2021-04-02 18:04 | 46.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1409 | μmol/L | 34.5843 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.299 | 141690.8927 | 300696.0376 | 59.9307 | 38.1
65318 | 2021-04-02 18:04 | 46.9924 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.013 | μmol/L | 34.5966 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.305 | 141745.0752 | 300689.0084 | 59.9307 | 38.1
65328 | 2021-04-02 18:04 | 47.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9406 | μmol/L | 34.5598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.324 | 141842.4654 | 300674.9403 | 59.9307 | 38.1
65338 | 2021-04-02 18:05 | 47.6591 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8469 | μmol/L | 34.5598 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.332 | 141924.4237 | 300669.8949 | 59.9307 | 38.1
65348 | 2021-04-02 18:05 | 47.9922 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8426 | μmol/L | 34.5353 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.341 | 141972.7049 | 300684.0071 | 59.9307 | 38.1
65358 | 2021-04-02 18:05 | 48.3259 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7491 | μmol/L | 34.5414 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.346 | 142007.1718 | 300658.7632 | 59.9307 | 38.1
65368 | 2021-04-02 18:06 | 48.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6981 | μmol/L | 34.5414 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.35 | 142040.9107 | 300656.032 | 59.9307 | 38.1
65378 | 2021-04-02 18:06 | 48.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4775 | μmol/L | 34.5659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.358 | 142108.2862 | 300662.228 | 59.9307 | 38.1
65388 | 2021-04-02 18:06 | 49.3258 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3545 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.373 | 142221.1311 | 300659.5796 | 59.9307 | 38.1
65398 | 2021-04-02 18:07 | 49.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3165 | μmol/L | 34.5414 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.38 | 142228.3912 | 300654.5448 | 59.9307 | 38.1
65408 | 2021-04-02 18:07 | 49.9926 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2487 | μmol/L | 34.5414 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.386 | 142293.8242 | 300634.0846 | 59.9307 | 38.1
65418 | 2021-04-02 18:07 | 50.3256 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2572 | μmol/L | 34.5537 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.38 | 142249.028 | 300633.8701 | 59.9307 | 38.1
65428 | 2021-04-02 18:08 | 50.6592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.088 | μmol/L | 34.5598 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.391 | 142305.1446 | 300649.1323 | 59.9307 | 38.1
65438 | 2021-04-02 18:08 | 50.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.1007 | μmol/L | 34.5537 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.393 | 142318.4746 | 300627.1389 | 59.9307 | 38.1