## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63909 | 2021-04-02 17:17 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.1041 | μmol/L | 34.429 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.45 | 108170.2822 | 217529.515 | 27.3 | 43.4
63919 | 2021-04-02 17:17 | 0.32981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6144 | μmol/L | 34.4535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.471 | 108306.2231 | 217522.1846 | 27.3 | 43.4
63929 | 2021-04-02 17:18 | 0.66281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.8935 | μmol/L | 34.4658 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.511 | 108515.5177 | 217510.8148 | 27.3 | 43.4
63939 | 2021-04-02 17:18 | 0.99652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.4776 | μmol/L | 34.4413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.546 | 108698.5392 | 217506.3517 | 27.3 | 43.4
63949 | 2021-04-02 17:18 | 1.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1214 | μmol/L | 34.4658 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.559 | 108761.6376 | 217492.584 | 27.3 | 43.4
63959 | 2021-04-02 17:19 | 1.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1487 | μmol/L | 34.4719 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.555 | 108731.7693 | 217491.9051 | 27.3 | 43.4
63969 | 2021-04-02 17:19 | 1.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1968 | μmol/L | 34.4719 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.552 | 108700.1138 | 217485.1325 | 27.3 | 43.4
63979 | 2021-04-02 17:19 | 2.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.0125 | μmol/L | 34.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.552 | 108677.1489 | 217482.8921 | 27.3 | 43.4
63989 | 2021-04-02 17:20 | 2.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8843 | μmol/L | 34.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.56 | 108686.1684 | 217465.0165 | 27.3 | 43.4
63999 | 2021-04-02 17:20 | 2.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.681 | μmol/L | 34.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.575 | 108773.0727 | 217443.0356 | 27.3 | 43.4
64009 | 2021-04-02 17:20 | 3.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.2164 | μmol/L | 34.4781 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.611 | 108942.6526 | 217443.0298 | 27.3 | 43.4
64019 | 2021-04-02 17:21 | 3.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7135 | μmol/L | 34.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.638 | 109132.4301 | 217423.0733 | 27.3 | 43.4
64029 | 2021-04-02 17:21 | 3.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.0858 | μmol/L | 34.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.673 | 109319.949 | 217413.8744 | 27.3 | 43.4
64039 | 2021-04-02 17:21 | 4.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.6134 | μmol/L | 34.5211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.696 | 109438.11 | 217399.5496 | 27.3 | 43.4
64049 | 2021-04-02 17:22 | 4.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.0845 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.725 | 109589.3995 | 217399.4427 | 27.3 | 43.4
64059 | 2021-04-02 17:22 | 4.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.4479 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.761 | 109798.7541 | 217382.0424 | 27.3 | 43.4
64069 | 2021-04-02 17:22 | 5.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.0003 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.792 | 109962.467 | 217366.1645 | 27.3 | 43.4
64079 | 2021-04-02 17:23 | 5.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.9584 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.797 | 109991.7015 | 217368.4229 | 27.3 | 43.4
64089 | 2021-04-02 17:23 | 5.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.4878 | μmol/L | 34.5579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.818 | 110084.6848 | 217357.6622 | 27.3 | 43.4
64099 | 2021-04-02 17:23 | 6.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.3009 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.837 | 110208.2019 | 217340.1754 | 27.3 | 43.4
64109 | 2021-04-02 17:24 | 6.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.0686 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.852 | 110270.772 | 217333.7815 | 27.3 | 43.4
64119 | 2021-04-02 17:24 | 6.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.8985 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.863 | 110329.6507 | 217343.2798 | 27.3 | 43.4
64129 | 2021-04-02 17:24 | 7.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.6723 | μmol/L | 34.5517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.873 | 110372.2272 | 217324.784 | 27.3 | 43.4
64139 | 2021-04-02 17:25 | 7.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.5484 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.888 | 110421.9877 | 217319.6508 | 27.3 | 43.4
64149 | 2021-04-02 17:25 | 7.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.1893 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.909 | 110556.1069 | 217305.0601 | 27.3 | 43.4
64159 | 2021-04-02 17:25 | 8.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.6626 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.941 | 110726.2612 | 217304.7246 | 27.3 | 43.4
64169 | 2021-04-02 17:26 | 8.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.1733 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.973 | 110885.337 | 217291.8802 | 27.3 | 43.4
64179 | 2021-04-02 17:26 | 8.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9851 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.99 | 110994.0536 | 217275.088 | 27.3 | 43.4
64189 | 2021-04-02 17:26 | 9.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.8685 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.993 | 111023.5332 | 217277.2162 | 27.3 | 43.4
64199 | 2021-04-02 17:27 | 9.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6756 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.008 | 111067.4559 | 217273.494 | 27.3 | 43.4
64209 | 2021-04-02 17:27 | 9.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5795 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.012 | 111082.088 | 217261.7829 | 27.3 | 43.4
64219 | 2021-04-02 17:27 | 10.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6958 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.009 | 111050.3047 | 217250.228 | 27.3 | 43.4
64229 | 2021-04-02 17:28 | 10.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6859 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.005 | 111046.519 | 217243.788 | 27.3 | 43.4
64239 | 2021-04-02 17:28 | 10.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.7312 | μmol/L | 34.5272 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.009 | 111047.9405 | 217230.6913 | 27.3 | 43.4
64249 | 2021-04-02 17:28 | 11.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.4022 | μmol/L | 34.5395 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.026 | 111134.4179 | 217212.6561 | 27.3 | 43.4
64259 | 2021-04-02 17:29 | 11.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.9982 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.055 | 111299.97 | 217204.7225 | 27.3 | 43.4
64269 | 2021-04-02 17:29 | 11.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5904 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.082 | 111442.8266 | 217194.5472 | 27.3 | 43.4
64279 | 2021-04-02 17:29 | 12.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5099 | μmol/L | 34.5211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.092 | 111502.5799 | 217190.9658 | 27.3 | 43.4
64289 | 2021-04-02 17:30 | 12.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.4195 | μmol/L | 34.5579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.084 | 111433.5738 | 217177.4258 | 27.3 | 43.4
64299 | 2021-04-02 17:30 | 12.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6407 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.074 | 111341.8512 | 217181.6543 | 27.3 | 43.4
64309 | 2021-04-02 17:30 | 13.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.9326 | μmol/L | 34.5211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.064 | 111293.4538 | 217164.2053 | 27.3 | 43.4
64319 | 2021-04-02 17:31 | 13.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.696 | μmol/L | 34.5333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.075 | 111345.0073 | 217151.7038 | 27.3 | 43.4
64329 | 2021-04-02 17:31 | 13.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.274 | μmol/L | 34.5517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.096 | 111484.5683 | 217154.7691 | 27.3 | 43.4
64339 | 2021-04-02 17:31 | 14.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.7933 | μmol/L | 34.5517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.128 | 111653.668 | 217134.3833 | 27.3 | 43.4
64349 | 2021-04-02 17:32 | 14.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.4689 | μmol/L | 34.5456 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.152 | 111775.5147 | 217133.3991 | 27.3 | 43.4
64359 | 2021-04-02 17:32 | 14.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.1202 | μmol/L | 34.5517 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.173 | 111891.4288 | 217112.5027 | 27.3 | 43.4
64369 | 2021-04-02 17:32 | 15.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.6981 | μmol/L | 34.5579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.199 | 112038.8409 | 217116.0557 | 27.3 | 43.4
64379 | 2021-04-02 17:33 | 15.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.4998 | μmol/L | 34.564 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.21 | 112105.5971 | 217113.4335 | 27.3 | 43.4
64389 | 2021-04-02 17:33 | 15.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.3713 | μmol/L | 34.5579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.221 | 112170.0116 | 217091.8792 | 27.3 | 43.4
64399 | 2021-04-02 17:33 | 16.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.9122 | μmol/L | 34.5579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.252 | 112349.586 | 217091.5441 | 27.3 | 43.4
64409 | 2021-04-02 17:34 | 16.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.2524 | μmol/L | 34.5886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.285 | 112511.4337 | 217077.9821 | 27.3 | 43.4
64419 | 2021-04-02 17:34 | 16.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.8946 | μmol/L | 34.5947 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.307 | 112637.3047 | 217066.8246 | 27.3 | 43.4
64429 | 2021-04-02 17:34 | 17.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.4938 | μmol/L | 34.6008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.332 | 112774.9788 | 217057.8289 | 27.3 | 43.4
64439 | 2021-04-02 17:35 | 17.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1876 | μmol/L | 34.5824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.36 | 112900.867 | 217056.8901 | 27.3 | 43.4
64449 | 2021-04-02 17:35 | 17.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7872 | μmol/L | 34.6254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.371 | 112977.283 | 217046.1882 | 27.3 | 43.4
64459 | 2021-04-02 17:35 | 18.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.4425 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.39 | 113087.7179 | 217052.8836 | 27.3 | 43.4
64469 | 2021-04-02 17:36 | 18.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.2352 | μmol/L | 34.6254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.409 | 113179.8845 | 217030.3601 | 27.3 | 43.4
64479 | 2021-04-02 17:36 | 18.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.0231 | μmol/L | 34.6193 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.426 | 113257.7883 | 217033.8173 | 27.3 | 43.4
64489 | 2021-04-02 17:36 | 19.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.7906 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.435 | 113331.7156 | 217011.7904 | 27.3 | 43.4
64499 | 2021-04-02 17:37 | 19.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6988 | μmol/L | 34.6438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.439 | 113321.9934 | 217009.5266 | 27.3 | 43.4
64509 | 2021-04-02 17:37 | 19.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.7328 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.439 | 113320.3175 | 216998.0741 | 27.3 | 43.4
64519 | 2021-04-02 17:37 | 20.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.7328 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.439 | 113335.1825 | 217000.8634 | 27.3 | 43.4
64529 | 2021-04-02 17:38 | 20.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5296 | μmol/L | 34.6561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.446 | 113351.5591 | 216991.8614 | 27.3 | 43.4
64539 | 2021-04-02 17:38 | 20.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6306 | μmol/L | 34.6561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.439 | 113306.3918 | 216978.0582 | 27.3 | 43.4
64549 | 2021-04-02 17:38 | 21.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5232 | μmol/L | 34.6806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.437 | 113282.0171 | 216972.0353 | 27.3 | 43.4
64559 | 2021-04-02 17:39 | 21.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2154 | μmol/L | 34.6868 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.456 | 113396.2775 | 216964.6625 | 27.3 | 43.4
64569 | 2021-04-02 17:39 | 21.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.8431 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.489 | 113559.8621 | 216955.814 | 27.3 | 43.4
64579 | 2021-04-02 17:39 | 22.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3886 | μmol/L | 34.6806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.516 | 113725.1858 | 216946.1581 | 27.3 | 43.4
64589 | 2021-04-02 17:40 | 22.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.1262 | μmol/L | 34.6868 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.532 | 113814.9609 | 216946.2811 | 27.3 | 43.4
64599 | 2021-04-02 17:40 | 22.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8928 | μmol/L | 34.6929 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.546 | 113873.346 | 216926.6427 | 27.3 | 43.4
64609 | 2021-04-02 17:40 | 23.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8088 | μmol/L | 34.6745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.559 | 113930.0288 | 216921.9472 | 27.3 | 43.4
64619 | 2021-04-02 17:41 | 23.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4945 | μmol/L | 34.6929 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.574 | 114038.7869 | 216927.2676 | 27.3 | 43.4
64629 | 2021-04-02 17:41 | 23.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1152 | μmol/L | 34.7052 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.596 | 114138.2998 | 216923.9011 | 27.3 | 43.4
64639 | 2021-04-02 17:41 | 24.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8023 | μmol/L | 34.7236 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.611 | 114230.9221 | 216903.4489 | 27.3 | 43.4
64649 | 2021-04-02 17:42 | 24.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6204 | μmol/L | 34.7052 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.631 | 114331.2945 | 216901.8291 | 27.3 | 43.4
64659 | 2021-04-02 17:42 | 24.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3773 | μmol/L | 34.6929 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.653 | 114433.1745 | 216892.2022 | 27.3 | 43.4
64669 | 2021-04-02 17:42 | 25.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3773 | μmol/L | 34.6929 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.653 | 114456.3216 | 216881.7251 | 27.3 | 43.4
64679 | 2021-04-02 17:43 | 25.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3456 | μmol/L | 34.6806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.66 | 114452.0734 | 216878.1256 | 27.3 | 43.4
64689 | 2021-04-02 17:43 | 25.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.342 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.665 | 114496.7753 | 216863.8769 | 27.3 | 43.4
64699 | 2021-04-02 17:43 | 26.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2629 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.673 | 114552.0984 | 216854.1673 | 27.3 | 43.4
64709 | 2021-04-02 17:44 | 26.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1504 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.681 | 114574.5651 | 216860.6027 | 27.3 | 43.4
64719 | 2021-04-02 17:44 | 26.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1645 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.68 | 114566.9704 | 216855.2526 | 27.3 | 43.4
64729 | 2021-04-02 17:44 | 27.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1504 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.681 | 114556.0608 | 216839.9309 | 27.3 | 43.4
64739 | 2021-04-02 17:45 | 27.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1083 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.684 | 114566.7025 | 216837.9412 | 27.3 | 43.4
64749 | 2021-04-02 17:45 | 27.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9538 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.695 | 114634.4528 | 216834.9529 | 27.3 | 43.4
64759 | 2021-04-02 17:45 | 28.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7103 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.71 | 114711.1574 | 216829.3354 | 27.3 | 43.4
64769 | 2021-04-02 17:46 | 28.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.5004 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.725 | 114786.9468 | 216809.8742 | 27.3 | 43.4
64779 | 2021-04-02 17:46 | 28.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3799 | μmol/L | 34.6622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.736 | 114827.4224 | 216804.8208 | 27.3 | 43.4
64789 | 2021-04-02 17:46 | 29.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.5581 | μmol/L | 34.65 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.728 | 114796.9571 | 216800.4138 | 27.3 | 43.4
64799 | 2021-04-02 17:47 | 29.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6718 | μmol/L | 34.6315 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.727 | 114778.2814 | 216795.635 | 27.3 | 43.4
64809 | 2021-04-02 17:47 | 29.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.5407 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.734 | 114805.981 | 216793.1435 | 27.3 | 43.4
64819 | 2021-04-02 17:47 | 30.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.4289 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.742 | 114849.3886 | 216775.2171 | 27.3 | 43.4
64829 | 2021-04-02 17:48 | 30.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2753 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.753 | 114900.3772 | 216778.0095 | 27.3 | 43.4
64839 | 2021-04-02 17:48 | 30.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0835 | μmol/L | 34.65 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.762 | 114951.8188 | 216769.4252 | 27.3 | 43.4
64849 | 2021-04-02 17:48 | 31.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0522 | μmol/L | 34.6377 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.769 | 114978.9491 | 216770.6401 | 27.3 | 43.4
64859 | 2021-04-02 17:49 | 31.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0018 | μmol/L | 34.6315 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.775 | 115028.3134 | 216758.9846 | 27.3 | 43.4
64869 | 2021-04-02 17:49 | 31.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6609 | μmol/L | 34.6561 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.79 | 115077.4721 | 216760.2948 | 27.3 | 43.4
64879 | 2021-04-02 17:49 | 32.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.5393 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.794 | 115109.7187 | 216754.1048 | 27.3 | 43.4
64889 | 2021-04-02 17:50 | 32.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3207 | μmol/L | 34.6806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.805 | 115158.2293 | 216743.1117 | 27.3 | 43.4
64899 | 2021-04-02 17:50 | 32.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2482 | μmol/L | 34.6684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.815 | 115214.9021 | 216746.2433 | 27.3 | 43.4
64909 | 2021-04-02 17:50 | 33.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.9111 | μmol/L | 34.6745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.837 | 115336.0158 | 216738.4277 | 27.3 | 43.4
64919 | 2021-04-02 17:51 | 33.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.5335 | μmol/L | 34.6806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.862 | 115488.4432 | 216731.0209 | 27.3 | 43.4
64929 | 2021-04-02 17:51 | 33.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.1401 | μmol/L | 34.6745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.893 | 115670.8424 | 216723.2268 | 27.3 | 43.4
64939 | 2021-04-02 17:51 | 34.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.6227 | μmol/L | 34.6868 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.926 | 115858.7656 | 216727.5843 | 27.3 | 43.4
64949 | 2021-04-02 17:52 | 34.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.0557 | μmol/L | 34.7113 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.958 | 116034.5121 | 216723.4183 | 27.3 | 43.4
64959 | 2021-04-02 17:52 | 34.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.6833 | μmol/L | 34.7175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.983 | 116167.7899 | 216709.658 | 27.3 | 43.4
64969 | 2021-04-02 17:52 | 35.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.4746 | μmol/L | 34.7236 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.996 | 116250.2742 | 216707.2174 | 27.3 | 43.4
64979 | 2021-04-02 17:53 | 35.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.2932 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.007 | 116299.8329 | 216714.0004 | 27.3 | 43.4
64989 | 2021-04-02 17:53 | 35.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0039 | μmol/L | 34.7359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.026 | 116396.989 | 216703.0836 | 27.3 | 43.4
64999 | 2021-04-02 17:53 | 36.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6857 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.052 | 116549.1378 | 216693.9063 | 27.3 | 43.4
65009 | 2021-04-02 17:54 | 36.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.3629 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.076 | 116673.2262 | 216692.4694 | 27.3 | 43.4
65019 | 2021-04-02 17:54 | 36.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.0276 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.101 | 116799.5888 | 216680.7811 | 27.3 | 43.4
65029 | 2021-04-02 17:54 | 37.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7145 | μmol/L | 34.7359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.122 | 116938.2422 | 216681.9463 | 27.3 | 43.4
65039 | 2021-04-02 17:55 | 37.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3755 | μmol/L | 34.742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.145 | 117057.2181 | 216680.0577 | 27.3 | 43.4
65049 | 2021-04-02 17:55 | 37.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1995 | μmol/L | 34.7604 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.151 | 117119.8758 | 216671.5753 | 27.3 | 43.4
65059 | 2021-04-02 17:55 | 38.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155 | μmol/L | 34.7604 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.166 | 117165.4619 | 216666.1504 | 27.3 | 43.4
65069 | 2021-04-02 17:56 | 38.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0984 | μmol/L | 34.7543 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.161 | 117163.2076 | 216658.9587 | 27.3 | 43.4
65079 | 2021-04-02 17:56 | 38.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.9842 | μmol/L | 34.7482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.172 | 117216.6332 | 216659.7259 | 27.3 | 43.4
65089 | 2021-04-02 17:56 | 39.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6152 | μmol/L | 34.7604 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.195 | 117338.876 | 216657.5151 | 27.3 | 43.4
65099 | 2021-04-02 17:57 | 39.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3192 | μmol/L | 34.7359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.227 | 117500.6439 | 216654.2972 | 27.3 | 43.4
65109 | 2021-04-02 17:57 | 39.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8043 | μmol/L | 34.7666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.254 | 117661.5859 | 216639.054 | 27.3 | 43.4
65119 | 2021-04-02 17:57 | 40.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4834 | μmol/L | 34.7727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.276 | 117767.2059 | 216645.1988 | 27.3 | 43.4
65129 | 2021-04-02 17:58 | 40.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.3969 | μmol/L | 34.7666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.285 | 117826.9701 | 216640.0874 | 27.3 | 43.4
65139 | 2021-04-02 17:58 | 40.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4471 | μmol/L | 34.7543 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.286 | 117830.1581 | 216639.4559 | 27.3 | 43.4
65149 | 2021-04-02 17:58 | 41.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4078 | μmol/L | 34.7543 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.289 | 117836.0066 | 216627.9482 | 27.3 | 43.4
65159 | 2021-04-02 17:59 | 41.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4657 | μmol/L | 34.7482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.287 | 117818.0298 | 216632.1832 | 27.3 | 43.4
65169 | 2021-04-02 17:59 | 41.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.0978 | μmol/L | 34.7789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.303 | 117882.9024 | 216623.0963 | 27.3 | 43.4
65179 | 2021-04-02 17:59 | 42.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.0356 | μmol/L | 34.7604 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.315 | 117972.1513 | 216621.3108 | 27.3 | 43.4
65189 | 2021-04-02 18:00 | 42.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9996 | μmol/L | 34.742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.325 | 118020.1828 | 216610.3731 | 27.3 | 43.4
65199 | 2021-04-02 18:00 | 42.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9734 | μmol/L | 34.742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.327 | 118038.5479 | 216626.5405 | 27.3 | 43.4
65209 | 2021-04-02 18:00 | 43.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.8797 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.339 | 118091.178 | 216618.4928 | 27.3 | 43.4
65219 | 2021-04-02 18:01 | 43.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6786 | μmol/L | 34.7359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.352 | 118178.9004 | 216621.4528 | 27.3 | 43.4
65229 | 2021-04-02 18:01 | 43.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3942 | μmol/L | 34.7482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.369 | 118273.2897 | 216608.7842 | 27.3 | 43.4
65239 | 2021-04-02 18:01 | 44.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.1268 | μmol/L | 34.742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.392 | 118400.9677 | 216616.3852 | 27.3 | 43.4
65249 | 2021-04-02 18:02 | 44.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7973 | μmol/L | 34.7482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.415 | 118521.1448 | 216608.2971 | 27.3 | 43.4
65259 | 2021-04-02 18:02 | 44.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5074 | μmol/L | 34.7543 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.435 | 118641.7421 | 216601.1385 | 27.3 | 43.4
65269 | 2021-04-02 18:02 | 45.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.3708 | μmol/L | 34.7482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.448 | 118723.1499 | 216598.7423 | 27.3 | 43.4
65279 | 2021-04-02 18:03 | 45.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1626 | μmol/L | 34.7359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.469 | 118830.6446 | 216598.1582 | 27.3 | 43.4
65289 | 2021-04-02 18:03 | 45.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0007 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.484 | 118919.7753 | 216600.1567 | 27.3 | 43.4
65299 | 2021-04-02 18:03 | 46.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7566 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.503 | 118999.8237 | 216590.5254 | 27.3 | 43.4
65309 | 2021-04-02 18:04 | 46.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.5642 | μmol/L | 34.7298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.518 | 119102.5057 | 216591.003 | 27.3 | 43.4
65319 | 2021-04-02 18:04 | 46.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.3265 | μmol/L | 34.7236 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.539 | 119237.2642 | 216587.1001 | 27.3 | 43.4
65329 | 2021-04-02 18:04 | 47.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0254 | μmol/L | 34.7175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.565 | 119364.5448 | 216578.1681 | 27.3 | 43.4
65339 | 2021-04-02 18:05 | 47.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.7632 | μmol/L | 34.7113 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.588 | 119516.0679 | 216565.9814 | 27.3 | 43.4
65349 | 2021-04-02 18:05 | 47.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.5217 | μmol/L | 34.7113 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.607 | 119610.3634 | 216565.5447 | 27.3 | 43.4
65359 | 2021-04-02 18:05 | 48.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.2806 | μmol/L | 34.7113 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.626 | 119717.8236 | 216569.3833 | 27.3 | 43.4
65369 | 2021-04-02 18:06 | 48.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.9135 | μmol/L | 34.7113 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.655 | 119882.0689 | 216561.6819 | 27.3 | 43.4
65379 | 2021-04-02 18:06 | 48.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3605 | μmol/L | 34.7236 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.694 | 120078.7183 | 216558.3397 | 27.3 | 43.4
65389 | 2021-04-02 18:06 | 49.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0142 | μmol/L | 34.7175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.724 | 120253.7707 | 216542.8362 | 27.3 | 43.4
65399 | 2021-04-02 18:07 | 49.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8103 | μmol/L | 34.6929 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.75 | 120395.0292 | 216556.322 | 27.3 | 43.4
65409 | 2021-04-02 18:07 | 49.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6297 | μmol/L | 34.6991 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.762 | 120496.7883 | 216531.711 | 27.3 | 43.4
65419 | 2021-04-02 18:07 | 50.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.38 | μmol/L | 34.6991 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.782 | 120586.1484 | 216538.1855 | 27.3 | 43.4
65429 | 2021-04-02 18:08 | 50.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2888 | μmol/L | 34.7175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.782 | 120585.3259 | 216534.7228 | 27.3 | 43.4
65439 | 2021-04-02 18:08 | 50.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2959 | μmol/L | 34.7236 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.779 | 120568.0968 | 216530.307 | 27.3 | 43.4