## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-02 18:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
63911 | 2021-04-02 17:17 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3862 | μmol/L | 34.3801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.829 | 141203.659 | 274619.5869 | 36.4 | 83.1
63921 | 2021-04-02 17:17 | 0.32915 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5748 | μmol/L | 34.3616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.824 | 141173.4699 | 274609.2951 | 36.4 | 83.1
63931 | 2021-04-02 17:18 | 0.66188 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5705 | μmol/L | 34.3863 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.815 | 141086.7122 | 274583.0009 | 36.4 | 83.1
63941 | 2021-04-02 17:18 | 0.99538 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.896 | μmol/L | 34.3555 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.806 | 141022.5737 | 274588.5264 | 36.4 | 83.1
63951 | 2021-04-02 17:18 | 1.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.8701 | μmol/L | 34.3678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.803 | 140993.0485 | 274557.9292 | 36.4 | 83.1
63961 | 2021-04-02 17:19 | 1.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7759 | μmol/L | 34.3863 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.802 | 140995.9501 | 274545.9783 | 36.4 | 83.1
63971 | 2021-04-02 17:19 | 1.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.535 | μmol/L | 34.4293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.801 | 141002.3271 | 274542.146 | 36.4 | 83.1
63981 | 2021-04-02 17:19 | 2.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.855 | μmol/L | 34.3863 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.797 | 140961.518 | 274523.1821 | 36.4 | 83.1
63991 | 2021-04-02 17:20 | 2.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.53 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.799 | 140920.0602 | 274508.8763 | 36.4 | 83.1
64001 | 2021-04-02 17:20 | 2.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5198 | μmol/L | 34.4478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.795 | 140903.0338 | 274483.42 | 36.4 | 83.1
64011 | 2021-04-02 17:20 | 3.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.4984 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.801 | 140916.8387 | 274484.9904 | 36.4 | 83.1
64021 | 2021-04-02 17:21 | 3.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5875 | μmol/L | 34.4232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.8 | 140905.5601 | 274465.5484 | 36.4 | 83.1
64031 | 2021-04-02 17:21 | 3.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.9082 | μmol/L | 34.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.789 | 140851.2573 | 274463.8411 | 36.4 | 83.1
64041 | 2021-04-02 17:21 | 4.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.6981 | μmol/L | 34.4232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.793 | 140795.5447 | 274449.4176 | 36.4 | 83.1
64051 | 2021-04-02 17:22 | 4.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.5937 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.788 | 140780.4635 | 274427.4473 | 36.4 | 83.1
64061 | 2021-04-02 17:22 | 4.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.4154 | μmol/L | 34.4786 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.79 | 140804.7928 | 274410.8684 | 36.4 | 83.1
64071 | 2021-04-02 17:22 | 5.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.2785 | μmol/L | 34.4724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.801 | 140861.1369 | 274378.1313 | 36.4 | 83.1
64081 | 2021-04-02 17:23 | 5.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.2098 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.81 | 140890.547 | 274364.1038 | 36.4 | 83.1
64091 | 2021-04-02 17:23 | 5.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1519 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.816 | 140924.9974 | 274356.5775 | 36.4 | 83.1
64101 | 2021-04-02 17:23 | 6.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1102 | μmol/L | 34.4663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.814 | 140908.0719 | 274334.6259 | 36.4 | 83.1
64111 | 2021-04-02 17:24 | 6.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1885 | μmol/L | 34.4478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.816 | 140901.0788 | 274320.2365 | 36.4 | 83.1
64121 | 2021-04-02 17:24 | 6.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.0889 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.82 | 140911.0151 | 274305.5946 | 36.4 | 83.1
64131 | 2021-04-02 17:24 | 7.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.9421 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.827 | 140972.9447 | 274296.1068 | 36.4 | 83.1
64141 | 2021-04-02 17:25 | 7.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.8321 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.834 | 140993.4582 | 274278.6103 | 36.4 | 83.1
64151 | 2021-04-02 17:25 | 7.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.9732 | μmol/L | 34.4416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.832 | 140972.1421 | 274285.9049 | 36.4 | 83.1
64161 | 2021-04-02 17:25 | 8.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1046 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.819 | 140857.6401 | 274262.5552 | 36.4 | 83.1
64171 | 2021-04-02 17:26 | 8.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.2098 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.81 | 140735.9723 | 274242.1323 | 36.4 | 83.1
64181 | 2021-04-02 17:26 | 8.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3569 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.803 | 140693.2376 | 274242.5649 | 36.4 | 83.1
64191 | 2021-04-02 17:26 | 9.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3879 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.808 | 140742.1776 | 274228.9018 | 36.4 | 83.1
64201 | 2021-04-02 17:27 | 9.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1987 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.82 | 140818.146 | 274221.4645 | 36.4 | 83.1
64211 | 2021-04-02 17:27 | 9.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.675 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.844 | 140941.9227 | 274208.8905 | 36.4 | 83.1
64221 | 2021-04-02 17:27 | 10.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.5859 | μmol/L | 34.4539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.852 | 141024.6215 | 274187.7239 | 36.4 | 83.1
64231 | 2021-04-02 17:28 | 10.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.4032 | μmol/L | 34.4663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.859 | 141081.1646 | 274170.18 | 36.4 | 83.1
64241 | 2021-04-02 17:28 | 10.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2779 | μmol/L | 34.4663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.867 | 141109.3749 | 274152.5802 | 36.4 | 83.1
64251 | 2021-04-02 17:28 | 11.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2102 | μmol/L | 34.4724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.869 | 141112.2331 | 274140.2865 | 36.4 | 83.1
64261 | 2021-04-02 17:29 | 11.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3246 | μmol/L | 34.4478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.871 | 141118.2343 | 274136.0687 | 36.4 | 83.1
64271 | 2021-04-02 17:29 | 11.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3035 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.877 | 141103.706 | 274129.0168 | 36.4 | 83.1
64281 | 2021-04-02 17:29 | 12.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3763 | μmol/L | 34.4232 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.877 | 141128.376 | 274121.8947 | 36.4 | 83.1
64291 | 2021-04-02 17:30 | 12.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.2984 | μmol/L | 34.4416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.875 | 141114.3454 | 274089.5004 | 36.4 | 83.1
64301 | 2021-04-02 17:30 | 12.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3191 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.876 | 141117.6974 | 274084.1763 | 36.4 | 83.1
64311 | 2021-04-02 17:30 | 13.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.262 | μmol/L | 34.4478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.875 | 141069.9971 | 274072.1685 | 36.4 | 83.1
64321 | 2021-04-02 17:31 | 13.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3505 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.874 | 141082.3337 | 274064.0173 | 36.4 | 83.1
64331 | 2021-04-02 17:31 | 13.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1419 | μmol/L | 34.4416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.885 | 141131.9477 | 274043.3265 | 36.4 | 83.1
64341 | 2021-04-02 17:31 | 14.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3191 | μmol/L | 34.4355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.876 | 141088.3684 | 274025.4938 | 36.4 | 83.1
64351 | 2021-04-02 17:32 | 14.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3767 | μmol/L | 34.4416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.87 | 140991.4039 | 274030.2205 | 36.4 | 83.1
64361 | 2021-04-02 17:32 | 14.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.7947 | μmol/L | 34.4293 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.848 | 140825.1358 | 274016.5132 | 36.4 | 83.1
64371 | 2021-04-02 17:32 | 15.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.858 | μmol/L | 34.4478 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.837 | 140723.4746 | 274003.85 | 36.4 | 83.1
64381 | 2021-04-02 17:33 | 15.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.8321 | μmol/L | 34.4601 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.834 | 140686.791 | 273992.8055 | 36.4 | 83.1
64391 | 2021-04-02 17:33 | 15.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.6282 | μmol/L | 34.4786 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.84 | 140751.0758 | 273979.6649 | 36.4 | 83.1
64401 | 2021-04-02 17:33 | 16.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3511 | μmol/L | 34.4724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.86 | 140858.144 | 273958.7719 | 36.4 | 83.1
64411 | 2021-04-02 17:34 | 16.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1319 | μmol/L | 34.4724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.874 | 140956.5089 | 273955.4565 | 36.4 | 83.1
64421 | 2021-04-02 17:34 | 16.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.9027 | μmol/L | 34.4663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.891 | 141059.606 | 273941.8261 | 36.4 | 83.1
64431 | 2021-04-02 17:34 | 17.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.5545 | μmol/L | 34.4909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.904 | 141141.5798 | 273922.0264 | 36.4 | 83.1
64441 | 2021-04-02 17:35 | 17.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.3263 | μmol/L | 34.5032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.914 | 141230.0572 | 273915.9032 | 36.4 | 83.1
64451 | 2021-04-02 17:35 | 17.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.0983 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.924 | 141314.2802 | 273907.4933 | 36.4 | 83.1
64461 | 2021-04-02 17:35 | 18.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.9535 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.931 | 141334.0305 | 273898.2928 | 36.4 | 83.1
64471 | 2021-04-02 17:36 | 18.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.119 | μmol/L | 34.4909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.932 | 141341.4503 | 273880.1263 | 36.4 | 83.1
64481 | 2021-04-02 17:36 | 18.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8501 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.94 | 141373.6928 | 273867.4757 | 36.4 | 83.1
64491 | 2021-04-02 17:36 | 19.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.7209 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.946 | 141393.1955 | 273856.1415 | 36.4 | 83.1
64501 | 2021-04-02 17:37 | 19.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6022 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.949 | 141402.3036 | 273830.2857 | 36.4 | 83.1
64511 | 2021-04-02 17:37 | 19.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4732 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.955 | 141458.1838 | 273829.4455 | 36.4 | 83.1
64521 | 2021-04-02 17:37 | 20.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5301 | μmol/L | 34.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.963 | 141529.3058 | 273825.4005 | 36.4 | 83.1
64531 | 2021-04-02 17:38 | 20.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6024 | μmol/L | 34.4786 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.97 | 141569.0574 | 273820.7212 | 36.4 | 83.1
64541 | 2021-04-02 17:38 | 20.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4994 | μmol/L | 34.4724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.979 | 141621.0495 | 273799.5011 | 36.4 | 83.1
64551 | 2021-04-02 17:38 | 21.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0309 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.993 | 141702.5262 | 273784.4874 | 36.4 | 83.1
64561 | 2021-04-02 17:39 | 21.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.8099 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.998 | 141755.0076 | 273768.0876 | 36.4 | 83.1
64571 | 2021-04-02 17:39 | 21.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6662 | μmol/L | 34.5462 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.005 | 141757.772 | 273772.0937 | 36.4 | 83.1
64581 | 2021-04-02 17:39 | 22.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.8717 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.001 | 141747.2005 | 273765.8378 | 36.4 | 83.1
64591 | 2021-04-02 17:40 | 22.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.9335 | μmol/L | 34.5032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.004 | 141755.2477 | 273725.5374 | 36.4 | 83.1
64601 | 2021-04-02 17:40 | 22.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.7536 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.004 | 141751.7835 | 273732.8097 | 36.4 | 83.1
64611 | 2021-04-02 17:40 | 23.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6512 | μmol/L | 34.5278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.013 | 141809.2789 | 273728.8731 | 36.4 | 83.1
64621 | 2021-04-02 17:41 | 23.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.5792 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.013 | 141775.7745 | 273718.5654 | 36.4 | 83.1
64631 | 2021-04-02 17:41 | 23.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.7742 | μmol/L | 34.5278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.005 | 141722.638 | 273715.7757 | 36.4 | 83.1
64641 | 2021-04-02 17:41 | 24.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.072 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.988 | 141613.3019 | 273707.2179 | 36.4 | 83.1
64651 | 2021-04-02 17:42 | 24.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.1488 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.976 | 141501.6404 | 273691.6768 | 36.4 | 83.1
64661 | 2021-04-02 17:42 | 24.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.0255 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.984 | 141510.8845 | 273696.8302 | 36.4 | 83.1
64671 | 2021-04-02 17:42 | 25.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.82 | μmol/L | 34.5462 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.995 | 141595.9047 | 273672.7788 | 36.4 | 83.1
64681 | 2021-04-02 17:43 | 25.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6351 | μmol/L | 34.5647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21 | 141636.3295 | 273670.4781 | 36.4 | 83.1
64691 | 2021-04-02 17:43 | 25.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6505 | μmol/L | 34.5647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.999 | 141621.0746 | 273648.325 | 36.4 | 83.1
64701 | 2021-04-02 17:43 | 26.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6198 | μmol/L | 34.5647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.001 | 141646.5226 | 273649.3844 | 36.4 | 83.1
64711 | 2021-04-02 17:44 | 26.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.6204 | μmol/L | 34.5278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.015 | 141706.7084 | 273642.2377 | 36.4 | 83.1
64721 | 2021-04-02 17:44 | 26.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.7692 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.01 | 141678.5103 | 273632.5539 | 36.4 | 83.1
64731 | 2021-04-02 17:44 | 27.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.1338 | μmol/L | 34.5032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.991 | 141544.4225 | 273617.8446 | 36.4 | 83.1
64741 | 2021-04-02 17:45 | 27.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.1953 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.98 | 141415.3919 | 273606.8645 | 36.4 | 83.1
64751 | 2021-04-02 17:45 | 27.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.3239 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.967 | 141303.5567 | 273606.9143 | 36.4 | 83.1
64761 | 2021-04-02 17:45 | 28.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.3289 | μmol/L | 34.5462 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.962 | 141270.8952 | 273581.9569 | 36.4 | 83.1
64771 | 2021-04-02 17:46 | 28.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5043 | μmol/L | 34.5216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.96 | 141258.8126 | 273591.3238 | 36.4 | 83.1
64781 | 2021-04-02 17:46 | 28.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5404 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.96 | 141260.3776 | 273586.2504 | 36.4 | 83.1
64791 | 2021-04-02 17:46 | 29.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5301 | μmol/L | 34.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.963 | 141262.5709 | 273562.6004 | 36.4 | 83.1
64801 | 2021-04-02 17:47 | 29.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5714 | μmol/L | 34.497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.965 | 141262.4291 | 273559.0802 | 36.4 | 83.1
64811 | 2021-04-02 17:47 | 29.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6024 | μmol/L | 34.497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.963 | 141258.3507 | 273543.8889 | 36.4 | 83.1
64821 | 2021-04-02 17:47 | 30.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6591 | μmol/L | 34.4847 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.964 | 141261.0724 | 273540.1946 | 36.4 | 83.1
64831 | 2021-04-02 17:48 | 30.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5766 | μmol/L | 34.4909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.967 | 141254.6458 | 273524.0093 | 36.4 | 83.1
64841 | 2021-04-02 17:48 | 30.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4116 | μmol/L | 34.5032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.973 | 141301.8296 | 273519.8039 | 36.4 | 83.1
64851 | 2021-04-02 17:48 | 31.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.247 | μmol/L | 34.497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.986 | 141389.4403 | 273507.9633 | 36.4 | 83.1
64861 | 2021-04-02 17:49 | 31.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.139 | μmol/L | 34.497 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.993 | 141443.7375 | 273508.7392 | 36.4 | 83.1
64871 | 2021-04-02 17:49 | 31.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.8823 | μmol/L | 34.4909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.012 | 141577.8856 | 273500.7032 | 36.4 | 83.1
64881 | 2021-04-02 17:49 | 32.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.3546 | μmol/L | 34.5155 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.037 | 141750.5203 | 273484.5182 | 36.4 | 83.1
64891 | 2021-04-02 17:50 | 32.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.2372 | μmol/L | 34.5093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.047 | 141828.2516 | 273481.544 | 36.4 | 83.1
64901 | 2021-04-02 17:50 | 32.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.2733 | μmol/L | 34.4847 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.054 | 141873.013 | 273470.0697 | 36.4 | 83.1
64911 | 2021-04-02 17:50 | 33.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.1199 | μmol/L | 34.5032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.057 | 141869.6253 | 273457.0013 | 36.4 | 83.1
64921 | 2021-04-02 17:51 | 33.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.0225 | μmol/L | 34.5278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.054 | 141865.0219 | 273461.6433 | 36.4 | 83.1
64931 | 2021-04-02 17:51 | 33.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.8949 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.06 | 141922.1193 | 273457.2304 | 36.4 | 83.1
64941 | 2021-04-02 17:51 | 34.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.7727 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.068 | 141952.4026 | 273445.3544 | 36.4 | 83.1
64951 | 2021-04-02 17:52 | 34.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.7674 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.066 | 141922.6828 | 273442.5161 | 36.4 | 83.1
64961 | 2021-04-02 17:52 | 34.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.6601 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.066 | 141943.0498 | 273436.366 | 36.4 | 83.1
64971 | 2021-04-02 17:52 | 35.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.6759 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.072 | 141959.3951 | 273432.837 | 36.4 | 83.1
64981 | 2021-04-02 17:53 | 35.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.5896 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.08 | 142009.2842 | 273419.6568 | 36.4 | 83.1
64991 | 2021-04-02 17:53 | 35.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.3762 | μmol/L | 34.5339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.094 | 142077.1023 | 273409.8373 | 36.4 | 83.1
65001 | 2021-04-02 17:53 | 36.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.2486 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.093 | 142124.7114 | 273398.5909 | 36.4 | 83.1
65011 | 2021-04-02 17:54 | 36.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.0048 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.102 | 142151.3578 | 273389.0207 | 36.4 | 83.1
65021 | 2021-04-02 17:54 | 36.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.9645 | μmol/L | 34.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.107 | 142185.414 | 273387.6608 | 36.4 | 83.1
65031 | 2021-04-02 17:54 | 37.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.818 | μmol/L | 34.5647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.119 | 142271.9929 | 273384.2212 | 36.4 | 83.1
65041 | 2021-04-02 17:55 | 37.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.6565 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.132 | 142366.4862 | 273390.263 | 36.4 | 83.1
65051 | 2021-04-02 17:55 | 37.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4083 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.139 | 142400.482 | 273361.9548 | 36.4 | 83.1
65061 | 2021-04-02 17:55 | 38.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.3728 | μmol/L | 34.5893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.139 | 142389.7782 | 273361.0285 | 36.4 | 83.1
65071 | 2021-04-02 17:56 | 38.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4991 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.133 | 142374.3335 | 273371.9305 | 36.4 | 83.1
65081 | 2021-04-02 17:56 | 38.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4439 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.139 | 142399.1883 | 273359.3898 | 36.4 | 83.1
65091 | 2021-04-02 17:56 | 39.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4136 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.141 | 142398.4394 | 273343.595 | 36.4 | 83.1
65101 | 2021-04-02 17:57 | 39.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4741 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.137 | 142375.7739 | 273362.5315 | 36.4 | 83.1
65111 | 2021-04-02 17:57 | 39.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.702 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.129 | 142279.141 | 273347.4969 | 36.4 | 83.1
65121 | 2021-04-02 17:57 | 40.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.7066 | μmol/L | 34.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.124 | 142227.7885 | 273341.9196 | 36.4 | 83.1
65131 | 2021-04-02 17:58 | 40.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.6505 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.123 | 142234.6698 | 273335.8245 | 36.4 | 83.1
65141 | 2021-04-02 17:58 | 40.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4741 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.137 | 142354.0369 | 273341.9749 | 36.4 | 83.1
65151 | 2021-04-02 17:58 | 41.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2118 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.152 | 142456.2609 | 273336.9382 | 36.4 | 83.1
65161 | 2021-04-02 17:59 | 41.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.3478 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.143 | 142358.3111 | 273333.3345 | 36.4 | 83.1
65171 | 2021-04-02 17:59 | 41.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2866 | μmol/L | 34.6016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.14 | 142326.5021 | 273318.2206 | 36.4 | 83.1
65181 | 2021-04-02 17:59 | 42.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1959 | μmol/L | 34.6016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.146 | 142347.051 | 273338.1201 | 36.4 | 83.1
65191 | 2021-04-02 18:00 | 42.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.0556 | μmol/L | 34.5893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.16 | 142489.1713 | 273315.5752 | 36.4 | 83.1
65201 | 2021-04-02 18:00 | 42.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7197 | μmol/L | 34.577 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.187 | 142687.8251 | 273309.0684 | 36.4 | 83.1
65211 | 2021-04-02 18:00 | 43.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4244 | μmol/L | 34.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.209 | 142812.4882 | 273312.1549 | 36.4 | 83.1
65221 | 2021-04-02 18:01 | 43.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8893 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.24 | 143044.0497 | 273314.4625 | 36.4 | 83.1
65231 | 2021-04-02 18:01 | 43.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.4999 | μmol/L | 34.6016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.259 | 143189.4935 | 273297.6126 | 36.4 | 83.1
65241 | 2021-04-02 18:01 | 44.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3956 | μmol/L | 34.6016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.266 | 143186.8629 | 273286.9605 | 36.4 | 83.1
65251 | 2021-04-02 18:02 | 44.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5404 | μmol/L | 34.5893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.261 | 143160.8977 | 273286.5472 | 36.4 | 83.1
65261 | 2021-04-02 18:02 | 44.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7057 | μmol/L | 34.5709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.257 | 143146.5846 | 273283.3598 | 36.4 | 83.1
65271 | 2021-04-02 18:02 | 45.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2393 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.293 | 143391.8458 | 273267.4425 | 36.4 | 83.1
65281 | 2021-04-02 18:03 | 45.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3147 | μmol/L | 34.5647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.353 | 143820.8667 | 273271.1731 | 36.4 | 83.1
65291 | 2021-04-02 18:03 | 45.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0744 | μmol/L | 34.5524 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.374 | 143996.4362 | 273262.0144 | 36.4 | 83.1
65301 | 2021-04-02 18:03 | 46.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0101 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.376 | 144000.1132 | 273265.6565 | 36.4 | 83.1
65311 | 2021-04-02 18:04 | 46.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3697 | μmol/L | 34.5524 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.354 | 143826.312 | 273255.4323 | 36.4 | 83.1
65321 | 2021-04-02 18:04 | 46.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8839 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.324 | 143603.3602 | 273256.1008 | 36.4 | 83.1
65331 | 2021-04-02 18:04 | 47.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.9866 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.31 | 143507.0778 | 273241.5746 | 36.4 | 83.1
65341 | 2021-04-02 18:05 | 47.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2096 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.295 | 143366.259 | 273242.6812 | 36.4 | 83.1
65351 | 2021-04-02 18:05 | 47.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5873 | μmol/L | 34.5524 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.272 | 143205.613 | 273236.3331 | 36.4 | 83.1
65361 | 2021-04-02 18:05 | 48.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7366 | μmol/L | 34.5524 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.262 | 143123.9142 | 273236.9875 | 36.4 | 83.1
65371 | 2021-04-02 18:06 | 48.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7568 | μmol/L | 34.5462 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.263 | 143122.3985 | 273229.4034 | 36.4 | 83.1
65381 | 2021-04-02 18:06 | 48.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5032 | μmol/L | 34.5462 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.28 | 143230.4676 | 273225.9573 | 36.4 | 83.1
65391 | 2021-04-02 18:06 | 49.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2542 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.292 | 143310.0376 | 273225.3853 | 36.4 | 83.1
65401 | 2021-04-02 18:07 | 49.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0472 | μmol/L | 34.5401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.313 | 143470.9362 | 273233.9108 | 36.4 | 83.1
65411 | 2021-04-02 18:07 | 49.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1629 | μmol/L | 34.5524 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.368 | 143858.8525 | 273208.2392 | 36.4 | 83.1
65421 | 2021-04-02 18:07 | 50.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.642 | μmol/L | 34.5586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.401 | 144088.4282 | 273206.8532 | 36.4 | 83.1
65431 | 2021-04-02 18:08 | 50.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.7088 | μmol/L | 34.5832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.387 | 144018.5519 | 273191.8464 | 36.4 | 83.1
65441 | 2021-04-02 18:08 | 50.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0275 | μmol/L | 34.5893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.363 | 143815.2552 | 273205.7651 | 36.4 | 83.1