## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65447 | 2021-04-05 08:10 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 296.1358 | μmol/L | 10.0044 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.95 | 132579.6696 | 293446.4796 | 62.0402 | 75.7 | #N/A
65455 | 2021-04-05 08:11 | 0.33708 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 296.1921 | μmol/L | 10.0166 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.943 | 132559.9906 | 293450.5006 | 62.0402 | 75.7 | #N/A
65465 | 2021-04-05 08:11 | 0.66992 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.9016 | μmol/L | 10.0411 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.945 | 132542.5934 | 293430.5879 | 62.0402 | 75.7 | #N/A
65475 | 2021-04-05 08:11 | 1.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.7816 | μmol/L | 10.0533 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.945 | 132529.3495 | 293414.269 | 62.0402 | 75.7 | #N/A
65485 | 2021-04-05 08:12 | 1.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.6773 | μmol/L | 10.0717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.942 | 132514.1533 | 293391.9803 | 62.0402 | 75.7 | #N/A
65495 | 2021-04-05 08:12 | 1.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.6929 | μmol/L | 10.0778 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.939 | 132490.5815 | 293364.3085 | 62.0402 | 75.7 | #N/A
65505 | 2021-04-05 08:12 | 2.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.5383 | μmol/L | 10.0961 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.938 | 132470.2764 | 293339.6422 | 62.0402 | 75.7 | #N/A
65515 | 2021-04-05 08:13 | 2.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.5036 | μmol/L | 10.1022 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.937 | 132432.2165 | 293311.3416 | 62.0402 | 75.7 | #N/A
65525 | 2021-04-05 08:13 | 2.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.5444 | μmol/L | 10.1084 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.933 | 132404.2451 | 293281.0291 | 62.0402 | 75.7 | #N/A
65535 | 2021-04-05 08:13 | 3.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.3146 | μmol/L | 10.1267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.935 | 132390.3425 | 293261.429 | 62.0402 | 75.7 | #N/A
65545 | 2021-04-05 08:14 | 3.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.3554 | μmol/L | 10.1328 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.931 | 132371.9701 | 293242.328 | 62.0402 | 75.7 | #N/A
65555 | 2021-04-05 08:14 | 3.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.0912 | μmol/L | 10.1573 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.932 | 132332.8923 | 293218.7917 | 62.0402 | 75.7 | #N/A
65565 | 2021-04-05 08:14 | 4.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.1131 | μmol/L | 10.1756 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.924 | 132301.7203 | 293206.9423 | 62.0402 | 75.7 | #N/A
65575 | 2021-04-05 08:15 | 4.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.1696 | μmol/L | 10.1879 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.917 | 132255.8413 | 293164.5642 | 62.0402 | 75.7 | #N/A
65585 | 2021-04-05 08:15 | 4.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9654 | μmol/L | 10.2062 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.918 | 132214.4466 | 293146.2641 | 62.0402 | 75.7 | #N/A
65595 | 2021-04-05 08:15 | 5.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.022 | μmol/L | 10.2185 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.911 | 132187.5709 | 293122.2714 | 62.0402 | 75.7 | #N/A
65605 | 2021-04-05 08:16 | 5.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9027 | μmol/L | 10.2307 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.911 | 132160.5295 | 293087.7585 | 62.0402 | 75.7 | #N/A
65615 | 2021-04-05 08:16 | 5.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9844 | μmol/L | 10.2429 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.903 | 132107.6826 | 293063.9672 | 62.0402 | 75.7 | #N/A
65625 | 2021-04-05 08:16 | 6.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.1101 | μmol/L | 10.2429 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.898 | 132060.0285 | 293045.7708 | 62.0402 | 75.7 | #N/A
65635 | 2021-04-05 08:17 | 6.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.0347 | μmol/L | 10.2429 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.901 | 132041.517 | 293016.1646 | 62.0402 | 75.7 | #N/A
65645 | 2021-04-05 08:17 | 6.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.1072 | μmol/L | 10.2613 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.891 | 131999.3722 | 292992.2973 | 62.0402 | 75.7 | #N/A
65655 | 2021-04-05 08:17 | 7.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.0727 | μmol/L | 10.2674 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.89 | 131969.7743 | 292972.4209 | 62.0402 | 75.7 | #N/A
65665 | 2021-04-05 08:18 | 7.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 295.1575 | μmol/L | 10.2613 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.889 | 131942.6975 | 292948.266 | 62.0402 | 75.7 | #N/A
65675 | 2021-04-05 08:18 | 7.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.988 | μmol/L | 10.2735 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.891 | 131926.8261 | 292916.616 | 62.0402 | 75.7 | #N/A
65685 | 2021-04-05 08:18 | 8.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7683 | μmol/L | 10.2858 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.895 | 131919.0529 | 292905.4708 | 62.0402 | 75.7 | #N/A
65695 | 2021-04-05 08:19 | 8.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8279 | μmol/L | 10.2796 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.895 | 131904.7187 | 292873.3964 | 62.0402 | 75.7 | #N/A
65705 | 2021-04-05 08:19 | 8.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8186 | μmol/L | 10.2858 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.893 | 131884.9702 | 292851.5934 | 62.0402 | 75.7 | #N/A
65715 | 2021-04-05 08:19 | 9.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8846 | μmol/L | 10.2919 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.888 | 131838.9131 | 292827.2273 | 62.0402 | 75.7 | #N/A
65725 | 2021-04-05 08:20 | 9.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7907 | μmol/L | 10.3041 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.887 | 131805.6633 | 292807.5115 | 62.0402 | 75.7 | #N/A
65735 | 2021-04-05 08:20 | 9.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.747 | μmol/L | 10.3163 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.884 | 131756.5011 | 292772.4771 | 62.0402 | 75.7 | #N/A
65745 | 2021-04-05 08:20 | 10.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8131 | μmol/L | 10.3225 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.879 | 131737.1854 | 292757.1977 | 62.0402 | 75.7 | #N/A
65755 | 2021-04-05 08:21 | 10.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8382 | μmol/L | 10.3225 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.878 | 131694.4629 | 292719.5801 | 62.0402 | 75.7 | #N/A
65765 | 2021-04-05 08:21 | 10.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9202 | μmol/L | 10.3347 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.87 | 131655.5884 | 292700.4474 | 62.0402 | 75.7 | #N/A
65775 | 2021-04-05 08:21 | 11.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8197 | μmol/L | 10.3347 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.874 | 131622.1939 | 292673.6316 | 62.0402 | 75.7 | #N/A
65785 | 2021-04-05 08:22 | 11.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7259 | μmol/L | 10.3469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.873 | 131607.1867 | 292646.1264 | 62.0402 | 75.7 | #N/A
65795 | 2021-04-05 08:22 | 11.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5911 | μmol/L | 10.353 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.876 | 131587.5933 | 292625.8822 | 62.0402 | 75.7 | #N/A
65805 | 2021-04-05 08:22 | 12.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6069 | μmol/L | 10.3592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.873 | 131568.2471 | 292605.2493 | 62.0402 | 75.7 | #N/A
65815 | 2021-04-05 08:23 | 12.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5383 | μmol/L | 10.3714 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.871 | 131524.1453 | 292576.9373 | 62.0402 | 75.7 | #N/A
65825 | 2021-04-05 08:23 | 12.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6639 | μmol/L | 10.3714 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.866 | 131368.2105 | 292550.2225 | 62.0402 | 75.7 | #N/A
65835 | 2021-04-05 08:23 | 13.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.545 | μmol/L | 10.3836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.866 | 131340.1088 | 292535.3786 | 62.0402 | 75.7 | #N/A
65845 | 2021-04-05 08:24 | 13.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5359 | μmol/L | 10.3898 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.864 | 131323.3036 | 292512.4895 | 62.0402 | 75.7 | #N/A
65855 | 2021-04-05 08:24 | 13.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4833 | μmol/L | 10.4081 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.859 | 131270.7257 | 292490.4503 | 62.0402 | 75.7 | #N/A
65865 | 2021-04-05 08:24 | 14.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5997 | μmol/L | 10.4142 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.852 | 131203.9278 | 292469.7494 | 62.0402 | 75.7 | #N/A
65875 | 2021-04-05 08:25 | 14.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.691 | μmol/L | 10.4203 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.846 | 131142.9435 | 292444.2588 | 62.0402 | 75.7 | #N/A
65885 | 2021-04-05 08:25 | 14.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7824 | μmol/L | 10.4265 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.84 | 131104.1274 | 292433.9374 | 62.0402 | 75.7 | #N/A
65895 | 2021-04-05 08:25 | 15.0032 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7984 | μmol/L | 10.4326 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.837 | 131063.2867 | 292402.4213 | 62.0402 | 75.7 | #N/A
65905 | 2021-04-05 08:26 | 15.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8739 | μmol/L | 10.4326 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 131032.017 | 292379.3923 | 62.0402 | 75.7 | #N/A
65915 | 2021-04-05 08:26 | 15.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7551 | μmol/L | 10.4448 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.834 | 131013.7473 | 292355.0728 | 62.0402 | 75.7 | #N/A
65925 | 2021-04-05 08:26 | 16.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8717 | μmol/L | 10.4509 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.827 | 130972.7369 | 292324.3385 | 62.0402 | 75.7 | #N/A
65935 | 2021-04-05 08:27 | 16.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8626 | μmol/L | 10.457 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.825 | 130912.484 | 292311.0559 | 62.0402 | 75.7 | #N/A
65945 | 2021-04-05 08:27 | 16.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9794 | μmol/L | 10.4632 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.818 | 130878.3581 | 292285.2566 | 62.0402 | 75.7 | #N/A
65955 | 2021-04-05 08:27 | 17.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9794 | μmol/L | 10.4632 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.818 | 130854.3456 | 292266.8987 | 62.0402 | 75.7 | #N/A
65965 | 2021-04-05 08:28 | 17.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9109 | μmol/L | 10.4754 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.816 | 130844.3204 | 292239.8841 | 62.0402 | 75.7 | #N/A
65975 | 2021-04-05 08:28 | 17.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.9018 | μmol/L | 10.4815 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.814 | 130823.7929 | 292219.1659 | 62.0402 | 75.7 | #N/A
65985 | 2021-04-05 08:28 | 18.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.776 | μmol/L | 10.4815 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.819 | 130800.8889 | 292188.9174 | 62.0402 | 75.7 | #N/A
65995 | 2021-04-05 08:29 | 18.3363 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6574 | μmol/L | 10.4938 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.819 | 130793.5315 | 292169.962 | 62.0402 | 75.7 | #N/A
66005 | 2021-04-05 08:29 | 18.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5136 | μmol/L | 10.506 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.82 | 130769.9841 | 292143.0378 | 62.0402 | 75.7 | #N/A
66015 | 2021-04-05 08:29 | 19.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.589 | μmol/L | 10.506 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.817 | 130737.6345 | 292114.5737 | 62.0402 | 75.7 | #N/A
66025 | 2021-04-05 08:30 | 19.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8153 | μmol/L | 10.506 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.808 | 130684.4832 | 292108.8833 | 62.0402 | 75.7 | #N/A
66035 | 2021-04-05 08:30 | 19.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.8063 | μmol/L | 10.5121 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 130666.5203 | 292088.4519 | 62.0402 | 75.7 | #N/A
66045 | 2021-04-05 08:30 | 20.0033 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5871 | μmol/L | 10.5243 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.81 | 130657.5316 | 292064.2482 | 62.0402 | 75.7 | #N/A
66055 | 2021-04-05 08:31 | 20.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4776 | μmol/L | 10.5305 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 130664.5167 | 292039.9866 | 62.0402 | 75.7 | #N/A
66065 | 2021-04-05 08:31 | 20.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3591 | μmol/L | 10.5427 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 130651.8232 | 292001.6651 | 62.0402 | 75.7 | #N/A
66075 | 2021-04-05 08:31 | 21.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3591 | μmol/L | 10.5427 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.812 | 130617.223 | 291989.3143 | 62.0402 | 75.7 | #N/A
66085 | 2021-04-05 08:32 | 21.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4847 | μmol/L | 10.5427 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.807 | 130584.8806 | 291969.8779 | 62.0402 | 75.7 | #N/A
66095 | 2021-04-05 08:32 | 21.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4506 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 130558.5038 | 291937.969 | 62.0402 | 75.7 | #N/A
66105 | 2021-04-05 08:32 | 22.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5009 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.804 | 130520.1989 | 291927.3127 | 62.0402 | 75.7 | #N/A
66115 | 2021-04-05 08:33 | 22.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.72 | μmol/L | 10.5366 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.8 | 130497.0752 | 291897.5024 | 62.0402 | 75.7 | #N/A
66125 | 2021-04-05 08:33 | 22.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7021 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.796 | 130467.7131 | 291881.2417 | 62.0402 | 75.7 | #N/A
66135 | 2021-04-05 08:33 | 23.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7775 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.793 | 130438.2815 | 291849.3156 | 62.0402 | 75.7 | #N/A
66145 | 2021-04-05 08:34 | 23.3365 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7524 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 130418.4461 | 291836.3207 | 62.0402 | 75.7 | #N/A
66155 | 2021-04-05 08:34 | 23.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.7524 | μmol/L | 10.5488 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 130390.3951 | 291814.1563 | 62.0402 | 75.7 | #N/A
66165 | 2021-04-05 08:34 | 24.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6679 | μmol/L | 10.5549 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 130396.2739 | 291800.3312 | 62.0402 | 75.7 | #N/A
66175 | 2021-04-05 08:35 | 24.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5081 | μmol/L | 10.561 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.799 | 130378.2833 | 291775.728 | 62.0402 | 75.7 | #N/A
66185 | 2021-04-05 08:35 | 24.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6087 | μmol/L | 10.561 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 130353.7716 | 291762.5492 | 62.0402 | 75.7 | #N/A
66195 | 2021-04-05 08:35 | 25.0031 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5997 | μmol/L | 10.5672 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.793 | 130311.3005 | 291741.3346 | 62.0402 | 75.7 | #N/A
66205 | 2021-04-05 08:36 | 25.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6322 | μmol/L | 10.5794 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.787 | 130273.1547 | 291706.6293 | 62.0402 | 75.7 | #N/A
66215 | 2021-04-05 08:36 | 25.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.6143 | μmol/L | 10.5916 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 130246.1156 | 291680.163 | 62.0402 | 75.7 | #N/A
66225 | 2021-04-05 08:36 | 26.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5981 | μmol/L | 10.5855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.786 | 130218.3707 | 291657.9192 | 62.0402 | 75.7 | #N/A
66235 | 2021-04-05 08:37 | 26.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.5551 | μmol/L | 10.5978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 130202.9581 | 291627.6595 | 62.0402 | 75.7 | #N/A
66245 | 2021-04-05 08:37 | 26.6697 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4205 | μmol/L | 10.6039 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.786 | 130193.7653 | 291614.3102 | 62.0402 | 75.7 | #N/A
66255 | 2021-04-05 08:37 | 27.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4959 | μmol/L | 10.6039 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 130179.2735 | 291593.941 | 62.0402 | 75.7 | #N/A
66265 | 2021-04-05 08:38 | 27.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3865 | μmol/L | 10.61 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.785 | 130165.9528 | 291564.8961 | 62.0402 | 75.7 | #N/A
66275 | 2021-04-05 08:38 | 27.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3111 | μmol/L | 10.61 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.788 | 130152.8031 | 291546.7938 | 62.0402 | 75.7 | #N/A
66285 | 2021-04-05 08:38 | 28.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3362 | μmol/L | 10.61 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.787 | 130136.7227 | 291530.0703 | 62.0402 | 75.7 | #N/A
66295 | 2021-04-05 08:39 | 28.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.4959 | μmol/L | 10.6039 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 130129.8856 | 291506.4877 | 62.0402 | 75.7 | #N/A
66305 | 2021-04-05 08:39 | 28.6699 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.3273 | μmol/L | 10.6161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.785 | 130126.9455 | 291472.3179 | 62.0402 | 75.7 | #N/A
66315 | 2021-04-05 08:39 | 29.003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.2771 | μmol/L | 10.6161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.787 | 130113.7251 | 291456.2212 | 62.0402 | 75.7 | #N/A
66325 | 2021-04-05 08:40 | 29.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.2519 | μmol/L | 10.6161 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.788 | 130088.675 | 291442.7887 | 62.0402 | 75.7 | #N/A
66335 | 2021-04-05 08:40 | 29.6698 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.1337 | μmol/L | 10.6283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.788 | 130074.7365 | 291428.2637 | 62.0402 | 75.7 | #N/A
66345 | 2021-04-05 08:40 | 30.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.1086 | μmol/L | 10.6283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.789 | 130054.005 | 291396.3092 | 62.0402 | 75.7 | #N/A
66355 | 2021-04-05 08:41 | 30.3364 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.0835 | μmol/L | 10.6283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.79 | 130036.2075 | 291365.8089 | 62.0402 | 75.7 | #N/A
66365 | 2021-04-05 08:41 | 30.67 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 293.9831 | μmol/L | 10.6283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 130031.6725 | 291354.6307 | 62.0402 | 75.7 | #N/A
66375 | 2021-04-05 08:41 | 31.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 294.0495 | μmol/L | 10.6345 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.789 | 130027.3975 | 291333.3804 | 62.0402 | 75.7 | #N/A
66385 | 2021-04-05 08:42 | 31.3366 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 293.9831 | μmol/L | 10.6283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 130025.6466 | 291307.6307 | 62.0402 | 75.7 | #N/A