## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65449 | 2021-04-05 08:10 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.7654 | μmol/L | 9.9785 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.784 | 116985.7042 | 227578.2368 | 27.3 | 43.4
65459 | 2021-04-05 08:11 | 0.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.8126 | μmol/L | 9.9846 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.78 | 116946.2467 | 227567.971 | 27.3 | 43.4
65469 | 2021-04-05 08:11 | 0.65929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.9488 | μmol/L | 9.9907 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.773 | 116892.4026 | 227567.7653 | 27.3 | 43.4
65479 | 2021-04-05 08:11 | 0.99261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.972 | μmol/L | 10.009 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.765 | 116856.2736 | 227549.4363 | 27.3 | 43.4
65489 | 2021-04-05 08:12 | 1.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.6986 | μmol/L | 10.0272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.767 | 116837.8272 | 227534.7095 | 27.3 | 43.4
65499 | 2021-04-05 08:12 | 1.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.7459 | μmol/L | 10.0333 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.763 | 116788.5025 | 227528.8166 | 27.3 | 43.4
65509 | 2021-04-05 08:12 | 1.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.7989 | μmol/L | 10.0516 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116743.406 | 227512.1363 | 27.3 | 43.4
65519 | 2021-04-05 08:13 | 2.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.686 | μmol/L | 10.0638 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.753 | 116707.1991 | 227486.7244 | 27.3 | 43.4
65529 | 2021-04-05 08:13 | 2.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.5851 | μmol/L | 10.0699 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116693.4817 | 227478.9753 | 27.3 | 43.4
65539 | 2021-04-05 08:13 | 2.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.4131 | μmol/L | 10.0821 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.755 | 116672.0004 | 227448.5309 | 27.3 | 43.4
65549 | 2021-04-05 08:14 | 3.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3004 | μmol/L | 10.0943 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116650.8811 | 227440.1371 | 27.3 | 43.4
65559 | 2021-04-05 08:14 | 3.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.2055 | μmol/L | 10.1126 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.75 | 116613.6454 | 227427.6374 | 27.3 | 43.4
65569 | 2021-04-05 08:14 | 3.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.2232 | μmol/L | 10.1186 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.747 | 116580.7525 | 227414.4222 | 27.3 | 43.4
65579 | 2021-04-05 08:15 | 4.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.1699 | μmol/L | 10.1308 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.744 | 116542.8661 | 227393.745 | 27.3 | 43.4
65589 | 2021-04-05 08:15 | 4.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3062 | μmol/L | 10.1369 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.737 | 116488.1657 | 227373.8603 | 27.3 | 43.4
65599 | 2021-04-05 08:15 | 4.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3418 | μmol/L | 10.1491 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.731 | 116450.0316 | 227366.0478 | 27.3 | 43.4
65609 | 2021-04-05 08:16 | 5.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3714 | μmol/L | 10.1491 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.73 | 116422.7385 | 227349.6586 | 27.3 | 43.4
65619 | 2021-04-05 08:16 | 5.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.4071 | μmol/L | 10.1613 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.724 | 116371.4491 | 227325.9264 | 27.3 | 43.4
65629 | 2021-04-05 08:16 | 5.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.4843 | μmol/L | 10.1674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.719 | 116325.6463 | 227300.6854 | 27.3 | 43.4
65639 | 2021-04-05 08:17 | 6.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.5022 | μmol/L | 10.1735 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.716 | 116306.6358 | 227294.7168 | 27.3 | 43.4
65649 | 2021-04-05 08:17 | 6.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.2415 | μmol/L | 10.1857 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.72 | 116286.5993 | 227278.5705 | 27.3 | 43.4
65659 | 2021-04-05 08:17 | 6.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3069 | μmol/L | 10.1979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.713 | 116251.6005 | 227260.7534 | 27.3 | 43.4
65669 | 2021-04-05 08:18 | 7.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.1828 | μmol/L | 10.2161 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.71 | 116224.7242 | 227246.535 | 27.3 | 43.4
65679 | 2021-04-05 08:18 | 7.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.3014 | μmol/L | 10.2161 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.706 | 116179.3003 | 227220.5109 | 27.3 | 43.4
65689 | 2021-04-05 08:18 | 7.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.0292 | μmol/L | 10.2344 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.708 | 116169.6954 | 227199.3828 | 27.3 | 43.4
65699 | 2021-04-05 08:19 | 8.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.1064 | μmol/L | 10.2405 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.703 | 116130.2247 | 227192.3925 | 27.3 | 43.4
65709 | 2021-04-05 08:19 | 8.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.0948 | μmol/L | 10.2466 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.701 | 116104.0204 | 227181.2525 | 27.3 | 43.4
65719 | 2021-04-05 08:19 | 8.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.2727 | μmol/L | 10.2466 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.695 | 116066.4577 | 227160.7696 | 27.3 | 43.4
65729 | 2021-04-05 08:20 | 9.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.2081 | μmol/L | 10.2649 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.69 | 116034.7115 | 227140.557 | 27.3 | 43.4
65739 | 2021-04-05 08:20 | 9.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.0779 | μmol/L | 10.271 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.692 | 115989.1313 | 227122.8561 | 27.3 | 43.4
65749 | 2021-04-05 08:20 | 9.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.9954 | μmol/L | 10.2832 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.69 | 115966.5168 | 227110.9426 | 27.3 | 43.4
65759 | 2021-04-05 08:21 | 10.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 344.0728 | μmol/L | 10.2893 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.685 | 115951.6116 | 227100.6208 | 27.3 | 43.4
65769 | 2021-04-05 08:21 | 10.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.931 | μmol/L | 10.3015 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.685 | 115929.4395 | 227079.7111 | 27.3 | 43.4
65779 | 2021-04-05 08:21 | 10.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.9788 | μmol/L | 10.3076 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.681 | 115901.0215 | 227060.1888 | 27.3 | 43.4
65789 | 2021-04-05 08:22 | 11.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.9376 | μmol/L | 10.3137 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.68 | 115855.9859 | 227042.2493 | 27.3 | 43.4
65799 | 2021-04-05 08:22 | 11.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.9672 | μmol/L | 10.3137 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.679 | 115845.7968 | 227026.9799 | 27.3 | 43.4
65809 | 2021-04-05 08:22 | 11.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.8552 | μmol/L | 10.3258 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.678 | 115825.0012 | 227016.2385 | 27.3 | 43.4
65819 | 2021-04-05 08:23 | 12.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.8026 | μmol/L | 10.338 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.675 | 115796.0641 | 227002.4048 | 27.3 | 43.4
65829 | 2021-04-05 08:23 | 12.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.903 | μmol/L | 10.3319 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.674 | 115778.2615 | 226971.6978 | 27.3 | 43.4
65839 | 2021-04-05 08:23 | 12.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.75 | μmol/L | 10.3502 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.672 | 115754.2264 | 226973.7041 | 27.3 | 43.4
65849 | 2021-04-05 08:24 | 13.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.7089 | μmol/L | 10.3563 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.671 | 115739.8256 | 226947.3311 | 27.3 | 43.4
65859 | 2021-04-05 08:24 | 13.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6974 | μmol/L | 10.3624 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.669 | 115722.8358 | 226937.8485 | 27.3 | 43.4
65869 | 2021-04-05 08:24 | 13.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6859 | μmol/L | 10.3685 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.667 | 115707.4008 | 226919.1317 | 27.3 | 43.4
65879 | 2021-04-05 08:25 | 14.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5149 | μmol/L | 10.3807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.668 | 115681.8615 | 226911.7725 | 27.3 | 43.4
65889 | 2021-04-05 08:25 | 14.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5742 | μmol/L | 10.3807 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.666 | 115659.3728 | 226887.1682 | 27.3 | 43.4
65899 | 2021-04-05 08:25 | 14.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4625 | μmol/L | 10.3929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.665 | 115618.1793 | 226868.5473 | 27.3 | 43.4
65909 | 2021-04-05 08:26 | 15.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6106 | μmol/L | 10.3929 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.66 | 115602.0724 | 226860.3925 | 27.3 | 43.4
65919 | 2021-04-05 08:26 | 15.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5695 | μmol/L | 10.399 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.659 | 115564.0295 | 226822.3957 | 27.3 | 43.4
65929 | 2021-04-05 08:26 | 15.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5764 | μmol/L | 10.4112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.654 | 115539.0413 | 226813.1564 | 27.3 | 43.4
65939 | 2021-04-05 08:27 | 16.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5171 | μmol/L | 10.4112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.656 | 115508.4139 | 226809.3789 | 27.3 | 43.4
65949 | 2021-04-05 08:27 | 16.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4944 | μmol/L | 10.4233 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.652 | 115481.8023 | 226791.9201 | 27.3 | 43.4
65959 | 2021-04-05 08:27 | 16.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5536 | μmol/L | 10.4233 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.65 | 115456.8689 | 226777.9433 | 27.3 | 43.4
65969 | 2021-04-05 08:28 | 17.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5013 | μmol/L | 10.4355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.647 | 115433.6053 | 226756.6859 | 27.3 | 43.4
65979 | 2021-04-05 08:28 | 17.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6198 | μmol/L | 10.4355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.643 | 115395.3075 | 226740.4735 | 27.3 | 43.4
65989 | 2021-04-05 08:28 | 17.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6085 | μmol/L | 10.4416 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.641 | 115355.4726 | 226728.4904 | 27.3 | 43.4
65999 | 2021-04-05 08:29 | 18.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5972 | μmol/L | 10.4477 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.639 | 115334.259 | 226711.014 | 27.3 | 43.4
66009 | 2021-04-05 08:29 | 18.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.6268 | μmol/L | 10.4477 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.638 | 115330.2539 | 226695.9533 | 27.3 | 43.4
66019 | 2021-04-05 08:29 | 18.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4856 | μmol/L | 10.4599 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.638 | 115328.1112 | 226686.7306 | 27.3 | 43.4
66029 | 2021-04-05 08:30 | 19.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.5379 | μmol/L | 10.4477 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.641 | 115311.9319 | 226660.3159 | 27.3 | 43.4
66039 | 2021-04-05 08:30 | 19.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3262 | μmol/L | 10.466 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.641 | 115294.278 | 226658.9167 | 27.3 | 43.4
66049 | 2021-04-05 08:30 | 19.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4151 | μmol/L | 10.466 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.638 | 115257.7219 | 226640.5181 | 27.3 | 43.4
66059 | 2021-04-05 08:31 | 20.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4221 | μmol/L | 10.4782 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.633 | 115237.0386 | 226629.7087 | 27.3 | 43.4
66069 | 2021-04-05 08:31 | 20.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3629 | μmol/L | 10.4782 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.635 | 115210.6062 | 226602.7317 | 27.3 | 43.4
66079 | 2021-04-05 08:31 | 20.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3516 | μmol/L | 10.4843 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.633 | 115196.3854 | 226583.4726 | 27.3 | 43.4
66089 | 2021-04-05 08:32 | 21.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.2515 | μmol/L | 10.4904 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.634 | 115180.818 | 226591.7776 | 27.3 | 43.4
66099 | 2021-04-05 08:32 | 21.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.2699 | μmol/L | 10.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.631 | 115155.806 | 226567.7202 | 27.3 | 43.4
66109 | 2021-04-05 08:32 | 21.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.2882 | μmol/L | 10.5026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.628 | 115129.5771 | 226540.3073 | 27.3 | 43.4
66119 | 2021-04-05 08:33 | 22.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.4364 | μmol/L | 10.5026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.623 | 115098.7253 | 226521.777 | 27.3 | 43.4
66129 | 2021-04-05 08:33 | 22.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3066 | μmol/L | 10.5087 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.625 | 115087.3594 | 226519.6119 | 27.3 | 43.4
66139 | 2021-04-05 08:33 | 22.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3066 | μmol/L | 10.5087 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.625 | 115088.3519 | 226495.2838 | 27.3 | 43.4
66149 | 2021-04-05 08:34 | 23.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.3659 | μmol/L | 10.5087 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.623 | 115068.2253 | 226486.7629 | 27.3 | 43.4
66159 | 2021-04-05 08:34 | 23.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.0177 | μmol/L | 10.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.63 | 115071.6473 | 226466.4232 | 27.3 | 43.4
66169 | 2021-04-05 08:34 | 23.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.1065 | μmol/L | 10.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.627 | 115056.5634 | 226460.293 | 27.3 | 43.4
66179 | 2021-04-05 08:35 | 24.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.1361 | μmol/L | 10.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.626 | 115059.9728 | 226456.2328 | 27.3 | 43.4
66189 | 2021-04-05 08:35 | 24.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.9361 | μmol/L | 10.533 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.628 | 115040.4265 | 226430.401 | 27.3 | 43.4
66199 | 2021-04-05 08:35 | 24.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.8178 | μmol/L | 10.533 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.632 | 115036.3201 | 226409.5618 | 27.3 | 43.4
66209 | 2021-04-05 08:36 | 25.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.7291 | μmol/L | 10.533 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.635 | 115024.9556 | 226391.6861 | 27.3 | 43.4
66219 | 2021-04-05 08:36 | 25.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.618 | μmol/L | 10.5452 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.634 | 115025.356 | 226379.1117 | 27.3 | 43.4
66229 | 2021-04-05 08:36 | 25.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.4 | μmol/L | 10.5513 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.639 | 115026.6908 | 226376.8004 | 27.3 | 43.4
66239 | 2021-04-05 08:37 | 26.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.4775 | μmol/L | 10.5574 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.634 | 115005.4823 | 226352.3702 | 27.3 | 43.4
66249 | 2021-04-05 08:37 | 26.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.3889 | μmol/L | 10.5574 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.637 | 114995.8057 | 226345.3144 | 27.3 | 43.4
66259 | 2021-04-05 08:37 | 26.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.278 | μmol/L | 10.5696 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.636 | 114976.3161 | 226319.6614 | 27.3 | 43.4
66269 | 2021-04-05 08:38 | 27.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.3554 | μmol/L | 10.5757 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.631 | 114960.5806 | 226305.3468 | 27.3 | 43.4
66279 | 2021-04-05 08:38 | 27.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.4441 | μmol/L | 10.5757 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.628 | 114929.046 | 226296.5486 | 27.3 | 43.4
66289 | 2021-04-05 08:38 | 27.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.603 | μmol/L | 10.5696 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.625 | 114902.9737 | 226271.1499 | 27.3 | 43.4
66299 | 2021-04-05 08:39 | 28.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.603 | μmol/L | 10.5696 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.625 | 114871.5683 | 226273.8562 | 27.3 | 43.4
66309 | 2021-04-05 08:39 | 28.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.5105 | μmol/L | 10.5879 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.621 | 114865.4134 | 226259.4799 | 27.3 | 43.4
66319 | 2021-04-05 08:39 | 28.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.6325 | μmol/L | 10.5696 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.624 | 114856.2029 | 226232.7734 | 27.3 | 43.4
66329 | 2021-04-05 08:40 | 29.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.225 | μmol/L | 10.5209 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.623 | 114855.7827 | 226226.9104 | 27.3 | 43.4
66339 | 2021-04-05 08:40 | 29.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.0657 | μmol/L | 10.527 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.626 | 114826.0833 | 226203.2204 | 27.3 | 43.4
66349 | 2021-04-05 08:40 | 29.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 343.0322 | μmol/L | 10.5452 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.62 | 114816.2254 | 226187.43 | 27.3 | 43.4
66359 | 2021-04-05 08:41 | 30.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.9506 | μmol/L | 10.5574 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.618 | 114781.4228 | 226178.3979 | 27.3 | 43.4
66369 | 2021-04-05 08:41 | 30.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.7397 | μmol/L | 10.5757 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.618 | 114767.0991 | 226162.1169 | 27.3 | 43.4
66379 | 2021-04-05 08:41 | 30.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.7582 | μmol/L | 10.5818 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.615 | 114739.4556 | 226147.8631 | 27.3 | 43.4
66389 | 2021-04-05 08:42 | 31.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 342.5696 | μmol/L | 10.5879 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 21.619 | 114742.0562 | 226133.8008 | 27.3 | 43.4