## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65450 | 2021-04-05 08:10 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3976 | μmol/L | 10.0379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.349 | 118091.273 | 316899.1555 | 28.7 | 67.6
65460 | 2021-04-05 08:11 | 0.32717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4275 | μmol/L | 10.0501 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.343 | 118061.8917 | 316883.7513 | 28.7 | 67.6
65470 | 2021-04-05 08:11 | 0.66079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3369 | μmol/L | 10.0622 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.342 | 118032.5969 | 316858.101 | 28.7 | 67.6
65480 | 2021-04-05 08:11 | 0.99441 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4059 | μmol/L | 10.0804 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.332 | 117995.5556 | 316849.1256 | 28.7 | 67.6
65490 | 2021-04-05 08:12 | 1.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2399 | μmol/L | 10.1107 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.327 | 117947.5431 | 316827.1732 | 28.7 | 67.6
65500 | 2021-04-05 08:12 | 1.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.249 | μmol/L | 10.1047 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.329 | 117924.4046 | 316809.1633 | 28.7 | 67.6
65510 | 2021-04-05 08:12 | 1.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1736 | μmol/L | 10.1229 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.325 | 117887.366 | 316785.6028 | 28.7 | 67.6
65520 | 2021-04-05 08:13 | 2.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.285 | μmol/L | 10.1289 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.318 | 117851.1332 | 316770.5399 | 28.7 | 67.6
65530 | 2021-04-05 08:13 | 2.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.306 | μmol/L | 10.1471 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.31 | 117801.612 | 316734.8187 | 28.7 | 67.6
65540 | 2021-04-05 08:13 | 2.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2398 | μmol/L | 10.1593 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.308 | 117768.0771 | 316696.0087 | 28.7 | 67.6
65550 | 2021-04-05 08:14 | 3.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2217 | μmol/L | 10.1714 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.304 | 117738.5577 | 316679.036 | 28.7 | 67.6
65560 | 2021-04-05 08:14 | 3.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2127 | μmol/L | 10.1775 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.302 | 117720.6387 | 316667.0725 | 28.7 | 67.6
65570 | 2021-04-05 08:14 | 3.9937 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1617 | μmol/L | 10.1957 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.297 | 117662.8814 | 316650.2297 | 28.7 | 67.6
65580 | 2021-04-05 08:15 | 4.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2009 | μmol/L | 10.2017 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.293 | 117635.0357 | 316609.3435 | 28.7 | 67.6
65590 | 2021-04-05 08:15 | 4.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9964 | μmol/L | 10.226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.292 | 117598.0131 | 316584.383 | 28.7 | 67.6
65600 | 2021-04-05 08:15 | 4.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0357 | μmol/L | 10.2321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.288 | 117579.2486 | 316571.0466 | 28.7 | 67.6
65610 | 2021-04-05 08:16 | 5.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9937 | μmol/L | 10.2442 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.285 | 117543.8704 | 316534.1282 | 28.7 | 67.6
65620 | 2021-04-05 08:16 | 5.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.033 | μmol/L | 10.2503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.281 | 117517.5954 | 316492.8879 | 28.7 | 67.6
65630 | 2021-04-05 08:16 | 5.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8618 | μmol/L | 10.2685 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.281 | 117468.4984 | 316457.111 | 28.7 | 67.6
65640 | 2021-04-05 08:17 | 6.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8199 | μmol/L | 10.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.278 | 117461.6129 | 316461.0294 | 28.7 | 67.6
65650 | 2021-04-05 08:17 | 6.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8592 | μmol/L | 10.2867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.274 | 117420.2179 | 316412.1535 | 28.7 | 67.6
65660 | 2021-04-05 08:17 | 6.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8897 | μmol/L | 10.2988 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.268 | 117381.0971 | 316390.3392 | 28.7 | 67.6
65670 | 2021-04-05 08:18 | 7.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7757 | μmol/L | 10.3109 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.268 | 117348.5077 | 316345.3141 | 28.7 | 67.6
65680 | 2021-04-05 08:18 | 7.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8479 | μmol/L | 10.3109 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.265 | 117301.6014 | 316336.7993 | 28.7 | 67.6
65690 | 2021-04-05 08:18 | 7.9939 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8455 | μmol/L | 10.3291 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.258 | 117274.186 | 316295.1719 | 28.7 | 67.6
65700 | 2021-04-05 08:19 | 8.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9178 | μmol/L | 10.3291 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.255 | 117249.866 | 316278.9891 | 28.7 | 67.6
65710 | 2021-04-05 08:19 | 8.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6418 | μmol/L | 10.3534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.257 | 117217.5954 | 316245.4426 | 28.7 | 67.6
65720 | 2021-04-05 08:19 | 8.9937 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6571 | μmol/L | 10.3595 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.254 | 117189.3174 | 316224.6502 | 28.7 | 67.6
65730 | 2021-04-05 08:20 | 9.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7446 | μmol/L | 10.3656 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.248 | 117164.8142 | 316204.041 | 28.7 | 67.6
65740 | 2021-04-05 08:20 | 9.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6636 | μmol/L | 10.3716 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.249 | 117135.1256 | 316174.1367 | 28.7 | 67.6
65750 | 2021-04-05 08:20 | 9.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7753 | μmol/L | 10.3777 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.242 | 117102.2071 | 316135.8505 | 28.7 | 67.6
65760 | 2021-04-05 08:21 | 10.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4995 | μmol/L | 10.402 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.244 | 117080.2925 | 316109.935 | 28.7 | 67.6
65770 | 2021-04-05 08:21 | 10.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6199 | μmol/L | 10.402 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.239 | 117055.3418 | 316094.4077 | 28.7 | 67.6
65780 | 2021-04-05 08:21 | 10.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6593 | μmol/L | 10.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.235 | 117021.6117 | 316057.4922 | 28.7 | 67.6
65790 | 2021-04-05 08:22 | 11.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5784 | μmol/L | 10.4141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.236 | 116996.6034 | 316040.9987 | 28.7 | 67.6
65800 | 2021-04-05 08:22 | 11.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6091 | μmol/L | 10.4262 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.23 | 116956.3229 | 316011.1916 | 28.7 | 67.6
65810 | 2021-04-05 08:22 | 11.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.559 | μmol/L | 10.4444 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.225 | 116929.6355 | 315991.0224 | 28.7 | 67.6
65820 | 2021-04-05 08:23 | 12.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5109 | μmol/L | 10.4444 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.227 | 116907.8211 | 315941.1872 | 28.7 | 67.6
65830 | 2021-04-05 08:23 | 12.6604 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4213 | μmol/L | 10.4566 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.226 | 116875.0652 | 315928.3678 | 28.7 | 67.6
65840 | 2021-04-05 08:23 | 12.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6072 | μmol/L | 10.4444 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.223 | 116857.5341 | 315894.4268 | 28.7 | 67.6
65850 | 2021-04-05 08:24 | 13.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3886 | μmol/L | 10.4626 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.225 | 116846.6637 | 315894.5364 | 28.7 | 67.6
65860 | 2021-04-05 08:24 | 13.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3713 | μmol/L | 10.4748 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.221 | 116809.0818 | 315854.1554 | 28.7 | 67.6
65870 | 2021-04-05 08:24 | 13.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3954 | μmol/L | 10.4748 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.22 | 116794.9958 | 315839.5497 | 28.7 | 67.6
65880 | 2021-04-05 08:25 | 14.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3145 | μmol/L | 10.4808 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.221 | 116775.9562 | 315803.8785 | 28.7 | 67.6
65890 | 2021-04-05 08:25 | 14.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2973 | μmol/L | 10.493 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.217 | 116747.0143 | 315771.7432 | 28.7 | 67.6
65900 | 2021-04-05 08:25 | 14.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.256 | μmol/L | 10.5051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.214 | 116706.4049 | 315743.4432 | 28.7 | 67.6
65910 | 2021-04-05 08:26 | 15.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3523 | μmol/L | 10.5051 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.21 | 116696.7701 | 315727.1329 | 28.7 | 67.6
65920 | 2021-04-05 08:26 | 15.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2148 | μmol/L | 10.5172 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.211 | 116672.0998 | 315697.4435 | 28.7 | 67.6
65930 | 2021-04-05 08:26 | 15.9939 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1581 | μmol/L | 10.5233 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.211 | 116653.9127 | 315664.578 | 28.7 | 67.6
65940 | 2021-04-05 08:27 | 16.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0929 | μmol/L | 10.5355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.209 | 116640.7826 | 315647.5205 | 28.7 | 67.6
65950 | 2021-04-05 08:27 | 16.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2458 | μmol/L | 10.5294 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.205 | 116608.2996 | 315615.4969 | 28.7 | 67.6
65960 | 2021-04-05 08:27 | 16.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2131 | μmol/L | 10.5355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.204 | 116594.5774 | 315595.6437 | 28.7 | 67.6
65970 | 2021-04-05 08:28 | 17.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0998 | μmol/L | 10.5476 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.204 | 116556.6003 | 315546.1298 | 28.7 | 67.6
65980 | 2021-04-05 08:28 | 17.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1634 | μmol/L | 10.5537 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.199 | 116534.3832 | 315534.3233 | 28.7 | 67.6
65990 | 2021-04-05 08:28 | 17.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2115 | μmol/L | 10.5537 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.197 | 116505.9074 | 315513.125 | 28.7 | 67.6
66000 | 2021-04-05 08:29 | 18.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2356 | μmol/L | 10.5537 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.196 | 116490.9854 | 315496.9143 | 28.7 | 67.6
66010 | 2021-04-05 08:29 | 18.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1704 | μmol/L | 10.5658 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.194 | 116468.4786 | 315469.5185 | 28.7 | 67.6
66020 | 2021-04-05 08:29 | 18.9937 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1053 | μmol/L | 10.5779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.192 | 116440.5402 | 315422.6437 | 28.7 | 67.6
66030 | 2021-04-05 08:30 | 19.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1775 | μmol/L | 10.5779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.189 | 116417.6746 | 315394.6176 | 28.7 | 67.6
66040 | 2021-04-05 08:30 | 19.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2256 | μmol/L | 10.5779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.187 | 116384.1798 | 315383.4955 | 28.7 | 67.6
66050 | 2021-04-05 08:30 | 19.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0798 | μmol/L | 10.5961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.186 | 116365.1484 | 315361.646 | 28.7 | 67.6
66060 | 2021-04-05 08:31 | 20.3272 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1604 | μmol/L | 10.5901 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.185 | 116336.8664 | 315340.2486 | 28.7 | 67.6
66070 | 2021-04-05 08:31 | 20.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2482 | μmol/L | 10.5961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.179 | 116327.7681 | 315318.2416 | 28.7 | 67.6
66080 | 2021-04-05 08:31 | 20.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1675 | μmol/L | 10.6022 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.18 | 116302.8185 | 315288.9285 | 28.7 | 67.6
66090 | 2021-04-05 08:32 | 21.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0543 | μmol/L | 10.6143 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.18 | 116274.8072 | 315269.2781 | 28.7 | 67.6
66100 | 2021-04-05 08:32 | 21.6604 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1109 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.18 | 116261.5326 | 315234.8492 | 28.7 | 67.6
66110 | 2021-04-05 08:32 | 21.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0784 | μmol/L | 10.6143 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.179 | 116238.072 | 315218.5872 | 28.7 | 67.6
66120 | 2021-04-05 08:33 | 22.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.094 | μmol/L | 10.6204 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.176 | 116210.8305 | 315188.6729 | 28.7 | 67.6
66130 | 2021-04-05 08:33 | 22.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1903 | μmol/L | 10.6204 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.172 | 116193.4979 | 315167.7398 | 28.7 | 67.6
66140 | 2021-04-05 08:33 | 22.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1578 | μmol/L | 10.6265 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.171 | 116169.0036 | 315128.536 | 28.7 | 67.6
66150 | 2021-04-05 08:34 | 23.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9568 | μmol/L | 10.6325 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.177 | 116159.4909 | 315107.3242 | 28.7 | 67.6
66160 | 2021-04-05 08:34 | 23.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1975 | μmol/L | 10.6325 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.167 | 116121.7519 | 315079.4099 | 28.7 | 67.6
66170 | 2021-04-05 08:34 | 23.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0927 | μmol/L | 10.6386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.169 | 116104.8752 | 315047.338 | 28.7 | 67.6
66180 | 2021-04-05 08:35 | 24.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0518 | μmol/L | 10.6507 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.166 | 116076.6001 | 315025.3075 | 28.7 | 67.6
66190 | 2021-04-05 08:35 | 24.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1324 | μmol/L | 10.6447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.165 | 116067.6076 | 314997.1721 | 28.7 | 67.6
66200 | 2021-04-05 08:35 | 24.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0277 | μmol/L | 10.6507 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.167 | 116043.1937 | 314972.4017 | 28.7 | 67.6
66210 | 2021-04-05 08:36 | 25.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9712 | μmol/L | 10.6568 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.167 | 116040.7129 | 314967.5376 | 28.7 | 67.6
66220 | 2021-04-05 08:36 | 25.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0109 | μmol/L | 10.6629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.163 | 116008.9175 | 314928.3385 | 28.7 | 67.6
66230 | 2021-04-05 08:36 | 25.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9785 | μmol/L | 10.6689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.162 | 115991.7329 | 314899.7174 | 28.7 | 67.6
66240 | 2021-04-05 08:37 | 26.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0266 | μmol/L | 10.6689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.16 | 115957.9405 | 314887.6292 | 28.7 | 67.6
66250 | 2021-04-05 08:37 | 26.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9941 | μmol/L | 10.675 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.159 | 115956.3945 | 314851.9491 | 28.7 | 67.6
66260 | 2021-04-05 08:37 | 26.9937 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9941 | μmol/L | 10.675 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.159 | 115934.6511 | 314830.8698 | 28.7 | 67.6
66270 | 2021-04-05 08:38 | 27.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0025 | μmol/L | 10.6689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.161 | 115924.7553 | 314794.3529 | 28.7 | 67.6
66280 | 2021-04-05 08:38 | 27.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8414 | μmol/L | 10.6811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.163 | 115913.827 | 314782.208 | 28.7 | 67.6
66290 | 2021-04-05 08:38 | 27.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8571 | μmol/L | 10.6872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.16 | 115908.4858 | 314768.1504 | 28.7 | 67.6
66300 | 2021-04-05 08:39 | 28.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7849 | μmol/L | 10.6872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.163 | 115884.1145 | 314726.8381 | 28.7 | 67.6
66310 | 2021-04-05 08:39 | 28.6604 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7682 | μmol/L | 10.6993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.159 | 115868.7267 | 314712.8475 | 28.7 | 67.6
66320 | 2021-04-05 08:39 | 28.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7766 | μmol/L | 10.6932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.161 | 115848.564 | 314668.7558 | 28.7 | 67.6
66330 | 2021-04-05 08:40 | 29.3272 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8644 | μmol/L | 10.6993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.155 | 115828.9493 | 314644.9925 | 28.7 | 67.6
66340 | 2021-04-05 08:40 | 29.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8079 | μmol/L | 10.7054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.155 | 115823.7545 | 314625.7306 | 28.7 | 67.6
66350 | 2021-04-05 08:40 | 29.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.623 | μmol/L | 10.7175 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.158 | 115799.1852 | 314605.3542 | 28.7 | 67.6
66360 | 2021-04-05 08:41 | 30.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.6951 | μmol/L | 10.7175 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.155 | 115787.648 | 314584.4591 | 28.7 | 67.6
66370 | 2021-04-05 08:41 | 30.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.671 | μmol/L | 10.7175 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.156 | 115772.5614 | 314563.1669 | 28.7 | 67.6
66380 | 2021-04-05 08:41 | 30.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5666 | μmol/L | 10.7236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.158 | 115769.1628 | 314546.6827 | 28.7 | 67.6
66390 | 2021-04-05 08:42 | 31.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5102 | μmol/L | 10.7296 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.158 | 115749.5061 | 314509.2226 | 28.7 | 67.6