## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65453 | 2021-04-05 08:11 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 305.3715 | μmol/L | 10.1158 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 168982.8946 | 309932.5577 | 59.9307 | 49.4
65462 | 2021-04-05 08:11 | 0.38276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 305.5026 | μmol/L | 10.1158 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 168965.4287 | 309911.3047 | 59.9307 | 49.4
65473 | 2021-04-05 08:11 | 0.67356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 305.3061 | μmol/L | 10.1405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.512 | 168942.7844 | 309899.49 | 59.9307 | 49.4
65483 | 2021-04-05 08:12 | 1.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 305.0867 | μmol/L | 10.1466 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.518 | 168933.7697 | 309881.3607 | 59.9307 | 49.4
65493 | 2021-04-05 08:12 | 1.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.9459 | μmol/L | 10.1528 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.521 | 168941.1578 | 309851.8274 | 59.9307 | 49.4
65503 | 2021-04-05 08:12 | 1.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.9264 | μmol/L | 10.1651 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.517 | 168912.8584 | 309827.8832 | 59.9307 | 49.4
65513 | 2021-04-05 08:13 | 2.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.907 | μmol/L | 10.1774 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 168889.694 | 309842.1453 | 59.9307 | 49.4
65523 | 2021-04-05 08:13 | 2.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.7402 | μmol/L | 10.1836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.517 | 168873.8302 | 309801.9681 | 59.9307 | 49.4
65533 | 2021-04-05 08:13 | 2.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.7207 | μmol/L | 10.1959 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 168859.7927 | 309782.7291 | 59.9307 | 49.4
65543 | 2021-04-05 08:14 | 3.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.5182 | μmol/L | 10.2082 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.516 | 168843.8709 | 309769.88 | 59.9307 | 49.4
65553 | 2021-04-05 08:14 | 3.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.404 | μmol/L | 10.2143 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.518 | 168830.6909 | 309745.3028 | 59.9307 | 49.4
65563 | 2021-04-05 08:14 | 3.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.4108 | μmol/L | 10.2266 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 168801.9683 | 309730.1992 | 59.9307 | 49.4
65573 | 2021-04-05 08:15 | 4.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.3749 | μmol/L | 10.2328 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.512 | 168783.8954 | 309711.6843 | 59.9307 | 49.4
65583 | 2021-04-05 08:15 | 4.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.2608 | μmol/L | 10.239 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 168769.2718 | 309692.4532 | 59.9307 | 49.4
65593 | 2021-04-05 08:15 | 4.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.9611 | μmol/L | 10.2636 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.516 | 168762.9982 | 309688.8098 | 59.9307 | 49.4
65603 | 2021-04-05 08:16 | 5.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.0133 | μmol/L | 10.2636 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 168729.2965 | 309641.0606 | 59.9307 | 49.4
65613 | 2021-04-05 08:16 | 5.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 304.0037 | μmol/L | 10.2697 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.512 | 168722.9293 | 309643.9963 | 59.9307 | 49.4
65623 | 2021-04-05 08:16 | 5.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.8635 | μmol/L | 10.2759 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 168698.1607 | 309601.7389 | 59.9307 | 49.4
65633 | 2021-04-05 08:17 | 6.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.6713 | μmol/L | 10.282 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.52 | 168723.3404 | 309615.4019 | 59.9307 | 49.4
65643 | 2021-04-05 08:17 | 6.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.5218 | μmol/L | 10.2943 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.521 | 168696.4883 | 309569.7148 | 59.9307 | 49.4
65653 | 2021-04-05 08:17 | 6.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.5644 | μmol/L | 10.3005 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.517 | 168663.8473 | 309554.7534 | 59.9307 | 49.4
65663 | 2021-04-05 08:18 | 7.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.5548 | μmol/L | 10.3067 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 168618.4729 | 309527.805 | 59.9307 | 49.4
65673 | 2021-04-05 08:18 | 7.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.6495 | μmol/L | 10.3128 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.509 | 168563.7271 | 309522.4541 | 59.9307 | 49.4
65683 | 2021-04-05 08:18 | 7.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.5618 | μmol/L | 10.319 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 168535.0416 | 309507.0129 | 59.9307 | 49.4
65693 | 2021-04-05 08:19 | 8.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.3507 | μmol/L | 10.3374 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.511 | 168532.4168 | 309485.2631 | 59.9307 | 49.4
65703 | 2021-04-05 08:19 | 8.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.2986 | μmol/L | 10.3374 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 168525.0493 | 309450.6801 | 59.9307 | 49.4
65713 | 2021-04-05 08:19 | 8.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1329 | μmol/L | 10.3436 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.517 | 168519.422 | 309437.7232 | 59.9307 | 49.4
65723 | 2021-04-05 08:20 | 9.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1754 | μmol/L | 10.3497 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 168498.211 | 309441.3207 | 59.9307 | 49.4
65733 | 2021-04-05 08:20 | 9.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.0878 | μmol/L | 10.3559 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 168494.4801 | 309430.9307 | 59.9307 | 49.4
65743 | 2021-04-05 08:20 | 9.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.9742 | μmol/L | 10.3621 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.516 | 168501.4567 | 309399.6558 | 59.9307 | 49.4
65753 | 2021-04-05 08:21 | 10.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.7472 | μmol/L | 10.3744 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.52 | 168498.4757 | 309379.994 | 59.9307 | 49.4
65763 | 2021-04-05 08:21 | 10.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.5204 | μmol/L | 10.3867 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.524 | 168515.9202 | 309370.5467 | 59.9307 | 49.4
65773 | 2021-04-05 08:21 | 10.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.433 | μmol/L | 10.3928 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.525 | 168496.1093 | 309338.7904 | 59.9307 | 49.4
65783 | 2021-04-05 08:22 | 11.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.3976 | μmol/L | 10.399 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.524 | 168490.8046 | 309323.6805 | 59.9307 | 49.4
65793 | 2021-04-05 08:22 | 11.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.1616 | μmol/L | 10.4175 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.526 | 168473.0398 | 309303.4593 | 59.9307 | 49.4
65803 | 2021-04-05 08:22 | 11.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.1003 | μmol/L | 10.4236 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.526 | 168437.8107 | 309293.7062 | 59.9307 | 49.4
65813 | 2021-04-05 08:23 | 12.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.0037 | μmol/L | 10.4359 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.525 | 168412.2392 | 309268.1722 | 59.9307 | 49.4
65823 | 2021-04-05 08:23 | 12.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.9943 | μmol/L | 10.4421 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.523 | 168373.3725 | 309244.2062 | 59.9307 | 49.4
65833 | 2021-04-05 08:23 | 12.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.8884 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.52 | 168349.1006 | 309227 | 59.9307 | 49.4
65843 | 2021-04-05 08:24 | 13.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.9143 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 168327.2868 | 309209.2484 | 59.9307 | 49.4
65853 | 2021-04-05 08:24 | 13.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.8978 | μmol/L | 10.4544 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.522 | 168289.461 | 309182.3136 | 59.9307 | 49.4
65863 | 2021-04-05 08:24 | 13.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.2632 | μmol/L | 10.4359 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 168236.7653 | 309169.959 | 59.9307 | 49.4
65873 | 2021-04-05 08:25 | 14.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.6385 | μmol/L | 10.4113 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 168188.7535 | 309145.5478 | 59.9307 | 49.4
65883 | 2021-04-05 08:25 | 14.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.6905 | μmol/L | 10.4113 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 168151.0704 | 309132.9566 | 59.9307 | 49.4
65893 | 2021-04-05 08:25 | 14.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.6197 | μmol/L | 10.4236 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.506 | 168114.1756 | 309115.528 | 59.9307 | 49.4
65903 | 2021-04-05 08:26 | 15.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.5323 | μmol/L | 10.4298 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.507 | 168099.9723 | 309088.3832 | 59.9307 | 49.4
65913 | 2021-04-05 08:26 | 15.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.4969 | μmol/L | 10.4359 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.506 | 168083.4792 | 309083.9082 | 59.9307 | 49.4
65923 | 2021-04-05 08:26 | 15.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.2869 | μmol/L | 10.4544 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.507 | 168059.7914 | 309049.0165 | 59.9307 | 49.4
65933 | 2021-04-05 08:27 | 16.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.261 | μmol/L | 10.4544 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 168052.1501 | 309036.7228 | 59.9307 | 49.4
65943 | 2021-04-05 08:27 | 16.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.1737 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.509 | 168042.5641 | 309032.3248 | 59.9307 | 49.4
65953 | 2021-04-05 08:27 | 16.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.1997 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 168039.228 | 309000.1617 | 59.9307 | 49.4
65963 | 2021-04-05 08:28 | 17.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.2444 | μmol/L | 10.4482 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.511 | 168035.9278 | 308996.5774 | 59.9307 | 49.4
65973 | 2021-04-05 08:28 | 17.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.1478 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 168015.2599 | 308971.4001 | 59.9307 | 49.4
65983 | 2021-04-05 08:28 | 17.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.0253 | μmol/L | 10.4729 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 167985.8905 | 308969.926 | 59.9307 | 49.4
65993 | 2021-04-05 08:29 | 18.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.851 | μmol/L | 10.4852 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.512 | 167965.8237 | 308943.5783 | 59.9307 | 49.4
66003 | 2021-04-05 08:29 | 18.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.8417 | μmol/L | 10.4913 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 167938.6621 | 308918.1241 | 59.9307 | 49.4
66013 | 2021-04-05 08:29 | 18.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.8324 | μmol/L | 10.4975 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 167913.3639 | 308898.5719 | 59.9307 | 49.4
66023 | 2021-04-05 08:30 | 19.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.8324 | μmol/L | 10.4975 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 167893.8966 | 308890.5106 | 59.9307 | 49.4
66033 | 2021-04-05 08:30 | 19.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.7101 | μmol/L | 10.5098 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 167870.2395 | 308885.6708 | 59.9307 | 49.4
66043 | 2021-04-05 08:30 | 19.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.7785 | μmol/L | 10.5159 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.503 | 167817.3241 | 308843.672 | 59.9307 | 49.4
66053 | 2021-04-05 08:31 | 20.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6563 | μmol/L | 10.5283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.503 | 167774.8781 | 308825.0182 | 59.9307 | 49.4
66063 | 2021-04-05 08:31 | 20.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.647 | μmol/L | 10.5344 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.501 | 167743.6105 | 308828.8002 | 59.9307 | 49.4
66073 | 2021-04-05 08:31 | 20.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.76 | μmol/L | 10.5283 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.499 | 167715.2298 | 308802.547 | 59.9307 | 49.4
66083 | 2021-04-05 08:32 | 21.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6988 | μmol/L | 10.5344 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.499 | 167694.5377 | 308783.1561 | 59.9307 | 49.4
66093 | 2021-04-05 08:32 | 21.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6896 | μmol/L | 10.5406 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.497 | 167677.598 | 308758.7595 | 59.9307 | 49.4
66103 | 2021-04-05 08:32 | 21.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6803 | μmol/L | 10.5467 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.495 | 167649.7111 | 308720.865 | 59.9307 | 49.4
66113 | 2021-04-05 08:33 | 22.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.5064 | μmol/L | 10.559 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.497 | 167621.2117 | 308716.4499 | 59.9307 | 49.4
66123 | 2021-04-05 08:33 | 22.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6452 | μmol/L | 10.5529 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 167600.4588 | 308685.8829 | 59.9307 | 49.4
66133 | 2021-04-05 08:33 | 22.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4194 | μmol/L | 10.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.498 | 167587.7483 | 308673.1035 | 59.9307 | 49.4
66143 | 2021-04-05 08:34 | 23.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4453 | μmol/L | 10.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.497 | 167573.6044 | 308662.44 | 59.9307 | 49.4
66153 | 2021-04-05 08:34 | 23.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.462 | μmol/L | 10.5713 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 167572.1 | 308635.3205 | 59.9307 | 49.4
66163 | 2021-04-05 08:34 | 23.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4102 | μmol/L | 10.5713 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 167547.3299 | 308631.8144 | 59.9307 | 49.4
66173 | 2021-04-05 08:35 | 24.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4712 | μmol/L | 10.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 167524.8879 | 308610.1131 | 59.9307 | 49.4
66183 | 2021-04-05 08:35 | 24.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.401 | μmol/L | 10.5775 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 167514.8702 | 308585.1787 | 59.9307 | 49.4
66193 | 2021-04-05 08:35 | 24.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.3492 | μmol/L | 10.5775 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 167490.6658 | 308562.4605 | 59.9307 | 49.4
66203 | 2021-04-05 08:36 | 25.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.3066 | μmol/L | 10.5713 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.5 | 167468.8668 | 308540.3025 | 59.9307 | 49.4
66213 | 2021-04-05 08:36 | 25.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.2623 | μmol/L | 10.5837 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.497 | 167462.9524 | 308538.1195 | 59.9307 | 49.4
66223 | 2021-04-05 08:36 | 25.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.2882 | μmol/L | 10.5837 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 167434.0276 | 308497.0927 | 59.9307 | 49.4
66233 | 2021-04-05 08:37 | 26.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.1663 | μmol/L | 10.596 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 167424.1844 | 308501.3324 | 59.9307 | 49.4
66243 | 2021-04-05 08:37 | 26.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9669 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.499 | 167427.9771 | 308490.0085 | 59.9307 | 49.4
66253 | 2021-04-05 08:37 | 26.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9152 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.501 | 167421.1817 | 308464.0288 | 59.9307 | 49.4
66263 | 2021-04-05 08:38 | 27.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9853 | μmol/L | 10.596 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.503 | 167429.7377 | 308451.4468 | 59.9307 | 49.4
66273 | 2021-04-05 08:38 | 27.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.821 | μmol/L | 10.6021 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.507 | 167421.0934 | 308433.1015 | 59.9307 | 49.4
66283 | 2021-04-05 08:38 | 27.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.8819 | μmol/L | 10.596 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.507 | 167428.3112 | 308420.7091 | 59.9307 | 49.4
66293 | 2021-04-05 08:39 | 28.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.7435 | μmol/L | 10.6021 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.51 | 167411.2519 | 308392.3156 | 59.9307 | 49.4
66303 | 2021-04-05 08:39 | 28.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.7951 | μmol/L | 10.6021 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.508 | 167419.1422 | 308368.6971 | 59.9307 | 49.4
66313 | 2021-04-05 08:39 | 28.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.7268 | μmol/L | 10.596 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.513 | 167395.6822 | 308349.3741 | 59.9307 | 49.4
66323 | 2021-04-05 08:40 | 29.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.6402 | μmol/L | 10.6021 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 167395.9964 | 308331.7777 | 59.9307 | 49.4
66333 | 2021-04-05 08:40 | 29.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.5277 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.516 | 167386.3019 | 308316.7434 | 59.9307 | 49.4
66343 | 2021-04-05 08:40 | 29.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.432 | μmol/L | 10.6206 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 167380.7607 | 308301.5398 | 59.9307 | 49.4
66353 | 2021-04-05 08:41 | 30.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.3712 | μmol/L | 10.6268 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 167383.0611 | 308285.5213 | 59.9307 | 49.4
66363 | 2021-04-05 08:41 | 30.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.268 | μmol/L | 10.6268 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 167383.1516 | 308266.2541 | 59.9307 | 49.4
66373 | 2021-04-05 08:41 | 30.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.2073 | μmol/L | 10.6329 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 167360.4855 | 308257.8264 | 59.9307 | 49.4
66383 | 2021-04-05 08:42 | 31.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.268 | μmol/L | 10.6268 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 167355.3538 | 308237.6492 | 59.9307 | 49.4
66393 | 2021-04-05 08:42 | 31.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.0693 | μmol/L | 10.6391 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.522 | 167347.3647 | 308207.0642 | 59.9307 | 49.4