## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65456 | 2021-04-05 08:11 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.5763 | μmol/L | 10.3208 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.9 | 137844.3565 | 289284.6077 | 26.25 | 74
65466 | 2021-04-05 08:11 | 0.33038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.5313 | μmol/L | 10.3329 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.897 | 137831.931 | 289271.0448 | 26.25 | 74
65476 | 2021-04-05 08:11 | 0.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.4107 | μmol/L | 10.3451 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.897 | 137835.5112 | 289241.721 | 26.25 | 74
65486 | 2021-04-05 08:12 | 0.99679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.5016 | μmol/L | 10.3511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.891 | 137814.2952 | 289230.3361 | 26.25 | 74
65496 | 2021-04-05 08:12 | 1.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.552 | μmol/L | 10.3511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.889 | 137802.118 | 289200.1046 | 26.25 | 74
65506 | 2021-04-05 08:12 | 1.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.3613 | μmol/L | 10.3755 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 137787.37 | 289178.4277 | 26.25 | 74
65516 | 2021-04-05 08:13 | 1.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.3767 | μmol/L | 10.3815 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.884 | 137799.7288 | 289150.9191 | 26.25 | 74
65526 | 2021-04-05 08:13 | 2.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.3066 | μmol/L | 10.3937 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.882 | 137839.1668 | 289148.361 | 26.25 | 74
65536 | 2021-04-05 08:13 | 2.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.3724 | μmol/L | 10.3998 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 137845.717 | 289119.0152 | 26.25 | 74
65546 | 2021-04-05 08:14 | 2.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.1415 | μmol/L | 10.418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.879 | 137868.8339 | 289092.2424 | 26.25 | 74
65556 | 2021-04-05 08:14 | 3.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.2576 | μmol/L | 10.4241 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.872 | 137879.4846 | 289063.4554 | 26.25 | 74
65566 | 2021-04-05 08:14 | 3.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.1471 | μmol/L | 10.4301 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.874 | 137906.3623 | 289041.6641 | 26.25 | 74
65576 | 2021-04-05 08:15 | 3.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 298.1121 | μmol/L | 10.4362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.873 | 137931.7066 | 289010.5138 | 26.25 | 74
65586 | 2021-04-05 08:15 | 4.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.9067 | μmol/L | 10.4545 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.874 | 138005.7692 | 288993.856 | 26.25 | 74
65596 | 2021-04-05 08:15 | 4.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.8564 | μmol/L | 10.4545 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 138056.2774 | 288973.7803 | 26.25 | 74
65606 | 2021-04-05 08:16 | 4.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.7713 | μmol/L | 10.4605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 138138.7795 | 288942.2545 | 26.25 | 74
65616 | 2021-04-05 08:16 | 5.3308 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.4754 | μmol/L | 10.4727 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.884 | 138249.3688 | 288915.1066 | 26.25 | 74
65626 | 2021-04-05 08:16 | 5.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2802 | μmol/L | 10.4848 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 138393.0224 | 288900.9906 | 26.25 | 74
65636 | 2021-04-05 08:17 | 5.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.8944 | μmol/L | 10.4909 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.9 | 138568.7157 | 288884.1954 | 26.25 | 74
65646 | 2021-04-05 08:17 | 6.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.3745 | μmol/L | 10.5031 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.916 | 138756.4092 | 288846.1543 | 26.25 | 74
65656 | 2021-04-05 08:17 | 6.6638 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.8805 | μmol/L | 10.5152 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.931 | 138927.1538 | 288822.4331 | 26.25 | 74
65666 | 2021-04-05 08:18 | 6.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.2727 | μmol/L | 10.5213 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.953 | 139102.2804 | 288779.6866 | 26.25 | 74
65676 | 2021-04-05 08:18 | 7.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.6912 | μmol/L | 10.5274 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.974 | 139284.3262 | 288780.9662 | 26.25 | 74
65686 | 2021-04-05 08:18 | 7.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0272 | μmol/L | 10.5395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.996 | 139475.8281 | 288758.4485 | 26.25 | 74
65696 | 2021-04-05 08:19 | 7.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.612 | μmol/L | 10.5517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.008 | 139624.3176 | 288726.0512 | 26.25 | 74
65706 | 2021-04-05 08:19 | 8.3307 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3402 | μmol/L | 10.5517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.019 | 139745.5898 | 288690.4007 | 26.25 | 74
65716 | 2021-04-05 08:19 | 8.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1727 | μmol/L | 10.5638 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.021 | 139808.4053 | 288680.3726 | 26.25 | 74
65726 | 2021-04-05 08:20 | 8.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9507 | μmol/L | 10.5638 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.03 | 139845.2167 | 288653.8213 | 26.25 | 74
65736 | 2021-04-05 08:20 | 9.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9315 | μmol/L | 10.576 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.026 | 139842.1566 | 288631.867 | 26.25 | 74
65746 | 2021-04-05 08:20 | 9.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9465 | μmol/L | 10.5821 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.023 | 139807.335 | 288597.1204 | 26.25 | 74
65756 | 2021-04-05 08:21 | 9.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0355 | μmol/L | 10.5882 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.017 | 139747.7808 | 288580.4303 | 26.25 | 74
65766 | 2021-04-05 08:21 | 10.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2576 | μmol/L | 10.5882 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.008 | 139677.1606 | 288550.4416 | 26.25 | 74
65776 | 2021-04-05 08:21 | 10.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3619 | μmol/L | 10.6003 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.999 | 139598.3139 | 288533.4729 | 26.25 | 74
65786 | 2021-04-05 08:22 | 10.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5748 | μmol/L | 10.6064 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.988 | 139532.3458 | 288516.5997 | 26.25 | 74
65796 | 2021-04-05 08:22 | 11.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6889 | μmol/L | 10.6125 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.981 | 139442.757 | 288488.5364 | 26.25 | 74
65806 | 2021-04-05 08:22 | 11.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.843 | μmol/L | 10.6246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.97 | 139356.8218 | 288469.6389 | 26.25 | 74
65816 | 2021-04-05 08:23 | 11.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.066 | μmol/L | 10.6246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.961 | 139270.226 | 288434.335 | 26.25 | 74
65826 | 2021-04-05 08:23 | 12.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.1556 | μmol/L | 10.6307 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.955 | 139184.3657 | 288432.7981 | 26.25 | 74
65836 | 2021-04-05 08:23 | 12.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.2605 | μmol/L | 10.6429 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.946 | 139110.8229 | 288396.905 | 26.25 | 74
65846 | 2021-04-05 08:24 | 12.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3751 | μmol/L | 10.6489 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.939 | 139053.3761 | 288372.5469 | 26.25 | 74
65856 | 2021-04-05 08:24 | 13.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4401 | μmol/L | 10.655 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.934 | 139020.9751 | 288365.3733 | 26.25 | 74
65866 | 2021-04-05 08:24 | 13.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4306 | μmol/L | 10.6611 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.932 | 138977.4926 | 288328.9636 | 26.25 | 74
65876 | 2021-04-05 08:25 | 13.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3714 | μmol/L | 10.6672 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.932 | 138953.7454 | 288313.161 | 26.25 | 74
65886 | 2021-04-05 08:25 | 14.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4116 | μmol/L | 10.6732 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.928 | 138922.1814 | 288289.9875 | 26.25 | 74
65896 | 2021-04-05 08:25 | 14.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3619 | μmol/L | 10.6732 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.93 | 138913.0729 | 288261.9327 | 26.25 | 74
65906 | 2021-04-05 08:26 | 14.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3028 | μmol/L | 10.6793 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.93 | 138881.816 | 288239.262 | 26.25 | 74
65916 | 2021-04-05 08:26 | 15.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4021 | μmol/L | 10.6793 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.926 | 138840.6068 | 288202.7039 | 26.25 | 74
65926 | 2021-04-05 08:26 | 15.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.408 | μmol/L | 10.6915 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.921 | 138804.6357 | 288192.3708 | 26.25 | 74
65936 | 2021-04-05 08:27 | 15.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5073 | μmol/L | 10.6915 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.917 | 138767.815 | 288171.4293 | 26.25 | 74
65946 | 2021-04-05 08:27 | 16.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5227 | μmol/L | 10.6975 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 138730.6837 | 288139.8198 | 26.25 | 74
65956 | 2021-04-05 08:27 | 16.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.6813 | μmol/L | 10.6915 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138699.9353 | 288136.9778 | 26.25 | 74
65966 | 2021-04-05 08:28 | 16.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.479 | μmol/L | 10.7097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 138660.5332 | 288098.9839 | 26.25 | 74
65976 | 2021-04-05 08:28 | 17.3307 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.569 | μmol/L | 10.7158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 138624.2404 | 288078.6936 | 26.25 | 74
65986 | 2021-04-05 08:28 | 17.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5347 | μmol/L | 10.7219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.904 | 138614.3679 | 288076.916 | 26.25 | 74
65996 | 2021-04-05 08:29 | 17.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4353 | μmol/L | 10.7219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 138606.0383 | 288042.8836 | 26.25 | 74
66006 | 2021-04-05 08:29 | 18.3306 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4353 | μmol/L | 10.7219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 138595.7272 | 288019.5755 | 26.25 | 74
66016 | 2021-04-05 08:29 | 18.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3265 | μmol/L | 10.7279 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138594.7467 | 287992.5421 | 26.25 | 74
66026 | 2021-04-05 08:30 | 18.9975 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.1339 | μmol/L | 10.7401 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.913 | 138597.3088 | 287974.0036 | 26.25 | 74
66036 | 2021-04-05 08:30 | 19.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0253 | μmol/L | 10.7462 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.915 | 138584.2916 | 287948.1044 | 26.25 | 74
66046 | 2021-04-05 08:30 | 19.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0655 | μmol/L | 10.7522 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 138575.0278 | 287921.8086 | 26.25 | 74
66056 | 2021-04-05 08:31 | 19.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.9663 | μmol/L | 10.7522 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.915 | 138567.0732 | 287908.9537 | 26.25 | 74
66066 | 2021-04-05 08:31 | 20.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.9167 | μmol/L | 10.7522 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.917 | 138560.2211 | 287883.0817 | 26.25 | 74
66076 | 2021-04-05 08:31 | 20.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0313 | μmol/L | 10.7583 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138534.9421 | 287857.3959 | 26.25 | 74
66086 | 2021-04-05 08:32 | 20.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0065 | μmol/L | 10.7583 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 138516.4218 | 287832.9373 | 26.25 | 74
66096 | 2021-04-05 08:32 | 21.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.9134 | μmol/L | 10.7705 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138506.5139 | 287825.6939 | 26.25 | 74
66106 | 2021-04-05 08:32 | 21.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.8638 | μmol/L | 10.7705 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.912 | 138485.8586 | 287789.7167 | 26.25 | 74
66116 | 2021-04-05 08:33 | 21.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.8048 | μmol/L | 10.7766 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.912 | 138463.1884 | 287770.1684 | 26.25 | 74
66126 | 2021-04-05 08:33 | 22.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.8792 | μmol/L | 10.7766 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 138428.9244 | 287739.1632 | 26.25 | 74
66136 | 2021-04-05 08:33 | 22.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.9288 | μmol/L | 10.7766 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.907 | 138413.7239 | 287730.4777 | 26.25 | 74
66146 | 2021-04-05 08:34 | 22.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7862 | μmol/L | 10.7887 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 138398.7891 | 287705.3121 | 26.25 | 74
66156 | 2021-04-05 08:34 | 23.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7707 | μmol/L | 10.7826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 138385.9029 | 287671.6844 | 26.25 | 74
66166 | 2021-04-05 08:34 | 23.6638 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.904 | μmol/L | 10.7766 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 138381.1111 | 287664.5194 | 26.25 | 74
66176 | 2021-04-05 08:35 | 23.9975 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.8544 | μmol/L | 10.7766 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138385.297 | 287638.5878 | 26.25 | 74
66186 | 2021-04-05 08:35 | 24.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7707 | μmol/L | 10.7826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 138371.5756 | 287590.1956 | 26.25 | 74
66196 | 2021-04-05 08:35 | 24.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6964 | μmol/L | 10.7826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 138360.9075 | 287600.1134 | 26.25 | 74
66206 | 2021-04-05 08:36 | 24.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5879 | μmol/L | 10.7887 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.916 | 138363.4604 | 287563.7983 | 26.25 | 74
66216 | 2021-04-05 08:36 | 25.3306 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6281 | μmol/L | 10.7948 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.912 | 138345.2099 | 287551.5619 | 26.25 | 74
66226 | 2021-04-05 08:36 | 25.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6777 | μmol/L | 10.7948 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138305.8911 | 287522.1798 | 26.25 | 74
66236 | 2021-04-05 08:37 | 25.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5786 | μmol/L | 10.7948 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 138290.7732 | 287506.2871 | 26.25 | 74
66246 | 2021-04-05 08:37 | 26.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.659 | μmol/L | 10.8069 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 138256.278 | 287488.9862 | 26.25 | 74
66256 | 2021-04-05 08:37 | 26.6638 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7737 | μmol/L | 10.813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.899 | 138201.0024 | 287474.4764 | 26.25 | 74
66266 | 2021-04-05 08:38 | 26.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7055 | μmol/L | 10.8252 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.897 | 138160.9095 | 287453.2233 | 26.25 | 74
66276 | 2021-04-05 08:38 | 27.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6126 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.896 | 138144.9435 | 287415.0137 | 26.25 | 74
66286 | 2021-04-05 08:38 | 27.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.721 | μmol/L | 10.8313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.894 | 138135.2565 | 287402.6704 | 26.25 | 74
66296 | 2021-04-05 08:39 | 27.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.69 | μmol/L | 10.8191 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.9 | 138145.6592 | 287391.5541 | 26.25 | 74
66306 | 2021-04-05 08:39 | 28.3306 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5754 | μmol/L | 10.813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.907 | 138184.5459 | 287366.9943 | 26.25 | 74
66316 | 2021-04-05 08:39 | 28.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.201 | μmol/L | 10.8313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.915 | 138201.6984 | 287324.3359 | 26.25 | 74
66326 | 2021-04-05 08:40 | 28.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0927 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.917 | 138220.694 | 287331.3099 | 26.25 | 74
66336 | 2021-04-05 08:40 | 29.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1669 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 138201.4048 | 287311.0372 | 26.25 | 74
66346 | 2021-04-05 08:40 | 29.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3247 | μmol/L | 10.8313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 138176.4156 | 287275.5194 | 26.25 | 74
66356 | 2021-04-05 08:41 | 29.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2814 | μmol/L | 10.8434 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.907 | 138152.3594 | 287253.2981 | 26.25 | 74
66366 | 2021-04-05 08:41 | 30.3306 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3154 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 138110.6891 | 287233.6908 | 26.25 | 74
66376 | 2021-04-05 08:41 | 30.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3897 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 138072.2882 | 287203.6093 | 26.25 | 74
66386 | 2021-04-05 08:42 | 30.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5475 | μmol/L | 10.8313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.901 | 138043.3248 | 287192.9534 | 26.25 | 74
66395 | 2021-04-05 08:42 | 31.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7303 | μmol/L | 10.8252 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.896 | 138009.7223 | 287171.2041 | 26.25 | 74