## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65458 | 2021-04-05 08:11 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.2727 | μmol/L | 10.3847 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.805 | 135434.2304 | 283187.2139 | 32.55 | 27.7
65468 | 2021-04-05 08:11 | 0.33359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.3789 | μmol/L | 10.3969 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.796 | 135388.1157 | 283175.9095 | 32.55 | 27.7
65478 | 2021-04-05 08:11 | 0.66731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.4097 | μmol/L | 10.4091 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.79 | 135329.2652 | 283145.2417 | 32.55 | 27.7
65488 | 2021-04-05 08:12 | 1.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6265 | μmol/L | 10.4152 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.779 | 135250.5351 | 283125.5671 | 32.55 | 27.7
65498 | 2021-04-05 08:12 | 1.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6671 | μmol/L | 10.4213 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.775 | 135181.7053 | 283109.4361 | 32.55 | 27.7
65508 | 2021-04-05 08:12 | 1.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.9152 | μmol/L | 10.4396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.758 | 135067.3099 | 283078.5001 | 32.55 | 27.7
65518 | 2021-04-05 08:13 | 2.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.3851 | μmol/L | 10.4457 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.737 | 134917.2695 | 283069.7981 | 32.55 | 27.7
65528 | 2021-04-05 08:13 | 2.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.6439 | μmol/L | 10.4579 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.722 | 134799.1516 | 283040.4341 | 32.55 | 27.7
65538 | 2021-04-05 08:13 | 2.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.7258 | μmol/L | 10.4701 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 134722.5842 | 283033.4461 | 32.55 | 27.7
65548 | 2021-04-05 08:14 | 3.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.6403 | μmol/L | 10.4762 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 134681.2985 | 283014.5289 | 32.55 | 27.7
65558 | 2021-04-05 08:14 | 3.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.6463 | μmol/L | 10.4884 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134674.9982 | 283008.3999 | 32.55 | 27.7
65568 | 2021-04-05 08:14 | 3.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.5957 | μmol/L | 10.4884 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.712 | 134664.2216 | 282985.903 | 32.55 | 27.7
65578 | 2021-04-05 08:15 | 4.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.4597 | μmol/L | 10.4945 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 134642.8135 | 282967.9075 | 32.55 | 27.7
65588 | 2021-04-05 08:15 | 4.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.5765 | μmol/L | 10.5006 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.708 | 134616.7384 | 282964.3115 | 32.55 | 27.7
65598 | 2021-04-05 08:15 | 4.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.5068 | μmol/L | 10.5128 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.706 | 134594.8314 | 282927.4649 | 32.55 | 27.7
65608 | 2021-04-05 08:16 | 5.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.6176 | μmol/L | 10.5067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 134572.8347 | 282913.6151 | 32.55 | 27.7
65618 | 2021-04-05 08:16 | 5.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.4466 | μmol/L | 10.5189 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.706 | 134561.5489 | 282883.5966 | 32.55 | 27.7
65628 | 2021-04-05 08:16 | 5.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.2854 | μmol/L | 10.525 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134548.6153 | 282881.6426 | 32.55 | 27.7
65638 | 2021-04-05 08:17 | 6.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.1905 | μmol/L | 10.5372 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.709 | 134548.9006 | 282849.5096 | 32.55 | 27.7
65648 | 2021-04-05 08:17 | 6.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 298.1051 | μmol/L | 10.5433 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134542.064 | 282855.3921 | 32.55 | 27.7
65658 | 2021-04-05 08:17 | 6.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.7989 | μmol/L | 10.5616 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 134547.019 | 282823.3029 | 32.55 | 27.7
65668 | 2021-04-05 08:18 | 7.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6885 | μmol/L | 10.5677 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.717 | 134571.2158 | 282817.2044 | 32.55 | 27.7
65678 | 2021-04-05 08:18 | 7.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6442 | μmol/L | 10.5799 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 134547.9556 | 282796.2362 | 32.55 | 27.7
65688 | 2021-04-05 08:18 | 7.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6442 | μmol/L | 10.5799 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 134519.8525 | 282775.4784 | 32.55 | 27.7
65698 | 2021-04-05 08:19 | 8.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5496 | μmol/L | 10.5921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.713 | 134490.5786 | 282770.9152 | 32.55 | 27.7
65708 | 2021-04-05 08:19 | 8.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5749 | μmol/L | 10.5921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.712 | 134463.9514 | 282751.0851 | 32.55 | 27.7
65718 | 2021-04-05 08:19 | 8.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5906 | μmol/L | 10.5982 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.709 | 134445.8579 | 282736.5615 | 32.55 | 27.7
65728 | 2021-04-05 08:20 | 9 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.4456 | μmol/L | 10.6104 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134420.9116 | 282716.4345 | 32.55 | 27.7
65738 | 2021-04-05 08:20 | 9.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.3606 | μmol/L | 10.6165 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.711 | 134411.7547 | 282710.7489 | 32.55 | 27.7
65748 | 2021-04-05 08:20 | 9.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.4519 | μmol/L | 10.6226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.705 | 134369.7403 | 282698.5745 | 32.55 | 27.7
65758 | 2021-04-05 08:21 | 10.0008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6127 | μmol/L | 10.6165 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.701 | 134316.2799 | 282673.4745 | 32.55 | 27.7
65768 | 2021-04-05 08:21 | 10.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6284 | μmol/L | 10.6226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.698 | 134270.9989 | 282674.7339 | 32.55 | 27.7
65778 | 2021-04-05 08:21 | 10.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6695 | μmol/L | 10.6287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 134243.0217 | 282650.3184 | 32.55 | 27.7
65788 | 2021-04-05 08:22 | 11.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6853 | μmol/L | 10.6348 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 134218.08 | 282641.3328 | 32.55 | 27.7
65798 | 2021-04-05 08:22 | 11.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.6254 | μmol/L | 10.6409 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 134197.8399 | 282620.2298 | 32.55 | 27.7
65808 | 2021-04-05 08:22 | 11.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5562 | μmol/L | 10.6531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.689 | 134174.0082 | 282607.1158 | 32.55 | 27.7
65818 | 2021-04-05 08:23 | 12.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5215 | μmol/L | 10.6592 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.688 | 134142.6869 | 282597.8947 | 32.55 | 27.7
65828 | 2021-04-05 08:23 | 12.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.5468 | μmol/L | 10.6592 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.687 | 134134.0803 | 282577.2859 | 32.55 | 27.7
65838 | 2021-04-05 08:23 | 12.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.3263 | μmol/L | 10.6714 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 134130.8259 | 282562.9872 | 32.55 | 27.7
65848 | 2021-04-05 08:24 | 13.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 297.191 | μmol/L | 10.6775 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 134152.7712 | 282549.5444 | 32.55 | 27.7
65858 | 2021-04-05 08:24 | 13.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.955 | μmol/L | 10.6836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.701 | 134162.4093 | 282536.4921 | 32.55 | 27.7
65868 | 2021-04-05 08:24 | 13.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.9047 | μmol/L | 10.6836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.703 | 134181.3878 | 282516.4068 | 32.55 | 27.7
65878 | 2021-04-05 08:25 | 14 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.6596 | μmol/L | 10.6958 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.708 | 134180.2317 | 282500.948 | 32.55 | 27.7
65888 | 2021-04-05 08:25 | 14.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.7695 | μmol/L | 10.6897 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.706 | 134170.3937 | 282497.3391 | 32.55 | 27.7
65898 | 2021-04-05 08:25 | 14.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.6503 | μmol/L | 10.7019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.706 | 134148.3913 | 282477.1973 | 32.55 | 27.7
65908 | 2021-04-05 08:26 | 15.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.7006 | μmol/L | 10.7019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 134139.6944 | 282465.8122 | 32.55 | 27.7
65918 | 2021-04-05 08:26 | 15.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.5404 | μmol/L | 10.708 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.708 | 134136.7408 | 282451.7839 | 32.55 | 27.7
65928 | 2021-04-05 08:26 | 15.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.4902 | μmol/L | 10.708 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 134131.2373 | 282434.5513 | 32.55 | 27.7
65938 | 2021-04-05 08:27 | 16.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.3302 | μmol/L | 10.7141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 134137.6363 | 282400.9758 | 32.55 | 27.7
65948 | 2021-04-05 08:27 | 16.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.28 | μmol/L | 10.7141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 134145.2178 | 282403.3703 | 32.55 | 27.7
65958 | 2021-04-05 08:27 | 16.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 296.1452 | μmol/L | 10.7202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.719 | 134157.2335 | 282379.7126 | 32.55 | 27.7
65968 | 2021-04-05 08:28 | 17.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.9947 | μmol/L | 10.7202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.725 | 134182.8338 | 282378.7357 | 32.55 | 27.7
65978 | 2021-04-05 08:28 | 17.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7756 | μmol/L | 10.7324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.729 | 134214.4804 | 282364.3022 | 32.55 | 27.7
65988 | 2021-04-05 08:28 | 17.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7004 | μmol/L | 10.7324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.732 | 134228.7944 | 282339.2707 | 32.55 | 27.7
65998 | 2021-04-05 08:29 | 18.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4501 | μmol/L | 10.7324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.742 | 134255.1539 | 282337.3664 | 32.55 | 27.7
66008 | 2021-04-05 08:29 | 18.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2408 | μmol/L | 10.7385 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 134277.488 | 282330.8494 | 32.55 | 27.7
66018 | 2021-04-05 08:29 | 18.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1065 | μmol/L | 10.7447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.751 | 134291.8084 | 282304.527 | 32.55 | 27.7
66028 | 2021-04-05 08:30 | 19.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.0566 | μmol/L | 10.7447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.753 | 134288.9755 | 282293.0345 | 32.55 | 27.7
66038 | 2021-04-05 08:30 | 19.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9381 | μmol/L | 10.7569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.753 | 134280.8284 | 282276.6415 | 32.55 | 27.7
66048 | 2021-04-05 08:30 | 19.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9474 | μmol/L | 10.7508 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.755 | 134271.4024 | 282255.6138 | 32.55 | 27.7
66058 | 2021-04-05 08:31 | 20 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9131 | μmol/L | 10.7569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.754 | 134270.5452 | 282254.1504 | 32.55 | 27.7
66068 | 2021-04-05 08:31 | 20.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8882 | μmol/L | 10.7569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.755 | 134254.7985 | 282246.7811 | 32.55 | 27.7
66078 | 2021-04-05 08:31 | 20.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.779 | μmol/L | 10.763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 134250.3334 | 282226.0521 | 32.55 | 27.7
66088 | 2021-04-05 08:32 | 21.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.779 | μmol/L | 10.763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 134244.584 | 282217.8261 | 32.55 | 27.7
66098 | 2021-04-05 08:32 | 21.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7291 | μmol/L | 10.763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.759 | 134233.6993 | 282210.8613 | 32.55 | 27.7
66108 | 2021-04-05 08:32 | 21.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.804 | μmol/L | 10.763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 134213.5846 | 282176.4562 | 32.55 | 27.7
66118 | 2021-04-05 08:33 | 22.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.67 | μmol/L | 10.7691 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.759 | 134208.4596 | 282180.5651 | 32.55 | 27.7
66128 | 2021-04-05 08:33 | 22.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.67 | μmol/L | 10.7691 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.759 | 134206.4392 | 282158.0694 | 32.55 | 27.7
66138 | 2021-04-05 08:33 | 22.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5702 | μmol/L | 10.7691 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.763 | 134187.2251 | 282137.6915 | 32.55 | 27.7
66148 | 2021-04-05 08:34 | 23.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4862 | μmol/L | 10.7752 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.764 | 134176.0797 | 282131.9897 | 32.55 | 27.7
66158 | 2021-04-05 08:34 | 23.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6358 | μmol/L | 10.7752 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.758 | 134158.5023 | 282119.5871 | 32.55 | 27.7
66168 | 2021-04-05 08:34 | 23.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5766 | μmol/L | 10.7813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.758 | 134141.5482 | 282098.8231 | 32.55 | 27.7
66178 | 2021-04-05 08:35 | 24.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5425 | μmol/L | 10.7874 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 134113.0461 | 282092.8101 | 32.55 | 27.7
66188 | 2021-04-05 08:35 | 24.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5674 | μmol/L | 10.7874 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 134097.6835 | 282079.4906 | 32.55 | 27.7
66198 | 2021-04-05 08:35 | 24.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5175 | μmol/L | 10.7874 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.758 | 134072.4741 | 282046.1395 | 32.55 | 27.7
66208 | 2021-04-05 08:36 | 25 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.524 | μmol/L | 10.7996 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.753 | 134049.9492 | 282056.821 | 32.55 | 27.7
66218 | 2021-04-05 08:36 | 25.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.415 | μmol/L | 10.8057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.755 | 134025.2586 | 282036.748 | 32.55 | 27.7
66228 | 2021-04-05 08:36 | 25.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4058 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.753 | 134014.1106 | 282029.1248 | 32.55 | 27.7
66238 | 2021-04-05 08:37 | 26.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4898 | μmol/L | 10.8057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.752 | 133990.2501 | 282003.0265 | 32.55 | 27.7
66248 | 2021-04-05 08:37 | 26.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4308 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.752 | 133962.4007 | 282004.437 | 32.55 | 27.7
66258 | 2021-04-05 08:37 | 26.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5305 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 133942.7324 | 281986.6465 | 32.55 | 27.7
66268 | 2021-04-05 08:38 | 27.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5896 | μmol/L | 10.8057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 133912.2053 | 281959.0858 | 32.55 | 27.7
66278 | 2021-04-05 08:38 | 27.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4373 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.747 | 133904.9022 | 281973.7917 | 32.55 | 27.7
66288 | 2021-04-05 08:38 | 27.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4714 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 133875.9109 | 281955.6621 | 32.55 | 27.7
66298 | 2021-04-05 08:39 | 28.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5711 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.744 | 133856.5917 | 281925.9926 | 32.55 | 27.7
66308 | 2021-04-05 08:39 | 28.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5462 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.745 | 133848.4689 | 281915.2781 | 32.55 | 27.7
66318 | 2021-04-05 08:39 | 28.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4465 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.749 | 133833.3304 | 281898.3648 | 32.55 | 27.7
66328 | 2021-04-05 08:40 | 29.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4806 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.75 | 133820.9397 | 281893.2733 | 32.55 | 27.7
66338 | 2021-04-05 08:40 | 29.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5462 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.745 | 133809.0825 | 281883.9938 | 32.55 | 27.7
66348 | 2021-04-05 08:40 | 29.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5305 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 133807.1869 | 281875.0888 | 32.55 | 27.7
66358 | 2021-04-05 08:41 | 30 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1881 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 133809.125 | 281853.0952 | 32.55 | 27.7
66368 | 2021-04-05 08:41 | 30.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.213 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 133823.8344 | 281854.0372 | 32.55 | 27.7
66378 | 2021-04-05 08:41 | 30.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1881 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 133823.3743 | 281834.2801 | 32.55 | 27.7
66388 | 2021-04-05 08:42 | 31.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.989 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.765 | 133824.2319 | 281814.9567 | 32.55 | 27.7
66396 | 2021-04-05 08:42 | 31.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9051 | μmol/L | 10.8301 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.766 | 133827.09 | 281813.4357 | 32.55 | 27.7