## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66400 | 2021-04-05 09:23 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.0132 | μmol/L | 10.0804 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 112175.1943 | 311893.5411 | 28.7 | 67.6
66410 | 2021-04-05 09:23 | 0.33648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.0114 | μmol/L | 10.0986 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.855 | 112139.7782 | 311864.1855 | 28.7 | 67.6
66419 | 2021-04-05 09:23 | 0.67005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.9843 | μmol/L | 10.1168 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.849 | 112242.6477 | 311844.8032 | 28.7 | 67.6
66429 | 2021-04-05 09:24 | 1.003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.9737 | μmol/L | 10.1411 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.84 | 112161.8179 | 311820.4225 | 28.7 | 67.6
66438 | 2021-04-05 09:24 | 1.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.066 | μmol/L | 10.1471 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.834 | 112103.8546 | 311791.4665 | 28.7 | 67.6
66447 | 2021-04-05 09:24 | 1.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.1151 | μmol/L | 10.1653 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.825 | 112066.0263 | 311769.2425 | 28.7 | 67.6
66456 | 2021-04-05 09:25 | 2.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.1479 | μmol/L | 10.1775 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.819 | 112026.8385 | 311754.0811 | 28.7 | 67.6
66465 | 2021-04-05 09:25 | 2.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.0198 | μmol/L | 10.1957 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.817 | 111981.2401 | 311716.6467 | 28.7 | 67.6
66474 | 2021-04-05 09:25 | 2.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.002 | μmol/L | 10.2078 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.813 | 111949.9825 | 311690.9246 | 28.7 | 67.6
66483 | 2021-04-05 09:26 | 3.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 296.0172 | μmol/L | 10.2321 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.803 | 111881.4705 | 311666.1432 | 28.7 | 67.6
66492 | 2021-04-05 09:26 | 3.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.8058 | μmol/L | 10.2381 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.809 | 111863.6659 | 311615.8232 | 28.7 | 67.6
66501 | 2021-04-05 09:26 | 3.6696 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.8299 | μmol/L | 10.2563 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.801 | 111829.402 | 311592.8934 | 28.7 | 67.6
66510 | 2021-04-05 09:27 | 4.0031 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.8211 | μmol/L | 10.2624 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.799 | 111805.4163 | 311579.4902 | 28.7 | 67.6
66519 | 2021-04-05 09:27 | 4.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.7694 | μmol/L | 10.2806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.794 | 111775.1258 | 311547.0118 | 28.7 | 67.6
66528 | 2021-04-05 09:27 | 4.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.6253 | μmol/L | 10.2927 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.795 | 111756.4254 | 311525.9441 | 28.7 | 67.6
66537 | 2021-04-05 09:28 | 5.003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.8102 | μmol/L | 10.3049 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.783 | 111711.6401 | 311501.4158 | 28.7 | 67.6
66546 | 2021-04-05 09:28 | 5.3365 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.4715 | μmol/L | 10.3291 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.787 | 111671.0295 | 311470.3988 | 28.7 | 67.6
66555 | 2021-04-05 09:28 | 5.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.5474 | μmol/L | 10.3291 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.784 | 111647.4621 | 311444.1021 | 28.7 | 67.6
66564 | 2021-04-05 09:29 | 6.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.5806 | μmol/L | 10.3413 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.778 | 111614.1661 | 311427.486 | 28.7 | 67.6
66573 | 2021-04-05 09:29 | 6.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.4533 | μmol/L | 10.3595 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.776 | 111592.6471 | 311407.4146 | 28.7 | 67.6
66582 | 2021-04-05 09:29 | 6.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.4446 | μmol/L | 10.3656 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.774 | 111554.816 | 311380.2586 | 28.7 | 67.6
66591 | 2021-04-05 09:30 | 7.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.5624 | μmol/L | 10.3716 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.767 | 111529.8325 | 311351.2794 | 28.7 | 67.6
66600 | 2021-04-05 09:30 | 7.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.2582 | μmol/L | 10.3898 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.772 | 111504.7095 | 311347.0234 | 28.7 | 67.6
66609 | 2021-04-05 09:30 | 7.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.3673 | μmol/L | 10.402 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.763 | 111482.735 | 311300.6193 | 28.7 | 67.6
66618 | 2021-04-05 09:31 | 8.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.2323 | μmol/L | 10.408 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.766 | 111460.6214 | 311287.0446 | 28.7 | 67.6
66627 | 2021-04-05 09:31 | 8.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.2064 | μmol/L | 10.4262 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.76 | 111437.5049 | 311262.4303 | 28.7 | 67.6
66636 | 2021-04-05 09:31 | 8.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.1639 | μmol/L | 10.4384 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.757 | 111417.1852 | 311250.7257 | 28.7 | 67.6
66645 | 2021-04-05 09:32 | 9.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.1301 | μmol/L | 10.4444 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.756 | 111381.1887 | 311205.427 | 28.7 | 67.6
66654 | 2021-04-05 09:32 | 9.3364 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.0876 | μmol/L | 10.4566 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.753 | 111354.1845 | 311210.5753 | 28.7 | 67.6
66663 | 2021-04-05 09:32 | 9.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.0958 | μmol/L | 10.4687 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.748 | 111311.716 | 311194.4077 | 28.7 | 67.6
66672 | 2021-04-05 09:33 | 10.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.2137 | μmol/L | 10.4748 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.741 | 111293.0151 | 311165.2073 | 28.7 | 67.6
66681 | 2021-04-05 09:33 | 10.3363 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 295.1546 | μmol/L | 10.4808 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.741 | 111277.8898 | 311145.5445 | 28.7 | 67.6
66690 | 2021-04-05 09:33 | 10.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.851 | μmol/L | 10.499 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.746 | 111250.2533 | 311118.137 | 28.7 | 67.6
66699 | 2021-04-05 09:34 | 11.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.8592 | μmol/L | 10.5112 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.741 | 111219.2372 | 311110.6396 | 28.7 | 67.6
66708 | 2021-04-05 09:34 | 11.3364 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.8507 | μmol/L | 10.5172 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.739 | 111199.9002 | 311067.6632 | 28.7 | 67.6
66717 | 2021-04-05 09:34 | 11.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.6485 | μmol/L | 10.5355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.74 | 111194.9457 | 311055.7785 | 28.7 | 67.6
66726 | 2021-04-05 09:35 | 12.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.8758 | μmol/L | 10.5355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.731 | 111163.9611 | 311035.1248 | 28.7 | 67.6
66735 | 2021-04-05 09:35 | 12.3363 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.6232 | μmol/L | 10.5537 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.734 | 111136.4923 | 311001.8016 | 28.7 | 67.6
66744 | 2021-04-05 09:35 | 12.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.6315 | μmol/L | 10.5658 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.729 | 111120.5295 | 310995.9135 | 28.7 | 67.6
66753 | 2021-04-05 09:36 | 13.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.7325 | μmol/L | 10.5658 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.725 | 111079.862 | 310959.7304 | 28.7 | 67.6
66762 | 2021-04-05 09:36 | 13.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.7999 | μmol/L | 10.5719 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.72 | 111052.4345 | 310943.8693 | 28.7 | 67.6
66771 | 2021-04-05 09:36 | 13.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.7325 | μmol/L | 10.584 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.718 | 111034.8099 | 310917.7664 | 28.7 | 67.6
66780 | 2021-04-05 09:37 | 14.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.7494 | μmol/L | 10.5901 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 111022.2734 | 310916.5029 | 28.7 | 67.6
66789 | 2021-04-05 09:37 | 14.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.64 | μmol/L | 10.5961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.717 | 110993.2215 | 310889.389 | 28.7 | 67.6
66798 | 2021-04-05 09:37 | 14.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.4381 | μmol/L | 10.6143 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.718 | 110978.3583 | 310857.1309 | 28.7 | 67.6
66807 | 2021-04-05 09:38 | 15.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.455 | μmol/L | 10.6204 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 110973.4848 | 310842.1229 | 28.7 | 67.6
66816 | 2021-04-05 09:38 | 15.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.4719 | μmol/L | 10.6265 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.712 | 110959.797 | 310825.3227 | 28.7 | 67.6
66825 | 2021-04-05 09:38 | 15.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.3373 | μmol/L | 10.6325 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.715 | 110944.9649 | 310802.6939 | 28.7 | 67.6
66834 | 2021-04-05 09:39 | 16.003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.2533 | μmol/L | 10.6386 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 110935.1112 | 310787.401 | 28.7 | 67.6
66843 | 2021-04-05 09:39 | 16.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1527 | μmol/L | 10.6568 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.713 | 110909.7 | 310764.8792 | 28.7 | 67.6
66852 | 2021-04-05 09:39 | 16.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1696 | μmol/L | 10.6629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.71 | 110896.1614 | 310733.3274 | 28.7 | 67.6
66861 | 2021-04-05 09:40 | 17.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1948 | μmol/L | 10.6629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.709 | 110878.4641 | 310721.5214 | 28.7 | 67.6
66870 | 2021-04-05 09:40 | 17.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1361 | μmol/L | 10.6689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.709 | 110861.8713 | 310703.6886 | 28.7 | 67.6
66879 | 2021-04-05 09:40 | 17.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1447 | μmol/L | 10.6811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 110829.3483 | 310685.8128 | 28.7 | 67.6
66888 | 2021-04-05 09:41 | 18.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1195 | μmol/L | 10.6811 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.705 | 110809.3105 | 310658.9323 | 28.7 | 67.6
66897 | 2021-04-05 09:41 | 18.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.086 | μmol/L | 10.6872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 110799.9524 | 310640.9722 | 28.7 | 67.6
66906 | 2021-04-05 09:41 | 18.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1534 | μmol/L | 10.6932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.699 | 110758.4138 | 310604.2986 | 28.7 | 67.6
66915 | 2021-04-05 09:42 | 19.003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1621 | μmol/L | 10.7054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 110743.5245 | 310603.581 | 28.7 | 67.6
66924 | 2021-04-05 09:42 | 19.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.1116 | μmol/L | 10.7054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.696 | 110719.9507 | 310567.3253 | 28.7 | 67.6
66933 | 2021-04-05 09:42 | 19.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.0782 | μmol/L | 10.7114 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 110708.3927 | 310557.5412 | 28.7 | 67.6
66942 | 2021-04-05 09:43 | 20.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 294.179 | μmol/L | 10.7114 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 110681.2603 | 310528.93 | 28.7 | 67.6
66951 | 2021-04-05 09:43 | 20.3363 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.9608 | μmol/L | 10.7236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 110671.9374 | 310509.8368 | 28.7 | 67.6
66960 | 2021-04-05 09:43 | 20.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.9778 | μmol/L | 10.7296 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 110642.2455 | 310454.7348 | 28.7 | 67.6
66969 | 2021-04-05 09:44 | 21.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.9696 | μmol/L | 10.7357 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.69 | 110632.5486 | 310449.49 | 28.7 | 67.6
66978 | 2021-04-05 09:44 | 21.3365 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.785 | μmol/L | 10.7418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 110620.8943 | 310421.4606 | 28.7 | 67.6
66987 | 2021-04-05 09:44 | 21.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.8858 | μmol/L | 10.7418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 110612.1607 | 310394.636 | 28.7 | 67.6
66996 | 2021-04-05 09:45 | 22.0029 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.9362 | μmol/L | 10.7418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.689 | 110604.1899 | 310373.7944 | 28.7 | 67.6
67005 | 2021-04-05 09:45 | 22.3365 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.6848 | μmol/L | 10.76 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 110592.4735 | 310343.4936 | 28.7 | 67.6
67014 | 2021-04-05 09:45 | 22.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.7352 | μmol/L | 10.76 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.69 | 110583.1603 | 310318.5343 | 28.7 | 67.6
67023 | 2021-04-05 09:46 | 23.0029 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.467 | μmol/L | 10.7721 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.696 | 110572.5952 | 310291.1302 | 28.7 | 67.6
67032 | 2021-04-05 09:46 | 23.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.5174 | μmol/L | 10.7721 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 110558.0209 | 310269.4233 | 28.7 | 67.6
67041 | 2021-04-05 09:46 | 23.6696 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.4337 | μmol/L | 10.7782 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 110548.1691 | 310239.6662 | 28.7 | 67.6
67050 | 2021-04-05 09:47 | 24.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.5092 | μmol/L | 10.7782 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 110516.245 | 310203.6023 | 28.7 | 67.6
67059 | 2021-04-05 09:47 | 24.3364 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.4426 | μmol/L | 10.7903 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.69 | 110502.7622 | 310195.268 | 28.7 | 67.6
67068 | 2021-04-05 09:47 | 24.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.4092 | μmol/L | 10.7964 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.689 | 110477.164 | 310157.8523 | 28.7 | 67.6
67077 | 2021-04-05 09:48 | 25.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.3508 | μmol/L | 10.8024 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.689 | 110462.4881 | 310132.4264 | 28.7 | 67.6
67086 | 2021-04-05 09:48 | 25.3363 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.3678 | μmol/L | 10.8085 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 110442.2876 | 310103.123 | 28.7 | 67.6
67095 | 2021-04-05 09:48 | 25.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.4433 | μmol/L | 10.8085 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.683 | 110425.8378 | 310076.5231 | 28.7 | 67.6
67104 | 2021-04-05 09:49 | 26.0029 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.3012 | μmol/L | 10.8207 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.684 | 110407.2633 | 310060.5138 | 28.7 | 67.6
67113 | 2021-04-05 09:49 | 26.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1422 | μmol/L | 10.8267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.688 | 110389.7251 | 310021.7943 | 28.7 | 67.6
67122 | 2021-04-05 09:49 | 26.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.2931 | μmol/L | 10.8267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.682 | 110364.847 | 309988.6531 | 28.7 | 67.6
67131 | 2021-04-05 09:50 | 27.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.268 | μmol/L | 10.8267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.683 | 110344.4273 | 309948.8543 | 28.7 | 67.6
67140 | 2021-04-05 09:50 | 27.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1593 | μmol/L | 10.8328 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.685 | 110333.269 | 309931.0901 | 28.7 | 67.6
67149 | 2021-04-05 09:50 | 27.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1763 | μmol/L | 10.8389 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.682 | 110304.2637 | 309899.0826 | 28.7 | 67.6
67158 | 2021-04-05 09:51 | 28.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.0847 | μmol/L | 10.851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.681 | 110275.0897 | 309868.5182 | 28.7 | 67.6
67167 | 2021-04-05 09:51 | 28.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.2437 | μmol/L | 10.8449 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 110259.6944 | 309838.3113 | 28.7 | 67.6
67176 | 2021-04-05 09:51 | 28.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.135 | μmol/L | 10.851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.679 | 110238.4203 | 309816.8076 | 28.7 | 67.6
67185 | 2021-04-05 09:52 | 29.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.0686 | μmol/L | 10.8631 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 110236.9106 | 309799.1832 | 28.7 | 67.6
67194 | 2021-04-05 09:52 | 29.3364 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1018 | μmol/L | 10.8571 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.678 | 110207.8396 | 309772.6774 | 28.7 | 67.6
67203 | 2021-04-05 09:52 | 29.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1018 | μmol/L | 10.8571 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.678 | 110208.7537 | 309749.0743 | 28.7 | 67.6
67212 | 2021-04-05 09:53 | 30.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.2185 | μmol/L | 10.8449 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.678 | 110201.6979 | 309721.1217 | 28.7 | 67.6
67221 | 2021-04-05 09:53 | 30.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1853 | μmol/L | 10.851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 110170.2968 | 309696.4316 | 28.7 | 67.6
67230 | 2021-04-05 09:53 | 30.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.1269 | μmol/L | 10.8571 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 110160.1666 | 309682.2698 | 28.7 | 67.6
67239 | 2021-04-05 09:54 | 31.0031 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 293.0354 | μmol/L | 10.8692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.676 | 110143.2326 | 309656.759 | 28.7 | 67.6
67248 | 2021-04-05 09:54 | 31.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.9268 | μmol/L | 10.8753 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.678 | 110142.5516 | 309637.7155 | 28.7 | 67.6
67257 | 2021-04-05 09:54 | 31.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.96 | μmol/L | 10.8692 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.679 | 110132.6492 | 309603.3922 | 28.7 | 67.6
67266 | 2021-04-05 09:55 | 32.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.8183 | μmol/L | 10.8813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.68 | 110122.5298 | 309578.8288 | 28.7 | 67.6
67275 | 2021-04-05 09:55 | 32.3363 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.7932 | μmol/L | 10.8813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.681 | 110127.6021 | 309555.0496 | 28.7 | 67.6
67284 | 2021-04-05 09:55 | 32.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.6094 | μmol/L | 10.8874 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 110138.9462 | 309533.0454 | 28.7 | 67.6
67293 | 2021-04-05 09:56 | 33.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.492 | μmol/L | 10.8813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.693 | 110135.0773 | 309504.7891 | 28.7 | 67.6
67302 | 2021-04-05 09:56 | 33.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.484 | μmol/L | 10.8874 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 110137.5407 | 309469.3746 | 28.7 | 67.6
67311 | 2021-04-05 09:56 | 33.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.4418 | μmol/L | 10.8813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 110131.0127 | 309447.878 | 28.7 | 67.6
67320 | 2021-04-05 09:57 | 34.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.1751 | μmol/L | 10.8935 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.701 | 110134.5059 | 309447.4521 | 28.7 | 67.6
67329 | 2021-04-05 09:57 | 34.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.1671 | μmol/L | 10.8995 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.699 | 110132.3005 | 309418.3548 | 28.7 | 67.6
67338 | 2021-04-05 09:57 | 34.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.1751 | μmol/L | 10.8935 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.701 | 110149.4961 | 309398.0963 | 28.7 | 67.6
67347 | 2021-04-05 09:58 | 35.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 292.0168 | μmol/L | 10.8995 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.705 | 110140.2137 | 309376.4785 | 28.7 | 67.6
67356 | 2021-04-05 09:58 | 35.3365 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.8586 | μmol/L | 10.9056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.709 | 110136.5839 | 309329.9441 | 28.7 | 67.6
67365 | 2021-04-05 09:58 | 35.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.9087 | μmol/L | 10.9056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.707 | 110149.8299 | 309321.2422 | 28.7 | 67.6
67374 | 2021-04-05 09:59 | 36.003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.6755 | μmol/L | 10.9117 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 110149.6398 | 309309.1388 | 28.7 | 67.6
67383 | 2021-04-05 09:59 | 36.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.6255 | μmol/L | 10.9117 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 110145.6237 | 309278.7044 | 28.7 | 67.6
67392 | 2021-04-05 09:59 | 36.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.5675 | μmol/L | 10.9177 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 110153.5142 | 309256.0748 | 28.7 | 67.6
67401 | 2021-04-05 10:00 | 37.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.5425 | μmol/L | 10.9177 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.717 | 110153.1517 | 309245.4868 | 28.7 | 67.6
67410 | 2021-04-05 10:00 | 37.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.5256 | μmol/L | 10.9117 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.72 | 110150.9285 | 309228.7901 | 28.7 | 67.6
67419 | 2021-04-05 10:00 | 37.6697 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.4426 | μmol/L | 10.9177 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.721 | 110117.5451 | 309209.6026 | 28.7 | 67.6
67428 | 2021-04-05 10:01 | 38.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 291.3177 | μmol/L | 10.9177 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.726 | 110098.4173 | 309184.2412 | 28.7 | 67.6