## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66402 | 2021-04-05 09:23 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.1633 | μmol/L | 10.0218 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.506 | 149618.6262 | 284838.8223 | 36.4 | 83.1
66411 | 2021-04-05 09:23 | 0.33306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.2082 | μmol/L | 10.0401 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 149569.7169 | 284830.0497 | 36.4 | 83.1
66420 | 2021-04-05 09:23 | 0.66667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.2938 | μmol/L | 10.0523 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.489 | 149350.7815 | 284808.9932 | 36.4 | 83.1
66430 | 2021-04-05 09:24 | 1.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.2151 | μmol/L | 10.0768 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.482 | 149283.6343 | 284790.6968 | 36.4 | 83.1
66439 | 2021-04-05 09:24 | 1.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.3413 | μmol/L | 10.0829 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.475 | 149221.5 | 284744.9054 | 36.4 | 83.1
66448 | 2021-04-05 09:24 | 1.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.3437 | μmol/L | 10.0951 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.47 | 149167.4974 | 284744.7915 | 36.4 | 83.1
66457 | 2021-04-05 09:25 | 2.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.1945 | μmol/L | 10.1134 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.468 | 149122.1305 | 284719.4139 | 36.4 | 83.1
66466 | 2021-04-05 09:25 | 2.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.197 | μmol/L | 10.1256 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.463 | 149080.2188 | 284686.5277 | 36.4 | 83.1
66475 | 2021-04-05 09:25 | 2.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.2273 | μmol/L | 10.1379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.457 | 149020.0305 | 284669.347 | 36.4 | 83.1
66484 | 2021-04-05 09:26 | 2.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.1339 | μmol/L | 10.1562 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.453 | 148968.0617 | 284635.022 | 36.4 | 83.1
66493 | 2021-04-05 09:26 | 3.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0532 | μmol/L | 10.1684 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.451 | 148916.9737 | 284622.4277 | 36.4 | 83.1
66502 | 2021-04-05 09:26 | 3.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.1267 | μmol/L | 10.1867 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.441 | 148874.4998 | 284596.2794 | 36.4 | 83.1
66511 | 2021-04-05 09:27 | 3.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0738 | μmol/L | 10.199 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.438 | 148828.7418 | 284576.3901 | 36.4 | 83.1
66520 | 2021-04-05 09:27 | 4.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.9251 | μmol/L | 10.2173 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 148784.5018 | 284540.1238 | 36.4 | 83.1
66529 | 2021-04-05 09:27 | 4.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0113 | μmol/L | 10.2295 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.428 | 148726.2432 | 284533.1714 | 36.4 | 83.1
66538 | 2021-04-05 09:28 | 4.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0822 | μmol/L | 10.2356 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.423 | 148662.8268 | 284511.1551 | 36.4 | 83.1
66547 | 2021-04-05 09:28 | 5.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0017 | μmol/L | 10.2478 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.421 | 148615.5381 | 284479.399 | 36.4 | 83.1
66556 | 2021-04-05 09:28 | 5.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.017 | μmol/L | 10.2539 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 148574.7566 | 284466.9903 | 36.4 | 83.1
66565 | 2021-04-05 09:29 | 5.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0076 | μmol/L | 10.2723 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 148513.9978 | 284451.8678 | 36.4 | 83.1
66574 | 2021-04-05 09:29 | 6.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0508 | μmol/L | 10.2784 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.407 | 148471.2913 | 284434.3358 | 36.4 | 83.1
66583 | 2021-04-05 09:29 | 6.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.1218 | μmol/L | 10.2845 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.402 | 148427.8726 | 284407.5936 | 36.4 | 83.1
66592 | 2021-04-05 09:30 | 7.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.9456 | μmol/L | 10.3028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.401 | 148394.4936 | 284391.0884 | 36.4 | 83.1
66601 | 2021-04-05 09:30 | 7.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0167 | μmol/L | 10.3089 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 148352.7042 | 284366.8067 | 36.4 | 83.1
66610 | 2021-04-05 09:30 | 7.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 328.0198 | μmol/L | 10.3211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 148309.518 | 284349.6767 | 36.4 | 83.1
66619 | 2021-04-05 09:31 | 8.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8161 | μmol/L | 10.3395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 148278.2615 | 284339.5485 | 36.4 | 83.1
66628 | 2021-04-05 09:31 | 8.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.9829 | μmol/L | 10.3395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.385 | 148244.0661 | 284314.7947 | 36.4 | 83.1
66637 | 2021-04-05 09:31 | 8.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8471 | μmol/L | 10.3517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.385 | 148206.2834 | 284294.5203 | 36.4 | 83.1
66646 | 2021-04-05 09:32 | 9.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8781 | μmol/L | 10.3639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.379 | 148159.7588 | 284277.2391 | 36.4 | 83.1
66655 | 2021-04-05 09:32 | 9.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7547 | μmol/L | 10.37 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.381 | 148137.8858 | 284278.1186 | 36.4 | 83.1
66664 | 2021-04-05 09:32 | 9.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.6623 | μmol/L | 10.3883 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.377 | 148101.2267 | 284247.3739 | 36.4 | 83.1
66673 | 2021-04-05 09:33 | 10 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7457 | μmol/L | 10.3883 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.374 | 148072.4485 | 284229.4119 | 36.4 | 83.1
66682 | 2021-04-05 09:33 | 10.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7769 | μmol/L | 10.4006 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.368 | 148031.3281 | 284207.085 | 36.4 | 83.1
66691 | 2021-04-05 09:33 | 10.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.6691 | μmol/L | 10.4128 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 147991.3844 | 284206.7782 | 36.4 | 83.1
66700 | 2021-04-05 09:34 | 11.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7125 | μmol/L | 10.4189 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.363 | 147960.7626 | 284188.8457 | 36.4 | 83.1
66709 | 2021-04-05 09:34 | 11.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7837 | μmol/L | 10.425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.358 | 147919.9619 | 284166.754 | 36.4 | 83.1
66718 | 2021-04-05 09:34 | 11.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7316 | μmol/L | 10.4372 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 147892.393 | 284149.8292 | 36.4 | 83.1
66727 | 2021-04-05 09:35 | 12.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.6917 | μmol/L | 10.4433 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 147834.9867 | 284129.5993 | 36.4 | 83.1
66736 | 2021-04-05 09:35 | 12.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.6952 | μmol/L | 10.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.349 | 147796.1455 | 284126.781 | 36.4 | 83.1
66745 | 2021-04-05 09:35 | 12.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8065 | μmol/L | 10.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 147756.4608 | 284104.35 | 36.4 | 83.1
66754 | 2021-04-05 09:36 | 13 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8101 | μmol/L | 10.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.34 | 147730.5385 | 284093.9272 | 36.4 | 83.1
66763 | 2021-04-05 09:36 | 13.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.758 | μmol/L | 10.48 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.337 | 147695.1711 | 284084.2053 | 36.4 | 83.1
66772 | 2021-04-05 09:36 | 13.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.8452 | μmol/L | 10.4922 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.329 | 147661.8977 | 284071.9131 | 36.4 | 83.1
66781 | 2021-04-05 09:37 | 14.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.694 | μmol/L | 10.4983 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.332 | 147614.424 | 284042.7518 | 36.4 | 83.1
66790 | 2021-04-05 09:37 | 14.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7256 | μmol/L | 10.5105 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.326 | 147571.2372 | 284036.0696 | 36.4 | 83.1
66799 | 2021-04-05 09:37 | 14.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7135 | μmol/L | 10.5166 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.324 | 147546.048 | 284037.9308 | 36.4 | 83.1
66808 | 2021-04-05 09:38 | 15.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.797 | μmol/L | 10.5166 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.321 | 147523.453 | 284002.3382 | 36.4 | 83.1
66817 | 2021-04-05 09:38 | 15.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.773 | μmol/L | 10.5289 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.317 | 147498.3217 | 283997.0292 | 36.4 | 83.1
66826 | 2021-04-05 09:38 | 15.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.7888 | μmol/L | 10.535 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.314 | 147470.2118 | 283977.1756 | 36.4 | 83.1
66835 | 2021-04-05 09:39 | 16.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.6377 | μmol/L | 10.5411 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.317 | 147442.6468 | 283954.0301 | 36.4 | 83.1
66844 | 2021-04-05 09:39 | 16.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.5979 | μmol/L | 10.5472 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.316 | 147429.7998 | 283924.9823 | 36.4 | 83.1
66853 | 2021-04-05 09:39 | 16.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.5183 | μmol/L | 10.5594 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.314 | 147412.7078 | 283921.3382 | 36.4 | 83.1
66862 | 2021-04-05 09:40 | 17.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.4229 | μmol/L | 10.5655 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.315 | 147390.0447 | 283906.4954 | 36.4 | 83.1
66871 | 2021-04-05 09:40 | 17.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.3434 | μmol/L | 10.5777 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.313 | 147366.3224 | 283885.7071 | 36.4 | 83.1
66880 | 2021-04-05 09:40 | 17.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.55 | μmol/L | 10.5716 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.308 | 147330.2276 | 283871.9144 | 36.4 | 83.1
66889 | 2021-04-05 09:41 | 18.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.3751 | μmol/L | 10.59 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.307 | 147305.4116 | 283847.8454 | 36.4 | 83.1
66898 | 2021-04-05 09:41 | 18.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.2798 | μmol/L | 10.5961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.308 | 147291.4498 | 283824.5483 | 36.4 | 83.1
66907 | 2021-04-05 09:41 | 18.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.391 | μmol/L | 10.5961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.304 | 147273.9753 | 283816.1193 | 36.4 | 83.1
66916 | 2021-04-05 09:42 | 19.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.1726 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.307 | 147274.1431 | 283803.5323 | 36.4 | 83.1
66925 | 2021-04-05 09:42 | 19.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.1607 | μmol/L | 10.6144 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.305 | 147268.908 | 283785.1554 | 36.4 | 83.1
66934 | 2021-04-05 09:42 | 19.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.133 | μmol/L | 10.6144 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.306 | 147242.1285 | 283762.7499 | 36.4 | 83.1
66943 | 2021-04-05 09:43 | 20.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 327.0536 | μmol/L | 10.6266 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.304 | 147230.3723 | 283733.6153 | 36.4 | 83.1
66952 | 2021-04-05 09:43 | 20.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.9307 | μmol/L | 10.6327 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.306 | 147210.7567 | 283717.9232 | 36.4 | 83.1
66961 | 2021-04-05 09:43 | 20.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.9466 | μmol/L | 10.6388 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.303 | 147191.1559 | 283701.0744 | 36.4 | 83.1
66970 | 2021-04-05 09:44 | 20.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.8396 | μmol/L | 10.6511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.302 | 147166.9484 | 283670.938 | 36.4 | 83.1
66979 | 2021-04-05 09:44 | 21.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.7723 | μmol/L | 10.6572 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.302 | 147147.5123 | 283659.0108 | 36.4 | 83.1
66988 | 2021-04-05 09:44 | 21.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.7327 | μmol/L | 10.6633 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.301 | 147132.2556 | 283629.3168 | 36.4 | 83.1
66997 | 2021-04-05 09:45 | 22.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.6772 | μmol/L | 10.6633 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.303 | 147123.1867 | 283619.1051 | 36.4 | 83.1
67006 | 2021-04-05 09:45 | 22.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.4317 | μmol/L | 10.6755 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.307 | 147130.9474 | 283596.088 | 36.4 | 83.1
67015 | 2021-04-05 09:45 | 22.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.2813 | μmol/L | 10.6816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.31 | 147143.8296 | 283601.5552 | 36.4 | 83.1
67024 | 2021-04-05 09:46 | 23 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 326.0638 | μmol/L | 10.6938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.313 | 147158.6298 | 283561.1152 | 36.4 | 83.1
67033 | 2021-04-05 09:46 | 23.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.9254 | μmol/L | 10.6938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.318 | 147190.6425 | 283558.4355 | 36.4 | 83.1
67042 | 2021-04-05 09:46 | 23.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.4635 | μmol/L | 10.7183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.325 | 147203.093 | 283525.6294 | 36.4 | 83.1
67051 | 2021-04-05 09:47 | 24.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.3572 | μmol/L | 10.7305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.324 | 147230.3217 | 283524.7925 | 36.4 | 83.1
67060 | 2021-04-05 09:47 | 24.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.2308 | μmol/L | 10.7244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.331 | 147242.7541 | 283489.9572 | 36.4 | 83.1
67069 | 2021-04-05 09:47 | 24.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.1714 | μmol/L | 10.7122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.338 | 147262.2945 | 283474.8971 | 36.4 | 83.1
67078 | 2021-04-05 09:48 | 25.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.3171 | μmol/L | 10.6938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.34 | 147289.4488 | 283451.2271 | 36.4 | 83.1
67087 | 2021-04-05 09:48 | 25.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.1791 | μmol/L | 10.6938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 147319.0513 | 283434.6127 | 36.4 | 83.1
67096 | 2021-04-05 09:48 | 25.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 325.2737 | μmol/L | 10.6877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 147324.6798 | 283420.1365 | 36.4 | 83.1
67105 | 2021-04-05 09:49 | 26.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 324.9742 | μmol/L | 10.6999 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.35 | 147335.8083 | 283380.8463 | 36.4 | 83.1
67114 | 2021-04-05 09:49 | 26.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 324.7026 | μmol/L | 10.7122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 147349.0936 | 283352.8661 | 36.4 | 83.1
67123 | 2021-04-05 09:49 | 26.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 324.337 | μmol/L | 10.7305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.361 | 147382.7526 | 283342.8481 | 36.4 | 83.1
67132 | 2021-04-05 09:50 | 27.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 324.0502 | μmol/L | 10.7366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.369 | 147408.5895 | 283319.0419 | 36.4 | 83.1
67141 | 2021-04-05 09:50 | 27.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.7754 | μmol/L | 10.7366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.379 | 147430.8104 | 283291.5822 | 36.4 | 83.1
67150 | 2021-04-05 09:50 | 27.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.8695 | μmol/L | 10.7305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 147459.9468 | 283264.859 | 36.4 | 83.1
67159 | 2021-04-05 09:51 | 27.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.7597 | μmol/L | 10.7305 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.382 | 147446.8271 | 283229.7967 | 36.4 | 83.1
67168 | 2021-04-05 09:51 | 28.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.5833 | μmol/L | 10.7366 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.386 | 147457.5395 | 283215.07 | 36.4 | 83.1
67177 | 2021-04-05 09:51 | 28.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.313 | μmol/L | 10.7488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 147472.8906 | 283201.4385 | 36.4 | 83.1
67186 | 2021-04-05 09:52 | 28.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 323.2425 | μmol/L | 10.7427 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 147488.9367 | 283181.8117 | 36.4 | 83.1
67195 | 2021-04-05 09:52 | 29.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.9882 | μmol/L | 10.761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.398 | 147496.7905 | 283158.4654 | 36.4 | 83.1
67204 | 2021-04-05 09:52 | 29.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.9335 | μmol/L | 10.761 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.4 | 147503.2193 | 283141.6248 | 36.4 | 83.1
67213 | 2021-04-05 09:53 | 30.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.6365 | μmol/L | 10.7733 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.406 | 147505.9694 | 283117.3882 | 36.4 | 83.1
67222 | 2021-04-05 09:53 | 30.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.4764 | μmol/L | 10.7855 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.407 | 147521.5402 | 283090.5439 | 36.4 | 83.1
67231 | 2021-04-05 09:53 | 30.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.4881 | μmol/L | 10.7794 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 147520.9868 | 283072.9066 | 36.4 | 83.1
67240 | 2021-04-05 09:54 | 31 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.1916 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.415 | 147524.5284 | 283062.9797 | 36.4 | 83.1
67249 | 2021-04-05 09:54 | 31.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0824 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.419 | 147534.7985 | 283050.9133 | 36.4 | 83.1
67258 | 2021-04-05 09:54 | 31.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0551 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.42 | 147533.0563 | 283029.0535 | 36.4 | 83.1
67267 | 2021-04-05 09:55 | 32 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0278 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.421 | 147532.0494 | 283001.1423 | 36.4 | 83.1
67276 | 2021-04-05 09:55 | 32.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.1603 | μmol/L | 10.7794 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.421 | 147513.4206 | 282994.6892 | 36.4 | 83.1
67285 | 2021-04-05 09:55 | 32.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0667 | μmol/L | 10.7855 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.422 | 147479.767 | 282957.2833 | 36.4 | 83.1
67294 | 2021-04-05 09:56 | 33.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.1759 | μmol/L | 10.7855 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 147460.7191 | 282953.7547 | 36.4 | 83.1
67303 | 2021-04-05 09:56 | 33.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0824 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.419 | 147430.65 | 282921.8462 | 36.4 | 83.1
67312 | 2021-04-05 09:56 | 33.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.1097 | μmol/L | 10.7916 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 147414.2512 | 282911.3179 | 36.4 | 83.1
67321 | 2021-04-05 09:57 | 33.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0434 | μmol/L | 10.7977 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.418 | 147407.5431 | 282905.7927 | 36.4 | 83.1
67330 | 2021-04-05 09:57 | 34.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8408 | μmol/L | 10.8038 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.423 | 147405.5631 | 282891.6628 | 36.4 | 83.1
67339 | 2021-04-05 09:57 | 34.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8954 | μmol/L | 10.8038 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.421 | 147391.5607 | 282866.2459 | 36.4 | 83.1
67348 | 2021-04-05 09:58 | 35.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8565 | μmol/L | 10.8099 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.42 | 147389.6278 | 282841.1159 | 36.4 | 83.1
67357 | 2021-04-05 09:58 | 35.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.7358 | μmol/L | 10.816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.422 | 147359.6278 | 282828.0878 | 36.4 | 83.1
67366 | 2021-04-05 09:58 | 35.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8994 | μmol/L | 10.816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 147323.6536 | 282806.6233 | 36.4 | 83.1
67375 | 2021-04-05 09:59 | 36.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.7671 | μmol/L | 10.8283 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 147303.8186 | 282801.6872 | 36.4 | 83.1
67384 | 2021-04-05 09:59 | 36.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.6737 | μmol/L | 10.8344 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.417 | 147284.7308 | 282786.3264 | 36.4 | 83.1
67393 | 2021-04-05 09:59 | 36.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5573 | μmol/L | 10.8527 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.414 | 147269.3711 | 282769.459 | 36.4 | 83.1
67402 | 2021-04-05 10:00 | 37.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.4755 | μmol/L | 10.8527 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.417 | 147248.2192 | 282747.1265 | 36.4 | 83.1
67411 | 2021-04-05 10:00 | 37.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.4797 | μmol/L | 10.8649 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 147225.7328 | 282743.9135 | 36.4 | 83.1
67420 | 2021-04-05 10:00 | 37.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.3047 | μmol/L | 10.871 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 147028.8399 | 282728.3467 | 36.4 | 83.1
67429 | 2021-04-05 10:01 | 38 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.3476 | μmol/L | 10.8771 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 146991.4874 | 282711.3064 | 36.4 | 83.1