## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66403 | 2021-04-05 09:23 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.9617 | μmol/L | 10.1319 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.799 | 114135.3344 | 314132.9708 | 30.45 | 114.2
66412 | 2021-04-05 09:23 | 0.33658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 297.1205 | μmol/L | 10.1441 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.788 | 114116.5805 | 314134.1593 | 30.45 | 114.2
66421 | 2021-04-05 09:23 | 0.67015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.8286 | μmol/L | 10.1687 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.79 | 114082.0407 | 314103.9589 | 30.45 | 114.2
66431 | 2021-04-05 09:24 | 1.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.7843 | μmol/L | 10.1809 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.787 | 114056.5534 | 314088.7287 | 30.45 | 114.2
66440 | 2021-04-05 09:24 | 1.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.7814 | μmol/L | 10.1993 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.78 | 114006.2993 | 314057.7528 | 30.45 | 114.2
66449 | 2021-04-05 09:24 | 1.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.8293 | μmol/L | 10.2177 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 113967.7248 | 314039.0227 | 30.45 | 114.2
66458 | 2021-04-05 09:25 | 2.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.8707 | μmol/L | 10.2238 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 113917.9268 | 314015.8953 | 30.45 | 114.2
66467 | 2021-04-05 09:25 | 2.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.8426 | μmol/L | 10.2422 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.761 | 113879.4112 | 313983.0304 | 30.45 | 114.2
66476 | 2021-04-05 09:25 | 2.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.6114 | μmol/L | 10.2606 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.763 | 113839.4249 | 313955.0636 | 30.45 | 114.2
66485 | 2021-04-05 09:26 | 3.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.7891 | μmol/L | 10.2606 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.756 | 113796.7981 | 313917.4077 | 30.45 | 114.2
66494 | 2021-04-05 09:26 | 3.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.6756 | μmol/L | 10.2851 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.751 | 113762.0349 | 313897.1619 | 30.45 | 114.2
66503 | 2021-04-05 09:26 | 3.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.7679 | μmol/L | 10.2912 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.745 | 113719.9303 | 313869.951 | 30.45 | 114.2
66512 | 2021-04-05 09:27 | 4.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.5877 | μmol/L | 10.3096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.745 | 113677.8369 | 313843.9527 | 30.45 | 114.2
66521 | 2021-04-05 09:27 | 4.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.5091 | μmol/L | 10.328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.741 | 113639.252 | 313822.9099 | 30.45 | 114.2
66530 | 2021-04-05 09:27 | 4.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.5667 | μmol/L | 10.3402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 113617.7828 | 313791.9234 | 30.45 | 114.2
66539 | 2021-04-05 09:28 | 5.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.4122 | μmol/L | 10.3586 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 113580.8758 | 313792.126 | 30.45 | 114.2
66548 | 2021-04-05 09:28 | 5.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.5391 | μmol/L | 10.3586 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 113538.2968 | 313745.3846 | 30.45 | 114.2
66557 | 2021-04-05 09:28 | 5.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.3846 | μmol/L | 10.377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 113507.4476 | 313729.3859 | 30.45 | 114.2
66566 | 2021-04-05 09:29 | 6.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.6038 | μmol/L | 10.3831 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 113466.9871 | 313699.4615 | 30.45 | 114.2
66575 | 2021-04-05 09:29 | 6.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.6017 | μmol/L | 10.4015 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.709 | 113429.4497 | 313677.9124 | 30.45 | 114.2
66584 | 2021-04-05 09:29 | 6.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.3894 | μmol/L | 10.4076 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.715 | 113401.4031 | 313654.8379 | 30.45 | 114.2
66593 | 2021-04-05 09:30 | 7.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.4727 | μmol/L | 10.4199 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.707 | 113365.3891 | 313628.6476 | 30.45 | 114.2
66602 | 2021-04-05 09:30 | 7.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.4382 | μmol/L | 10.426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.706 | 113343.0364 | 313616.2996 | 30.45 | 114.2
66611 | 2021-04-05 09:30 | 7.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.4798 | μmol/L | 10.4322 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 113309.2919 | 313589.0273 | 30.45 | 114.2
66620 | 2021-04-05 09:31 | 8.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.4616 | μmol/L | 10.4444 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.698 | 113283.0338 | 313572.3722 | 30.45 | 114.2
66629 | 2021-04-05 09:31 | 8.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2983 | μmol/L | 10.4689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.695 | 113258.6583 | 313546.9553 | 30.45 | 114.2
66638 | 2021-04-05 09:31 | 8.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.3491 | μmol/L | 10.4689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.693 | 113222.783 | 313529.878 | 30.45 | 114.2
66647 | 2021-04-05 09:32 | 9.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2294 | μmol/L | 10.4812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.693 | 113198.628 | 313507.3247 | 30.45 | 114.2
66656 | 2021-04-05 09:32 | 9.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2367 | μmol/L | 10.4934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.688 | 113173.2159 | 313480.0609 | 30.45 | 114.2
66665 | 2021-04-05 09:32 | 9.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.3038 | μmol/L | 10.4996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.683 | 113130.7573 | 313464.0127 | 30.45 | 114.2
66674 | 2021-04-05 09:33 | 10.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2096 | μmol/L | 10.5118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.682 | 113110.5944 | 313450.7619 | 30.45 | 114.2
66683 | 2021-04-05 09:33 | 10.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2424 | μmol/L | 10.5241 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.676 | 113079.1126 | 313432.4551 | 30.45 | 114.2
66692 | 2021-04-05 09:33 | 10.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.2334 | μmol/L | 10.5302 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.674 | 113054.4804 | 313409.2436 | 30.45 | 114.2
66701 | 2021-04-05 09:34 | 11.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.0378 | μmol/L | 10.5425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.677 | 113030.1338 | 313386.138 | 30.45 | 114.2
66710 | 2021-04-05 09:34 | 11.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.1646 | μmol/L | 10.5425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.672 | 113001.1424 | 313374.3264 | 30.45 | 114.2
66719 | 2021-04-05 09:34 | 11.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.1721 | μmol/L | 10.5547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.667 | 112968.2484 | 313362.6803 | 30.45 | 114.2
66728 | 2021-04-05 09:35 | 12.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.1288 | μmol/L | 10.567 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.664 | 112956.0292 | 313330.0674 | 30.45 | 114.2
66737 | 2021-04-05 09:35 | 12.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.0691 | μmol/L | 10.5731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.664 | 112931.2778 | 313320.1704 | 30.45 | 114.2
66746 | 2021-04-05 09:35 | 12.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.0259 | μmol/L | 10.5854 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.661 | 112896.4941 | 313300.5651 | 30.45 | 114.2
66755 | 2021-04-05 09:36 | 13.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.017 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.659 | 112870.4975 | 313274.7203 | 30.45 | 114.2
66764 | 2021-04-05 09:36 | 13.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.9319 | μmol/L | 10.5976 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.66 | 112861.1979 | 313251.515 | 30.45 | 114.2
66773 | 2021-04-05 09:36 | 13.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 296.0499 | μmol/L | 10.6037 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.653 | 112837.3034 | 313237.9775 | 30.45 | 114.2
66782 | 2021-04-05 09:37 | 14.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.9814 | μmol/L | 10.616 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.651 | 112817.5463 | 313228.072 | 30.45 | 114.2
66791 | 2021-04-05 09:37 | 14.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.8964 | μmol/L | 10.6221 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.652 | 112803.7856 | 313195.7024 | 30.45 | 114.2
66800 | 2021-04-05 09:37 | 14.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.8026 | μmol/L | 10.6344 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.651 | 112778.97 | 313179.117 | 30.45 | 114.2
66809 | 2021-04-05 09:38 | 15.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7937 | μmol/L | 10.6405 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.649 | 112757.9754 | 313167.3397 | 30.45 | 114.2
66818 | 2021-04-05 09:38 | 15.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7088 | μmol/L | 10.6466 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.65 | 112746.108 | 313142.4156 | 30.45 | 114.2
66827 | 2021-04-05 09:38 | 15.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.776 | μmol/L | 10.6528 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.645 | 112727.248 | 313127.992 | 30.45 | 114.2
66836 | 2021-04-05 09:39 | 16.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7253 | μmol/L | 10.6528 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.647 | 112707.8491 | 313104.2949 | 30.45 | 114.2
66845 | 2021-04-05 09:39 | 16.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6569 | μmol/L | 10.665 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.645 | 112690.11 | 313085.5438 | 30.45 | 114.2
66854 | 2021-04-05 09:39 | 16.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6735 | μmol/L | 10.6712 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.642 | 112655.102 | 313070.1677 | 30.45 | 114.2
66863 | 2021-04-05 09:40 | 17.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7242 | μmol/L | 10.6712 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.64 | 112628.7503 | 313041.7728 | 30.45 | 114.2
66872 | 2021-04-05 09:40 | 17.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6559 | μmol/L | 10.6834 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.638 | 112612.0276 | 313031.7018 | 30.45 | 114.2
66881 | 2021-04-05 09:40 | 17.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6383 | μmol/L | 10.6957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.634 | 112596.34 | 313007.4333 | 30.45 | 114.2
66890 | 2021-04-05 09:41 | 18.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7231 | μmol/L | 10.6895 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.633 | 112572.1519 | 312994.4797 | 30.45 | 114.2
66899 | 2021-04-05 09:41 | 18.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.689 | μmol/L | 10.6957 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.632 | 112549.5622 | 312967.1702 | 30.45 | 114.2
66908 | 2021-04-05 09:41 | 18.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6461 | μmol/L | 10.7079 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.629 | 112514.6881 | 312948.9246 | 30.45 | 114.2
66917 | 2021-04-05 09:42 | 19.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.7222 | μmol/L | 10.7079 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.626 | 112501.5245 | 312950.1828 | 30.45 | 114.2
66926 | 2021-04-05 09:42 | 19.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6539 | μmol/L | 10.7202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.624 | 112485.9133 | 312900.1665 | 30.45 | 114.2
66935 | 2021-04-05 09:42 | 19.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6793 | μmol/L | 10.7202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.623 | 112459.1111 | 312890.0964 | 30.45 | 114.2
66944 | 2021-04-05 09:43 | 20.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6198 | μmol/L | 10.7263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.623 | 112441.0786 | 312863.0413 | 30.45 | 114.2
66953 | 2021-04-05 09:43 | 20.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.501 | μmol/L | 10.7386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.623 | 112426.0791 | 312851.1799 | 30.45 | 114.2
66962 | 2021-04-05 09:43 | 20.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6618 | μmol/L | 10.7324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.619 | 112408.8097 | 312827.0578 | 30.45 | 114.2
66971 | 2021-04-05 09:44 | 21.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6277 | μmol/L | 10.7386 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.618 | 112383.6457 | 312794.1117 | 30.45 | 114.2
66980 | 2021-04-05 09:44 | 21.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3988 | μmol/L | 10.757 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.62 | 112364.556 | 312780.2635 | 30.45 | 114.2
66989 | 2021-04-05 09:44 | 21.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.5342 | μmol/L | 10.7508 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.617 | 112347.0737 | 312755.618 | 30.45 | 114.2
66998 | 2021-04-05 09:45 | 22.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6357 | μmol/L | 10.7508 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.613 | 112325.2759 | 312727.4205 | 30.45 | 114.2
67007 | 2021-04-05 09:45 | 22.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6016 | μmol/L | 10.757 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.612 | 112297.6318 | 312711.2888 | 30.45 | 114.2
67016 | 2021-04-05 09:45 | 22.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.6183 | μmol/L | 10.7631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.609 | 112267.8642 | 312681.0511 | 30.45 | 114.2
67025 | 2021-04-05 09:46 | 23.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.5248 | μmol/L | 10.7753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.608 | 112253.4331 | 312659.8826 | 30.45 | 114.2
67034 | 2021-04-05 09:46 | 23.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.5755 | μmol/L | 10.7753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.606 | 112230.3856 | 312641.9563 | 30.45 | 114.2
67043 | 2021-04-05 09:46 | 23.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.5836 | μmol/L | 10.7876 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 112208.8962 | 312616.2277 | 30.45 | 114.2
67052 | 2021-04-05 09:47 | 24.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4481 | μmol/L | 10.7937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.604 | 112194.7729 | 312600.1392 | 30.45 | 114.2
67061 | 2021-04-05 09:47 | 24.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3888 | μmol/L | 10.7999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.604 | 112176.3862 | 312567.6889 | 30.45 | 114.2
67070 | 2021-04-05 09:47 | 24.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3294 | μmol/L | 10.806 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.604 | 112166.0602 | 312564.9472 | 30.45 | 114.2
67079 | 2021-04-05 09:48 | 25.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4308 | μmol/L | 10.806 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.6 | 112145.8653 | 312533.4182 | 30.45 | 114.2
67088 | 2021-04-05 09:48 | 25.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4141 | μmol/L | 10.7999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.603 | 112123.4649 | 312506.8417 | 30.45 | 114.2
67097 | 2021-04-05 09:48 | 25.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4815 | μmol/L | 10.806 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.598 | 112108.7197 | 312478.0678 | 30.45 | 114.2
67106 | 2021-04-05 09:49 | 26.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4055 | μmol/L | 10.806 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.601 | 112102.8637 | 312446.8249 | 30.45 | 114.2
67115 | 2021-04-05 09:49 | 26.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3968 | μmol/L | 10.8121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.599 | 112088.5611 | 312434.3218 | 30.45 | 114.2
67124 | 2021-04-05 09:49 | 26.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4475 | μmol/L | 10.8121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.597 | 112061.2005 | 312402.168 | 30.45 | 114.2
67133 | 2021-04-05 09:50 | 27.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2782 | μmol/L | 10.8244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.599 | 112045.3152 | 312370.2584 | 30.45 | 114.2
67142 | 2021-04-05 09:50 | 27.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3289 | μmol/L | 10.8244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.597 | 112030.8146 | 312346.2446 | 30.45 | 114.2
67151 | 2021-04-05 09:50 | 27.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.4217 | μmol/L | 10.8305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.591 | 112003.4754 | 312319.6806 | 30.45 | 114.2
67160 | 2021-04-05 09:51 | 28.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3456 | μmol/L | 10.8305 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 111987.4902 | 312297.5731 | 30.45 | 114.2
67169 | 2021-04-05 09:51 | 28.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3538 | μmol/L | 10.8428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.589 | 111966.4441 | 312261.6179 | 30.45 | 114.2
67178 | 2021-04-05 09:51 | 28.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2271 | μmol/L | 10.8428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 111956.5989 | 312253.8401 | 30.45 | 114.2
67187 | 2021-04-05 09:52 | 29.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.3284 | μmol/L | 10.8428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.59 | 111931.1528 | 312226.1819 | 30.45 | 114.2
67196 | 2021-04-05 09:52 | 29.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2271 | μmol/L | 10.8428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.594 | 111924.0214 | 312197.6823 | 30.45 | 114.2
67205 | 2021-04-05 09:52 | 29.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2945 | μmol/L | 10.8489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.589 | 111902.8473 | 312166.3023 | 30.45 | 114.2
67214 | 2021-04-05 09:53 | 30.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.1592 | μmol/L | 10.855 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.592 | 111884.7087 | 312145.0547 | 30.45 | 114.2
67223 | 2021-04-05 09:53 | 30.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.1845 | μmol/L | 10.855 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.591 | 111863.7743 | 312120.7555 | 30.45 | 114.2
67232 | 2021-04-05 09:53 | 30.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2352 | μmol/L | 10.855 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.589 | 111845.5082 | 312094.1123 | 30.45 | 114.2
67241 | 2021-04-05 09:54 | 31.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2013 | μmol/L | 10.8611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.588 | 111821.7856 | 312073.9202 | 30.45 | 114.2
67250 | 2021-04-05 09:54 | 31.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.1674 | μmol/L | 10.8673 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.587 | 111810.6946 | 312063.1302 | 30.45 | 114.2
67259 | 2021-04-05 09:54 | 31.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.2181 | μmol/L | 10.8673 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.585 | 111785.0265 | 312042.9795 | 30.45 | 114.2
67268 | 2021-04-05 09:55 | 32.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.1589 | μmol/L | 10.8734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.585 | 111766.7088 | 311995.4875 | 30.45 | 114.2
67277 | 2021-04-05 09:55 | 32.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9983 | μmol/L | 10.8795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.589 | 111754.4383 | 311994.1946 | 30.45 | 114.2
67286 | 2021-04-05 09:55 | 32.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0743 | μmol/L | 10.8795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.586 | 111739.399 | 311964.7107 | 30.45 | 114.2
67295 | 2021-04-05 09:56 | 33.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0743 | μmol/L | 10.8795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.586 | 111726.3834 | 311941.78 | 30.45 | 114.2
67304 | 2021-04-05 09:56 | 33.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0911 | μmol/L | 10.8857 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.583 | 111720.4786 | 311913.6872 | 30.45 | 114.2
67313 | 2021-04-05 09:56 | 33.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9813 | μmol/L | 10.8918 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.585 | 111694.5813 | 311904.62 | 30.45 | 114.2
67322 | 2021-04-05 09:57 | 34.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.1164 | μmol/L | 10.8857 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.582 | 111676.405 | 311882.1085 | 30.45 | 114.2
67331 | 2021-04-05 09:57 | 34.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0572 | μmol/L | 10.8918 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.582 | 111667.7431 | 311872.9732 | 30.45 | 114.2
67340 | 2021-04-05 09:57 | 34.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.998 | μmol/L | 10.8979 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.582 | 111645.3437 | 311842.9358 | 30.45 | 114.2
67349 | 2021-04-05 09:58 | 35.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0234 | μmol/L | 10.8979 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.581 | 111628.1727 | 311816.8481 | 30.45 | 114.2
67358 | 2021-04-05 09:58 | 35.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9051 | μmol/L | 10.9102 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.581 | 111614.0182 | 311806.6752 | 30.45 | 114.2
67367 | 2021-04-05 09:58 | 35.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9136 | μmol/L | 10.904 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.583 | 111600.5494 | 311785.5295 | 30.45 | 114.2
67376 | 2021-04-05 09:59 | 36.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.0617 | μmol/L | 10.904 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.577 | 111593.5925 | 311771.1927 | 30.45 | 114.2
67385 | 2021-04-05 09:59 | 36.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.011 | μmol/L | 10.904 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.579 | 111578.054 | 311738.0852 | 30.45 | 114.2
67394 | 2021-04-05 09:59 | 36.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9219 | μmol/L | 10.9163 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.578 | 111556.4013 | 311724.6523 | 30.45 | 114.2
67403 | 2021-04-05 10:00 | 37.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9304 | μmol/L | 10.9102 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.58 | 111545.581 | 311706.5686 | 30.45 | 114.2
67412 | 2021-04-05 10:00 | 37.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.9051 | μmol/L | 10.9102 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.581 | 111522.5644 | 311682.0448 | 30.45 | 114.2
67421 | 2021-04-05 10:00 | 37.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.7951 | μmol/L | 10.9347 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.576 | 111516.8034 | 311675.4632 | 30.45 | 114.2
67430 | 2021-04-05 10:01 | 38.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.753 | μmol/L | 10.9286 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.58 | 111497.8071 | 311656.5706 | 30.45 | 114.2