## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66404 | 2021-04-05 09:23 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.2727 | μmol/L | 10.122 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.597 | 166321.0858 | 306448.0775 | 59.9307 | 49.4
66413 | 2021-04-05 09:23 | 0.33486 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.2173 | μmol/L | 10.1405 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.592 | 166276.76 | 306435.2759 | 59.9307 | 49.4
66422 | 2021-04-05 09:23 | 0.66763 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1718 | μmol/L | 10.1528 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.589 | 166238.1862 | 306416.9882 | 59.9307 | 49.4
66432 | 2021-04-05 09:24 | 1.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1165 | μmol/L | 10.1712 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.584 | 166177.3118 | 306400.8956 | 59.9307 | 49.4
66441 | 2021-04-05 09:24 | 1.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.123 | μmol/L | 10.1836 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.579 | 166120.5944 | 306386.2719 | 59.9307 | 49.4
66450 | 2021-04-05 09:24 | 1.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1815 | μmol/L | 10.1959 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.572 | 166059.7623 | 306356.6981 | 59.9307 | 49.4
66459 | 2021-04-05 09:25 | 2.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.1881 | μmol/L | 10.2082 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.567 | 166012.3455 | 306340.4443 | 59.9307 | 49.4
66468 | 2021-04-05 09:25 | 2.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 303.081 | μmol/L | 10.2266 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.564 | 165956.0005 | 306306.0311 | 59.9307 | 49.4
66477 | 2021-04-05 09:25 | 2.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.9837 | μmol/L | 10.239 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.563 | 165900.6939 | 306282.4935 | 59.9307 | 49.4
66486 | 2021-04-05 09:26 | 3.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.9644 | μmol/L | 10.2513 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.559 | 165855.0612 | 306281.5074 | 59.9307 | 49.4
66495 | 2021-04-05 09:26 | 3.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.8931 | μmol/L | 10.2636 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 165817.0482 | 306244.366 | 59.9307 | 49.4
66504 | 2021-04-05 09:26 | 3.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.9875 | μmol/L | 10.2697 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.551 | 165772.0067 | 306219.7348 | 59.9307 | 49.4
66513 | 2021-04-05 09:27 | 4.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.8287 | μmol/L | 10.2882 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.55 | 165740.9075 | 306192.8975 | 59.9307 | 49.4
66522 | 2021-04-05 09:27 | 4.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.8355 | μmol/L | 10.3005 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.545 | 165685.5138 | 306193.7331 | 59.9307 | 49.4
66531 | 2021-04-05 09:27 | 4.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.7644 | μmol/L | 10.3128 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.543 | 165650.6566 | 306159.0062 | 59.9307 | 49.4
66540 | 2021-04-05 09:28 | 5.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.6509 | μmol/L | 10.319 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.545 | 165664.3369 | 306139.6113 | 59.9307 | 49.4
66549 | 2021-04-05 09:28 | 5.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.528 | μmol/L | 10.3313 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.545 | 165641.0844 | 306116.145 | 59.9307 | 49.4
66558 | 2021-04-05 09:28 | 5.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.457 | μmol/L | 10.3436 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.543 | 165606.0591 | 306102.1644 | 59.9307 | 49.4
66567 | 2021-04-05 09:29 | 6.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.412 | μmol/L | 10.3559 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.54 | 165569.3569 | 306081.5887 | 59.9307 | 49.4
66576 | 2021-04-05 09:29 | 6.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.367 | μmol/L | 10.3682 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.537 | 165547.0857 | 306045.9138 | 59.9307 | 49.4
66585 | 2021-04-05 09:29 | 6.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.2183 | μmol/L | 10.3805 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.538 | 165536.3055 | 306035.1866 | 59.9307 | 49.4
66594 | 2021-04-05 09:30 | 7.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.2089 | μmol/L | 10.3867 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.536 | 165506.1001 | 306018.7931 | 59.9307 | 49.4
66603 | 2021-04-05 09:30 | 7.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 302.0862 | μmol/L | 10.399 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.536 | 165489.6782 | 306007.5623 | 59.9307 | 49.4
66612 | 2021-04-05 09:30 | 7.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.9212 | μmol/L | 10.4051 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.54 | 165508.5743 | 305987.1832 | 59.9307 | 49.4
66621 | 2021-04-05 09:31 | 8.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6339 | μmol/L | 10.4236 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.544 | 165512.5407 | 305969.5902 | 59.9307 | 49.4
66630 | 2021-04-05 09:31 | 8.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.7281 | μmol/L | 10.4298 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.538 | 165459.9148 | 305957.6171 | 59.9307 | 49.4
66639 | 2021-04-05 09:31 | 8.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.787 | μmol/L | 10.4421 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.531 | 165409.5381 | 305934.4371 | 59.9307 | 49.4
66648 | 2021-04-05 09:32 | 9.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.7611 | μmol/L | 10.4421 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.532 | 165393.0952 | 305910.538 | 59.9307 | 49.4
66657 | 2021-04-05 09:32 | 9.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.594 | μmol/L | 10.4667 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.529 | 165339.0561 | 305912.3468 | 59.9307 | 49.4
66666 | 2021-04-05 09:32 | 9.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.6976 | μmol/L | 10.4667 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.525 | 165308.1593 | 305880.844 | 59.9307 | 49.4
66675 | 2021-04-05 09:33 | 10.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4977 | μmol/L | 10.479 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.528 | 165289.7659 | 305857.0702 | 59.9307 | 49.4
66684 | 2021-04-05 09:33 | 10.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.4624 | μmol/L | 10.4852 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.527 | 165289.1366 | 305849.4417 | 59.9307 | 49.4
66693 | 2021-04-05 09:33 | 10.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.3144 | μmol/L | 10.4975 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.528 | 165267.5192 | 305817.2927 | 59.9307 | 49.4
66702 | 2021-04-05 09:34 | 11.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.2792 | μmol/L | 10.5036 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.527 | 165258.5336 | 305816.9907 | 59.9307 | 49.4
66711 | 2021-04-05 09:34 | 11.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.1054 | μmol/L | 10.5159 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.529 | 165266.1678 | 305810.2431 | 59.9307 | 49.4
66720 | 2021-04-05 09:34 | 11.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.122 | μmol/L | 10.5221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.526 | 165239.0802 | 305791.8523 | 59.9307 | 49.4
66729 | 2021-04-05 09:35 | 12.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.1737 | μmol/L | 10.5221 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.524 | 165193.1842 | 305773.3965 | 59.9307 | 49.4
66738 | 2021-04-05 09:35 | 12.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.12 | μmol/L | 10.5406 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 165150.0991 | 305754.5931 | 59.9307 | 49.4
66747 | 2021-04-05 09:35 | 12.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.059 | μmol/L | 10.5467 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.519 | 165129.103 | 305733.1284 | 59.9307 | 49.4
66756 | 2021-04-05 09:36 | 13.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9888 | μmol/L | 10.559 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.517 | 165092.6817 | 305721.3624 | 59.9307 | 49.4
66765 | 2021-04-05 09:36 | 13.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9796 | μmol/L | 10.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.515 | 165074.2189 | 305693.5163 | 59.9307 | 49.4
66774 | 2021-04-05 09:36 | 13.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.083 | μmol/L | 10.5652 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.511 | 165023.6229 | 305695.6935 | 59.9307 | 49.4
66783 | 2021-04-05 09:37 | 14.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.2031 | μmol/L | 10.5713 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.504 | 164949.3991 | 305679.8381 | 59.9307 | 49.4
66792 | 2021-04-05 09:37 | 14.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 301.2457 | μmol/L | 10.5775 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.5 | 164895.6827 | 305655.3104 | 59.9307 | 49.4
66801 | 2021-04-05 09:37 | 14.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.9944 | μmol/L | 10.5898 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.505 | 164926.0487 | 305619.2176 | 59.9307 | 49.4
66810 | 2021-04-05 09:38 | 15.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.5977 | μmol/L | 10.596 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.518 | 165033.3915 | 305604.4078 | 59.9307 | 49.4
66819 | 2021-04-05 09:38 | 15.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 300.1501 | μmol/L | 10.6021 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.533 | 165120.8975 | 305582.4143 | 59.9307 | 49.4
66828 | 2021-04-05 09:38 | 15.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.7197 | μmol/L | 10.6144 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.545 | 165209.7098 | 305590.7617 | 59.9307 | 49.4
66837 | 2021-04-05 09:39 | 16.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.5232 | μmol/L | 10.6083 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.555 | 165278.2826 | 305589.7104 | 59.9307 | 49.4
66846 | 2021-04-05 09:39 | 16.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.3764 | μmol/L | 10.6206 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.556 | 165299.0419 | 305558.0328 | 59.9307 | 49.4
66855 | 2021-04-05 09:39 | 16.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.3764 | μmol/L | 10.6206 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.556 | 165294.8366 | 305555.2698 | 59.9307 | 49.4
66864 | 2021-04-05 09:40 | 17.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.3066 | μmol/L | 10.6329 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.554 | 165260.2476 | 305526.7607 | 59.9307 | 49.4
66873 | 2021-04-05 09:40 | 17.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.3066 | μmol/L | 10.6329 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.554 | 165254.4882 | 305528.8854 | 59.9307 | 49.4
66882 | 2021-04-05 09:40 | 17.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 299.0921 | μmol/L | 10.6391 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.56 | 165272.7299 | 305511.0842 | 59.9307 | 49.4
66891 | 2021-04-05 09:41 | 18.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.7056 | μmol/L | 10.6575 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.568 | 165317.4637 | 305481.146 | 59.9307 | 49.4
66900 | 2021-04-05 09:41 | 18.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.5263 | μmol/L | 10.6575 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.575 | 165374.9024 | 305465.8633 | 59.9307 | 49.4
66909 | 2021-04-05 09:41 | 18.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.338 | μmol/L | 10.6637 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.58 | 165404.2095 | 305438.6744 | 59.9307 | 49.4
66918 | 2021-04-05 09:42 | 19.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2265 | μmol/L | 10.6698 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.582 | 165420.8558 | 305439.4756 | 59.9307 | 49.4
66927 | 2021-04-05 09:42 | 19.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.243 | μmol/L | 10.676 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.579 | 165372.7981 | 305410.4604 | 59.9307 | 49.4
66936 | 2021-04-05 09:42 | 19.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.285 | μmol/L | 10.6822 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.575 | 165325.0303 | 305392.8083 | 59.9307 | 49.4
66945 | 2021-04-05 09:43 | 20.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.3618 | μmol/L | 10.6822 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.572 | 165264.005 | 305387.4717 | 59.9307 | 49.4
66954 | 2021-04-05 09:43 | 20.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2759 | μmol/L | 10.6883 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.573 | 165257.1911 | 305373.4756 | 59.9307 | 49.4
66963 | 2021-04-05 09:43 | 20.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2578 | μmol/L | 10.7006 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 165253.8506 | 305354.9407 | 59.9307 | 49.4
66972 | 2021-04-05 09:44 | 21.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2578 | μmol/L | 10.7006 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 165210.4499 | 305339.5863 | 59.9307 | 49.4
66981 | 2021-04-05 09:44 | 21.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1117 | μmol/L | 10.7129 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.57 | 165168.1437 | 305292.9106 | 59.9307 | 49.4
66990 | 2021-04-05 09:44 | 21.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2908 | μmol/L | 10.7129 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.563 | 165122.8059 | 305315.3446 | 59.9307 | 49.4
66999 | 2021-04-05 09:45 | 22.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.342 | μmol/L | 10.7129 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.561 | 165065.7025 | 305283.3018 | 59.9307 | 49.4
67008 | 2021-04-05 09:45 | 22.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.3842 | μmol/L | 10.7191 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 165012.684 | 305257.4036 | 59.9307 | 49.4
67017 | 2021-04-05 09:45 | 22.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.4776 | μmol/L | 10.7252 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.551 | 164960.5382 | 305235.7758 | 59.9307 | 49.4
67026 | 2021-04-05 09:46 | 23.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.7339 | μmol/L | 10.7252 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.541 | 164876.7485 | 305221.4481 | 59.9307 | 49.4
67035 | 2021-04-05 09:46 | 23.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.7158 | μmol/L | 10.7376 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.537 | 164824.1147 | 305220.4468 | 59.9307 | 49.4
67044 | 2021-04-05 09:46 | 23.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.835 | μmol/L | 10.7437 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.53 | 164757.6774 | 305185.4545 | 59.9307 | 49.4
67053 | 2021-04-05 09:47 | 24.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.835 | μmol/L | 10.7437 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.53 | 164709.7646 | 305182.0687 | 59.9307 | 49.4
67062 | 2021-04-05 09:47 | 24.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.7491 | μmol/L | 10.7499 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.531 | 164685.4513 | 305156.9231 | 59.9307 | 49.4
67071 | 2021-04-05 09:47 | 24.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.7401 | μmol/L | 10.756 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.529 | 164665.7922 | 305137.1964 | 59.9307 | 49.4
67080 | 2021-04-05 09:48 | 25.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.6285 | μmol/L | 10.7622 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.531 | 164669.6675 | 305108.6398 | 59.9307 | 49.4
67089 | 2021-04-05 09:48 | 25.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.6285 | μmol/L | 10.7622 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.531 | 164675.0037 | 305082.7828 | 59.9307 | 49.4
67098 | 2021-04-05 09:48 | 25.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.4401 | μmol/L | 10.7683 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.536 | 164689.0323 | 305071.8997 | 59.9307 | 49.4
67107 | 2021-04-05 09:49 | 26.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2608 | μmol/L | 10.7683 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.543 | 164720.364 | 305061.7595 | 59.9307 | 49.4
67116 | 2021-04-05 09:49 | 26.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1494 | μmol/L | 10.7745 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.545 | 164738.3759 | 305037.7127 | 59.9307 | 49.4
67125 | 2021-04-05 09:49 | 26.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.9614 | μmol/L | 10.7807 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.55 | 164779.2759 | 305020.9706 | 59.9307 | 49.4
67134 | 2021-04-05 09:50 | 27.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6457 | μmol/L | 10.7868 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.56 | 164802.0961 | 304987.8849 | 59.9307 | 49.4
67143 | 2021-04-05 09:50 | 27.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6802 | μmol/L | 10.7807 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.561 | 164824.7168 | 304961.0978 | 59.9307 | 49.4
67152 | 2021-04-05 09:50 | 27.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.407 | μmol/L | 10.793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.567 | 164841.2447 | 304931.6426 | 59.9307 | 49.4
67161 | 2021-04-05 09:51 | 28.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2884 | μmol/L | 10.7868 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.574 | 164872.7065 | 304927.1214 | 59.9307 | 49.4
67170 | 2021-04-05 09:51 | 28.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.092 | μmol/L | 10.7991 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.577 | 164911.3493 | 304913.1434 | 59.9307 | 49.4
67179 | 2021-04-05 09:51 | 28.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9811 | μmol/L | 10.8053 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.579 | 164907.8317 | 304907.205 | 59.9307 | 49.4
67188 | 2021-04-05 09:52 | 29.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9302 | μmol/L | 10.8053 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.581 | 164897.7442 | 304883.4001 | 59.9307 | 49.4
67197 | 2021-04-05 09:52 | 29.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8283 | μmol/L | 10.8053 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.585 | 164890.7282 | 304873.7417 | 59.9307 | 49.4
67206 | 2021-04-05 09:52 | 29.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6742 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.584 | 164882.7744 | 304835.2274 | 59.9307 | 49.4
67215 | 2021-04-05 09:53 | 30.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6832 | μmol/L | 10.8176 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.586 | 164883.635 | 304832.9451 | 59.9307 | 49.4
67224 | 2021-04-05 09:53 | 30.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6488 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.585 | 164839.8517 | 304800.6834 | 59.9307 | 49.4
67233 | 2021-04-05 09:53 | 30.6683 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.7251 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.582 | 164789.6814 | 304763.8962 | 59.9307 | 49.4
67242 | 2021-04-05 09:54 | 31.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8269 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.578 | 164719.1173 | 304746.6565 | 59.9307 | 49.4
67251 | 2021-04-05 09:54 | 31.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0053 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.571 | 164649.5198 | 304750.4877 | 59.9307 | 49.4
67260 | 2021-04-05 09:54 | 31.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1837 | μmol/L | 10.8237 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.564 | 164589.2653 | 304735.0608 | 59.9307 | 49.4
67269 | 2021-04-05 09:55 | 32.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1149 | μmol/L | 10.8361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.562 | 164530.3943 | 304703.0834 | 59.9307 | 49.4
67278 | 2021-04-05 09:55 | 32.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1659 | μmol/L | 10.8361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.56 | 164498.0234 | 304677.4415 | 59.9307 | 49.4
67287 | 2021-04-05 09:55 | 32.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2424 | μmol/L | 10.8361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 164462.9002 | 304670.4627 | 59.9307 | 49.4
67296 | 2021-04-05 09:56 | 33.0016 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1825 | μmol/L | 10.8422 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 164437.6599 | 304654.9814 | 59.9307 | 49.4
67305 | 2021-04-05 09:56 | 33.3349 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0716 | μmol/L | 10.8484 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.559 | 164434.9523 | 304637.395 | 59.9307 | 49.4
67314 | 2021-04-05 09:56 | 33.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1226 | μmol/L | 10.8484 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 164391.1834 | 304623.4227 | 59.9307 | 49.4
67323 | 2021-04-05 09:57 | 34.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2157 | μmol/L | 10.8545 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.551 | 164322.587 | 304598.521 | 59.9307 | 49.4
67332 | 2021-04-05 09:57 | 34.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4376 | μmol/L | 10.8422 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.547 | 164260.397 | 304596.8828 | 59.9307 | 49.4
67341 | 2021-04-05 09:57 | 34.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4709 | μmol/L | 10.8545 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.541 | 164223.0849 | 304561.2633 | 59.9307 | 49.4
67350 | 2021-04-05 09:58 | 35.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4965 | μmol/L | 10.8545 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.54 | 164168.8413 | 304552.4883 | 59.9307 | 49.4
67359 | 2021-04-05 09:58 | 35.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.5387 | μmol/L | 10.8607 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.536 | 164111.8608 | 304545.2161 | 59.9307 | 49.4
67368 | 2021-04-05 09:58 | 35.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.692 | μmol/L | 10.8607 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.53 | 164054.1713 | 304513.5297 | 59.9307 | 49.4
67377 | 2021-04-05 09:59 | 36.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6664 | μmol/L | 10.8607 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.531 | 164019.6522 | 304503.8698 | 59.9307 | 49.4
67386 | 2021-04-05 09:59 | 36.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.811 | μmol/L | 10.8668 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.523 | 163957.326 | 304485.8461 | 59.9307 | 49.4
67395 | 2021-04-05 09:59 | 36.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.8277 | μmol/L | 10.873 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.52 | 163909.4758 | 304475.2687 | 59.9307 | 49.4
67404 | 2021-04-05 10:00 | 37.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0412 | μmol/L | 10.8668 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.514 | 163859.6956 | 304447.5745 | 59.9307 | 49.4
67413 | 2021-04-05 10:00 | 37.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.058 | μmol/L | 10.873 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.511 | 163814.6401 | 304451.1613 | 59.9307 | 49.4
67422 | 2021-04-05 10:00 | 37.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1604 | μmol/L | 10.873 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.507 | 163730.2073 | 304451.5858 | 59.9307 | 49.4
67431 | 2021-04-05 10:01 | 38.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2028 | μmol/L | 10.8792 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.503 | 163676.08 | 304401.7012 | 59.9307 | 49.4