## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66406 | 2021-04-05 09:23 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.7374 | μmol/L | 10.2721 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.639 | 137906.015 | 284986.2376 | 26.25 | 74
66415 | 2021-04-05 09:23 | 0.34071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.7695 | μmol/L | 10.2843 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.633 | 137871.5493 | 284962.7447 | 26.25 | 74
66425 | 2021-04-05 09:24 | 0.67392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.688 | μmol/L | 10.3025 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.629 | 137767.2205 | 284946.3278 | 26.25 | 74
66434 | 2021-04-05 09:24 | 1.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.6423 | μmol/L | 10.3147 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.626 | 137728.9888 | 284922.5162 | 26.25 | 74
66443 | 2021-04-05 09:24 | 1.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.6029 | μmol/L | 10.339 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.618 | 137680.7431 | 284890.6224 | 26.25 | 74
66452 | 2021-04-05 09:25 | 1.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.6352 | μmol/L | 10.3511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.612 | 137633.9835 | 284872.843 | 26.25 | 74
66461 | 2021-04-05 09:25 | 2.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.5995 | μmol/L | 10.3572 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.611 | 137597.88 | 284847.175 | 26.25 | 74
66470 | 2021-04-05 09:25 | 2.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.5182 | μmol/L | 10.3755 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.607 | 137577.7404 | 284813.5231 | 26.25 | 74
66479 | 2021-04-05 09:26 | 2.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.3593 | μmol/L | 10.3937 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.606 | 137548.156 | 284791.3326 | 26.25 | 74
66488 | 2021-04-05 09:26 | 3.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.3916 | μmol/L | 10.4058 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.6 | 137530.4645 | 284773.356 | 26.25 | 74
66497 | 2021-04-05 09:26 | 3.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.1907 | μmol/L | 10.418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.603 | 137506.9734 | 284733.8733 | 26.25 | 74
66506 | 2021-04-05 09:27 | 3.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.1195 | μmol/L | 10.4301 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.601 | 137491.8591 | 284717.8222 | 26.25 | 74
66515 | 2021-04-05 09:27 | 4.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305.1098 | μmol/L | 10.4362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.599 | 137458.7547 | 284698.8253 | 26.25 | 74
66524 | 2021-04-05 09:27 | 4.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.8542 | μmol/L | 10.4666 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.597 | 137430.8566 | 284677.1245 | 26.25 | 74
66533 | 2021-04-05 09:28 | 4.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 305 | μmol/L | 10.4727 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.589 | 137399.1757 | 284634.0699 | 26.25 | 74
66542 | 2021-04-05 09:28 | 5.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.9644 | μmol/L | 10.4788 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.588 | 137364.2784 | 284624.3267 | 26.25 | 74
66551 | 2021-04-05 09:28 | 5.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.8838 | μmol/L | 10.497 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.584 | 137309.1506 | 284604.0315 | 26.25 | 74
66560 | 2021-04-05 09:29 | 5.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.9423 | μmol/L | 10.5092 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 137263.551 | 284575.9156 | 26.25 | 74
66569 | 2021-04-05 09:29 | 6.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.8972 | μmol/L | 10.5213 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 137223.9663 | 284537.3907 | 26.25 | 74
66578 | 2021-04-05 09:29 | 6.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.8359 | μmol/L | 10.5274 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 137199.1682 | 284521.9494 | 26.25 | 74
66587 | 2021-04-05 09:30 | 6.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.8168 | μmol/L | 10.5395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.57 | 137166.0982 | 284509.536 | 26.25 | 74
66596 | 2021-04-05 09:30 | 7.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.72 | μmol/L | 10.5517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.569 | 137134.4902 | 284492.9574 | 26.25 | 74
66605 | 2021-04-05 09:30 | 7.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.6233 | μmol/L | 10.5638 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.568 | 137128.5783 | 284471.1387 | 26.25 | 74
66614 | 2021-04-05 09:31 | 7.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4748 | μmol/L | 10.576 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.569 | 137102.0255 | 284447.0362 | 26.25 | 74
66623 | 2021-04-05 09:31 | 8.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.5076 | μmol/L | 10.5882 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.563 | 137079.8475 | 284419.3608 | 26.25 | 74
66632 | 2021-04-05 09:31 | 8.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4369 | μmol/L | 10.6003 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.561 | 137054.391 | 284415.3595 | 26.25 | 74
66641 | 2021-04-05 09:32 | 8.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4275 | μmol/L | 10.6064 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.559 | 137016.3482 | 284384.9693 | 26.25 | 74
66650 | 2021-04-05 09:32 | 9.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.3568 | μmol/L | 10.6185 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.557 | 136978.1996 | 284376.6481 | 26.25 | 74
66659 | 2021-04-05 09:32 | 9.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4509 | μmol/L | 10.6246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.551 | 136937.3931 | 284351.418 | 26.25 | 74
66668 | 2021-04-05 09:33 | 9.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4674 | μmol/L | 10.6307 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.548 | 136900.3624 | 284331.2397 | 26.25 | 74
66677 | 2021-04-05 09:33 | 10.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.5262 | μmol/L | 10.6429 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.541 | 136865.583 | 284311.0585 | 26.25 | 74
66686 | 2021-04-05 09:33 | 10.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4556 | μmol/L | 10.655 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.539 | 136828.0334 | 284293.7491 | 26.25 | 74
66695 | 2021-04-05 09:34 | 10.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4722 | μmol/L | 10.6611 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.536 | 136802.9672 | 284268.567 | 26.25 | 74
66704 | 2021-04-05 09:34 | 11.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.4887 | μmol/L | 10.6672 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.533 | 136780.5305 | 284245.6878 | 26.25 | 74
66713 | 2021-04-05 09:34 | 11.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.3923 | μmol/L | 10.6793 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.532 | 136750.6393 | 284221.677 | 26.25 | 74
66722 | 2021-04-05 09:35 | 11.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.2442 | μmol/L | 10.6915 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.533 | 136736.0081 | 284198.7244 | 26.25 | 74
66731 | 2021-04-05 09:35 | 12.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.3477 | μmol/L | 10.6915 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 136707.4094 | 284189.0925 | 26.25 | 74
66740 | 2021-04-05 09:35 | 12.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.0868 | μmol/L | 10.7097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.532 | 136707.2662 | 284177.1939 | 26.25 | 74
66749 | 2021-04-05 09:36 | 12.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.1293 | μmol/L | 10.7158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 136679.6133 | 284165.5588 | 26.25 | 74
66758 | 2021-04-05 09:36 | 13.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 304.0424 | μmol/L | 10.7219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 136654.4803 | 284133.0628 | 26.25 | 74
66767 | 2021-04-05 09:36 | 13.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.9204 | μmol/L | 10.734 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 136640.7225 | 284118.7935 | 26.25 | 74
66776 | 2021-04-05 09:37 | 13.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.9979 | μmol/L | 10.734 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.526 | 136631.1991 | 284077.8261 | 26.25 | 74
66785 | 2021-04-05 09:37 | 14.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.7468 | μmol/L | 10.7462 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.531 | 136623.7187 | 284068.5904 | 26.25 | 74
66794 | 2021-04-05 09:37 | 14.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.7375 | μmol/L | 10.7522 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 136610.4809 | 284052.1472 | 26.25 | 74
66803 | 2021-04-05 09:38 | 14.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.8316 | μmol/L | 10.7583 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 136600.0031 | 284038.2664 | 26.25 | 74
66812 | 2021-04-05 09:38 | 15.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.6157 | μmol/L | 10.7644 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.529 | 136574.7576 | 284021.7724 | 26.25 | 74
66821 | 2021-04-05 09:38 | 15.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.7356 | μmol/L | 10.7705 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 136545.3105 | 284005.0499 | 26.25 | 74
66830 | 2021-04-05 09:39 | 15.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.6138 | μmol/L | 10.7826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 136519.9462 | 283975.9763 | 26.25 | 74
66839 | 2021-04-05 09:39 | 16.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.5622 | μmol/L | 10.7826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 136512.2726 | 283961.7728 | 26.25 | 74
66848 | 2021-04-05 09:39 | 16.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.5788 | μmol/L | 10.7887 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 136498.4172 | 283949.8222 | 26.25 | 74
66857 | 2021-04-05 09:40 | 16.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.5696 | μmol/L | 10.7948 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.519 | 136474.6992 | 283922.9571 | 26.25 | 74
66866 | 2021-04-05 09:40 | 17.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.577 | μmol/L | 10.8069 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.514 | 136449.9041 | 283902.0283 | 26.25 | 74
66875 | 2021-04-05 09:40 | 17.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4129 | μmol/L | 10.813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 136438.954 | 283887.4162 | 26.25 | 74
66884 | 2021-04-05 09:41 | 17.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4645 | μmol/L | 10.813 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.516 | 136411.4631 | 283879.4828 | 26.25 | 74
66893 | 2021-04-05 09:41 | 18.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.3687 | μmol/L | 10.8252 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.515 | 136380.4481 | 283859.5892 | 26.25 | 74
66902 | 2021-04-05 09:41 | 18.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.472 | μmol/L | 10.8252 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.511 | 136354.2174 | 283831.0308 | 26.25 | 74
66911 | 2021-04-05 09:42 | 18.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4629 | μmol/L | 10.8313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.509 | 136318.2531 | 283802.654 | 26.25 | 74
66920 | 2021-04-05 09:42 | 19.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4537 | μmol/L | 10.8373 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.507 | 136295.8427 | 283790.109 | 26.25 | 74
66929 | 2021-04-05 09:42 | 19.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.3322 | μmol/L | 10.8495 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.507 | 136266.3117 | 283755.1577 | 26.25 | 74
66938 | 2021-04-05 09:43 | 19.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4446 | μmol/L | 10.8434 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.505 | 136241.7355 | 283740.7733 | 26.25 | 74
66947 | 2021-04-05 09:43 | 20.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4522 | μmol/L | 10.8556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 136221.8529 | 283726.8851 | 26.25 | 74
66956 | 2021-04-05 09:43 | 20.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.4431 | μmol/L | 10.8616 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 136184.8334 | 283702.998 | 26.25 | 74
66965 | 2021-04-05 09:44 | 20.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.2957 | μmol/L | 10.8738 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.499 | 136169.7354 | 283670.7267 | 26.25 | 74
66974 | 2021-04-05 09:44 | 21.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.3474 | μmol/L | 10.8738 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 136145.1072 | 283657.556 | 26.25 | 74
66983 | 2021-04-05 09:44 | 21.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.235 | μmol/L | 10.8799 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.499 | 136148.6974 | 283636.4928 | 26.25 | 74
66992 | 2021-04-05 09:45 | 21.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.1485 | μmol/L | 10.886 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 136134.6488 | 283615.7184 | 26.25 | 74
67001 | 2021-04-05 09:45 | 22.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.1227 | μmol/L | 10.886 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 136141.2004 | 283599.9395 | 26.25 | 74
67010 | 2021-04-05 09:45 | 22.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.0105 | μmol/L | 10.892 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.503 | 136111.1282 | 283571.4755 | 26.25 | 74
67019 | 2021-04-05 09:46 | 22.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.0272 | μmol/L | 10.8981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 136100.9808 | 283542.6607 | 26.25 | 74
67028 | 2021-04-05 09:46 | 23.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.9756 | μmol/L | 10.8981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.502 | 136075.4793 | 283534.7651 | 26.25 | 74
67037 | 2021-04-05 09:46 | 23.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.9923 | μmol/L | 10.9042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.499 | 136069.2824 | 283507.8268 | 26.25 | 74
67046 | 2021-04-05 09:47 | 23.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.9575 | μmol/L | 10.9103 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 136035.3225 | 283478.9028 | 26.25 | 74
67055 | 2021-04-05 09:47 | 24.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 303.0091 | μmol/L | 10.9103 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 136027.9841 | 283468.5593 | 26.25 | 74
67064 | 2021-04-05 09:47 | 24.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.8363 | μmol/L | 10.9224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 136000.8231 | 283449.3507 | 26.25 | 74
67073 | 2021-04-05 09:48 | 24.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.9394 | μmol/L | 10.9224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.494 | 135980.8862 | 283428.4611 | 26.25 | 74
67082 | 2021-04-05 09:48 | 25.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.844 | μmol/L | 10.9346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135975.3318 | 283395.9816 | 26.25 | 74
67091 | 2021-04-05 09:48 | 25.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.844 | μmol/L | 10.9346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135955.1067 | 283368.8393 | 26.25 | 74
67100 | 2021-04-05 09:49 | 25.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.8956 | μmol/L | 10.9346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.491 | 135949.7792 | 283354.0485 | 26.25 | 74
67109 | 2021-04-05 09:49 | 26.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.7319 | μmol/L | 10.9407 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 135927.3561 | 283322.5799 | 26.25 | 74
67118 | 2021-04-05 09:49 | 26.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.835 | μmol/L | 10.9407 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.491 | 135914.1966 | 283297.4384 | 26.25 | 74
67127 | 2021-04-05 09:50 | 26.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.6624 | μmol/L | 10.9528 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135901.5964 | 283283.762 | 26.25 | 74
67136 | 2021-04-05 09:50 | 27.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.6366 | μmol/L | 10.9528 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.494 | 135868.7872 | 283249.2839 | 26.25 | 74
67145 | 2021-04-05 09:50 | 27.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.6108 | μmol/L | 10.9528 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 135866.1013 | 283232.5303 | 26.25 | 74
67154 | 2021-04-05 09:51 | 27.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.4126 | μmol/L | 10.965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 135854.6619 | 283210.8388 | 26.25 | 74
67163 | 2021-04-05 09:51 | 28.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.4641 | μmol/L | 10.965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 135849.6049 | 283168.1392 | 26.25 | 74
67172 | 2021-04-05 09:51 | 28.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.4899 | μmol/L | 10.965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 135835.5289 | 283143.4739 | 26.25 | 74
67181 | 2021-04-05 09:52 | 28.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.3432 | μmol/L | 10.9771 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 135827.2636 | 283130.1263 | 26.25 | 74
67190 | 2021-04-05 09:52 | 29.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.3175 | μmol/L | 10.9771 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 135820.9194 | 283104.5283 | 26.25 | 74
67199 | 2021-04-05 09:52 | 29.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.3432 | μmol/L | 10.9771 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 135798.9071 | 283073.9014 | 26.25 | 74
67208 | 2021-04-05 09:53 | 29.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.3175 | μmol/L | 10.9771 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 135779.5632 | 283058.7791 | 26.25 | 74
67217 | 2021-04-05 09:53 | 30.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.2313 | μmol/L | 10.9832 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 135758.1542 | 283044.2858 | 26.25 | 74
67226 | 2021-04-05 09:53 | 30.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.2481 | μmol/L | 10.9893 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 135738.3532 | 283011.6304 | 26.25 | 74
67235 | 2021-04-05 09:54 | 30.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.1709 | μmol/L | 10.9893 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 135717.197 | 282993.9874 | 26.25 | 74
67244 | 2021-04-05 09:54 | 31.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.0502 | μmol/L | 11.0014 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.498 | 135712.1287 | 282967.5892 | 26.25 | 74
67253 | 2021-04-05 09:54 | 31.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 302.0759 | μmol/L | 11.0014 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 135698.2574 | 282949.3691 | 26.25 | 74
67262 | 2021-04-05 09:55 | 31.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.9127 | μmol/L | 11.0075 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 135701.2261 | 282928.4304 | 26.25 | 74
67271 | 2021-04-05 09:55 | 32.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.9038 | μmol/L | 11.0136 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.499 | 135693.6323 | 282895.0399 | 26.25 | 74
67280 | 2021-04-05 09:55 | 32.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.8267 | μmol/L | 11.0136 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.502 | 135680.4419 | 282875.1151 | 26.25 | 74
67289 | 2021-04-05 09:56 | 32.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.8178 | μmol/L | 11.0197 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 135678.4885 | 282858.2941 | 26.25 | 74
67298 | 2021-04-05 09:56 | 33.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7407 | μmol/L | 11.0197 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.503 | 135664.8992 | 282833.6249 | 26.25 | 74
67307 | 2021-04-05 09:56 | 33.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.8346 | μmol/L | 11.0257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 135656.6828 | 282829.6152 | 26.25 | 74
67316 | 2021-04-05 09:57 | 33.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7061 | μmol/L | 11.0257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.502 | 135634.1593 | 282810.7535 | 26.25 | 74
67325 | 2021-04-05 09:57 | 34.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7318 | μmol/L | 11.0257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 135613.2378 | 282768.7721 | 26.25 | 74
67334 | 2021-04-05 09:57 | 34.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.6804 | μmol/L | 11.0257 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.503 | 135601.0969 | 282763.0561 | 26.25 | 74
67343 | 2021-04-05 09:58 | 34.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.6715 | μmol/L | 11.0318 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 135580.9407 | 282757.4251 | 26.25 | 74
67352 | 2021-04-05 09:58 | 35.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.8 | μmol/L | 11.0318 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 135560.7398 | 282729.8821 | 26.25 | 74
67361 | 2021-04-05 09:58 | 35.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.6715 | μmol/L | 11.0318 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 135530.1775 | 282708.5879 | 26.25 | 74
67370 | 2021-04-05 09:59 | 35.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.637 | μmol/L | 11.0379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 135507.8815 | 282697.8491 | 26.25 | 74
67379 | 2021-04-05 09:59 | 36.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7397 | μmol/L | 11.0379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.496 | 135488.578 | 282677.6416 | 26.25 | 74
67388 | 2021-04-05 09:59 | 36.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7051 | μmol/L | 11.044 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.495 | 135461.9242 | 282659.6719 | 26.25 | 74
67397 | 2021-04-05 10:00 | 36.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.8168 | μmol/L | 11.0379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135445.6089 | 282635.3019 | 26.25 | 74
67406 | 2021-04-05 10:00 | 37.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.7565 | μmol/L | 11.044 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135418.6112 | 282620.1323 | 26.25 | 74
67415 | 2021-04-05 10:00 | 37.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.6706 | μmol/L | 11.0501 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.494 | 135394.3241 | 282602.4364 | 26.25 | 74
67424 | 2021-04-05 10:01 | 37.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.6963 | μmol/L | 11.0501 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135337.9401 | 282583.2368 | 26.25 | 74
67433 | 2021-04-05 10:01 | 38.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 301.636 | μmol/L | 11.0561 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135336.3148 | 282573.8778 | 26.25 | 74