## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67438 | 2021-04-05 11:06 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.2752 | μmol/L | 11.0093 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.611 | 139676.2275 | 308562.987 | 59.9307 | 38.1
67447 | 2021-04-05 11:06 | 0.33198 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3254 | μmol/L | 11.0093 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.609 | 139622.1612 | 308528.5243 | 59.9307 | 38.1
67456 | 2021-04-05 11:07 | 0.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3094 | μmol/L | 11.0215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.605 | 139585.2324 | 308510.7968 | 59.9307 | 38.1
67465 | 2021-04-05 11:07 | 0.99609 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3013 | μmol/L | 11.0276 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.603 | 139543.2534 | 308489.1566 | 59.9307 | 38.1
67474 | 2021-04-05 11:07 | 1.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.2351 | μmol/L | 11.0398 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.601 | 139511.975 | 308455.9848 | 59.9307 | 38.1
67483 | 2021-04-05 11:08 | 1.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3607 | μmol/L | 11.0398 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.596 | 139481.737 | 308420.9215 | 59.9307 | 38.1
67492 | 2021-04-05 11:08 | 1.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3436 | μmol/L | 11.0337 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.599 | 139455.3207 | 308393.6462 | 59.9307 | 38.1
67501 | 2021-04-05 11:08 | 2.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3276 | μmol/L | 11.0459 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 139420.948 | 308370.4433 | 59.9307 | 38.1
67510 | 2021-04-05 11:09 | 2.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.3196 | μmol/L | 11.052 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.593 | 139390.6367 | 308354.2725 | 59.9307 | 38.1
67519 | 2021-04-05 11:09 | 2.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.2694 | μmol/L | 11.052 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 139387.2835 | 308318.8844 | 59.9307 | 38.1
67528 | 2021-04-05 11:09 | 3.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0697 | μmol/L | 11.0702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.596 | 139361.7992 | 308310.4353 | 59.9307 | 38.1
67537 | 2021-04-05 11:10 | 3.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.145 | μmol/L | 11.0702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.593 | 139349.39 | 308278.4954 | 59.9307 | 38.1
67546 | 2021-04-05 11:10 | 3.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.1952 | μmol/L | 11.0702 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.591 | 139329.8634 | 308248.7071 | 59.9307 | 38.1
67555 | 2021-04-05 11:10 | 4.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0366 | μmol/L | 11.0763 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 139302.1867 | 308218.5819 | 59.9307 | 38.1
67564 | 2021-04-05 11:11 | 4.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0789 | μmol/L | 11.0824 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.591 | 139267.1499 | 308207.1865 | 59.9307 | 38.1
67573 | 2021-04-05 11:11 | 4.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0789 | μmol/L | 11.0824 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.591 | 139241.3702 | 308157.877 | 59.9307 | 38.1
67582 | 2021-04-05 11:11 | 5.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0287 | μmol/L | 11.0824 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.593 | 139205.2831 | 308140.7185 | 59.9307 | 38.1
67591 | 2021-04-05 11:12 | 5.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.9877 | μmol/L | 11.0946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.59 | 139194.7761 | 308135.3182 | 59.9307 | 38.1
67600 | 2021-04-05 11:12 | 5.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0379 | μmol/L | 11.0946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.588 | 139151.4348 | 308103.6428 | 59.9307 | 38.1
67609 | 2021-04-05 11:12 | 6.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.063 | μmol/L | 11.0946 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.587 | 139134.1163 | 308089.0008 | 59.9307 | 38.1
67618 | 2021-04-05 11:13 | 6.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0802 | μmol/L | 11.1007 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.584 | 139109.4781 | 308079.538 | 59.9307 | 38.1
67627 | 2021-04-05 11:13 | 6.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.1053 | μmol/L | 11.1007 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.583 | 139077.7097 | 308047.9481 | 59.9307 | 38.1
67636 | 2021-04-05 11:13 | 7.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.964 | μmol/L | 11.1129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.584 | 139050.1666 | 308027.6347 | 59.9307 | 38.1
67645 | 2021-04-05 11:14 | 7.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0393 | μmol/L | 11.1129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.581 | 139018.2267 | 308012.1087 | 59.9307 | 38.1
67654 | 2021-04-05 11:14 | 7.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0314 | μmol/L | 11.119 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.579 | 138990.645 | 307982.5549 | 59.9307 | 38.1
67663 | 2021-04-05 11:14 | 8.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0895 | μmol/L | 11.1129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.579 | 138963.5511 | 307964.9212 | 59.9307 | 38.1
67672 | 2021-04-05 11:15 | 8.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 292.0486 | μmol/L | 11.1251 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.576 | 138960.1344 | 307938.848 | 59.9307 | 38.1
67681 | 2021-04-05 11:15 | 8.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.8069 | μmol/L | 11.1373 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.581 | 138947.9569 | 307918.5015 | 59.9307 | 38.1
67690 | 2021-04-05 11:15 | 9.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.8901 | μmol/L | 11.1312 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.58 | 138936.6865 | 307896.1999 | 59.9307 | 38.1
67699 | 2021-04-05 11:16 | 9.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.7238 | μmol/L | 11.1434 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.582 | 138942.6725 | 307867.4347 | 59.9307 | 38.1
67708 | 2021-04-05 11:16 | 9.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.7238 | μmol/L | 11.1434 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.582 | 138934.9977 | 307852.7074 | 59.9307 | 38.1
67717 | 2021-04-05 11:16 | 10.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.6156 | μmol/L | 11.1494 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.584 | 138930.979 | 307824.9313 | 59.9307 | 38.1
67726 | 2021-04-05 11:17 | 10.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.5404 | μmol/L | 11.1494 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.587 | 138929.9613 | 307816.042 | 59.9307 | 38.1
67735 | 2021-04-05 11:17 | 10.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.4323 | μmol/L | 11.1555 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.589 | 138927.8116 | 307788.9364 | 59.9307 | 38.1
67744 | 2021-04-05 11:17 | 11.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.4402 | μmol/L | 11.1494 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.591 | 138916.5355 | 307770.632 | 59.9307 | 38.1
67753 | 2021-04-05 11:18 | 11.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.3822 | μmol/L | 11.1555 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.591 | 138904.881 | 307754.1389 | 59.9307 | 38.1
67762 | 2021-04-05 11:18 | 11.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.2492 | μmol/L | 11.1616 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.594 | 138897.4736 | 307735.3761 | 59.9307 | 38.1
67771 | 2021-04-05 11:18 | 12.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.1662 | μmol/L | 11.1677 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 138890.5587 | 307721.7496 | 59.9307 | 38.1
67780 | 2021-04-05 11:19 | 12.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.2492 | μmol/L | 11.1616 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.594 | 138872.5288 | 307682.3532 | 59.9307 | 38.1
67789 | 2021-04-05 11:19 | 12.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.1083 | μmol/L | 11.1738 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.595 | 138859.8849 | 307678.4984 | 59.9307 | 38.1
67798 | 2021-04-05 11:19 | 13.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.0333 | μmol/L | 11.1738 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.598 | 138859.6454 | 307656.0254 | 59.9307 | 38.1
67807 | 2021-04-05 11:20 | 13.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 291.0004 | μmol/L | 11.1799 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.597 | 138839.008 | 307629.9642 | 59.9307 | 38.1
67816 | 2021-04-05 11:20 | 13.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.9254 | μmol/L | 11.1799 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.6 | 138844.8366 | 307626.3241 | 59.9307 | 38.1
67825 | 2021-04-05 11:20 | 14.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.8847 | μmol/L | 11.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.597 | 138832.1525 | 307596.9886 | 59.9307 | 38.1
67834 | 2021-04-05 11:21 | 14.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.9254 | μmol/L | 11.1799 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.6 | 138831.751 | 307594.1362 | 59.9307 | 38.1
67843 | 2021-04-05 11:21 | 14.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.8847 | μmol/L | 11.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.597 | 138824.1849 | 307581.7107 | 59.9307 | 38.1
67852 | 2021-04-05 11:21 | 15.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.7098 | μmol/L | 11.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.604 | 138813.9935 | 307555.6914 | 59.9307 | 38.1
67861 | 2021-04-05 11:22 | 15.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.6848 | μmol/L | 11.1921 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.605 | 138824.4725 | 307543.8103 | 59.9307 | 38.1
67870 | 2021-04-05 11:22 | 15.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.5271 | μmol/L | 11.1982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.609 | 138813.7376 | 307523.591 | 59.9307 | 38.1
67879 | 2021-04-05 11:22 | 16.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.3945 | μmol/L | 11.2043 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.612 | 138820.7083 | 307507.0859 | 59.9307 | 38.1
67888 | 2021-04-05 11:23 | 16.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.3945 | μmol/L | 11.2043 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.612 | 138843.2965 | 307496.2936 | 59.9307 | 38.1
67897 | 2021-04-05 11:23 | 16.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.3446 | μmol/L | 11.2043 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.614 | 138845.2632 | 307475.3461 | 59.9307 | 38.1
67906 | 2021-04-05 11:23 | 17.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.1295 | μmol/L | 11.2165 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.618 | 138848.6106 | 307446.5986 | 59.9307 | 38.1
67915 | 2021-04-05 11:24 | 17.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.0875 | μmol/L | 11.2104 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.622 | 138860.0543 | 307431.2893 | 59.9307 | 38.1
67924 | 2021-04-05 11:24 | 17.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.98 | μmol/L | 11.2165 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.624 | 138857.8767 | 307433.7461 | 59.9307 | 38.1
67933 | 2021-04-05 11:24 | 18.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.8726 | μmol/L | 11.2226 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.626 | 138845.9911 | 307418.1279 | 59.9307 | 38.1
67942 | 2021-04-05 11:25 | 18.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.9224 | μmol/L | 11.2226 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.624 | 138839.4808 | 307386.9821 | 59.9307 | 38.1
67951 | 2021-04-05 11:25 | 18.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.7901 | μmol/L | 11.2286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.627 | 138839.7085 | 307386.6292 | 59.9307 | 38.1
67960 | 2021-04-05 11:25 | 19.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.8726 | μmol/L | 11.2226 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.626 | 138826.5107 | 307368.469 | 59.9307 | 38.1
67969 | 2021-04-05 11:26 | 19.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.8399 | μmol/L | 11.2286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.625 | 138819.591 | 307357.4334 | 59.9307 | 38.1
67978 | 2021-04-05 11:26 | 19.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.7076 | μmol/L | 11.2347 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.628 | 138807.8305 | 307344.1678 | 59.9307 | 38.1
67987 | 2021-04-05 11:26 | 20.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6579 | μmol/L | 11.2347 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.63 | 138798.5714 | 307306.2828 | 59.9307 | 38.1
67996 | 2021-04-05 11:27 | 20.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6827 | μmol/L | 11.2347 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.629 | 138790.2645 | 307304.0308 | 59.9307 | 38.1
68005 | 2021-04-05 11:27 | 20.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6501 | μmol/L | 11.2408 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.628 | 138771.173 | 307285.8123 | 59.9307 | 38.1
68014 | 2021-04-05 11:27 | 21.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.675 | μmol/L | 11.2408 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.627 | 138759.7327 | 307267.1787 | 59.9307 | 38.1
68023 | 2021-04-05 11:28 | 21.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.4682 | μmol/L | 11.2469 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 138751.7052 | 307249.4937 | 59.9307 | 38.1
68032 | 2021-04-05 11:28 | 21.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6081 | μmol/L | 11.2347 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.632 | 138747.1873 | 307227.474 | 59.9307 | 38.1
68041 | 2021-04-05 11:28 | 22.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.5428 | μmol/L | 11.2469 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.63 | 138742.0376 | 307219.477 | 59.9307 | 38.1
68050 | 2021-04-05 11:29 | 22.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.4682 | μmol/L | 11.2469 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.633 | 138749.7056 | 307206.3052 | 59.9307 | 38.1
68059 | 2021-04-05 11:29 | 22.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.3859 | μmol/L | 11.253 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.634 | 138742.0993 | 307181.8427 | 59.9307 | 38.1
68068 | 2021-04-05 11:29 | 23.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.3362 | μmol/L | 11.253 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.636 | 138738.7692 | 307168.633 | 59.9307 | 38.1
68077 | 2021-04-05 11:30 | 23.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.2787 | μmol/L | 11.2591 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.636 | 138741.4157 | 307152.6303 | 59.9307 | 38.1
68086 | 2021-04-05 11:30 | 23.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.229 | μmol/L | 11.2591 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.638 | 138742.494 | 307134.0012 | 59.9307 | 38.1
68095 | 2021-04-05 11:30 | 24.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.1468 | μmol/L | 11.2652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.639 | 138744.4989 | 307114.0678 | 59.9307 | 38.1
68104 | 2021-04-05 11:31 | 24.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.1545 | μmol/L | 11.2591 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.641 | 138734.2805 | 307098.4967 | 59.9307 | 38.1
68113 | 2021-04-05 11:31 | 24.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.1219 | μmol/L | 11.2652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.64 | 138724.5433 | 307080.9221 | 59.9307 | 38.1
68122 | 2021-04-05 11:31 | 25.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0226 | μmol/L | 11.2652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.644 | 138715.0252 | 307051.666 | 59.9307 | 38.1
68131 | 2021-04-05 11:32 | 25.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0474 | μmol/L | 11.2652 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.643 | 138705.5273 | 307051.7462 | 59.9307 | 38.1
68140 | 2021-04-05 11:32 | 25.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.99 | μmol/L | 11.2713 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.643 | 138703.0385 | 307021.871 | 59.9307 | 38.1
68149 | 2021-04-05 11:32 | 26.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.9156 | μmol/L | 11.2713 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.646 | 138695.0102 | 307019.9011 | 59.9307 | 38.1
68158 | 2021-04-05 11:33 | 26.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8831 | μmol/L | 11.2774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.645 | 138691.3078 | 307001.9121 | 59.9307 | 38.1
68167 | 2021-04-05 11:33 | 26.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8086 | μmol/L | 11.2774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.648 | 138684.977 | 306981.4913 | 59.9307 | 38.1
68176 | 2021-04-05 11:33 | 27.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6847 | μmol/L | 11.2774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.653 | 138685.9302 | 306957.717 | 59.9307 | 38.1
68185 | 2021-04-05 11:34 | 27.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6351 | μmol/L | 11.2774 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.655 | 138682.3771 | 306953.8424 | 59.9307 | 38.1
68194 | 2021-04-05 11:34 | 27.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.553 | μmol/L | 11.2835 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.656 | 138683.2724 | 306938.3829 | 59.9307 | 38.1
68203 | 2021-04-05 11:34 | 28.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.5205 | μmol/L | 11.2896 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.655 | 138668.8513 | 306916.5783 | 59.9307 | 38.1
68212 | 2021-04-05 11:35 | 28.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4462 | μmol/L | 11.2896 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.658 | 138668.8115 | 306890.0209 | 59.9307 | 38.1
68221 | 2021-04-05 11:35 | 28.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4958 | μmol/L | 11.2896 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.656 | 138660.8805 | 306884.6042 | 59.9307 | 38.1
68230 | 2021-04-05 11:35 | 29.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.5453 | μmol/L | 11.2896 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.654 | 138638.3476 | 306862.8197 | 59.9307 | 38.1
68239 | 2021-04-05 11:36 | 29.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4385 | μmol/L | 11.2957 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.656 | 138631.7939 | 306852.6519 | 59.9307 | 38.1
68248 | 2021-04-05 11:36 | 29.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.389 | μmol/L | 11.2957 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.658 | 138625.2413 | 306840.6066 | 59.9307 | 38.1
68257 | 2021-04-05 11:36 | 30.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4385 | μmol/L | 11.2957 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.656 | 138611.3123 | 306812.2289 | 59.9307 | 38.1
68266 | 2021-04-05 11:37 | 30.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4633 | μmol/L | 11.2957 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.655 | 138603.6147 | 306792.977 | 59.9307 | 38.1
68275 | 2021-04-05 11:37 | 30.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.3565 | μmol/L | 11.3018 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.657 | 138597.6245 | 306796.5295 | 59.9307 | 38.1
68284 | 2021-04-05 11:37 | 31.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.29 | μmol/L | 11.2957 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 138599.2548 | 306772.1471 | 59.9307 | 38.1
68293 | 2021-04-05 11:38 | 31.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2327 | μmol/L | 11.3018 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 138590.285 | 306745.577 | 59.9307 | 38.1
68302 | 2021-04-05 11:38 | 31.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2327 | μmol/L | 11.3018 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 138580.7149 | 306735.4286 | 59.9307 | 38.1
68311 | 2021-04-05 11:38 | 32.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1755 | μmol/L | 11.3079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 138578.5328 | 306724.0812 | 59.9307 | 38.1
68320 | 2021-04-05 11:39 | 32.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1261 | μmol/L | 11.3079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.664 | 138561.2489 | 306708.6816 | 59.9307 | 38.1
68329 | 2021-04-05 11:39 | 32.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.0612 | μmol/L | 11.32 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.662 | 138554.1185 | 306690.0682 | 59.9307 | 38.1
68338 | 2021-04-05 11:39 | 33.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.0689 | μmol/L | 11.314 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.664 | 138546.2406 | 306664.7147 | 59.9307 | 38.1
68347 | 2021-04-05 11:40 | 33.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.97 | μmol/L | 11.314 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.668 | 138530.4915 | 306661.8423 | 59.9307 | 38.1
68356 | 2021-04-05 11:40 | 33.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.9453 | μmol/L | 11.314 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.669 | 138517.3827 | 306650.713 | 59.9307 | 38.1
68365 | 2021-04-05 11:40 | 34.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1431 | μmol/L | 11.314 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.661 | 138507.9066 | 306622.2747 | 59.9307 | 38.1
68374 | 2021-04-05 11:41 | 34.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.987 | μmol/L | 11.32 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.665 | 138474.9185 | 306601.4762 | 59.9307 | 38.1
68383 | 2021-04-05 11:41 | 34.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.987 | μmol/L | 11.32 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.665 | 138471.544 | 306581.2666 | 59.9307 | 38.1
68392 | 2021-04-05 11:41 | 35.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.9376 | μmol/L | 11.32 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.667 | 138413.1276 | 306581.4468 | 59.9307 | 38.1
68401 | 2021-04-05 11:42 | 35.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8063 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.67 | 138405.7993 | 306565.8698 | 59.9307 | 38.1
68410 | 2021-04-05 11:42 | 35.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8311 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.669 | 138408.5838 | 306567.6039 | 59.9307 | 38.1
68419 | 2021-04-05 11:42 | 36.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.7646 | μmol/L | 11.32 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.674 | 138421.4052 | 306569.163 | 59.9307 | 38.1
68428 | 2021-04-05 11:43 | 36.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5517 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.678 | 138453.256 | 306585.9672 | 59.9307 | 38.1
68437 | 2021-04-05 11:43 | 36.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.6088 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.678 | 138463.8315 | 306583.2636 | 59.9307 | 38.1
68446 | 2021-04-05 11:43 | 37.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4607 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.684 | 138491.3778 | 306573.4864 | 59.9307 | 38.1
68455 | 2021-04-05 11:44 | 37.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3297 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 138528.0049 | 306579.0181 | 59.9307 | 38.1
68464 | 2021-04-05 11:44 | 37.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1495 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 138545.278 | 306577.0886 | 59.9307 | 38.1
68473 | 2021-04-05 11:44 | 38.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1326 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 138578.4911 | 306576.1427 | 59.9307 | 38.1
68482 | 2021-04-05 11:45 | 38.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.034 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.699 | 138585.7776 | 306580.64 | 59.9307 | 38.1
68491 | 2021-04-05 11:45 | 38.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1403 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 138588.7691 | 306576.8677 | 59.9307 | 38.1
68500 | 2021-04-05 11:45 | 39.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1403 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 138594.6399 | 306576.9 | 59.9307 | 38.1
68509 | 2021-04-05 11:46 | 39.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1895 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 138576.0982 | 306593.784 | 59.9307 | 38.1
68518 | 2021-04-05 11:46 | 39.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2558 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 138552.5016 | 306570.429 | 59.9307 | 38.1
68527 | 2021-04-05 11:46 | 40.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2804 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 138556.8594 | 306564.1398 | 59.9307 | 38.1
68536 | 2021-04-05 11:47 | 40.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3051 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 138534.1568 | 306550.4246 | 59.9307 | 38.1
68545 | 2021-04-05 11:47 | 40.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2974 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138524.6484 | 306554.6253 | 59.9307 | 38.1
68554 | 2021-04-05 11:47 | 41.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.322 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138514.6951 | 306531.5047 | 59.9307 | 38.1
68563 | 2021-04-05 11:48 | 41.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.453 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 138498.6299 | 306535.4904 | 59.9307 | 38.1
68572 | 2021-04-05 11:48 | 41.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5101 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 138490.0836 | 306530.5988 | 59.9307 | 38.1
68581 | 2021-04-05 11:48 | 42.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4114 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138498.0362 | 306532.4292 | 59.9307 | 38.1
68590 | 2021-04-05 11:49 | 42.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5594 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.68 | 138489.1731 | 306520.503 | 59.9307 | 38.1
68599 | 2021-04-05 11:49 | 42.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.453 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 138484.5677 | 306510.8851 | 59.9307 | 38.1
68608 | 2021-04-05 11:49 | 43.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4854 | μmol/L | 11.3261 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.683 | 138482.31 | 306490.3323 | 59.9307 | 38.1
68617 | 2021-04-05 11:50 | 43.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.322 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138477.4154 | 306484.6189 | 59.9307 | 38.1
68626 | 2021-04-05 11:50 | 43.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2727 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 138490.6146 | 306468.2912 | 59.9307 | 38.1
68635 | 2021-04-05 11:50 | 44.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2974 | μmol/L | 11.3383 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138476.8098 | 306452.8773 | 59.9307 | 38.1
68644 | 2021-04-05 11:51 | 44.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3051 | μmol/L | 11.3322 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 138465.1251 | 306439.1661 | 59.9307 | 38.1
68653 | 2021-04-05 11:51 | 44.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2651 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138446.6689 | 306430.4276 | 59.9307 | 38.1
68662 | 2021-04-05 11:51 | 45.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2081 | μmol/L | 11.3505 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138442.7831 | 306402.3907 | 59.9307 | 38.1
68671 | 2021-04-05 11:52 | 45.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2651 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138432.1476 | 306407.1829 | 59.9307 | 38.1
68680 | 2021-04-05 11:52 | 45.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1835 | μmol/L | 11.3505 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138432.737 | 306381.9503 | 59.9307 | 38.1
68689 | 2021-04-05 11:52 | 46.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2404 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138418.6443 | 306367.4147 | 59.9307 | 38.1
68698 | 2021-04-05 11:53 | 46.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2651 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138411.3036 | 306334.0122 | 59.9307 | 38.1
68707 | 2021-04-05 11:53 | 46.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2158 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 138402.5667 | 306325.9557 | 59.9307 | 38.1
68716 | 2021-04-05 11:53 | 47.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.028 | μmol/L | 11.3566 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 138402.5848 | 306310.1402 | 59.9307 | 38.1
68725 | 2021-04-05 11:54 | 47.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.0772 | μmol/L | 11.3566 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 138387.1317 | 306301.3404 | 59.9307 | 38.1
68734 | 2021-04-05 11:54 | 47.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1911 | μmol/L | 11.3444 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 138385.24 | 306294.641 | 59.9307 | 38.1
68743 | 2021-04-05 11:54 | 48.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.0772 | μmol/L | 11.3566 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 138367.506 | 306256.5574 | 59.9307 | 38.1
68752 | 2021-04-05 11:55 | 48.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2081 | μmol/L | 11.3505 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 138359.8082 | 306236.6668 | 59.9307 | 38.1
68761 | 2021-04-05 11:55 | 48.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1265 | μmol/L | 11.3566 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138353.3431 | 306245.118 | 59.9307 | 38.1
68770 | 2021-04-05 11:55 | 49.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.9957 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 138343.2587 | 306227.3128 | 59.9307 | 38.1
68779 | 2021-04-05 11:56 | 49.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.028 | μmol/L | 11.3566 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 138341.9722 | 306198.699 | 59.9307 | 38.1
68788 | 2021-04-05 11:56 | 49.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8972 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.693 | 138342.6717 | 306192.0101 | 59.9307 | 38.1
68797 | 2021-04-05 11:56 | 50.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8726 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.694 | 138336.1487 | 306174.8423 | 59.9307 | 38.1
68806 | 2021-04-05 11:57 | 50.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8726 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.694 | 138337.5198 | 306163.7952 | 59.9307 | 38.1
68815 | 2021-04-05 11:57 | 50.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8157 | μmol/L | 11.3688 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.694 | 138319.8543 | 306124.7284 | 59.9307 | 38.1
68824 | 2021-04-05 11:57 | 51.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7911 | μmol/L | 11.3688 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 138322.207 | 306109.1152 | 59.9307 | 38.1
68833 | 2021-04-05 11:58 | 51.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7988 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 138309.042 | 306089.1153 | 59.9307 | 38.1
68842 | 2021-04-05 11:58 | 51.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6927 | μmol/L | 11.3688 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.699 | 138296.3661 | 306074.8327 | 59.9307 | 38.1
68851 | 2021-04-05 11:58 | 52.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8234 | μmol/L | 11.3627 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.696 | 138280.4991 | 306048.0067 | 59.9307 | 38.1
68860 | 2021-04-05 11:59 | 52.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6927 | μmol/L | 11.3688 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.699 | 138260.5267 | 306031.3646 | 59.9307 | 38.1
68869 | 2021-04-05 11:59 | 52.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7343 | μmol/L | 11.3749 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 138249.7584 | 306025.4475 | 59.9307 | 38.1
68878 | 2021-04-05 11:59 | 53.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.5545 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 138232.2042 | 306003.0335 | 59.9307 | 38.1
68887 | 2021-04-05 12:00 | 53.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6282 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 138220.0355 | 305981.5545 | 59.9307 | 38.1
68896 | 2021-04-05 12:00 | 53.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6036 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.698 | 138206.383 | 305956.0444 | 59.9307 | 38.1
68905 | 2021-04-05 12:00 | 54.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6851 | μmol/L | 11.3749 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 138197.6708 | 305949.3523 | 59.9307 | 38.1
68914 | 2021-04-05 12:01 | 54.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.5545 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 138201.6349 | 305949.0648 | 59.9307 | 38.1
68923 | 2021-04-05 12:01 | 54.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.5375 | μmol/L | 11.3749 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.703 | 138189.3499 | 305926.7496 | 59.9307 | 38.1
68932 | 2021-04-05 12:01 | 55.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.4977 | μmol/L | 11.3871 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 138174.8155 | 305901.7547 | 59.9307 | 38.1
68941 | 2021-04-05 12:02 | 55.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.3994 | μmol/L | 11.3871 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 138168.5334 | 305870.2004 | 59.9307 | 38.1
68950 | 2021-04-05 12:02 | 55.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.5053 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.702 | 138162.8266 | 305867.9 | 59.9307 | 38.1
68959 | 2021-04-05 12:02 | 56.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.4562 | μmol/L | 11.381 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 138177.3076 | 305865.1702 | 59.9307 | 38.1
68968 | 2021-04-05 12:03 | 56.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.3994 | μmol/L | 11.3871 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 138158.567 | 305850.1326 | 59.9307 | 38.1
68977 | 2021-04-05 12:03 | 56.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.2935 | μmol/L | 11.3932 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 138156.4114 | 305819.2223 | 59.9307 | 38.1
68986 | 2021-04-05 12:03 | 57.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.2444 | μmol/L | 11.3932 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 138149.0484 | 305809.7999 | 59.9307 | 38.1
68995 | 2021-04-05 12:04 | 57.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.3011 | μmol/L | 11.3871 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 138140.301 | 305799.2942 | 59.9307 | 38.1
69004 | 2021-04-05 12:04 | 57.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.2198 | μmol/L | 11.3932 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.709 | 138136.1004 | 305782.7416 | 59.9307 | 38.1
69013 | 2021-04-05 12:04 | 58.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.2444 | μmol/L | 11.3932 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 138116.9691 | 305751.5971 | 59.9307 | 38.1
69022 | 2021-04-05 12:05 | 58.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.0404 | μmol/L | 11.3993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 138116.177 | 305741.2879 | 59.9307 | 38.1
69031 | 2021-04-05 12:05 | 58.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.114 | μmol/L | 11.3993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.711 | 138097.608 | 305727.1567 | 59.9307 | 38.1
69040 | 2021-04-05 12:05 | 59.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.0328 | μmol/L | 11.4053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.712 | 138078.5713 | 305706.5889 | 59.9307 | 38.1
69049 | 2021-04-05 12:06 | 59.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.0328 | μmol/L | 11.4053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.712 | 138083.1357 | 305695.2985 | 59.9307 | 38.1
69058 | 2021-04-05 12:06 | 59.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.9837 | μmol/L | 11.4053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 138068.0112 | 305681.0012 | 59.9307 | 38.1
69067 | 2021-04-05 12:06 | 60.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.9592 | μmol/L | 11.4053 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 138058.4409 | 305659.6361 | 59.9307 | 38.1
69076 | 2021-04-05 12:07 | 60.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.0497 | μmol/L | 11.4114 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.709 | 138047.1524 | 305633.4998 | 59.9307 | 38.1