## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67443 | 2021-04-05 11:06 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.5087 | μmol/L | 10.953 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.502 | 162238.0455 | 302793.7984 | 59.9307 | 49.4
67452 | 2021-04-05 11:07 | 0.32999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.5255 | μmol/L | 10.9592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.499 | 162220.5068 | 302772.31 | 59.9307 | 49.4
67461 | 2021-04-05 11:07 | 0.66366 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4744 | μmol/L | 10.9592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.501 | 162190.0063 | 302730.1229 | 59.9307 | 49.4
67470 | 2021-04-05 11:07 | 0.99668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.5592 | μmol/L | 10.9715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.493 | 162154.3887 | 302707.4946 | 59.9307 | 49.4
67479 | 2021-04-05 11:08 | 1.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.303 | μmol/L | 10.99 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 162121.8189 | 302693.3601 | 59.9307 | 49.4
67488 | 2021-04-05 11:08 | 1.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2775 | μmol/L | 10.99 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.497 | 162093.6415 | 302685.3923 | 59.9307 | 49.4
67497 | 2021-04-05 11:08 | 1.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.3199 | μmol/L | 10.9961 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.493 | 162064.5832 | 302638.8683 | 59.9307 | 49.4
67506 | 2021-04-05 11:09 | 2.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.3286 | μmol/L | 10.99 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.495 | 162040.8472 | 302614.6384 | 59.9307 | 49.4
67515 | 2021-04-05 11:09 | 2.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2943 | μmol/L | 10.9961 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 162006.8154 | 302607.7699 | 59.9307 | 49.4
67524 | 2021-04-05 11:09 | 2.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1151 | μmol/L | 11.0146 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 161980.6593 | 302594.8792 | 59.9307 | 49.4
67533 | 2021-04-05 11:10 | 3.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1151 | μmol/L | 11.0146 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.494 | 161949.3734 | 302571.4506 | 59.9307 | 49.4
67542 | 2021-04-05 11:10 | 3.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1064 | μmol/L | 11.0208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.492 | 161925.4889 | 302539.4196 | 59.9307 | 49.4
67551 | 2021-04-05 11:10 | 3.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1575 | μmol/L | 11.0208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.49 | 161889.932 | 302531.7537 | 59.9307 | 49.4
67560 | 2021-04-05 11:11 | 4.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0977 | μmol/L | 11.0269 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.49 | 161844.9531 | 302487.1496 | 59.9307 | 49.4
67569 | 2021-04-05 11:11 | 4.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0294 | μmol/L | 11.0392 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 161826.7582 | 302473.361 | 59.9307 | 49.4
67578 | 2021-04-05 11:11 | 4.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0804 | μmol/L | 11.0392 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 161809.0001 | 302463.0829 | 59.9307 | 49.4
67587 | 2021-04-05 11:12 | 5.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9952 | μmol/L | 11.0454 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 161771.0375 | 302443.3057 | 59.9307 | 49.4
67596 | 2021-04-05 11:12 | 5.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0208 | μmol/L | 11.0454 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 161750.756 | 302423.0933 | 59.9307 | 49.4
67605 | 2021-04-05 11:12 | 5.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9356 | μmol/L | 11.0515 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 161727.4238 | 302404.8562 | 59.9307 | 49.4
67614 | 2021-04-05 11:13 | 6.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8759 | μmol/L | 11.0577 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 161693.5133 | 302405.266 | 59.9307 | 49.4
67623 | 2021-04-05 11:13 | 6.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0376 | μmol/L | 11.0515 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 161673.8204 | 302389.7631 | 59.9307 | 49.4
67632 | 2021-04-05 11:13 | 6.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8928 | μmol/L | 11.0639 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.484 | 161650.2458 | 302371.832 | 59.9307 | 49.4
67641 | 2021-04-05 11:14 | 7.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9097 | μmol/L | 11.07 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161618.2598 | 302318.0454 | 59.9307 | 49.4
67650 | 2021-04-05 11:14 | 7.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8587 | μmol/L | 11.07 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 161606.4408 | 302323.0756 | 59.9307 | 49.4
67659 | 2021-04-05 11:14 | 7.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8842 | μmol/L | 11.07 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 161581.1791 | 302288.5724 | 59.9307 | 49.4
67668 | 2021-04-05 11:15 | 8.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.7905 | μmol/L | 11.0823 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161556.8947 | 302276.3866 | 59.9307 | 49.4
67677 | 2021-04-05 11:15 | 8.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.9097 | μmol/L | 11.07 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161540.8453 | 302263.5811 | 59.9307 | 49.4
67686 | 2021-04-05 11:15 | 8.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6799 | μmol/L | 11.0885 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 161520.207 | 302245.7262 | 59.9307 | 49.4
67695 | 2021-04-05 11:16 | 9.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6968 | μmol/L | 11.0946 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 161499.0581 | 302219.3322 | 59.9307 | 49.4
67704 | 2021-04-05 11:16 | 9.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6203 | μmol/L | 11.0946 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 161487.2451 | 302216.4298 | 59.9307 | 49.4
67713 | 2021-04-05 11:16 | 9.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5862 | μmol/L | 11.1008 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 161470.9104 | 302192.6577 | 59.9307 | 49.4
67722 | 2021-04-05 11:17 | 10.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4927 | μmol/L | 11.1131 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161454.1714 | 302195.7625 | 59.9307 | 49.4
67731 | 2021-04-05 11:17 | 10.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4927 | μmol/L | 11.1131 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161426.0763 | 302161.141 | 59.9307 | 49.4
67740 | 2021-04-05 11:17 | 10.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4672 | μmol/L | 11.1131 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 161394.2542 | 302127.5613 | 59.9307 | 49.4
67749 | 2021-04-05 11:18 | 11.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3482 | μmol/L | 11.1254 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 161366.988 | 302099.1129 | 59.9307 | 49.4
67758 | 2021-04-05 11:18 | 11.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3737 | μmol/L | 11.1254 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161348.8419 | 302095.8409 | 59.9307 | 49.4
67767 | 2021-04-05 11:18 | 11.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5096 | μmol/L | 11.1193 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 161323.1464 | 302090.9652 | 59.9307 | 49.4
67776 | 2021-04-05 11:19 | 12.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3142 | μmol/L | 11.1316 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 161294.1296 | 302070.6797 | 59.9307 | 49.4
67785 | 2021-04-05 11:19 | 12.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3397 | μmol/L | 11.1316 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 161286.2356 | 302053.7465 | 59.9307 | 49.4
67794 | 2021-04-05 11:19 | 12.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2802 | μmol/L | 11.1377 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 161254.1939 | 302041.9526 | 59.9307 | 49.4
67803 | 2021-04-05 11:20 | 13.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.1698 | μmol/L | 11.1439 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 161250.942 | 302040.0402 | 59.9307 | 49.4
67812 | 2021-04-05 11:20 | 13.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2717 | μmol/L | 11.1439 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 161222.2419 | 302017.8365 | 59.9307 | 49.4
67821 | 2021-04-05 11:20 | 13.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2632 | μmol/L | 11.15 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.476 | 161188.6076 | 301999.5839 | 59.9307 | 49.4
67830 | 2021-04-05 11:21 | 14.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2632 | μmol/L | 11.15 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.476 | 161168.419 | 301996.5415 | 59.9307 | 49.4
67839 | 2021-04-05 11:21 | 14.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2292 | μmol/L | 11.1562 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 161132.2328 | 301993.8048 | 59.9307 | 49.4
67848 | 2021-04-05 11:21 | 14.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3311 | μmol/L | 11.1562 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.471 | 161104.9429 | 301952.8207 | 59.9307 | 49.4
67857 | 2021-04-05 11:22 | 15.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.3651 | μmol/L | 11.15 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.472 | 161079.3153 | 301936.9349 | 59.9307 | 49.4
67866 | 2021-04-05 11:22 | 15.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2207 | μmol/L | 11.1624 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.473 | 161067.8479 | 301932.5123 | 59.9307 | 49.4
67875 | 2021-04-05 11:22 | 15.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2462 | μmol/L | 11.1624 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.472 | 161061.1939 | 301900.6561 | 59.9307 | 49.4
67884 | 2021-04-05 11:23 | 16.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.0425 | μmol/L | 11.1808 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.473 | 161045.1728 | 301905.4199 | 59.9307 | 49.4
67893 | 2021-04-05 11:23 | 16.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.1783 | μmol/L | 11.1747 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.47 | 161032.0752 | 301879.8897 | 59.9307 | 49.4
67902 | 2021-04-05 11:23 | 16.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.0765 | μmol/L | 11.1747 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.474 | 161017.8561 | 301874.3036 | 59.9307 | 49.4
67911 | 2021-04-05 11:24 | 17.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.9917 | μmol/L | 11.1808 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 161013.0804 | 301848.2419 | 59.9307 | 49.4
67920 | 2021-04-05 11:24 | 17.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.9069 | μmol/L | 11.187 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.476 | 160999.2283 | 301827.4756 | 59.9307 | 49.4
67929 | 2021-04-05 11:24 | 17.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.856 | μmol/L | 11.187 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160993.4125 | 301820.1433 | 59.9307 | 49.4
67938 | 2021-04-05 11:25 | 18.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8221 | μmol/L | 11.1931 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.477 | 160985.7119 | 301806.8367 | 59.9307 | 49.4
67947 | 2021-04-05 11:25 | 18.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8645 | μmol/L | 11.1993 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.473 | 160954.8715 | 301812.9043 | 59.9307 | 49.4
67956 | 2021-04-05 11:25 | 18.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8137 | μmol/L | 11.1993 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 160939.1107 | 301816.9341 | 59.9307 | 49.4
67965 | 2021-04-05 11:26 | 19.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7544 | μmol/L | 11.2055 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 160923.4095 | 301788.6232 | 59.9307 | 49.4
67974 | 2021-04-05 11:26 | 19.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7544 | μmol/L | 11.2055 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 160905.3376 | 301782.6096 | 59.9307 | 49.4
67983 | 2021-04-05 11:26 | 19.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7798 | μmol/L | 11.2055 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.474 | 160881.71 | 301756.2085 | 59.9307 | 49.4
67992 | 2021-04-05 11:27 | 20.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7714 | μmol/L | 11.2116 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.472 | 160861.2982 | 301732.5019 | 59.9307 | 49.4
68001 | 2021-04-05 11:27 | 20.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8307 | μmol/L | 11.2055 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.472 | 160850.9704 | 301721.6841 | 59.9307 | 49.4
68010 | 2021-04-05 11:27 | 20.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7544 | μmol/L | 11.2055 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.475 | 160854.5758 | 301723.9975 | 59.9307 | 49.4
68019 | 2021-04-05 11:28 | 21.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.6697 | μmol/L | 11.2116 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.476 | 160850.8683 | 301708.8915 | 59.9307 | 49.4
68028 | 2021-04-05 11:28 | 21.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.6104 | μmol/L | 11.2178 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.476 | 160848.0177 | 301685.4592 | 59.9307 | 49.4
68037 | 2021-04-05 11:28 | 21.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.5596 | μmol/L | 11.2178 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160839.6183 | 301667.1456 | 59.9307 | 49.4
68046 | 2021-04-05 11:29 | 22.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.5596 | μmol/L | 11.2178 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160831.4709 | 301642.5376 | 59.9307 | 49.4
68055 | 2021-04-05 11:29 | 22.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.475 | μmol/L | 11.2239 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.479 | 160831.0196 | 301648.8207 | 59.9307 | 49.4
68064 | 2021-04-05 11:29 | 22.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4834 | μmol/L | 11.2178 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160818.5674 | 301624.9958 | 59.9307 | 49.4
68073 | 2021-04-05 11:30 | 23.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4496 | μmol/L | 11.2239 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160815.6219 | 301598.1178 | 59.9307 | 49.4
68082 | 2021-04-05 11:30 | 23.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3142 | μmol/L | 11.2301 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160799.5946 | 301596.9433 | 59.9307 | 49.4
68091 | 2021-04-05 11:30 | 23.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3142 | μmol/L | 11.2301 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160797.2191 | 301567.4249 | 59.9307 | 49.4
68100 | 2021-04-05 11:31 | 24.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.179 | μmol/L | 11.2362 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160796.4262 | 301568.8683 | 59.9307 | 49.4
68109 | 2021-04-05 11:31 | 24.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1282 | μmol/L | 11.2362 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 160792.4651 | 301561.2865 | 59.9307 | 49.4
68118 | 2021-04-05 11:31 | 24.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1706 | μmol/L | 11.2424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.484 | 160769.551 | 301543.6974 | 59.9307 | 49.4
68127 | 2021-04-05 11:32 | 25.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1452 | μmol/L | 11.2424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160751.5747 | 301524.4933 | 59.9307 | 49.4
68136 | 2021-04-05 11:32 | 25.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1706 | μmol/L | 11.2424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.484 | 160751.4468 | 301518.0358 | 59.9307 | 49.4
68145 | 2021-04-05 11:32 | 25.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0691 | μmol/L | 11.2424 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 160737.7677 | 301493.2571 | 59.9307 | 49.4
68154 | 2021-04-05 11:33 | 26.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0861 | μmol/L | 11.2486 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160716.9757 | 301475.5464 | 59.9307 | 49.4
68163 | 2021-04-05 11:33 | 26.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1282 | μmol/L | 11.2362 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 160712.404 | 301461.7962 | 59.9307 | 49.4
68172 | 2021-04-05 11:33 | 26.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9256 | μmol/L | 11.2547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160695.7793 | 301465.1695 | 59.9307 | 49.4
68181 | 2021-04-05 11:34 | 27.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.027 | μmol/L | 11.2547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160683.7328 | 301447.1742 | 59.9307 | 49.4
68190 | 2021-04-05 11:34 | 27.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9509 | μmol/L | 11.2547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 160673.7944 | 301435.2367 | 59.9307 | 49.4
68199 | 2021-04-05 11:34 | 27.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9763 | μmol/L | 11.2547 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 160663.3463 | 301427.8269 | 59.9307 | 49.4
68208 | 2021-04-05 11:35 | 28.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8918 | μmol/L | 11.2609 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.488 | 160638.4982 | 301388.7633 | 59.9307 | 49.4
68217 | 2021-04-05 11:35 | 28.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8581 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 160618.0051 | 301378.9478 | 59.9307 | 49.4
68226 | 2021-04-05 11:35 | 28.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9172 | μmol/L | 11.2609 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 160608.0488 | 301385.2278 | 59.9307 | 49.4
68235 | 2021-04-05 11:36 | 29.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8074 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160587.1234 | 301356.9302 | 59.9307 | 49.4
68244 | 2021-04-05 11:36 | 29.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8835 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160575.8249 | 301352.9324 | 59.9307 | 49.4
68253 | 2021-04-05 11:36 | 29.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8074 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160563.7166 | 301333.419 | 59.9307 | 49.4
68262 | 2021-04-05 11:37 | 30.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8074 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160553.5474 | 301316.5584 | 59.9307 | 49.4
68271 | 2021-04-05 11:37 | 30.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8244 | μmol/L | 11.2732 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160524.8778 | 301294.1812 | 59.9307 | 49.4
68280 | 2021-04-05 11:37 | 30.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7484 | μmol/L | 11.2732 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160506.0764 | 301287.5903 | 59.9307 | 49.4
68289 | 2021-04-05 11:38 | 31.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6894 | μmol/L | 11.2793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.489 | 160490.6005 | 301291.3561 | 59.9307 | 49.4
68298 | 2021-04-05 11:38 | 31.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7401 | μmol/L | 11.2793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 160469.0365 | 301277.2068 | 59.9307 | 49.4
68307 | 2021-04-05 11:38 | 31.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7317 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160443.7672 | 301261.4769 | 59.9307 | 49.4
68316 | 2021-04-05 11:39 | 32.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8751 | μmol/L | 11.2732 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.484 | 160431.8798 | 301253.2968 | 59.9307 | 49.4
68325 | 2021-04-05 11:39 | 32.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.757 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.484 | 160395.1221 | 301234.4958 | 59.9307 | 49.4
68334 | 2021-04-05 11:39 | 32.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8077 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 160382.4476 | 301222.9964 | 59.9307 | 49.4
68343 | 2021-04-05 11:40 | 33.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.833 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160366.6012 | 301195.578 | 59.9307 | 49.4
68352 | 2021-04-05 11:40 | 33.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7994 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160345.1107 | 301196.2438 | 59.9307 | 49.4
68361 | 2021-04-05 11:40 | 33.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8584 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160324.3334 | 301176.2859 | 59.9307 | 49.4
68370 | 2021-04-05 11:41 | 34.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7994 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160299.3805 | 301127.4767 | 59.9307 | 49.4
68379 | 2021-04-05 11:41 | 34.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7657 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.479 | 160287.2836 | 301138.5621 | 59.9307 | 49.4
68388 | 2021-04-05 11:41 | 34.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.85 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160193.1329 | 301130.4524 | 59.9307 | 49.4
68397 | 2021-04-05 11:42 | 35.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.774 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160166.424 | 301141.6658 | 59.9307 | 49.4
68406 | 2021-04-05 11:42 | 35.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6644 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160162.2276 | 301137.8036 | 59.9307 | 49.4
68415 | 2021-04-05 11:42 | 35.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.732 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160173.7365 | 301135.4556 | 59.9307 | 49.4
68424 | 2021-04-05 11:43 | 36.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6814 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160175.6058 | 301127.4654 | 59.9307 | 49.4
68433 | 2021-04-05 11:43 | 36.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.791 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160177.5946 | 301161.2813 | 59.9307 | 49.4
68442 | 2021-04-05 11:43 | 36.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6814 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160172.3295 | 301137.3868 | 59.9307 | 49.4
68451 | 2021-04-05 11:44 | 37.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6477 | μmol/L | 11.3101 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.479 | 160181.1512 | 301158.2098 | 59.9307 | 49.4
68460 | 2021-04-05 11:44 | 37.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.656 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160172.8154 | 301154.9417 | 59.9307 | 49.4
68469 | 2021-04-05 11:44 | 37.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.656 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160190.8678 | 301154.3262 | 59.9307 | 49.4
68478 | 2021-04-05 11:45 | 38.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6054 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160197.6838 | 301147.9513 | 59.9307 | 49.4
68487 | 2021-04-05 11:45 | 38.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.715 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160192.3347 | 301144.8613 | 59.9307 | 49.4
68496 | 2021-04-05 11:45 | 38.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.774 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160191.312 | 301124.3774 | 59.9307 | 49.4
68505 | 2021-04-05 11:46 | 39.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7234 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160209.8806 | 301155.5294 | 59.9307 | 49.4
68514 | 2021-04-05 11:46 | 39.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8667 | μmol/L | 11.2793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 160205.0213 | 301142.2058 | 59.9307 | 49.4
68523 | 2021-04-05 11:46 | 39.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8584 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160201.9415 | 301146.9065 | 59.9307 | 49.4
68532 | 2021-04-05 11:47 | 40.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0356 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160199.0476 | 301134.2085 | 59.9307 | 49.4
68541 | 2021-04-05 11:47 | 40.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9595 | μmol/L | 11.267 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160199.8621 | 301131.2375 | 59.9307 | 49.4
68550 | 2021-04-05 11:47 | 40.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0272 | μmol/L | 11.2732 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.478 | 160193.6857 | 301125.8647 | 59.9307 | 49.4
68559 | 2021-04-05 11:48 | 41.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8414 | μmol/L | 11.2793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160199.642 | 301118.1706 | 59.9307 | 49.4
68568 | 2021-04-05 11:48 | 41.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.774 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160199.1557 | 301105.0239 | 59.9307 | 49.4
68577 | 2021-04-05 11:48 | 41.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8667 | μmol/L | 11.2793 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 160187.0839 | 301097.2657 | 59.9307 | 49.4
68586 | 2021-04-05 11:49 | 42.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7824 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160184.033 | 301082.4522 | 59.9307 | 49.4
68595 | 2021-04-05 11:49 | 42.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.833 | μmol/L | 11.2855 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160181.2405 | 301064.0305 | 59.9307 | 49.4
68604 | 2021-04-05 11:49 | 42.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7234 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.483 | 160172.3548 | 301048.3638 | 59.9307 | 49.4
68613 | 2021-04-05 11:50 | 43.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6897 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.482 | 160166.2876 | 301063.9441 | 59.9307 | 49.4
68622 | 2021-04-05 11:50 | 43.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6814 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.48 | 160157.934 | 301049.2575 | 59.9307 | 49.4
68631 | 2021-04-05 11:50 | 43.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.715 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.481 | 160150.9255 | 301023.0946 | 59.9307 | 49.4
68640 | 2021-04-05 11:51 | 44.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5548 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160148.4055 | 301023.0185 | 59.9307 | 49.4
68649 | 2021-04-05 11:51 | 44.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5884 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160148.6135 | 301011.3298 | 59.9307 | 49.4
68658 | 2021-04-05 11:51 | 44.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.4705 | μmol/L | 11.3101 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160141.4507 | 300992.536 | 59.9307 | 49.4
68667 | 2021-04-05 11:52 | 45.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.4705 | μmol/L | 11.3101 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.486 | 160138.9225 | 300990.3531 | 59.9307 | 49.4
68676 | 2021-04-05 11:52 | 45.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5548 | μmol/L | 11.304 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.485 | 160138.0956 | 300983.2968 | 59.9307 | 49.4
68685 | 2021-04-05 11:52 | 45.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.4452 | μmol/L | 11.3101 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.487 | 160143.1651 | 300937.7728 | 59.9307 | 49.4
68694 | 2021-04-05 11:53 | 46.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.2598 | μmol/L | 11.3163 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.492 | 160152.9347 | 300939.1003 | 59.9307 | 49.4
68703 | 2021-04-05 11:53 | 46.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.2345 | μmol/L | 11.3163 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.493 | 160163.1252 | 300932.5857 | 59.9307 | 49.4
68712 | 2021-04-05 11:53 | 46.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.041 | μmol/L | 11.3286 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.496 | 160182.4038 | 300913.8093 | 59.9307 | 49.4
68721 | 2021-04-05 11:54 | 47.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9652 | μmol/L | 11.3286 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.499 | 160191.9563 | 300907.2999 | 59.9307 | 49.4
68730 | 2021-04-05 11:54 | 47.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.8977 | μmol/L | 11.3224 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.504 | 160220.8588 | 300904.9817 | 59.9307 | 49.4
68739 | 2021-04-05 11:54 | 47.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.6623 | μmol/L | 11.3286 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.511 | 160223.5153 | 300878.5428 | 59.9307 | 49.4
68748 | 2021-04-05 11:55 | 48.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5783 | μmol/L | 11.3348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.512 | 160250.7126 | 300865.2654 | 59.9307 | 49.4
68757 | 2021-04-05 11:55 | 48.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.4775 | μmol/L | 11.3348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.516 | 160264.1904 | 300844.1787 | 59.9307 | 49.4
68766 | 2021-04-05 11:55 | 48.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3346 | μmol/L | 11.3286 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.524 | 160283.0763 | 300833.3934 | 59.9307 | 49.4
68775 | 2021-04-05 11:56 | 49.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3094 | μmol/L | 11.3286 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.525 | 160298.6198 | 300803.1336 | 59.9307 | 49.4
68784 | 2021-04-05 11:56 | 49.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.1248 | μmol/L | 11.3348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.53 | 160326.6501 | 300797.3091 | 59.9307 | 49.4
68793 | 2021-04-05 11:56 | 49.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0493 | μmol/L | 11.3348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.533 | 160345.3638 | 300793.4776 | 59.9307 | 49.4
68802 | 2021-04-05 11:57 | 50.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9738 | μmol/L | 11.3348 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.536 | 160364.8735 | 300770.5925 | 59.9307 | 49.4
68811 | 2021-04-05 11:57 | 50.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7895 | μmol/L | 11.3409 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.541 | 160385.3806 | 300761.1664 | 59.9307 | 49.4
68820 | 2021-04-05 11:57 | 50.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6053 | μmol/L | 11.3471 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.546 | 160387.8665 | 300740.8126 | 59.9307 | 49.4
68829 | 2021-04-05 11:58 | 51.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6136 | μmol/L | 11.3409 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.548 | 160411.6311 | 300750.09 | 59.9307 | 49.4
68838 | 2021-04-05 11:58 | 51.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5634 | μmol/L | 11.3409 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.55 | 160421.9645 | 300742.1287 | 59.9307 | 49.4
68847 | 2021-04-05 11:58 | 51.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.4127 | μmol/L | 11.3409 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160425.9944 | 300712.3142 | 59.9307 | 49.4
68856 | 2021-04-05 11:59 | 52.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2707 | μmol/L | 11.3532 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160438.0597 | 300678.2338 | 59.9307 | 49.4
68865 | 2021-04-05 11:59 | 52.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2288 | μmol/L | 11.3471 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.561 | 160440.5116 | 300687.2674 | 59.9307 | 49.4
68874 | 2021-04-05 11:59 | 52.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2037 | μmol/L | 11.3471 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.562 | 160456.4734 | 300671.7946 | 59.9307 | 49.4
68883 | 2021-04-05 12:00 | 53.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0869 | μmol/L | 11.3594 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.562 | 160473.0518 | 300670.9374 | 59.9307 | 49.4
68892 | 2021-04-05 12:00 | 53.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9616 | μmol/L | 11.3594 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.567 | 160469.262 | 300660.5136 | 59.9307 | 49.4
68901 | 2021-04-05 12:00 | 53.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.8697 | μmol/L | 11.3532 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.573 | 160486.5603 | 300662.1761 | 59.9307 | 49.4
68910 | 2021-04-05 12:01 | 54.3301 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.7447 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.571 | 160477.092 | 300611.2105 | 59.9307 | 49.4
68919 | 2021-04-05 12:01 | 54.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6611 | μmol/L | 11.3594 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.579 | 160481.3832 | 300597.6555 | 59.9307 | 49.4
68928 | 2021-04-05 12:01 | 54.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.753 | μmol/L | 11.3655 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.573 | 160489.3904 | 300590.3784 | 59.9307 | 49.4
68937 | 2021-04-05 12:02 | 55.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.5695 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.578 | 160492.887 | 300572.8369 | 59.9307 | 49.4
68946 | 2021-04-05 12:02 | 55.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.5278 | μmol/L | 11.3655 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.582 | 160481.7925 | 300562.7703 | 59.9307 | 49.4
68955 | 2021-04-05 12:02 | 55.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3945 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.585 | 160490.2791 | 300546.6999 | 59.9307 | 49.4
68964 | 2021-04-05 12:03 | 56.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3945 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.585 | 160479.9957 | 300523.6953 | 59.9307 | 49.4
68973 | 2021-04-05 12:03 | 56.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3362 | μmol/L | 11.3779 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.585 | 160481.996 | 300516.5701 | 59.9307 | 49.4
68982 | 2021-04-05 12:03 | 56.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3778 | μmol/L | 11.3655 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.588 | 160478.6438 | 300505.111 | 59.9307 | 49.4
68991 | 2021-04-05 12:04 | 57.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.2612 | μmol/L | 11.3779 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.588 | 160474.1356 | 300487.448 | 59.9307 | 49.4
69000 | 2021-04-05 12:04 | 57.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3195 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.588 | 160456.0943 | 300475.7269 | 59.9307 | 49.4
69009 | 2021-04-05 12:04 | 57.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1531 | μmol/L | 11.384 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.59 | 160448.2989 | 300462.0428 | 59.9307 | 49.4
69018 | 2021-04-05 12:05 | 58.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.2695 | μmol/L | 11.3717 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.59 | 160454.021 | 300457.2311 | 59.9307 | 49.4
69027 | 2021-04-05 12:05 | 58.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1863 | μmol/L | 11.3779 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.591 | 160434.1337 | 300447.5123 | 59.9307 | 49.4
69036 | 2021-04-05 12:05 | 58.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.0782 | μmol/L | 11.384 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.593 | 160414.3432 | 300426.0676 | 59.9307 | 49.4
69045 | 2021-04-05 12:06 | 59.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1281 | μmol/L | 11.384 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.591 | 160418.6541 | 300417.8321 | 59.9307 | 49.4
69054 | 2021-04-05 12:06 | 59.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1114 | μmol/L | 11.3779 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.594 | 160395.9897 | 300405.0096 | 59.9307 | 49.4
69063 | 2021-04-05 12:06 | 59.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.995 | μmol/L | 11.3902 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.594 | 160386.8594 | 300388.4672 | 59.9307 | 49.4
69072 | 2021-04-05 12:07 | 60.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9911 | μmol/L | 11.3902 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.594 | 160376.8658 | 300367.4191 | 59.9307 | 49.4
69081 | 2021-04-05 12:07 | 60.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9202 | μmol/L | 11.3902 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.597 | 160375.1654 | 300345.2624 | 59.9307 | 49.4