## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67440 | 2021-04-05 11:06 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2736 | μmol/L | 11.0695 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.913 | 109534.6399 | 306895.0593 | 28.7 | 67.6
67449 | 2021-04-05 11:07 | 0.33719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4844 | μmol/L | 11.0573 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 109530.7409 | 306872.9637 | 28.7 | 67.6
67458 | 2021-04-05 11:07 | 0.67025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4521 | μmol/L | 11.0634 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 109518.896 | 306862.9482 | 28.7 | 67.6
67467 | 2021-04-05 11:07 | 1.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3554 | μmol/L | 11.0816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 109499.6993 | 306846.0902 | 28.7 | 67.6
67476 | 2021-04-05 11:08 | 1.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2987 | μmol/L | 11.0877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 109472.5437 | 306814.2384 | 28.7 | 67.6
67485 | 2021-04-05 11:08 | 1.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3554 | μmol/L | 11.0816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 109450.6972 | 306797.548 | 28.7 | 67.6
67494 | 2021-04-05 11:08 | 2.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3153 | μmol/L | 11.0937 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.902 | 109423.7706 | 306782.9818 | 28.7 | 67.6
67503 | 2021-04-05 11:09 | 2.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1777 | μmol/L | 11.1059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 109409.0769 | 306753.3748 | 28.7 | 67.6
67512 | 2021-04-05 11:09 | 2.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1777 | μmol/L | 11.1059 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 109383.9246 | 306718.4948 | 28.7 | 67.6
67521 | 2021-04-05 11:09 | 3.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0724 | μmol/L | 11.1119 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.905 | 109368.3637 | 306694.4229 | 28.7 | 67.6
67530 | 2021-04-05 11:10 | 3.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0403 | μmol/L | 11.118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.904 | 109350.6185 | 306661.0072 | 28.7 | 67.6
67539 | 2021-04-05 11:10 | 3.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1699 | μmol/L | 11.1119 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.901 | 109322.8432 | 306643.3978 | 28.7 | 67.6
67548 | 2021-04-05 11:10 | 4.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1133 | μmol/L | 11.118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.901 | 109298.0636 | 306614.9769 | 28.7 | 67.6
67557 | 2021-04-05 11:11 | 4.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1542 | μmol/L | 11.1241 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109266.7515 | 306596.0887 | 28.7 | 67.6
67566 | 2021-04-05 11:11 | 4.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2029 | μmol/L | 11.1241 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.895 | 109247.4757 | 306563.9659 | 28.7 | 67.6
67575 | 2021-04-05 11:11 | 5.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0412 | μmol/L | 11.1362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109232.8002 | 306548.0332 | 28.7 | 67.6
67584 | 2021-04-05 11:12 | 5.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1386 | μmol/L | 11.1362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.893 | 109202.4581 | 306525.0042 | 28.7 | 67.6
67593 | 2021-04-05 11:12 | 5.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0655 | μmol/L | 11.1362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.896 | 109174.9022 | 306489.7013 | 28.7 | 67.6
67602 | 2021-04-05 11:12 | 6.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1795 | μmol/L | 11.1423 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109158.6349 | 306470.0034 | 28.7 | 67.6
67611 | 2021-04-05 11:13 | 6.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.123 | μmol/L | 11.1484 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109135.4642 | 306459.7559 | 28.7 | 67.6
67620 | 2021-04-05 11:13 | 6.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1396 | μmol/L | 11.1544 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 109116.1325 | 306442.6085 | 28.7 | 67.6
67629 | 2021-04-05 11:13 | 7.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1074 | μmol/L | 11.1605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.885 | 109103.3219 | 306416.8857 | 28.7 | 67.6
67638 | 2021-04-05 11:14 | 7.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9856 | μmol/L | 11.1605 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.89 | 109084.4741 | 306400.2332 | 28.7 | 67.6
67647 | 2021-04-05 11:14 | 7.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9535 | μmol/L | 11.1666 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109051.1404 | 306357.6517 | 28.7 | 67.6
67656 | 2021-04-05 11:14 | 8.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9944 | μmol/L | 11.1726 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.885 | 109044.3873 | 306352.3893 | 28.7 | 67.6
67665 | 2021-04-05 11:15 | 8.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9136 | μmol/L | 11.1787 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 109021.0194 | 306324.3557 | 28.7 | 67.6
67674 | 2021-04-05 11:15 | 8.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1329 | μmol/L | 11.1787 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 109001.6019 | 306297.5505 | 28.7 | 67.6
67683 | 2021-04-05 11:15 | 9.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9136 | μmol/L | 11.1787 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108996.6821 | 306287.8295 | 28.7 | 67.6
67692 | 2021-04-05 11:16 | 9.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9623 | μmol/L | 11.1787 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.884 | 108972.528 | 306252.6678 | 28.7 | 67.6
67701 | 2021-04-05 11:16 | 9.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9225 | μmol/L | 11.1908 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 108964.4689 | 306234.3387 | 28.7 | 67.6
67710 | 2021-04-05 11:16 | 10.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9634 | μmol/L | 11.1969 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108935.8812 | 306209.2953 | 28.7 | 67.6
67719 | 2021-04-05 11:17 | 10.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9391 | μmol/L | 11.1969 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.878 | 108916.9808 | 306190.6108 | 28.7 | 67.6
67728 | 2021-04-05 11:17 | 10.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9314 | μmol/L | 11.203 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108890.9585 | 306154.6462 | 28.7 | 67.6
67737 | 2021-04-05 11:17 | 11.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9314 | μmol/L | 11.203 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108877.6769 | 306144.3547 | 28.7 | 67.6
67746 | 2021-04-05 11:18 | 11.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8262 | μmol/L | 11.2091 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.878 | 108860.5424 | 306110.9557 | 28.7 | 67.6
67755 | 2021-04-05 11:18 | 11.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8506 | μmol/L | 11.2091 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108844.5658 | 306102.3648 | 28.7 | 67.6
67764 | 2021-04-05 11:18 | 12.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7378 | μmol/L | 11.2212 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108838.429 | 306081.5718 | 28.7 | 67.6
67773 | 2021-04-05 11:19 | 12.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7865 | μmol/L | 11.2212 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.875 | 108826.3218 | 306061.4502 | 28.7 | 67.6
67782 | 2021-04-05 11:19 | 12.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7698 | μmol/L | 11.2151 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.878 | 108808.3611 | 306028.9443 | 28.7 | 67.6
67791 | 2021-04-05 11:19 | 13.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7621 | μmol/L | 11.2212 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108796.6991 | 306018.3563 | 28.7 | 67.6
67800 | 2021-04-05 11:20 | 13.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7378 | μmol/L | 11.2212 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108787.6909 | 305997.9959 | 28.7 | 67.6
67809 | 2021-04-05 11:20 | 13.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7301 | μmol/L | 11.2273 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.875 | 108772.3062 | 305974.8666 | 28.7 | 67.6
67818 | 2021-04-05 11:20 | 14.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7224 | μmol/L | 11.2333 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.873 | 108755.1612 | 305953.0103 | 28.7 | 67.6
67827 | 2021-04-05 11:21 | 14.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.666 | μmol/L | 11.2394 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.873 | 108724.6961 | 305935.1135 | 28.7 | 67.6
67836 | 2021-04-05 11:21 | 14.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7954 | μmol/L | 11.2333 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.87 | 108698.0518 | 305919.89 | 28.7 | 67.6
67845 | 2021-04-05 11:21 | 15.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8851 | μmol/L | 11.2394 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.864 | 108678.6743 | 305890.0719 | 28.7 | 67.6
67854 | 2021-04-05 11:22 | 15.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8044 | μmol/L | 11.2455 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.865 | 108663.9271 | 305891.9653 | 28.7 | 67.6
67863 | 2021-04-05 11:22 | 15.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9018 | μmol/L | 11.2455 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.861 | 108639.8873 | 305845.3662 | 28.7 | 67.6
67872 | 2021-04-05 11:22 | 16.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7724 | μmol/L | 11.2515 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.864 | 108626.9199 | 305854.7101 | 28.7 | 67.6
67881 | 2021-04-05 11:23 | 16.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8454 | μmol/L | 11.2515 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.861 | 108609.1756 | 305835.1819 | 28.7 | 67.6
67890 | 2021-04-05 11:23 | 16.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7647 | μmol/L | 11.2576 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 108601.8037 | 305808.7728 | 28.7 | 67.6
67899 | 2021-04-05 11:23 | 17.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.684 | μmol/L | 11.2637 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.863 | 108589.1689 | 305802.1138 | 28.7 | 67.6
67908 | 2021-04-05 11:24 | 17.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6034 | μmol/L | 11.2697 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.864 | 108586.8336 | 305780.1167 | 28.7 | 67.6
67917 | 2021-04-05 11:24 | 17.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6354 | μmol/L | 11.2637 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.865 | 108578.526 | 305751.3854 | 28.7 | 67.6
67926 | 2021-04-05 11:24 | 18.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6187 | μmol/L | 11.2576 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.868 | 108597.2665 | 305756.1837 | 28.7 | 67.6
67935 | 2021-04-05 11:25 | 18.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4408 | μmol/L | 11.2637 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.873 | 108599.1299 | 305743.4239 | 28.7 | 67.6
67944 | 2021-04-05 11:25 | 18.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4165 | μmol/L | 11.2637 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.874 | 108608.6375 | 305704.1371 | 28.7 | 67.6
67953 | 2021-04-05 11:25 | 19.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.263 | μmol/L | 11.2697 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.878 | 108616.4468 | 305687.7656 | 28.7 | 67.6
67962 | 2021-04-05 11:26 | 19.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0368 | μmol/L | 11.2758 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.885 | 108621.9868 | 305664.6252 | 28.7 | 67.6
67971 | 2021-04-05 11:26 | 19.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1492 | μmol/L | 11.2637 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.885 | 108612.8603 | 305660.4581 | 28.7 | 67.6
67980 | 2021-04-05 11:26 | 20.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1263 | μmol/L | 11.2819 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.879 | 108619.9918 | 305638.2423 | 28.7 | 67.6
67989 | 2021-04-05 11:27 | 20.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9078 | μmol/L | 11.2819 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.888 | 108606.8449 | 305614.8806 | 28.7 | 67.6
67998 | 2021-04-05 11:27 | 20.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9002 | μmol/L | 11.288 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108608.2727 | 305613.4272 | 28.7 | 67.6
68007 | 2021-04-05 11:27 | 21.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8683 | μmol/L | 11.294 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.885 | 108597.4215 | 305591.2415 | 28.7 | 67.6
68016 | 2021-04-05 11:28 | 21.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.844 | μmol/L | 11.294 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108581.899 | 305580.9122 | 28.7 | 67.6
68025 | 2021-04-05 11:28 | 21.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8198 | μmol/L | 11.294 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 108578.7524 | 305555.2798 | 28.7 | 67.6
68034 | 2021-04-05 11:28 | 22.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7394 | μmol/L | 11.3001 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.888 | 108572.5952 | 305534.4301 | 28.7 | 67.6
68043 | 2021-04-05 11:29 | 22.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7394 | μmol/L | 11.3001 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.888 | 108560.5456 | 305508.0946 | 28.7 | 67.6
68052 | 2021-04-05 11:29 | 22.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7394 | μmol/L | 11.3001 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.888 | 108559.739 | 305509.1568 | 28.7 | 67.6
68061 | 2021-04-05 11:29 | 23.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5545 | μmol/L | 11.3122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.891 | 108556.2471 | 305500.3098 | 28.7 | 67.6
68070 | 2021-04-05 11:30 | 23.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6909 | μmol/L | 11.3001 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.89 | 108548.8092 | 305462.2994 | 28.7 | 67.6
68079 | 2021-04-05 11:30 | 23.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7637 | μmol/L | 11.3001 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 108533.5216 | 305449.5485 | 28.7 | 67.6
68088 | 2021-04-05 11:30 | 24.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7075 | μmol/L | 11.3062 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 108523.3653 | 305420.0126 | 28.7 | 67.6
68097 | 2021-04-05 11:31 | 24.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6514 | μmol/L | 11.3122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.887 | 108518.3589 | 305417.0137 | 28.7 | 67.6
68106 | 2021-04-05 11:31 | 24.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7318 | μmol/L | 11.3062 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108493.3742 | 305392.7398 | 28.7 | 67.6
68115 | 2021-04-05 11:31 | 25.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7318 | μmol/L | 11.3062 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108467.6711 | 305367.4264 | 28.7 | 67.6
68124 | 2021-04-05 11:32 | 25.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7727 | μmol/L | 11.3122 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.882 | 108447.6113 | 305337.736 | 28.7 | 67.6
68133 | 2021-04-05 11:32 | 25.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7408 | μmol/L | 11.3183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 108435.8288 | 305326.5356 | 28.7 | 67.6
68142 | 2021-04-05 11:32 | 26.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7166 | μmol/L | 11.3183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.882 | 108417.5793 | 305292.2632 | 28.7 | 67.6
68151 | 2021-04-05 11:33 | 26.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8136 | μmol/L | 11.3183 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.878 | 108403.5585 | 305280.2614 | 28.7 | 67.6
68160 | 2021-04-05 11:33 | 26.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6847 | μmol/L | 11.3244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 108389.8223 | 305265.4837 | 28.7 | 67.6
68169 | 2021-04-05 11:33 | 27.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.709 | μmol/L | 11.3244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.88 | 108365.772 | 305254.4453 | 28.7 | 67.6
68178 | 2021-04-05 11:34 | 27.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6938 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108353.7562 | 305225.77 | 28.7 | 67.6
68187 | 2021-04-05 11:34 | 27.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7817 | μmol/L | 11.3244 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108346.6392 | 305215.5176 | 28.7 | 67.6
68196 | 2021-04-05 11:34 | 28.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5726 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 108338.4287 | 305194.9367 | 28.7 | 67.6
68205 | 2021-04-05 11:35 | 28.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7256 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.877 | 108333.7072 | 305190.4855 | 28.7 | 67.6
68214 | 2021-04-05 11:35 | 28.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7499 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108320.2701 | 305160.281 | 28.7 | 67.6
68223 | 2021-04-05 11:35 | 29.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.565 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.879 | 108308.8734 | 305162.24 | 28.7 | 67.6
68232 | 2021-04-05 11:36 | 29.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.662 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.875 | 108298.0344 | 305142.5833 | 28.7 | 67.6
68241 | 2021-04-05 11:36 | 29.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6938 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108284.368 | 305109.6573 | 28.7 | 67.6
68250 | 2021-04-05 11:36 | 30.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.565 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.879 | 108268.1297 | 305095.7506 | 28.7 | 67.6
68259 | 2021-04-05 11:37 | 30.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4848 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.88 | 108284.9212 | 305065.9259 | 28.7 | 67.6
68268 | 2021-04-05 11:37 | 30.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2834 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 108279.3286 | 305056.7495 | 28.7 | 67.6
68277 | 2021-04-05 11:37 | 31.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4681 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.883 | 108272.3076 | 305037.2769 | 28.7 | 67.6
68286 | 2021-04-05 11:38 | 31.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5166 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.881 | 108247.4895 | 305024.475 | 28.7 | 67.6
68295 | 2021-04-05 11:38 | 31.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.565 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.879 | 108228.5257 | 305003.2598 | 28.7 | 67.6
68304 | 2021-04-05 11:38 | 32.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6059 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.875 | 108182.987 | 304979.1062 | 28.7 | 67.6
68313 | 2021-04-05 11:39 | 32.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7999 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.867 | 108148.1714 | 304979.4927 | 28.7 | 67.6
68322 | 2021-04-05 11:39 | 32.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9288 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.864 | 108101.1639 | 304938.3486 | 28.7 | 67.6
68331 | 2021-04-05 11:39 | 33.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2522 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.853 | 108067.9268 | 304931.9608 | 28.7 | 67.6
68340 | 2021-04-05 11:40 | 33.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2765 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.852 | 108030.3065 | 304911.8763 | 28.7 | 67.6
68349 | 2021-04-05 11:40 | 33.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.357 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.851 | 108013.2086 | 304889.7154 | 28.7 | 67.6
68358 | 2021-04-05 11:40 | 34.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3251 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.85 | 107993.1388 | 304854.9138 | 28.7 | 67.6
68367 | 2021-04-05 11:41 | 34.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4056 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.849 | 107980.0103 | 304859.7599 | 28.7 | 67.6
68376 | 2021-04-05 11:41 | 34.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4056 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.849 | 107962.9366 | 304831.6647 | 28.7 | 67.6
68385 | 2021-04-05 11:41 | 35.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4543 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.847 | 107937.7037 | 304813.2468 | 28.7 | 67.6
68394 | 2021-04-05 11:42 | 35.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3662 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.846 | 107890.755 | 304773.3367 | 28.7 | 67.6
68403 | 2021-04-05 11:42 | 35.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4072 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.842 | 107889.7074 | 304803.6572 | 28.7 | 67.6
68412 | 2021-04-05 11:42 | 36.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.398 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.847 | 107889.2204 | 304806.3716 | 28.7 | 67.6
68421 | 2021-04-05 11:43 | 36.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2857 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.847 | 107892.9568 | 304804.1969 | 28.7 | 67.6
68430 | 2021-04-05 11:43 | 36.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.31 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.846 | 107895.61 | 304812.8653 | 28.7 | 67.6
68439 | 2021-04-05 11:43 | 37.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2613 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.848 | 107899.5704 | 304809.9263 | 28.7 | 67.6
68448 | 2021-04-05 11:44 | 37.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.108 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.852 | 107912.7444 | 304811.2002 | 28.7 | 67.6
68457 | 2021-04-05 11:44 | 37.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9062 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.858 | 107955.1961 | 304834.6535 | 28.7 | 67.6
68466 | 2021-04-05 11:44 | 38.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8894 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.861 | 107987.6941 | 304829.4173 | 28.7 | 67.6
68475 | 2021-04-05 11:45 | 38.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7606 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.864 | 107993.5447 | 304836.3331 | 28.7 | 67.6
68484 | 2021-04-05 11:45 | 38.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9137 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.86 | 107999.1858 | 304852.7879 | 28.7 | 67.6
68493 | 2021-04-05 11:45 | 39.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7681 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.866 | 108000.0192 | 304858.8783 | 28.7 | 67.6
68502 | 2021-04-05 11:46 | 39.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8485 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.865 | 108007.3948 | 304859.8609 | 28.7 | 67.6
68511 | 2021-04-05 11:46 | 39.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9213 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 107998.5816 | 304841.0932 | 28.7 | 67.6
68520 | 2021-04-05 11:46 | 40.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8242 | μmol/L | 11.3486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.866 | 108021.4642 | 304839.2698 | 28.7 | 67.6
68529 | 2021-04-05 11:47 | 40.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6151 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.87 | 108041.5533 | 304844.0201 | 28.7 | 67.6
68538 | 2021-04-05 11:47 | 40.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6711 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.87 | 108043.9277 | 304834.3128 | 28.7 | 67.6
68547 | 2021-04-05 11:47 | 41.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4939 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.875 | 108045.6771 | 304822.2291 | 28.7 | 67.6
68556 | 2021-04-05 11:48 | 41.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5257 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 108051.1476 | 304812.5653 | 28.7 | 67.6
68565 | 2021-04-05 11:48 | 41.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5757 | μmol/L | 11.3729 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.867 | 108048.6452 | 304801.4329 | 28.7 | 67.6
68574 | 2021-04-05 11:48 | 42.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5666 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.872 | 108041.5038 | 304788.3387 | 28.7 | 67.6
68583 | 2021-04-05 11:49 | 42.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6226 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.872 | 108023.5849 | 304771.9181 | 28.7 | 67.6
68592 | 2021-04-05 11:49 | 42.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6318 | μmol/L | 11.3669 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.867 | 107995.2165 | 304749.9635 | 28.7 | 67.6
68601 | 2021-04-05 11:49 | 43.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7848 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.863 | 107985.0529 | 304752.5301 | 28.7 | 67.6
68610 | 2021-04-05 11:50 | 43.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7121 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.866 | 107981.2273 | 304735.8244 | 28.7 | 67.6
68619 | 2021-04-05 11:50 | 43.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7363 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.865 | 107967.3939 | 304722.0043 | 28.7 | 67.6
68628 | 2021-04-05 11:50 | 44.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6803 | μmol/L | 11.3669 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.865 | 107948.7754 | 304693.6856 | 28.7 | 67.6
68637 | 2021-04-05 11:51 | 44.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9137 | μmol/L | 11.3547 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.86 | 107936.2894 | 304690.9641 | 28.7 | 67.6
68646 | 2021-04-05 11:51 | 44.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8091 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 107917.3508 | 304663.5002 | 28.7 | 67.6
68655 | 2021-04-05 11:51 | 45.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9547 | μmol/L | 11.3608 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.856 | 107919.248 | 304659.1272 | 28.7 | 67.6
68664 | 2021-04-05 11:52 | 45.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.753 | μmol/L | 11.3669 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.862 | 107917.1663 | 304628.4548 | 28.7 | 67.6
68673 | 2021-04-05 11:52 | 45.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7288 | μmol/L | 11.3669 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.863 | 107922.9369 | 304605.1198 | 28.7 | 67.6
68682 | 2021-04-05 11:52 | 46.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6075 | μmol/L | 11.3669 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.868 | 107937.41 | 304594.1423 | 28.7 | 67.6
68691 | 2021-04-05 11:53 | 46.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3577 | μmol/L | 11.3729 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.876 | 107945.9112 | 304573.0689 | 28.7 | 67.6
68700 | 2021-04-05 11:53 | 46.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4546 | μmol/L | 11.3729 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.872 | 107956.6291 | 304569.5459 | 28.7 | 67.6
68709 | 2021-04-05 11:53 | 47.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2049 | μmol/L | 11.379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.88 | 107961.0631 | 304536.4167 | 28.7 | 67.6
68718 | 2021-04-05 11:54 | 47.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1081 | μmol/L | 11.379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.884 | 107977.9272 | 304513.1455 | 28.7 | 67.6
68727 | 2021-04-05 11:54 | 47.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0597 | μmol/L | 11.379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.886 | 107990.0221 | 304500.5192 | 28.7 | 67.6
68736 | 2021-04-05 11:54 | 48.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8512 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.89 | 107996.4921 | 304469.0699 | 28.7 | 67.6
68745 | 2021-04-05 11:55 | 48.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9388 | μmol/L | 11.379 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.891 | 108013.1329 | 304453.2699 | 28.7 | 67.6
68754 | 2021-04-05 11:55 | 48.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7545 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.894 | 108014.3587 | 304448.2383 | 28.7 | 67.6
68763 | 2021-04-05 11:55 | 49.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.593 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 108021.5124 | 304435.2915 | 28.7 | 67.6
68772 | 2021-04-05 11:56 | 49.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5855 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.901 | 108018.6727 | 304410.4797 | 28.7 | 67.6
68781 | 2021-04-05 11:56 | 49.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5131 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.904 | 108016.7593 | 304385.5388 | 28.7 | 67.6
68790 | 2021-04-05 11:56 | 50.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5206 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 108023.122 | 304386.1414 | 28.7 | 67.6
68799 | 2021-04-05 11:57 | 50.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5372 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 108010.0507 | 304355.1749 | 28.7 | 67.6
68808 | 2021-04-05 11:57 | 50.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5206 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 107991.6981 | 304335.9979 | 28.7 | 67.6
68817 | 2021-04-05 11:57 | 51.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.593 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 107991.4412 | 304314.3887 | 28.7 | 67.6
68826 | 2021-04-05 11:58 | 51.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4165 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 107982.3556 | 304305.8591 | 28.7 | 67.6
68835 | 2021-04-05 11:58 | 51.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4482 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107967.715 | 304278.7797 | 28.7 | 67.6
68844 | 2021-04-05 11:58 | 52.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4482 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107967.4703 | 304239.3537 | 28.7 | 67.6
68853 | 2021-04-05 11:59 | 52.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4482 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107971.0091 | 304234.6481 | 28.7 | 67.6
68862 | 2021-04-05 11:59 | 52.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3999 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 107972.617 | 304210.1985 | 28.7 | 67.6
68871 | 2021-04-05 11:59 | 53.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3276 | μmol/L | 11.3851 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 107969.4041 | 304204.002 | 28.7 | 67.6
68880 | 2021-04-05 12:00 | 53.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3683 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 107952.3063 | 304179.8225 | 28.7 | 67.6
68889 | 2021-04-05 12:00 | 53.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2643 | μmol/L | 11.3972 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.912 | 107942.1607 | 304156.7725 | 28.7 | 67.6
68898 | 2021-04-05 12:00 | 54.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3442 | μmol/L | 11.3911 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 107930.0078 | 304131.1181 | 28.7 | 67.6
68907 | 2021-04-05 12:01 | 54.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.305 | μmol/L | 11.4033 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 107908.7681 | 304111.2291 | 28.7 | 67.6
68916 | 2021-04-05 12:01 | 54.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2252 | μmol/L | 11.4093 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107892.244 | 304098.7754 | 28.7 | 67.6
68925 | 2021-04-05 12:01 | 55.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1695 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107874.4766 | 304068.1825 | 28.7 | 67.6
68934 | 2021-04-05 12:02 | 55.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2493 | μmol/L | 11.4093 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 107864.2372 | 304057.8535 | 28.7 | 67.6
68943 | 2021-04-05 12:02 | 55.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1695 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107848.4808 | 304040.1085 | 28.7 | 67.6
68952 | 2021-04-05 12:02 | 56.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2177 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.907 | 107844.2127 | 304024.2479 | 28.7 | 67.6
68961 | 2021-04-05 12:03 | 56.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1695 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.909 | 107825.5759 | 304000.567 | 28.7 | 67.6
68970 | 2021-04-05 12:03 | 56.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2584 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.903 | 107805.9881 | 303982.2518 | 28.7 | 67.6
68979 | 2021-04-05 12:03 | 57.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1936 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 107790.0192 | 303959.4349 | 28.7 | 67.6
68988 | 2021-04-05 12:04 | 57.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.29 | μmol/L | 11.4154 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.904 | 107774.4392 | 303950.9858 | 28.7 | 67.6
68997 | 2021-04-05 12:04 | 57.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1861 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 107774.3372 | 303937.7393 | 28.7 | 67.6
69006 | 2021-04-05 12:04 | 58.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1861 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 107763.2988 | 303902.5113 | 28.7 | 67.6
69015 | 2021-04-05 12:05 | 58.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1989 | μmol/L | 11.4275 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 107753.5781 | 303896.6881 | 28.7 | 67.6
69024 | 2021-04-05 12:05 | 58.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1379 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.908 | 107743.3532 | 303873.4106 | 28.7 | 67.6
69033 | 2021-04-05 12:05 | 59.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0897 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 107740.6206 | 303853.4214 | 28.7 | 67.6
69042 | 2021-04-05 12:06 | 59.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0656 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.911 | 107739.8419 | 303837.5759 | 28.7 | 67.6
69051 | 2021-04-05 12:06 | 59.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9933 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.914 | 107748.4414 | 303808.8524 | 28.7 | 67.6
69060 | 2021-04-05 12:06 | 60.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.034 | μmol/L | 11.4275 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 107739.0367 | 303798.2054 | 28.7 | 67.6
69069 | 2021-04-05 12:07 | 60.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9783 | μmol/L | 11.4336 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.91 | 107709.5041 | 303784.6541 | 28.7 | 67.6
69078 | 2021-04-05 12:07 | 60.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1861 | μmol/L | 11.4215 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.906 | 107679.3499 | 303765.2265 | 28.7 | 67.6