## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67442 | 2021-04-05 11:06 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.5146 | μmol/L | 10.947 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 113129.1474 | 309565.2609 | 30.45 | 114.2
67451 | 2021-04-05 11:07 | 0.32537 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.6449 | μmol/L | 10.9408 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.942 | 113134.9896 | 309548.0698 | 30.45 | 114.2
67460 | 2021-04-05 11:07 | 0.65923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.4489 | μmol/L | 10.9592 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.943 | 113122.7525 | 309520.1934 | 30.45 | 114.2
67469 | 2021-04-05 11:07 | 0.99235 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2943 | μmol/L | 10.9653 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.947 | 113116.503 | 309498.4681 | 30.45 | 114.2
67478 | 2021-04-05 11:08 | 1.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2286 | μmol/L | 10.9776 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 113108.7133 | 309474.0951 | 30.45 | 114.2
67487 | 2021-04-05 11:08 | 1.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0742 | μmol/L | 10.9837 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.949 | 113088.0839 | 309457.1204 | 30.45 | 114.2
67496 | 2021-04-05 11:08 | 1.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.09 | μmol/L | 10.9899 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.946 | 113078.1611 | 309424.3524 | 30.45 | 114.2
67505 | 2021-04-05 11:09 | 2.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8386 | μmol/L | 10.996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.954 | 113074.5069 | 309409.9026 | 30.45 | 114.2
67514 | 2021-04-05 11:09 | 2.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9272 | μmol/L | 11.0021 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.948 | 113053.0767 | 309381.0663 | 30.45 | 114.2
67523 | 2021-04-05 11:09 | 2.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.773 | μmol/L | 11.0082 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.952 | 113037.1197 | 309363.9182 | 30.45 | 114.2
67532 | 2021-04-05 11:10 | 3.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8617 | μmol/L | 11.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.946 | 113011.2195 | 309333.6078 | 30.45 | 114.2
67541 | 2021-04-05 11:10 | 3.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.886 | μmol/L | 11.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 112993.7372 | 309304.8922 | 30.45 | 114.2
67550 | 2021-04-05 11:10 | 3.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7075 | μmol/L | 11.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 112978.7931 | 309280.1706 | 30.45 | 114.2
67559 | 2021-04-05 11:11 | 4.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6421 | μmol/L | 11.0328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.948 | 112966.9182 | 309254.6521 | 30.45 | 114.2
67568 | 2021-04-05 11:11 | 4.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6663 | μmol/L | 11.0328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.947 | 112954.7994 | 309238.297 | 30.45 | 114.2
67577 | 2021-04-05 11:11 | 4.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6009 | μmol/L | 11.045 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 112946.2682 | 309223.347 | 30.45 | 114.2
67586 | 2021-04-05 11:12 | 5.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.5197 | μmol/L | 11.0511 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.946 | 112926.6436 | 309206.1135 | 30.45 | 114.2
67595 | 2021-04-05 11:12 | 5.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4627 | μmol/L | 11.0573 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.946 | 112911.3519 | 309165.579 | 30.45 | 114.2
67604 | 2021-04-05 11:12 | 5.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.5439 | μmol/L | 11.0511 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 112902.8453 | 309172.2884 | 30.45 | 114.2
67613 | 2021-04-05 11:13 | 6.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2519 | μmol/L | 11.0695 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 112907.3042 | 309139.963 | 30.45 | 114.2
67622 | 2021-04-05 11:13 | 6.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2277 | μmol/L | 11.0695 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.951 | 112894.9681 | 309108.8665 | 30.45 | 114.2
67631 | 2021-04-05 11:13 | 6.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2762 | μmol/L | 11.0695 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.949 | 112877.4608 | 309090.7926 | 30.45 | 114.2
67640 | 2021-04-05 11:14 | 7.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1624 | μmol/L | 11.0818 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.949 | 112856.1395 | 309055.2994 | 30.45 | 114.2
67649 | 2021-04-05 11:14 | 7.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2435 | μmol/L | 11.0757 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.948 | 112839.5517 | 309040.7798 | 30.45 | 114.2
67658 | 2021-04-05 11:14 | 7.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0245 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 112824.2044 | 309020.8482 | 30.45 | 114.2
67667 | 2021-04-05 11:15 | 8.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1457 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.945 | 112809.5789 | 309002.4287 | 30.45 | 114.2
67676 | 2021-04-05 11:15 | 8.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0646 | μmol/L | 11.1002 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.946 | 112785.0856 | 308973.9911 | 30.45 | 114.2
67685 | 2021-04-05 11:15 | 8.9919 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1699 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.944 | 112777.7192 | 308955.2962 | 30.45 | 114.2
67694 | 2021-04-05 11:16 | 9.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1699 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.944 | 112760.1546 | 308922.9957 | 30.45 | 114.2
67703 | 2021-04-05 11:16 | 9.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0805 | μmol/L | 11.1063 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.943 | 112730.121 | 308910.472 | 30.45 | 114.2
67712 | 2021-04-05 11:16 | 9.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1615 | μmol/L | 11.1002 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.942 | 112719.0594 | 308868.9528 | 30.45 | 114.2
67721 | 2021-04-05 11:17 | 10.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0395 | μmol/L | 11.1186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.94 | 112698.1807 | 308864.1082 | 30.45 | 114.2
67730 | 2021-04-05 11:17 | 10.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0395 | μmol/L | 11.1186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.94 | 112664.4414 | 308838.9346 | 30.45 | 114.2
67739 | 2021-04-05 11:17 | 10.9919 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0554 | μmol/L | 11.1247 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.937 | 112651.3147 | 308813.3723 | 30.45 | 114.2
67748 | 2021-04-05 11:18 | 11.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9661 | μmol/L | 11.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.936 | 112642.9232 | 308789.5946 | 30.45 | 114.2
67757 | 2021-04-05 11:18 | 11.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0145 | μmol/L | 11.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.934 | 112618.2073 | 308781.3478 | 30.45 | 114.2
67766 | 2021-04-05 11:18 | 11.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9903 | μmol/L | 11.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.935 | 112599.4076 | 308756.0868 | 30.45 | 114.2
67775 | 2021-04-05 11:19 | 12.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.901 | μmol/L | 11.1492 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.934 | 112579.0494 | 308736.9544 | 30.45 | 114.2
67784 | 2021-04-05 11:19 | 12.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9328 | μmol/L | 11.1615 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.928 | 112547.343 | 308722.4469 | 30.45 | 114.2
67793 | 2021-04-05 11:19 | 12.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0297 | μmol/L | 11.1615 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112508.1769 | 308699.747 | 30.45 | 114.2
67802 | 2021-04-05 11:20 | 13.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1267 | μmol/L | 11.1615 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112482.1282 | 308676.8006 | 30.45 | 114.2
67811 | 2021-04-05 11:20 | 13.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1184 | μmol/L | 11.1676 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 112450.1266 | 308653.8836 | 30.45 | 114.2
67820 | 2021-04-05 11:20 | 13.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0291 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112428.8054 | 308631.9886 | 30.45 | 114.2
67829 | 2021-04-05 11:21 | 14.3255 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2071 | μmol/L | 11.1737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.912 | 112399.7991 | 308609.7131 | 30.45 | 114.2
67838 | 2021-04-05 11:21 | 14.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1261 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112385.3735 | 308599.4868 | 30.45 | 114.2
67847 | 2021-04-05 11:21 | 14.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0693 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112368.6548 | 308570.2319 | 30.45 | 114.2
67856 | 2021-04-05 11:22 | 15.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0209 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112360.5089 | 308551.1387 | 30.45 | 114.2
67865 | 2021-04-05 11:22 | 15.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1663 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.909 | 112348.6216 | 308549.734 | 30.45 | 114.2
67874 | 2021-04-05 11:22 | 15.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9399 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112364.9386 | 308522.8766 | 30.45 | 114.2
67883 | 2021-04-05 11:23 | 16.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1503 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.912 | 112358.8833 | 308506.6667 | 30.45 | 114.2
67892 | 2021-04-05 11:23 | 16.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0451 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112343.7642 | 308489.1711 | 30.45 | 114.2
67901 | 2021-04-05 11:23 | 16.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9482 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 112332.8959 | 308475.6337 | 30.45 | 114.2
67910 | 2021-04-05 11:24 | 17.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9399 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112325.2998 | 308448.0396 | 30.45 | 114.2
67919 | 2021-04-05 11:24 | 17.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0209 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112322.0784 | 308449.2333 | 30.45 | 114.2
67928 | 2021-04-05 11:24 | 17.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8105 | μmol/L | 11.1983 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112303.1929 | 308413.2414 | 30.45 | 114.2
67937 | 2021-04-05 11:25 | 18.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9074 | μmol/L | 11.1983 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112290.0914 | 308396.7768 | 30.45 | 114.2
67946 | 2021-04-05 11:25 | 18.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7539 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112266.5732 | 308381.8025 | 30.45 | 114.2
67955 | 2021-04-05 11:25 | 18.9919 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9316 | μmol/L | 11.1983 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112263.2076 | 308374.0626 | 30.45 | 114.2
67964 | 2021-04-05 11:26 | 19.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.875 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112247.9677 | 308354.4719 | 30.45 | 114.2
67973 | 2021-04-05 11:26 | 19.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9476 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.911 | 112242.1314 | 308338.1907 | 30.45 | 114.2
67982 | 2021-04-05 11:26 | 19.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8425 | μmol/L | 11.2105 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112242.9407 | 308332.5776 | 30.45 | 114.2
67991 | 2021-04-05 11:27 | 20.3253 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7374 | μmol/L | 11.2166 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112224.3372 | 308298.9485 | 30.45 | 114.2
68000 | 2021-04-05 11:27 | 20.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7374 | μmol/L | 11.2166 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112213.283 | 308284.3572 | 30.45 | 114.2
68009 | 2021-04-05 11:27 | 20.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.705 | μmol/L | 11.2228 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112203.9245 | 308268.1848 | 30.45 | 114.2
68018 | 2021-04-05 11:28 | 21.3252 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6725 | μmol/L | 11.2289 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112196.8196 | 308258.4445 | 30.45 | 114.2
68027 | 2021-04-05 11:28 | 21.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6725 | μmol/L | 11.2289 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112191.3437 | 308237.2402 | 30.45 | 114.2
68036 | 2021-04-05 11:28 | 21.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4949 | μmol/L | 11.235 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 112197.4072 | 308229.7775 | 30.45 | 114.2
68045 | 2021-04-05 11:29 | 22.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5274 | μmol/L | 11.2289 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112191.6543 | 308201.6328 | 30.45 | 114.2
68054 | 2021-04-05 11:29 | 22.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4466 | μmol/L | 11.235 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112175.6746 | 308183.0687 | 30.45 | 114.2
68063 | 2021-04-05 11:29 | 22.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4867 | μmol/L | 11.2412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112161.4581 | 308176.8927 | 30.45 | 114.2
68072 | 2021-04-05 11:30 | 23.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5351 | μmol/L | 11.2412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112143.649 | 308142.639 | 30.45 | 114.2
68081 | 2021-04-05 11:30 | 23.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5511 | μmol/L | 11.2473 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.911 | 112127.8008 | 308135.7737 | 30.45 | 114.2
68090 | 2021-04-05 11:30 | 23.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3576 | μmol/L | 11.2473 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112120.5275 | 308122.4588 | 30.45 | 114.2
68099 | 2021-04-05 11:31 | 24.3255 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.422 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112108.1295 | 308097.1303 | 30.45 | 114.2
68108 | 2021-04-05 11:31 | 24.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4462 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112082.5928 | 308074.5547 | 30.45 | 114.2
68117 | 2021-04-05 11:31 | 24.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3978 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 112078.4103 | 308066.8529 | 30.45 | 114.2
68126 | 2021-04-05 11:32 | 25.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4462 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112084.7436 | 308040.2221 | 30.45 | 114.2
68135 | 2021-04-05 11:32 | 25.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3494 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112084.2748 | 308023.9335 | 30.45 | 114.2
68144 | 2021-04-05 11:32 | 25.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2769 | μmol/L | 11.2534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112085.3386 | 308014.4772 | 30.45 | 114.2
68153 | 2021-04-05 11:33 | 26.3255 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2364 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112083.0422 | 307998.6577 | 30.45 | 114.2
68162 | 2021-04-05 11:33 | 26.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1881 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112075.9132 | 307985.0056 | 30.45 | 114.2
68171 | 2021-04-05 11:33 | 26.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1721 | μmol/L | 11.2595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112073.1219 | 307960.9411 | 30.45 | 114.2
68180 | 2021-04-05 11:34 | 27.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1639 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112071.561 | 307946.2563 | 30.45 | 114.2
68189 | 2021-04-05 11:34 | 27.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0833 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112057.0913 | 307919.547 | 30.45 | 114.2
68198 | 2021-04-05 11:34 | 27.9921 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0914 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112045.4462 | 307900.5306 | 30.45 | 114.2
68207 | 2021-04-05 11:35 | 28.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0673 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112042.7562 | 307890.9613 | 30.45 | 114.2
68216 | 2021-04-05 11:35 | 28.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9867 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.925 | 112047.1147 | 307871.671 | 30.45 | 114.2
68225 | 2021-04-05 11:35 | 28.9921 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0591 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112031.2793 | 307858.6928 | 30.45 | 114.2
68234 | 2021-04-05 11:36 | 29.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0431 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.925 | 111998.6698 | 307840.8099 | 30.45 | 114.2
68243 | 2021-04-05 11:36 | 29.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.051 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 111985.9812 | 307821.157 | 30.45 | 114.2
68252 | 2021-04-05 11:36 | 29.9921 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0993 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 111967.9338 | 307801.322 | 30.45 | 114.2
68261 | 2021-04-05 11:37 | 30.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2041 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 111960.6592 | 307786.2784 | 30.45 | 114.2
68270 | 2021-04-05 11:37 | 30.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1557 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 111948.1947 | 307752.0272 | 30.45 | 114.2
68279 | 2021-04-05 11:37 | 30.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1557 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 111940.471 | 307749.6022 | 30.45 | 114.2
68288 | 2021-04-05 11:38 | 31.3253 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0833 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.921 | 111932.1949 | 307748.5003 | 30.45 | 114.2
68297 | 2021-04-05 11:38 | 31.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1074 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 111931.3998 | 307698.4479 | 30.45 | 114.2
68306 | 2021-04-05 11:38 | 31.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0751 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.919 | 111920.9908 | 307693.4349 | 30.45 | 114.2
68315 | 2021-04-05 11:39 | 32.3252 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1074 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 111918.1385 | 307670.9809 | 30.45 | 114.2
68324 | 2021-04-05 11:39 | 32.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0591 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.922 | 111907.7493 | 307657.3335 | 30.45 | 114.2
68333 | 2021-04-05 11:39 | 32.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0268 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.921 | 111898.6941 | 307643.5262 | 30.45 | 114.2
68342 | 2021-04-05 11:40 | 33.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.051 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.92 | 111885.1591 | 307606.793 | 30.45 | 114.2
68351 | 2021-04-05 11:40 | 33.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1476 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 111862.2264 | 307597.9594 | 30.45 | 114.2
68360 | 2021-04-05 11:40 | 33.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1234 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.917 | 111843.1633 | 307582.7029 | 30.45 | 114.2
68369 | 2021-04-05 11:41 | 34.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1234 | μmol/L | 11.2779 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.917 | 111822.9573 | 307554.886 | 30.45 | 114.2
68378 | 2021-04-05 11:41 | 34.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2602 | μmol/L | 11.2841 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.909 | 111802.386 | 307545.1132 | 30.45 | 114.2
68387 | 2021-04-05 11:41 | 34.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1394 | μmol/L | 11.2841 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 111751.8438 | 307533.8719 | 30.45 | 114.2
68396 | 2021-04-05 11:42 | 35.3253 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1796 | μmol/L | 11.2902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.91 | 111732.7334 | 307521.6893 | 30.45 | 114.2
68405 | 2021-04-05 11:42 | 35.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1313 | μmol/L | 11.2902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.912 | 111721.5753 | 307524.6819 | 30.45 | 114.2
68414 | 2021-04-05 11:42 | 35.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0265 | μmol/L | 11.2963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 111739.5002 | 307527.3482 | 30.45 | 114.2
68423 | 2021-04-05 11:43 | 36.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9218 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.916 | 111767.0866 | 307529.3611 | 30.45 | 114.2
68432 | 2021-04-05 11:43 | 36.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7369 | μmol/L | 11.2963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.926 | 111793.2937 | 307528.8334 | 30.45 | 114.2
68441 | 2021-04-05 11:43 | 36.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7209 | μmol/L | 11.2902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.929 | 111820.8604 | 307535.8532 | 30.45 | 114.2
68450 | 2021-04-05 11:44 | 37.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.4958 | μmol/L | 11.2963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.936 | 111863.845 | 307522.7041 | 30.45 | 114.2
68459 | 2021-04-05 11:44 | 37.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.2709 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.943 | 111909.1551 | 307537.9159 | 30.45 | 114.2
68468 | 2021-04-05 11:44 | 37.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.0784 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.951 | 111957.2852 | 307534.9848 | 30.45 | 114.2
68477 | 2021-04-05 11:45 | 38.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9101 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.958 | 112001.1525 | 307534.7633 | 30.45 | 114.2
68486 | 2021-04-05 11:45 | 38.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7899 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.963 | 112041.4319 | 307536.8088 | 30.45 | 114.2
68495 | 2021-04-05 11:45 | 38.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4937 | μmol/L | 11.3086 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.973 | 112085.0893 | 307537.8854 | 30.45 | 114.2
68504 | 2021-04-05 11:46 | 39.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1978 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.983 | 112121.4532 | 307531.9618 | 30.45 | 114.2
68513 | 2021-04-05 11:46 | 39.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1178 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.984 | 112138.4875 | 307522.3864 | 30.45 | 114.2
68522 | 2021-04-05 11:46 | 39.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9262 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.992 | 112147.1196 | 307519.827 | 30.45 | 114.2
68531 | 2021-04-05 11:47 | 40.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0938 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.985 | 112138.4201 | 307529.1981 | 30.45 | 114.2
68540 | 2021-04-05 11:47 | 40.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1978 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.983 | 112124.4254 | 307504.9238 | 30.45 | 114.2
68549 | 2021-04-05 11:47 | 40.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2937 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.979 | 112102.2616 | 307483.0005 | 30.45 | 114.2
68558 | 2021-04-05 11:48 | 41.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2856 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.977 | 112094.4801 | 307487.2373 | 30.45 | 114.2
68567 | 2021-04-05 11:48 | 41.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3896 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 112076.8488 | 307499.2071 | 30.45 | 114.2
68576 | 2021-04-05 11:48 | 41.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3335 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 112054.7534 | 307469.3297 | 30.45 | 114.2
68585 | 2021-04-05 11:49 | 42.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5336 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 112037.658 | 307457.2723 | 30.45 | 114.2
68594 | 2021-04-05 11:49 | 42.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5336 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 112038.3677 | 307463.9901 | 30.45 | 114.2
68603 | 2021-04-05 11:49 | 42.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5096 | μmol/L | 11.3147 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.97 | 112034.8585 | 307439.0987 | 30.45 | 114.2
68612 | 2021-04-05 11:50 | 43.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4774 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 112036.9444 | 307432.6967 | 30.45 | 114.2
68621 | 2021-04-05 11:50 | 43.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3575 | μmol/L | 11.3208 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.974 | 112034.0231 | 307415.3433 | 30.45 | 114.2
68630 | 2021-04-05 11:50 | 43.9921 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3734 | μmol/L | 11.327 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 112036.3143 | 307416.4032 | 30.45 | 114.2
68639 | 2021-04-05 11:51 | 44.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4453 | μmol/L | 11.327 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.968 | 112022.5867 | 307377.81 | 30.45 | 114.2
68648 | 2021-04-05 11:51 | 44.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2693 | μmol/L | 11.3331 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.973 | 112023.4511 | 307383.2142 | 30.45 | 114.2
68657 | 2021-04-05 11:51 | 44.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2612 | μmol/L | 11.3392 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 112014.7981 | 307364.352 | 30.45 | 114.2
68666 | 2021-04-05 11:52 | 45.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2612 | μmol/L | 11.3392 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 112013.6774 | 307350.5067 | 30.45 | 114.2
68675 | 2021-04-05 11:52 | 45.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2372 | μmol/L | 11.3392 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.972 | 111996.8605 | 307328.7208 | 30.45 | 114.2
68684 | 2021-04-05 11:52 | 45.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2052 | μmol/L | 11.3454 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 111995.2191 | 307320.7903 | 30.45 | 114.2
68693 | 2021-04-05 11:53 | 46.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2291 | μmol/L | 11.3454 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.97 | 111987.3895 | 307301.1101 | 30.45 | 114.2
68702 | 2021-04-05 11:53 | 46.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3011 | μmol/L | 11.3454 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 111968.8639 | 307286.3389 | 30.45 | 114.2
68711 | 2021-04-05 11:53 | 46.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1093 | μmol/L | 11.3454 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 111965.193 | 307256.7747 | 30.45 | 114.2
68720 | 2021-04-05 11:54 | 47.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0452 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.973 | 111956.2775 | 307250.4659 | 30.45 | 114.2
68729 | 2021-04-05 11:54 | 47.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1411 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 111953.2537 | 307238.107 | 30.45 | 114.2
68738 | 2021-04-05 11:54 | 47.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1411 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 111937.9438 | 307214.3352 | 30.45 | 114.2
68747 | 2021-04-05 11:55 | 48.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.165 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.968 | 111931.3605 | 307213.2267 | 30.45 | 114.2
68756 | 2021-04-05 11:55 | 48.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0371 | μmol/L | 11.3638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 111921.0245 | 307178.9653 | 30.45 | 114.2
68765 | 2021-04-05 11:55 | 48.9921 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1411 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 111903.6715 | 307166.8719 | 30.45 | 114.2
68774 | 2021-04-05 11:56 | 49.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.109 | μmol/L | 11.3638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.968 | 111901.0706 | 307133.7991 | 30.45 | 114.2
68783 | 2021-04-05 11:56 | 49.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1171 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.97 | 111896.5636 | 307124.2432 | 30.45 | 114.2
68792 | 2021-04-05 11:56 | 49.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9653 | μmol/L | 11.3638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.974 | 111892.3549 | 307098.6758 | 30.45 | 114.2
68801 | 2021-04-05 11:57 | 50.3253 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9413 | μmol/L | 11.3638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 111899.7367 | 307092.3623 | 30.45 | 114.2
68810 | 2021-04-05 11:57 | 50.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9413 | μmol/L | 11.3638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 111894.5238 | 307084.0331 | 30.45 | 114.2
68819 | 2021-04-05 11:57 | 50.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0692 | μmol/L | 11.3576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.972 | 111888.5718 | 307063.6114 | 30.45 | 114.2
68828 | 2021-04-05 11:58 | 51.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7657 | μmol/L | 11.3699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.98 | 111886.4966 | 307042.5022 | 30.45 | 114.2
68837 | 2021-04-05 11:58 | 51.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8375 | μmol/L | 11.3699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.977 | 111893.7347 | 307021.9967 | 30.45 | 114.2
68846 | 2021-04-05 11:58 | 51.992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7418 | μmol/L | 11.3699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.981 | 111881.1408 | 306997.2428 | 30.45 | 114.2
68855 | 2021-04-05 11:59 | 52.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7418 | μmol/L | 11.3699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.981 | 111874.075 | 306984.7277 | 30.45 | 114.2
68864 | 2021-04-05 11:59 | 52.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7657 | μmol/L | 11.3699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.98 | 111867.2538 | 306962.6378 | 30.45 | 114.2
68873 | 2021-04-05 11:59 | 52.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5902 | μmol/L | 11.376 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.985 | 111871.8458 | 306958.2594 | 30.45 | 114.2
68882 | 2021-04-05 12:00 | 53.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.606 | μmol/L | 11.3821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.982 | 111872.0646 | 306943.7117 | 30.45 | 114.2
68891 | 2021-04-05 12:00 | 53.6586 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5663 | μmol/L | 11.376 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.986 | 111855.8661 | 306941.4124 | 30.45 | 114.2
68900 | 2021-04-05 12:00 | 53.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.606 | μmol/L | 11.3821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.982 | 111851.9597 | 306889.2526 | 30.45 | 114.2
68909 | 2021-04-05 12:01 | 54.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5582 | μmol/L | 11.3821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.984 | 111844.1061 | 306875.6047 | 30.45 | 114.2
68918 | 2021-04-05 12:01 | 54.6588 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.638 | μmol/L | 11.376 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.983 | 111832.0612 | 306863.8427 | 30.45 | 114.2
68927 | 2021-04-05 12:01 | 54.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.63 | μmol/L | 11.3821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.981 | 111811.6003 | 306836.3157 | 30.45 | 114.2
68936 | 2021-04-05 12:02 | 55.3253 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7098 | μmol/L | 11.376 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.98 | 111798.0556 | 306827.6899 | 30.45 | 114.2
68945 | 2021-04-05 12:02 | 55.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6219 | μmol/L | 11.3883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.979 | 111773.8795 | 306808.9351 | 30.45 | 114.2
68954 | 2021-04-05 12:02 | 55.9922 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6697 | μmol/L | 11.3883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.977 | 111753.2631 | 306791.8193 | 30.45 | 114.2
68963 | 2021-04-05 12:03 | 56.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5341 | μmol/L | 11.4005 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.978 | 111740.8145 | 306788.362 | 30.45 | 114.2
68972 | 2021-04-05 12:03 | 56.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6378 | μmol/L | 11.3944 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.976 | 111730.9275 | 306753.1447 | 30.45 | 114.2
68981 | 2021-04-05 12:03 | 56.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6856 | μmol/L | 11.3944 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.974 | 111719.7545 | 306727.016 | 30.45 | 114.2
68990 | 2021-04-05 12:04 | 57.3254 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5819 | μmol/L | 11.4005 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.976 | 111711.7314 | 306712.1547 | 30.45 | 114.2
68999 | 2021-04-05 12:04 | 57.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.566 | μmol/L | 11.3944 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.979 | 111700.005 | 306689.2259 | 30.45 | 114.2
69008 | 2021-04-05 12:04 | 57.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.55 | μmol/L | 11.4067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 111694.068 | 306684.3049 | 30.45 | 114.2
69017 | 2021-04-05 12:05 | 58.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5102 | μmol/L | 11.4005 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.979 | 111682.0675 | 306660.6784 | 30.45 | 114.2
69026 | 2021-04-05 12:05 | 58.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6297 | μmol/L | 11.4005 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.974 | 111668.2761 | 306641.8949 | 30.45 | 114.2
69035 | 2021-04-05 12:05 | 58.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4224 | μmol/L | 11.4128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.978 | 111663.9324 | 306629.9872 | 30.45 | 114.2
69044 | 2021-04-05 12:06 | 59.3255 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4782 | μmol/L | 11.4067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.978 | 111657.7505 | 306613.5618 | 30.45 | 114.2
69053 | 2021-04-05 12:06 | 59.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5021 | μmol/L | 11.4067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.977 | 111644.5892 | 306600.4839 | 30.45 | 114.2
69062 | 2021-04-05 12:06 | 59.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4463 | μmol/L | 11.4128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.977 | 111631.7069 | 306582.9664 | 30.45 | 114.2
69071 | 2021-04-05 12:07 | 60.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4941 | μmol/L | 11.4128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.975 | 111618.9691 | 306569.9112 | 30.45 | 114.2
69080 | 2021-04-05 12:07 | 60.6587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4702 | μmol/L | 11.4128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.976 | 111604.2838 | 306532.6654 | 30.45 | 114.2