## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67444 | 2021-04-05 11:06 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2651 | μmol/L | 11.0974 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.906 | 161567.1026 | 318830.0646 | 33.25 | 68.6
67453 | 2021-04-05 11:07 | 0.33485 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.1836 | μmol/L | 11.1035 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.907 | 161557.4856 | 318839.2958 | 33.25 | 68.6
67462 | 2021-04-05 11:07 | 0.66779 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0787 | μmol/L | 11.1096 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.909 | 161530.403 | 318803.4815 | 33.25 | 68.6
67471 | 2021-04-05 11:07 | 1.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0797 | μmol/L | 11.1217 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.904 | 161503.5557 | 318790.0959 | 33.25 | 68.6
67480 | 2021-04-05 11:08 | 1.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0094 | μmol/L | 11.1217 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.907 | 161475.5473 | 318755.7133 | 33.25 | 68.6
67489 | 2021-04-05 11:08 | 1.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0563 | μmol/L | 11.1217 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.905 | 161443.5784 | 318729.6436 | 33.25 | 68.6
67498 | 2021-04-05 11:08 | 2.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0104 | μmol/L | 11.1338 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.902 | 161409.3787 | 318688.2155 | 33.25 | 68.6
67507 | 2021-04-05 11:09 | 2.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8822 | μmol/L | 11.1399 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.905 | 161390.6162 | 318671.61 | 33.25 | 68.6
67516 | 2021-04-05 11:09 | 2.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7663 | μmol/L | 11.1521 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.905 | 161369.1733 | 318637.172 | 33.25 | 68.6
67525 | 2021-04-05 11:09 | 3.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7663 | μmol/L | 11.1521 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.905 | 161347.9495 | 318613.8597 | 33.25 | 68.6
67534 | 2021-04-05 11:10 | 3.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6504 | μmol/L | 11.1642 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.905 | 161332.0153 | 318587.6929 | 33.25 | 68.6
67543 | 2021-04-05 11:10 | 3.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7317 | μmol/L | 11.1581 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.904 | 161310.1002 | 318556.0917 | 33.25 | 68.6
67552 | 2021-04-05 11:10 | 4.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.558 | μmol/L | 11.1763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.904 | 161276.6387 | 318532.163 | 33.25 | 68.6
67561 | 2021-04-05 11:11 | 4.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6515 | μmol/L | 11.1763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.9 | 161242.0344 | 318507.2835 | 33.25 | 68.6
67570 | 2021-04-05 11:11 | 4.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6749 | μmol/L | 11.1763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.899 | 161175.4796 | 318460.4925 | 33.25 | 68.6
67579 | 2021-04-05 11:11 | 5.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6638 | μmol/L | 11.1824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.897 | 161128.7409 | 318459.3589 | 33.25 | 68.6
67588 | 2021-04-05 11:12 | 5.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6649 | μmol/L | 11.1946 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.892 | 161076.9581 | 318421.3086 | 33.25 | 68.6
67597 | 2021-04-05 11:12 | 5.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5959 | μmol/L | 11.2067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.89 | 161023.9451 | 318400.3295 | 33.25 | 68.6
67606 | 2021-04-05 11:12 | 6.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7362 | μmol/L | 11.2067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.884 | 160979.6962 | 318382.99 | 33.25 | 68.6
67615 | 2021-04-05 11:13 | 6.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8298 | μmol/L | 11.2067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.88 | 160910.9833 | 318351.4697 | 33.25 | 68.6
67624 | 2021-04-05 11:13 | 6.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9937 | μmol/L | 11.2067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.873 | 160847.0171 | 318335.109 | 33.25 | 68.6
67633 | 2021-04-05 11:13 | 7.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.1812 | μmol/L | 11.2067 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.865 | 160766.052 | 318302.366 | 33.25 | 68.6
67642 | 2021-04-05 11:14 | 7.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.37 | μmol/L | 11.2188 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.852 | 160678.61 | 318284.5678 | 33.25 | 68.6
67651 | 2021-04-05 11:14 | 7.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3824 | μmol/L | 11.2249 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.849 | 160592.4312 | 318267.523 | 33.25 | 68.6
67660 | 2021-04-05 11:14 | 8.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3713 | μmol/L | 11.231 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.847 | 160549.108 | 318241.6946 | 33.25 | 68.6
67669 | 2021-04-05 11:15 | 8.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3837 | μmol/L | 11.2371 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.844 | 160532.108 | 318214.3146 | 33.25 | 68.6
67678 | 2021-04-05 11:15 | 8.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2788 | μmol/L | 11.2431 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.846 | 160524.0186 | 318177.8828 | 33.25 | 68.6
67687 | 2021-04-05 11:15 | 9.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.1616 | μmol/L | 11.2431 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.851 | 160545.2261 | 318164.5638 | 33.25 | 68.6
67696 | 2021-04-05 11:16 | 9.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.963 | μmol/L | 11.2492 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.857 | 160551.0661 | 318132.7607 | 33.25 | 68.6
67705 | 2021-04-05 11:16 | 9.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8225 | μmol/L | 11.2492 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.863 | 160577.5545 | 318110.1361 | 33.25 | 68.6
67714 | 2021-04-05 11:16 | 10.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7523 | μmol/L | 11.2492 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.866 | 160577.0606 | 318091.9242 | 33.25 | 68.6
67723 | 2021-04-05 11:17 | 10.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8225 | μmol/L | 11.2492 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.863 | 160560.6918 | 318075.3319 | 33.25 | 68.6
67732 | 2021-04-05 11:17 | 10.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7413 | μmol/L | 11.2553 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.864 | 160553.726 | 318048.2722 | 33.25 | 68.6
67741 | 2021-04-05 11:17 | 11.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5554 | μmol/L | 11.2674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.867 | 160524.1245 | 318015.26 | 33.25 | 68.6
67750 | 2021-04-05 11:18 | 11.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5554 | μmol/L | 11.2674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.867 | 160499.682 | 317990.7307 | 33.25 | 68.6
67759 | 2021-04-05 11:18 | 11.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6256 | μmol/L | 11.2674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.864 | 160481.7051 | 317972.3885 | 33.25 | 68.6
67768 | 2021-04-05 11:18 | 12.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6256 | μmol/L | 11.2674 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.864 | 160459.5694 | 317949.7829 | 33.25 | 68.6
67777 | 2021-04-05 11:19 | 12.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5334 | μmol/L | 11.2796 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.863 | 160432.5695 | 317932.6632 | 33.25 | 68.6
67786 | 2021-04-05 11:19 | 12.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5802 | μmol/L | 11.2796 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.861 | 160403.2956 | 317911.1409 | 33.25 | 68.6
67795 | 2021-04-05 11:19 | 13.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5458 | μmol/L | 11.2856 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.86 | 160366.1036 | 317886.2368 | 33.25 | 68.6
67804 | 2021-04-05 11:20 | 13.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.477 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.858 | 160335.208 | 317871.6629 | 33.25 | 68.6
67813 | 2021-04-05 11:20 | 13.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5238 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.856 | 160310.1322 | 317841.1117 | 33.25 | 68.6
67822 | 2021-04-05 11:20 | 14.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5004 | μmol/L | 11.2978 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.857 | 160303.2135 | 317834.6498 | 33.25 | 68.6
67831 | 2021-04-05 11:21 | 14.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4646 | μmol/L | 11.2917 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.861 | 160277.309 | 317805.3775 | 33.25 | 68.6
67840 | 2021-04-05 11:21 | 14.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4192 | μmol/L | 11.3038 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.858 | 160264.1896 | 317774.6181 | 33.25 | 68.6
67849 | 2021-04-05 11:21 | 15.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3725 | μmol/L | 11.3038 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.86 | 160248.2169 | 317762.9901 | 33.25 | 68.6
67858 | 2021-04-05 11:22 | 15.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.187 | μmol/L | 11.316 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.863 | 160232.848 | 317739.4669 | 33.25 | 68.6
67867 | 2021-04-05 11:22 | 15.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3148 | μmol/L | 11.3099 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.86 | 160198.1185 | 317707.6745 | 33.25 | 68.6
67876 | 2021-04-05 11:22 | 16.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3739 | μmol/L | 11.316 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.855 | 160136.8239 | 317703.893 | 33.25 | 68.6
67885 | 2021-04-05 11:23 | 16.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5033 | μmol/L | 11.3221 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.847 | 160058.5134 | 317681.4319 | 33.25 | 68.6
67894 | 2021-04-05 11:23 | 16.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7029 | μmol/L | 11.3281 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.836 | 159972.2411 | 317646.4446 | 33.25 | 68.6
67903 | 2021-04-05 11:23 | 17.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7966 | μmol/L | 11.3281 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.832 | 159900.9703 | 317636.2305 | 33.25 | 68.6
67912 | 2021-04-05 11:24 | 17.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9841 | μmol/L | 11.3281 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.824 | 159846.8191 | 317608.847 | 33.25 | 68.6
67921 | 2021-04-05 11:24 | 17.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9731 | μmol/L | 11.3342 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.822 | 159797.3906 | 317587.7693 | 33.25 | 68.6
67930 | 2021-04-05 11:24 | 18.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0669 | μmol/L | 11.3342 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 159767.1051 | 317583.9845 | 33.25 | 68.6
67939 | 2021-04-05 11:25 | 18.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0325 | μmol/L | 11.3403 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159753.5579 | 317588.8978 | 33.25 | 68.6
67948 | 2021-04-05 11:25 | 18.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0325 | μmol/L | 11.3403 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159726.8516 | 317540.3684 | 33.25 | 68.6
67957 | 2021-04-05 11:25 | 19.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0794 | μmol/L | 11.3403 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 159694.1049 | 317522.7611 | 33.25 | 68.6
67966 | 2021-04-05 11:26 | 19.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9747 | μmol/L | 11.3463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159682.2113 | 317505.8011 | 33.25 | 68.6
67975 | 2021-04-05 11:26 | 19.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0685 | μmol/L | 11.3463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.813 | 159655.6143 | 317490.0381 | 33.25 | 68.6
67984 | 2021-04-05 11:26 | 20.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9872 | μmol/L | 11.3524 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.814 | 159637.6869 | 317480.6421 | 33.25 | 68.6
67993 | 2021-04-05 11:27 | 20.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.1029 | μmol/L | 11.3403 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.814 | 159630.3684 | 317461.9797 | 33.25 | 68.6
68002 | 2021-04-05 11:27 | 20.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9638 | μmol/L | 11.3524 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 159626.4839 | 317441.5524 | 33.25 | 68.6
68011 | 2021-04-05 11:27 | 21.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8591 | μmol/L | 11.3585 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159623.8825 | 317405.0236 | 33.25 | 68.6
68020 | 2021-04-05 11:28 | 21.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8122 | μmol/L | 11.3585 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.819 | 159623.1395 | 317403.4087 | 33.25 | 68.6
68029 | 2021-04-05 11:28 | 21.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6842 | μmol/L | 11.3646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.822 | 159614.3359 | 317394.5083 | 33.25 | 68.6
68038 | 2021-04-05 11:28 | 22.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.614 | μmol/L | 11.3646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.825 | 159614.7569 | 317366.5894 | 33.25 | 68.6
68047 | 2021-04-05 11:29 | 22.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5328 | μmol/L | 11.3706 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.826 | 159599.0633 | 317349.9853 | 33.25 | 68.6
68056 | 2021-04-05 11:29 | 22.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5671 | μmol/L | 11.3646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.827 | 159594.6961 | 317329.354 | 33.25 | 68.6
68065 | 2021-04-05 11:29 | 23.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5453 | μmol/L | 11.3767 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.823 | 159579.6678 | 317310.6233 | 33.25 | 68.6
68074 | 2021-04-05 11:30 | 23.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4985 | μmol/L | 11.3767 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.825 | 159566.1658 | 317289.1254 | 33.25 | 68.6
68083 | 2021-04-05 11:30 | 23.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4517 | μmol/L | 11.3767 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.827 | 159572.7544 | 317268.0828 | 33.25 | 68.6
68092 | 2021-04-05 11:30 | 24.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3473 | μmol/L | 11.3828 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.829 | 159567.0273 | 317258.4298 | 33.25 | 68.6
68101 | 2021-04-05 11:31 | 24.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.405 | μmol/L | 11.3767 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.829 | 159576.5759 | 317236.5429 | 33.25 | 68.6
68110 | 2021-04-05 11:31 | 24.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3005 | μmol/L | 11.3828 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.831 | 159568.9236 | 317231.8108 | 33.25 | 68.6
68119 | 2021-04-05 11:31 | 25.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1961 | μmol/L | 11.3888 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.833 | 159566.3993 | 317203.5151 | 33.25 | 68.6
68128 | 2021-04-05 11:32 | 25.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2304 | μmol/L | 11.3828 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.834 | 159583.9746 | 317190.5058 | 33.25 | 68.6
68137 | 2021-04-05 11:32 | 25.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1712 | μmol/L | 11.3767 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.839 | 159580.7167 | 317171.0224 | 33.25 | 68.6
68146 | 2021-04-05 11:32 | 26.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0092 | μmol/L | 11.3888 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.841 | 159580.3715 | 317147.7324 | 33.25 | 68.6
68155 | 2021-04-05 11:33 | 26.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9625 | μmol/L | 11.3888 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.843 | 159571.9467 | 317102.1731 | 33.25 | 68.6
68164 | 2021-04-05 11:33 | 26.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9283 | μmol/L | 11.3949 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.842 | 159558.1135 | 317109.5074 | 33.25 | 68.6
68173 | 2021-04-05 11:33 | 27.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8349 | μmol/L | 11.3949 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.846 | 159554.844 | 317082.7833 | 33.25 | 68.6
68182 | 2021-04-05 11:34 | 27.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8116 | μmol/L | 11.3949 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.847 | 159545.0902 | 317075.627 | 33.25 | 68.6
68191 | 2021-04-05 11:34 | 27.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8007 | μmol/L | 11.401 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.845 | 159519.371 | 317053.1391 | 33.25 | 68.6
68200 | 2021-04-05 11:34 | 28.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7432 | μmol/L | 11.4071 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.845 | 159500.1469 | 317028.3414 | 33.25 | 68.6
68209 | 2021-04-05 11:35 | 28.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8474 | μmol/L | 11.401 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.843 | 159474.9704 | 317019.2205 | 33.25 | 68.6
68218 | 2021-04-05 11:35 | 28.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8708 | μmol/L | 11.401 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.842 | 159443.2182 | 316974.2036 | 33.25 | 68.6
68227 | 2021-04-05 11:35 | 29.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9066 | μmol/L | 11.4071 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.838 | 159421.7574 | 316969.158 | 33.25 | 68.6
68236 | 2021-04-05 11:36 | 29.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8257 | μmol/L | 11.4131 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.839 | 159396.9763 | 316963.5811 | 33.25 | 68.6
68245 | 2021-04-05 11:36 | 29.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9424 | μmol/L | 11.4131 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.834 | 159361.7595 | 316935.9889 | 33.25 | 68.6
68254 | 2021-04-05 11:36 | 30.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0467 | μmol/L | 11.4071 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.832 | 159325.1583 | 316926.3973 | 33.25 | 68.6
68263 | 2021-04-05 11:37 | 30.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0125 | μmol/L | 11.4131 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.831 | 159275.4172 | 316896.5369 | 33.25 | 68.6
68272 | 2021-04-05 11:37 | 30.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.106 | μmol/L | 11.4131 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.827 | 159241.0948 | 316881.7072 | 33.25 | 68.6
68281 | 2021-04-05 11:37 | 31.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0951 | μmol/L | 11.4192 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.825 | 159203.9089 | 316854.3553 | 33.25 | 68.6
68290 | 2021-04-05 11:38 | 31.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.131 | μmol/L | 11.4253 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.821 | 159172.0145 | 316834.8837 | 33.25 | 68.6
68299 | 2021-04-05 11:38 | 31.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.131 | μmol/L | 11.4253 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.821 | 159130.8827 | 316800.6978 | 33.25 | 68.6
68308 | 2021-04-05 11:38 | 32.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2821 | μmol/L | 11.4192 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159108.7927 | 316796.3609 | 33.25 | 68.6
68317 | 2021-04-05 11:39 | 32.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1544 | μmol/L | 11.4253 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 159088.4061 | 316770.7214 | 33.25 | 68.6
68326 | 2021-04-05 11:39 | 32.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2245 | μmol/L | 11.4253 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 159061.465 | 316742.519 | 33.25 | 68.6
68335 | 2021-04-05 11:39 | 33.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1436 | μmol/L | 11.4313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 159053.3238 | 316737.9047 | 33.25 | 68.6
68344 | 2021-04-05 11:40 | 33.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2137 | μmol/L | 11.4313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 159037.4789 | 316703.0362 | 33.25 | 68.6
68353 | 2021-04-05 11:40 | 33.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1328 | μmol/L | 11.4374 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 159015.7478 | 316693.4636 | 33.25 | 68.6
68362 | 2021-04-05 11:40 | 34.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1903 | μmol/L | 11.4313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 158996.8005 | 316670.2762 | 33.25 | 68.6
68371 | 2021-04-05 11:41 | 34.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1669 | μmol/L | 11.4313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 158996.645 | 316660.4207 | 33.25 | 68.6
68380 | 2021-04-05 11:41 | 34.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0968 | μmol/L | 11.4313 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158980.4855 | 316633.3389 | 33.25 | 68.6
68389 | 2021-04-05 11:41 | 35.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.935 | μmol/L | 11.4435 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.822 | 158906.5851 | 316606.2516 | 33.25 | 68.6
68398 | 2021-04-05 11:42 | 35.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0285 | μmol/L | 11.4435 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 158898.384 | 316613.5277 | 33.25 | 68.6
68407 | 2021-04-05 11:42 | 35.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8542 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.823 | 158876.2603 | 316616.8997 | 33.25 | 68.6
68416 | 2021-04-05 11:42 | 36.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9009 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.821 | 158880.1115 | 316629.6992 | 33.25 | 68.6
68425 | 2021-04-05 11:43 | 36.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0051 | μmol/L | 11.4435 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.819 | 158878.4808 | 316635.7077 | 33.25 | 68.6
68434 | 2021-04-05 11:43 | 36.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9817 | μmol/L | 11.4435 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158877.4595 | 316635.9364 | 33.25 | 68.6
68443 | 2021-04-05 11:43 | 37.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9476 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.819 | 158882.6415 | 316641.2146 | 33.25 | 68.6
68452 | 2021-04-05 11:44 | 37.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9242 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158876.0021 | 316643.0849 | 33.25 | 68.6
68461 | 2021-04-05 11:44 | 37.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8559 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 158871.28 | 316636.3139 | 33.25 | 68.6
68470 | 2021-04-05 11:44 | 38.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9134 | μmol/L | 11.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 158859.0734 | 316622.4376 | 33.25 | 68.6
68479 | 2021-04-05 11:45 | 38.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9601 | μmol/L | 11.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 158835.6526 | 316615.2536 | 33.25 | 68.6
68488 | 2021-04-05 11:45 | 38.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0644 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.814 | 158821.9949 | 316625.4343 | 33.25 | 68.6
68497 | 2021-04-05 11:45 | 39.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.077 | μmol/L | 11.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.811 | 158793.1172 | 316601.659 | 33.25 | 68.6
68506 | 2021-04-05 11:46 | 39.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2514 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158775.7627 | 316613.9383 | 33.25 | 68.6
68515 | 2021-04-05 11:46 | 39.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2047 | μmol/L | 11.4496 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.808 | 158765.9577 | 316616.0145 | 33.25 | 68.6
68524 | 2021-04-05 11:46 | 40.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2406 | μmol/L | 11.4556 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 158744.4079 | 316598.0174 | 33.25 | 68.6
68533 | 2021-04-05 11:47 | 40.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2766 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.8 | 158724.8344 | 316595.6659 | 33.25 | 68.6
68542 | 2021-04-05 11:47 | 40.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3234 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.798 | 158703.9583 | 316576.6498 | 33.25 | 68.6
68551 | 2021-04-05 11:47 | 41.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.417 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.794 | 158687.8598 | 316580.058 | 33.25 | 68.6
68560 | 2021-04-05 11:48 | 41.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4638 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.792 | 158658.0088 | 316575.5692 | 33.25 | 68.6
68569 | 2021-04-05 11:48 | 41.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4531 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.79 | 158634.444 | 316551.2138 | 33.25 | 68.6
68578 | 2021-04-05 11:48 | 42.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4873 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.791 | 158624.0148 | 316557.9973 | 33.25 | 68.6
68587 | 2021-04-05 11:49 | 42.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4062 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.792 | 158621.3978 | 316546.4272 | 33.25 | 68.6
68596 | 2021-04-05 11:49 | 42.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4062 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.792 | 158627.5477 | 316504.2397 | 33.25 | 68.6
68605 | 2021-04-05 11:49 | 43.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.3702 | μmol/L | 11.4617 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.796 | 158632.0827 | 316521.9812 | 33.25 | 68.6
68614 | 2021-04-05 11:50 | 43.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2083 | μmol/L | 11.4738 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.798 | 158653.2377 | 316502.8514 | 33.25 | 68.6
68623 | 2021-04-05 11:50 | 43.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2425 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.799 | 158672.8987 | 316488.2026 | 33.25 | 68.6
68632 | 2021-04-05 11:50 | 44.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1255 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 158678.7681 | 316477.4581 | 33.25 | 68.6
68641 | 2021-04-05 11:51 | 44.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1021 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.805 | 158692.426 | 316460.5062 | 33.25 | 68.6
68650 | 2021-04-05 11:51 | 44.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0788 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158685.9773 | 316435.7 | 33.25 | 68.6
68659 | 2021-04-05 11:51 | 45.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.032 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.808 | 158681.7001 | 316426.3178 | 33.25 | 68.6
68668 | 2021-04-05 11:52 | 45.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9979 | μmol/L | 11.4738 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.807 | 158663.6324 | 316384.2713 | 33.25 | 68.6
68677 | 2021-04-05 11:52 | 45.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0087 | μmol/L | 11.4678 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.809 | 158656.4055 | 316379.1178 | 33.25 | 68.6
68686 | 2021-04-05 11:52 | 46.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0213 | μmol/L | 11.4738 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158637.0312 | 316359.8408 | 33.25 | 68.6
68695 | 2021-04-05 11:53 | 46.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9063 | μmol/L | 11.486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158619.4503 | 316335.0561 | 33.25 | 68.6
68704 | 2021-04-05 11:53 | 46.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8596 | μmol/L | 11.486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.808 | 158606.1082 | 316324.3139 | 33.25 | 68.6
68713 | 2021-04-05 11:53 | 47.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9871 | μmol/L | 11.4799 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.805 | 158592.0741 | 316310.129 | 33.25 | 68.6
68722 | 2021-04-05 11:54 | 47.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.953 | μmol/L | 11.486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 158575.1613 | 316295.9603 | 33.25 | 68.6
68731 | 2021-04-05 11:54 | 47.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9997 | μmol/L | 11.486 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.802 | 158562.0519 | 316270.4877 | 33.25 | 68.6
68740 | 2021-04-05 11:54 | 48.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9422 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.802 | 158551.701 | 316246.9217 | 33.25 | 68.6
68749 | 2021-04-05 11:55 | 48.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8488 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158534.6771 | 316240.1957 | 33.25 | 68.6
68758 | 2021-04-05 11:55 | 48.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8955 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 158517.7318 | 316219.4732 | 33.25 | 68.6
68767 | 2021-04-05 11:55 | 49.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8955 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 158506.2225 | 316198.4159 | 33.25 | 68.6
68776 | 2021-04-05 11:56 | 49.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9189 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.803 | 158508.4274 | 316188.3824 | 33.25 | 68.6
68785 | 2021-04-05 11:56 | 49.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7213 | μmol/L | 11.4981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.809 | 158500.5566 | 316159.2722 | 33.25 | 68.6
68794 | 2021-04-05 11:56 | 50.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.6746 | μmol/L | 11.4981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.811 | 158486.8163 | 316132.1217 | 33.25 | 68.6
68803 | 2021-04-05 11:57 | 50.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.6513 | μmol/L | 11.4981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.812 | 158492.5984 | 316115.5135 | 33.25 | 68.6
68812 | 2021-04-05 11:57 | 50.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.662 | μmol/L | 11.4921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.814 | 158498.0842 | 316096.0632 | 33.25 | 68.6
68821 | 2021-04-05 11:57 | 51.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.558 | μmol/L | 11.4981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 158499.381 | 316074.2982 | 33.25 | 68.6
68830 | 2021-04-05 11:58 | 51.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.5006 | μmol/L | 11.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 158485.2088 | 316070.7642 | 33.25 | 68.6
68839 | 2021-04-05 11:58 | 51.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4306 | μmol/L | 11.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.819 | 158478.0248 | 316034.3153 | 33.25 | 68.6
68848 | 2021-04-05 11:58 | 52.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.5239 | μmol/L | 11.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 158461.5953 | 316020.777 | 33.25 | 68.6
68857 | 2021-04-05 11:59 | 52.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4199 | μmol/L | 11.5103 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 158456.4785 | 316001.4236 | 33.25 | 68.6
68866 | 2021-04-05 11:59 | 52.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4073 | μmol/L | 11.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158440.5611 | 315994.094 | 33.25 | 68.6
68875 | 2021-04-05 11:59 | 53.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4773 | μmol/L | 11.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 158421.1435 | 315966.9419 | 33.25 | 68.6
68884 | 2021-04-05 12:00 | 53.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4432 | μmol/L | 11.5103 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.816 | 158401.8874 | 315936.8076 | 33.25 | 68.6
68893 | 2021-04-05 12:00 | 53.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.35 | μmol/L | 11.5103 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158388.4153 | 315920.124 | 33.25 | 68.6
68902 | 2021-04-05 12:00 | 54.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2353 | μmol/L | 11.5224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.82 | 158365.8035 | 315897.1741 | 33.25 | 68.6
68911 | 2021-04-05 12:01 | 54.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2693 | μmol/L | 11.5163 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.821 | 158348.478 | 315872.2346 | 33.25 | 68.6
68920 | 2021-04-05 12:01 | 54.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3392 | μmol/L | 11.5163 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 158344.3819 | 315881.4854 | 33.25 | 68.6
68929 | 2021-04-05 12:01 | 55.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2819 | μmol/L | 11.5224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.818 | 158316.1141 | 315849.3987 | 33.25 | 68.6
68938 | 2021-04-05 12:02 | 55.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3625 | μmol/L | 11.5163 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 158301.0767 | 315838.5187 | 33.25 | 68.6
68947 | 2021-04-05 12:02 | 55.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3052 | μmol/L | 11.5224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.817 | 158265.9623 | 315804.21 | 33.25 | 68.6
68956 | 2021-04-05 12:02 | 56.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3751 | μmol/L | 11.5224 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.814 | 158251.2793 | 315779.2222 | 33.25 | 68.6
68965 | 2021-04-05 12:03 | 56.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3411 | μmol/L | 11.5285 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.813 | 158229.4818 | 315773.2218 | 33.25 | 68.6
68974 | 2021-04-05 12:03 | 56.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2945 | μmol/L | 11.5285 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.815 | 158191.2158 | 315741.5538 | 33.25 | 68.6
68983 | 2021-04-05 12:03 | 57.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3071 | μmol/L | 11.5346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.812 | 158169.9192 | 315711.0003 | 33.25 | 68.6
68992 | 2021-04-05 12:04 | 57.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4111 | μmol/L | 11.5285 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.81 | 158136.6464 | 315714.391 | 33.25 | 68.6
69001 | 2021-04-05 12:04 | 57.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3537 | μmol/L | 11.5346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.81 | 158111.2782 | 315691.2687 | 33.25 | 68.6
69010 | 2021-04-05 12:04 | 58.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3878 | μmol/L | 11.5285 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.811 | 158084.8853 | 315667.9977 | 33.25 | 68.6
69019 | 2021-04-05 12:05 | 58.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.447 | μmol/L | 11.5346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 158053.18 | 315639.0681 | 33.25 | 68.6
69028 | 2021-04-05 12:05 | 58.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4237 | μmol/L | 11.5346 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.807 | 158028.9887 | 315630.6872 | 33.25 | 68.6
69037 | 2021-04-05 12:05 | 59.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4597 | μmol/L | 11.5406 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.803 | 158004.4031 | 315607.3593 | 33.25 | 68.6
69046 | 2021-04-05 12:06 | 59.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.379 | μmol/L | 11.5467 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.804 | 157993.4938 | 315589.6766 | 33.25 | 68.6
69055 | 2021-04-05 12:06 | 59.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3897 | μmol/L | 11.5406 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.806 | 157979.3864 | 315576.6329 | 33.25 | 68.6
69064 | 2021-04-05 12:06 | 60.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3557 | μmol/L | 11.5467 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.805 | 157961.7072 | 315556.8726 | 33.25 | 68.6
69073 | 2021-04-05 12:07 | 60.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2984 | μmol/L | 11.5528 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.805 | 157951.4569 | 315533.3169 | 33.25 | 68.6
69082 | 2021-04-05 12:07 | 60.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2984 | μmol/L | 11.5528 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.805 | 157940.1918 | 315525.2704 | 33.25 | 68.6