## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67445 | 2021-04-05 11:06 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2905 | μmol/L | 11.0865 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.652 | 136769.2921 | 280564.8207 | 26.25 | 74
67454 | 2021-04-05 11:07 | 0.34002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.197 | μmol/L | 11.0987 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.651 | 136741.5158 | 280550.6931 | 26.25 | 74
67463 | 2021-04-05 11:07 | 0.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2727 | μmol/L | 11.0987 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.648 | 136696.0632 | 280531.3495 | 26.25 | 74
67472 | 2021-04-05 11:07 | 1.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.3054 | μmol/L | 11.1108 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.642 | 136663.6176 | 280508.8072 | 26.25 | 74
67481 | 2021-04-05 11:08 | 1.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2966 | μmol/L | 11.1169 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.64 | 136628.3641 | 280485.0508 | 26.25 | 74
67490 | 2021-04-05 11:08 | 1.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.3218 | μmol/L | 11.1169 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.639 | 136597.9303 | 280455.4869 | 26.25 | 74
67499 | 2021-04-05 11:08 | 2.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2285 | μmol/L | 11.1291 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.638 | 136556.2874 | 280430.6233 | 26.25 | 74
67508 | 2021-04-05 11:09 | 2.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2701 | μmol/L | 11.1352 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.634 | 136523.258 | 280409.7494 | 26.25 | 74
67517 | 2021-04-05 11:09 | 2.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.1856 | μmol/L | 11.1412 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.635 | 136524.7903 | 280399.2833 | 26.25 | 74
67526 | 2021-04-05 11:09 | 3.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 297.2701 | μmol/L | 11.1352 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.634 | 136517.1825 | 280352.4995 | 26.25 | 74
67535 | 2021-04-05 11:10 | 3.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.8907 | μmol/L | 11.1534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.642 | 136515.8822 | 280343.7102 | 26.25 | 74
67544 | 2021-04-05 11:10 | 3.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.8567 | μmol/L | 11.1595 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.641 | 136491.6878 | 280311.7155 | 26.25 | 74
67553 | 2021-04-05 11:10 | 4.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.8227 | μmol/L | 11.1655 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.64 | 136481.0856 | 280286.1641 | 26.25 | 74
67562 | 2021-04-05 11:11 | 4.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.7723 | μmol/L | 11.1655 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.642 | 136471.807 | 280269.7638 | 26.25 | 74
67571 | 2021-04-05 11:11 | 4.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.6037 | μmol/L | 11.1777 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.644 | 136475.5085 | 280242.7996 | 26.25 | 74
67580 | 2021-04-05 11:11 | 5.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.5282 | μmol/L | 11.1777 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.647 | 136469.4029 | 280227.6902 | 26.25 | 74
67589 | 2021-04-05 11:12 | 5.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.3597 | μmol/L | 11.1899 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.649 | 136475.4375 | 280204.1582 | 26.25 | 74
67598 | 2021-04-05 11:12 | 5.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.3095 | μmol/L | 11.1899 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.651 | 136480.3311 | 280175.7451 | 26.25 | 74
67607 | 2021-04-05 11:12 | 6.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.175 | μmol/L | 11.1959 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.654 | 136500.1638 | 280153.7275 | 26.25 | 74
67616 | 2021-04-05 11:13 | 6.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 296.0618 | μmol/L | 11.202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.656 | 136492.1637 | 280148.738 | 26.25 | 74
67625 | 2021-04-05 11:13 | 6.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.9904 | μmol/L | 11.202 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.659 | 136499.7294 | 280119.5096 | 26.25 | 74
67634 | 2021-04-05 11:13 | 7.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.8311 | μmol/L | 11.2081 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.663 | 136497.6803 | 280089.774 | 26.25 | 74
67643 | 2021-04-05 11:14 | 7.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.6631 | μmol/L | 11.2203 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.665 | 136513.8022 | 280059.2899 | 26.25 | 74
67652 | 2021-04-05 11:14 | 7.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.6467 | μmol/L | 11.2142 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.668 | 136526.9882 | 280064.3831 | 26.25 | 74
67661 | 2021-04-05 11:14 | 8.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.4876 | μmol/L | 11.2203 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.672 | 136545.9253 | 280028.2627 | 26.25 | 74
67670 | 2021-04-05 11:15 | 8.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.2534 | μmol/L | 11.2263 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.679 | 136564.6329 | 280024.2555 | 26.25 | 74
67679 | 2021-04-05 11:15 | 8.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.1946 | μmol/L | 11.2324 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.679 | 136569.1302 | 279988.3495 | 26.25 | 74
67688 | 2021-04-05 11:15 | 9.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 295.0608 | μmol/L | 11.2385 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.682 | 136586.6249 | 279969.3008 | 26.25 | 74
67697 | 2021-04-05 11:16 | 9.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.9357 | μmol/L | 11.2385 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.687 | 136587.9916 | 279950.8911 | 26.25 | 74
67706 | 2021-04-05 11:16 | 9.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.7271 | μmol/L | 11.2446 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.693 | 136600.3187 | 279936.8303 | 26.25 | 74
67715 | 2021-04-05 11:16 | 10.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.752 | μmol/L | 11.2446 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 136594.8124 | 279908.0172 | 26.25 | 74
67724 | 2021-04-05 11:17 | 10.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.752 | μmol/L | 11.2446 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 136592.7028 | 279881.4252 | 26.25 | 74
67733 | 2021-04-05 11:17 | 10.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5848 | μmol/L | 11.2567 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 136576.9903 | 279853.2537 | 26.25 | 74
67742 | 2021-04-05 11:17 | 11.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5261 | μmol/L | 11.2628 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 136578.1728 | 279836.9278 | 26.25 | 74
67751 | 2021-04-05 11:18 | 11.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5261 | μmol/L | 11.2628 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 136556.3815 | 279821.282 | 26.25 | 74
67760 | 2021-04-05 11:18 | 11.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4675 | μmol/L | 11.2689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.694 | 136544.649 | 279801.9477 | 26.25 | 74
67769 | 2021-04-05 11:18 | 12.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.5174 | μmol/L | 11.2689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 136528.7591 | 279778.5043 | 26.25 | 74
67778 | 2021-04-05 11:19 | 12.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4426 | μmol/L | 11.2689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 136514.3062 | 279781.6037 | 26.25 | 74
67787 | 2021-04-05 11:19 | 12.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4925 | μmol/L | 11.2689 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.693 | 136495.5145 | 279764.095 | 26.25 | 74
67796 | 2021-04-05 11:19 | 13.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3254 | μmol/L | 11.281 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 136468.2165 | 279743.0238 | 26.25 | 74
67805 | 2021-04-05 11:20 | 13.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.4502 | μmol/L | 11.281 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.69 | 136456.6701 | 279716.2206 | 26.25 | 74
67814 | 2021-04-05 11:20 | 13.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3417 | μmol/L | 11.2871 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.692 | 136447.9388 | 279712.1877 | 26.25 | 74
67823 | 2021-04-05 11:20 | 14.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.3081 | μmol/L | 11.2932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.691 | 136435.2158 | 279679.1939 | 26.25 | 74
67832 | 2021-04-05 11:21 | 14.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.1498 | μmol/L | 11.2993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 136430.074 | 279674.7346 | 26.25 | 74
67841 | 2021-04-05 11:21 | 14.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.2083 | μmol/L | 11.2932 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 136421.1648 | 279648.7256 | 26.25 | 74
67850 | 2021-04-05 11:21 | 15.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.0165 | μmol/L | 11.3054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.698 | 136437.3253 | 279626.0342 | 26.25 | 74
67859 | 2021-04-05 11:22 | 15.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.075 | μmol/L | 11.2993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.698 | 136422.9653 | 279601.7584 | 26.25 | 74
67868 | 2021-04-05 11:22 | 15.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 294.05 | μmol/L | 11.2993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.699 | 136425.4445 | 279590.8271 | 26.25 | 74
67877 | 2021-04-05 11:22 | 16.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.9916 | μmol/L | 11.3054 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.699 | 136423.1842 | 279559.0001 | 26.25 | 74
67886 | 2021-04-05 11:23 | 16.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.8248 | μmol/L | 11.3175 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.701 | 136429.6759 | 279550.6137 | 26.25 | 74
67895 | 2021-04-05 11:23 | 16.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7127 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 136423.2203 | 279534.1139 | 26.25 | 74
67904 | 2021-04-05 11:23 | 17.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6333 | μmol/L | 11.3297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 136418.3756 | 279524.9946 | 26.25 | 74
67913 | 2021-04-05 11:24 | 17.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7501 | μmol/L | 11.3175 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 136399.1706 | 279507.0309 | 26.25 | 74
67922 | 2021-04-05 11:24 | 17.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.7376 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 136389.0598 | 279500.2192 | 26.25 | 74
67931 | 2021-04-05 11:24 | 18.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.6333 | μmol/L | 11.3297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 136391.4064 | 279471.7062 | 26.25 | 74
67940 | 2021-04-05 11:25 | 18.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.4964 | μmol/L | 11.3357 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.707 | 136383.1492 | 279454.7549 | 26.25 | 74
67949 | 2021-04-05 11:25 | 18.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5003 | μmol/L | 11.3357 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.707 | 136368.728 | 279433.7404 | 26.25 | 74
67958 | 2021-04-05 11:25 | 19.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5003 | μmol/L | 11.3357 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.707 | 136357.3763 | 279428.2633 | 26.25 | 74
67967 | 2021-04-05 11:26 | 19.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.5835 | μmol/L | 11.3297 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.706 | 136357.8516 | 279408.3915 | 26.25 | 74
67976 | 2021-04-05 11:26 | 19.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2679 | μmol/L | 11.3418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 136365.3933 | 279379.1846 | 26.25 | 74
67985 | 2021-04-05 11:26 | 20.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2928 | μmol/L | 11.3418 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.713 | 136383.0294 | 279390.6602 | 26.25 | 74
67994 | 2021-04-05 11:27 | 20.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0481 | μmol/L | 11.354 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 136388.15 | 279379.1945 | 26.25 | 74
68003 | 2021-04-05 11:27 | 20.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0854 | μmol/L | 11.3479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.719 | 136365.0184 | 279354.8164 | 26.25 | 74
68012 | 2021-04-05 11:27 | 21.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0769 | μmol/L | 11.354 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.717 | 136358.7821 | 279334.4359 | 26.25 | 74
68021 | 2021-04-05 11:28 | 21.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0729 | μmol/L | 11.354 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 136365.6376 | 279326.0206 | 26.25 | 74
68030 | 2021-04-05 11:28 | 21.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1103 | μmol/L | 11.3479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.718 | 136352.9255 | 279296.8677 | 26.25 | 74
68039 | 2021-04-05 11:28 | 22.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0481 | μmol/L | 11.354 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 136348.1761 | 279285.9107 | 26.25 | 74
68048 | 2021-04-05 11:29 | 22.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9938 | μmol/L | 11.3601 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.718 | 136338.3161 | 279284.3899 | 26.25 | 74
68057 | 2021-04-05 11:29 | 22.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9604 | μmol/L | 11.3661 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.717 | 136324.248 | 279247.3687 | 26.25 | 74
68066 | 2021-04-05 11:29 | 23.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9565 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 136305.7928 | 279230.45 | 26.25 | 74
68075 | 2021-04-05 11:30 | 23.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.882 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 136297.7894 | 279220.3638 | 26.25 | 74
68084 | 2021-04-05 11:30 | 23.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9145 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 136290.3768 | 279203.5722 | 26.25 | 74
68093 | 2021-04-05 11:30 | 24.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9975 | μmol/L | 11.3722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.713 | 136275.3546 | 279188.6452 | 26.25 | 74
68102 | 2021-04-05 11:31 | 24.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.8192 | μmol/L | 11.3783 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.718 | 136253.8147 | 279171.0187 | 26.25 | 74
68111 | 2021-04-05 11:31 | 24.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9766 | μmol/L | 11.3722 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.714 | 136230.2644 | 279157.4963 | 26.25 | 74
68120 | 2021-04-05 11:31 | 25.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.8106 | μmol/L | 11.3844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.716 | 136204.1292 | 279127.877 | 26.25 | 74
68129 | 2021-04-05 11:32 | 25.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0386 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.709 | 136183.4652 | 279120.2152 | 26.25 | 74
68138 | 2021-04-05 11:32 | 25.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9804 | μmol/L | 11.3844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.709 | 136167.5486 | 279100.4049 | 26.25 | 74
68147 | 2021-04-05 11:32 | 26.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1334 | μmol/L | 11.3844 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.703 | 136140.1824 | 279095.6259 | 26.25 | 74
68156 | 2021-04-05 11:33 | 26.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0503 | μmol/L | 11.3905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.704 | 136117.7957 | 279078.9291 | 26.25 | 74
68165 | 2021-04-05 11:33 | 26.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1877 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 136100.7382 | 279060.5806 | 26.25 | 74
68174 | 2021-04-05 11:33 | 27.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0798 | μmol/L | 11.3844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.705 | 136076.2981 | 279042.1686 | 26.25 | 74
68183 | 2021-04-05 11:34 | 27.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1497 | μmol/L | 11.3905 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.7 | 136049.3011 | 279031.0154 | 26.25 | 74
68192 | 2021-04-05 11:34 | 27.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1372 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.698 | 136022.6524 | 279022.7388 | 26.25 | 74
68201 | 2021-04-05 11:34 | 28.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1621 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.697 | 136005.0179 | 278989.7752 | 26.25 | 74
68210 | 2021-04-05 11:35 | 28.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1372 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.698 | 135992.2566 | 278991.5785 | 26.25 | 74
68219 | 2021-04-05 11:35 | 28.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0542 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.699 | 135981.4483 | 278964.3904 | 26.25 | 74
68228 | 2021-04-05 11:35 | 29.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9796 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 135976.8578 | 278962.1117 | 26.25 | 74
68237 | 2021-04-05 11:36 | 29.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.0293 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.7 | 135978.7447 | 278937.6984 | 26.25 | 74
68246 | 2021-04-05 11:36 | 29.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9215 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 135969.2583 | 278906.479 | 26.25 | 74
68255 | 2021-04-05 11:36 | 30.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9129 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.7 | 135966.6216 | 278890.5346 | 26.25 | 74
68264 | 2021-04-05 11:37 | 30.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.8966 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 135973.1273 | 278893.0321 | 26.25 | 74
68273 | 2021-04-05 11:37 | 30.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.8718 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.704 | 135969.8337 | 278871.5476 | 26.25 | 74
68282 | 2021-04-05 11:37 | 31.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.8222 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.706 | 135965.3464 | 278848.4544 | 26.25 | 74
68291 | 2021-04-05 11:38 | 31.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.64 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.711 | 135986.9806 | 278824.5998 | 26.25 | 74
68300 | 2021-04-05 11:38 | 31.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5904 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.713 | 135989.4265 | 278818.0187 | 26.25 | 74
68309 | 2021-04-05 11:38 | 32.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5408 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.715 | 135996.5675 | 278789.5129 | 26.25 | 74
68318 | 2021-04-05 11:39 | 32.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5656 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 135967.2271 | 278782.4468 | 26.25 | 74
68327 | 2021-04-05 11:39 | 32.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.6067 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 135938.3065 | 278762.8013 | 26.25 | 74
68336 | 2021-04-05 11:39 | 33.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5238 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.711 | 135932.2727 | 278759.4208 | 26.25 | 74
68345 | 2021-04-05 11:40 | 33.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5982 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.708 | 135921.1332 | 278731.9837 | 26.25 | 74
68354 | 2021-04-05 11:40 | 33.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.4409 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 135920.1113 | 278713.5957 | 26.25 | 74
68363 | 2021-04-05 11:40 | 34.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.2838 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 135949.184 | 278694.2043 | 26.25 | 74
68372 | 2021-04-05 11:41 | 34.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.1685 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 135977.2316 | 278688.074 | 26.25 | 74
68381 | 2021-04-05 11:41 | 34.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.276 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 135972.8793 | 278661.9813 | 26.25 | 74
68390 | 2021-04-05 11:41 | 35.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.3256 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 135871.1764 | 278644.4426 | 26.25 | 74
68399 | 2021-04-05 11:42 | 35.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.4579 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 135843.1441 | 278644.7341 | 26.25 | 74
68408 | 2021-04-05 11:42 | 35.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.3751 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 135793.529 | 278654.3253 | 26.25 | 74
68417 | 2021-04-05 11:42 | 36.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.4905 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 135784.669 | 278655.3381 | 26.25 | 74
68426 | 2021-04-05 11:43 | 36.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5401 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.708 | 135774.7745 | 278671.1423 | 26.25 | 74
68435 | 2021-04-05 11:43 | 36.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5649 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.707 | 135746.7448 | 278660.1674 | 26.25 | 74
68444 | 2021-04-05 11:43 | 37.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.6393 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.704 | 135737.182 | 278668.8942 | 26.25 | 74
68453 | 2021-04-05 11:44 | 37.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.606 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 135723.6122 | 278663.309 | 26.25 | 74
68462 | 2021-04-05 11:44 | 37.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5812 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.704 | 135718.1587 | 278661.2463 | 26.25 | 74
68471 | 2021-04-05 11:44 | 38.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.606 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 135724.0457 | 278655.8112 | 26.25 | 74
68480 | 2021-04-05 11:45 | 38.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.6308 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 135739.8921 | 278670.605 | 26.25 | 74
68489 | 2021-04-05 11:45 | 38.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5812 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.704 | 135756.7712 | 278645.4102 | 26.25 | 74
68498 | 2021-04-05 11:45 | 39.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.4325 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 135757.9458 | 278645.243 | 26.25 | 74
68507 | 2021-04-05 11:46 | 39.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.3249 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 135784.3264 | 278642.804 | 26.25 | 74
68516 | 2021-04-05 11:46 | 39.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.3992 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.709 | 135799.8151 | 278639.1084 | 26.25 | 74
68525 | 2021-04-05 11:46 | 40.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.2258 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 135825.07 | 278638.5925 | 26.25 | 74
68534 | 2021-04-05 11:47 | 40.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.1763 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 135845.808 | 278639.9864 | 26.25 | 74
68543 | 2021-04-05 11:47 | 40.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.9698 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 135885.6866 | 278630.0105 | 26.25 | 74
68552 | 2021-04-05 11:47 | 41.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.9288 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 135909.543 | 278617.9672 | 26.25 | 74
68561 | 2021-04-05 11:48 | 41.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7883 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 135913.513 | 278607.8162 | 26.25 | 74
68570 | 2021-04-05 11:48 | 41.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7304 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 135915.7523 | 278602.7185 | 26.25 | 74
68579 | 2021-04-05 11:48 | 42.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.8214 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 135916.2112 | 278598.3488 | 26.25 | 74
68588 | 2021-04-05 11:49 | 42.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.8214 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 135918.2789 | 278589.3821 | 26.25 | 74
68597 | 2021-04-05 11:49 | 42.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7388 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 135920.0826 | 278571.4266 | 26.25 | 74
68606 | 2021-04-05 11:49 | 43.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7141 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 135928.425 | 278568.2978 | 26.25 | 74
68615 | 2021-04-05 11:50 | 43.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7473 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 135936.077 | 278555.0974 | 26.25 | 74
68624 | 2021-04-05 11:50 | 43.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.5744 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.74 | 135964.5439 | 278546.1557 | 26.25 | 74
68633 | 2021-04-05 11:50 | 44.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.4756 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.744 | 135986.2974 | 278527.8538 | 26.25 | 74
68642 | 2021-04-05 11:51 | 44.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.3106 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.746 | 136010.9417 | 278514.1297 | 26.25 | 74
68651 | 2021-04-05 11:51 | 44.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.1958 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.753 | 136029.0509 | 278493.2848 | 26.25 | 74
68660 | 2021-04-05 11:51 | 45.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0887 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.755 | 136049.9245 | 278481.0095 | 26.25 | 74
68669 | 2021-04-05 11:52 | 45.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0148 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.758 | 136066.2976 | 278459.7393 | 26.25 | 74
68678 | 2021-04-05 11:52 | 45.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0479 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.759 | 136064.5783 | 278444.8491 | 26.25 | 74
68687 | 2021-04-05 11:52 | 46.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0148 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.758 | 136062.6308 | 278432.721 | 26.25 | 74
68696 | 2021-04-05 11:53 | 46.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9162 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.762 | 136050.5494 | 278415.8206 | 26.25 | 74
68705 | 2021-04-05 11:53 | 46.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9078 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.76 | 136043.2741 | 278406.668 | 26.25 | 74
68714 | 2021-04-05 11:53 | 47.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9078 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.76 | 136031.141 | 278384.4185 | 26.25 | 74
68723 | 2021-04-05 11:54 | 47.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9817 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.757 | 136030.4739 | 278380.0833 | 26.25 | 74
68732 | 2021-04-05 11:54 | 47.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9409 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.761 | 136044.292 | 278359.5295 | 26.25 | 74
68741 | 2021-04-05 11:54 | 48.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9078 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.76 | 136043.2668 | 278341.5581 | 26.25 | 74
68750 | 2021-04-05 11:55 | 48.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.8916 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.763 | 136018.9954 | 278316.9536 | 26.25 | 74
68759 | 2021-04-05 11:55 | 48.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.8008 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.762 | 136021.5224 | 278292.5982 | 26.25 | 74
68768 | 2021-04-05 11:55 | 49.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.8585 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.762 | 136020.6689 | 278303.4347 | 26.25 | 74
68777 | 2021-04-05 11:56 | 49.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.7354 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 136019.1247 | 278268.977 | 26.25 | 74
68786 | 2021-04-05 11:56 | 49.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.7024 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.766 | 136009.1777 | 278253.366 | 26.25 | 74
68795 | 2021-04-05 11:56 | 50.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6778 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 136005.6479 | 278233.7195 | 26.25 | 74
68804 | 2021-04-05 11:57 | 50.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6778 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 135980.0513 | 278203.6435 | 26.25 | 74
68813 | 2021-04-05 11:57 | 50.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6778 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.767 | 135982.4559 | 278207.9925 | 26.25 | 74
68822 | 2021-04-05 11:57 | 51.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6447 | μmol/L | 11.4816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.766 | 135974.5151 | 278183.6563 | 26.25 | 74
68831 | 2021-04-05 11:58 | 51.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6532 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.768 | 135966.118 | 278178.4743 | 26.25 | 74
68840 | 2021-04-05 11:58 | 51.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.5463 | μmol/L | 11.4816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.77 | 135966.0456 | 278151.0978 | 26.25 | 74
68849 | 2021-04-05 11:58 | 52.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.5794 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 135967.5849 | 278130.5624 | 26.25 | 74
68858 | 2021-04-05 11:59 | 52.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.4725 | μmol/L | 11.4816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.773 | 135978.5243 | 278111.3664 | 26.25 | 74
68867 | 2021-04-05 11:59 | 52.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.3742 | μmol/L | 11.4816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.777 | 135977.6924 | 278099.5338 | 26.25 | 74
68876 | 2021-04-05 11:59 | 53.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.2921 | μmol/L | 11.4877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.778 | 135975.6537 | 278078.0162 | 26.25 | 74
68885 | 2021-04-05 12:00 | 53.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.1938 | μmol/L | 11.4877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.782 | 135984.891 | 278065.8423 | 26.25 | 74
68894 | 2021-04-05 12:00 | 53.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.1117 | μmol/L | 11.4938 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.783 | 135991.498 | 278066.17 | 26.25 | 74
68903 | 2021-04-05 12:00 | 54.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.956 | μmol/L | 11.4999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.787 | 135982.5814 | 278028.5395 | 26.25 | 74
68912 | 2021-04-05 12:01 | 54.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.989 | μmol/L | 11.4938 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.788 | 135994.988 | 278016.0056 | 26.25 | 74
68921 | 2021-04-05 12:01 | 54.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.8579 | μmol/L | 11.4999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.791 | 135995.5302 | 278000.8259 | 26.25 | 74
68930 | 2021-04-05 12:01 | 55.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.8824 | μmol/L | 11.4999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.79 | 135993.1557 | 277994.6066 | 26.25 | 74
68939 | 2021-04-05 12:02 | 55.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.7928 | μmol/L | 11.4938 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.796 | 136001.5884 | 277966.0582 | 26.25 | 74
68948 | 2021-04-05 12:02 | 55.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6779 | μmol/L | 11.506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.796 | 136013.7305 | 277955.8011 | 26.25 | 74
68957 | 2021-04-05 12:02 | 56.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6289 | μmol/L | 11.506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.798 | 136006.0173 | 277936.0553 | 26.25 | 74
68966 | 2021-04-05 12:03 | 56.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6618 | μmol/L | 11.4999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.799 | 136008.6281 | 277918.2937 | 26.25 | 74
68975 | 2021-04-05 12:03 | 56.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.5799 | μmol/L | 11.506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.8 | 136000.2526 | 277909.7207 | 26.25 | 74
68984 | 2021-04-05 12:03 | 57.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.5148 | μmol/L | 11.4999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.805 | 135996.8683 | 277884.4171 | 26.25 | 74
68993 | 2021-04-05 12:04 | 57.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.4574 | μmol/L | 11.506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.805 | 135982.0639 | 277874.9262 | 26.25 | 74
69002 | 2021-04-05 12:04 | 57.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3182 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.806 | 135979.4339 | 277859.1047 | 26.25 | 74
69011 | 2021-04-05 12:04 | 58.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3671 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.804 | 135975.8075 | 277852.4468 | 26.25 | 74
69020 | 2021-04-05 12:05 | 58.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3671 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.804 | 135955.3295 | 277813.2979 | 26.25 | 74
69029 | 2021-04-05 12:05 | 58.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3511 | μmol/L | 11.512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.807 | 135955.4035 | 277814.1692 | 26.25 | 74
69038 | 2021-04-05 12:05 | 59.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2937 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.807 | 135946.9696 | 277776.8653 | 26.25 | 74
69047 | 2021-04-05 12:06 | 59.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2937 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.807 | 135925.9277 | 277767.1129 | 26.25 | 74
69056 | 2021-04-05 12:06 | 59.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2937 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.807 | 135915.1085 | 277752.6986 | 26.25 | 74
69065 | 2021-04-05 12:06 | 60.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2119 | μmol/L | 11.5242 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.808 | 135911.6083 | 277744.9441 | 26.25 | 74
69074 | 2021-04-05 12:07 | 60.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3427 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.805 | 135911.8684 | 277720.606 | 26.25 | 74
69083 | 2021-04-05 12:07 | 60.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2448 | μmol/L | 11.5181 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.809 | 135903.0686 | 277691.4395 | 26.25 | 74