## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69086 | 2021-04-05 12:55 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3622 | μmol/L | 10.661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.907 | 112007.9923 | 219583.7149 | 27.3 | 43.4
69093 | 2021-04-05 12:56 | 0.32952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.294 | μmol/L | 10.6671 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.907 | 111998.4077 | 219599.5418 | 27.3 | 43.4
69102 | 2021-04-05 12:56 | 0.66249 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3575 | μmol/L | 10.6793 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.9 | 111963.5721 | 219582.2676 | 27.3 | 43.4
69111 | 2021-04-05 12:56 | 0.99614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2718 | μmol/L | 10.6793 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.903 | 111928.4741 | 219576.6913 | 27.3 | 43.4
69121 | 2021-04-05 12:57 | 1.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1528 | μmol/L | 10.6976 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.9 | 111898.758 | 219574.3973 | 27.3 | 43.4
69130 | 2021-04-05 12:57 | 1.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2561 | μmol/L | 10.7037 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.894 | 111871.072 | 219563.1095 | 27.3 | 43.4
69139 | 2021-04-05 12:57 | 1.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1593 | μmol/L | 10.7098 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.895 | 111831.2604 | 219554.1521 | 27.3 | 43.4
69148 | 2021-04-05 12:58 | 2.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3087 | μmol/L | 10.722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.885 | 111814.1893 | 219554.2878 | 27.3 | 43.4
69157 | 2021-04-05 12:58 | 2.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1372 | μmol/L | 10.722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.891 | 111777.1014 | 219546.5657 | 27.3 | 43.4
69165 | 2021-04-05 12:58 | 2.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2691 | μmol/L | 10.7281 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.884 | 111756.4918 | 219536.2458 | 27.3 | 43.4
69174 | 2021-04-05 12:59 | 3.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3043 | μmol/L | 10.7403 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.878 | 111719.0105 | 219519.6503 | 27.3 | 43.4
69183 | 2021-04-05 12:59 | 3.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.4077 | μmol/L | 10.7464 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.872 | 111695.9547 | 219513.0964 | 27.3 | 43.4
69192 | 2021-04-05 12:59 | 3.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2823 | μmol/L | 10.7525 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.874 | 111675.0112 | 219515.2543 | 27.3 | 43.4
69201 | 2021-04-05 13:00 | 4.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3572 | μmol/L | 10.7586 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 111642.8521 | 219513.2609 | 27.3 | 43.4
69211 | 2021-04-05 13:00 | 4.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2209 | μmol/L | 10.7707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.869 | 111612.2974 | 219491.2851 | 27.3 | 43.4
69219 | 2021-04-05 13:00 | 4.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3816 | μmol/L | 10.7768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.861 | 111596.0464 | 219485.9965 | 27.3 | 43.4
69228 | 2021-04-05 13:01 | 5.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3706 | μmol/L | 10.7829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.859 | 111570.4406 | 219487.6632 | 27.3 | 43.4
69237 | 2021-04-05 13:01 | 5.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3883 | μmol/L | 10.789 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.856 | 111536.133 | 219473.3847 | 27.3 | 43.4
69246 | 2021-04-05 13:01 | 5.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3952 | μmol/L | 10.8012 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.851 | 111511.5724 | 219469.7031 | 27.3 | 43.4
69255 | 2021-04-05 13:02 | 6.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3665 | μmol/L | 10.8012 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.852 | 111493.3681 | 219463.5849 | 27.3 | 43.4
69264 | 2021-04-05 13:02 | 6.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3556 | μmol/L | 10.8073 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.85 | 111465.4181 | 219453.277 | 27.3 | 43.4
69273 | 2021-04-05 13:02 | 6.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2875 | μmol/L | 10.8134 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.85 | 111439.2996 | 219449.1331 | 27.3 | 43.4
69283 | 2021-04-05 13:03 | 7.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.4089 | μmol/L | 10.8256 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.841 | 111418.2674 | 219439.8372 | 27.3 | 43.4
69291 | 2021-04-05 13:03 | 7.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3803 | μmol/L | 10.8256 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.842 | 111402.5381 | 219424.7507 | 27.3 | 43.4
69301 | 2021-04-05 13:03 | 7.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2155 | μmol/L | 10.8378 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.843 | 111391.9076 | 219417.3849 | 27.3 | 43.4
69310 | 2021-04-05 13:04 | 8.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3191 | μmol/L | 10.8439 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.837 | 111354.4281 | 219418.9408 | 27.3 | 43.4
69318 | 2021-04-05 13:04 | 8.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2797 | μmol/L | 10.85 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.836 | 111340.5729 | 219410.3931 | 27.3 | 43.4
69327 | 2021-04-05 13:04 | 8.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.4228 | μmol/L | 10.85 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.831 | 111329.6329 | 219404.0947 | 27.3 | 43.4
69336 | 2021-04-05 13:05 | 9.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.4012 | μmol/L | 10.8622 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.827 | 111298.1835 | 219393.7496 | 27.3 | 43.4
69345 | 2021-04-05 13:05 | 9.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3905 | μmol/L | 10.8683 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.825 | 111274.1536 | 219385.7665 | 27.3 | 43.4
69354 | 2021-04-05 13:05 | 9.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3618 | μmol/L | 10.8683 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.826 | 111262.1147 | 219374.9482 | 27.3 | 43.4
69364 | 2021-04-05 13:06 | 10.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2544 | μmol/L | 10.8805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.825 | 111241.5918 | 219363.6701 | 27.3 | 43.4
69372 | 2021-04-05 13:06 | 10.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.4083 | μmol/L | 10.8744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.822 | 111226.9146 | 219358.0482 | 27.3 | 43.4
69382 | 2021-04-05 13:06 | 10.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3295 | μmol/L | 10.8865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.82 | 111207.4044 | 219375.6332 | 27.3 | 43.4
69391 | 2021-04-05 13:07 | 11.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3868 | μmol/L | 10.8865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.818 | 111192.1828 | 219352.0211 | 27.3 | 43.4
69400 | 2021-04-05 13:07 | 11.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2507 | μmol/L | 10.8987 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.818 | 111179.0648 | 219352.587 | 27.3 | 43.4
69409 | 2021-04-05 13:07 | 11.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1255 | μmol/L | 10.9048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.82 | 111179.4013 | 219338.6364 | 27.3 | 43.4
69418 | 2021-04-05 13:08 | 12.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1041 | μmol/L | 10.917 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.816 | 111160.2469 | 219328.446 | 27.3 | 43.4
69427 | 2021-04-05 13:08 | 12.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.2472 | μmol/L | 10.917 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111133.1507 | 219317.7442 | 27.3 | 43.4
69436 | 2021-04-05 13:08 | 12.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1685 | μmol/L | 10.9292 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111110.1377 | 219315.6776 | 27.3 | 43.4
69445 | 2021-04-05 13:09 | 13.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.3224 | μmol/L | 10.9231 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 111107.3422 | 219312.0965 | 27.3 | 43.4
69453 | 2021-04-05 13:09 | 13.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1399 | μmol/L | 10.9292 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.81 | 111102.4227 | 219315.5188 | 27.3 | 43.4
69463 | 2021-04-05 13:09 | 13.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.0433 | μmol/L | 10.9353 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111095.8189 | 219304.103 | 27.3 | 43.4
69472 | 2021-04-05 13:10 | 14.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8789 | μmol/L | 10.9475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.812 | 111094.9681 | 219303.3096 | 27.3 | 43.4
69480 | 2021-04-05 13:10 | 14.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.022 | μmol/L | 10.9475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111088.1651 | 219291.0241 | 27.3 | 43.4
69490 | 2021-04-05 13:10 | 14.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9648 | μmol/L | 10.9475 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111081.5096 | 219289.6046 | 27.3 | 43.4
69499 | 2021-04-05 13:11 | 15.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.829 | μmol/L | 10.9597 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111065.3473 | 219285.7897 | 27.3 | 43.4
69507 | 2021-04-05 13:11 | 15.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8077 | μmol/L | 10.9719 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.805 | 111053.1961 | 219275.5336 | 27.3 | 43.4
69516 | 2021-04-05 13:11 | 15.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7898 | μmol/L | 10.9658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111043.0334 | 219263.4684 | 27.3 | 43.4
69526 | 2021-04-05 13:12 | 16.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.847 | μmol/L | 10.9658 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.806 | 111030.1503 | 219264.26 | 27.3 | 43.4
69535 | 2021-04-05 13:12 | 16.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8257 | μmol/L | 10.978 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111007.502 | 219258.1735 | 27.3 | 43.4
69544 | 2021-04-05 13:12 | 16.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6721 | μmol/L | 10.9841 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.805 | 110992.6368 | 219250.4169 | 27.3 | 43.4
69552 | 2021-04-05 13:13 | 17.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8331 | μmol/L | 10.9902 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.797 | 110980.3651 | 219248.2116 | 27.3 | 43.4
69561 | 2021-04-05 13:13 | 17.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.919 | μmol/L | 10.9902 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.794 | 110958.0111 | 219237.8043 | 27.3 | 43.4
69571 | 2021-04-05 13:13 | 17.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7833 | μmol/L | 11.0024 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.794 | 110948.424 | 219229.6491 | 27.3 | 43.4
69579 | 2021-04-05 13:14 | 18.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7547 | μmol/L | 11.0024 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.795 | 110936.1585 | 219226.396 | 27.3 | 43.4
69588 | 2021-04-05 13:14 | 18.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9837 | μmol/L | 11.0024 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.787 | 110916.6706 | 219227.5692 | 27.3 | 43.4
69597 | 2021-04-05 13:14 | 18.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9158 | μmol/L | 11.0085 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.787 | 110893.2667 | 219221.4258 | 27.3 | 43.4
69606 | 2021-04-05 13:15 | 19.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7908 | μmol/L | 11.0145 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.789 | 110882.5947 | 219211.1952 | 27.3 | 43.4
69615 | 2021-04-05 13:15 | 19.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9911 | μmol/L | 11.0145 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.782 | 110871.6731 | 219202.1662 | 27.3 | 43.4
69624 | 2021-04-05 13:15 | 19.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7125 | μmol/L | 11.0267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.787 | 110848.4731 | 219197.0673 | 27.3 | 43.4
69633 | 2021-04-05 13:16 | 20.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9987 | μmol/L | 11.0267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.777 | 110831.5926 | 219192.5325 | 27.3 | 43.4
69643 | 2021-04-05 13:16 | 20.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9595 | μmol/L | 11.0328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.776 | 110816.416 | 219184.7111 | 27.3 | 43.4
69652 | 2021-04-05 13:16 | 20.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9023 | μmol/L | 11.0328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.778 | 110807.3133 | 219178.909 | 27.3 | 43.4
69660 | 2021-04-05 13:17 | 21.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.949 | μmol/L | 11.0389 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.774 | 110782.9058 | 219185.5318 | 27.3 | 43.4
69670 | 2021-04-05 13:17 | 21.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8421 | μmol/L | 11.0511 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.773 | 110761.3591 | 219168.7134 | 27.3 | 43.4
69679 | 2021-04-05 13:17 | 21.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8993 | μmol/L | 11.0511 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.771 | 110749.2705 | 219173.6776 | 27.3 | 43.4
69687 | 2021-04-05 13:18 | 22.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8707 | μmol/L | 11.0511 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.772 | 110730.3311 | 219158.6995 | 27.3 | 43.4
69696 | 2021-04-05 13:18 | 22.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9461 | μmol/L | 11.0572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.767 | 110703.0629 | 219154.6153 | 27.3 | 43.4
69705 | 2021-04-05 13:18 | 22.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9251 | μmol/L | 11.0694 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.763 | 110697.703 | 219151.0209 | 27.3 | 43.4
69714 | 2021-04-05 13:19 | 23.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8965 | μmol/L | 11.0694 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.764 | 110680.4999 | 219144.9186 | 27.3 | 43.4
69723 | 2021-04-05 13:19 | 23.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9538 | μmol/L | 11.0694 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.762 | 110665.2568 | 219148.85 | 27.3 | 43.4
69733 | 2021-04-05 13:19 | 23.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.0397 | μmol/L | 11.0694 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.759 | 110646.98 | 219141.9003 | 27.3 | 43.4
69742 | 2021-04-05 13:20 | 24.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.0579 | μmol/L | 11.0755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.756 | 110635.7579 | 219126.1829 | 27.3 | 43.4
69750 | 2021-04-05 13:20 | 24.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9042 | μmol/L | 11.0816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.759 | 110632.5227 | 219133.0251 | 27.3 | 43.4
69759 | 2021-04-05 13:20 | 24.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 333.1048 | μmol/L | 11.0816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.752 | 110612.333 | 219128.1968 | 27.3 | 43.4
69768 | 2021-04-05 13:21 | 25.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9797 | μmol/L | 11.0877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.754 | 110598.9344 | 219108.7894 | 27.3 | 43.4
69777 | 2021-04-05 13:21 | 25.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9693 | μmol/L | 11.0938 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.752 | 110590.04 | 219113.2628 | 27.3 | 43.4
69786 | 2021-04-05 13:21 | 25.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9302 | μmol/L | 11.0999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 110577.7395 | 219112.4134 | 27.3 | 43.4
69795 | 2021-04-05 13:22 | 26.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.9588 | μmol/L | 11.0999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.75 | 110565.852 | 219099.1603 | 27.3 | 43.4
69804 | 2021-04-05 13:22 | 26.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8338 | μmol/L | 11.106 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.752 | 110569.8754 | 219097.5748 | 27.3 | 43.4
69814 | 2021-04-05 13:22 | 26.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8625 | μmol/L | 11.106 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 110570.3673 | 219088.6461 | 27.3 | 43.4
69823 | 2021-04-05 13:23 | 27.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.8625 | μmol/L | 11.106 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.751 | 110574.3448 | 219085.4579 | 27.3 | 43.4
69832 | 2021-04-05 13:23 | 27.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7661 | μmol/L | 11.1121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.752 | 110573.4516 | 219082.0032 | 27.3 | 43.4
69841 | 2021-04-05 13:23 | 27.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5164 | μmol/L | 11.1243 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.756 | 110566.8418 | 219074.5356 | 27.3 | 43.4
69850 | 2021-04-05 13:24 | 28.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5736 | μmol/L | 11.1243 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.754 | 110561.8176 | 219068.4328 | 27.3 | 43.4
69859 | 2021-04-05 13:24 | 28.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5346 | μmol/L | 11.1304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.753 | 110556.6499 | 219053.9697 | 27.3 | 43.4
69868 | 2021-04-05 13:24 | 28.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6881 | μmol/L | 11.1243 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.75 | 110542.2524 | 219061.881 | 27.3 | 43.4
69877 | 2021-04-05 13:25 | 29.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6491 | μmol/L | 11.1304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.749 | 110533.339 | 219050.4954 | 27.3 | 43.4
69885 | 2021-04-05 13:25 | 29.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6101 | μmol/L | 11.1365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.748 | 110522.8735 | 219043.7786 | 27.3 | 43.4
69895 | 2021-04-05 13:25 | 29.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6101 | μmol/L | 11.1365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.748 | 110516.135 | 219051.9604 | 27.3 | 43.4
69903 | 2021-04-05 13:26 | 30.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5607 | μmol/L | 11.1487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.745 | 110489.5121 | 219050.5382 | 27.3 | 43.4
69912 | 2021-04-05 13:26 | 30.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6466 | μmol/L | 11.1487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.742 | 110476.8896 | 219035.0716 | 27.3 | 43.4
69922 | 2021-04-05 13:26 | 30.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6466 | μmol/L | 11.1487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.742 | 110471.5969 | 219029.7368 | 27.3 | 43.4
69931 | 2021-04-05 13:27 | 31.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6363 | μmol/L | 11.1547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.74 | 110455.51 | 219023.2148 | 27.3 | 43.4
69940 | 2021-04-05 13:27 | 31.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5687 | μmol/L | 11.1608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.74 | 110435.5963 | 219019.1138 | 27.3 | 43.4
69949 | 2021-04-05 13:27 | 31.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6832 | μmol/L | 11.1608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.736 | 110423.5016 | 219014.7929 | 27.3 | 43.4
69958 | 2021-04-05 13:28 | 32.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6729 | μmol/L | 11.1669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 110411.762 | 219015.4072 | 27.3 | 43.4
69967 | 2021-04-05 13:28 | 32.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5766 | μmol/L | 11.173 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.735 | 110393.7507 | 219002.0651 | 27.3 | 43.4
69976 | 2021-04-05 13:28 | 32.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.7588 | μmol/L | 11.1669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.731 | 110386.1444 | 219009.3247 | 27.3 | 43.4
69985 | 2021-04-05 13:29 | 33.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6729 | μmol/L | 11.1669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 110378.7714 | 219003.571 | 27.3 | 43.4
69994 | 2021-04-05 13:29 | 33.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6522 | μmol/L | 11.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110368.4067 | 218997.1774 | 27.3 | 43.4
70003 | 2021-04-05 13:29 | 33.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6522 | μmol/L | 11.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110363.382 | 219001.3133 | 27.3 | 43.4
70012 | 2021-04-05 13:30 | 34.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.595 | μmol/L | 11.1791 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.732 | 110351.9374 | 218991.0527 | 27.3 | 43.4
70021 | 2021-04-05 13:30 | 34.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.6133 | μmol/L | 11.1852 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.729 | 110356.3581 | 218959.3462 | 27.3 | 43.4
70030 | 2021-04-05 13:30 | 34.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5171 | μmol/L | 11.1913 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110358.7452 | 218979.4537 | 27.3 | 43.4
70039 | 2021-04-05 13:31 | 35.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.4885 | μmol/L | 11.1913 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.731 | 110348.5925 | 218972.8307 | 27.3 | 43.4
70048 | 2021-04-05 13:31 | 35.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5068 | μmol/L | 11.1974 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110347.7353 | 218966.1583 | 27.3 | 43.4
70056 | 2021-04-05 13:31 | 35.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.4496 | μmol/L | 11.1974 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110344.3652 | 218955.0385 | 27.3 | 43.4
70066 | 2021-04-05 13:32 | 36.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3248 | μmol/L | 11.2035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.732 | 110339.9838 | 218949.6945 | 27.3 | 43.4
70074 | 2021-04-05 13:32 | 36.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3923 | μmol/L | 11.1974 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.732 | 110335.0703 | 218955.5745 | 27.3 | 43.4
70083 | 2021-04-05 13:32 | 36.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3146 | μmol/L | 11.2096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110331.5029 | 218955.8548 | 27.3 | 43.4
70092 | 2021-04-05 13:33 | 37.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3248 | μmol/L | 11.2035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.732 | 110325.3618 | 218950.1602 | 27.3 | 43.4
70101 | 2021-04-05 13:33 | 37.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3718 | μmol/L | 11.2096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110312.8293 | 218943.7083 | 27.3 | 43.4
70111 | 2021-04-05 13:33 | 37.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3329 | μmol/L | 11.2157 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.727 | 110301.4059 | 218932.8959 | 27.3 | 43.4
70120 | 2021-04-05 13:34 | 38.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3432 | μmol/L | 11.2096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.729 | 110292.1871 | 218934.4676 | 27.3 | 43.4
70129 | 2021-04-05 13:34 | 38.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3902 | μmol/L | 11.2157 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 110281.0161 | 218923.4998 | 27.3 | 43.4
70137 | 2021-04-05 13:34 | 38.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3043 | μmol/L | 11.2157 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110263.0427 | 218928.9804 | 27.3 | 43.4
70147 | 2021-04-05 13:35 | 39.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3411 | μmol/L | 11.2279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 110257.8818 | 218928.8742 | 27.3 | 43.4
70155 | 2021-04-05 13:35 | 39.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.2838 | μmol/L | 11.2279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.724 | 110253.4636 | 218919.9915 | 27.3 | 43.4
70165 | 2021-04-05 13:35 | 39.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3411 | μmol/L | 11.2279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 110243.7807 | 218916.4928 | 27.3 | 43.4
70174 | 2021-04-05 13:36 | 40.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.4372 | μmol/L | 11.2218 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.721 | 110226.1617 | 218912.8527 | 27.3 | 43.4
70182 | 2021-04-05 13:36 | 40.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3125 | μmol/L | 11.2279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 110234.8903 | 218909.2886 | 27.3 | 43.4
70191 | 2021-04-05 13:36 | 40.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.5128 | μmol/L | 11.2279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.716 | 110221.5755 | 218893.3929 | 27.3 | 43.4
70201 | 2021-04-05 13:37 | 41.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.2062 | μmol/L | 11.2401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 110213.0587 | 218889.1769 | 27.3 | 43.4
70210 | 2021-04-05 13:37 | 41.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3779 | μmol/L | 11.2401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.716 | 110220.0908 | 218887.1517 | 27.3 | 43.4
70219 | 2021-04-05 13:37 | 41.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.2348 | μmol/L | 11.2401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.721 | 110215.3917 | 218887.8038 | 27.3 | 43.4
70228 | 2021-04-05 13:38 | 42.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.3104 | μmol/L | 11.2462 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.716 | 110203.4671 | 218883.5641 | 27.3 | 43.4
70236 | 2021-04-05 13:38 | 42.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.2818 | μmol/L | 11.2462 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.717 | 110200.2013 | 218885.287 | 27.3 | 43.4
70246 | 2021-04-05 13:38 | 42.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.1572 | μmol/L | 11.2523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 110200.0364 | 218879.3207 | 27.3 | 43.4
70255 | 2021-04-05 13:39 | 43.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.1572 | μmol/L | 11.2523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 110198.5387 | 218872.3987 | 27.3 | 43.4
70264 | 2021-04-05 13:39 | 43.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.1572 | μmol/L | 11.2523 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 110198.3979 | 218874.3509 | 27.3 | 43.4
70272 | 2021-04-05 13:39 | 43.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.1184 | μmol/L | 11.2584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.718 | 110192.3296 | 218872.108 | 27.3 | 43.4
70281 | 2021-04-05 13:40 | 44.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.1184 | μmol/L | 11.2584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.718 | 110199.0073 | 218865.7256 | 27.3 | 43.4
70291 | 2021-04-05 13:40 | 44.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.9938 | μmol/L | 11.2645 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.72 | 110199.6118 | 218856.4332 | 27.3 | 43.4
70300 | 2021-04-05 13:40 | 44.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 332.0326 | μmol/L | 11.2584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.721 | 110186.9304 | 218850.104 | 27.3 | 43.4
70309 | 2021-04-05 13:41 | 45.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.8509 | μmol/L | 11.2645 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 110192.1493 | 218842.8107 | 27.3 | 43.4
70317 | 2021-04-05 13:41 | 45.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.955 | μmol/L | 11.2706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 110197.2123 | 218842.7948 | 27.3 | 43.4
70327 | 2021-04-05 13:41 | 45.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.755 | μmol/L | 11.2706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.726 | 110188.9544 | 218839.4017 | 27.3 | 43.4
70335 | 2021-04-05 13:42 | 46.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.8121 | μmol/L | 11.2706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.724 | 110197.3741 | 218829.1713 | 27.3 | 43.4
70344 | 2021-04-05 13:42 | 46.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.8509 | μmol/L | 11.2645 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.725 | 110201.1056 | 218834.6374 | 27.3 | 43.4
70354 | 2021-04-05 13:42 | 46.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5735 | μmol/L | 11.2767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.73 | 110199.6737 | 218821.7717 | 27.3 | 43.4
70362 | 2021-04-05 13:43 | 47.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4206 | μmol/L | 11.2828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.733 | 110219.3137 | 218823.5185 | 27.3 | 43.4
70371 | 2021-04-05 13:43 | 47.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3534 | μmol/L | 11.2889 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.733 | 110228.5669 | 218827.0155 | 27.3 | 43.4
70380 | 2021-04-05 13:43 | 47.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3636 | μmol/L | 11.2828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.735 | 110235.593 | 218813.678 | 27.3 | 43.4
70389 | 2021-04-05 13:44 | 48.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.382 | μmol/L | 11.2889 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.732 | 110237.7151 | 218820.711 | 27.3 | 43.4
70399 | 2021-04-05 13:44 | 48.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2964 | μmol/L | 11.2889 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.735 | 110238.6023 | 218816.4164 | 27.3 | 43.4
70408 | 2021-04-05 13:44 | 48.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.278 | μmol/L | 11.2828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.738 | 110237.2328 | 218803.07 | 27.3 | 43.4
70416 | 2021-04-05 13:45 | 49.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.105 | μmol/L | 11.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.737 | 110231.7114 | 218800.2454 | 27.3 | 43.4
70425 | 2021-04-05 13:45 | 49.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2292 | μmol/L | 11.2949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.735 | 110229.202 | 218788.9525 | 27.3 | 43.4
70434 | 2021-04-05 13:45 | 49.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2007 | μmol/L | 11.2949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.736 | 110228.1213 | 218781.2524 | 27.3 | 43.4
70443 | 2021-04-05 13:46 | 50.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2577 | μmol/L | 11.2949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 110213.6651 | 218788.3111 | 27.3 | 43.4
70452 | 2021-04-05 13:46 | 50.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.1905 | μmol/L | 11.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.734 | 110201.8981 | 218785.1294 | 27.3 | 43.4
70461 | 2021-04-05 13:46 | 50.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2191 | μmol/L | 11.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.733 | 110203.798 | 218788.7505 | 27.3 | 43.4
70470 | 2021-04-05 13:47 | 51.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2761 | μmol/L | 11.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.731 | 110190.3581 | 218779.4318 | 27.3 | 43.4
70480 | 2021-04-05 13:47 | 51.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2191 | μmol/L | 11.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.733 | 110179.8809 | 218767.4154 | 27.3 | 43.4
70489 | 2021-04-05 13:47 | 51.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2945 | μmol/L | 11.3071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110171.5122 | 218769.4879 | 27.3 | 43.4
70497 | 2021-04-05 13:48 | 52.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.266 | μmol/L | 11.3071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.729 | 110151.8355 | 218758.1329 | 27.3 | 43.4
70506 | 2021-04-05 13:48 | 52.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2945 | μmol/L | 11.3071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110139.221 | 218753.2258 | 27.3 | 43.4
70515 | 2021-04-05 13:48 | 52.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2273 | μmol/L | 11.3132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.728 | 110133.2425 | 218751.1478 | 27.3 | 43.4
70525 | 2021-04-05 13:49 | 53.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.37 | μmol/L | 11.3132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 110123.4245 | 218741.0992 | 27.3 | 43.4
70534 | 2021-04-05 13:49 | 53.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.37 | μmol/L | 11.3132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 110105.0131 | 218753.1666 | 27.3 | 43.4
70542 | 2021-04-05 13:49 | 53.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.37 | μmol/L | 11.3132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.723 | 110094.2796 | 218738.8229 | 27.3 | 43.4
70551 | 2021-04-05 13:50 | 54.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4556 | μmol/L | 11.3132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.72 | 110086.9689 | 218719.5255 | 27.3 | 43.4
70561 | 2021-04-05 13:50 | 54.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4169 | μmol/L | 11.3193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.719 | 110080.5197 | 218732.4184 | 27.3 | 43.4
70570 | 2021-04-05 13:50 | 54.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4657 | μmol/L | 11.3071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.722 | 110064.3603 | 218724.8956 | 27.3 | 43.4
70579 | 2021-04-05 13:51 | 55.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4455 | μmol/L | 11.3193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.718 | 110058.2957 | 218722.3909 | 27.3 | 43.4
70588 | 2021-04-05 13:51 | 55.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5311 | μmol/L | 11.3193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.715 | 110037.4561 | 218709.7076 | 27.3 | 43.4
70596 | 2021-04-05 13:51 | 55.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4354 | μmol/L | 11.3254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.716 | 110021.1017 | 218712.4165 | 27.3 | 43.4
70606 | 2021-04-05 13:52 | 56.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4639 | μmol/L | 11.3254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.715 | 110025.8154 | 218705.6449 | 27.3 | 43.4
70614 | 2021-04-05 13:52 | 56.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4639 | μmol/L | 11.3254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.715 | 110015.37 | 218698.2119 | 27.3 | 43.4
70623 | 2021-04-05 13:52 | 56.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5109 | μmol/L | 11.3315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.711 | 109997.5178 | 218707.2659 | 27.3 | 43.4
70633 | 2021-04-05 13:53 | 57.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.6067 | μmol/L | 11.3254 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.71 | 109991.141 | 218693.5876 | 27.3 | 43.4
70641 | 2021-04-05 13:53 | 57.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.6252 | μmol/L | 11.3315 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.707 | 109987.4953 | 218700.1533 | 27.3 | 43.4
70650 | 2021-04-05 13:53 | 57.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5294 | μmol/L | 11.3376 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.708 | 109970.8995 | 218688.2339 | 27.3 | 43.4
70659 | 2021-04-05 13:54 | 58.3291 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4337 | μmol/L | 11.3437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.709 | 109970.9382 | 218692.3946 | 27.3 | 43.4
70669 | 2021-04-05 13:54 | 58.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5008 | μmol/L | 11.3376 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.709 | 109956.763 | 218684.828 | 27.3 | 43.4
70678 | 2021-04-05 13:54 | 58.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5865 | μmol/L | 11.3376 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109947.6074 | 218670.9687 | 27.3 | 43.4
70687 | 2021-04-05 13:55 | 59.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4723 | μmol/L | 11.3376 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.71 | 109940.6747 | 218671.9089 | 27.3 | 43.4
70696 | 2021-04-05 13:55 | 59.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5193 | μmol/L | 11.3437 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109946.6409 | 218679.8075 | 27.3 | 43.4
70705 | 2021-04-05 13:55 | 59.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3951 | μmol/L | 11.3498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.708 | 109927.8189 | 218651.9992 | 27.3 | 43.4
70713 | 2021-04-05 13:56 | 60.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4522 | μmol/L | 11.3498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109921.455 | 218655.2159 | 27.3 | 43.4
70723 | 2021-04-05 13:56 | 60.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4236 | μmol/L | 11.3498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.707 | 109922.4872 | 218652.3998 | 27.3 | 43.4
70731 | 2021-04-05 13:56 | 60.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.4807 | μmol/L | 11.3498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.705 | 109912.5822 | 218653.3179 | 27.3 | 43.4
70740 | 2021-04-05 13:57 | 61.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3179 | μmol/L | 11.362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109902.2702 | 218647.6277 | 27.3 | 43.4
70749 | 2021-04-05 13:57 | 61.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.5378 | μmol/L | 11.3498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.703 | 109907.2297 | 218637.3561 | 27.3 | 43.4
70759 | 2021-04-05 13:57 | 61.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3179 | μmol/L | 11.362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109908.8966 | 218641.4407 | 27.3 | 43.4
70767 | 2021-04-05 13:58 | 62.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.3179 | μmol/L | 11.362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109902.4656 | 218645.0932 | 27.3 | 43.4
70777 | 2021-04-05 13:58 | 62.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 331.2323 | μmol/L | 11.362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 21.709 | 109897.7151 | 218634.6152 | 27.3 | 43.4