## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69087 | 2021-04-05 12:55 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.491 | μmol/L | 10.7478 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 105797.0126 | 303327.8948 | 28.7 | 67.6
69096 | 2021-04-05 12:56 | 0.32867 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.22 | μmol/L | 10.766 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 105802.0631 | 303334.6617 | 28.7 | 67.6
69105 | 2021-04-05 12:56 | 0.66255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.2938 | μmol/L | 10.766 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.906 | 105776.9214 | 303343.3526 | 28.7 | 67.6
69114 | 2021-04-05 12:56 | 0.99606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.2528 | μmol/L | 10.7782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 105767.3072 | 303319.3521 | 28.7 | 67.6
69123 | 2021-04-05 12:57 | 1.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.2445 | μmol/L | 10.7842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.901 | 105744.5694 | 303318.775 | 28.7 | 67.6
69132 | 2021-04-05 12:57 | 1.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.2199 | μmol/L | 10.7842 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.902 | 105742.2623 | 303306.5662 | 28.7 | 67.6
69141 | 2021-04-05 12:57 | 1.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.1051 | μmol/L | 10.7964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.902 | 105741.0039 | 303304.7421 | 28.7 | 67.6
69150 | 2021-04-05 12:58 | 2.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 288.0558 | μmol/L | 10.7964 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.904 | 105735.0943 | 303287.1985 | 28.7 | 67.6
69159 | 2021-04-05 12:58 | 2.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.8591 | μmol/L | 10.8146 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 105736.7895 | 303284.4292 | 28.7 | 67.6
69168 | 2021-04-05 12:58 | 2.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.7608 | μmol/L | 10.8146 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 105742.1982 | 303263.1965 | 28.7 | 67.6
69177 | 2021-04-05 12:59 | 3.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.728 | μmol/L | 10.8207 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.908 | 105739.1901 | 303241.6648 | 28.7 | 67.6
69186 | 2021-04-05 12:59 | 3.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5397 | μmol/L | 10.8328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.911 | 105738.1745 | 303228.6867 | 28.7 | 67.6
69195 | 2021-04-05 12:59 | 3.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4743 | μmol/L | 10.8449 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 105727.0664 | 303231.621 | 28.7 | 67.6
69204 | 2021-04-05 13:00 | 4.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4988 | μmol/L | 10.8449 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.908 | 105700.3885 | 303212.6727 | 28.7 | 67.6
69213 | 2021-04-05 13:00 | 4.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4089 | μmol/L | 10.8571 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.907 | 105695.9443 | 303217.6254 | 28.7 | 67.6
69222 | 2021-04-05 13:00 | 4.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4499 | μmol/L | 10.8631 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 105667.43 | 303191.2369 | 28.7 | 67.6
69231 | 2021-04-05 13:01 | 5.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.54 | μmol/L | 10.8692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.897 | 105649.6436 | 303186.1098 | 28.7 | 67.6
69240 | 2021-04-05 13:01 | 5.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.54 | μmol/L | 10.8692 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.897 | 105625.2882 | 303177.4497 | 28.7 | 67.6
69249 | 2021-04-05 13:01 | 5.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5565 | μmol/L | 10.8753 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.894 | 105611.0289 | 303164.9403 | 28.7 | 67.6
69258 | 2021-04-05 13:02 | 6.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4992 | μmol/L | 10.8813 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.894 | 105581.9815 | 303149.1381 | 28.7 | 67.6
69267 | 2021-04-05 13:02 | 6.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5648 | μmol/L | 10.8874 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.889 | 105565.455 | 303128.5533 | 28.7 | 67.6
69276 | 2021-04-05 13:02 | 6.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5076 | μmol/L | 10.8935 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.889 | 105541.2496 | 303123.4351 | 28.7 | 67.6
69285 | 2021-04-05 13:03 | 7.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4669 | μmol/L | 10.9056 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 105523.7065 | 303106.1068 | 28.7 | 67.6
69294 | 2021-04-05 13:03 | 7.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5978 | μmol/L | 10.8995 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.883 | 105516.1311 | 303106.1731 | 28.7 | 67.6
69303 | 2021-04-05 13:03 | 7.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4097 | μmol/L | 10.9117 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 105494.9479 | 303092.341 | 28.7 | 67.6
69312 | 2021-04-05 13:04 | 8.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4508 | μmol/L | 10.9177 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.882 | 105483.6769 | 303078.9765 | 28.7 | 67.6
69321 | 2021-04-05 13:04 | 8.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3364 | μmol/L | 10.9299 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.882 | 105462.2134 | 303064.414 | 28.7 | 67.6
69330 | 2021-04-05 13:04 | 8.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.5084 | μmol/L | 10.9299 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.875 | 105441.5873 | 303046.0863 | 28.7 | 67.6
69339 | 2021-04-05 13:05 | 9.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4758 | μmol/L | 10.936 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.874 | 105434.4606 | 303036.1576 | 28.7 | 67.6
69348 | 2021-04-05 13:05 | 9.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4758 | μmol/L | 10.936 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.874 | 105420.0885 | 303045.3266 | 28.7 | 67.6
69357 | 2021-04-05 13:05 | 9.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3695 | μmol/L | 10.942 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 105407.6344 | 303021.388 | 28.7 | 67.6
69366 | 2021-04-05 13:06 | 10.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4186 | μmol/L | 10.942 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.874 | 105401.8774 | 303030.7833 | 28.7 | 67.6
69375 | 2021-04-05 13:06 | 10.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4517 | μmol/L | 10.9542 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.868 | 105392.7058 | 303019.8776 | 28.7 | 67.6
69384 | 2021-04-05 13:06 | 10.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3946 | μmol/L | 10.9602 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.868 | 105375.7111 | 303005.1808 | 28.7 | 67.6
69393 | 2021-04-05 13:07 | 11.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2638 | μmol/L | 10.9663 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.871 | 105347.095 | 302987.9422 | 28.7 | 67.6
69402 | 2021-04-05 13:07 | 11.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3786 | μmol/L | 10.9724 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.864 | 105344.6465 | 302975.3297 | 28.7 | 67.6
69411 | 2021-04-05 13:07 | 11.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.4031 | μmol/L | 10.9724 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 105319.521 | 302959.7259 | 28.7 | 67.6
69420 | 2021-04-05 13:08 | 12.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2889 | μmol/L | 10.9845 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 105317.8856 | 302955.1253 | 28.7 | 67.6
69429 | 2021-04-05 13:08 | 12.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3626 | μmol/L | 10.9845 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.86 | 105290.9098 | 302947.8353 | 28.7 | 67.6
69438 | 2021-04-05 13:08 | 12.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3055 | μmol/L | 10.9906 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.86 | 105279.5807 | 302925.8113 | 28.7 | 67.6
69447 | 2021-04-05 13:09 | 13.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2975 | μmol/L | 10.9966 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.858 | 105275.5105 | 302950.1282 | 28.7 | 67.6
69456 | 2021-04-05 13:09 | 13.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3221 | μmol/L | 10.9966 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.857 | 105260.2273 | 302915.6561 | 28.7 | 67.6
69465 | 2021-04-05 13:09 | 13.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.3387 | μmol/L | 11.0027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.854 | 105251.8673 | 302907.8348 | 28.7 | 67.6
69474 | 2021-04-05 13:10 | 14.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2816 | μmol/L | 11.0088 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.854 | 105238.6536 | 302899.6745 | 28.7 | 67.6
69483 | 2021-04-05 13:10 | 14.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2 | μmol/L | 11.0148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 105230.2132 | 302887.8935 | 28.7 | 67.6
69492 | 2021-04-05 13:10 | 14.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.1105 | μmol/L | 11.027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.854 | 105220.3649 | 302872.1882 | 28.7 | 67.6
69501 | 2021-04-05 13:11 | 15.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.2333 | μmol/L | 11.027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 105208.6216 | 302855.7255 | 28.7 | 67.6
69510 | 2021-04-05 13:11 | 15.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.1271 | μmol/L | 11.0331 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105201.5287 | 302847.058 | 28.7 | 67.6
69519 | 2021-04-05 13:11 | 15.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.1517 | μmol/L | 11.0331 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 105200.8151 | 302843.8958 | 28.7 | 67.6
69528 | 2021-04-05 13:12 | 16.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.0701 | μmol/L | 11.0391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105201.9399 | 302823.5367 | 28.7 | 67.6
69537 | 2021-04-05 13:12 | 16.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.972 | μmol/L | 11.0391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 105192.4589 | 302817.684 | 28.7 | 67.6
69546 | 2021-04-05 13:12 | 16.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 287.0131 | μmol/L | 11.0452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105183.5319 | 302797.0854 | 28.7 | 67.6
69555 | 2021-04-05 13:13 | 17.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.9316 | μmol/L | 11.0513 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 105187.119 | 302800.6566 | 28.7 | 67.6
69564 | 2021-04-05 13:13 | 17.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.8747 | μmol/L | 11.0573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 105188.8226 | 302787.4602 | 28.7 | 67.6
69573 | 2021-04-05 13:13 | 17.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.7197 | μmol/L | 11.0634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 105195.4047 | 302774.9969 | 28.7 | 67.6
69582 | 2021-04-05 13:14 | 18.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.6873 | μmol/L | 11.0695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 105181.1422 | 302762.6856 | 28.7 | 67.6
69591 | 2021-04-05 13:14 | 18.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.7608 | μmol/L | 11.0695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 105177.7174 | 302746.11 | 28.7 | 67.6
69600 | 2021-04-05 13:14 | 18.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.6794 | μmol/L | 11.0755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 105172.9174 | 302736.1407 | 28.7 | 67.6
69609 | 2021-04-05 13:15 | 19.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.7284 | μmol/L | 11.0755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105170.3119 | 302740.2981 | 28.7 | 67.6
69618 | 2021-04-05 13:15 | 19.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.5735 | μmol/L | 11.0816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 105166.8069 | 302732.722 | 28.7 | 67.6
69627 | 2021-04-05 13:15 | 19.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4922 | μmol/L | 11.0877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 105158.6168 | 302720.7746 | 28.7 | 67.6
69636 | 2021-04-05 13:16 | 20.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.5167 | μmol/L | 11.0877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 105147.3284 | 302715.032 | 28.7 | 67.6
69645 | 2021-04-05 13:16 | 20.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.5578 | μmol/L | 11.0937 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105141.3156 | 302697.5991 | 28.7 | 67.6
69654 | 2021-04-05 13:16 | 20.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3785 | μmol/L | 11.0998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 105136.7186 | 302699.5343 | 28.7 | 67.6
69663 | 2021-04-05 13:17 | 21.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.452 | μmol/L | 11.0998 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 105127.3849 | 302679.2748 | 28.7 | 67.6
69672 | 2021-04-05 13:17 | 21.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4197 | μmol/L | 11.1059 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 105112.8492 | 302673.7311 | 28.7 | 67.6
69681 | 2021-04-05 13:17 | 21.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4197 | μmol/L | 11.1059 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 105115.0048 | 302670.4668 | 28.7 | 67.6
69690 | 2021-04-05 13:18 | 22.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4608 | μmol/L | 11.1119 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 105097.762 | 302651.2209 | 28.7 | 67.6
69699 | 2021-04-05 13:18 | 22.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3305 | μmol/L | 11.118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 105096.7018 | 302638.1164 | 28.7 | 67.6
69708 | 2021-04-05 13:18 | 22.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3795 | μmol/L | 11.118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 105077.7862 | 302637.07 | 28.7 | 67.6
69717 | 2021-04-05 13:19 | 23.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3227 | μmol/L | 11.1241 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 105061.6037 | 302623.2391 | 28.7 | 67.6
69726 | 2021-04-05 13:19 | 23.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4374 | μmol/L | 11.1302 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 105061.9378 | 302615.5298 | 28.7 | 67.6
69735 | 2021-04-05 13:19 | 23.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3639 | μmol/L | 11.1302 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 105053.3494 | 302616.3085 | 28.7 | 67.6
69744 | 2021-04-05 13:20 | 24.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3561 | μmol/L | 11.1362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 105033.4518 | 302605.4857 | 28.7 | 67.6
69753 | 2021-04-05 13:20 | 24.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4296 | μmol/L | 11.1362 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.84 | 105031.2344 | 302600.8976 | 28.7 | 67.6
69762 | 2021-04-05 13:20 | 24.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3483 | μmol/L | 11.1423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.841 | 105030.1662 | 302600.699 | 28.7 | 67.6
69771 | 2021-04-05 13:21 | 25.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.4218 | μmol/L | 11.1423 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.838 | 105012.8568 | 302582.1404 | 28.7 | 67.6
69780 | 2021-04-05 13:21 | 25.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2426 | μmol/L | 11.1484 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104997.7294 | 302574.6895 | 28.7 | 67.6
69789 | 2021-04-05 13:21 | 25.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2838 | μmol/L | 11.1544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.839 | 105000.1763 | 302565.0198 | 28.7 | 67.6
69798 | 2021-04-05 13:22 | 26.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3572 | μmol/L | 11.1544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.836 | 104994.9565 | 302545.9352 | 28.7 | 67.6
69807 | 2021-04-05 13:22 | 26.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.227 | μmol/L | 11.1605 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.839 | 104976.0941 | 302534.7448 | 28.7 | 67.6
69816 | 2021-04-05 13:22 | 26.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.227 | μmol/L | 11.1605 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.839 | 104967.2935 | 302534.2346 | 28.7 | 67.6
69825 | 2021-04-05 13:23 | 27.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2927 | μmol/L | 11.1666 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.834 | 104955.6078 | 302526.1058 | 28.7 | 67.6
69834 | 2021-04-05 13:23 | 27.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1793 | μmol/L | 11.1787 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.834 | 104957.244 | 302513.3307 | 28.7 | 67.6
69843 | 2021-04-05 13:23 | 27.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2115 | μmol/L | 11.1726 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 104956.4223 | 302509.5146 | 28.7 | 67.6
69852 | 2021-04-05 13:24 | 28.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2115 | μmol/L | 11.1726 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 104951.1069 | 302509.5146 | 28.7 | 67.6
69861 | 2021-04-05 13:24 | 28.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0814 | μmol/L | 11.1787 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.838 | 104941.3361 | 302478.0579 | 28.7 | 67.6
69870 | 2021-04-05 13:24 | 28.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2038 | μmol/L | 11.1787 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.833 | 104936.2738 | 302487.5135 | 28.7 | 67.6
69879 | 2021-04-05 13:25 | 29.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0981 | μmol/L | 11.1848 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 104937.5841 | 302477.9765 | 28.7 | 67.6
69888 | 2021-04-05 13:25 | 29.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1226 | μmol/L | 11.1848 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.834 | 104925.4731 | 302457.6881 | 28.7 | 67.6
69897 | 2021-04-05 13:25 | 29.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.017 | μmol/L | 11.1908 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.836 | 104928.5916 | 302450.8753 | 28.7 | 67.6
69906 | 2021-04-05 13:26 | 30.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9681 | μmol/L | 11.1908 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.838 | 104923.7376 | 302441.5911 | 28.7 | 67.6
69915 | 2021-04-05 13:26 | 30.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9603 | μmol/L | 11.1969 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.836 | 104927.649 | 302439.3473 | 28.7 | 67.6
69924 | 2021-04-05 13:26 | 30.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.8548 | μmol/L | 11.203 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.838 | 104924.7574 | 302433.5283 | 28.7 | 67.6
69933 | 2021-04-05 13:27 | 31.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9282 | μmol/L | 11.203 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 104923.2858 | 302423.6781 | 28.7 | 67.6
69942 | 2021-04-05 13:27 | 31.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.8304 | μmol/L | 11.203 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.839 | 104929.1615 | 302395.754 | 28.7 | 67.6
69951 | 2021-04-05 13:27 | 31.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.676 | μmol/L | 11.2091 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104935.8939 | 302393.7175 | 28.7 | 67.6
69960 | 2021-04-05 13:28 | 32.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.6927 | μmol/L | 11.2151 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.84 | 104930.5338 | 302375.5196 | 28.7 | 67.6
69969 | 2021-04-05 13:28 | 32.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.6439 | μmol/L | 11.2151 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 104941.7368 | 302392.8957 | 28.7 | 67.6
69978 | 2021-04-05 13:28 | 32.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.5218 | μmol/L | 11.2151 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104943.1716 | 302368.8392 | 28.7 | 67.6
69987 | 2021-04-05 13:29 | 33.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4164 | μmol/L | 11.2212 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104946.1881 | 302362.5785 | 28.7 | 67.6
69996 | 2021-04-05 13:29 | 33.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.5629 | μmol/L | 11.2212 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104942.4755 | 302365.1142 | 28.7 | 67.6
70005 | 2021-04-05 13:29 | 33.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4652 | μmol/L | 11.2212 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104932.9863 | 302362.2797 | 28.7 | 67.6
70014 | 2021-04-05 13:30 | 34.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4819 | μmol/L | 11.2273 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 104924.5076 | 302364.1506 | 28.7 | 67.6
70023 | 2021-04-05 13:30 | 34.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4498 | μmol/L | 11.2333 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104932.1188 | 302349.9348 | 28.7 | 67.6
70032 | 2021-04-05 13:30 | 34.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4498 | μmol/L | 11.2333 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104926.1704 | 302332.7398 | 28.7 | 67.6
70041 | 2021-04-05 13:31 | 35.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.279 | μmol/L | 11.2333 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104910.974 | 302321.0607 | 28.7 | 67.6
70050 | 2021-04-05 13:31 | 35.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3201 | μmol/L | 11.2394 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104905.6469 | 302325.0483 | 28.7 | 67.6
70059 | 2021-04-05 13:31 | 35.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3445 | μmol/L | 11.2394 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104910.7581 | 302322.3758 | 28.7 | 67.6
70068 | 2021-04-05 13:32 | 36.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3368 | μmol/L | 11.2455 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104910.4326 | 302320.8983 | 28.7 | 67.6
70077 | 2021-04-05 13:32 | 36.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2316 | μmol/L | 11.2515 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104902.8899 | 302301.104 | 28.7 | 67.6
70086 | 2021-04-05 13:32 | 36.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3201 | μmol/L | 11.2394 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104899.4361 | 302296.0756 | 28.7 | 67.6
70095 | 2021-04-05 13:33 | 37.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2072 | μmol/L | 11.2515 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104891.3688 | 302287.2735 | 28.7 | 67.6
70104 | 2021-04-05 13:33 | 37.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1584 | μmol/L | 11.2515 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104893.745 | 302284.6255 | 28.7 | 67.6
70113 | 2021-04-05 13:33 | 37.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1751 | μmol/L | 11.2576 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104887.9577 | 302269.9637 | 28.7 | 67.6
70122 | 2021-04-05 13:34 | 38.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.07 | μmol/L | 11.2637 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104880.1941 | 302262.8743 | 28.7 | 67.6
70131 | 2021-04-05 13:34 | 38.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1751 | μmol/L | 11.2576 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104878.7273 | 302259.9487 | 28.7 | 67.6
70140 | 2021-04-05 13:34 | 38.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1751 | μmol/L | 11.2576 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104868.7337 | 302238.2921 | 28.7 | 67.6
70149 | 2021-04-05 13:35 | 39.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0943 | μmol/L | 11.2637 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104871.123 | 302242.1841 | 28.7 | 67.6
70158 | 2021-04-05 13:35 | 39.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0623 | μmol/L | 11.2697 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104874.7305 | 302247.7651 | 28.7 | 67.6
70167 | 2021-04-05 13:35 | 39.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9648 | μmol/L | 11.2697 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104876.57 | 302242.6618 | 28.7 | 67.6
70176 | 2021-04-05 13:36 | 40.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0136 | μmol/L | 11.2697 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104871.5414 | 302218.0152 | 28.7 | 67.6
70185 | 2021-04-05 13:36 | 40.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9648 | μmol/L | 11.2697 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104875.792 | 302223.8114 | 28.7 | 67.6
70194 | 2021-04-05 13:36 | 40.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8597 | μmol/L | 11.2758 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104876.7065 | 302214.9587 | 28.7 | 67.6
70203 | 2021-04-05 13:37 | 41.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8597 | μmol/L | 11.2758 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104874.0123 | 302214.0767 | 28.7 | 67.6
70212 | 2021-04-05 13:37 | 41.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.779 | μmol/L | 11.2819 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 104875.9219 | 302202.4019 | 28.7 | 67.6
70221 | 2021-04-05 13:37 | 41.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.747 | μmol/L | 11.288 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104854.6963 | 302171.6489 | 28.7 | 67.6
70230 | 2021-04-05 13:38 | 42.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.747 | μmol/L | 11.288 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104863.9511 | 302200.4226 | 28.7 | 67.6
70239 | 2021-04-05 13:38 | 42.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.747 | μmol/L | 11.288 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104863.5224 | 302183.4725 | 28.7 | 67.6
70248 | 2021-04-05 13:38 | 42.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8445 | μmol/L | 11.288 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104859.0232 | 302165.3239 | 28.7 | 67.6
70257 | 2021-04-05 13:39 | 43.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6831 | μmol/L | 11.3001 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104862.8244 | 302161.4231 | 28.7 | 67.6
70266 | 2021-04-05 13:39 | 43.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7957 | μmol/L | 11.288 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104873.9216 | 302157.1105 | 28.7 | 67.6
70275 | 2021-04-05 13:39 | 43.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6588 | μmol/L | 11.3001 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104852.0025 | 302138.292 | 28.7 | 67.6
70284 | 2021-04-05 13:40 | 44.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.642 | μmol/L | 11.294 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 104861.0724 | 302142.0022 | 28.7 | 67.6
70293 | 2021-04-05 13:40 | 44.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5371 | μmol/L | 11.3001 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 104862.801 | 302139.0346 | 28.7 | 67.6
70302 | 2021-04-05 13:40 | 44.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4003 | μmol/L | 11.3122 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 104855.4342 | 302117.4058 | 28.7 | 67.6
70311 | 2021-04-05 13:41 | 45.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5128 | μmol/L | 11.3001 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 104862.6431 | 302110.0316 | 28.7 | 67.6
70320 | 2021-04-05 13:41 | 45.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4322 | μmol/L | 11.3062 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.857 | 104863.8443 | 302120.0241 | 28.7 | 67.6
70329 | 2021-04-05 13:41 | 45.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4732 | μmol/L | 11.3122 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 104861.7191 | 302110.8008 | 28.7 | 67.6
70338 | 2021-04-05 13:42 | 46.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5219 | μmol/L | 11.3122 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104855.5352 | 302104.8715 | 28.7 | 67.6
70347 | 2021-04-05 13:42 | 46.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4489 | μmol/L | 11.3122 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.854 | 104846.1798 | 302091.8851 | 28.7 | 67.6
70356 | 2021-04-05 13:42 | 46.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3516 | μmol/L | 11.3122 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.858 | 104844.343 | 302077.1877 | 28.7 | 67.6
70365 | 2021-04-05 13:43 | 47.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.417 | μmol/L | 11.3183 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 104842.2781 | 302084.7234 | 28.7 | 67.6
70374 | 2021-04-05 13:43 | 47.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4656 | μmol/L | 11.3183 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104829.7445 | 302091.5685 | 28.7 | 67.6
70383 | 2021-04-05 13:43 | 47.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3608 | μmol/L | 11.3244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 104825.8663 | 302062.9699 | 28.7 | 67.6
70392 | 2021-04-05 13:44 | 48.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4337 | μmol/L | 11.3244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104812.7876 | 302048.4989 | 28.7 | 67.6
70401 | 2021-04-05 13:44 | 48.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4656 | μmol/L | 11.3183 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104804.8587 | 302032.7828 | 28.7 | 67.6
70410 | 2021-04-05 13:44 | 48.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.49 | μmol/L | 11.3183 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104811.825 | 302022.8619 | 28.7 | 67.6
70419 | 2021-04-05 13:45 | 49.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.458 | μmol/L | 11.3244 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104791.5673 | 302032.5482 | 28.7 | 67.6
70428 | 2021-04-05 13:45 | 49.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3775 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104792.7013 | 302011.8453 | 28.7 | 67.6
70437 | 2021-04-05 13:45 | 49.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3775 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104788.5922 | 301999.8306 | 28.7 | 67.6
70446 | 2021-04-05 13:46 | 50.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3532 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104782.4039 | 301998.0032 | 28.7 | 67.6
70455 | 2021-04-05 13:46 | 50.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3699 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104777.6526 | 301993.7902 | 28.7 | 67.6
70464 | 2021-04-05 13:46 | 50.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3289 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.852 | 104767.1052 | 301999.9492 | 28.7 | 67.6
70473 | 2021-04-05 13:47 | 51.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2408 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104768.6047 | 301994.2117 | 28.7 | 67.6
70482 | 2021-04-05 13:47 | 51.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.338 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104759.2019 | 301991.7415 | 28.7 | 67.6
70491 | 2021-04-05 13:47 | 51.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3699 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104749.5631 | 301978.9341 | 28.7 | 67.6
70500 | 2021-04-05 13:48 | 52.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4186 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104744.6267 | 301978.9287 | 28.7 | 67.6
70509 | 2021-04-05 13:48 | 52.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2894 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104736.7512 | 301968.2474 | 28.7 | 67.6
70518 | 2021-04-05 13:48 | 52.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3548 | μmol/L | 11.3486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 104720.4458 | 301928.9014 | 28.7 | 67.6
70527 | 2021-04-05 13:49 | 53.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3137 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104724.366 | 301946.8943 | 28.7 | 67.6
70536 | 2021-04-05 13:49 | 53.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3305 | μmol/L | 11.3486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104713.1578 | 301940.0258 | 28.7 | 67.6
70545 | 2021-04-05 13:49 | 53.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4596 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 104709.6547 | 301929.8126 | 28.7 | 67.6
70554 | 2021-04-05 13:50 | 54.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3213 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104705.7398 | 301919.1423 | 28.7 | 67.6
70563 | 2021-04-05 13:50 | 54.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3472 | μmol/L | 11.3547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 104702.9578 | 301918.0941 | 28.7 | 67.6
70572 | 2021-04-05 13:50 | 54.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3548 | μmol/L | 11.3486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 104698.3667 | 301908.228 | 28.7 | 67.6
70581 | 2021-04-05 13:51 | 55.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3229 | μmol/L | 11.3547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.843 | 104692.2785 | 301903.0337 | 28.7 | 67.6
70590 | 2021-04-05 13:51 | 55.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3062 | μmol/L | 11.3486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 104684.589 | 301888.8475 | 28.7 | 67.6
70599 | 2021-04-05 13:51 | 55.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1452 | μmol/L | 11.3608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104681.4952 | 301871.6769 | 28.7 | 67.6
70608 | 2021-04-05 13:52 | 56.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3472 | μmol/L | 11.3547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 104686.5841 | 301877.5564 | 28.7 | 67.6
70617 | 2021-04-05 13:52 | 56.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2181 | μmol/L | 11.3608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.845 | 104690.4848 | 301877.4195 | 28.7 | 67.6
70626 | 2021-04-05 13:52 | 56.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2911 | μmol/L | 11.3608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 104675.0126 | 301850.7725 | 28.7 | 67.6
70635 | 2021-04-05 13:53 | 57.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2014 | μmol/L | 11.3547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104683.5622 | 301856.0448 | 28.7 | 67.6
70644 | 2021-04-05 13:53 | 57.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1863 | μmol/L | 11.3669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 104675.5987 | 301847.7184 | 28.7 | 67.6
70653 | 2021-04-05 13:53 | 57.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1209 | μmol/L | 11.3608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104670.8923 | 301836.8174 | 28.7 | 67.6
70662 | 2021-04-05 13:54 | 58.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1863 | μmol/L | 11.3669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.844 | 104662.1326 | 301824.1656 | 28.7 | 67.6
70671 | 2021-04-05 13:54 | 58.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0405 | μmol/L | 11.3669 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104666.7517 | 301824.7975 | 28.7 | 67.6
70680 | 2021-04-05 13:54 | 58.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0011 | μmol/L | 11.379 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104661.7845 | 301814.0683 | 28.7 | 67.6
70689 | 2021-04-05 13:55 | 59.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.033 | μmol/L | 11.3729 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.848 | 104654.385 | 301806.6969 | 28.7 | 67.6
70698 | 2021-04-05 13:55 | 59.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9844 | μmol/L | 11.3729 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104657.8525 | 301798.6236 | 28.7 | 67.6
70707 | 2021-04-05 13:55 | 59.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0087 | μmol/L | 11.3729 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104653.9523 | 301788.8194 | 28.7 | 67.6
70716 | 2021-04-05 13:56 | 60.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0573 | μmol/L | 11.3729 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.847 | 104656.459 | 301776.2192 | 28.7 | 67.6
70725 | 2021-04-05 13:56 | 60.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9526 | μmol/L | 11.379 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.849 | 104650.9112 | 301761.8446 | 28.7 | 67.6
70734 | 2021-04-05 13:56 | 60.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8312 | μmol/L | 11.379 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.854 | 104657.3467 | 301775.1225 | 28.7 | 67.6
70743 | 2021-04-05 13:57 | 61.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9601 | μmol/L | 11.3729 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 104661.0195 | 301769.2457 | 28.7 | 67.6
70752 | 2021-04-05 13:57 | 61.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9283 | μmol/L | 11.379 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 104653.4267 | 301774.8432 | 28.7 | 67.6
70761 | 2021-04-05 13:57 | 61.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7266 | μmol/L | 11.3851 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.856 | 104653.7016 | 301755.6887 | 28.7 | 67.6
70770 | 2021-04-05 13:58 | 62.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7509 | μmol/L | 11.3851 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 104667.3472 | 301752.387 | 28.7 | 67.6