## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69088 | 2021-04-05 12:55 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0317 | μmol/L | 10.816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.411 | 139855.8805 | 278014.94 | 36.4 | 83.1
69097 | 2021-04-05 12:56 | 0.33896 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0085 | μmol/L | 10.8283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.407 | 139850.0975 | 278018.8897 | 36.4 | 83.1
69106 | 2021-04-05 12:56 | 0.67243 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0085 | μmol/L | 10.8283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.407 | 139839.7543 | 277998.3563 | 36.4 | 83.1
69115 | 2021-04-05 12:56 | 1.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.9307 | μmol/L | 10.8405 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.405 | 139820.9904 | 277984.7379 | 36.4 | 83.1
69124 | 2021-04-05 12:57 | 1.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.853 | μmol/L | 10.8527 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.403 | 139804.385 | 277980.4246 | 36.4 | 83.1
69133 | 2021-04-05 12:57 | 1.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8415 | μmol/L | 10.8588 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.401 | 139783.4422 | 277967.3965 | 36.4 | 83.1
69142 | 2021-04-05 12:57 | 2.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 322.0599 | μmol/L | 10.8588 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.393 | 139744.081 | 277958.9916 | 36.4 | 83.1
69151 | 2021-04-05 12:58 | 2.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8069 | μmol/L | 10.8771 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.395 | 139727.0143 | 277942.6925 | 36.4 | 83.1
69160 | 2021-04-05 12:58 | 2.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8615 | μmol/L | 10.8771 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.393 | 139709.0648 | 277931.1606 | 36.4 | 83.1
69169 | 2021-04-05 12:58 | 3.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.9318 | μmol/L | 10.8833 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.388 | 139701.0672 | 277935.7034 | 36.4 | 83.1
69178 | 2021-04-05 12:59 | 3.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8269 | μmol/L | 10.8955 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.387 | 139695.6027 | 277902.7945 | 36.4 | 83.1
69187 | 2021-04-05 12:59 | 3.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.7609 | μmol/L | 10.9016 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.387 | 139656.256 | 277895.0093 | 36.4 | 83.1
69196 | 2021-04-05 12:59 | 4.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8586 | μmol/L | 10.9077 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.381 | 139631.3019 | 277895.869 | 36.4 | 83.1
69205 | 2021-04-05 13:00 | 4.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.7379 | μmol/L | 10.9138 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.383 | 139620.0088 | 277885.2443 | 36.4 | 83.1
69214 | 2021-04-05 13:00 | 4.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.8471 | μmol/L | 10.9138 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.379 | 139598.4672 | 277877.6437 | 36.4 | 83.1
69223 | 2021-04-05 13:00 | 5.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.6763 | μmol/L | 10.9321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.378 | 139577.5081 | 277857.4435 | 36.4 | 83.1
69232 | 2021-04-05 13:01 | 5.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.6649 | μmol/L | 10.9382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.376 | 139567.9088 | 277837.8968 | 36.4 | 83.1
69241 | 2021-04-05 13:01 | 5.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5602 | μmol/L | 10.9505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.375 | 139538.4596 | 277834.6975 | 36.4 | 83.1
69250 | 2021-04-05 13:01 | 6.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5874 | μmol/L | 10.9505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.374 | 139525.3062 | 277828.2316 | 36.4 | 83.1
69259 | 2021-04-05 13:02 | 6.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.6966 | μmol/L | 10.9505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.37 | 139511.7746 | 277802.8123 | 36.4 | 83.1
69268 | 2021-04-05 13:02 | 6.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5101 | μmol/L | 10.9627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.372 | 139492.6184 | 277803.0748 | 36.4 | 83.1
69277 | 2021-04-05 13:02 | 7.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5919 | μmol/L | 10.9627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.369 | 139479.6122 | 277796.1342 | 36.4 | 83.1
69286 | 2021-04-05 13:03 | 7.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.7011 | μmol/L | 10.9627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.365 | 139467.2354 | 277769.9424 | 36.4 | 83.1
69295 | 2021-04-05 13:03 | 7.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5419 | μmol/L | 10.9749 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.366 | 139458.0567 | 277763.6498 | 36.4 | 83.1
69304 | 2021-04-05 13:03 | 8.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5305 | μmol/L | 10.981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.364 | 139442.606 | 277755.6155 | 36.4 | 83.1
69313 | 2021-04-05 13:04 | 8.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.5032 | μmol/L | 10.981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.365 | 139426.3784 | 277750.7278 | 36.4 | 83.1
69322 | 2021-04-05 13:04 | 8.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.3714 | μmol/L | 10.9932 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.365 | 139416.2984 | 277727.5844 | 36.4 | 83.1
69331 | 2021-04-05 13:04 | 9.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.4805 | μmol/L | 10.9932 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.361 | 139406.0361 | 277726.108 | 36.4 | 83.1
69340 | 2021-04-05 13:05 | 9.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.267 | μmol/L | 11.0055 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.364 | 139384.5756 | 277723.5009 | 36.4 | 83.1
69349 | 2021-04-05 13:05 | 9.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.3328 | μmol/L | 10.9994 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.364 | 139379.704 | 277720.0076 | 36.4 | 83.1
69358 | 2021-04-05 13:05 | 10.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.3374 | μmol/L | 11.0116 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.359 | 139357.6814 | 277696.9807 | 36.4 | 83.1
69367 | 2021-04-05 13:06 | 10.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.2716 | μmol/L | 11.0177 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.359 | 139346.8241 | 277707.8318 | 36.4 | 83.1
69376 | 2021-04-05 13:06 | 10.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.2057 | μmol/L | 11.0238 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.359 | 139334.4289 | 277688.1558 | 36.4 | 83.1
69385 | 2021-04-05 13:06 | 11.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.2875 | μmol/L | 11.0238 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.356 | 139332.3147 | 277665.7687 | 36.4 | 83.1
69394 | 2021-04-05 13:07 | 11.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.1832 | μmol/L | 11.036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.355 | 139314.9295 | 277670.6739 | 36.4 | 83.1
69403 | 2021-04-05 13:07 | 11.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.1286 | μmol/L | 11.036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.357 | 139312.2757 | 277651.3265 | 36.4 | 83.1
69412 | 2021-04-05 13:07 | 12.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.1832 | μmol/L | 11.036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.355 | 139320.0803 | 277641.3407 | 36.4 | 83.1
69421 | 2021-04-05 13:08 | 12.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.9426 | μmol/L | 11.0482 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.359 | 139327.842 | 277641.2168 | 36.4 | 83.1
69430 | 2021-04-05 13:08 | 12.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 321.0356 | μmol/L | 11.0421 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.358 | 139321.8201 | 277619.2629 | 36.4 | 83.1
69439 | 2021-04-05 13:08 | 13.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7952 | μmol/L | 11.0543 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.362 | 139321.6301 | 277631.0608 | 36.4 | 83.1
69448 | 2021-04-05 13:09 | 13.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8769 | μmol/L | 11.0543 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.359 | 139306.7468 | 277601.88 | 36.4 | 83.1
69457 | 2021-04-05 13:09 | 13.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8384 | μmol/L | 11.0605 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.358 | 139278.817 | 277596.6908 | 36.4 | 83.1
69466 | 2021-04-05 13:09 | 14.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.9201 | μmol/L | 11.0605 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.355 | 139265.3137 | 277602.3764 | 36.4 | 83.1
69475 | 2021-04-05 13:10 | 14.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8704 | μmol/L | 11.0727 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.352 | 139236.5952 | 277591.6691 | 36.4 | 83.1
69484 | 2021-04-05 13:10 | 14.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8592 | μmol/L | 11.0788 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.35 | 139226.5802 | 277572.5765 | 36.4 | 83.1
69493 | 2021-04-05 13:10 | 15.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7935 | μmol/L | 11.0849 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.35 | 139198.207 | 277564.1383 | 36.4 | 83.1
69502 | 2021-04-05 13:11 | 15.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7823 | μmol/L | 11.091 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.348 | 139194.8191 | 277561.9739 | 36.4 | 83.1
69511 | 2021-04-05 13:11 | 15.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7551 | μmol/L | 11.091 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.349 | 139185.7023 | 277547.0366 | 36.4 | 83.1
69520 | 2021-04-05 13:11 | 16.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.9184 | μmol/L | 11.091 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 139165.1966 | 277545.8548 | 36.4 | 83.1
69529 | 2021-04-05 13:12 | 16.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7438 | μmol/L | 11.0971 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.347 | 139141.3999 | 277532.8663 | 36.4 | 83.1
69538 | 2021-04-05 13:12 | 16.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7599 | μmol/L | 11.1032 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 139132.5088 | 277536.4575 | 36.4 | 83.1
69547 | 2021-04-05 13:12 | 17.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8416 | μmol/L | 11.1032 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 139119.5161 | 277504.6833 | 36.4 | 83.1
69556 | 2021-04-05 13:13 | 17.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7375 | μmol/L | 11.1155 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 139098.4045 | 277488.7761 | 36.4 | 83.1
69565 | 2021-04-05 13:13 | 17.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7375 | μmol/L | 11.1155 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 139090.88 | 277497.9127 | 36.4 | 83.1
69574 | 2021-04-05 13:13 | 18.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7375 | μmol/L | 11.1155 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 139071.8571 | 277487.3725 | 36.4 | 83.1
69583 | 2021-04-05 13:14 | 18.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.6335 | μmol/L | 11.1277 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 139060.901 | 277480.4501 | 36.4 | 83.1
69592 | 2021-04-05 13:14 | 18.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7697 | μmol/L | 11.1277 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 139033.5676 | 277471.9469 | 36.4 | 83.1
69601 | 2021-04-05 13:14 | 19.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7697 | μmol/L | 11.1277 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 139016.3809 | 277462.8599 | 36.4 | 83.1
69610 | 2021-04-05 13:15 | 19.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.7585 | μmol/L | 11.1338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 139012.651 | 277463.882 | 36.4 | 83.1
69619 | 2021-04-05 13:15 | 19.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8402 | μmol/L | 11.1338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138993.5787 | 277451.3094 | 36.4 | 83.1
69628 | 2021-04-05 13:15 | 20.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.8563 | μmol/L | 11.1399 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.326 | 138979.71 | 277441.2228 | 36.4 | 83.1
69637 | 2021-04-05 13:16 | 20.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.6546 | μmol/L | 11.146 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138976.5299 | 277432.4379 | 36.4 | 83.1
69646 | 2021-04-05 13:16 | 20.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.5618 | μmol/L | 11.1521 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138973.9533 | 277430.6591 | 36.4 | 83.1
69655 | 2021-04-05 13:16 | 21.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.6162 | μmol/L | 11.1521 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138962.565 | 277419.2498 | 36.4 | 83.1
69664 | 2021-04-05 13:17 | 21.3396 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.469 | μmol/L | 11.1582 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138961.9027 | 277410.1675 | 36.4 | 83.1
69673 | 2021-04-05 13:17 | 21.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.4307 | μmol/L | 11.1643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138963.6821 | 277404.9318 | 36.4 | 83.1
69682 | 2021-04-05 13:17 | 22.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3763 | μmol/L | 11.1643 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 138951.9534 | 277409.1144 | 36.4 | 83.1
69691 | 2021-04-05 13:18 | 22.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.4468 | μmol/L | 11.1705 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138955.1666 | 277390.5697 | 36.4 | 83.1
69700 | 2021-04-05 13:18 | 22.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3652 | μmol/L | 11.1705 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138934.0923 | 277392.965 | 36.4 | 83.1
69709 | 2021-04-05 13:18 | 23.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3269 | μmol/L | 11.1766 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138927.4777 | 277378.6785 | 36.4 | 83.1
69718 | 2021-04-05 13:19 | 23.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3541 | μmol/L | 11.1766 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138928.7673 | 277380.7072 | 36.4 | 83.1
69727 | 2021-04-05 13:19 | 23.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.2232 | μmol/L | 11.1888 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138935.3431 | 277359.2587 | 36.4 | 83.1
69736 | 2021-04-05 13:19 | 24.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.2614 | μmol/L | 11.1827 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138923.8395 | 277357.4894 | 36.4 | 83.1
69745 | 2021-04-05 13:20 | 24.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1799 | μmol/L | 11.1827 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 138919.7481 | 277349.9113 | 36.4 | 83.1
69754 | 2021-04-05 13:20 | 24.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1577 | μmol/L | 11.1949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138910.8827 | 277335.3698 | 36.4 | 83.1
69763 | 2021-04-05 13:20 | 25.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1849 | μmol/L | 11.1949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138906.0737 | 277335.3564 | 36.4 | 83.1
69772 | 2021-04-05 13:21 | 25.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1849 | μmol/L | 11.1949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138906.2768 | 277341.3915 | 36.4 | 83.1
69781 | 2021-04-05 13:21 | 25.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1034 | μmol/L | 11.1949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138901.4482 | 277322.7174 | 36.4 | 83.1
69790 | 2021-04-05 13:21 | 26.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.9182 | μmol/L | 11.2071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 138902.6128 | 277322.1535 | 36.4 | 83.1
69799 | 2021-04-05 13:22 | 26.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.9726 | μmol/L | 11.2071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138910.4868 | 277312.2214 | 36.4 | 83.1
69808 | 2021-04-05 13:22 | 26.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.8257 | μmol/L | 11.2132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138917.0738 | 277305.182 | 36.4 | 83.1
69817 | 2021-04-05 13:22 | 27.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.7714 | μmol/L | 11.2132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138914.3419 | 277302.621 | 36.4 | 83.1
69826 | 2021-04-05 13:23 | 27.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.7171 | μmol/L | 11.2132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138919.6659 | 277296.342 | 36.4 | 83.1
69835 | 2021-04-05 13:23 | 27.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.7171 | μmol/L | 11.2132 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138928.4108 | 277284.6558 | 36.4 | 83.1
69844 | 2021-04-05 13:23 | 28.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.6518 | μmol/L | 11.2193 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138920.1212 | 277277.1261 | 36.4 | 83.1
69853 | 2021-04-05 13:24 | 28.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.5323 | μmol/L | 11.2255 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138923.1013 | 277285.7139 | 36.4 | 83.1
69862 | 2021-04-05 13:24 | 28.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.5323 | μmol/L | 11.2255 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138918.0553 | 277268.0359 | 36.4 | 83.1
69871 | 2021-04-05 13:24 | 29.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.4128 | μmol/L | 11.2316 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 138905.5847 | 277248.0002 | 36.4 | 83.1
69880 | 2021-04-05 13:25 | 29.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.4018 | μmol/L | 11.2377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138909.583 | 277247.5489 | 36.4 | 83.1
69889 | 2021-04-05 13:25 | 29.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.3747 | μmol/L | 11.2377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.342 | 138894.4764 | 277234.116 | 36.4 | 83.1
69898 | 2021-04-05 13:25 | 30.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2823 | μmol/L | 11.2438 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 138888.3584 | 277224.2685 | 36.4 | 83.1
69907 | 2021-04-05 13:26 | 30.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.4018 | μmol/L | 11.2377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138879.0109 | 277215.9645 | 36.4 | 83.1
69916 | 2021-04-05 13:26 | 30.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.4018 | μmol/L | 11.2377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138874.6477 | 277210.1593 | 36.4 | 83.1
69925 | 2021-04-05 13:26 | 31.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.3637 | μmol/L | 11.2438 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138854.8869 | 277211.8938 | 36.4 | 83.1
69934 | 2021-04-05 13:27 | 31.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2604 | μmol/L | 11.256 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138852.6959 | 277213.7866 | 36.4 | 83.1
69943 | 2021-04-05 13:27 | 31.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.3798 | μmol/L | 11.2499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138840.5956 | 277189.7037 | 36.4 | 83.1
69952 | 2021-04-05 13:27 | 32.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.3256 | μmol/L | 11.2499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138826.8916 | 277189.32 | 36.4 | 83.1
69961 | 2021-04-05 13:28 | 32.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2985 | μmol/L | 11.2499 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138814.2185 | 277185.0657 | 36.4 | 83.1
69970 | 2021-04-05 13:28 | 32.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2604 | μmol/L | 11.256 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138809.01 | 277182.9215 | 36.4 | 83.1
69979 | 2021-04-05 13:28 | 33.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.3036 | μmol/L | 11.2621 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138797.3503 | 277174.8969 | 36.4 | 83.1
69988 | 2021-04-05 13:29 | 33.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.141 | μmol/L | 11.2621 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138803.1922 | 277171.2247 | 36.4 | 83.1
69997 | 2021-04-05 13:29 | 33.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2385 | μmol/L | 11.2682 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138794.8227 | 277168.4859 | 36.4 | 83.1
70006 | 2021-04-05 13:29 | 34.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2275 | μmol/L | 11.2743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138772.9244 | 277163.78 | 36.4 | 83.1
70015 | 2021-04-05 13:30 | 34.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2656 | μmol/L | 11.2682 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 138768.6859 | 277150.4721 | 36.4 | 83.1
70024 | 2021-04-05 13:30 | 34.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.1842 | μmol/L | 11.2682 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138771.527 | 277148.9551 | 36.4 | 83.1
70033 | 2021-04-05 13:30 | 35.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.1733 | μmol/L | 11.2743 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138761.7385 | 277135.6265 | 36.4 | 83.1
70042 | 2021-04-05 13:31 | 35.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.0811 | μmol/L | 11.2805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.336 | 138768.7424 | 277131.6289 | 36.4 | 83.1
70051 | 2021-04-05 13:31 | 35.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.054 | μmol/L | 11.2805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138766.1763 | 277127.6449 | 36.4 | 83.1
70060 | 2021-04-05 13:31 | 36.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.0269 | μmol/L | 11.2805 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.338 | 138775.3046 | 277117.4316 | 36.4 | 83.1
70069 | 2021-04-05 13:32 | 36.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.8696 | μmol/L | 11.2927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138779.9486 | 277112.564 | 36.4 | 83.1
70078 | 2021-04-05 13:32 | 36.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.9347 | μmol/L | 11.2866 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138768.3846 | 277101.0169 | 36.4 | 83.1
70087 | 2021-04-05 13:32 | 37.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.8426 | μmol/L | 11.2927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138772.1811 | 277105.651 | 36.4 | 83.1
70096 | 2021-04-05 13:33 | 37.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6963 | μmol/L | 11.2988 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 138775.6515 | 277089.1422 | 36.4 | 83.1
70105 | 2021-04-05 13:33 | 37.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.7343 | μmol/L | 11.2927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138757.4935 | 277097.0241 | 36.4 | 83.1
70114 | 2021-04-05 13:33 | 38.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.7505 | μmol/L | 11.2988 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138753.08 | 277087.218 | 36.4 | 83.1
70123 | 2021-04-05 13:34 | 38.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.8046 | μmol/L | 11.2988 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138747.2159 | 277088.2609 | 36.4 | 83.1
70132 | 2021-04-05 13:34 | 38.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.7884 | μmol/L | 11.2927 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.342 | 138753.7618 | 277081.1473 | 36.4 | 83.1
70141 | 2021-04-05 13:34 | 39.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.7234 | μmol/L | 11.2988 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.342 | 138739.9352 | 277079.3735 | 36.4 | 83.1
70150 | 2021-04-05 13:35 | 39.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5663 | μmol/L | 11.311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 138733.6499 | 277066.3826 | 36.4 | 83.1
70159 | 2021-04-05 13:35 | 39.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4852 | μmol/L | 11.311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.346 | 138738.9223 | 277074.5974 | 36.4 | 83.1
70168 | 2021-04-05 13:35 | 40.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6043 | μmol/L | 11.3049 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138724.822 | 277058.0645 | 36.4 | 83.1
70177 | 2021-04-05 13:36 | 40.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6745 | μmol/L | 11.311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138712.7903 | 277052.7196 | 36.4 | 83.1
70186 | 2021-04-05 13:36 | 40.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5825 | μmol/L | 11.3171 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138713.2392 | 277041.8592 | 36.4 | 83.1
70195 | 2021-04-05 13:36 | 41.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6475 | μmol/L | 11.311 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138711.3358 | 277032.7686 | 36.4 | 83.1
70204 | 2021-04-05 13:37 | 41.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5825 | μmol/L | 11.3171 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138706.9276 | 277018.8727 | 36.4 | 83.1
70213 | 2021-04-05 13:37 | 41.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5554 | μmol/L | 11.3171 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138701.1046 | 277037.5129 | 36.4 | 83.1
70222 | 2021-04-05 13:37 | 42.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4634 | μmol/L | 11.3232 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.342 | 138696.1992 | 277017.361 | 36.4 | 83.1
70231 | 2021-04-05 13:38 | 42.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4525 | μmol/L | 11.3293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138692.7963 | 277000.2377 | 36.4 | 83.1
70240 | 2021-04-05 13:38 | 42.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5716 | μmol/L | 11.3232 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.338 | 138681.2051 | 276995.6655 | 36.4 | 83.1
70249 | 2021-04-05 13:38 | 43.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3985 | μmol/L | 11.3293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.342 | 138671.3395 | 277003.1206 | 36.4 | 83.1
70258 | 2021-04-05 13:39 | 43.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4255 | μmol/L | 11.3293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138669.2977 | 276984.5774 | 36.4 | 83.1
70267 | 2021-04-05 13:39 | 43.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4255 | μmol/L | 11.3293 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138653.5356 | 276979.8882 | 36.4 | 83.1
70276 | 2021-04-05 13:39 | 44.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4687 | μmol/L | 11.3355 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138644.0895 | 276970.1514 | 36.4 | 83.1
70285 | 2021-04-05 13:40 | 44.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3768 | μmol/L | 11.3416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.338 | 138645.175 | 276953.7969 | 36.4 | 83.1
70294 | 2021-04-05 13:40 | 44.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4687 | μmol/L | 11.3355 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138630.6122 | 276968.7379 | 36.4 | 83.1
70303 | 2021-04-05 13:40 | 45.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4958 | μmol/L | 11.3355 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.336 | 138620.1529 | 276963.2336 | 36.4 | 83.1
70312 | 2021-04-05 13:41 | 45.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5498 | μmol/L | 11.3355 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.334 | 138605.3158 | 276957.5925 | 36.4 | 83.1
70321 | 2021-04-05 13:41 | 45.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.539 | μmol/L | 11.3416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138592.6016 | 276951.856 | 36.4 | 83.1
70330 | 2021-04-05 13:41 | 46.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.474 | μmol/L | 11.3477 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138576.1373 | 276939.2135 | 36.4 | 83.1
70339 | 2021-04-05 13:42 | 46.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4091 | μmol/L | 11.3538 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138572.0892 | 276937.9226 | 36.4 | 83.1
70348 | 2021-04-05 13:42 | 46.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5119 | μmol/L | 11.3416 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138557.5467 | 276917.702 | 36.4 | 83.1
70357 | 2021-04-05 13:42 | 47.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5281 | μmol/L | 11.3477 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138554.2904 | 276921.8636 | 36.4 | 83.1
70366 | 2021-04-05 13:43 | 47.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4362 | μmol/L | 11.3538 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138540.3436 | 276912.1622 | 36.4 | 83.1
70375 | 2021-04-05 13:43 | 47.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4362 | μmol/L | 11.3538 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.331 | 138536.6402 | 276921.9406 | 36.4 | 83.1
70384 | 2021-04-05 13:43 | 48.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4524 | μmol/L | 11.3599 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138527.2618 | 276901.2092 | 36.4 | 83.1
70393 | 2021-04-05 13:44 | 48.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4524 | μmol/L | 11.3599 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138515.7875 | 276895.2936 | 36.4 | 83.1
70402 | 2021-04-05 13:44 | 48.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4902 | μmol/L | 11.3538 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138502.5558 | 276888.9849 | 36.4 | 83.1
70411 | 2021-04-05 13:44 | 49.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4794 | μmol/L | 11.3599 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.327 | 138501.0457 | 276885.6077 | 36.4 | 83.1
70420 | 2021-04-05 13:45 | 49.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4415 | μmol/L | 11.366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.326 | 138491.0781 | 276877.0042 | 36.4 | 83.1
70429 | 2021-04-05 13:45 | 49.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4524 | μmol/L | 11.3599 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138489.1682 | 276880.1193 | 36.4 | 83.1
70438 | 2021-04-05 13:45 | 50.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3875 | μmol/L | 11.366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138477.126 | 276871.4338 | 36.4 | 83.1
70447 | 2021-04-05 13:46 | 50.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4956 | μmol/L | 11.366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.324 | 138472.8431 | 276859.3922 | 36.4 | 83.1
70456 | 2021-04-05 13:46 | 50.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3226 | μmol/L | 11.3721 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138462.9202 | 276860.5301 | 36.4 | 83.1
70465 | 2021-04-05 13:46 | 51.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4686 | μmol/L | 11.366 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.325 | 138464.4573 | 276860.2461 | 36.4 | 83.1
70474 | 2021-04-05 13:47 | 51.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4307 | μmol/L | 11.3721 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.324 | 138457.2592 | 276841.4252 | 36.4 | 83.1
70483 | 2021-04-05 13:47 | 51.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3767 | μmol/L | 11.3721 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.326 | 138457.3724 | 276846.916 | 36.4 | 83.1
70492 | 2021-04-05 13:47 | 52.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3388 | μmol/L | 11.3782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.325 | 138446.9393 | 276849.6995 | 36.4 | 83.1
70501 | 2021-04-05 13:48 | 52.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3118 | μmol/L | 11.3782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.326 | 138449.9421 | 276832.7859 | 36.4 | 83.1
70510 | 2021-04-05 13:48 | 52.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.1929 | μmol/L | 11.3843 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.328 | 138441.0391 | 276816.5213 | 36.4 | 83.1
70519 | 2021-04-05 13:48 | 53.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2847 | μmol/L | 11.3782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.327 | 138443.6916 | 276810.8059 | 36.4 | 83.1
70528 | 2021-04-05 13:49 | 53.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2956 | μmol/L | 11.3721 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138441.7077 | 276807.7873 | 36.4 | 83.1
70537 | 2021-04-05 13:49 | 53.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2037 | μmol/L | 11.3782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138436.1476 | 276798.2077 | 36.4 | 83.1
70546 | 2021-04-05 13:49 | 54.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2037 | μmol/L | 11.3782 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.33 | 138439.4902 | 276790.931 | 36.4 | 83.1
70555 | 2021-04-05 13:50 | 54.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.0578 | μmol/L | 11.3843 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138439.4749 | 276797.208 | 36.4 | 83.1
70564 | 2021-04-05 13:50 | 54.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.0848 | μmol/L | 11.3843 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138436.63 | 276781.136 | 36.4 | 83.1
70573 | 2021-04-05 13:50 | 55.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.02 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.332 | 138438.9733 | 276782.5024 | 36.4 | 83.1
70582 | 2021-04-05 13:51 | 55.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.0362 | μmol/L | 11.3966 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.329 | 138437.7654 | 276764.8602 | 36.4 | 83.1
70591 | 2021-04-05 13:51 | 55.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.0038 | μmol/L | 11.3843 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138434.0642 | 276767.1017 | 36.4 | 83.1
70600 | 2021-04-05 13:51 | 56.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.8095 | μmol/L | 11.4027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138423.9474 | 276760.1093 | 36.4 | 83.1
70609 | 2021-04-05 13:52 | 56.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.993 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.333 | 138438.1597 | 276759.4418 | 36.4 | 83.1
70618 | 2021-04-05 13:52 | 56.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.939 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.335 | 138428.8881 | 276738.3671 | 36.4 | 83.1
70627 | 2021-04-05 13:52 | 57.0062 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.885 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.337 | 138420.8809 | 276741.6303 | 36.4 | 83.1
70636 | 2021-04-05 13:53 | 57.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.912 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.336 | 138433.677 | 276742.8944 | 36.4 | 83.1
70645 | 2021-04-05 13:53 | 57.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.7393 | μmol/L | 11.3966 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138433.8143 | 276737.0972 | 36.4 | 83.1
70654 | 2021-04-05 13:53 | 58.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.8041 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.34 | 138427.1691 | 276728.736 | 36.4 | 83.1
70663 | 2021-04-05 13:54 | 58.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.5829 | μmol/L | 11.4088 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138430.9008 | 276701.5303 | 36.4 | 83.1
70672 | 2021-04-05 13:54 | 58.6728 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.6476 | μmol/L | 11.4027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.341 | 138438.0891 | 276709.0215 | 36.4 | 83.1
70681 | 2021-04-05 13:54 | 59.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.5667 | μmol/L | 11.4027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138434.4747 | 276697.7816 | 36.4 | 83.1
70690 | 2021-04-05 13:55 | 59.3395 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.7016 | μmol/L | 11.4027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.339 | 138441.5496 | 276683.3948 | 36.4 | 83.1
70699 | 2021-04-05 13:55 | 59.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.529 | μmol/L | 11.4088 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.343 | 138440.8376 | 276692.0036 | 36.4 | 83.1
70708 | 2021-04-05 13:55 | 60.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.5667 | μmol/L | 11.4027 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138447.7526 | 276686.6674 | 36.4 | 83.1
70717 | 2021-04-05 13:56 | 60.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.5021 | μmol/L | 11.4088 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.344 | 138443.187 | 276667.3685 | 36.4 | 83.1
70726 | 2021-04-05 13:56 | 60.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.3027 | μmol/L | 11.4149 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.349 | 138446.607 | 276665.3312 | 36.4 | 83.1
70735 | 2021-04-05 13:56 | 61.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.3673 | μmol/L | 11.4088 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.349 | 138462.9495 | 276664.0821 | 36.4 | 83.1
70744 | 2021-04-05 13:57 | 61.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1842 | μmol/L | 11.421 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.351 | 138453.9638 | 276659.7736 | 36.4 | 83.1
70753 | 2021-04-05 13:57 | 61.6729 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2112 | μmol/L | 11.421 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.35 | 138450.5365 | 276645.9957 | 36.4 | 83.1
70762 | 2021-04-05 13:57 | 62.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2219 | μmol/L | 11.4149 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.352 | 138445.5752 | 276631.6697 | 36.4 | 83.1
70771 | 2021-04-05 13:58 | 62.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2112 | μmol/L | 11.421 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.35 | 138445.0291 | 276631.7692 | 36.4 | 83.1