## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69089 | 2021-04-05 12:55 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.6715 | μmol/L | 10.9224 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.907 | 110400.5591 | 306096.1719 | 30.45 | 114.2
69098 | 2021-04-05 12:56 | 0.32976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.8428 | μmol/L | 10.9224 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.9 | 110402.2695 | 306101.5954 | 30.45 | 114.2
69107 | 2021-04-05 12:56 | 0.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.6458 | μmol/L | 10.9408 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.901 | 110402.8516 | 306109.5035 | 30.45 | 114.2
69116 | 2021-04-05 12:56 | 0.99623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.5883 | μmol/L | 10.947 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.901 | 110387.2133 | 306093.6264 | 30.45 | 114.2
69125 | 2021-04-05 12:57 | 1.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.4782 | μmol/L | 10.9531 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.903 | 110357.5853 | 306074.9717 | 30.45 | 114.2
69134 | 2021-04-05 12:57 | 1.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.5798 | μmol/L | 10.9531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.899 | 110345.6157 | 306061.3814 | 30.45 | 114.2
69143 | 2021-04-05 12:57 | 1.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.4979 | μmol/L | 10.9592 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.9 | 110332.5497 | 306047.0337 | 30.45 | 114.2
69152 | 2021-04-05 12:58 | 2.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.4038 | μmol/L | 10.9715 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.899 | 110322.467 | 306046.7417 | 30.45 | 114.2
69161 | 2021-04-05 12:58 | 2.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.4809 | μmol/L | 10.9715 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.896 | 110314.6669 | 306026.9759 | 30.45 | 114.2
69170 | 2021-04-05 12:58 | 2.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.4235 | μmol/L | 10.9776 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.896 | 110302.299 | 306015.0492 | 30.45 | 114.2
69179 | 2021-04-05 12:59 | 3.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.2598 | μmol/L | 10.9899 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 110281.8397 | 306004.5215 | 30.45 | 114.2
69188 | 2021-04-05 12:59 | 3.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.3247 | μmol/L | 10.996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.893 | 110281.6578 | 305989.4051 | 30.45 | 114.2
69197 | 2021-04-05 12:59 | 3.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.2025 | μmol/L | 10.996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 110258.0973 | 305974.3611 | 30.45 | 114.2
69206 | 2021-04-05 13:00 | 4.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.3247 | μmol/L | 10.996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.893 | 110247.3369 | 305974.8715 | 30.45 | 114.2
69215 | 2021-04-05 13:00 | 4.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.1856 | μmol/L | 11.0082 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.894 | 110231.5506 | 305946.469 | 30.45 | 114.2
69224 | 2021-04-05 13:00 | 4.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.2344 | μmol/L | 11.0082 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.892 | 110229.2475 | 305942.228 | 30.45 | 114.2
69233 | 2021-04-05 13:01 | 5.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.2504 | μmol/L | 11.0144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110208.6136 | 305927.3699 | 30.45 | 114.2
69242 | 2021-04-05 13:01 | 5.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.1442 | μmol/L | 11.0205 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110198.4363 | 305909.3087 | 30.45 | 114.2
69251 | 2021-04-05 13:01 | 5.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.1846 | μmol/L | 11.0266 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.887 | 110186.3291 | 305897.059 | 30.45 | 114.2
69260 | 2021-04-05 13:02 | 6.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.1029 | μmol/L | 11.0328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 110171.2171 | 305893.1449 | 30.45 | 114.2
69269 | 2021-04-05 13:02 | 6.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.9724 | μmol/L | 11.0389 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110174.7908 | 305867.599 | 30.45 | 114.2
69278 | 2021-04-05 13:02 | 6.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 286.0212 | μmol/L | 11.0389 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110162.1552 | 305857.195 | 30.45 | 114.2
69287 | 2021-04-05 13:03 | 7.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.8541 | μmol/L | 11.0511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110157.6821 | 305848.3749 | 30.45 | 114.2
69296 | 2021-04-05 13:03 | 7.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.9395 | μmol/L | 11.045 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.89 | 110155.6527 | 305843.4446 | 30.45 | 114.2
69305 | 2021-04-05 13:03 | 7.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.8495 | μmol/L | 11.0573 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110151.0523 | 305834.6411 | 30.45 | 114.2
69314 | 2021-04-05 13:04 | 8.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.7435 | μmol/L | 11.0634 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110142.0839 | 305823.1255 | 30.45 | 114.2
69323 | 2021-04-05 13:04 | 8.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.8167 | μmol/L | 11.0634 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 110141.9514 | 305810.5614 | 30.45 | 114.2
69332 | 2021-04-05 13:04 | 8.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.7435 | μmol/L | 11.0634 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110139.9809 | 305796.3403 | 30.45 | 114.2
69341 | 2021-04-05 13:05 | 9.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.6338 | μmol/L | 11.0695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.893 | 110141.3072 | 305784.0846 | 30.45 | 114.2
69350 | 2021-04-05 13:05 | 9.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.6292 | μmol/L | 11.0757 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110139.1669 | 305778.2943 | 30.45 | 114.2
69359 | 2021-04-05 13:05 | 9.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.5355 | μmol/L | 11.0879 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.89 | 110134.8131 | 305770.2439 | 30.45 | 114.2
69368 | 2021-04-05 13:06 | 10.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.336 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.896 | 110124.2553 | 305750.3882 | 30.45 | 114.2
69377 | 2021-04-05 13:06 | 10.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.5065 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110112.9271 | 305747.7089 | 30.45 | 114.2
69386 | 2021-04-05 13:06 | 10.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.3604 | μmol/L | 11.0941 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 110106.4995 | 305728.8715 | 30.45 | 114.2
69395 | 2021-04-05 13:07 | 11.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.368 | μmol/L | 11.1063 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.89 | 110099.0778 | 305710.6563 | 30.45 | 114.2
69404 | 2021-04-05 13:07 | 11.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.3109 | μmol/L | 11.1124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.89 | 110090.0688 | 305702.5772 | 30.45 | 114.2
69413 | 2021-04-05 13:07 | 11.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2622 | μmol/L | 11.1124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.892 | 110091.8167 | 305702.8211 | 30.45 | 114.2
69422 | 2021-04-05 13:08 | 12.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.3353 | μmol/L | 11.1124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110084.9731 | 305681.8274 | 30.45 | 114.2
69431 | 2021-04-05 13:08 | 12.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.3109 | μmol/L | 11.1124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.89 | 110076.8212 | 305661.3336 | 30.45 | 114.2
69440 | 2021-04-05 13:08 | 12.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2866 | μmol/L | 11.1124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110069.6684 | 305670.4058 | 30.45 | 114.2
69449 | 2021-04-05 13:09 | 13.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1725 | μmol/L | 11.1247 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 110061.4586 | 305657.6603 | 30.45 | 114.2
69458 | 2021-04-05 13:09 | 13.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2943 | μmol/L | 11.1247 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.886 | 110049.2871 | 305632.7421 | 30.45 | 114.2
69467 | 2021-04-05 13:09 | 13.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1315 | μmol/L | 11.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 110051.3206 | 305636.0069 | 30.45 | 114.2
69476 | 2021-04-05 13:10 | 14.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1604 | μmol/L | 11.1308 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110045.2284 | 305614.5004 | 30.45 | 114.2
69485 | 2021-04-05 13:10 | 14.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1232 | μmol/L | 11.1431 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.886 | 110028.2322 | 305596.5263 | 30.45 | 114.2
69494 | 2021-04-05 13:10 | 14.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1072 | μmol/L | 11.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 110018.2707 | 305600.1757 | 30.45 | 114.2
69503 | 2021-04-05 13:11 | 15.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0176 | μmol/L | 11.1492 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 110011.8908 | 305578.3517 | 30.45 | 114.2
69512 | 2021-04-05 13:11 | 15.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0138 | μmol/L | 11.1492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.888 | 110014.154 | 305577.5586 | 30.45 | 114.2
69521 | 2021-04-05 13:11 | 15.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0662 | μmol/L | 11.1492 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.886 | 110006.8909 | 305573.5942 | 30.45 | 114.2
69530 | 2021-04-05 13:12 | 16.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0093 | μmol/L | 11.1553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.886 | 109999.8701 | 305565.4083 | 30.45 | 114.2
69539 | 2021-04-05 13:12 | 16.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9849 | μmol/L | 11.1553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.887 | 109994.5625 | 305543.5397 | 30.45 | 114.2
69548 | 2021-04-05 13:12 | 16.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0336 | μmol/L | 11.1553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.885 | 109987.7246 | 305533.6691 | 30.45 | 114.2
69557 | 2021-04-05 13:13 | 17.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8954 | μmol/L | 11.1676 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.886 | 109986.4997 | 305531.6 | 30.45 | 114.2
69566 | 2021-04-05 13:13 | 17.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7374 | μmol/L | 11.1737 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.89 | 109979.0803 | 305524.1365 | 30.45 | 114.2
69575 | 2021-04-05 13:13 | 17.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7169 | μmol/L | 11.1737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 109987.464 | 305531.0946 | 30.45 | 114.2
69584 | 2021-04-05 13:14 | 18.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7899 | μmol/L | 11.1737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 109973.3575 | 305504.0593 | 30.45 | 114.2
69593 | 2021-04-05 13:14 | 18.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7655 | μmol/L | 11.1737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109983.2588 | 305498.321 | 30.45 | 114.2
69602 | 2021-04-05 13:14 | 18.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.733 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.888 | 109987.0928 | 305486.9956 | 30.45 | 114.2
69611 | 2021-04-05 13:15 | 19.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7655 | μmol/L | 11.1737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109981.4183 | 305465.5963 | 30.45 | 114.2
69620 | 2021-04-05 13:15 | 19.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.648 | μmol/L | 11.186 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.889 | 109983.9974 | 305466.9052 | 30.45 | 114.2
69629 | 2021-04-05 13:15 | 19.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.5464 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 109981.5955 | 305452.9916 | 30.45 | 114.2
69638 | 2021-04-05 13:16 | 20.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4895 | μmol/L | 11.1983 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.891 | 109977.5669 | 305444.2478 | 30.45 | 114.2
69647 | 2021-04-05 13:16 | 20.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.5183 | μmol/L | 11.1921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.892 | 109971.8524 | 305416.2747 | 30.45 | 114.2
69656 | 2021-04-05 13:16 | 20.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3356 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 109979.7626 | 305427.6738 | 30.45 | 114.2
69665 | 2021-04-05 13:17 | 21.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2546 | μmol/L | 11.2105 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.896 | 109977.6294 | 305419.9571 | 30.45 | 114.2
69674 | 2021-04-05 13:17 | 21.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3356 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 109978.0429 | 305403.7978 | 30.45 | 114.2
69683 | 2021-04-05 13:17 | 21.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2915 | μmol/L | 11.1983 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.899 | 109973.8147 | 305400.0472 | 30.45 | 114.2
69692 | 2021-04-05 13:18 | 22.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2871 | μmol/L | 11.2044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109964.0196 | 305396.9366 | 30.45 | 114.2
69701 | 2021-04-05 13:18 | 22.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2303 | μmol/L | 11.2105 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109964.0151 | 305379.218 | 30.45 | 114.2
69710 | 2021-04-05 13:18 | 22.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2221 | μmol/L | 11.2166 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 109959.3488 | 305373.1561 | 30.45 | 114.2
69719 | 2021-04-05 13:19 | 23.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2668 | μmol/L | 11.2166 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.893 | 109948.0751 | 305366.0613 | 30.45 | 114.2
69728 | 2021-04-05 13:19 | 23.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2949 | μmol/L | 11.2166 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.892 | 109941.0652 | 305358.9096 | 30.45 | 114.2
69737 | 2021-04-05 13:19 | 23.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1455 | μmol/L | 11.2166 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109942.1444 | 305345.5704 | 30.45 | 114.2
69746 | 2021-04-05 13:20 | 24.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0646 | μmol/L | 11.2228 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.899 | 109935.639 | 305333.7382 | 30.45 | 114.2
69755 | 2021-04-05 13:20 | 24.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0564 | μmol/L | 11.2289 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109925.8034 | 305322.5552 | 30.45 | 114.2
69764 | 2021-04-05 13:20 | 24.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.0239 | μmol/L | 11.235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.896 | 109928.7415 | 305313.2848 | 30.45 | 114.2
69773 | 2021-04-05 13:21 | 25.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9792 | μmol/L | 11.235 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109932.4327 | 305311.9846 | 30.45 | 114.2
69782 | 2021-04-05 13:21 | 25.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9792 | μmol/L | 11.235 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109932.1778 | 305305.7591 | 30.45 | 114.2
69791 | 2021-04-05 13:21 | 25.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9225 | μmol/L | 11.2412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109925.9768 | 305297.8905 | 30.45 | 114.2
69800 | 2021-04-05 13:22 | 26.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8741 | μmol/L | 11.2412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.9 | 109922.7086 | 305290.5231 | 30.45 | 114.2
69809 | 2021-04-05 13:22 | 26.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8256 | μmol/L | 11.2412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.902 | 109916.2925 | 305274.3021 | 30.45 | 114.2
69818 | 2021-04-05 13:22 | 26.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8539 | μmol/L | 11.2534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.896 | 109924.6774 | 305266.5257 | 30.45 | 114.2
69827 | 2021-04-05 13:23 | 27.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8621 | μmol/L | 11.2473 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.898 | 109919.3061 | 305257.4915 | 30.45 | 114.2
69836 | 2021-04-05 13:23 | 27.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8901 | μmol/L | 11.2473 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.897 | 109918.6684 | 305258.9789 | 30.45 | 114.2
69845 | 2021-04-05 13:23 | 27.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6278 | μmol/L | 11.2595 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.903 | 109917.7461 | 305254.1474 | 30.45 | 114.2
69854 | 2021-04-05 13:24 | 28.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6844 | μmol/L | 11.2534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.903 | 109916.6677 | 305236.3465 | 30.45 | 114.2
69863 | 2021-04-05 13:24 | 28.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.68 | μmol/L | 11.2595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.901 | 109921.6041 | 305228.7013 | 30.45 | 114.2
69872 | 2021-04-05 13:24 | 28.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5794 | μmol/L | 11.2595 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.905 | 109918.8576 | 305213.3176 | 30.45 | 114.2
69881 | 2021-04-05 13:25 | 29.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.575 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.903 | 109916.938 | 305215.6866 | 30.45 | 114.2
69890 | 2021-04-05 13:25 | 29.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4018 | μmol/L | 11.2657 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.91 | 109935.825 | 305207.3207 | 30.45 | 114.2
69899 | 2021-04-05 13:25 | 29.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4056 | μmol/L | 11.2657 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.91 | 109939.2481 | 305200.4656 | 30.45 | 114.2
69908 | 2021-04-05 13:26 | 30.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3007 | μmol/L | 11.2718 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.912 | 109941.6128 | 305182.8839 | 30.45 | 114.2
69917 | 2021-04-05 13:26 | 30.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2728 | μmol/L | 11.2718 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.913 | 109950.4326 | 305181.011 | 30.45 | 114.2
69926 | 2021-04-05 13:26 | 30.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2326 | μmol/L | 11.2657 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.917 | 109954.5421 | 305168.6398 | 30.45 | 114.2
69935 | 2021-04-05 13:27 | 31.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2244 | μmol/L | 11.2718 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.915 | 109963.8634 | 305152.3726 | 30.45 | 114.2
69944 | 2021-04-05 13:27 | 31.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.039 | μmol/L | 11.2841 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.918 | 109974.2012 | 305145.4147 | 30.45 | 114.2
69953 | 2021-04-05 13:27 | 31.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9989 | μmol/L | 11.2779 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.922 | 109971.8405 | 305145.3331 | 30.45 | 114.2
69962 | 2021-04-05 13:28 | 32.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9989 | μmol/L | 11.2779 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.922 | 109974.1051 | 305131.1459 | 30.45 | 114.2
69971 | 2021-04-05 13:28 | 32.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9264 | μmol/L | 11.2779 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.925 | 109984.5051 | 305120.0987 | 30.45 | 114.2
69980 | 2021-04-05 13:28 | 32.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.9221 | μmol/L | 11.2841 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.923 | 109991.3359 | 305110.3157 | 30.45 | 114.2
69989 | 2021-04-05 13:29 | 33.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7494 | μmol/L | 11.2841 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 109995.9828 | 305114.2786 | 30.45 | 114.2
69998 | 2021-04-05 13:29 | 33.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6968 | μmol/L | 11.2902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.93 | 109996.5177 | 305109.739 | 30.45 | 114.2
70007 | 2021-04-05 13:29 | 33.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.693 | μmol/L | 11.2902 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 110001.0595 | 305097.199 | 30.45 | 114.2
70016 | 2021-04-05 13:30 | 34.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7128 | μmol/L | 11.2963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.927 | 110002.1874 | 305095.653 | 30.45 | 114.2
70025 | 2021-04-05 13:30 | 34.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6607 | μmol/L | 11.2963 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 110003.2974 | 305085.5774 | 30.45 | 114.2
70034 | 2021-04-05 13:30 | 34.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6207 | μmol/L | 11.2902 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 109994.6769 | 305070.954 | 30.45 | 114.2
70043 | 2021-04-05 13:31 | 35.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.4598 | μmol/L | 11.3025 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 109998.7518 | 305065.8438 | 30.45 | 114.2
70052 | 2021-04-05 13:31 | 35.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.5118 | μmol/L | 11.3025 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.933 | 109999.1022 | 305056.6976 | 30.45 | 114.2
70061 | 2021-04-05 13:31 | 35.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.508 | μmol/L | 11.3025 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 109994.5393 | 305048.9188 | 30.45 | 114.2
70070 | 2021-04-05 13:32 | 36.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.544 | μmol/L | 11.2963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.934 | 109997.0867 | 305043.7197 | 30.45 | 114.2
70079 | 2021-04-05 13:32 | 36.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.3794 | μmol/L | 11.3086 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.936 | 109998.5581 | 305030.5938 | 30.45 | 114.2
70088 | 2021-04-05 13:32 | 36.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.4276 | μmol/L | 11.3086 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 109997.5282 | 305027.9493 | 30.45 | 114.2
70097 | 2021-04-05 13:33 | 37.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.5239 | μmol/L | 11.3086 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 109989.2361 | 305013.6291 | 30.45 | 114.2
70106 | 2021-04-05 13:33 | 37.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.4598 | μmol/L | 11.3025 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 109994.5117 | 305020.9057 | 30.45 | 114.2
70115 | 2021-04-05 13:33 | 37.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.3472 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 109995.3093 | 305005.2765 | 30.45 | 114.2
70124 | 2021-04-05 13:34 | 38.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.3312 | μmol/L | 11.3086 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.938 | 109989.2589 | 305008.5151 | 30.45 | 114.2
70133 | 2021-04-05 13:34 | 38.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.1786 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.942 | 109997.5001 | 304999.438 | 30.45 | 114.2
70142 | 2021-04-05 13:34 | 38.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.299 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.937 | 110009.2493 | 304994.9446 | 30.45 | 114.2
70151 | 2021-04-05 13:35 | 39.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.2268 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.94 | 109996.1021 | 304982.0452 | 30.45 | 114.2
70160 | 2021-04-05 13:35 | 39.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.2027 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.941 | 110003.2668 | 304976.3492 | 30.45 | 114.2
70169 | 2021-04-05 13:35 | 39.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.1305 | μmol/L | 11.3147 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.944 | 110010.7294 | 304985.4729 | 30.45 | 114.2
70178 | 2021-04-05 13:36 | 40.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9378 | μmol/L | 11.3331 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.945 | 110016.0758 | 304963.6625 | 30.45 | 114.2
70187 | 2021-04-05 13:36 | 40.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9459 | μmol/L | 11.327 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.947 | 110020.3356 | 304958.3258 | 30.45 | 114.2
70196 | 2021-04-05 13:36 | 40.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.8738 | μmol/L | 11.327 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.95 | 110027.8292 | 304949.6827 | 30.45 | 114.2
70205 | 2021-04-05 13:37 | 41.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9016 | μmol/L | 11.327 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.949 | 110032.1738 | 304941.265 | 30.45 | 114.2
70214 | 2021-04-05 13:37 | 41.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7936 | μmol/L | 11.3331 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.951 | 110037.0813 | 304935.5122 | 30.45 | 114.2
70223 | 2021-04-05 13:37 | 41.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7134 | μmol/L | 11.3392 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110030.1214 | 304915.7141 | 30.45 | 114.2
70232 | 2021-04-05 13:38 | 42.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7696 | μmol/L | 11.3331 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110029.1199 | 304902.7853 | 30.45 | 114.2
70241 | 2021-04-05 13:38 | 42.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6894 | μmol/L | 11.3392 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.953 | 110030.8899 | 304906.2797 | 30.45 | 114.2
70250 | 2021-04-05 13:38 | 42.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7455 | μmol/L | 11.3331 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.953 | 110033.2506 | 304897.8609 | 30.45 | 114.2
70259 | 2021-04-05 13:39 | 43.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7134 | μmol/L | 11.3392 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110040.523 | 304911.2047 | 30.45 | 114.2
70268 | 2021-04-05 13:39 | 43.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6975 | μmol/L | 11.3331 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.955 | 110033.5662 | 304904.9679 | 30.45 | 114.2
70277 | 2021-04-05 13:39 | 43.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6573 | μmol/L | 11.3454 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110025.3392 | 304895.2046 | 30.45 | 114.2
70286 | 2021-04-05 13:40 | 44.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6573 | μmol/L | 11.3454 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110023.6838 | 304880.4315 | 30.45 | 114.2
70295 | 2021-04-05 13:40 | 44.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6654 | μmol/L | 11.3392 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.954 | 110021.6265 | 304866.0403 | 30.45 | 114.2
70304 | 2021-04-05 13:40 | 44.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5372 | μmol/L | 11.3454 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.957 | 110021.3797 | 304871.7614 | 30.45 | 114.2
70313 | 2021-04-05 13:41 | 45.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6173 | μmol/L | 11.3392 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.956 | 110013.8384 | 304851.08 | 30.45 | 114.2
70322 | 2021-04-05 13:41 | 45.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4811 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.957 | 110013.3239 | 304844.2741 | 30.45 | 114.2
70331 | 2021-04-05 13:41 | 45.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5771 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.953 | 110016.1244 | 304843.4328 | 30.45 | 114.2
70340 | 2021-04-05 13:42 | 46.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6012 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110011.6395 | 304839.8596 | 30.45 | 114.2
70349 | 2021-04-05 13:42 | 46.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6012 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 110006.7189 | 304826.6773 | 30.45 | 114.2
70358 | 2021-04-05 13:42 | 46.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4331 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 110001.8851 | 304813.8496 | 30.45 | 114.2
70367 | 2021-04-05 13:43 | 47.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4571 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.958 | 110001.8704 | 304802.1051 | 30.45 | 114.2
70376 | 2021-04-05 13:43 | 47.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.425 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.957 | 110004.9302 | 304800.7524 | 30.45 | 114.2
70385 | 2021-04-05 13:43 | 47.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.449 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.956 | 110010.332 | 304798.6994 | 30.45 | 114.2
70394 | 2021-04-05 13:44 | 48.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4571 | μmol/L | 11.3515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.958 | 110011.5491 | 304801.6036 | 30.45 | 114.2
70403 | 2021-04-05 13:44 | 48.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.401 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.958 | 110014.0653 | 304780.8389 | 30.45 | 114.2
70412 | 2021-04-05 13:44 | 48.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2811 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.963 | 110012.4488 | 304764.4354 | 30.45 | 114.2
70421 | 2021-04-05 13:45 | 49.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2011 | μmol/L | 11.3638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.964 | 110016.1519 | 304764.3232 | 30.45 | 114.2
70430 | 2021-04-05 13:45 | 49.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2571 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.964 | 110019.7761 | 304756.9877 | 30.45 | 114.2
70439 | 2021-04-05 13:45 | 49.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2332 | μmol/L | 11.3576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.965 | 110028.5114 | 304756.5547 | 30.45 | 114.2
70448 | 2021-04-05 13:46 | 50.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0732 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.967 | 110031.7927 | 304734.6608 | 30.45 | 114.2
70457 | 2021-04-05 13:46 | 50.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0013 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.97 | 110036.2651 | 304734.1037 | 30.45 | 114.2
70466 | 2021-04-05 13:46 | 50.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9055 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.974 | 110047.4994 | 304724.6854 | 30.45 | 114.2
70475 | 2021-04-05 13:47 | 51.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9295 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.973 | 110042.9237 | 304720.3463 | 30.45 | 114.2
70484 | 2021-04-05 13:47 | 51.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9534 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.972 | 110046.9349 | 304722.5535 | 30.45 | 114.2
70493 | 2021-04-05 13:47 | 51.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8975 | μmol/L | 11.376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.972 | 110059.6051 | 304715.2893 | 30.45 | 114.2
70502 | 2021-04-05 13:48 | 52.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8816 | μmol/L | 11.3699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.975 | 110056.6958 | 304690.3276 | 30.45 | 114.2
70511 | 2021-04-05 13:48 | 52.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7697 | μmol/L | 11.3821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.975 | 110069.0666 | 304700.2214 | 30.45 | 114.2
70520 | 2021-04-05 13:48 | 52.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6821 | μmol/L | 11.376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.981 | 110067.4628 | 304692.9725 | 30.45 | 114.2
70529 | 2021-04-05 13:49 | 53.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5864 | μmol/L | 11.376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.985 | 110071.8637 | 304687.9555 | 30.45 | 114.2
70538 | 2021-04-05 13:49 | 53.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6103 | μmol/L | 11.376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 110076.2856 | 304682.5199 | 30.45 | 114.2
70547 | 2021-04-05 13:49 | 53.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5544 | μmol/L | 11.3821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 110088.8825 | 304677.957 | 30.45 | 114.2
70556 | 2021-04-05 13:50 | 54.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6103 | μmol/L | 11.376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 110092.294 | 304669.8668 | 30.45 | 114.2
70565 | 2021-04-05 13:50 | 54.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4986 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 110086.5046 | 304665.4548 | 30.45 | 114.2
70574 | 2021-04-05 13:50 | 54.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.403 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 110089.4405 | 304658.5968 | 30.45 | 114.2
70583 | 2021-04-05 13:51 | 55.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4827 | μmol/L | 11.3821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.987 | 110093.1302 | 304630.9535 | 30.45 | 114.2
70592 | 2021-04-05 13:51 | 55.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4588 | μmol/L | 11.3821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 110093.6558 | 304636.3842 | 30.45 | 114.2
70601 | 2021-04-05 13:51 | 55.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3232 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 110094.0355 | 304633.5909 | 30.45 | 114.2
70610 | 2021-04-05 13:52 | 56.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4349 | μmol/L | 11.3821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 110099.6088 | 304629.1181 | 30.45 | 114.2
70619 | 2021-04-05 13:52 | 56.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3074 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.992 | 110105.6193 | 304610.6191 | 30.45 | 114.2
70628 | 2021-04-05 13:52 | 56.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2835 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.993 | 110107.7182 | 304612.5232 | 30.45 | 114.2
70637 | 2021-04-05 13:53 | 57.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2197 | μmol/L | 11.4005 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.991 | 110103.015 | 304602.3792 | 30.45 | 114.2
70646 | 2021-04-05 13:53 | 57.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2358 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.995 | 110096.8674 | 304591.8953 | 30.45 | 114.2
70655 | 2021-04-05 13:53 | 57.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2596 | μmol/L | 11.3883 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.994 | 110101.0762 | 304588.0091 | 30.45 | 114.2
70664 | 2021-04-05 13:54 | 58.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1561 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.996 | 110100.1905 | 304568.7842 | 30.45 | 114.2
70673 | 2021-04-05 13:54 | 58.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0845 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.999 | 110103.4938 | 304557.8983 | 30.45 | 114.2
70682 | 2021-04-05 13:54 | 58.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.18 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.995 | 110104.5276 | 304557.8994 | 30.45 | 114.2
70691 | 2021-04-05 13:55 | 59.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1322 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 110096.8786 | 304548.0448 | 30.45 | 114.2
70700 | 2021-04-05 13:55 | 59.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0526 | μmol/L | 11.4005 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.998 | 110107.6363 | 304562.9737 | 30.45 | 114.2
70709 | 2021-04-05 13:55 | 59.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0049 | μmol/L | 11.4005 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23 | 110100.1786 | 304541.7404 | 30.45 | 114.2
70718 | 2021-04-05 13:56 | 60.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1322 | μmol/L | 11.3944 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 110098.1909 | 304541.2217 | 30.45 | 114.2
70727 | 2021-04-05 13:56 | 60.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1003 | μmol/L | 11.4005 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.996 | 110092.0213 | 304520.0939 | 30.45 | 114.2
70736 | 2021-04-05 13:56 | 60.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0207 | μmol/L | 11.4067 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 110094.8513 | 304523.4019 | 30.45 | 114.2
70745 | 2021-04-05 13:57 | 61.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9491 | μmol/L | 11.4067 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23 | 110086.5063 | 304513.3346 | 30.45 | 114.2
70754 | 2021-04-05 13:57 | 61.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9968 | μmol/L | 11.4067 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.998 | 110089.4109 | 304508.0701 | 30.45 | 114.2
70763 | 2021-04-05 13:57 | 61.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.8696 | μmol/L | 11.4128 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.001 | 110090.7615 | 304512.9526 | 30.45 | 114.2
70772 | 2021-04-05 13:58 | 62.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9649 | μmol/L | 11.4128 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 110083.0099 | 304506.5775 | 30.45 | 114.2