## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69090 | 2021-04-05 12:56 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.6359 | μmol/L | 10.8237 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 159437.1249 | 300136.6207 | 59.9307 | 49.4
69099 | 2021-04-05 12:56 | 0.33224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7113 | μmol/L | 10.8237 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.701 | 159411.9085 | 300116.576 | 59.9307 | 49.4
69108 | 2021-04-05 12:56 | 0.66592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7023 | μmol/L | 10.8299 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.699 | 159388.1228 | 300113.8814 | 59.9307 | 49.4
69117 | 2021-04-05 12:57 | 0.99868 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.575 | μmol/L | 10.8484 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 159366.2194 | 300086.7035 | 59.9307 | 49.4
69126 | 2021-04-05 12:57 | 1.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.575 | μmol/L | 10.8484 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 159357.5178 | 300078.3956 | 59.9307 | 49.4
69135 | 2021-04-05 12:57 | 1.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.6163 | μmol/L | 10.8545 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.693 | 159328.9282 | 300055.4705 | 59.9307 | 49.4
69144 | 2021-04-05 12:58 | 1.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5231 | μmol/L | 10.8668 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 159307.769 | 300047.0709 | 59.9307 | 49.4
69153 | 2021-04-05 12:58 | 2.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.498 | μmol/L | 10.8668 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.693 | 159306.9003 | 300071.9974 | 59.9307 | 49.4
69162 | 2021-04-05 12:58 | 2.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3457 | μmol/L | 10.8853 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 159272.1318 | 300061.5485 | 59.9307 | 49.4
69171 | 2021-04-05 12:59 | 2.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.396 | μmol/L | 10.8853 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 159251.0138 | 300051.2484 | 59.9307 | 49.4
69180 | 2021-04-05 12:59 | 3.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.4802 | μmol/L | 10.8792 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 159232.671 | 300046.7413 | 59.9307 | 49.4
69189 | 2021-04-05 12:59 | 3.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3782 | μmol/L | 10.8976 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 159197.0147 | 299998.3127 | 59.9307 | 49.4
69198 | 2021-04-05 13:00 | 3.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.362 | μmol/L | 10.8915 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 159202.3611 | 299985.9221 | 59.9307 | 49.4
69207 | 2021-04-05 13:00 | 4.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.294 | μmol/L | 10.9038 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 159197.9252 | 299991.9854 | 59.9307 | 49.4
69216 | 2021-04-05 13:00 | 4.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.1257 | μmol/L | 10.9161 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 159179.3232 | 299957.0167 | 59.9307 | 49.4
69225 | 2021-04-05 13:01 | 4.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2601 | μmol/L | 10.9099 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 159180.3987 | 299939.5135 | 59.9307 | 49.4
69234 | 2021-04-05 13:01 | 5.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0667 | μmol/L | 10.9223 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 159171.1446 | 299938.4938 | 59.9307 | 49.4
69243 | 2021-04-05 13:01 | 5.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.142 | μmol/L | 10.9223 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 159154.7041 | 299903.5464 | 59.9307 | 49.4
69252 | 2021-04-05 13:02 | 5.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0579 | μmol/L | 10.9284 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 159136.2203 | 299886.7983 | 59.9307 | 49.4
69261 | 2021-04-05 13:02 | 6.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0152 | μmol/L | 10.9407 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.684 | 159123.158 | 299880.1536 | 59.9307 | 49.4
69270 | 2021-04-05 13:02 | 6.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0402 | μmol/L | 10.9407 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.683 | 159095.1242 | 299869.243 | 59.9307 | 49.4
69279 | 2021-04-05 13:03 | 6.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9223 | μmol/L | 10.953 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.683 | 159081.6802 | 299888.4275 | 59.9307 | 49.4
69288 | 2021-04-05 13:03 | 7.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9386 | μmol/L | 10.9592 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.68 | 159054.8878 | 299876.0356 | 59.9307 | 49.4
69297 | 2021-04-05 13:03 | 7.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0389 | μmol/L | 10.9592 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.676 | 159016.0461 | 299862.0347 | 59.9307 | 49.4
69306 | 2021-04-05 13:04 | 7.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0553 | μmol/L | 10.9653 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 158980.7437 | 299846.908 | 59.9307 | 49.4
69315 | 2021-04-05 13:04 | 8.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9963 | μmol/L | 10.9715 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 158959.4404 | 299847.4336 | 59.9307 | 49.4
69324 | 2021-04-05 13:04 | 8.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9712 | μmol/L | 10.9715 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.674 | 158960.3395 | 299856.2046 | 59.9307 | 49.4
69333 | 2021-04-05 13:05 | 8.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.837 | μmol/L | 10.9777 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.677 | 158956.5245 | 299851.132 | 59.9307 | 49.4
69342 | 2021-04-05 13:05 | 9.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7944 | μmol/L | 10.99 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.674 | 158966.6884 | 299848.1196 | 59.9307 | 49.4
69351 | 2021-04-05 13:05 | 9.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7781 | μmol/L | 10.9838 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.677 | 158945.3403 | 299808.5081 | 59.9307 | 49.4
69360 | 2021-04-05 13:06 | 9.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6854 | μmol/L | 10.9961 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.676 | 158925.4639 | 299800.9303 | 59.9307 | 49.4
69369 | 2021-04-05 13:06 | 10.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7268 | μmol/L | 11.0023 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.672 | 158909.0949 | 299797.26 | 59.9307 | 49.4
69378 | 2021-04-05 13:06 | 10.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7519 | μmol/L | 11.0023 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.671 | 158903.0357 | 299804.2127 | 59.9307 | 49.4
69387 | 2021-04-05 13:07 | 10.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7181 | μmol/L | 11.0084 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.67 | 158890.1566 | 299789.3897 | 59.9307 | 49.4
69396 | 2021-04-05 13:07 | 11.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5841 | μmol/L | 11.0146 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 158887.1536 | 299769.6391 | 59.9307 | 49.4
69405 | 2021-04-05 13:07 | 11.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5841 | μmol/L | 11.0146 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.673 | 158880.2432 | 299768.0093 | 59.9307 | 49.4
69414 | 2021-04-05 13:08 | 11.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.4501 | μmol/L | 11.0208 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.676 | 158896.6322 | 299769.4536 | 59.9307 | 49.4
69423 | 2021-04-05 13:08 | 12.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.3325 | μmol/L | 11.0331 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.676 | 158892.8395 | 299754.933 | 59.9307 | 49.4
69432 | 2021-04-05 13:08 | 12.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.3913 | μmol/L | 11.0269 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.676 | 158878.9012 | 299729.6349 | 59.9307 | 49.4
69441 | 2021-04-05 13:09 | 12.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2237 | μmol/L | 11.0392 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.678 | 158884.726 | 299719.1908 | 59.9307 | 49.4
69450 | 2021-04-05 13:09 | 13.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2825 | μmol/L | 11.0331 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.678 | 158868.3104 | 299716.2816 | 59.9307 | 49.4
69459 | 2021-04-05 13:09 | 13.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.09 | μmol/L | 11.0454 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.681 | 158884.9334 | 299714.3232 | 59.9307 | 49.4
69468 | 2021-04-05 13:10 | 13.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0063 | μmol/L | 11.0515 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 158896.1479 | 299689.276 | 59.9307 | 49.4
69477 | 2021-04-05 13:10 | 14.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0063 | μmol/L | 11.0515 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 158898.514 | 299691.2902 | 59.9307 | 49.4
69486 | 2021-04-05 13:10 | 14.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.889 | μmol/L | 11.0639 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.682 | 158885.6224 | 299681.9996 | 59.9307 | 49.4
69495 | 2021-04-05 13:11 | 14.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9226 | μmol/L | 11.0577 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.683 | 158885.7289 | 299675.1922 | 59.9307 | 49.4
69504 | 2021-04-05 13:11 | 15.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.814 | μmol/L | 11.0639 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 158873.7972 | 299655.4495 | 59.9307 | 49.4
69513 | 2021-04-05 13:11 | 15.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.814 | μmol/L | 11.0639 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 158873.4285 | 299643.6094 | 59.9307 | 49.4
69522 | 2021-04-05 13:12 | 15.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6968 | μmol/L | 11.0762 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 158864.6745 | 299658.9995 | 59.9307 | 49.4
69531 | 2021-04-05 13:12 | 16.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6968 | μmol/L | 11.0762 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 158869.16 | 299641.7067 | 59.9307 | 49.4
69540 | 2021-04-05 13:12 | 16.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6382 | μmol/L | 11.0823 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.685 | 158871.5847 | 299637.282 | 59.9307 | 49.4
69549 | 2021-04-05 13:13 | 16.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.5547 | μmol/L | 11.0885 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 158861.2607 | 299629.5953 | 59.9307 | 49.4
69558 | 2021-04-05 13:13 | 17.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4798 | μmol/L | 11.0885 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 158858.8569 | 299626.2111 | 59.9307 | 49.4
69567 | 2021-04-05 13:13 | 17.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.5547 | μmol/L | 11.0885 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 158854.9395 | 299606.7485 | 59.9307 | 49.4
69576 | 2021-04-05 13:14 | 17.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4126 | μmol/L | 11.1008 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.687 | 158840.222 | 299596.8886 | 59.9307 | 49.4
69585 | 2021-04-05 13:14 | 18.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4376 | μmol/L | 11.1008 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.686 | 158833.3543 | 299602.2289 | 59.9307 | 49.4
69594 | 2021-04-05 13:14 | 18.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3877 | μmol/L | 11.1008 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 158839.7531 | 299594.9903 | 59.9307 | 49.4
69603 | 2021-04-05 13:15 | 18.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3129 | μmol/L | 11.1008 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.691 | 158843.007 | 299571.412 | 59.9307 | 49.4
69612 | 2021-04-05 13:15 | 19.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3292 | μmol/L | 11.107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.688 | 158835.7144 | 299567.4321 | 59.9307 | 49.4
69621 | 2021-04-05 13:15 | 19.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3042 | μmol/L | 11.107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.689 | 158840.7356 | 299567.8407 | 59.9307 | 49.4
69630 | 2021-04-05 13:16 | 19.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.2793 | μmol/L | 11.107 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 158833.6379 | 299566.5393 | 59.9307 | 49.4
69639 | 2021-04-05 13:16 | 20.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1374 | μmol/L | 11.1193 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.691 | 158826.7063 | 299559.4518 | 59.9307 | 49.4
69648 | 2021-04-05 13:16 | 20.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.0292 | μmol/L | 11.1254 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.693 | 158819.2817 | 299525.3726 | 59.9307 | 49.4
69657 | 2021-04-05 13:17 | 20.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9957 | μmol/L | 11.1316 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.692 | 158811.1627 | 299549.9437 | 59.9307 | 49.4
69666 | 2021-04-05 13:17 | 21.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.079 | μmol/L | 11.1254 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.691 | 158805.3683 | 299522.8017 | 59.9307 | 49.4
69675 | 2021-04-05 13:17 | 21.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1039 | μmol/L | 11.1254 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 158801.1839 | 299522.1022 | 59.9307 | 49.4
69684 | 2021-04-05 13:18 | 21.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.0206 | μmol/L | 11.1316 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.691 | 158793.382 | 299515.6326 | 59.9307 | 49.4
69693 | 2021-04-05 13:18 | 22.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9871 | μmol/L | 11.1377 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.69 | 158797.4256 | 299520.1438 | 59.9307 | 49.4
69702 | 2021-04-05 13:18 | 22.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8626 | μmol/L | 11.1377 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 158806.2887 | 299515.4206 | 59.9307 | 49.4
69711 | 2021-04-05 13:19 | 22.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7459 | μmol/L | 11.15 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.695 | 158813.6632 | 299501.6303 | 59.9307 | 49.4
69720 | 2021-04-05 13:19 | 23.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.721 | μmol/L | 11.15 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.696 | 158829.9825 | 299483.1273 | 59.9307 | 49.4
69729 | 2021-04-05 13:19 | 23.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.588 | μmol/L | 11.1562 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.699 | 158826.1751 | 299468.821 | 59.9307 | 49.4
69738 | 2021-04-05 13:20 | 23.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6961 | μmol/L | 11.15 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.697 | 158830.252 | 299477.8258 | 59.9307 | 49.4
69747 | 2021-04-05 13:20 | 24.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5631 | μmol/L | 11.1562 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 158831.3553 | 299480.1293 | 59.9307 | 49.4
69756 | 2021-04-05 13:20 | 24.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5546 | μmol/L | 11.1624 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.698 | 158824.6504 | 299457.829 | 59.9307 | 49.4
69765 | 2021-04-05 13:21 | 24.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5049 | μmol/L | 11.1624 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.7 | 158833.0677 | 299472.5382 | 59.9307 | 49.4
69774 | 2021-04-05 13:21 | 25.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4885 | μmol/L | 11.1562 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.703 | 158823.3612 | 299448.7896 | 59.9307 | 49.4
69783 | 2021-04-05 13:21 | 25.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3223 | μmol/L | 11.1685 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158839.1888 | 299457.5718 | 59.9307 | 49.4
69792 | 2021-04-05 13:22 | 25.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3223 | μmol/L | 11.1685 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158831.5854 | 299444.7542 | 59.9307 | 49.4
69801 | 2021-04-05 13:22 | 26.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2889 | μmol/L | 11.1747 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 158833.9705 | 299434.0202 | 59.9307 | 49.4
69810 | 2021-04-05 13:22 | 26.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1896 | μmol/L | 11.1747 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 158842.0057 | 299429.6053 | 59.9307 | 49.4
69819 | 2021-04-05 13:23 | 26.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2392 | μmol/L | 11.1747 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 158836.4142 | 299427.11 | 59.9307 | 49.4
69828 | 2021-04-05 13:23 | 27.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.181 | μmol/L | 11.1808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 158827.7548 | 299404.6788 | 59.9307 | 49.4
69837 | 2021-04-05 13:23 | 27.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2059 | μmol/L | 11.1808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158825.841 | 299423.6742 | 59.9307 | 49.4
69846 | 2021-04-05 13:24 | 27.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1562 | μmol/L | 11.1808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.707 | 158820.7955 | 299400.4901 | 59.9307 | 49.4
69855 | 2021-04-05 13:24 | 28.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.181 | μmol/L | 11.1808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 158814.1676 | 299393.4512 | 59.9307 | 49.4
69864 | 2021-04-05 13:24 | 28.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0065 | μmol/L | 11.1993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 158795.4488 | 299395.8096 | 59.9307 | 49.4
69873 | 2021-04-05 13:25 | 28.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0399 | μmol/L | 11.1931 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.707 | 158793.8506 | 299396.2165 | 59.9307 | 49.4
69882 | 2021-04-05 13:25 | 29.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9569 | μmol/L | 11.1993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 158775.2138 | 299376.8734 | 59.9307 | 49.4
69891 | 2021-04-05 13:25 | 29.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.998 | μmol/L | 11.2055 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 158760.4019 | 299378.1275 | 59.9307 | 49.4
69900 | 2021-04-05 13:26 | 29.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.081 | μmol/L | 11.1993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.703 | 158759.4699 | 299377.3725 | 59.9307 | 49.4
69909 | 2021-04-05 13:26 | 30.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0477 | μmol/L | 11.2055 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.702 | 158741.3606 | 299348.8816 | 59.9307 | 49.4
69918 | 2021-04-05 13:26 | 30.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0477 | μmol/L | 11.2055 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.702 | 158724.5587 | 299346.9352 | 59.9307 | 49.4
69927 | 2021-04-05 13:27 | 30.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9399 | μmol/L | 11.2116 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 158720.8269 | 299350.5714 | 59.9307 | 49.4
69936 | 2021-04-05 13:27 | 31.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1307 | μmol/L | 11.1993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.701 | 158708.4859 | 299337.152 | 59.9307 | 49.4
69945 | 2021-04-05 13:27 | 31.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0477 | μmol/L | 11.2055 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.702 | 158697.8261 | 299332.2536 | 59.9307 | 49.4
69954 | 2021-04-05 13:28 | 31.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8818 | μmol/L | 11.2178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.704 | 158711.4304 | 299338.3789 | 59.9307 | 49.4
69963 | 2021-04-05 13:28 | 32.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.857 | μmol/L | 11.2178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158688.2689 | 299309.2305 | 59.9307 | 49.4
69972 | 2021-04-05 13:28 | 32.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.857 | μmol/L | 11.2178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158694.9517 | 299318.6743 | 59.9307 | 49.4
69981 | 2021-04-05 13:29 | 32.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7741 | μmol/L | 11.2239 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.706 | 158700.3282 | 299313.2393 | 59.9307 | 49.4
69990 | 2021-04-05 13:29 | 33.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9066 | μmol/L | 11.2178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.703 | 158696.0854 | 299301.455 | 59.9307 | 49.4
69999 | 2021-04-05 13:29 | 33.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7989 | μmol/L | 11.2239 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158695.1264 | 299296.3408 | 59.9307 | 49.4
70008 | 2021-04-05 13:30 | 33.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7989 | μmol/L | 11.2239 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.705 | 158699.5926 | 299297.3908 | 59.9307 | 49.4
70017 | 2021-04-05 13:30 | 34.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6416 | μmol/L | 11.2301 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.709 | 158702.1478 | 299305.2998 | 59.9307 | 49.4
70026 | 2021-04-05 13:30 | 34.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6664 | μmol/L | 11.2301 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 158697.7202 | 299281.0083 | 59.9307 | 49.4
70035 | 2021-04-05 13:31 | 34.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6084 | μmol/L | 11.2362 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.708 | 158702.0558 | 299280.431 | 59.9307 | 49.4
70044 | 2021-04-05 13:31 | 35.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5093 | μmol/L | 11.2362 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.712 | 158712.8134 | 299260.2038 | 59.9307 | 49.4
70053 | 2021-04-05 13:31 | 35.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5177 | μmol/L | 11.2301 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158716.5301 | 299246.5026 | 59.9307 | 49.4
70062 | 2021-04-05 13:32 | 35.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4017 | μmol/L | 11.2424 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158721.0425 | 299254.0901 | 59.9307 | 49.4
70071 | 2021-04-05 13:32 | 36.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3522 | μmol/L | 11.2424 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158712.0109 | 299236.8285 | 59.9307 | 49.4
70080 | 2021-04-05 13:32 | 36.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3274 | μmol/L | 11.2424 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158720.3813 | 299242.1008 | 59.9307 | 49.4
70089 | 2021-04-05 13:33 | 36.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.22 | μmol/L | 11.2486 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 158719.3229 | 299246.894 | 59.9307 | 49.4
70098 | 2021-04-05 13:33 | 37.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3685 | μmol/L | 11.2486 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.713 | 158702.7766 | 299233.2117 | 59.9307 | 49.4
70107 | 2021-04-05 13:33 | 37.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3437 | μmol/L | 11.2486 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158706.658 | 299226.843 | 59.9307 | 49.4
70116 | 2021-04-05 13:34 | 37.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3437 | μmol/L | 11.2486 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158693.3762 | 299225.6212 | 59.9307 | 49.4
70125 | 2021-04-05 13:34 | 38.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2115 | μmol/L | 11.2547 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158689.4742 | 299216.0653 | 59.9307 | 49.4
70134 | 2021-04-05 13:34 | 38.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2942 | μmol/L | 11.2486 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158683.0874 | 299213.9546 | 59.9307 | 49.4
70143 | 2021-04-05 13:35 | 38.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2031 | μmol/L | 11.2609 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 158676.7537 | 299217.6706 | 59.9307 | 49.4
70152 | 2021-04-05 13:35 | 39.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2278 | μmol/L | 11.2609 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158670.9242 | 299178.2805 | 59.9307 | 49.4
70161 | 2021-04-05 13:35 | 39.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2031 | μmol/L | 11.2609 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 158671.8681 | 299197.5951 | 59.9307 | 49.4
70170 | 2021-04-05 13:36 | 39.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1452 | μmol/L | 11.267 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 158672.5691 | 299195.7802 | 59.9307 | 49.4
70179 | 2021-04-05 13:36 | 40.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0378 | μmol/L | 11.2732 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158667.0259 | 299197.6977 | 59.9307 | 49.4
70188 | 2021-04-05 13:36 | 40.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1288 | μmol/L | 11.2609 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158675.0566 | 299182.0239 | 59.9307 | 49.4
70197 | 2021-04-05 13:37 | 40.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0957 | μmol/L | 11.267 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158668.6048 | 299165.0464 | 59.9307 | 49.4
70206 | 2021-04-05 13:37 | 41.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0709 | μmol/L | 11.267 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158672.8303 | 299185.4308 | 59.9307 | 49.4
70215 | 2021-04-05 13:37 | 41.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0709 | μmol/L | 11.267 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158672.5707 | 299162.7693 | 59.9307 | 49.4
70224 | 2021-04-05 13:38 | 41.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9389 | μmol/L | 11.2732 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158676.6883 | 299166.9078 | 59.9307 | 49.4
70233 | 2021-04-05 13:38 | 42.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8894 | μmol/L | 11.2732 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 158670.1963 | 299158.4241 | 59.9307 | 49.4
70242 | 2021-04-05 13:38 | 42.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.881 | μmol/L | 11.2793 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158665.8469 | 299147.3119 | 59.9307 | 49.4
70251 | 2021-04-05 13:39 | 42.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8563 | μmol/L | 11.2793 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.722 | 158677.2779 | 299152.7999 | 59.9307 | 49.4
70260 | 2021-04-05 13:39 | 43.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7985 | μmol/L | 11.2855 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.722 | 158664.9382 | 299131.1066 | 59.9307 | 49.4
70269 | 2021-04-05 13:39 | 43.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8316 | μmol/L | 11.2793 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 158657.0568 | 299125.697 | 59.9307 | 49.4
70278 | 2021-04-05 13:40 | 43.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8563 | μmol/L | 11.2793 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.722 | 158656.5633 | 299109.9755 | 59.9307 | 49.4
70287 | 2021-04-05 13:40 | 44.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8232 | μmol/L | 11.2855 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158646.9655 | 299123.2037 | 59.9307 | 49.4
70296 | 2021-04-05 13:40 | 44.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7159 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 158636.9077 | 299117.5393 | 59.9307 | 49.4
70305 | 2021-04-05 13:41 | 44.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8479 | μmol/L | 11.2855 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158629.8535 | 299101.3708 | 59.9307 | 49.4
70314 | 2021-04-05 13:41 | 45.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8232 | μmol/L | 11.2855 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158622.2336 | 299103.6084 | 59.9307 | 49.4
70323 | 2021-04-05 13:41 | 45.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.79 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158617.6918 | 299102.7473 | 59.9307 | 49.4
70332 | 2021-04-05 13:42 | 45.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7653 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158608.4492 | 299110.0359 | 59.9307 | 49.4
70341 | 2021-04-05 13:42 | 46.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8642 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158604.5889 | 299090.1725 | 59.9307 | 49.4
70350 | 2021-04-05 13:42 | 46.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8889 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158587.0972 | 299067.3602 | 59.9307 | 49.4
70359 | 2021-04-05 13:43 | 46.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8395 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158578.3886 | 299076.0402 | 59.9307 | 49.4
70368 | 2021-04-05 13:43 | 47.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8064 | μmol/L | 11.2978 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158570.5051 | 299081.8534 | 59.9307 | 49.4
70377 | 2021-04-05 13:43 | 47.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8064 | μmol/L | 11.2978 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158561.9564 | 299071.6978 | 59.9307 | 49.4
70386 | 2021-04-05 13:44 | 47.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6004 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 158551.5652 | 299050.1105 | 59.9307 | 49.4
70395 | 2021-04-05 13:44 | 48.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8311 | μmol/L | 11.2978 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158544.7161 | 299059.4179 | 59.9307 | 49.4
70404 | 2021-04-05 13:44 | 48.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7238 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158529.3772 | 299051.4368 | 59.9307 | 49.4
70413 | 2021-04-05 13:45 | 48.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7733 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158526.717 | 299033.2042 | 59.9307 | 49.4
70422 | 2021-04-05 13:45 | 49.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7733 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158529.597 | 299041.0441 | 59.9307 | 49.4
70431 | 2021-04-05 13:45 | 49.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7733 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158507.9991 | 299040.0453 | 59.9307 | 49.4
70440 | 2021-04-05 13:46 | 49.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7733 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158510.6066 | 299028.1196 | 59.9307 | 49.4
70449 | 2021-04-05 13:46 | 50.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.798 | μmol/L | 11.304 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.715 | 158504.0348 | 299022.2901 | 59.9307 | 49.4
70458 | 2021-04-05 13:46 | 50.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7071 | μmol/L | 11.3163 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158500.8504 | 299019.7719 | 59.9307 | 49.4
70467 | 2021-04-05 13:47 | 50.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6908 | μmol/L | 11.3101 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.717 | 158493.4336 | 299007.3217 | 59.9307 | 49.4
70476 | 2021-04-05 13:47 | 51.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6577 | μmol/L | 11.3163 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158489.1781 | 299008.0939 | 59.9307 | 49.4
70485 | 2021-04-05 13:47 | 51.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.592 | μmol/L | 11.3101 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158496.1084 | 298990.3418 | 59.9307 | 49.4
70494 | 2021-04-05 13:48 | 51.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6661 | μmol/L | 11.3101 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.718 | 158490.6169 | 298983.1078 | 59.9307 | 49.4
70503 | 2021-04-05 13:48 | 52.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5258 | μmol/L | 11.3224 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 158481.289 | 298988.4205 | 59.9307 | 49.4
70512 | 2021-04-05 13:48 | 52.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3447 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.724 | 158490.9057 | 298971.6899 | 59.9307 | 49.4
70521 | 2021-04-05 13:49 | 52.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6414 | μmol/L | 11.3101 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 158483.8388 | 298968.0887 | 59.9307 | 49.4
70530 | 2021-04-05 13:49 | 53.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5589 | μmol/L | 11.3163 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158485.4502 | 298972.6236 | 59.9307 | 49.4
70539 | 2021-04-05 13:49 | 53.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4434 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158481.7378 | 298974.0469 | 59.9307 | 49.4
70548 | 2021-04-05 13:50 | 53.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4187 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.721 | 158478.954 | 298968.6803 | 59.9307 | 49.4
70557 | 2021-04-05 13:50 | 54.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5012 | μmol/L | 11.3224 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158473.7268 | 298945.2616 | 59.9307 | 49.4
70566 | 2021-04-05 13:50 | 54.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4681 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.719 | 158467.8632 | 298952.5774 | 59.9307 | 49.4
70575 | 2021-04-05 13:51 | 54.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3447 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.724 | 158477.3806 | 298956.5899 | 59.9307 | 49.4
70584 | 2021-04-05 13:51 | 55.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3364 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.722 | 158468.1662 | 298950.649 | 59.9307 | 49.4
70593 | 2021-04-05 13:51 | 55.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3117 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.723 | 158479.4926 | 298942.8327 | 59.9307 | 49.4
70602 | 2021-04-05 13:52 | 55.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3201 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.725 | 158475.8897 | 298946.5528 | 59.9307 | 49.4
70611 | 2021-04-05 13:52 | 56.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2707 | μmol/L | 11.3286 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.727 | 158478.5701 | 298948.2149 | 59.9307 | 49.4
70620 | 2021-04-05 13:52 | 56.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2377 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.726 | 158476.9335 | 298947.7145 | 59.9307 | 49.4
70629 | 2021-04-05 13:53 | 56.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2377 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.726 | 158466.617 | 298911.6933 | 59.9307 | 49.4
70638 | 2021-04-05 13:53 | 57.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.213 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.727 | 158478.9552 | 298897.821 | 59.9307 | 49.4
70647 | 2021-04-05 13:53 | 57.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1554 | μmol/L | 11.3409 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.727 | 158468.9039 | 298902.3799 | 59.9307 | 49.4
70656 | 2021-04-05 13:54 | 57.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0651 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.733 | 158468.748 | 298901.13 | 59.9307 | 49.4
70665 | 2021-04-05 13:54 | 58.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1884 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.728 | 158471.6125 | 298896.259 | 59.9307 | 49.4
70674 | 2021-04-05 13:54 | 58.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1391 | μmol/L | 11.3348 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.73 | 158469.4505 | 298890.6332 | 59.9307 | 49.4
70683 | 2021-04-05 13:55 | 58.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9745 | μmol/L | 11.3471 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.732 | 158466.5418 | 298893.6198 | 59.9307 | 49.4
70692 | 2021-04-05 13:55 | 59.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0322 | μmol/L | 11.3409 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.732 | 158461.6186 | 298868.6776 | 59.9307 | 49.4
70701 | 2021-04-05 13:55 | 59.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9908 | μmol/L | 11.3532 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.729 | 158471.3367 | 298869.2916 | 59.9307 | 49.4
70710 | 2021-04-05 13:56 | 59.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9253 | μmol/L | 11.3471 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.734 | 158477.7589 | 298876.5943 | 59.9307 | 49.4
70719 | 2021-04-05 13:56 | 60.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8431 | μmol/L | 11.3532 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.735 | 158463.4216 | 298870.802 | 59.9307 | 49.4
70728 | 2021-04-05 13:56 | 60.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9253 | μmol/L | 11.3471 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.734 | 158474.0227 | 298856.8548 | 59.9307 | 49.4
70737 | 2021-04-05 13:57 | 60.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8923 | μmol/L | 11.3532 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.733 | 158472.8011 | 298871.6483 | 59.9307 | 49.4
70746 | 2021-04-05 13:57 | 61.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7938 | μmol/L | 11.3532 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.737 | 158478.6634 | 298847.8347 | 59.9307 | 49.4
70755 | 2021-04-05 13:57 | 61.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8184 | μmol/L | 11.3532 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.736 | 158481.8611 | 298849.9345 | 59.9307 | 49.4
70764 | 2021-04-05 13:58 | 61.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.6049 | μmol/L | 11.3655 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.74 | 158486.783 | 298831.4974 | 59.9307 | 49.4
70773 | 2021-04-05 13:58 | 62.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7116 | μmol/L | 11.3594 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.738 | 158485.6194 | 298846.9808 | 59.9307 | 49.4