## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69092 | 2021-04-05 12:56 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.9955 | μmol/L | 11.0306 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.902 | 156636.7766 | 315119.2762 | 33.25 | 68.6
69101 | 2021-04-05 12:56 | 0.33975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.8789 | μmol/L | 11.0428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.902 | 156624.9759 | 315111.1158 | 33.25 | 68.6
69110 | 2021-04-05 12:56 | 0.67272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.0781 | μmol/L | 11.0367 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.896 | 156604.1761 | 315115.4887 | 33.25 | 68.6
69119 | 2021-04-05 12:57 | 1.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.9267 | μmol/L | 11.0549 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156594.2593 | 315099.5338 | 33.25 | 68.6
69128 | 2021-04-05 12:57 | 1.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.9267 | μmol/L | 11.0549 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156581.4138 | 315088.1495 | 33.25 | 68.6
69137 | 2021-04-05 12:57 | 1.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.6816 | μmol/L | 11.0731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.898 | 156568.2976 | 315068.2978 | 33.25 | 68.6
69146 | 2021-04-05 12:58 | 2.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.705 | μmol/L | 11.0731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.897 | 156549.0893 | 315050.2587 | 33.25 | 68.6
69155 | 2021-04-05 12:58 | 2.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.7755 | μmol/L | 11.0731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.894 | 156512.7274 | 315022.3943 | 33.25 | 68.6
69164 | 2021-04-05 12:58 | 2.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.7172 | μmol/L | 11.0792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.894 | 156505.9091 | 315014.8644 | 33.25 | 68.6
69173 | 2021-04-05 12:59 | 3.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.6121 | μmol/L | 11.0853 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.896 | 156488.7715 | 315001.5612 | 33.25 | 68.6
69182 | 2021-04-05 12:59 | 3.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.5774 | μmol/L | 11.0913 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156477.0418 | 314970.0121 | 33.25 | 68.6
69191 | 2021-04-05 12:59 | 3.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.5192 | μmol/L | 11.0974 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156464.3664 | 314969.1755 | 33.25 | 68.6
69200 | 2021-04-05 13:00 | 4.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3908 | μmol/L | 11.1035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.898 | 156451.9096 | 314965.8546 | 33.25 | 68.6
69209 | 2021-04-05 13:00 | 4.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.4611 | μmol/L | 11.1035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156445.1178 | 314946.474 | 33.25 | 68.6
69218 | 2021-04-05 13:00 | 4.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2868 | μmol/L | 11.1217 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156428.065 | 314935.5458 | 33.25 | 68.6
69227 | 2021-04-05 13:01 | 5.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2745 | μmol/L | 11.1156 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.898 | 156421.8097 | 314934.2303 | 33.25 | 68.6
69236 | 2021-04-05 13:01 | 5.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.1706 | μmol/L | 11.1338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.895 | 156404.4588 | 314908.4698 | 33.25 | 68.6
69245 | 2021-04-05 13:01 | 5.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2521 | μmol/L | 11.1278 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.894 | 156405.6078 | 314894.24 | 33.25 | 68.6
69254 | 2021-04-05 13:02 | 6.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.0189 | μmol/L | 11.1399 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.899 | 156408.4779 | 314872.824 | 33.25 | 68.6
69263 | 2021-04-05 13:02 | 6.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9487 | μmol/L | 11.1399 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.902 | 156425.791 | 314856.5321 | 33.25 | 68.6
69272 | 2021-04-05 13:02 | 6.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.7971 | μmol/L | 11.146 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.906 | 156438.996 | 314838.2949 | 33.25 | 68.6
69281 | 2021-04-05 13:03 | 7.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8317 | μmol/L | 11.1399 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.907 | 156446.7923 | 314828.715 | 33.25 | 68.6
69290 | 2021-04-05 13:03 | 7.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.541 | μmol/L | 11.1581 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.912 | 156465.1919 | 314821.3351 | 33.25 | 68.6
69299 | 2021-04-05 13:03 | 7.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4942 | μmol/L | 11.1581 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.914 | 156475.8885 | 314805.1881 | 33.25 | 68.6
69308 | 2021-04-05 13:04 | 8.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2962 | μmol/L | 11.1642 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.92 | 156500.2834 | 314800.4742 | 33.25 | 68.6
69317 | 2021-04-05 13:04 | 8.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1684 | μmol/L | 11.1703 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.923 | 156503.657 | 314779.4796 | 33.25 | 68.6
69326 | 2021-04-05 13:04 | 8.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0984 | μmol/L | 11.1703 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.926 | 156512.7032 | 314771.1484 | 33.25 | 68.6
69335 | 2021-04-05 13:05 | 9.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0639 | μmol/L | 11.1763 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.925 | 156505.6203 | 314752.1844 | 33.25 | 68.6
69344 | 2021-04-05 13:05 | 9.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9129 | μmol/L | 11.1824 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.929 | 156510.2048 | 314743.9443 | 33.25 | 68.6
69353 | 2021-04-05 13:05 | 9.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9251 | μmol/L | 11.1885 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.926 | 156512.3928 | 314721.958 | 33.25 | 68.6
69362 | 2021-04-05 13:06 | 10.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8907 | μmol/L | 11.1946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.925 | 156500.2919 | 314728.8667 | 33.25 | 68.6
69371 | 2021-04-05 13:06 | 10.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9717 | μmol/L | 11.1885 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.924 | 156490.0019 | 314717.1058 | 33.25 | 68.6
69380 | 2021-04-05 13:06 | 10.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8674 | μmol/L | 11.1946 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.926 | 156477.4991 | 314710.6947 | 33.25 | 68.6
69389 | 2021-04-05 13:07 | 11.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7863 | μmol/L | 11.2006 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.927 | 156467.8229 | 314690.9159 | 33.25 | 68.6
69398 | 2021-04-05 13:07 | 11.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7752 | μmol/L | 11.2067 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.925 | 156460.8351 | 314679.7376 | 33.25 | 68.6
69407 | 2021-04-05 13:07 | 11.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7175 | μmol/L | 11.2128 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.925 | 156446.5387 | 314667.3597 | 33.25 | 68.6
69416 | 2021-04-05 13:08 | 12.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.6477 | μmol/L | 11.2128 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.928 | 156423.3969 | 314648.5269 | 33.25 | 68.6
69425 | 2021-04-05 13:08 | 12.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.6942 | μmol/L | 11.2128 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.926 | 156437.1231 | 314647.8228 | 33.25 | 68.6
69434 | 2021-04-05 13:08 | 12.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4858 | μmol/L | 11.2249 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.93 | 156438.9286 | 314621.3451 | 33.25 | 68.6
69443 | 2021-04-05 13:09 | 13.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.416 | μmol/L | 11.2249 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.933 | 156429.682 | 314612.4425 | 33.25 | 68.6
69452 | 2021-04-05 13:09 | 13.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3927 | μmol/L | 11.2249 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.934 | 156439.5871 | 314613.6377 | 33.25 | 68.6
69461 | 2021-04-05 13:09 | 13.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2543 | μmol/L | 11.2371 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.935 | 156451.8344 | 314593.449 | 33.25 | 68.6
69470 | 2021-04-05 13:10 | 14.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1502 | μmol/L | 11.2431 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.937 | 156461.1555 | 314585.0066 | 33.25 | 68.6
69479 | 2021-04-05 13:10 | 14.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1613 | μmol/L | 11.2371 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.939 | 156455.5801 | 314562.9927 | 33.25 | 68.6
69488 | 2021-04-05 13:10 | 14.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.127 | μmol/L | 11.2431 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.938 | 156452.0343 | 314564.7635 | 33.25 | 68.6
69497 | 2021-04-05 13:11 | 15.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.023 | μmol/L | 11.2492 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.94 | 156448.6211 | 314553.933 | 33.25 | 68.6
69506 | 2021-04-05 13:11 | 15.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9655 | μmol/L | 11.2553 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.94 | 156443.4909 | 314555.7466 | 33.25 | 68.6
69515 | 2021-04-05 13:11 | 15.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0695 | μmol/L | 11.2492 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.938 | 156424.755 | 314526.0013 | 33.25 | 68.6
69524 | 2021-04-05 13:12 | 16.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.012 | μmol/L | 11.2553 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.938 | 156415.7932 | 314522.6778 | 33.25 | 68.6
69533 | 2021-04-05 13:12 | 16.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.897 | μmol/L | 11.2674 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.938 | 156400.6329 | 314511.0963 | 33.25 | 68.6
69542 | 2021-04-05 13:12 | 16.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9545 | μmol/L | 11.2613 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.938 | 156394.1625 | 314499.3236 | 33.25 | 68.6
69551 | 2021-04-05 13:13 | 17.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9434 | μmol/L | 11.2674 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.936 | 156383.418 | 314500.8711 | 33.25 | 68.6
69560 | 2021-04-05 13:13 | 17.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.7931 | μmol/L | 11.2735 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.94 | 156379.8126 | 314491.4224 | 33.25 | 68.6
69569 | 2021-04-05 13:13 | 17.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.7931 | μmol/L | 11.2735 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.94 | 156375.8412 | 314475.3959 | 33.25 | 68.6
69578 | 2021-04-05 13:14 | 18.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.7589 | μmol/L | 11.2796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.939 | 156365.1591 | 314452.8435 | 33.25 | 68.6
69587 | 2021-04-05 13:14 | 18.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.7125 | μmol/L | 11.2796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.941 | 156362.2234 | 314448.8429 | 33.25 | 68.6
69596 | 2021-04-05 13:14 | 18.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.666 | μmol/L | 11.2796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.943 | 156354.0281 | 314434.2598 | 33.25 | 68.6
69605 | 2021-04-05 13:15 | 19.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.6208 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.94 | 156344.4864 | 314422.043 | 33.25 | 68.6
69614 | 2021-04-05 13:15 | 19.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5623 | μmol/L | 11.2856 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.945 | 156358.1399 | 314428.7371 | 33.25 | 68.6
69623 | 2021-04-05 13:15 | 19.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5976 | μmol/L | 11.2917 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.941 | 156359.779 | 314405.2992 | 33.25 | 68.6
69632 | 2021-04-05 13:16 | 20.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.4707 | μmol/L | 11.2978 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.944 | 156366.4768 | 314403.0727 | 33.25 | 68.6
69641 | 2021-04-05 13:16 | 20.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3328 | μmol/L | 11.3099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.945 | 156360.2533 | 314396.8053 | 33.25 | 68.6
69650 | 2021-04-05 13:16 | 20.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.4243 | μmol/L | 11.2978 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.946 | 156360.8553 | 314384.3549 | 33.25 | 68.6
69659 | 2021-04-05 13:17 | 21.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2743 | μmol/L | 11.3038 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.95 | 156359.0198 | 314373.3549 | 33.25 | 68.6
69668 | 2021-04-05 13:17 | 21.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2402 | μmol/L | 11.3099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.949 | 156353.7992 | 314358.8136 | 33.25 | 68.6
69677 | 2021-04-05 13:17 | 21.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.217 | μmol/L | 11.3099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.95 | 156351.6276 | 314337.7682 | 33.25 | 68.6
69686 | 2021-04-05 13:18 | 22.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2402 | μmol/L | 11.3099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.949 | 156339.6039 | 314330.4303 | 33.25 | 68.6
69695 | 2021-04-05 13:18 | 22.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1938 | μmol/L | 11.3099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.951 | 156338.1742 | 314318.7754 | 33.25 | 68.6
69704 | 2021-04-05 13:18 | 22.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1366 | μmol/L | 11.316 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.951 | 156317.4298 | 314301.6264 | 33.25 | 68.6
69713 | 2021-04-05 13:19 | 23.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1256 | μmol/L | 11.3221 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.949 | 156314.4028 | 314298.0821 | 33.25 | 68.6
69722 | 2021-04-05 13:19 | 23.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1256 | μmol/L | 11.3221 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.949 | 156306.0917 | 314293.5225 | 33.25 | 68.6
69731 | 2021-04-05 13:19 | 23.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1719 | μmol/L | 11.3221 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156301.8452 | 314283.9702 | 33.25 | 68.6
69740 | 2021-04-05 13:20 | 24.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0806 | μmol/L | 11.3342 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.946 | 156289.7172 | 314276.8958 | 33.25 | 68.6
69749 | 2021-04-05 13:20 | 24.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0806 | μmol/L | 11.3342 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.946 | 156264.7312 | 314260.5608 | 33.25 | 68.6
69758 | 2021-04-05 13:20 | 24.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1037 | μmol/L | 11.3342 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.945 | 156265.4232 | 314252.7994 | 33.25 | 68.6
69767 | 2021-04-05 13:21 | 25.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0002 | μmol/L | 11.3403 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156246.587 | 314255.2633 | 33.25 | 68.6
69776 | 2021-04-05 13:21 | 25.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0002 | μmol/L | 11.3403 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156245.1479 | 314248.4792 | 33.25 | 68.6
69785 | 2021-04-05 13:21 | 25.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0002 | μmol/L | 11.3403 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156217.6673 | 314221.255 | 33.25 | 68.6
69794 | 2021-04-05 13:22 | 26.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.9661 | μmol/L | 11.3463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.946 | 156222.7977 | 314225.7506 | 33.25 | 68.6
69803 | 2021-04-05 13:22 | 26.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8395 | μmol/L | 11.3524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.949 | 156205.1956 | 314195.3667 | 33.25 | 68.6
69812 | 2021-04-05 13:22 | 26.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.943 | μmol/L | 11.3463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156203.5333 | 314210.9996 | 33.25 | 68.6
69821 | 2021-04-05 13:23 | 27.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8858 | μmol/L | 11.3524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.947 | 156201.8785 | 314187.5588 | 33.25 | 68.6
69830 | 2021-04-05 13:23 | 27.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8517 | μmol/L | 11.3585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.946 | 156195.7913 | 314170.4942 | 33.25 | 68.6
69839 | 2021-04-05 13:23 | 27.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7933 | μmol/L | 11.3524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.951 | 156196.7975 | 314171.2172 | 33.25 | 68.6
69848 | 2021-04-05 13:24 | 28.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.713 | μmol/L | 11.3585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.952 | 156210.1862 | 314169.1015 | 33.25 | 68.6
69857 | 2021-04-05 13:24 | 28.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7361 | μmol/L | 11.3585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.951 | 156207.1615 | 314144.7952 | 33.25 | 68.6
69866 | 2021-04-05 13:24 | 28.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6436 | μmol/L | 11.3585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.955 | 156210.2919 | 314149.8497 | 33.25 | 68.6
69875 | 2021-04-05 13:25 | 29.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5294 | μmol/L | 11.3706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.955 | 156217.8927 | 314130.3341 | 33.25 | 68.6
69884 | 2021-04-05 13:25 | 29.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5403 | μmol/L | 11.3646 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.957 | 156224.9422 | 314132.8449 | 33.25 | 68.6
69893 | 2021-04-05 13:25 | 29.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.437 | μmol/L | 11.3706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.959 | 156232.8605 | 314114.373 | 33.25 | 68.6
69902 | 2021-04-05 13:26 | 30.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3799 | μmol/L | 11.3767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.959 | 156240.0054 | 314119.8473 | 33.25 | 68.6
69911 | 2021-04-05 13:26 | 30.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3677 | μmol/L | 11.3706 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.962 | 156243.7687 | 314114.5833 | 33.25 | 68.6
69920 | 2021-04-05 13:26 | 30.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3107 | μmol/L | 11.3767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.962 | 156249.7615 | 314096.673 | 33.25 | 68.6
69929 | 2021-04-05 13:27 | 31.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2876 | μmol/L | 11.3767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.963 | 156254.6131 | 314083.107 | 33.25 | 68.6
69938 | 2021-04-05 13:27 | 31.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1953 | μmol/L | 11.3767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.967 | 156252.1797 | 314086.446 | 33.25 | 68.6
69947 | 2021-04-05 13:27 | 31.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1383 | μmol/L | 11.3828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.967 | 156256.8743 | 314077.6609 | 33.25 | 68.6
69956 | 2021-04-05 13:28 | 32.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.046 | μmol/L | 11.3828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.971 | 156272.8467 | 314059.6961 | 33.25 | 68.6
69965 | 2021-04-05 13:28 | 32.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9999 | μmol/L | 11.3828 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156260.0417 | 314052.2503 | 33.25 | 68.6
69974 | 2021-04-05 13:28 | 32.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8968 | μmol/L | 11.3888 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 156260.3703 | 314039.0006 | 33.25 | 68.6
69983 | 2021-04-05 13:29 | 33.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.909 | μmol/L | 11.3949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 156263.3593 | 314035.5637 | 33.25 | 68.6
69992 | 2021-04-05 13:29 | 33.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9199 | μmol/L | 11.3888 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.974 | 156263.8734 | 314028.7397 | 33.25 | 68.6
70001 | 2021-04-05 13:29 | 33.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8168 | μmol/L | 11.3949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.976 | 156260.7589 | 314021.6949 | 33.25 | 68.6
70010 | 2021-04-05 13:30 | 34.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7369 | μmol/L | 11.401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.977 | 156261.2377 | 314020.129 | 33.25 | 68.6
70019 | 2021-04-05 13:30 | 34.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8168 | μmol/L | 11.3949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.976 | 156247.9328 | 314010.5544 | 33.25 | 68.6
70028 | 2021-04-05 13:30 | 34.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7829 | μmol/L | 11.401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 156234.5052 | 313991.5466 | 33.25 | 68.6
70037 | 2021-04-05 13:31 | 35.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.726 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 156238.6697 | 314000.6644 | 33.25 | 68.6
70046 | 2021-04-05 13:31 | 35.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.657 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.978 | 156231.5991 | 313984.399 | 33.25 | 68.6
70055 | 2021-04-05 13:31 | 35.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.806 | μmol/L | 11.401 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.974 | 156232.0728 | 313965.1607 | 33.25 | 68.6
70064 | 2021-04-05 13:32 | 36.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7491 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.974 | 156219.7775 | 313962.5052 | 33.25 | 68.6
70073 | 2021-04-05 13:32 | 36.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.68 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.977 | 156209.8335 | 313953.4446 | 33.25 | 68.6
70082 | 2021-04-05 13:32 | 36.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7152 | μmol/L | 11.4131 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156196.8892 | 313936.978 | 33.25 | 68.6
70091 | 2021-04-05 13:33 | 37.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7721 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156180.9613 | 313929.6665 | 33.25 | 68.6
70100 | 2021-04-05 13:33 | 37.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7951 | μmol/L | 11.4071 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 156169.6062 | 313917.381 | 33.25 | 68.6
70109 | 2021-04-05 13:33 | 37.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6583 | μmol/L | 11.4192 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156166.4274 | 313914.0243 | 33.25 | 68.6
70118 | 2021-04-05 13:34 | 38.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6583 | μmol/L | 11.4192 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156159.2776 | 313907.1944 | 33.25 | 68.6
70127 | 2021-04-05 13:34 | 38.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7382 | μmol/L | 11.4131 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 156149.0613 | 313891.0989 | 33.25 | 68.6
70136 | 2021-04-05 13:34 | 38.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6813 | μmol/L | 11.4192 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 156142.4094 | 313881.7151 | 33.25 | 68.6
70145 | 2021-04-05 13:35 | 39.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6123 | μmol/L | 11.4192 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 156139.2498 | 313879.1373 | 33.25 | 68.6
70154 | 2021-04-05 13:35 | 39.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4755 | μmol/L | 11.4313 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.976 | 156141.7696 | 313872.1383 | 33.25 | 68.6
70163 | 2021-04-05 13:35 | 39.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6245 | μmol/L | 11.4253 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.972 | 156133.5129 | 313877.7001 | 33.25 | 68.6
70172 | 2021-04-05 13:36 | 40.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5784 | μmol/L | 11.4253 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.974 | 156128.5944 | 313863.7039 | 33.25 | 68.6
70181 | 2021-04-05 13:36 | 40.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4065 | μmol/L | 11.4313 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.979 | 156134.2056 | 313857.9433 | 33.25 | 68.6
70190 | 2021-04-05 13:36 | 40.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6014 | μmol/L | 11.4253 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.973 | 156126.4752 | 313844.2841 | 33.25 | 68.6
70199 | 2021-04-05 13:37 | 41.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5554 | μmol/L | 11.4253 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.975 | 156137.3566 | 313849.271 | 33.25 | 68.6
70208 | 2021-04-05 13:37 | 41.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4295 | μmol/L | 11.4313 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.978 | 156119.9273 | 313826.0537 | 33.25 | 68.6
70217 | 2021-04-05 13:37 | 41.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4525 | μmol/L | 11.4313 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.977 | 156120.3038 | 313812.4489 | 33.25 | 68.6
70226 | 2021-04-05 13:38 | 42.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3037 | μmol/L | 11.4374 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.981 | 156147.9745 | 313816.9485 | 33.25 | 68.6
70235 | 2021-04-05 13:38 | 42.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3727 | μmol/L | 11.4374 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.978 | 156126.0416 | 313805.1187 | 33.25 | 68.6
70244 | 2021-04-05 13:38 | 42.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2699 | μmol/L | 11.4435 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.98 | 156129.6555 | 313789.3216 | 33.25 | 68.6
70253 | 2021-04-05 13:39 | 43.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2577 | μmol/L | 11.4374 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156141.4572 | 313803.7107 | 33.25 | 68.6
70262 | 2021-04-05 13:39 | 43.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3037 | μmol/L | 11.4374 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.981 | 156145.2923 | 313787.3303 | 33.25 | 68.6
70271 | 2021-04-05 13:39 | 43.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.178 | μmol/L | 11.4435 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156138.2811 | 313778.3715 | 33.25 | 68.6
70280 | 2021-04-05 13:40 | 44.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.109 | μmol/L | 11.4435 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156135.755 | 313781.9204 | 33.25 | 68.6
70289 | 2021-04-05 13:40 | 44.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1212 | μmol/L | 11.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156131.911 | 313766.6891 | 33.25 | 68.6
70298 | 2021-04-05 13:40 | 44.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0753 | μmol/L | 11.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156134.7782 | 313751.5181 | 33.25 | 68.6
70307 | 2021-04-05 13:41 | 45.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1212 | μmol/L | 11.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156117.7505 | 313742.8879 | 33.25 | 68.6
70316 | 2021-04-05 13:41 | 45.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0983 | μmol/L | 11.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156117.1061 | 313740.0358 | 33.25 | 68.6
70325 | 2021-04-05 13:41 | 45.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0186 | μmol/L | 11.4556 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156110.3949 | 313722.7391 | 33.25 | 68.6
70334 | 2021-04-05 13:42 | 46.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0078 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156106.8516 | 313719.076 | 33.25 | 68.6
70343 | 2021-04-05 13:42 | 46.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0875 | μmol/L | 11.4556 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156086.8947 | 313724.6528 | 33.25 | 68.6
70352 | 2021-04-05 13:42 | 46.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0983 | μmol/L | 11.4496 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156088.6706 | 313711.4773 | 33.25 | 68.6
70361 | 2021-04-05 13:43 | 47.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0875 | μmol/L | 11.4556 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156082.927 | 313692.6492 | 33.25 | 68.6
70370 | 2021-04-05 13:43 | 47.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9618 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156076.1074 | 313690.3125 | 33.25 | 68.6
70379 | 2021-04-05 13:43 | 47.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0307 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156069.6227 | 313680.8695 | 33.25 | 68.6
70388 | 2021-04-05 13:44 | 48.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9848 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156060.6146 | 313665.9349 | 33.25 | 68.6
70397 | 2021-04-05 13:44 | 48.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9511 | μmol/L | 11.4678 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156050.5602 | 313656.826 | 33.25 | 68.6
70406 | 2021-04-05 13:44 | 48.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.997 | μmol/L | 11.4678 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.982 | 156059.7324 | 313661.5841 | 33.25 | 68.6
70415 | 2021-04-05 13:45 | 49.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8363 | μmol/L | 11.4678 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.989 | 156037.1667 | 313654.6674 | 33.25 | 68.6
70424 | 2021-04-05 13:45 | 49.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9052 | μmol/L | 11.4678 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156039.4931 | 313648.4199 | 33.25 | 68.6
70433 | 2021-04-05 13:45 | 49.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9052 | μmol/L | 11.4678 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156028.3355 | 313640.158 | 33.25 | 68.6
70442 | 2021-04-05 13:46 | 50.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9389 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156028.9966 | 313629.6714 | 33.25 | 68.6
70451 | 2021-04-05 13:46 | 50.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9389 | μmol/L | 11.4617 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156029.3171 | 313622.1673 | 33.25 | 68.6
70460 | 2021-04-05 13:46 | 50.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7459 | μmol/L | 11.4799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.988 | 156012.1663 | 313615.8572 | 33.25 | 68.6
70469 | 2021-04-05 13:47 | 51.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8714 | μmol/L | 11.4738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156018.4129 | 313611.921 | 33.25 | 68.6
70478 | 2021-04-05 13:47 | 51.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8255 | μmol/L | 11.4738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156006.8222 | 313599.3477 | 33.25 | 68.6
70487 | 2021-04-05 13:47 | 51.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8255 | μmol/L | 11.4738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 155999.2877 | 313592.0636 | 33.25 | 68.6
70496 | 2021-04-05 13:48 | 52.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8607 | μmol/L | 11.4799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 155988.3859 | 313592.3643 | 33.25 | 68.6
70505 | 2021-04-05 13:48 | 52.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7918 | μmol/L | 11.4799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155984.5187 | 313586.4572 | 33.25 | 68.6
70514 | 2021-04-05 13:48 | 52.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8714 | μmol/L | 11.4738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155979.7103 | 313577.3785 | 33.25 | 68.6
70523 | 2021-04-05 13:49 | 53.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8714 | μmol/L | 11.4738 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155962.5294 | 313560.3824 | 33.25 | 68.6
70532 | 2021-04-05 13:49 | 53.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8377 | μmol/L | 11.4799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 155949.8569 | 313557.6567 | 33.25 | 68.6
70541 | 2021-04-05 13:49 | 53.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7015 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155948.1396 | 313555.2633 | 33.25 | 68.6
70550 | 2021-04-05 13:50 | 54.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8607 | μmol/L | 11.4799 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.983 | 155939.1179 | 313539.244 | 33.25 | 68.6
70559 | 2021-04-05 13:50 | 54.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7352 | μmol/L | 11.486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155932.4176 | 313533.0935 | 33.25 | 68.6
70568 | 2021-04-05 13:50 | 54.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7581 | μmol/L | 11.486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155923.6887 | 313510.6168 | 33.25 | 68.6
70577 | 2021-04-05 13:51 | 55.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7352 | μmol/L | 11.486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155917.6542 | 313522.028 | 33.25 | 68.6
70586 | 2021-04-05 13:51 | 55.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7244 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.984 | 155925.7745 | 313527.7743 | 33.25 | 68.6
70595 | 2021-04-05 13:51 | 55.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7581 | μmol/L | 11.486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155921.0539 | 313508.6008 | 33.25 | 68.6
70604 | 2021-04-05 13:52 | 56.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6785 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155919.1923 | 313503.7767 | 33.25 | 68.6
70613 | 2021-04-05 13:52 | 56.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6327 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.988 | 155913.4014 | 313495.0479 | 33.25 | 68.6
70622 | 2021-04-05 13:52 | 56.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6556 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.987 | 155905.4876 | 313485.4116 | 33.25 | 68.6
70631 | 2021-04-05 13:53 | 57.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5302 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.99 | 155907.7195 | 313471.554 | 33.25 | 68.6
70640 | 2021-04-05 13:53 | 57.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4385 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.994 | 155917.4894 | 313483.2767 | 33.25 | 68.6
70649 | 2021-04-05 13:53 | 57.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5073 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.991 | 155917.7158 | 313466.7328 | 33.25 | 68.6
70658 | 2021-04-05 13:54 | 58.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5868 | μmol/L | 11.4921 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.99 | 155913.3456 | 313458.5306 | 33.25 | 68.6
70667 | 2021-04-05 13:54 | 58.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4844 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.992 | 155925.6062 | 313439.3424 | 33.25 | 68.6
70676 | 2021-04-05 13:54 | 58.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4385 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.994 | 155924.8477 | 313438.6115 | 33.25 | 68.6
70685 | 2021-04-05 13:55 | 59.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4385 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.994 | 155921.4483 | 313426.3735 | 33.25 | 68.6
70694 | 2021-04-05 13:55 | 59.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4156 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.995 | 155915.2138 | 313421.469 | 33.25 | 68.6
70703 | 2021-04-05 13:55 | 59.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3698 | μmol/L | 11.4981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.997 | 155934.512 | 313422.6432 | 33.25 | 68.6
70712 | 2021-04-05 13:56 | 60.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2674 | μmol/L | 11.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.999 | 155934.1066 | 313412.7712 | 33.25 | 68.6
70721 | 2021-04-05 13:56 | 60.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2109 | μmol/L | 11.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.999 | 155923.0642 | 313387.3067 | 33.25 | 68.6
70730 | 2021-04-05 13:56 | 60.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2216 | μmol/L | 11.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.001 | 155929.9643 | 313399.2009 | 33.25 | 68.6
70739 | 2021-04-05 13:57 | 61.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.188 | μmol/L | 11.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24 | 155916.8474 | 313378.3105 | 33.25 | 68.6
70748 | 2021-04-05 13:57 | 61.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.1773 | μmol/L | 11.5163 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.998 | 155898.7543 | 313375.0484 | 33.25 | 68.6
70757 | 2021-04-05 13:57 | 61.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2445 | μmol/L | 11.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24 | 155898.4104 | 313355.5525 | 33.25 | 68.6
70766 | 2021-04-05 13:58 | 62.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2338 | μmol/L | 11.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.998 | 155896.1305 | 313375.9259 | 33.25 | 68.6
70775 | 2021-04-05 13:58 | 62.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.188 | μmol/L | 11.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24 | 155889.1699 | 313350.7193 | 33.25 | 68.6