## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69094 | 2021-04-05 12:56 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.4672 | μmol/L | 11.0136 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.833 | 135244.068 | 277339.178 | 26.25 | 74
69103 | 2021-04-05 12:56 | 0.32719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.3928 | μmol/L | 11.0136 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.836 | 135244.4145 | 277342.0059 | 26.25 | 74
69112 | 2021-04-05 12:56 | 0.66084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2756 | μmol/L | 11.0257 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.836 | 135248.8445 | 277319.5981 | 26.25 | 74
69120 | 2021-04-05 12:57 | 0.99361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.2418 | μmol/L | 11.0318 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.835 | 135246.341 | 277323.3703 | 26.25 | 74
69129 | 2021-04-05 12:57 | 1.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 293.1179 | μmol/L | 11.0318 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.84 | 135251.0475 | 277311.2238 | 26.25 | 74
69138 | 2021-04-05 12:57 | 1.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.9513 | μmol/L | 11.044 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.842 | 135270.0342 | 277292.2281 | 26.25 | 74
69147 | 2021-04-05 12:58 | 1.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.7938 | μmol/L | 11.0501 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.846 | 135280.0531 | 277288.2511 | 26.25 | 74
69156 | 2021-04-05 12:58 | 2.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.6701 | μmol/L | 11.0501 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.851 | 135293.7214 | 277277.8245 | 26.25 | 74
69166 | 2021-04-05 12:58 | 2.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.6949 | μmol/L | 11.0501 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.85 | 135305.9284 | 277273.0236 | 26.25 | 74
69175 | 2021-04-05 12:59 | 2.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.5038 | μmol/L | 11.0622 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.853 | 135302.4238 | 277234.7187 | 26.25 | 74
69184 | 2021-04-05 12:59 | 3.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.396 | μmol/L | 11.0683 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.855 | 135313.476 | 277244.7566 | 26.25 | 74
69193 | 2021-04-05 12:59 | 3.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.2883 | μmol/L | 11.0744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.857 | 135315.0929 | 277230.2728 | 26.25 | 74
69202 | 2021-04-05 13:00 | 3.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.2142 | μmol/L | 11.0744 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.86 | 135323.7028 | 277231.2455 | 26.25 | 74
69210 | 2021-04-05 13:00 | 4.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.1469 | μmol/L | 11.0865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.858 | 135324.2245 | 277213.081 | 26.25 | 74
69220 | 2021-04-05 13:00 | 4.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.1469 | μmol/L | 11.0865 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.858 | 135319.0222 | 277200.6413 | 26.25 | 74
69229 | 2021-04-05 13:01 | 4.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.8981 | μmol/L | 11.1048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.861 | 135319.8971 | 277172.2199 | 26.25 | 74
69238 | 2021-04-05 13:01 | 5.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 292.0056 | μmol/L | 11.0987 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.859 | 135301.3212 | 277160.5581 | 26.25 | 74
69247 | 2021-04-05 13:01 | 5.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.8734 | μmol/L | 11.1048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.862 | 135298.0963 | 277161.0568 | 26.25 | 74
69256 | 2021-04-05 13:02 | 5.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.8981 | μmol/L | 11.1048 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.861 | 135291.1506 | 277134.9796 | 26.25 | 74
69265 | 2021-04-05 13:02 | 6.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7323 | μmol/L | 11.1169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 135299.2687 | 277133.2747 | 26.25 | 74
69274 | 2021-04-05 13:02 | 6.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.7323 | μmol/L | 11.1169 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 135299.5323 | 277127.2289 | 26.25 | 74
69282 | 2021-04-05 13:03 | 6.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.5263 | μmol/L | 11.123 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.869 | 135299.4035 | 277100.1227 | 26.25 | 74
69292 | 2021-04-05 13:03 | 7.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.4928 | μmol/L | 11.1291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.868 | 135307.6754 | 277104.4987 | 26.25 | 74
69300 | 2021-04-05 13:03 | 7.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.4839 | μmol/L | 11.1352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.866 | 135307.3251 | 277081.9883 | 26.25 | 74
69309 | 2021-04-05 13:04 | 7.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.419 | μmol/L | 11.1291 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.871 | 135311.1981 | 277083.4703 | 26.25 | 74
69319 | 2021-04-05 13:04 | 8.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.4593 | μmol/L | 11.1352 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.867 | 135306.2629 | 277076.1303 | 26.25 | 74
69328 | 2021-04-05 13:04 | 8.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.1954 | μmol/L | 11.1473 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 135304.3076 | 277057.4539 | 26.25 | 74
69337 | 2021-04-05 13:05 | 8.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.1374 | μmol/L | 11.1534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 135295.1574 | 277037.8994 | 26.25 | 74
69346 | 2021-04-05 13:05 | 9.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0793 | μmol/L | 11.1595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 135293.9837 | 277030.0704 | 26.25 | 74
69355 | 2021-04-05 13:05 | 9.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0793 | μmol/L | 11.1595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 135287.4695 | 277020.8005 | 26.25 | 74
69363 | 2021-04-05 13:06 | 9.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9722 | μmol/L | 11.1655 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.875 | 135281.7757 | 277007.6633 | 26.25 | 74
69373 | 2021-04-05 13:06 | 10.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 291.0459 | μmol/L | 11.1655 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.872 | 135280.1185 | 277015.7026 | 26.25 | 74
69381 | 2021-04-05 13:06 | 10.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9142 | μmol/L | 11.1716 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.875 | 135272.4759 | 276985.8411 | 26.25 | 74
69390 | 2021-04-05 13:07 | 10.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.9387 | μmol/L | 11.1716 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.874 | 135254.5936 | 276982.5607 | 26.25 | 74
69399 | 2021-04-05 13:07 | 11.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.7736 | μmol/L | 11.1838 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 135267.0022 | 276985.6535 | 26.25 | 74
69408 | 2021-04-05 13:07 | 11.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.7157 | μmol/L | 11.1899 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 135254.5718 | 276951.4181 | 26.25 | 74
69417 | 2021-04-05 13:08 | 11.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6666 | μmol/L | 11.1899 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.878 | 135266.5096 | 276952.8468 | 26.25 | 74
69426 | 2021-04-05 13:08 | 12.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.5017 | μmol/L | 11.202 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.88 | 135274.1436 | 276936.0485 | 26.25 | 74
69435 | 2021-04-05 13:08 | 12.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.6175 | μmol/L | 11.1899 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.88 | 135279.4569 | 276929.9412 | 26.25 | 74
69444 | 2021-04-05 13:09 | 12.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.2967 | μmol/L | 11.2081 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 135282.1638 | 276923.3454 | 26.25 | 74
69454 | 2021-04-05 13:09 | 13.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.3389 | μmol/L | 11.1959 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.889 | 135293.0131 | 276905.4642 | 26.25 | 74
69462 | 2021-04-05 13:09 | 13.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.2722 | μmol/L | 11.2081 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.887 | 135289.212 | 276897.7028 | 26.25 | 74
69471 | 2021-04-05 13:10 | 13.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.2477 | μmol/L | 11.2081 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.888 | 135305.0823 | 276901.6639 | 26.25 | 74
69481 | 2021-04-05 13:10 | 14.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.1409 | μmol/L | 11.2142 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.89 | 135300.8672 | 276895.3346 | 26.25 | 74
69489 | 2021-04-05 13:10 | 14.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.0674 | μmol/L | 11.2142 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.893 | 135311.0135 | 276891.2154 | 26.25 | 74
69498 | 2021-04-05 13:11 | 14.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 290.1409 | μmol/L | 11.2142 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.89 | 135304.0476 | 276876.5502 | 26.25 | 74
69508 | 2021-04-05 13:11 | 15.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.9519 | μmol/L | 11.2263 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.893 | 135316.7895 | 276860.615 | 26.25 | 74
69517 | 2021-04-05 13:11 | 15.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.8942 | μmol/L | 11.2324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.893 | 135310.7961 | 276862.5151 | 26.25 | 74
69525 | 2021-04-05 13:12 | 15.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.8942 | μmol/L | 11.2324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.893 | 135313.7389 | 276847.6322 | 26.25 | 74
69534 | 2021-04-05 13:12 | 16.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.7229 | μmol/L | 11.2324 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.9 | 135326.0658 | 276837.1595 | 26.25 | 74
69543 | 2021-04-05 13:12 | 16.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6163 | μmol/L | 11.2385 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.902 | 135335.3303 | 276823.6776 | 26.25 | 74
69553 | 2021-04-05 13:13 | 16.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.5342 | μmol/L | 11.2446 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 135328.951 | 276818.616 | 26.25 | 74
69562 | 2021-04-05 13:13 | 17.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6408 | μmol/L | 11.2385 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.901 | 135330.7817 | 276805.6221 | 26.25 | 74
69570 | 2021-04-05 13:13 | 17.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.5587 | μmol/L | 11.2446 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.902 | 135330.7069 | 276797.6596 | 26.25 | 74
69580 | 2021-04-05 13:14 | 17.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.4277 | μmol/L | 11.2506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 135329.0077 | 276800.3549 | 26.25 | 74
69589 | 2021-04-05 13:14 | 18.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.5254 | μmol/L | 11.2506 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.901 | 135323.2318 | 276784.1597 | 26.25 | 74
69598 | 2021-04-05 13:14 | 18.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2881 | μmol/L | 11.2628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.906 | 135326.9564 | 276781.9575 | 26.25 | 74
69607 | 2021-04-05 13:15 | 18.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3701 | μmol/L | 11.2567 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 135316.4165 | 276776.3519 | 26.25 | 74
69616 | 2021-04-05 13:15 | 19.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2968 | μmol/L | 11.2567 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.908 | 135316.2725 | 276757.3634 | 26.25 | 74
69625 | 2021-04-05 13:15 | 19.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3369 | μmol/L | 11.2628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.904 | 135315.509 | 276753.0783 | 26.25 | 74
69634 | 2021-04-05 13:16 | 19.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.2881 | μmol/L | 11.2628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.906 | 135312.1848 | 276742.8775 | 26.25 | 74
69642 | 2021-04-05 13:16 | 20.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1573 | μmol/L | 11.2689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 135321.8822 | 276754.7068 | 26.25 | 74
69651 | 2021-04-05 13:16 | 20.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9778 | μmol/L | 11.275 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.914 | 135329.4657 | 276733.2295 | 26.25 | 74
69661 | 2021-04-05 13:17 | 20.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8384 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.915 | 135338.2031 | 276722.3014 | 26.25 | 74
69669 | 2021-04-05 13:17 | 21.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8228 | μmol/L | 11.281 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.918 | 135365.9625 | 276715.7554 | 26.25 | 74
69678 | 2021-04-05 13:17 | 21.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6922 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.921 | 135371.181 | 276721.7563 | 26.25 | 74
69688 | 2021-04-05 13:18 | 21.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7166 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 135386.2942 | 276703.1283 | 26.25 | 74
69697 | 2021-04-05 13:18 | 22.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5705 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.926 | 135403.6758 | 276681.4567 | 26.25 | 74
69706 | 2021-04-05 13:18 | 22.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6922 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.921 | 135408.7888 | 276685.1529 | 26.25 | 74
69715 | 2021-04-05 13:19 | 22.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5461 | μmol/L | 11.2871 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.927 | 135420.2414 | 276677.4317 | 26.25 | 74
69724 | 2021-04-05 13:19 | 23.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.3914 | μmol/L | 11.2932 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135421.4588 | 276651.934 | 26.25 | 74
69732 | 2021-04-05 13:19 | 23.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2523 | μmol/L | 11.3054 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135433.0124 | 276649.3877 | 26.25 | 74
69741 | 2021-04-05 13:20 | 23.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2124 | μmol/L | 11.2993 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.936 | 135429.8727 | 276627.2541 | 26.25 | 74
69751 | 2021-04-05 13:20 | 24.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.228 | μmol/L | 11.3054 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.933 | 135439.2031 | 276639.9595 | 26.25 | 74
69760 | 2021-04-05 13:20 | 24.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0735 | μmol/L | 11.3114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 135434.2447 | 276619.5353 | 26.25 | 74
69769 | 2021-04-05 13:21 | 24.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.1308 | μmol/L | 11.3054 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 135427.5381 | 276605.6493 | 26.25 | 74
69778 | 2021-04-05 13:21 | 25.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0978 | μmol/L | 11.3114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.936 | 135436.3972 | 276597.7013 | 26.25 | 74
69787 | 2021-04-05 13:21 | 25.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0249 | μmol/L | 11.3114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135429.6983 | 276606.2778 | 26.25 | 74
69796 | 2021-04-05 13:22 | 25.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0249 | μmol/L | 11.3114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135426.5446 | 276584.1758 | 26.25 | 74
69805 | 2021-04-05 13:22 | 26.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0492 | μmol/L | 11.3114 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135425.1532 | 276594.2378 | 26.25 | 74
69813 | 2021-04-05 13:22 | 26.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9919 | μmol/L | 11.3175 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135417.45 | 276581.4719 | 26.25 | 74
69822 | 2021-04-05 13:23 | 26.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9346 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135414.4067 | 276574.2705 | 26.25 | 74
69831 | 2021-04-05 13:23 | 27.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8861 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135408.4508 | 276558.8846 | 26.25 | 74
69840 | 2021-04-05 13:23 | 27.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9589 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 135411.9761 | 276559.5654 | 26.25 | 74
69849 | 2021-04-05 13:24 | 27.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8861 | μmol/L | 11.3236 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135404.312 | 276545.2768 | 26.25 | 74
69858 | 2021-04-05 13:24 | 28.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8774 | μmol/L | 11.3297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135401.3539 | 276545.0555 | 26.25 | 74
69867 | 2021-04-05 13:24 | 28.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8531 | μmol/L | 11.3297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135393.5116 | 276530.2283 | 26.25 | 74
69876 | 2021-04-05 13:25 | 28.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8288 | μmol/L | 11.3297 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135399.2187 | 276526.1284 | 26.25 | 74
69886 | 2021-04-05 13:25 | 29.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8444 | μmol/L | 11.3357 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 135379.3848 | 276518.9383 | 26.25 | 74
69894 | 2021-04-05 13:25 | 29.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7473 | μmol/L | 11.3357 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.941 | 135366.67 | 276502.7499 | 26.25 | 74
69904 | 2021-04-05 13:26 | 29.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7386 | μmol/L | 11.3418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135368.1348 | 276504.0087 | 26.25 | 74
69913 | 2021-04-05 13:26 | 30.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8201 | μmol/L | 11.3357 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135357.3391 | 276500.7608 | 26.25 | 74
69921 | 2021-04-05 13:26 | 30.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8028 | μmol/L | 11.3479 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135333.0956 | 276475.111 | 26.25 | 74
69930 | 2021-04-05 13:27 | 30.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8028 | μmol/L | 11.3479 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135324.1184 | 276475.7985 | 26.25 | 74
69939 | 2021-04-05 13:27 | 31.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.86 | μmol/L | 11.3418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135318.164 | 276475.3708 | 26.25 | 74
69948 | 2021-04-05 13:27 | 31.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7057 | μmol/L | 11.3479 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135320.4512 | 276459.9716 | 26.25 | 74
69957 | 2021-04-05 13:28 | 31.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5428 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135326.6639 | 276462.9959 | 26.25 | 74
69966 | 2021-04-05 13:28 | 32.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.503 | μmol/L | 11.354 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135337.361 | 276444.1643 | 26.25 | 74
69975 | 2021-04-05 13:28 | 32.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4458 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135349.5696 | 276443.0984 | 26.25 | 74
69984 | 2021-04-05 13:29 | 32.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3489 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.948 | 135356.3126 | 276436.6567 | 26.25 | 74
69993 | 2021-04-05 13:29 | 33.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3973 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.946 | 135363.9539 | 276429.1287 | 26.25 | 74
70002 | 2021-04-05 13:29 | 33.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2433 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.95 | 135370.8272 | 276421.6523 | 26.25 | 74
70011 | 2021-04-05 13:30 | 33.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3247 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135372.5893 | 276427.4417 | 26.25 | 74
70020 | 2021-04-05 13:30 | 34.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1949 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.952 | 135373.2009 | 276425.6226 | 26.25 | 74
70029 | 2021-04-05 13:30 | 34.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2191 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.951 | 135365.9632 | 276402.1582 | 26.25 | 74
70038 | 2021-04-05 13:31 | 34.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2675 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135360.3754 | 276384.4312 | 26.25 | 74
70047 | 2021-04-05 13:31 | 35.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3247 | μmol/L | 11.3601 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135357.9217 | 276388.3072 | 26.25 | 74
70057 | 2021-04-05 13:31 | 35.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2191 | μmol/L | 11.3661 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.951 | 135359.86 | 276366.2617 | 26.25 | 74
70065 | 2021-04-05 13:32 | 35.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0324 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.954 | 135362.8674 | 276374.2132 | 26.25 | 74
70075 | 2021-04-05 13:32 | 36.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1378 | μmol/L | 11.3722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.952 | 135368.5664 | 276369.5981 | 26.25 | 74
70084 | 2021-04-05 13:32 | 36.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.041 | μmol/L | 11.3722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.956 | 135356.9664 | 276358.9506 | 26.25 | 74
70093 | 2021-04-05 13:33 | 36.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0894 | μmol/L | 11.3722 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.954 | 135354.5227 | 276354.8296 | 26.25 | 74
70102 | 2021-04-05 13:33 | 37.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0566 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.953 | 135357.2652 | 276347.8537 | 26.25 | 74
70110 | 2021-04-05 13:33 | 37.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0082 | μmol/L | 11.3783 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.955 | 135352.661 | 276341.9492 | 26.25 | 74
70119 | 2021-04-05 13:34 | 37.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9027 | μmol/L | 11.3844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.957 | 135352.2252 | 276337.6605 | 26.25 | 74
70128 | 2021-04-05 13:34 | 38.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9027 | μmol/L | 11.3844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.957 | 135357.259 | 276321.4973 | 26.25 | 74
70138 | 2021-04-05 13:34 | 38.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8302 | μmol/L | 11.3844 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.96 | 135362.1154 | 276321.4919 | 26.25 | 74
70146 | 2021-04-05 13:35 | 38.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7249 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.962 | 135368.1552 | 276313.3339 | 26.25 | 74
70156 | 2021-04-05 13:35 | 39.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.6196 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.964 | 135377.6845 | 276282.5774 | 26.25 | 74
70164 | 2021-04-05 13:35 | 39.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5799 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.968 | 135391.5253 | 276284.0625 | 26.25 | 74
70173 | 2021-04-05 13:36 | 39.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5316 | μmol/L | 11.3905 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.97 | 135406.3923 | 276293.7899 | 26.25 | 74
70183 | 2021-04-05 13:36 | 40.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.4988 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.969 | 135421.3619 | 276285.6157 | 26.25 | 74
70192 | 2021-04-05 13:36 | 40.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.4022 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.973 | 135434.1021 | 276282.5952 | 26.25 | 74
70200 | 2021-04-05 13:37 | 40.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3781 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.974 | 135439.5358 | 276265.2354 | 26.25 | 74
70209 | 2021-04-05 13:37 | 41.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2574 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.979 | 135440.8431 | 276262.0146 | 26.25 | 74
70218 | 2021-04-05 13:37 | 41.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1523 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.981 | 135465.0184 | 276269.2063 | 26.25 | 74
70227 | 2021-04-05 13:38 | 41.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.161 | μmol/L | 11.3965 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.983 | 135466.7937 | 276254.8118 | 26.25 | 74
70237 | 2021-04-05 13:38 | 42.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1041 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.983 | 135482.8113 | 276248.1828 | 26.25 | 74
70245 | 2021-04-05 13:38 | 42.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9595 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.989 | 135498.9173 | 276238.9824 | 26.25 | 74
70254 | 2021-04-05 13:39 | 42.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9509 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.987 | 135512.5501 | 276234.3662 | 26.25 | 74
70263 | 2021-04-05 13:39 | 43.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.815 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.995 | 135535.724 | 276235.3408 | 26.25 | 74
70273 | 2021-04-05 13:39 | 43.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7582 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.995 | 135541.8779 | 276224.8915 | 26.25 | 74
70282 | 2021-04-05 13:40 | 43.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6379 | μmol/L | 11.4087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23 | 135556.8018 | 276222.3062 | 26.25 | 74
70290 | 2021-04-05 13:40 | 44.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5812 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23 | 135582.409 | 276216.4941 | 26.25 | 74
70299 | 2021-04-05 13:40 | 44.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5744 | μmol/L | 11.4026 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.005 | 135582.7974 | 276212.9957 | 26.25 | 74
70308 | 2021-04-05 13:41 | 44.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5331 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.002 | 135591.7655 | 276211.2094 | 26.25 | 74
70318 | 2021-04-05 13:41 | 45.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5331 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.002 | 135590.83 | 276201.0175 | 26.25 | 74
70326 | 2021-04-05 13:41 | 45.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3407 | μmol/L | 11.4148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.01 | 135596.6578 | 276186.3224 | 26.25 | 74
70336 | 2021-04-05 13:42 | 45.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2841 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.01 | 135603.551 | 276179.6923 | 26.25 | 74
70345 | 2021-04-05 13:42 | 46.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3562 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.007 | 135603.7456 | 276176.2247 | 26.25 | 74
70353 | 2021-04-05 13:42 | 46.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2601 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135617.6373 | 276158.6332 | 26.25 | 74
70363 | 2021-04-05 13:43 | 46.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1314 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.014 | 135629.7263 | 276160.7013 | 26.25 | 74
70372 | 2021-04-05 13:43 | 47.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1314 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.014 | 135628.1005 | 276158.6186 | 26.25 | 74
70381 | 2021-04-05 13:43 | 47.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.164 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.015 | 135626.4753 | 276148.8894 | 26.25 | 74
70390 | 2021-04-05 13:44 | 47.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.164 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.015 | 135624.7926 | 276143.8019 | 26.25 | 74
70398 | 2021-04-05 13:44 | 48.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.092 | μmol/L | 11.4208 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.018 | 135617.0157 | 276124.5975 | 26.25 | 74
70407 | 2021-04-05 13:44 | 48.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0027 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.017 | 135599.1442 | 276133.6377 | 26.25 | 74
70417 | 2021-04-05 13:45 | 48.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1554 | μmol/L | 11.4269 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.013 | 135592.4002 | 276123.6248 | 26.25 | 74
70426 | 2021-04-05 13:45 | 49.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1468 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135583.3356 | 276114.1944 | 26.25 | 74
70435 | 2021-04-05 13:45 | 49.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1468 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135582.3268 | 276109.3157 | 26.25 | 74
70444 | 2021-04-05 13:46 | 49.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0422 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.013 | 135573.3111 | 276100.9133 | 26.25 | 74
70453 | 2021-04-05 13:46 | 50.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0422 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.013 | 135572.445 | 276096.7906 | 26.25 | 74
70462 | 2021-04-05 13:46 | 50.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1708 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.01 | 135563.6288 | 276089.0332 | 26.25 | 74
70471 | 2021-04-05 13:47 | 50.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0267 | μmol/L | 11.433 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.016 | 135561.7339 | 276065.9329 | 26.25 | 74
70479 | 2021-04-05 13:47 | 51.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0902 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135560.0036 | 276085.1096 | 26.25 | 74
70488 | 2021-04-05 13:47 | 51.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9702 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.016 | 135544.271 | 276072.2999 | 26.25 | 74
70498 | 2021-04-05 13:48 | 51.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0422 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.013 | 135537.5697 | 276066.7784 | 26.25 | 74
70507 | 2021-04-05 13:48 | 52.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0336 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135512.6507 | 276055.121 | 26.25 | 74
70516 | 2021-04-05 13:48 | 52.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0096 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.012 | 135515.4687 | 276051.6142 | 26.25 | 74
70524 | 2021-04-05 13:49 | 52.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0336 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 135511.163 | 276042.192 | 26.25 | 74
70533 | 2021-04-05 13:49 | 53.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0816 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.009 | 135508.6865 | 276043.7342 | 26.25 | 74
70543 | 2021-04-05 13:49 | 53.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0182 | μmol/L | 11.4391 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.014 | 135512.5304 | 276028.846 | 26.25 | 74
70552 | 2021-04-05 13:50 | 53.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0096 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.012 | 135525.1048 | 276023.7032 | 26.25 | 74
70560 | 2021-04-05 13:50 | 54.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.833 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.017 | 135527.4435 | 276017.261 | 26.25 | 74
70569 | 2021-04-05 13:50 | 54.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.833 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.017 | 135542.584 | 276017.2645 | 26.25 | 74
70578 | 2021-04-05 13:51 | 54.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7937 | μmol/L | 11.4452 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.021 | 135540.4057 | 275999.4422 | 26.25 | 74
70587 | 2021-04-05 13:51 | 55.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6652 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.024 | 135557.7872 | 276000.7927 | 26.25 | 74
70597 | 2021-04-05 13:51 | 55.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5847 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 135560.3823 | 275977.9164 | 26.25 | 74
70605 | 2021-04-05 13:52 | 55.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5933 | μmol/L | 11.4512 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.027 | 135559.6196 | 275989.7688 | 26.25 | 74
70615 | 2021-04-05 13:52 | 56.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5847 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 135557.9544 | 275992.2667 | 26.25 | 74
70624 | 2021-04-05 13:52 | 56.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5368 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.027 | 135553.1017 | 275972.4497 | 26.25 | 74
70632 | 2021-04-05 13:53 | 56.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6241 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.021 | 135542.9561 | 275968.2177 | 26.25 | 74
70642 | 2021-04-05 13:53 | 57.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5847 | μmol/L | 11.4573 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 135547.1331 | 275960.0861 | 26.25 | 74
70651 | 2021-04-05 13:53 | 57.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5043 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.026 | 135532.8787 | 275949.7612 | 26.25 | 74
70660 | 2021-04-05 13:54 | 57.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4958 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.024 | 135534.2842 | 275953.2042 | 26.25 | 74
70668 | 2021-04-05 13:54 | 58.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5283 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 135530.0009 | 275938.1202 | 26.25 | 74
70677 | 2021-04-05 13:54 | 58.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5283 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 135526.1449 | 275930.9493 | 26.25 | 74
70686 | 2021-04-05 13:55 | 58.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4804 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.027 | 135526.2607 | 275938.4605 | 26.25 | 74
70695 | 2021-04-05 13:55 | 59.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4325 | μmol/L | 11.4634 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.029 | 135527.1549 | 275928.6455 | 26.25 | 74
70704 | 2021-04-05 13:55 | 59.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.028 | 135520.9076 | 275924.2478 | 26.25 | 74
70714 | 2021-04-05 13:56 | 59.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.376 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.029 | 135516.3371 | 275911.178 | 26.25 | 74
70722 | 2021-04-05 13:56 | 60.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3281 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.031 | 135515.714 | 275912.2989 | 26.25 | 74
70732 | 2021-04-05 13:56 | 60.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3435 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.028 | 135512.775 | 275885.9033 | 26.25 | 74
70741 | 2021-04-05 13:57 | 60.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3196 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.029 | 135508.9032 | 275897.6064 | 26.25 | 74
70750 | 2021-04-05 13:57 | 61.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3281 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.031 | 135513.9539 | 275884.1324 | 26.25 | 74
70758 | 2021-04-05 13:57 | 61.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3281 | μmol/L | 11.4695 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.031 | 135517.1948 | 275878.8972 | 26.25 | 74
70768 | 2021-04-05 13:58 | 61.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2393 | μmol/L | 11.4816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.03 | 135519.2929 | 275881.7554 | 26.25 | 74
70776 | 2021-04-05 13:58 | 62.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1521 | μmol/L | 11.4756 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.036 | 135518.9479 | 275871.6032 | 26.25 | 74