## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
69095 | 2021-04-05 12:56 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.9678 | μmol/L | 11.0131 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.773 | 127506.9862 | 276105.0902 | 32.55 | 27.7
69104 | 2021-04-05 12:56 | 0.33707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8847 | μmol/L | 11.0192 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.774 | 127485.4214 | 276085.8208 | 32.55 | 27.7
69113 | 2021-04-05 12:56 | 0.66985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.9004 | μmol/L | 11.0253 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 127464.6018 | 276087.6047 | 32.55 | 27.7
69122 | 2021-04-05 12:57 | 1.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.759 | μmol/L | 11.0375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.772 | 127446.305 | 276063.3191 | 32.55 | 27.7
69131 | 2021-04-05 12:57 | 1.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7343 | μmol/L | 11.0375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.773 | 127437.2359 | 276025.7275 | 32.55 | 27.7
69140 | 2021-04-05 12:57 | 1.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8331 | μmol/L | 11.0375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.769 | 127422.8746 | 276008.9248 | 32.55 | 27.7
69149 | 2021-04-05 12:58 | 2.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6671 | μmol/L | 11.0497 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 127411.4078 | 275989.6521 | 32.55 | 27.7
69158 | 2021-04-05 12:58 | 2.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6088 | μmol/L | 11.0558 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.771 | 127396.7991 | 275983.8746 | 32.55 | 27.7
69167 | 2021-04-05 12:58 | 2.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5999 | μmol/L | 11.0619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.769 | 127369.598 | 275958.6284 | 32.55 | 27.7
69176 | 2021-04-05 12:59 | 3.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.748 | μmol/L | 11.0619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.763 | 127336.8296 | 275918.9561 | 32.55 | 27.7
69185 | 2021-04-05 12:59 | 3.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.748 | μmol/L | 11.0619 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.763 | 127303.5262 | 275918.5843 | 32.55 | 27.7
69194 | 2021-04-05 12:59 | 3.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7796 | μmol/L | 11.0741 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.757 | 127276.453 | 275907.2236 | 32.55 | 27.7
69203 | 2021-04-05 13:00 | 4.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8784 | μmol/L | 11.0741 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.753 | 127248.3461 | 275897.919 | 32.55 | 27.7
69212 | 2021-04-05 13:00 | 4.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6877 | μmol/L | 11.0863 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.756 | 127222.5917 | 275889.65 | 32.55 | 27.7
69221 | 2021-04-05 13:00 | 4.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7865 | μmol/L | 11.0863 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.752 | 127199.2385 | 275873.094 | 32.55 | 27.7
69230 | 2021-04-05 13:01 | 5.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7846 | μmol/L | 11.1046 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.745 | 127180.7731 | 275863.1169 | 32.55 | 27.7
69239 | 2021-04-05 13:01 | 5.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8182 | μmol/L | 11.0985 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.746 | 127151.9365 | 275844.8307 | 32.55 | 27.7
69248 | 2021-04-05 13:01 | 5.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7017 | μmol/L | 11.1107 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.746 | 127134.7525 | 275843.4453 | 32.55 | 27.7
69257 | 2021-04-05 13:02 | 6.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8005 | μmol/L | 11.1107 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.742 | 127112.7319 | 275821.6561 | 32.55 | 27.7
69266 | 2021-04-05 13:02 | 6.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7828 | μmol/L | 11.1229 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.738 | 127094.1834 | 275806.3635 | 32.55 | 27.7
69275 | 2021-04-05 13:02 | 6.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8163 | μmol/L | 11.1168 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.739 | 127068.6665 | 275801.4966 | 32.55 | 27.7
69284 | 2021-04-05 13:03 | 7.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7828 | μmol/L | 11.1229 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.738 | 127055.8107 | 275796.5342 | 32.55 | 27.7
69293 | 2021-04-05 13:03 | 7.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7651 | μmol/L | 11.1351 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 127040.1928 | 275772.8686 | 32.55 | 27.7
69302 | 2021-04-05 13:03 | 7.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7316 | μmol/L | 11.1412 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 127024.5638 | 275781.8581 | 32.55 | 27.7
69311 | 2021-04-05 13:04 | 8.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.781 | μmol/L | 11.1412 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 127006.7195 | 275762.1394 | 32.55 | 27.7
69320 | 2021-04-05 13:04 | 8.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5905 | μmol/L | 11.1534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126998.4247 | 275750.5769 | 32.55 | 27.7
69329 | 2021-04-05 13:04 | 8.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6152 | μmol/L | 11.1534 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126975.0664 | 275740.072 | 32.55 | 27.7
69338 | 2021-04-05 13:05 | 9.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.557 | μmol/L | 11.1595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126962.4355 | 275726.5236 | 32.55 | 27.7
69347 | 2021-04-05 13:05 | 9.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6311 | μmol/L | 11.1595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126962.5163 | 275728.4933 | 32.55 | 27.7
69356 | 2021-04-05 13:05 | 9.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4989 | μmol/L | 11.1656 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126945.6967 | 275723.7168 | 32.55 | 27.7
69365 | 2021-04-05 13:06 | 10.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5148 | μmol/L | 11.1717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126935.4047 | 275710.4496 | 32.55 | 27.7
69374 | 2021-04-05 13:06 | 10.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5148 | μmol/L | 11.1717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126928.1804 | 275705.6479 | 32.55 | 27.7
69383 | 2021-04-05 13:06 | 10.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4654 | μmol/L | 11.1717 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126918.5304 | 275706.6085 | 32.55 | 27.7
69392 | 2021-04-05 13:07 | 11.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4073 | μmol/L | 11.1778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126915.9965 | 275695.4101 | 32.55 | 27.7
69401 | 2021-04-05 13:07 | 11.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.506 | μmol/L | 11.1778 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126907.3295 | 275684.5759 | 32.55 | 27.7
69410 | 2021-04-05 13:07 | 11.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4232 | μmol/L | 11.1839 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126898.1656 | 275688.4784 | 32.55 | 27.7
69419 | 2021-04-05 13:08 | 12.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3404 | μmol/L | 11.19 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126885.8862 | 275671.4862 | 32.55 | 27.7
69428 | 2021-04-05 13:08 | 12.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3897 | μmol/L | 11.19 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126879.454 | 275663.038 | 32.55 | 27.7
69437 | 2021-04-05 13:08 | 12.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.307 | μmol/L | 11.1961 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126864.9768 | 275645.3808 | 32.55 | 27.7
69446 | 2021-04-05 13:09 | 13.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2242 | μmol/L | 11.2022 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126866.6134 | 275637.921 | 32.55 | 27.7
69455 | 2021-04-05 13:09 | 13.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1908 | μmol/L | 11.2083 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126860.1406 | 275629.6353 | 32.55 | 27.7
69464 | 2021-04-05 13:09 | 13.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1661 | μmol/L | 11.2083 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126851.3577 | 275626.4639 | 32.55 | 27.7
69473 | 2021-04-05 13:10 | 14.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1415 | μmol/L | 11.2083 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126832.6756 | 275618.9894 | 32.55 | 27.7
69482 | 2021-04-05 13:10 | 14.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0994 | μmol/L | 11.2205 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126825.1885 | 275612.363 | 32.55 | 27.7
69491 | 2021-04-05 13:10 | 14.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.124 | μmol/L | 11.2205 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126817.0984 | 275593.9183 | 32.55 | 27.7
69500 | 2021-04-05 13:11 | 15.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.066 | μmol/L | 11.2267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126801.1803 | 275599.4942 | 32.55 | 27.7
69509 | 2021-04-05 13:11 | 15.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.066 | μmol/L | 11.2267 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126791.9553 | 275588.2581 | 32.55 | 27.7
69518 | 2021-04-05 13:11 | 15.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9834 | μmol/L | 11.2328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126780.1641 | 275588.638 | 32.55 | 27.7
69527 | 2021-04-05 13:12 | 16.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0327 | μmol/L | 11.2328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126765.3521 | 275584.6132 | 32.55 | 27.7
69536 | 2021-04-05 13:12 | 16.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0486 | μmol/L | 11.2389 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126755.7308 | 275576.1239 | 32.55 | 27.7
69545 | 2021-04-05 13:12 | 16.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0486 | μmol/L | 11.2389 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126737.9371 | 275564.1684 | 32.55 | 27.7
69554 | 2021-04-05 13:13 | 17.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0153 | μmol/L | 11.245 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126728.4443 | 275552.7987 | 32.55 | 27.7
69563 | 2021-04-05 13:13 | 17.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9979 | μmol/L | 11.2572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126710.1947 | 275556.5789 | 32.55 | 27.7
69572 | 2021-04-05 13:13 | 17.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0559 | μmol/L | 11.2511 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126694.7614 | 275554.8167 | 32.55 | 27.7
69581 | 2021-04-05 13:14 | 18.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9733 | μmol/L | 11.2572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126678.5221 | 275538.7169 | 32.55 | 27.7
69590 | 2021-04-05 13:14 | 18.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9979 | μmol/L | 11.2572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126674.3269 | 275535.4909 | 32.55 | 27.7
69599 | 2021-04-05 13:14 | 18.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0226 | μmol/L | 11.2572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126659.9317 | 275531.9173 | 32.55 | 27.7
69608 | 2021-04-05 13:15 | 19.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0473 | μmol/L | 11.2572 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126641.1868 | 275521.6781 | 32.55 | 27.7
69617 | 2021-04-05 13:15 | 19.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0386 | μmol/L | 11.2633 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126633.8736 | 275516.0087 | 32.55 | 27.7
69626 | 2021-04-05 13:15 | 19.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0879 | μmol/L | 11.2633 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126632.2818 | 275518.8568 | 32.55 | 27.7
69635 | 2021-04-05 13:16 | 20.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9806 | μmol/L | 11.2694 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126626.4327 | 275497.6908 | 32.55 | 27.7
69644 | 2021-04-05 13:16 | 20.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.972 | μmol/L | 11.2755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126622.8857 | 275491.2296 | 32.55 | 27.7
69653 | 2021-04-05 13:16 | 20.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.972 | μmol/L | 11.2755 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126611.8371 | 275476.7111 | 32.55 | 27.7
69662 | 2021-04-05 13:17 | 21.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8315 | μmol/L | 11.2877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.713 | 126606.6029 | 275481.7269 | 32.55 | 27.7
69671 | 2021-04-05 13:17 | 21.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8155 | μmol/L | 11.2816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126597.1424 | 275466.6432 | 32.55 | 27.7
69680 | 2021-04-05 13:17 | 21.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.914 | μmol/L | 11.2816 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126599.7869 | 275460.5738 | 32.55 | 27.7
69689 | 2021-04-05 13:18 | 22.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8068 | μmol/L | 11.2877 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126590.859 | 275456.9131 | 32.55 | 27.7
69698 | 2021-04-05 13:18 | 22.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.675 | μmol/L | 11.2938 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126582.4236 | 275464.8654 | 32.55 | 27.7
69707 | 2021-04-05 13:18 | 22.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7896 | μmol/L | 11.2999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 126578.1925 | 275454.101 | 32.55 | 27.7
69716 | 2021-04-05 13:19 | 23.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.691 | μmol/L | 11.2999 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126573.7263 | 275439.0234 | 32.55 | 27.7
69725 | 2021-04-05 13:19 | 23.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5839 | μmol/L | 11.306 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126585.8348 | 275424.6701 | 32.55 | 27.7
69734 | 2021-04-05 13:19 | 23.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5101 | μmol/L | 11.306 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126578.5924 | 275422.7639 | 32.55 | 27.7
69743 | 2021-04-05 13:20 | 24.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5347 | μmol/L | 11.306 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126578.6621 | 275414.0368 | 32.55 | 27.7
69752 | 2021-04-05 13:20 | 24.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5261 | μmol/L | 11.3121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126575.7577 | 275419.2605 | 32.55 | 27.7
69761 | 2021-04-05 13:20 | 24.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4276 | μmol/L | 11.3121 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126581.1472 | 275413.794 | 32.55 | 27.7
69770 | 2021-04-05 13:21 | 25.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3206 | μmol/L | 11.3182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126575.733 | 275404.2683 | 32.55 | 27.7
69779 | 2021-04-05 13:21 | 25.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3452 | μmol/L | 11.3182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126573.7567 | 275405.8389 | 32.55 | 27.7
69788 | 2021-04-05 13:21 | 25.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.312 | μmol/L | 11.3243 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126566.7542 | 275398.5062 | 32.55 | 27.7
69797 | 2021-04-05 13:22 | 26.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3206 | μmol/L | 11.3182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126570.7616 | 275387.1127 | 32.55 | 27.7
69806 | 2021-04-05 13:22 | 26.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3698 | μmol/L | 11.3182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126555.9455 | 275377.8892 | 32.55 | 27.7
69815 | 2021-04-05 13:22 | 26.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3452 | μmol/L | 11.3182 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126556.289 | 275377.666 | 32.55 | 27.7
69824 | 2021-04-05 13:23 | 27.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2543 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126552.2298 | 275377.1655 | 32.55 | 27.7
69833 | 2021-04-05 13:23 | 27.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2874 | μmol/L | 11.3243 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126551.2557 | 275367.1151 | 32.55 | 27.7
69842 | 2021-04-05 13:23 | 27.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2297 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126544.1626 | 275360.4321 | 32.55 | 27.7
69851 | 2021-04-05 13:24 | 28.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2051 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126534.4321 | 275335.0183 | 32.55 | 27.7
69860 | 2021-04-05 13:24 | 28.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1965 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126534.3208 | 275330.4679 | 32.55 | 27.7
69869 | 2021-04-05 13:24 | 28.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3035 | μmol/L | 11.3304 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126520.1718 | 275331.2716 | 32.55 | 27.7
69878 | 2021-04-05 13:25 | 29.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2211 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126506.3707 | 275326.2753 | 32.55 | 27.7
69887 | 2021-04-05 13:25 | 29.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2211 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126499.7617 | 275335.2004 | 32.55 | 27.7
69896 | 2021-04-05 13:25 | 29.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1473 | μmol/L | 11.3365 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126484.7145 | 275323.9497 | 32.55 | 27.7
69905 | 2021-04-05 13:26 | 30.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1794 | μmol/L | 11.3487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126480.188 | 275329.8865 | 32.55 | 27.7
69914 | 2021-04-05 13:26 | 30.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1302 | μmol/L | 11.3487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126470.9213 | 275312.3716 | 32.55 | 27.7
69923 | 2021-04-05 13:26 | 30.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1794 | μmol/L | 11.3487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126466.6888 | 275312.1484 | 32.55 | 27.7
69932 | 2021-04-05 13:27 | 31.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2371 | μmol/L | 11.3426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126464.7748 | 275306.0835 | 32.55 | 27.7
69941 | 2021-04-05 13:27 | 31.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1548 | μmol/L | 11.3487 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126467.2533 | 275321.9448 | 32.55 | 27.7
69950 | 2021-04-05 13:27 | 31.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.064 | μmol/L | 11.3609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126466.0387 | 275300.7934 | 32.55 | 27.7
69959 | 2021-04-05 13:28 | 32.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0148 | μmol/L | 11.3609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126462.1036 | 275304.4074 | 32.55 | 27.7
69968 | 2021-04-05 13:28 | 32.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9571 | μmol/L | 11.367 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126453.7063 | 275284.1359 | 32.55 | 27.7
69977 | 2021-04-05 13:28 | 32.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9657 | μmol/L | 11.3609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126443.9389 | 275266.5947 | 32.55 | 27.7
69986 | 2021-04-05 13:29 | 33.0029 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.8834 | μmol/L | 11.367 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126444.4023 | 275276.875 | 32.55 | 27.7
69995 | 2021-04-05 13:29 | 33.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9165 | μmol/L | 11.3609 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126441.0886 | 275254.53 | 32.55 | 27.7
70004 | 2021-04-05 13:29 | 33.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9326 | μmol/L | 11.367 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126442.6864 | 275258.0913 | 32.55 | 27.7
70013 | 2021-04-05 13:30 | 34.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7767 | μmol/L | 11.3731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126441.9054 | 275259.719 | 32.55 | 27.7
70022 | 2021-04-05 13:30 | 34.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7767 | μmol/L | 11.3731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126438.3267 | 275239.8886 | 32.55 | 27.7
70031 | 2021-04-05 13:30 | 34.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7521 | μmol/L | 11.3731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126433.601 | 275239.4546 | 32.55 | 27.7
70040 | 2021-04-05 13:31 | 35.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.8343 | μmol/L | 11.367 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126434.1528 | 275236.3792 | 32.55 | 27.7
70049 | 2021-04-05 13:31 | 35.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7521 | μmol/L | 11.3731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126438.5633 | 275241.7026 | 32.55 | 27.7
70058 | 2021-04-05 13:31 | 35.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7521 | μmol/L | 11.3731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126418.015 | 275219.4926 | 32.55 | 27.7
70067 | 2021-04-05 13:32 | 36.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7436 | μmol/L | 11.3792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126423.9393 | 275216.2112 | 32.55 | 27.7
70076 | 2021-04-05 13:32 | 36.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6454 | μmol/L | 11.3792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126425.8771 | 275223.6103 | 32.55 | 27.7
70085 | 2021-04-05 13:32 | 36.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6369 | μmol/L | 11.3853 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126418.9751 | 275219.1313 | 32.55 | 27.7
70094 | 2021-04-05 13:33 | 37.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7191 | μmol/L | 11.3792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126419.6708 | 275223.1076 | 32.55 | 27.7
70103 | 2021-04-05 13:33 | 37.3363 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.67 | μmol/L | 11.3792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126419.9759 | 275211.3452 | 32.55 | 27.7
70112 | 2021-04-05 13:33 | 37.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6039 | μmol/L | 11.3914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126419.2393 | 275204.344 | 32.55 | 27.7
70121 | 2021-04-05 13:34 | 38.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5057 | μmol/L | 11.3914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126408.8592 | 275190.948 | 32.55 | 27.7
70130 | 2021-04-05 13:34 | 38.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4322 | μmol/L | 11.3914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126414.3157 | 275191.809 | 32.55 | 27.7
70139 | 2021-04-05 13:34 | 38.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4237 | μmol/L | 11.3975 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126404.6423 | 275194.5275 | 32.55 | 27.7
70148 | 2021-04-05 13:35 | 39.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3992 | μmol/L | 11.3975 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126407.7168 | 275181.7964 | 32.55 | 27.7
70157 | 2021-04-05 13:35 | 39.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3992 | μmol/L | 11.3975 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126402.5978 | 275175.1156 | 32.55 | 27.7
70166 | 2021-04-05 13:35 | 39.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4322 | μmol/L | 11.3914 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126392.4905 | 275171.7952 | 32.55 | 27.7
70175 | 2021-04-05 13:36 | 40.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3746 | μmol/L | 11.3975 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126398.2745 | 275170.9899 | 32.55 | 27.7
70184 | 2021-04-05 13:36 | 40.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3661 | μmol/L | 11.4036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126387.0926 | 275152.8003 | 32.55 | 27.7
70193 | 2021-04-05 13:36 | 40.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2191 | μmol/L | 11.4036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126383.168 | 275155.1599 | 32.55 | 27.7
70202 | 2021-04-05 13:37 | 41.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3661 | μmol/L | 11.4036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126378.315 | 275149.5057 | 32.55 | 27.7
70211 | 2021-04-05 13:37 | 41.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2436 | μmol/L | 11.4036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126382.0083 | 275153.3138 | 32.55 | 27.7
70220 | 2021-04-05 13:37 | 41.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2106 | μmol/L | 11.4097 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126376.3965 | 275138.8012 | 32.55 | 27.7
70229 | 2021-04-05 13:38 | 42.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2926 | μmol/L | 11.4036 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126379.4436 | 275140.6831 | 32.55 | 27.7
70238 | 2021-04-05 13:38 | 42.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2021 | μmol/L | 11.4158 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126365.2998 | 275127.8175 | 32.55 | 27.7
70247 | 2021-04-05 13:38 | 42.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1531 | μmol/L | 11.4158 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126367.2563 | 275128.4835 | 32.55 | 27.7
70256 | 2021-04-05 13:39 | 43.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2021 | μmol/L | 11.4158 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126364.0538 | 275110.8419 | 32.55 | 27.7
70265 | 2021-04-05 13:39 | 43.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2266 | μmol/L | 11.4158 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126362.8679 | 275120.0858 | 32.55 | 27.7
70274 | 2021-04-05 13:39 | 43.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2756 | μmol/L | 11.4158 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126362.3335 | 275112.8114 | 32.55 | 27.7
70283 | 2021-04-05 13:40 | 44.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0957 | μmol/L | 11.4219 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126360.6905 | 275117.1532 | 32.55 | 27.7
70292 | 2021-04-05 13:40 | 44.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1202 | μmol/L | 11.4219 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126363.2786 | 275120.713 | 32.55 | 27.7
70301 | 2021-04-05 13:40 | 44.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0627 | μmol/L | 11.428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126352.002 | 275115.1485 | 32.55 | 27.7
70310 | 2021-04-05 13:41 | 45.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0957 | μmol/L | 11.4219 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126347.8482 | 275101.8981 | 32.55 | 27.7
70319 | 2021-04-05 13:41 | 45.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0957 | μmol/L | 11.4219 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126345.4002 | 275086.7997 | 32.55 | 27.7
70328 | 2021-04-05 13:41 | 45.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0382 | μmol/L | 11.428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126341.4646 | 275081.8566 | 32.55 | 27.7
70337 | 2021-04-05 13:42 | 46.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0543 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126343.1406 | 275083.3132 | 32.55 | 27.7
70346 | 2021-04-05 13:42 | 46.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9234 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126327.7451 | 275075.074 | 32.55 | 27.7
70355 | 2021-04-05 13:42 | 46.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0138 | μmol/L | 11.428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126326.9696 | 275076.5901 | 32.55 | 27.7
70364 | 2021-04-05 13:43 | 47.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0382 | μmol/L | 11.428 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126318.492 | 275045.166 | 32.55 | 27.7
70373 | 2021-04-05 13:43 | 47.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9808 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126310.4594 | 275055.5162 | 32.55 | 27.7
70382 | 2021-04-05 13:43 | 47.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9563 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126305.282 | 275052.8529 | 32.55 | 27.7
70391 | 2021-04-05 13:44 | 48.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0053 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126303.1113 | 275045.2851 | 32.55 | 27.7
70400 | 2021-04-05 13:44 | 48.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9074 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 126299.6234 | 275048.5114 | 32.55 | 27.7
70409 | 2021-04-05 13:44 | 48.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8745 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126289.8765 | 275035.3032 | 32.55 | 27.7
70418 | 2021-04-05 13:45 | 49.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8745 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126291.1443 | 275045.7504 | 32.55 | 27.7
70427 | 2021-04-05 13:45 | 49.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7926 | μmol/L | 11.4463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.735 | 126276.0383 | 275020.2034 | 32.55 | 27.7
70436 | 2021-04-05 13:45 | 49.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.915 | μmol/L | 11.4463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126272.9455 | 275023.5622 | 32.55 | 27.7
70445 | 2021-04-05 13:46 | 50.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0213 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126268.1159 | 275021.3262 | 32.55 | 27.7
70454 | 2021-04-05 13:46 | 50.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.915 | μmol/L | 11.4463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126257.5075 | 275002.7179 | 32.55 | 27.7
70463 | 2021-04-05 13:46 | 50.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.915 | μmol/L | 11.4463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126252.3883 | 275019.5186 | 32.55 | 27.7
70472 | 2021-04-05 13:47 | 51.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9724 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126243.7934 | 275006.7398 | 32.55 | 27.7
70481 | 2021-04-05 13:47 | 51.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7597 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126236.0427 | 275007.9182 | 32.55 | 27.7
70490 | 2021-04-05 13:47 | 51.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8576 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126232.1126 | 274994.6045 | 32.55 | 27.7
70499 | 2021-04-05 13:48 | 52.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8576 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126218.1219 | 275005.302 | 32.55 | 27.7
70508 | 2021-04-05 13:48 | 52.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8247 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126214.0429 | 274988.3041 | 32.55 | 27.7
70517 | 2021-04-05 13:48 | 52.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8576 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126210.6212 | 274994.1446 | 32.55 | 27.7
70526 | 2021-04-05 13:49 | 53.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8002 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126200.3739 | 274975.1927 | 32.55 | 27.7
70535 | 2021-04-05 13:49 | 53.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.882 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126193.9985 | 274981.572 | 32.55 | 27.7
70544 | 2021-04-05 13:49 | 53.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9226 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126177.5402 | 274984.3763 | 32.55 | 27.7
70553 | 2021-04-05 13:50 | 54.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8002 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126178.2278 | 274972.1139 | 32.55 | 27.7
70562 | 2021-04-05 13:50 | 54.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.947 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126172.6736 | 274966.4686 | 32.55 | 27.7
70571 | 2021-04-05 13:50 | 54.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8247 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126150.8206 | 274958.3811 | 32.55 | 27.7
70580 | 2021-04-05 13:51 | 55.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9226 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126142.2748 | 274954.4442 | 32.55 | 27.7
70589 | 2021-04-05 13:51 | 55.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9876 | μmol/L | 11.4646 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126121.8415 | 274953.2933 | 32.55 | 27.7
70598 | 2021-04-05 13:51 | 55.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.045 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126103.2486 | 274955.4933 | 32.55 | 27.7
70607 | 2021-04-05 13:52 | 56.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0366 | μmol/L | 11.4646 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126086.2065 | 274949.7921 | 32.55 | 27.7
70616 | 2021-04-05 13:52 | 56.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0281 | μmol/L | 11.4707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126052.9073 | 274944.4574 | 32.55 | 27.7
70625 | 2021-04-05 13:52 | 56.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2081 | μmol/L | 11.4646 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.711 | 126033.6239 | 274938.9005 | 32.55 | 27.7
70634 | 2021-04-05 13:53 | 57.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2158 | μmol/L | 11.4768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.706 | 126008.2009 | 274933.1318 | 32.55 | 27.7
70643 | 2021-04-05 13:53 | 57.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2977 | μmol/L | 11.4707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.705 | 125988.1321 | 274936.3193 | 32.55 | 27.7
70652 | 2021-04-05 13:53 | 57.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2977 | μmol/L | 11.4707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.705 | 125971.3184 | 274928.5975 | 32.55 | 27.7
70661 | 2021-04-05 13:54 | 58.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2893 | μmol/L | 11.4768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.703 | 125960.779 | 274916.4929 | 32.55 | 27.7
70670 | 2021-04-05 13:54 | 58.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4203 | μmol/L | 11.4707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.7 | 125944.1469 | 274899.1246 | 32.55 | 27.7
70679 | 2021-04-05 13:54 | 58.67 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2809 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.701 | 125932.6973 | 274905.5794 | 32.55 | 27.7
70688 | 2021-04-05 13:55 | 59.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.461 | μmol/L | 11.4768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.696 | 125920.7411 | 274905.552 | 32.55 | 27.7
70697 | 2021-04-05 13:55 | 59.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2564 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 125916.8416 | 274900.1952 | 32.55 | 27.7
70706 | 2021-04-05 13:55 | 59.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3874 | μmol/L | 11.4768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.699 | 125903.7154 | 274891.7357 | 32.55 | 27.7
70715 | 2021-04-05 13:56 | 60.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2564 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.702 | 125921.0688 | 274904.3701 | 32.55 | 27.7
70724 | 2021-04-05 13:56 | 60.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2235 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.701 | 125920.0887 | 274889.746 | 32.55 | 27.7
70733 | 2021-04-05 13:56 | 60.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1828 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.705 | 125924.7982 | 274893.7127 | 32.55 | 27.7
70742 | 2021-04-05 13:57 | 61.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0519 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.708 | 125928.0182 | 274893.076 | 32.55 | 27.7
70751 | 2021-04-05 13:57 | 61.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0029 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.71 | 125944.7923 | 274879.4328 | 32.55 | 27.7
70760 | 2021-04-05 13:57 | 61.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.954 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.712 | 125954.9248 | 274865.8755 | 32.55 | 27.7
70769 | 2021-04-05 13:58 | 62.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9379 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.715 | 125971.1338 | 274857.379 | 32.55 | 27.7
70778 | 2021-04-05 13:58 | 62.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7742 | μmol/L | 11.4951 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.717 | 125979.8543 | 274858.0425 | 32.55 | 27.7