## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70779 | 2021-04-05 14:41 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.0598 | μmol/L | 10.7961 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136172.8541 | 304016.468 | 59.9307 | 38.1
70788 | 2021-04-05 14:41 | 0.33381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.01 | μmol/L | 10.8144 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136150.6601 | 304013.7034 | 59.9307 | 38.1
70797 | 2021-04-05 14:41 | 0.66692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.1094 | μmol/L | 10.8144 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.772 | 136130.5055 | 303982.8327 | 59.9307 | 38.1
70806 | 2021-04-05 14:42 | 1.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.9934 | μmol/L | 10.8265 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.772 | 136120.9842 | 303986.655 | 59.9307 | 38.1
70815 | 2021-04-05 14:42 | 1.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.0183 | μmol/L | 10.8265 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.771 | 136093.6833 | 303983.03 | 59.9307 | 38.1
70824 | 2021-04-05 14:42 | 1.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 290.0017 | μmol/L | 10.8387 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.767 | 136078.0301 | 303978.6636 | 59.9307 | 38.1
70833 | 2021-04-05 14:43 | 2 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.9686 | μmol/L | 10.8448 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.766 | 136063.6837 | 303963.6093 | 59.9307 | 38.1
70842 | 2021-04-05 14:43 | 2.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.9024 | μmol/L | 10.857 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.764 | 136040.2828 | 303962.9293 | 59.9307 | 38.1
70851 | 2021-04-05 14:43 | 2.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.8445 | μmol/L | 10.8631 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.764 | 136031.3419 | 303945.6617 | 59.9307 | 38.1
70860 | 2021-04-05 14:44 | 3.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.8362 | μmol/L | 10.8692 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.762 | 136014.1891 | 303926.8894 | 59.9307 | 38.1
70869 | 2021-04-05 14:44 | 3.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.828 | μmol/L | 10.8753 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.76 | 136015.0846 | 303931.4992 | 59.9307 | 38.1
70878 | 2021-04-05 14:44 | 3.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.7783 | μmol/L | 10.8753 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.762 | 135994.6628 | 303902.9027 | 59.9307 | 38.1
70887 | 2021-04-05 14:45 | 4 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6295 | μmol/L | 10.8936 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.761 | 135981.6038 | 303885.6739 | 59.9307 | 38.1
70896 | 2021-04-05 14:45 | 4.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.5717 | μmol/L | 10.8996 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.761 | 135970.8511 | 303891.5129 | 59.9307 | 38.1
70905 | 2021-04-05 14:45 | 4.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6131 | μmol/L | 10.9057 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.757 | 135956.5739 | 303882.752 | 59.9307 | 38.1
70914 | 2021-04-05 14:46 | 5.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.6464 | μmol/L | 10.9179 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.751 | 135931.2893 | 303869.5593 | 59.9307 | 38.1
70923 | 2021-04-05 14:46 | 5.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.5886 | μmol/L | 10.924 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.751 | 135920.3627 | 303877.4154 | 59.9307 | 38.1
70932 | 2021-04-05 14:46 | 5.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.4893 | μmol/L | 10.924 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.755 | 135912.8051 | 303854.3856 | 59.9307 | 38.1
70941 | 2021-04-05 14:47 | 6.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.473 | μmol/L | 10.9362 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.751 | 135911.7663 | 303842.8193 | 59.9307 | 38.1
70950 | 2021-04-05 14:47 | 6.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.5556 | μmol/L | 10.9301 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.75 | 135898.4768 | 303837.2014 | 59.9307 | 38.1
70959 | 2021-04-05 14:47 | 6.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.4897 | μmol/L | 10.9423 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.748 | 135886.2975 | 303827.7786 | 59.9307 | 38.1
70968 | 2021-04-05 14:48 | 7.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.4897 | μmol/L | 10.9423 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.748 | 135881.8444 | 303819.625 | 59.9307 | 38.1
70977 | 2021-04-05 14:48 | 7.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.2998 | μmol/L | 10.9545 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.751 | 135862.9272 | 303809.5676 | 59.9307 | 38.1
70986 | 2021-04-05 14:48 | 7.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.2916 | μmol/L | 10.9606 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.749 | 135853.5996 | 303793.2563 | 59.9307 | 38.1
70995 | 2021-04-05 14:49 | 8.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.3002 | μmol/L | 10.9728 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.744 | 135838.3068 | 303793.3927 | 59.9307 | 38.1
71004 | 2021-04-05 14:49 | 8.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.2754 | μmol/L | 10.9728 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.745 | 135832.7525 | 303784.2573 | 59.9307 | 38.1
71013 | 2021-04-05 14:49 | 8.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.1848 | μmol/L | 10.9849 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.744 | 135817.9349 | 303775.8996 | 59.9307 | 38.1
71022 | 2021-04-05 14:50 | 9.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.2096 | μmol/L | 10.9849 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.743 | 135806.6191 | 303764.8937 | 59.9307 | 38.1
71031 | 2021-04-05 14:50 | 9.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0447 | μmol/L | 10.9971 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.745 | 135804.7096 | 303774.9138 | 59.9307 | 38.1
71040 | 2021-04-05 14:50 | 9.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0943 | μmol/L | 10.9971 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.743 | 135792.2306 | 303762.3997 | 59.9307 | 38.1
71049 | 2021-04-05 14:51 | 10.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0366 | μmol/L | 11.0032 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.743 | 135784.9845 | 303749.0795 | 59.9307 | 38.1
71058 | 2021-04-05 14:51 | 10.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.979 | μmol/L | 11.0093 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.743 | 135777.7495 | 303741.4311 | 59.9307 | 38.1
71067 | 2021-04-05 14:51 | 10.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.9957 | μmol/L | 11.0154 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 135764.0267 | 303739.865 | 59.9307 | 38.1
71076 | 2021-04-05 14:52 | 11.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 289.0453 | μmol/L | 11.0154 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.738 | 135748.3604 | 303720.0584 | 59.9307 | 38.1
71085 | 2021-04-05 14:52 | 11.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8805 | μmol/L | 11.0276 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 135749.653 | 303722.0639 | 59.9307 | 38.1
71094 | 2021-04-05 14:52 | 11.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8558 | μmol/L | 11.0276 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.741 | 135736.4071 | 303715.1697 | 59.9307 | 38.1
71103 | 2021-04-05 14:53 | 12.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.9053 | μmol/L | 11.0276 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.739 | 135725.69 | 303701.447 | 59.9307 | 38.1
71112 | 2021-04-05 14:53 | 12.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.914 | μmol/L | 11.0398 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.734 | 135709.2842 | 303696.1697 | 59.9307 | 38.1
71121 | 2021-04-05 14:53 | 12.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8069 | μmol/L | 11.0459 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.736 | 135700.5982 | 303688.45 | 59.9307 | 38.1
71130 | 2021-04-05 14:54 | 13.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6918 | μmol/L | 11.0581 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.736 | 135689.4893 | 303689.453 | 59.9307 | 38.1
71139 | 2021-04-05 14:54 | 13.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.8156 | μmol/L | 11.0581 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135679.5306 | 303675.1861 | 59.9307 | 38.1
71148 | 2021-04-05 14:54 | 13.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.7741 | μmol/L | 11.052 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.735 | 135672.787 | 303680.0086 | 59.9307 | 38.1
71157 | 2021-04-05 14:55 | 14 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.7581 | μmol/L | 11.0641 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135678.4473 | 303673.742 | 59.9307 | 38.1
71166 | 2021-04-05 14:55 | 14.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.5936 | μmol/L | 11.0763 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.733 | 135665.1704 | 303672.135 | 59.9307 | 38.1
71175 | 2021-04-05 14:55 | 14.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6758 | μmol/L | 11.0702 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 135648.6445 | 303642.7028 | 59.9307 | 38.1
71184 | 2021-04-05 14:56 | 15.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6431 | μmol/L | 11.0763 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135638.5893 | 303642.4595 | 59.9307 | 38.1
71193 | 2021-04-05 14:56 | 15.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.5609 | μmol/L | 11.0824 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 135639.072 | 303647.0087 | 59.9307 | 38.1
71202 | 2021-04-05 14:56 | 15.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.6599 | μmol/L | 11.0824 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.728 | 135626.6727 | 303633.4075 | 59.9307 | 38.1
71211 | 2021-04-05 14:57 | 16.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4955 | μmol/L | 11.0946 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.73 | 135626.4842 | 303629.2259 | 59.9307 | 38.1
71220 | 2021-04-05 14:57 | 16.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4707 | μmol/L | 11.0946 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135619.8589 | 303619.0643 | 59.9307 | 38.1
71229 | 2021-04-05 14:57 | 16.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4707 | μmol/L | 11.0946 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135611.3868 | 303603.488 | 59.9307 | 38.1
71238 | 2021-04-05 14:58 | 17.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.4628 | μmol/L | 11.1007 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 135617.8129 | 303598.6788 | 59.9307 | 38.1
71247 | 2021-04-05 14:58 | 17.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2658 | μmol/L | 11.119 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.73 | 135609.6595 | 303587.352 | 59.9307 | 38.1
71256 | 2021-04-05 14:58 | 17.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2491 | μmol/L | 11.1129 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.733 | 135606.5191 | 303588.1541 | 59.9307 | 38.1
71265 | 2021-04-05 14:59 | 18.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2164 | μmol/L | 11.119 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 135593.193 | 303581.7238 | 59.9307 | 38.1
71274 | 2021-04-05 14:59 | 18.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2332 | μmol/L | 11.1251 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 135580.9485 | 303563.0847 | 59.9307 | 38.1
71283 | 2021-04-05 14:59 | 18.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1838 | μmol/L | 11.1251 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135585.5405 | 303578.8519 | 59.9307 | 38.1
71292 | 2021-04-05 15:00 | 19.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2173 | μmol/L | 11.1373 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135565.0324 | 303551.5878 | 59.9307 | 38.1
71301 | 2021-04-05 15:00 | 19.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.2173 | μmol/L | 11.1373 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135549.5051 | 303560.2987 | 59.9307 | 38.1
71310 | 2021-04-05 15:00 | 19.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1185 | μmol/L | 11.1373 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 135544.576 | 303545.501 | 59.9307 | 38.1
71319 | 2021-04-05 15:01 | 20.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1521 | μmol/L | 11.1494 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.723 | 135552.4931 | 303538.5583 | 59.9307 | 38.1
71328 | 2021-04-05 15:01 | 20.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.0039 | μmol/L | 11.1494 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 135546.091 | 303546.8795 | 59.9307 | 38.1
71337 | 2021-04-05 15:01 | 20.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 288.1027 | μmol/L | 11.1494 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135540.6932 | 303518.6181 | 59.9307 | 38.1
71346 | 2021-04-05 15:02 | 21.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.9061 | μmol/L | 11.1677 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 135539.1766 | 303518.8287 | 59.9307 | 38.1
71355 | 2021-04-05 15:02 | 21.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.9634 | μmol/L | 11.1616 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 135534.411 | 303507.8481 | 59.9307 | 38.1
71364 | 2021-04-05 15:02 | 21.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8814 | μmol/L | 11.1677 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.727 | 135530.4139 | 303514.9658 | 59.9307 | 38.1
71373 | 2021-04-05 15:03 | 21.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8242 | μmol/L | 11.1738 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.727 | 135522.9899 | 303502.5007 | 59.9307 | 38.1
71382 | 2021-04-05 15:03 | 22.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.9476 | μmol/L | 11.1738 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135507.1642 | 303488.5005 | 59.9307 | 38.1
71391 | 2021-04-05 15:03 | 22.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8163 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135497.2282 | 303479.484 | 59.9307 | 38.1
71400 | 2021-04-05 15:04 | 23.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8163 | μmol/L | 11.1799 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135498.065 | 303471.3556 | 59.9307 | 38.1
71409 | 2021-04-05 15:04 | 23.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8578 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 135486.1483 | 303463.4673 | 59.9307 | 38.1
71418 | 2021-04-05 15:04 | 23.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.7838 | μmol/L | 11.186 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 135478.3755 | 303473.9758 | 59.9307 | 38.1
71427 | 2021-04-05 15:05 | 24.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.7266 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 135467.812 | 303454.4822 | 59.9307 | 38.1
71436 | 2021-04-05 15:05 | 24.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.8006 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 135464.8202 | 303458.4175 | 59.9307 | 38.1
71445 | 2021-04-05 15:05 | 24.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.7512 | μmol/L | 11.1921 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.723 | 135467.6641 | 303457.8803 | 59.9307 | 38.1
71454 | 2021-04-05 15:06 | 25.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.6784 | μmol/L | 11.2104 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.719 | 135465.8662 | 303442.1557 | 59.9307 | 38.1
71463 | 2021-04-05 15:06 | 25.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5434 | μmol/L | 11.2165 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135465.9935 | 303436.6795 | 59.9307 | 38.1
71472 | 2021-04-05 15:06 | 25.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5226 | μmol/L | 11.2165 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.723 | 135452.6127 | 303444.6822 | 59.9307 | 38.1
71481 | 2021-04-05 15:07 | 26.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.5472 | μmol/L | 11.2165 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135460.2565 | 303433.1396 | 59.9307 | 38.1
71490 | 2021-04-05 15:07 | 26.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4901 | μmol/L | 11.2226 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135448.669 | 303441.3214 | 59.9307 | 38.1
71499 | 2021-04-05 15:07 | 26.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4862 | μmol/L | 11.2226 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135451.3715 | 303430.0608 | 59.9307 | 38.1
71508 | 2021-04-05 15:08 | 26.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.359 | μmol/L | 11.2286 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135455.6665 | 303421.7441 | 59.9307 | 38.1
71517 | 2021-04-05 15:08 | 27.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3552 | μmol/L | 11.2286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135439.7868 | 303401.585 | 59.9307 | 38.1
71526 | 2021-04-05 15:08 | 27.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3552 | μmol/L | 11.2286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135441.3341 | 303401.2721 | 59.9307 | 38.1
71535 | 2021-04-05 15:09 | 28.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3019 | μmol/L | 11.2347 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 135435.6406 | 303419.9169 | 59.9307 | 38.1
71544 | 2021-04-05 15:09 | 28.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2657 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 135433.1796 | 303398.459 | 59.9307 | 38.1
71553 | 2021-04-05 15:09 | 28.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.3149 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.722 | 135439.1266 | 303391.9675 | 59.9307 | 38.1
71562 | 2021-04-05 15:10 | 29.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.2086 | μmol/L | 11.2469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 135436.0486 | 303379.7338 | 59.9307 | 38.1
71571 | 2021-04-05 15:10 | 29.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1918 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 135440.7968 | 303385.0464 | 59.9307 | 38.1
71580 | 2021-04-05 15:10 | 29.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.1023 | μmol/L | 11.253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 135450.2885 | 303386.9903 | 59.9307 | 38.1
71589 | 2021-04-05 15:11 | 30.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.0777 | μmol/L | 11.253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 135441.4817 | 303383.2333 | 59.9307 | 38.1
71598 | 2021-04-05 15:11 | 30.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.0531 | μmol/L | 11.253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 135437.5344 | 303357.393 | 59.9307 | 38.1
71607 | 2021-04-05 15:11 | 30.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.0945 | μmol/L | 11.2591 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 135441.1381 | 303373.8873 | 59.9307 | 38.1
71616 | 2021-04-05 15:12 | 31 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.9715 | μmol/L | 11.2591 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.729 | 135441.9309 | 303351.0808 | 59.9307 | 38.1
71625 | 2021-04-05 15:12 | 31.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8899 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 135447.1641 | 303351.77 | 59.9307 | 38.1
71634 | 2021-04-05 15:12 | 31.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8691 | μmol/L | 11.2652 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.731 | 135446.3886 | 303346.3342 | 59.9307 | 38.1
71643 | 2021-04-05 15:13 | 32.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7837 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.732 | 135454.4953 | 303345.2097 | 59.9307 | 38.1
71652 | 2021-04-05 15:13 | 32.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.8821 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 135459.5459 | 303335.1265 | 59.9307 | 38.1
71661 | 2021-04-05 15:13 | 32.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7022 | μmol/L | 11.2774 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.733 | 135455.6437 | 303331.4284 | 59.9307 | 38.1
71670 | 2021-04-05 15:14 | 33.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.7022 | μmol/L | 11.2774 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.733 | 135465.5103 | 303329.3947 | 59.9307 | 38.1
71679 | 2021-04-05 15:14 | 33.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.6531 | μmol/L | 11.2774 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.735 | 135458.5065 | 303319.6834 | 59.9307 | 38.1
71688 | 2021-04-05 15:14 | 33.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.547 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.737 | 135470.1136 | 303316.9899 | 59.9307 | 38.1
71697 | 2021-04-05 15:15 | 33.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.4979 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.739 | 135482.8164 | 303309.7802 | 59.9307 | 38.1
71706 | 2021-04-05 15:15 | 34.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.4087 | μmol/L | 11.2957 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.738 | 135483.4207 | 303313.6193 | 59.9307 | 38.1
71715 | 2021-04-05 15:15 | 34.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.4165 | μmol/L | 11.2896 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.74 | 135477.215 | 303293.5667 | 59.9307 | 38.1