## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70782 | 2021-04-05 14:41 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.1772 | μmol/L | 10.8588 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.499 | 147902.3089 | 276686.6842 | 36.4 | 83.1
70791 | 2021-04-05 14:41 | 0.33286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.0847 | μmol/L | 10.8649 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.5 | 147905.6118 | 276672.2726 | 36.4 | 83.1
70800 | 2021-04-05 14:42 | 0.66619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.9536 | μmol/L | 10.8771 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.5 | 147911.4285 | 276691.2986 | 36.4 | 83.1
70809 | 2021-04-05 14:42 | 0.99964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.996 | μmol/L | 10.8833 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.496 | 147884.2269 | 276682.8745 | 36.4 | 83.1
70818 | 2021-04-05 14:42 | 1.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.023 | μmol/L | 10.8833 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.495 | 147865.921 | 276668.1634 | 36.4 | 83.1
70827 | 2021-04-05 14:43 | 1.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.8535 | μmol/L | 10.9016 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.494 | 147859.5829 | 276668.8866 | 36.4 | 83.1
70836 | 2021-04-05 14:43 | 1.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.8111 | μmol/L | 10.8955 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.498 | 147841.9187 | 276642.8263 | 36.4 | 83.1
70845 | 2021-04-05 14:43 | 2.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.7496 | μmol/L | 10.9138 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.493 | 147827.3491 | 276633.5537 | 36.4 | 83.1
70854 | 2021-04-05 14:44 | 2.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6033 | μmol/L | 10.9199 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.496 | 147830.8355 | 276640.8595 | 36.4 | 83.1
70863 | 2021-04-05 14:44 | 2.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5379 | μmol/L | 10.926 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.496 | 147829.7969 | 276621.8473 | 36.4 | 83.1
70872 | 2021-04-05 14:44 | 3.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4072 | μmol/L | 10.9382 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.496 | 147812.8028 | 276610.5501 | 36.4 | 83.1
70881 | 2021-04-05 14:45 | 3.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3803 | μmol/L | 10.9382 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.497 | 147815.8991 | 276596.8457 | 36.4 | 83.1
70890 | 2021-04-05 14:45 | 3.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2766 | μmol/L | 10.9505 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.496 | 147825.0028 | 276582.4578 | 36.4 | 83.1
70899 | 2021-04-05 14:45 | 4.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3574 | μmol/L | 10.9505 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.493 | 147809.3903 | 276593.0778 | 36.4 | 83.1
70908 | 2021-04-05 14:46 | 4.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3884 | μmol/L | 10.9627 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.487 | 147771.5143 | 276580.2006 | 36.4 | 83.1
70917 | 2021-04-05 14:46 | 4.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2962 | μmol/L | 10.9688 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.488 | 147734.1669 | 276566.3555 | 36.4 | 83.1
70926 | 2021-04-05 14:46 | 5.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4848 | μmol/L | 10.9688 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.481 | 147692.9044 | 276572.9939 | 36.4 | 83.1
70935 | 2021-04-05 14:47 | 5.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.5003 | μmol/L | 10.9749 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.478 | 147659.5594 | 276546.9142 | 36.4 | 83.1
70944 | 2021-04-05 14:47 | 5.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4506 | μmol/L | 10.9871 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.475 | 147626.8701 | 276538.3107 | 36.4 | 83.1
70953 | 2021-04-05 14:47 | 6.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2548 | μmol/L | 11.0055 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.475 | 147604.7343 | 276539.7144 | 36.4 | 83.1
70962 | 2021-04-05 14:48 | 6.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4009 | μmol/L | 10.9994 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.472 | 147582.6131 | 276538.6664 | 36.4 | 83.1
70971 | 2021-04-05 14:48 | 6.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3895 | μmol/L | 11.0055 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.47 | 147564.8576 | 276520.6373 | 36.4 | 83.1
70980 | 2021-04-05 14:48 | 7.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2477 | μmol/L | 11.0238 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.468 | 147533.2672 | 276510.7386 | 36.4 | 83.1
70989 | 2021-04-05 14:49 | 7.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3286 | μmol/L | 11.0238 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.465 | 147515.2633 | 276507.091 | 36.4 | 83.1
70998 | 2021-04-05 14:49 | 7.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4633 | μmol/L | 11.0238 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.46 | 147506.7837 | 276495.7588 | 36.4 | 83.1
71007 | 2021-04-05 14:49 | 8.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.279 | μmol/L | 11.036 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.462 | 147484.2084 | 276484.9908 | 36.4 | 83.1
71016 | 2021-04-05 14:50 | 8.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.1981 | μmol/L | 11.036 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.465 | 147468.397 | 276498.1372 | 36.4 | 83.1
71025 | 2021-04-05 14:50 | 8.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3216 | μmol/L | 11.0421 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.458 | 147467.8424 | 276490.84 | 36.4 | 83.1
71034 | 2021-04-05 14:50 | 9.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2294 | μmol/L | 11.0482 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.459 | 147443.199 | 276469.0498 | 36.4 | 83.1
71043 | 2021-04-05 14:51 | 9.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.1642 | μmol/L | 11.0543 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.459 | 147419.1748 | 276462.9349 | 36.4 | 83.1
71052 | 2021-04-05 14:51 | 9.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2068 | μmol/L | 11.0605 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.455 | 147403.3796 | 276445.9348 | 36.4 | 83.1
71061 | 2021-04-05 14:51 | 10.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3147 | μmol/L | 11.0605 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.451 | 147343.0942 | 276453.9062 | 36.4 | 83.1
71070 | 2021-04-05 14:52 | 10.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.4225 | μmol/L | 11.0605 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.447 | 147322.9256 | 276437.6109 | 36.4 | 83.1
71079 | 2021-04-05 14:52 | 10.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2809 | μmol/L | 11.0788 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.445 | 147309.7435 | 276419.2974 | 36.4 | 83.1
71088 | 2021-04-05 14:52 | 11.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.2809 | μmol/L | 11.0788 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.445 | 147304.6086 | 276418.0239 | 36.4 | 83.1
71097 | 2021-04-05 14:53 | 11.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.1618 | μmol/L | 11.0849 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.447 | 147305.9895 | 276419.0244 | 36.4 | 83.1
71106 | 2021-04-05 14:53 | 11.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.054 | μmol/L | 11.0849 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.451 | 147331.4344 | 276410.8058 | 36.4 | 83.1
71115 | 2021-04-05 14:53 | 12.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.8543 | μmol/L | 11.091 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.456 | 147356.1818 | 276403.0895 | 36.4 | 83.1
71124 | 2021-04-05 14:54 | 12.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.7085 | μmol/L | 11.0971 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.459 | 147375.5861 | 276394.124 | 36.4 | 83.1
71133 | 2021-04-05 14:54 | 12.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.6166 | μmol/L | 11.1032 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.46 | 147403.0367 | 276379.6187 | 36.4 | 83.1
71142 | 2021-04-05 14:54 | 13.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.406 | μmol/L | 11.1155 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.463 | 147412.9618 | 276379.2202 | 36.4 | 83.1
71151 | 2021-04-05 14:55 | 13.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2985 | μmol/L | 11.1155 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.467 | 147426.7567 | 276374.3747 | 36.4 | 83.1
71160 | 2021-04-05 14:55 | 13.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2067 | μmol/L | 11.1216 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.468 | 147426.0656 | 276381.4504 | 36.4 | 83.1
71169 | 2021-04-05 14:55 | 14.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2873 | μmol/L | 11.1216 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.465 | 147423.3936 | 276362.1295 | 36.4 | 83.1
71178 | 2021-04-05 14:56 | 14.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1956 | μmol/L | 11.1277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.466 | 147397.9984 | 276364.1439 | 36.4 | 83.1
71187 | 2021-04-05 14:56 | 14.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1307 | μmol/L | 11.1338 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.466 | 147380.5823 | 276346.3613 | 36.4 | 83.1
71196 | 2021-04-05 14:56 | 15.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.265 | μmol/L | 11.1338 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.461 | 147353.5137 | 276339.3416 | 36.4 | 83.1
71205 | 2021-04-05 14:57 | 15.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1732 | μmol/L | 11.1399 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.462 | 147331.4684 | 276337.8233 | 36.4 | 83.1
71214 | 2021-04-05 14:57 | 15.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2538 | μmol/L | 11.1399 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.459 | 147293.475 | 276326.1448 | 36.4 | 83.1
71223 | 2021-04-05 14:57 | 16.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2046 | μmol/L | 11.1521 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.456 | 147283.7161 | 276318.752 | 36.4 | 83.1
71232 | 2021-04-05 14:58 | 16.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2315 | μmol/L | 11.1521 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.455 | 147258.9923 | 276311.9951 | 36.4 | 83.1
71241 | 2021-04-05 14:58 | 16.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2472 | μmol/L | 11.1582 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.452 | 147234.2269 | 276316.5611 | 36.4 | 83.1
71250 | 2021-04-05 14:58 | 17.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1823 | μmol/L | 11.1643 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.452 | 147212.6285 | 276305.0254 | 36.4 | 83.1
71259 | 2021-04-05 14:59 | 17.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2249 | μmol/L | 11.1705 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.448 | 147186.3075 | 276295.5253 | 36.4 | 83.1
71268 | 2021-04-05 14:59 | 17.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.3593 | μmol/L | 11.1705 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.443 | 147144.6463 | 276291.1043 | 36.4 | 83.1
71277 | 2021-04-05 14:59 | 18.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.44 | μmol/L | 11.1705 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.44 | 147123.8153 | 276292.8635 | 36.4 | 83.1
71286 | 2021-04-05 15:00 | 18.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.4289 | μmol/L | 11.1766 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.438 | 147102.5281 | 276277.0898 | 36.4 | 83.1
71295 | 2021-04-05 15:00 | 18.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.4178 | μmol/L | 11.1827 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 147077.5872 | 276276.489 | 36.4 | 83.1
71304 | 2021-04-05 15:00 | 19.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1805 | μmol/L | 11.1949 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.44 | 147073.6104 | 276264.0326 | 36.4 | 83.1
71313 | 2021-04-05 15:01 | 19.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.3529 | μmol/L | 11.1888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 147081.0846 | 276250.1378 | 36.4 | 83.1
71322 | 2021-04-05 15:01 | 19.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2501 | μmol/L | 11.201 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.435 | 147072.4499 | 276262.8174 | 36.4 | 83.1
71331 | 2021-04-05 15:01 | 20.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1046 | μmol/L | 11.2071 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.438 | 147083.4233 | 276241.1184 | 36.4 | 83.1
71340 | 2021-04-05 15:02 | 20.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2232 | μmol/L | 11.201 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 147082.3287 | 276252.5728 | 36.4 | 83.1
71349 | 2021-04-05 15:02 | 20.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2501 | μmol/L | 11.201 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.435 | 147055.8398 | 276228.0701 | 36.4 | 83.1
71358 | 2021-04-05 15:02 | 21.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1742 | μmol/L | 11.2132 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.433 | 147055.3621 | 276235.9528 | 36.4 | 83.1
71367 | 2021-04-05 15:03 | 21.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0936 | μmol/L | 11.2132 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 147039.2765 | 276231.2437 | 36.4 | 83.1
71376 | 2021-04-05 15:03 | 21.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0667 | μmol/L | 11.2132 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.437 | 147014.4987 | 276224.938 | 36.4 | 83.1
71385 | 2021-04-05 15:03 | 22.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.964 | μmol/L | 11.2255 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 147011.3515 | 276204.9053 | 36.4 | 83.1
71394 | 2021-04-05 15:04 | 22.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9372 | μmol/L | 11.2255 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.437 | 147001.1851 | 276208.2639 | 36.4 | 83.1
71403 | 2021-04-05 15:04 | 22.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0177 | μmol/L | 11.2255 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.434 | 146989.7824 | 276198.5924 | 36.4 | 83.1
71412 | 2021-04-05 15:04 | 23.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0177 | μmol/L | 11.2255 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.434 | 146981.848 | 276201.523 | 36.4 | 83.1
71421 | 2021-04-05 15:05 | 23.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9799 | μmol/L | 11.2316 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.433 | 146970.772 | 276182.7633 | 36.4 | 83.1
71430 | 2021-04-05 15:05 | 23.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1142 | μmol/L | 11.2316 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.428 | 146948.9591 | 276200.2375 | 36.4 | 83.1
71439 | 2021-04-05 15:05 | 24.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9957 | μmol/L | 11.2377 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.43 | 146949.6208 | 276193.0467 | 36.4 | 83.1
71448 | 2021-04-05 15:06 | 24.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.931 | μmol/L | 11.2438 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.43 | 146926.158 | 276169.7044 | 36.4 | 83.1
71457 | 2021-04-05 15:06 | 24.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0274 | μmol/L | 11.2499 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.424 | 146875.1953 | 276166.7798 | 36.4 | 83.1
71466 | 2021-04-05 15:06 | 25.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2583 | μmol/L | 11.256 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.413 | 146830.3163 | 276164.6309 | 36.4 | 83.1
71475 | 2021-04-05 15:07 | 25.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2583 | μmol/L | 11.256 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.413 | 146792.6846 | 276169.3366 | 36.4 | 83.1
71484 | 2021-04-05 15:07 | 25.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2314 | μmol/L | 11.256 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.414 | 146791.6228 | 276154.5454 | 36.4 | 83.1
71493 | 2021-04-05 15:07 | 26.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1776 | μmol/L | 11.256 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.416 | 146809.0434 | 276148.835 | 36.4 | 83.1
71502 | 2021-04-05 15:08 | 26.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0481 | μmol/L | 11.2682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.416 | 146816.9803 | 276150.4195 | 36.4 | 83.1
71511 | 2021-04-05 15:08 | 26.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8711 | μmol/L | 11.2621 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146839.8816 | 276145.7548 | 36.4 | 83.1
71520 | 2021-04-05 15:08 | 27.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.699 | μmol/L | 11.2682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.429 | 146852.1973 | 276132.2263 | 36.4 | 83.1
71529 | 2021-04-05 15:09 | 27.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6881 | μmol/L | 11.2743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.427 | 146878.1806 | 276139.1385 | 36.4 | 83.1
71538 | 2021-04-05 15:09 | 27.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4625 | μmol/L | 11.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.433 | 146894.4904 | 276125.2129 | 36.4 | 83.1
71547 | 2021-04-05 15:09 | 28.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4198 | μmol/L | 11.2743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.437 | 146916.4688 | 276119.7807 | 36.4 | 83.1
71556 | 2021-04-05 15:10 | 28.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3711 | μmol/L | 11.2866 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.434 | 146930.4903 | 276130.1672 | 36.4 | 83.1
71565 | 2021-04-05 15:10 | 28.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2639 | μmol/L | 11.2866 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.438 | 146925.6921 | 276129.3586 | 36.4 | 83.1
71574 | 2021-04-05 15:10 | 29.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3175 | μmol/L | 11.2866 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.436 | 146900.1407 | 276104.8002 | 36.4 | 83.1
71583 | 2021-04-05 15:11 | 29.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3066 | μmol/L | 11.2927 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.434 | 146897.8786 | 276100.4685 | 36.4 | 83.1
71592 | 2021-04-05 15:11 | 29.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2262 | μmol/L | 11.2927 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.437 | 146882.4625 | 276100.6245 | 36.4 | 83.1
71601 | 2021-04-05 15:11 | 30.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2956 | μmol/L | 11.2988 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.432 | 146861.6818 | 276077.0011 | 36.4 | 83.1
71610 | 2021-04-05 15:12 | 30.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4028 | μmol/L | 11.2988 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.428 | 146840.0308 | 276070.3316 | 36.4 | 83.1
71619 | 2021-04-05 15:12 | 30.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4296 | μmol/L | 11.2988 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.427 | 146814.7722 | 276072.4003 | 36.4 | 83.1
71628 | 2021-04-05 15:12 | 31.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4565 | μmol/L | 11.2988 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.426 | 146789.5769 | 276057.3175 | 36.4 | 83.1
71637 | 2021-04-05 15:13 | 31.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4346 | μmol/L | 11.311 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.422 | 146792.878 | 276066.5288 | 36.4 | 83.1
71646 | 2021-04-05 15:13 | 31.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4723 | μmol/L | 11.3049 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.423 | 146776.8914 | 276056.6594 | 36.4 | 83.1
71655 | 2021-04-05 15:13 | 32.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3542 | μmol/L | 11.311 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146783.5311 | 276063.6421 | 36.4 | 83.1
71664 | 2021-04-05 15:14 | 32.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2896 | μmol/L | 11.3171 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146787.801 | 276056.608 | 36.4 | 83.1
71673 | 2021-04-05 15:14 | 32.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1983 | μmol/L | 11.3232 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.426 | 146772.511 | 276053.1139 | 36.4 | 83.1
71682 | 2021-04-05 15:14 | 33.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.107 | μmol/L | 11.3293 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.427 | 146775.9989 | 276048.2411 | 36.4 | 83.1
71691 | 2021-04-05 15:15 | 33.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2519 | μmol/L | 11.3232 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.424 | 146753.9047 | 276044.9912 | 36.4 | 83.1
71700 | 2021-04-05 15:15 | 33.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1606 | μmol/L | 11.3293 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146743.6968 | 276047.0657 | 36.4 | 83.1
71709 | 2021-04-05 15:15 | 34.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3055 | μmol/L | 11.3232 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.422 | 146746.3616 | 276032.2085 | 36.4 | 83.1
71718 | 2021-04-05 15:16 | 34.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1874 | μmol/L | 11.3293 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.424 | 146731.5219 | 276036.3767 | 36.4 | 83.1