## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70783 | 2021-04-05 14:41 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4703 | μmol/L | 10.8182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.162 | 110955.2095 | 304466.3483 | 30.45 | 114.2
70792 | 2021-04-05 14:41 | 0.33381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4289 | μmol/L | 10.8305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.159 | 110967.73 | 304474.1602 | 30.45 | 114.2
70801 | 2021-04-05 14:42 | 0.66718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2203 | μmol/L | 10.8428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.163 | 110980.3003 | 304482.555 | 30.45 | 114.2
70810 | 2021-04-05 14:42 | 1.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1399 | μmol/L | 10.8489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.164 | 110977.3422 | 304475.1528 | 30.45 | 114.2
70819 | 2021-04-05 14:42 | 1.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0835 | μmol/L | 10.855 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.164 | 110969.2916 | 304461.7424 | 30.45 | 114.2
70828 | 2021-04-05 14:43 | 1.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1226 | μmol/L | 10.8611 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.16 | 110969.1244 | 304455.8233 | 30.45 | 114.2
70837 | 2021-04-05 14:43 | 2.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9945 | μmol/L | 10.8673 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.163 | 110954.4553 | 304454.7327 | 30.45 | 114.2
70846 | 2021-04-05 14:43 | 2.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.962 | μmol/L | 10.8734 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.162 | 110950.755 | 304433.6261 | 30.45 | 114.2
70855 | 2021-04-05 14:44 | 2.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9772 | μmol/L | 10.8795 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.159 | 110937.4284 | 304429.3853 | 30.45 | 114.2
70864 | 2021-04-05 14:44 | 3.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8167 | μmol/L | 10.8918 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.161 | 110928.4917 | 304428.9633 | 30.45 | 114.2
70873 | 2021-04-05 14:44 | 3.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9599 | μmol/L | 10.8918 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.155 | 110921.6227 | 304409.0184 | 30.45 | 114.2
70882 | 2021-04-05 14:45 | 3.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7517 | μmol/L | 10.904 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.159 | 110909.4018 | 304403.8227 | 30.45 | 114.2
70891 | 2021-04-05 14:45 | 4.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8624 | μmol/L | 10.9102 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.152 | 110891.091 | 304397.3842 | 30.45 | 114.2
70900 | 2021-04-05 14:45 | 4.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7669 | μmol/L | 10.9102 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.156 | 110881.9582 | 304383.719 | 30.45 | 114.2
70909 | 2021-04-05 14:46 | 4.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8213 | μmol/L | 10.9224 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.149 | 110863.044 | 304375.6944 | 30.45 | 114.2
70918 | 2021-04-05 14:46 | 5.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6133 | μmol/L | 10.9347 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.153 | 110859.4823 | 304358.3921 | 30.45 | 114.2
70927 | 2021-04-05 14:46 | 5.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7325 | μmol/L | 10.9347 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.148 | 110854.0269 | 304365.3696 | 30.45 | 114.2
70936 | 2021-04-05 14:47 | 5.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5722 | μmol/L | 10.947 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.15 | 110835.3427 | 304357.368 | 30.45 | 114.2
70945 | 2021-04-05 14:47 | 6.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5722 | μmol/L | 10.947 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.15 | 110836.8829 | 304351.2059 | 30.45 | 114.2
70954 | 2021-04-05 14:47 | 6.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4359 | μmol/L | 10.9592 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.151 | 110819.9712 | 304348.5529 | 30.45 | 114.2
70963 | 2021-04-05 14:48 | 6.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4598 | μmol/L | 10.9592 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.15 | 110822.7511 | 304344.3613 | 30.45 | 114.2
70972 | 2021-04-05 14:48 | 7.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4989 | μmol/L | 10.9653 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.146 | 110806.287 | 304322.9204 | 30.45 | 114.2
70981 | 2021-04-05 14:48 | 7.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4426 | μmol/L | 10.9715 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.146 | 110794.3262 | 304307.9232 | 30.45 | 114.2
70990 | 2021-04-05 14:49 | 7.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3064 | μmol/L | 10.9837 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.147 | 110786.4693 | 304308.2529 | 30.45 | 114.2
70999 | 2021-04-05 14:49 | 8.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3455 | μmol/L | 10.9899 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.143 | 110775.9579 | 304300.6598 | 30.45 | 114.2
71008 | 2021-04-05 14:49 | 8.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2979 | μmol/L | 10.9899 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.145 | 110761.9272 | 304282.97 | 30.45 | 114.2
71017 | 2021-04-05 14:50 | 8.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.337 | μmol/L | 10.996 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.141 | 110761.1743 | 304281.3201 | 30.45 | 114.2
71026 | 2021-04-05 14:50 | 9.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2894 | μmol/L | 10.996 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.143 | 110743.0833 | 304270.7099 | 30.45 | 114.2
71035 | 2021-04-05 14:50 | 9.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.257 | μmol/L | 11.0021 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.142 | 110737.9813 | 304257.6466 | 30.45 | 114.2
71044 | 2021-04-05 14:51 | 9.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2961 | μmol/L | 11.0082 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.138 | 110733.2085 | 304260.474 | 30.45 | 114.2
71053 | 2021-04-05 14:51 | 10.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1839 | μmol/L | 11.0205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.138 | 110718.1751 | 304236.4401 | 30.45 | 114.2
71062 | 2021-04-05 14:51 | 10.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2638 | μmol/L | 11.0144 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.137 | 110703.4381 | 304222.7178 | 30.45 | 114.2
71071 | 2021-04-05 14:52 | 10.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2315 | μmol/L | 11.0205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.136 | 110686.8537 | 304217.9488 | 30.45 | 114.2
71080 | 2021-04-05 14:52 | 11.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2145 | μmol/L | 11.0328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.132 | 110677.5488 | 304217.8543 | 30.45 | 114.2
71089 | 2021-04-05 14:52 | 11.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3098 | μmol/L | 11.0328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.128 | 110670.4643 | 304214.0565 | 30.45 | 114.2
71098 | 2021-04-05 14:53 | 11.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2537 | μmol/L | 11.0389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.128 | 110663.3125 | 304199.9727 | 30.45 | 114.2
71107 | 2021-04-05 14:53 | 12.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2452 | μmol/L | 11.045 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.126 | 110656.1172 | 304193.592 | 30.45 | 114.2
71116 | 2021-04-05 14:53 | 12.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2129 | μmol/L | 11.0511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.125 | 110642.5381 | 304176.5481 | 30.45 | 114.2
71125 | 2021-04-05 14:54 | 12.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2092 | μmol/L | 11.0511 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.125 | 110630.2367 | 304180.2313 | 30.45 | 114.2
71134 | 2021-04-05 14:54 | 13.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1246 | μmol/L | 11.0634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.124 | 110623.8248 | 304163.086 | 30.45 | 114.2
71143 | 2021-04-05 14:54 | 13.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1246 | μmol/L | 11.0634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.124 | 110610.0404 | 304166.2418 | 30.45 | 114.2
71152 | 2021-04-05 14:55 | 13.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2437 | μmol/L | 11.0634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.119 | 110601.5833 | 304142.9152 | 30.45 | 114.2
71161 | 2021-04-05 14:55 | 14.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1399 | μmol/L | 11.0695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.121 | 110590.0074 | 304134.7972 | 30.45 | 114.2
71170 | 2021-04-05 14:55 | 14.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1077 | μmol/L | 11.0757 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.12 | 110587.5324 | 304143.0814 | 30.45 | 114.2
71179 | 2021-04-05 14:56 | 14.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0802 | μmol/L | 11.0757 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.121 | 110570.1335 | 304133.2585 | 30.45 | 114.2
71188 | 2021-04-05 14:56 | 15.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.067 | μmol/L | 11.0879 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.117 | 110566.3342 | 304120.7462 | 30.45 | 114.2
71197 | 2021-04-05 14:56 | 15.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1469 | μmol/L | 11.0818 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110555.8912 | 304104.8969 | 30.45 | 114.2
71206 | 2021-04-05 14:57 | 15.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9158 | μmol/L | 11.0941 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.121 | 110552.0473 | 304094.5863 | 30.45 | 114.2
71215 | 2021-04-05 14:57 | 16.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.0348 | μmol/L | 11.0941 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110551.3668 | 304092.9094 | 30.45 | 114.2
71224 | 2021-04-05 14:57 | 16.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9788 | μmol/L | 11.1002 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110538.013 | 304082.8442 | 30.45 | 114.2
71233 | 2021-04-05 14:58 | 16.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.899 | μmol/L | 11.1063 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.117 | 110531.0352 | 304091.2923 | 30.45 | 114.2
71242 | 2021-04-05 14:58 | 17.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.8668 | μmol/L | 11.1124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110529.783 | 304077.1672 | 30.45 | 114.2
71251 | 2021-04-05 14:58 | 17.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.8346 | μmol/L | 11.1186 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110520.3849 | 304062.7618 | 30.45 | 114.2
71260 | 2021-04-05 14:59 | 17.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.7549 | μmol/L | 11.1247 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110517.9173 | 304052.3637 | 30.45 | 114.2
71269 | 2021-04-05 14:59 | 18.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.7311 | μmol/L | 11.1247 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.117 | 110523.0774 | 304059.2969 | 30.45 | 114.2
71278 | 2021-04-05 14:59 | 18.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.7228 | μmol/L | 11.1308 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110522.4504 | 304040.9446 | 30.45 | 114.2
71287 | 2021-04-05 15:00 | 18.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.7228 | μmol/L | 11.1308 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110516.3376 | 304046.3975 | 30.45 | 114.2
71296 | 2021-04-05 15:00 | 19.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.6193 | μmol/L | 11.137 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.117 | 110506.6452 | 304016.7812 | 30.45 | 114.2
71305 | 2021-04-05 15:00 | 19.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.6109 | μmol/L | 11.1431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110510.3046 | 304027.5645 | 30.45 | 114.2
71314 | 2021-04-05 15:01 | 19.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.5313 | μmol/L | 11.1492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110498.8512 | 304011.0876 | 30.45 | 114.2
71323 | 2021-04-05 15:01 | 20.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.6548 | μmol/L | 11.1431 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110495.8094 | 303997.2654 | 30.45 | 114.2
71332 | 2021-04-05 15:01 | 20.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.4955 | μmol/L | 11.1553 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110483.6811 | 303990.3108 | 30.45 | 114.2
71341 | 2021-04-05 15:02 | 20.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.4517 | μmol/L | 11.1553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.117 | 110493.6553 | 303983.0008 | 30.45 | 114.2
71350 | 2021-04-05 15:02 | 21.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.4158 | μmol/L | 11.1615 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110490.6203 | 303979.5185 | 30.45 | 114.2
71359 | 2021-04-05 15:02 | 21.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3875 | μmol/L | 11.1676 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110482.7701 | 303970.5764 | 30.45 | 114.2
71368 | 2021-04-05 15:03 | 21.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.4313 | μmol/L | 11.1676 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110482.9122 | 303978.1895 | 30.45 | 114.2
71377 | 2021-04-05 15:03 | 22.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3838 | μmol/L | 11.1676 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110479.5624 | 303966.4581 | 30.45 | 114.2
71386 | 2021-04-05 15:03 | 22.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3517 | μmol/L | 11.1737 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110480.3216 | 303953.5733 | 30.45 | 114.2
71395 | 2021-04-05 15:04 | 22.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3754 | μmol/L | 11.1737 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110475.4696 | 303949.4851 | 30.45 | 114.2
71404 | 2021-04-05 15:04 | 23.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2959 | μmol/L | 11.1799 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110475.965 | 303943.4804 | 30.45 | 114.2
71413 | 2021-04-05 15:04 | 23.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1606 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110456.9074 | 303929.4684 | 30.45 | 114.2
71422 | 2021-04-05 15:05 | 23.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2638 | μmol/L | 11.186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110459.1452 | 303928.5934 | 30.45 | 114.2
71431 | 2021-04-05 15:05 | 24.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2163 | μmol/L | 11.186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110458.8208 | 303924.1143 | 30.45 | 114.2
71440 | 2021-04-05 15:05 | 24.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2555 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110447.0513 | 303918.8621 | 30.45 | 114.2
71449 | 2021-04-05 15:06 | 24.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1606 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110446.6086 | 303907.6534 | 30.45 | 114.2
71458 | 2021-04-05 15:06 | 25.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1285 | μmol/L | 11.1983 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110450.7558 | 303901.0589 | 30.45 | 114.2
71467 | 2021-04-05 15:06 | 25.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1202 | μmol/L | 11.2044 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110438.5087 | 303887.2576 | 30.45 | 114.2
71476 | 2021-04-05 15:07 | 25.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9696 | μmol/L | 11.2105 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110441.4144 | 303899.9492 | 30.45 | 114.2
71485 | 2021-04-05 15:07 | 26.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0171 | μmol/L | 11.2105 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110441.1296 | 303892.1276 | 30.45 | 114.2
71494 | 2021-04-05 15:07 | 26.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0408 | μmol/L | 11.2105 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110440.9424 | 303889.4796 | 30.45 | 114.2
71503 | 2021-04-05 15:08 | 26.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0645 | μmol/L | 11.2105 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110431.3615 | 303874.1014 | 30.45 | 114.2
71512 | 2021-04-05 15:08 | 27.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9851 | μmol/L | 11.2166 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110428.3704 | 303873.3508 | 30.45 | 114.2
71521 | 2021-04-05 15:08 | 27.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9294 | μmol/L | 11.2228 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110429.1708 | 303854.607 | 30.45 | 114.2
71530 | 2021-04-05 15:09 | 27.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8582 | μmol/L | 11.2228 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.116 | 110424.1343 | 303852.5724 | 30.45 | 114.2
71539 | 2021-04-05 15:09 | 28.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9531 | μmol/L | 11.2228 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110415.0097 | 303842.0597 | 30.45 | 114.2
71548 | 2021-04-05 15:09 | 28.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8974 | μmol/L | 11.2289 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110419.1368 | 303835.6019 | 30.45 | 114.2
71557 | 2021-04-05 15:10 | 28.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8654 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110409.0496 | 303832.9701 | 30.45 | 114.2
71566 | 2021-04-05 15:10 | 29.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8654 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110407.9054 | 303823.2634 | 30.45 | 114.2
71575 | 2021-04-05 15:10 | 29.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8654 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110402.0944 | 303817.9655 | 30.45 | 114.2
71584 | 2021-04-05 15:11 | 29.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7861 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110407.6798 | 303829.6587 | 30.45 | 114.2
71593 | 2021-04-05 15:11 | 30.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.715 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110391.9028 | 303800.9631 | 30.45 | 114.2
71602 | 2021-04-05 15:11 | 30.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7623 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110399.5847 | 303815.9679 | 30.45 | 114.2
71611 | 2021-04-05 15:12 | 30.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8098 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110397.6788 | 303800.4349 | 30.45 | 114.2
71620 | 2021-04-05 15:12 | 31.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7541 | μmol/L | 11.2473 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110392.1004 | 303796.811 | 30.45 | 114.2
71629 | 2021-04-05 15:12 | 31.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6748 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.112 | 110383.5491 | 303789.324 | 30.45 | 114.2
71638 | 2021-04-05 15:13 | 31.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5481 | μmol/L | 11.2595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110379.6398 | 303777.3981 | 30.45 | 114.2
71647 | 2021-04-05 15:13 | 32.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7696 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.108 | 110381.4822 | 303761.4396 | 30.45 | 114.2
71656 | 2021-04-05 15:13 | 32.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5399 | μmol/L | 11.2657 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110386.048 | 303778.8303 | 30.45 | 114.2
71665 | 2021-04-05 15:14 | 32.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5873 | μmol/L | 11.2657 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110384.9026 | 303763.0314 | 30.45 | 114.2
71674 | 2021-04-05 15:14 | 33.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4843 | μmol/L | 11.2718 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.113 | 110378.0044 | 303753.6492 | 30.45 | 114.2
71683 | 2021-04-05 15:14 | 33.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5162 | μmol/L | 11.2657 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110376.5041 | 303750.5335 | 30.45 | 114.2
71692 | 2021-04-05 15:15 | 33.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4761 | μmol/L | 11.2779 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110377.3067 | 303748.6227 | 30.45 | 114.2
71701 | 2021-04-05 15:15 | 34.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4206 | μmol/L | 11.2841 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.111 | 110381.3498 | 303742.4885 | 30.45 | 114.2
71710 | 2021-04-05 15:15 | 34.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4051 | μmol/L | 11.2779 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.114 | 110379.7148 | 303743.0759 | 30.45 | 114.2
71719 | 2021-04-05 15:16 | 34.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.437 | μmol/L | 11.2718 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.115 | 110376.7936 | 303738.9743 | 30.45 | 114.2