## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70784 | 2021-04-05 14:41 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.206 | μmol/L | 10.9838 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.78 | 157098.956 | 298933.6744 | 59.9307 | 49.4
70793 | 2021-04-05 14:41 | 0.33391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1724 | μmol/L | 10.99 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.779 | 157066.1619 | 298938.1187 | 59.9307 | 49.4
70802 | 2021-04-05 14:42 | 0.66696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2964 | μmol/L | 10.99 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.774 | 157025.3115 | 298911.4525 | 59.9307 | 49.4
70811 | 2021-04-05 14:42 | 1.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2789 | μmol/L | 11.0023 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.77 | 156992.3291 | 298895.1396 | 59.9307 | 49.4
70820 | 2021-04-05 14:42 | 1.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3446 | μmol/L | 11.0084 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.765 | 156959.5077 | 298892.9941 | 59.9307 | 49.4
70829 | 2021-04-05 14:43 | 1.667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2862 | μmol/L | 11.0146 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.765 | 156907.5001 | 298857.1407 | 59.9307 | 49.4
70838 | 2021-04-05 14:43 | 2.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3271 | μmol/L | 11.0208 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.761 | 156882.7725 | 298848.1812 | 59.9307 | 49.4
70847 | 2021-04-05 14:43 | 2.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3768 | μmol/L | 11.0208 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.759 | 156854.5839 | 298848.7249 | 59.9307 | 49.4
70856 | 2021-04-05 14:44 | 2.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3929 | μmol/L | 11.0269 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.756 | 156852.9518 | 298843.3244 | 59.9307 | 49.4
70865 | 2021-04-05 14:44 | 3.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3345 | μmol/L | 11.0331 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.756 | 156832.0963 | 298828.4957 | 59.9307 | 49.4
70874 | 2021-04-05 14:44 | 3.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2674 | μmol/L | 11.0454 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.754 | 156816.7848 | 298823.8442 | 59.9307 | 49.4
70883 | 2021-04-05 14:45 | 3.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2091 | μmol/L | 11.0515 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.754 | 156798.3823 | 298815.3127 | 59.9307 | 49.4
70892 | 2021-04-05 14:45 | 4.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2674 | μmol/L | 11.0454 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.754 | 156777.8814 | 298812.6252 | 59.9307 | 49.4
70901 | 2021-04-05 14:45 | 4.3336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3084 | μmol/L | 11.0515 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.75 | 156752.3547 | 298798.6351 | 59.9307 | 49.4
70910 | 2021-04-05 14:46 | 4.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2749 | μmol/L | 11.0577 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.749 | 156740.6331 | 298804.5004 | 59.9307 | 49.4
70919 | 2021-04-05 14:46 | 5 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1334 | μmol/L | 11.07 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.75 | 156715.2303 | 298806.7304 | 59.9307 | 49.4
70928 | 2021-04-05 14:46 | 5.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2823 | μmol/L | 11.07 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.744 | 156704.0749 | 298795.1077 | 59.9307 | 49.4
70937 | 2021-04-05 14:47 | 5.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3817 | μmol/L | 11.07 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 156673.2665 | 298785.9085 | 59.9307 | 49.4
70946 | 2021-04-05 14:47 | 6.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3233 | μmol/L | 11.0762 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 156642.5478 | 298775.0677 | 59.9307 | 49.4
70955 | 2021-04-05 14:47 | 6.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2067 | μmol/L | 11.0885 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 156633.1386 | 298768.9322 | 59.9307 | 49.4
70964 | 2021-04-05 14:48 | 6.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.115 | μmol/L | 11.1008 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.739 | 156620.3812 | 298755.3755 | 59.9307 | 49.4
70973 | 2021-04-05 14:48 | 7.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2143 | μmol/L | 11.1008 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.735 | 156622.2845 | 298777.3576 | 59.9307 | 49.4
70982 | 2021-04-05 14:48 | 7.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2229 | μmol/L | 11.0946 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.737 | 156585.8339 | 298742.2195 | 59.9307 | 49.4
70991 | 2021-04-05 14:49 | 7.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.156 | μmol/L | 11.107 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.735 | 156586.6715 | 298747.4737 | 59.9307 | 49.4
71000 | 2021-04-05 14:49 | 8.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0233 | μmol/L | 11.1131 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.738 | 156596.2839 | 298742.4707 | 59.9307 | 49.4
71009 | 2021-04-05 14:49 | 8.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0481 | μmol/L | 11.1131 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.737 | 156587.9211 | 298729.5757 | 59.9307 | 49.4
71018 | 2021-04-05 14:50 | 8.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8325 | μmol/L | 11.1254 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.741 | 156600.0981 | 298730.0618 | 59.9307 | 49.4
71027 | 2021-04-05 14:50 | 9.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9403 | μmol/L | 11.1193 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.739 | 156608.1075 | 298709.6073 | 59.9307 | 49.4
71036 | 2021-04-05 14:50 | 9.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8573 | μmol/L | 11.1254 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 156605.3702 | 298706.038 | 59.9307 | 49.4
71045 | 2021-04-05 14:51 | 9.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8573 | μmol/L | 11.1254 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.74 | 156594.0743 | 298693.8666 | 59.9307 | 49.4
71054 | 2021-04-05 14:51 | 10.0003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7496 | μmol/L | 11.1316 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.742 | 156590.5639 | 298710.9928 | 59.9307 | 49.4
71063 | 2021-04-05 14:51 | 10.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8239 | μmol/L | 11.1316 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.739 | 156561.6184 | 298683.4809 | 59.9307 | 49.4
71072 | 2021-04-05 14:52 | 10.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8239 | μmol/L | 11.1316 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.739 | 156547.8734 | 298691.036 | 59.9307 | 49.4
71081 | 2021-04-05 14:52 | 11.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8983 | μmol/L | 11.1316 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.736 | 156544.95 | 298687.8004 | 59.9307 | 49.4
71090 | 2021-04-05 14:52 | 11.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7734 | μmol/L | 11.15 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.734 | 156511.272 | 298673.4659 | 59.9307 | 49.4
71099 | 2021-04-05 14:53 | 11.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7486 | μmol/L | 11.15 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.735 | 156492.1941 | 298664.4376 | 59.9307 | 49.4
71108 | 2021-04-05 14:53 | 12 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8392 | μmol/L | 11.1562 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 156471.5018 | 298658.866 | 59.9307 | 49.4
71117 | 2021-04-05 14:53 | 12.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7152 | μmol/L | 11.1562 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.734 | 156474.1242 | 298653.289 | 59.9307 | 49.4
71126 | 2021-04-05 14:54 | 12.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6819 | μmol/L | 11.1624 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.733 | 156458.039 | 298669.4302 | 59.9307 | 49.4
71135 | 2021-04-05 14:54 | 13.0002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8306 | μmol/L | 11.1624 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.727 | 156450.2727 | 298651.968 | 59.9307 | 49.4
71144 | 2021-04-05 14:54 | 13.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7477 | μmol/L | 11.1685 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.728 | 156426.2197 | 298633.6708 | 59.9307 | 49.4
71153 | 2021-04-05 14:55 | 13.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7229 | μmol/L | 11.1685 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 156408.8127 | 298632.5693 | 59.9307 | 49.4
71162 | 2021-04-05 14:55 | 14.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8468 | μmol/L | 11.1685 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 156395.205 | 298624.6793 | 59.9307 | 49.4
71171 | 2021-04-05 14:55 | 14.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7639 | μmol/L | 11.1747 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 156379.8807 | 298620.5848 | 59.9307 | 49.4
71180 | 2021-04-05 14:56 | 14.667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7887 | μmol/L | 11.1747 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 156361.1732 | 298603.4344 | 59.9307 | 49.4
71189 | 2021-04-05 14:56 | 15 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7469 | μmol/L | 11.187 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 156353.0148 | 298603.2973 | 59.9307 | 49.4
71198 | 2021-04-05 14:56 | 15.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7221 | μmol/L | 11.187 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 156331.852 | 298594.6866 | 59.9307 | 49.4
71207 | 2021-04-05 14:57 | 15.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.664 | μmol/L | 11.1931 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 156322.4849 | 298585.3257 | 59.9307 | 49.4
71216 | 2021-04-05 14:57 | 16.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7221 | μmol/L | 11.187 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 156302.7146 | 298584.3814 | 59.9307 | 49.4
71225 | 2021-04-05 14:57 | 16.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.705 | μmol/L | 11.1993 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.718 | 156286.151 | 298583.1434 | 59.9307 | 49.4
71234 | 2021-04-05 14:58 | 16.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7461 | μmol/L | 11.2055 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.714 | 156256.556 | 298568.3776 | 59.9307 | 49.4
71243 | 2021-04-05 14:58 | 17.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7213 | μmol/L | 11.2055 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.715 | 156244.7524 | 298553.1415 | 59.9307 | 49.4
71252 | 2021-04-05 14:58 | 17.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7128 | μmol/L | 11.2116 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.713 | 156234.4108 | 298552.1095 | 59.9307 | 49.4
71261 | 2021-04-05 14:59 | 17.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7461 | μmol/L | 11.2055 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.714 | 156239.7116 | 298549.8545 | 59.9307 | 49.4
71270 | 2021-04-05 14:59 | 18.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7957 | μmol/L | 11.2055 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.712 | 156239.0074 | 298547.1539 | 59.9307 | 49.4
71279 | 2021-04-05 14:59 | 18.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5061 | μmol/L | 11.2178 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.719 | 156246.8175 | 298527.2631 | 59.9307 | 49.4
71288 | 2021-04-05 15:00 | 18.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5556 | μmol/L | 11.2178 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.717 | 156256.5205 | 298536.4831 | 59.9307 | 49.4
71297 | 2021-04-05 15:00 | 19.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5061 | μmol/L | 11.2178 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.719 | 156252.3156 | 298521.1517 | 59.9307 | 49.4
71306 | 2021-04-05 15:00 | 19.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3985 | μmol/L | 11.2239 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 156260.8477 | 298523.9595 | 59.9307 | 49.4
71315 | 2021-04-05 15:01 | 19.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3405 | μmol/L | 11.2301 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 156278.906 | 298532.3582 | 59.9307 | 49.4
71324 | 2021-04-05 15:01 | 20.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1588 | μmol/L | 11.2362 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 156292.4022 | 298527.8053 | 59.9307 | 49.4
71333 | 2021-04-05 15:01 | 20.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1588 | μmol/L | 11.2362 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 156297.9186 | 298523.379 | 59.9307 | 49.4
71342 | 2021-04-05 15:02 | 20.6669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0267 | μmol/L | 11.2424 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.729 | 156306.3672 | 298518.3395 | 59.9307 | 49.4
71351 | 2021-04-05 15:02 | 21.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0599 | μmol/L | 11.2362 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.73 | 156314.7334 | 298496.7296 | 59.9307 | 49.4
71360 | 2021-04-05 15:02 | 21.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9525 | μmol/L | 11.2424 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 156315.7964 | 298494.0107 | 59.9307 | 49.4
71369 | 2021-04-05 15:03 | 21.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9278 | μmol/L | 11.2424 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.733 | 156321.0088 | 298486.0503 | 59.9307 | 49.4
71378 | 2021-04-05 15:03 | 22 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9525 | μmol/L | 11.2424 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 156307.3815 | 298472.3427 | 59.9307 | 49.4
71387 | 2021-04-05 15:03 | 22.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8452 | μmol/L | 11.2486 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.734 | 156293.7885 | 298467.7536 | 59.9307 | 49.4
71396 | 2021-04-05 15:04 | 22.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0514 | μmol/L | 11.2424 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.728 | 156282.7945 | 298457.7468 | 59.9307 | 49.4
71405 | 2021-04-05 15:04 | 23.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7789 | μmol/L | 11.2609 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.732 | 156264.0797 | 298460.8016 | 59.9307 | 49.4
71414 | 2021-04-05 15:04 | 23.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9603 | μmol/L | 11.2547 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.727 | 156257.2844 | 298457.4283 | 59.9307 | 49.4
71423 | 2021-04-05 15:05 | 23.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.985 | μmol/L | 11.2547 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 156250.1975 | 298463.7043 | 59.9307 | 49.4
71432 | 2021-04-05 15:05 | 24.0003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0261 | μmol/L | 11.2609 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.722 | 156232.6421 | 298447.3197 | 59.9307 | 49.4
71441 | 2021-04-05 15:05 | 24.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9272 | μmol/L | 11.2609 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 156240.1956 | 298440.1029 | 59.9307 | 49.4
71450 | 2021-04-05 15:06 | 24.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8693 | μmol/L | 11.267 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.726 | 156216.3091 | 298453.826 | 59.9307 | 49.4
71459 | 2021-04-05 15:06 | 25.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9024 | μmol/L | 11.2609 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.727 | 156205.0956 | 298430.4194 | 59.9307 | 49.4
71468 | 2021-04-05 15:06 | 25.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9929 | μmol/L | 11.267 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 156194.8158 | 298435.5086 | 59.9307 | 49.4
71477 | 2021-04-05 15:07 | 25.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8609 | μmol/L | 11.2732 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 156173.9364 | 298428.4835 | 59.9307 | 49.4
71486 | 2021-04-05 15:07 | 26.0002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8361 | μmol/L | 11.2732 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.725 | 156171.8722 | 298431.7698 | 59.9307 | 49.4
71495 | 2021-04-05 15:07 | 26.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.935 | μmol/L | 11.2732 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.721 | 156158.7499 | 298413.9509 | 59.9307 | 49.4
71504 | 2021-04-05 15:08 | 26.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9513 | μmol/L | 11.2793 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.718 | 156134.9176 | 298402.0679 | 59.9307 | 49.4
71513 | 2021-04-05 15:08 | 27.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9019 | μmol/L | 11.2793 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.72 | 156133.8731 | 298418.4883 | 59.9307 | 49.4
71522 | 2021-04-05 15:08 | 27.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0339 | μmol/L | 11.2732 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.717 | 156123.088 | 298421.3645 | 59.9307 | 49.4
71531 | 2021-04-05 15:09 | 27.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9182 | μmol/L | 11.2855 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.717 | 156100.1754 | 298387.6278 | 59.9307 | 49.4
71540 | 2021-04-05 15:09 | 28.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9513 | μmol/L | 11.2793 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.718 | 156081.2431 | 298368.7998 | 59.9307 | 49.4
71549 | 2021-04-05 15:09 | 28.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8603 | μmol/L | 11.2917 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.717 | 156083.7511 | 298368.1347 | 59.9307 | 49.4
71558 | 2021-04-05 15:10 | 28.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8687 | μmol/L | 11.2855 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.719 | 156076.5035 | 298371.709 | 59.9307 | 49.4
71567 | 2021-04-05 15:10 | 29.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9182 | μmol/L | 11.2855 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.717 | 156063.0977 | 298370.1718 | 59.9307 | 49.4
71576 | 2021-04-05 15:10 | 29.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9924 | μmol/L | 11.2855 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.714 | 156061.089 | 298383.163 | 59.9307 | 49.4
71585 | 2021-04-05 15:11 | 29.667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9508 | μmol/L | 11.2978 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.711 | 156042.6569 | 298361.29 | 59.9307 | 49.4
71594 | 2021-04-05 15:11 | 30 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9592 | μmol/L | 11.2917 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.713 | 156035.4876 | 298367.4242 | 59.9307 | 49.4
71603 | 2021-04-05 15:11 | 30.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8519 | μmol/L | 11.2978 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.715 | 156027.8531 | 298375.8132 | 59.9307 | 49.4
71612 | 2021-04-05 15:12 | 30.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8435 | μmol/L | 11.304 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.713 | 156022.1278 | 298355.4147 | 59.9307 | 49.4
71621 | 2021-04-05 15:12 | 31.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7941 | μmol/L | 11.304 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.715 | 156008.3703 | 298356.6588 | 59.9307 | 49.4
71630 | 2021-04-05 15:12 | 31.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8188 | μmol/L | 11.304 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.714 | 156015.49 | 298362.5633 | 59.9307 | 49.4
71639 | 2021-04-05 15:13 | 31.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8846 | μmol/L | 11.3101 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.709 | 156002.9392 | 298365.994 | 59.9307 | 49.4
71648 | 2021-04-05 15:13 | 32.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8683 | μmol/L | 11.304 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.712 | 156002.5744 | 298349.0903 | 59.9307 | 49.4
71657 | 2021-04-05 15:13 | 32.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8846 | μmol/L | 11.3101 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.709 | 155986.796 | 298347.399 | 59.9307 | 49.4
71666 | 2021-04-05 15:14 | 32.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7196 | μmol/L | 11.3224 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.711 | 155992.1195 | 298334.9737 | 59.9307 | 49.4
71675 | 2021-04-05 15:14 | 33.0003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7857 | μmol/L | 11.3101 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.713 | 155991.8143 | 298337.5966 | 59.9307 | 49.4
71684 | 2021-04-05 15:14 | 33.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8351 | μmol/L | 11.3101 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.711 | 155983.1387 | 298321.2691 | 59.9307 | 49.4
71693 | 2021-04-05 15:15 | 33.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7773 | μmol/L | 11.3163 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.711 | 155981.0418 | 298345.4423 | 59.9307 | 49.4
71702 | 2021-04-05 15:15 | 34.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8268 | μmol/L | 11.3163 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.709 | 155971.3178 | 298339.3321 | 59.9307 | 49.4
71711 | 2021-04-05 15:15 | 34.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6701 | μmol/L | 11.3224 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.713 | 155977.3899 | 298325.8665 | 59.9307 | 49.4
71720 | 2021-04-05 15:16 | 34.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6948 | μmol/L | 11.3224 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.712 | 155976.301 | 298330.6814 | 59.9307 | 49.4