## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70785 | 2021-04-05 14:41 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.6011 | μmol/L | 11.0853 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.025 | 155726.0711 | 313393.3138 | 33.25 | 68.6
70794 | 2021-04-05 14:41 | 0.33333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.613 | μmol/L | 11.0913 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.022 | 155719.6504 | 313411.5681 | 33.25 | 68.6
70803 | 2021-04-05 14:42 | 0.66714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.6593 | μmol/L | 11.0913 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.02 | 155705.4535 | 313405.8315 | 33.25 | 68.6
70812 | 2021-04-05 14:42 | 1 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5098 | μmol/L | 11.1096 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.019 | 155682.4609 | 313405.0876 | 33.25 | 68.6
70821 | 2021-04-05 14:42 | 1.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5562 | μmol/L | 11.1096 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.017 | 155654.0909 | 313400.8371 | 33.25 | 68.6
70830 | 2021-04-05 14:43 | 1.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5599 | μmol/L | 11.1096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.017 | 155634.7429 | 313373.5799 | 33.25 | 68.6
70839 | 2021-04-05 14:43 | 2.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.5106 | μmol/L | 11.1217 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.014 | 155620.7861 | 313364.6025 | 33.25 | 68.6
70848 | 2021-04-05 14:43 | 2.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.4531 | μmol/L | 11.1278 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.014 | 155590.2833 | 313357.3558 | 33.25 | 68.6
70857 | 2021-04-05 14:44 | 2.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.4224 | μmol/L | 11.1338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.013 | 155588.8579 | 313354.657 | 33.25 | 68.6
70866 | 2021-04-05 14:44 | 3.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3149 | μmol/L | 11.1399 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.015 | 155559.2539 | 313328.0116 | 33.25 | 68.6
70875 | 2021-04-05 14:44 | 3.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.4427 | μmol/L | 11.146 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.007 | 155540.6492 | 313331.48 | 33.25 | 68.6
70884 | 2021-04-05 14:45 | 3.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3964 | μmol/L | 11.146 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.009 | 155527.8326 | 313331.8045 | 33.25 | 68.6
70893 | 2021-04-05 14:45 | 4.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3852 | μmol/L | 11.1521 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.007 | 155511.5449 | 313327.521 | 33.25 | 68.6
70902 | 2021-04-05 14:45 | 4.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3972 | μmol/L | 11.1581 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.004 | 155480.4486 | 313312.3433 | 33.25 | 68.6
70911 | 2021-04-05 14:46 | 4.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.3166 | μmol/L | 11.1642 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.005 | 155468.3812 | 313301.284 | 33.25 | 68.6
70920 | 2021-04-05 14:46 | 5 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.286 | μmol/L | 11.1703 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 24.004 | 155450.1351 | 313287.4735 | 33.25 | 68.6
70929 | 2021-04-05 14:46 | 5.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2711 | μmol/L | 11.1763 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.002 | 155428.9683 | 313279.4325 | 33.25 | 68.6
70938 | 2021-04-05 14:47 | 5.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2137 | μmol/L | 11.1824 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.002 | 155419.2516 | 313276.9062 | 33.25 | 68.6
70947 | 2021-04-05 14:47 | 6.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1795 | μmol/L | 11.1885 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.001 | 155406.3438 | 313255.5909 | 33.25 | 68.6
70956 | 2021-04-05 14:47 | 6.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2258 | μmol/L | 11.1885 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.999 | 155406.2042 | 313263.175 | 33.25 | 68.6
70965 | 2021-04-05 14:48 | 6.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.111 | μmol/L | 11.2006 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.999 | 155399.9934 | 313246.2482 | 33.25 | 68.6
70974 | 2021-04-05 14:48 | 7 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.2035 | μmol/L | 11.2006 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.995 | 155378.1326 | 313231.453 | 33.25 | 68.6
70983 | 2021-04-05 14:48 | 7.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0536 | μmol/L | 11.2067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.999 | 155361.0734 | 313222.7115 | 33.25 | 68.6
70992 | 2021-04-05 14:49 | 7.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1461 | μmol/L | 11.2067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.995 | 155349.6001 | 313216.9048 | 33.25 | 68.6
71001 | 2021-04-05 14:49 | 8.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0425 | μmol/L | 11.2128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.997 | 155330.4491 | 313230.5642 | 33.25 | 68.6
71010 | 2021-04-05 14:49 | 8.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0546 | μmol/L | 11.2188 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.994 | 155312.1531 | 313196.9005 | 33.25 | 68.6
71019 | 2021-04-05 14:50 | 8.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1471 | μmol/L | 11.2188 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.99 | 155296.6081 | 313187.4999 | 33.25 | 68.6
71028 | 2021-04-05 14:50 | 9.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0556 | μmol/L | 11.231 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.989 | 155277.5394 | 313163.0355 | 33.25 | 68.6
71037 | 2021-04-05 14:50 | 9.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.952 | μmol/L | 11.2371 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.991 | 155255.2057 | 313163.3203 | 33.25 | 68.6
71046 | 2021-04-05 14:51 | 9.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.952 | μmol/L | 11.2371 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.991 | 155252.9148 | 313158.7841 | 33.25 | 68.6
71055 | 2021-04-05 14:51 | 10.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8836 | μmol/L | 11.2492 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.989 | 155239.9164 | 313143.7982 | 33.25 | 68.6
71064 | 2021-04-05 14:51 | 10.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.9178 | μmol/L | 11.2431 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.99 | 155240.0783 | 313137.6487 | 33.25 | 68.6
71073 | 2021-04-05 14:52 | 10.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8726 | μmol/L | 11.2553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.987 | 155231.0949 | 313121.019 | 33.25 | 68.6
71082 | 2021-04-05 14:52 | 11 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8495 | μmol/L | 11.2553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.988 | 155230.9507 | 313127.4992 | 33.25 | 68.6
71091 | 2021-04-05 14:52 | 11.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8957 | μmol/L | 11.2553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155204.9092 | 313120.0233 | 33.25 | 68.6
71100 | 2021-04-05 14:53 | 11.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7581 | μmol/L | 11.2674 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.987 | 155213.2495 | 313114.1258 | 33.25 | 68.6
71109 | 2021-04-05 14:53 | 12.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.746 | μmol/L | 11.2613 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.99 | 155196.0006 | 313086.4933 | 33.25 | 68.6
71118 | 2021-04-05 14:53 | 12.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6777 | μmol/L | 11.2735 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.988 | 155206.6173 | 313098.7345 | 33.25 | 68.6
71127 | 2021-04-05 14:54 | 12.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6546 | μmol/L | 11.2735 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.989 | 155202.1041 | 313088.1722 | 33.25 | 68.6
71136 | 2021-04-05 14:54 | 13.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6205 | μmol/L | 11.2796 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.988 | 155174.7002 | 313055.8617 | 33.25 | 68.6
71145 | 2021-04-05 14:54 | 13.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6326 | μmol/L | 11.2856 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155169.9905 | 313059.0755 | 33.25 | 68.6
71154 | 2021-04-05 14:55 | 13.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5403 | μmol/L | 11.2856 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.989 | 155168.0681 | 313050.4816 | 33.25 | 68.6
71163 | 2021-04-05 14:55 | 14.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6095 | μmol/L | 11.2856 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.986 | 155157.4813 | 313035.8634 | 33.25 | 68.6
71172 | 2021-04-05 14:55 | 14.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4721 | μmol/L | 11.2978 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.987 | 155147.9917 | 313031.2114 | 33.25 | 68.6
71181 | 2021-04-05 14:56 | 14.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5754 | μmol/L | 11.2917 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.985 | 155131.2266 | 313020.899 | 33.25 | 68.6
71190 | 2021-04-05 14:56 | 15.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5766 | μmol/L | 11.3038 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.98 | 155107.2167 | 313013.5291 | 33.25 | 68.6
71199 | 2021-04-05 14:56 | 15.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5073 | μmol/L | 11.3038 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.983 | 155100.6716 | 313005.4092 | 33.25 | 68.6
71208 | 2021-04-05 14:57 | 15.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5535 | μmol/L | 11.3038 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.981 | 155085.297 | 313003.3423 | 33.25 | 68.6
71217 | 2021-04-05 14:57 | 16.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4732 | μmol/L | 11.3099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.982 | 155071.3703 | 312998.5804 | 33.25 | 68.6
71226 | 2021-04-05 14:57 | 16.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5085 | μmol/L | 11.316 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.978 | 155059.0926 | 312982.1318 | 33.25 | 68.6
71235 | 2021-04-05 14:58 | 16.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4854 | μmol/L | 11.316 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.979 | 155034.9766 | 312985.5297 | 33.25 | 68.6
71244 | 2021-04-05 14:58 | 17.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5085 | μmol/L | 11.316 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.978 | 155006.7496 | 312967.7821 | 33.25 | 68.6
71253 | 2021-04-05 14:58 | 17.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5437 | μmol/L | 11.3221 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.974 | 154994.9609 | 312967.7377 | 33.25 | 68.6
71262 | 2021-04-05 14:59 | 17.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5437 | μmol/L | 11.3221 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.974 | 154986.2987 | 312967.8174 | 33.25 | 68.6
71271 | 2021-04-05 14:59 | 18 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5327 | μmol/L | 11.3281 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.972 | 154961.945 | 312941.8171 | 33.25 | 68.6
71280 | 2021-04-05 14:59 | 18.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4294 | μmol/L | 11.3342 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.974 | 154965.4887 | 312943.3626 | 33.25 | 68.6
71289 | 2021-04-05 15:00 | 18.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.568 | μmol/L | 11.3342 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154937.5198 | 312928.8083 | 33.25 | 68.6
71298 | 2021-04-05 15:00 | 18.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4878 | μmol/L | 11.3403 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154933.5327 | 312934.2281 | 33.25 | 68.6
71307 | 2021-04-05 15:00 | 19.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5109 | μmol/L | 11.3403 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154911.4594 | 312921.08 | 33.25 | 68.6
71316 | 2021-04-05 15:01 | 19.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4307 | μmol/L | 11.3463 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154906.7448 | 312901.6249 | 33.25 | 68.6
71325 | 2021-04-05 15:01 | 20.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4538 | μmol/L | 11.3463 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154897.8446 | 312900.4646 | 33.25 | 68.6
71334 | 2021-04-05 15:01 | 20.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4076 | μmol/L | 11.3463 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.97 | 154896.4175 | 312901.6524 | 33.25 | 68.6
71343 | 2021-04-05 15:02 | 20.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4768 | μmol/L | 11.3463 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.967 | 154881.5076 | 312877.6108 | 33.25 | 68.6
71352 | 2021-04-05 15:02 | 21.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3505 | μmol/L | 11.3524 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.97 | 154875.2962 | 312875.432 | 33.25 | 68.6
71361 | 2021-04-05 15:02 | 21.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3857 | μmol/L | 11.3585 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.966 | 154872.7437 | 312867.4613 | 33.25 | 68.6
71370 | 2021-04-05 15:03 | 21.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2703 | μmol/L | 11.3585 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154858.3628 | 312845.9524 | 33.25 | 68.6
71379 | 2021-04-05 15:03 | 22 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3396 | μmol/L | 11.3585 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154851.4458 | 312824.3782 | 33.25 | 68.6
71388 | 2021-04-05 15:03 | 22.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2594 | μmol/L | 11.3646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154855.1135 | 312837.6031 | 33.25 | 68.6
71397 | 2021-04-05 15:04 | 22.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3748 | μmol/L | 11.3646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154844.4262 | 312834.5606 | 33.25 | 68.6
71406 | 2021-04-05 15:04 | 23.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2024 | μmol/L | 11.3706 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154830.5267 | 312825.2799 | 33.25 | 68.6
71415 | 2021-04-05 15:04 | 23.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2947 | μmol/L | 11.3706 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.965 | 154822.767 | 312819.1671 | 33.25 | 68.6
71424 | 2021-04-05 15:05 | 23.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2037 | μmol/L | 11.3828 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154814.6387 | 312822.6701 | 33.25 | 68.6
71433 | 2021-04-05 15:05 | 24 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3178 | μmol/L | 11.3706 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154808.3012 | 312805.6439 | 33.25 | 68.6
71442 | 2021-04-05 15:05 | 24.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1345 | μmol/L | 11.3828 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.967 | 154797.8491 | 312815.324 | 33.25 | 68.6
71451 | 2021-04-05 15:06 | 24.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1236 | μmol/L | 11.3888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.965 | 154787.6882 | 312785.3405 | 33.25 | 68.6
71460 | 2021-04-05 15:06 | 25.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1467 | μmol/L | 11.3888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154785.297 | 312795.6399 | 33.25 | 68.6
71469 | 2021-04-05 15:06 | 25.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2037 | μmol/L | 11.3828 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154765.2317 | 312777.7512 | 33.25 | 68.6
71478 | 2021-04-05 15:07 | 25.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1236 | μmol/L | 11.3888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.965 | 154761.2163 | 312768.1372 | 33.25 | 68.6
71487 | 2021-04-05 15:07 | 26.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1236 | μmol/L | 11.3888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.965 | 154757.8213 | 312767.2384 | 33.25 | 68.6
71496 | 2021-04-05 15:07 | 26.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1697 | μmol/L | 11.3888 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.963 | 154744.9499 | 312756.6697 | 33.25 | 68.6
71505 | 2021-04-05 15:08 | 26.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.182 | μmol/L | 11.3949 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.96 | 154748.2652 | 312747.5862 | 33.25 | 68.6
71514 | 2021-04-05 15:08 | 27.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1358 | μmol/L | 11.3949 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.962 | 154741.4531 | 312740.4277 | 33.25 | 68.6
71523 | 2021-04-05 15:08 | 27.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9866 | μmol/L | 11.401 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.966 | 154738.2965 | 312747.1698 | 33.25 | 68.6
71532 | 2021-04-05 15:09 | 27.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9757 | μmol/L | 11.4071 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154728.4437 | 312726.2007 | 33.25 | 68.6
71541 | 2021-04-05 15:09 | 27.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9066 | μmol/L | 11.4071 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.967 | 154733.4209 | 312724.0009 | 33.25 | 68.6
71550 | 2021-04-05 15:09 | 28.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8957 | μmol/L | 11.4131 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.965 | 154741.9105 | 312729.1349 | 33.25 | 68.6
71559 | 2021-04-05 15:10 | 28.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9188 | μmol/L | 11.4131 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.964 | 154740.9212 | 312714.0937 | 33.25 | 68.6
71568 | 2021-04-05 15:10 | 29.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7805 | μmol/L | 11.4131 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.97 | 154730.8245 | 312702.5536 | 33.25 | 68.6
71577 | 2021-04-05 15:10 | 29.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8036 | μmol/L | 11.4131 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154733.0853 | 312694.7645 | 33.25 | 68.6
71586 | 2021-04-05 15:11 | 29.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7697 | μmol/L | 11.4192 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154739.3601 | 312713.8452 | 33.25 | 68.6
71595 | 2021-04-05 15:11 | 29.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7589 | μmol/L | 11.4253 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.966 | 154737.3894 | 312699.4816 | 33.25 | 68.6
71604 | 2021-04-05 15:11 | 30.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7006 | μmol/L | 11.4192 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154740.4057 | 312697.0938 | 33.25 | 68.6
71613 | 2021-04-05 15:12 | 30.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7128 | μmol/L | 11.4253 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154726.6063 | 312671.9341 | 33.25 | 68.6
71622 | 2021-04-05 15:12 | 30.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6898 | μmol/L | 11.4253 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154720.5273 | 312670.9051 | 33.25 | 68.6
71631 | 2021-04-05 15:12 | 31.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.7128 | μmol/L | 11.4253 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154723.7364 | 312654.6622 | 33.25 | 68.6
71640 | 2021-04-05 15:13 | 31.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6437 | μmol/L | 11.4253 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154716.1214 | 312648.4692 | 33.25 | 68.6
71649 | 2021-04-05 15:13 | 32.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6099 | μmol/L | 11.4313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.97 | 154711.6215 | 312658.22 | 33.25 | 68.6
71658 | 2021-04-05 15:13 | 32.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6329 | μmol/L | 11.4313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.969 | 154710.1063 | 312642.8918 | 33.25 | 68.6
71667 | 2021-04-05 15:14 | 32.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5868 | μmol/L | 11.4313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154719.6728 | 312644.0613 | 33.25 | 68.6
71676 | 2021-04-05 15:14 | 33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4732 | μmol/L | 11.4435 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154703.952 | 312628.0909 | 33.25 | 68.6
71685 | 2021-04-05 15:14 | 33.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.53 | μmol/L | 11.4374 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.971 | 154701.2642 | 312618.5274 | 33.25 | 68.6
71694 | 2021-04-05 15:15 | 33.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5422 | μmol/L | 11.4435 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154698.7598 | 312624.3836 | 33.25 | 68.6
71703 | 2021-04-05 15:15 | 34.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5652 | μmol/L | 11.4435 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.967 | 154691.6248 | 312613.6876 | 33.25 | 68.6
71712 | 2021-04-05 15:15 | 34.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5991 | μmol/L | 11.4374 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 154685.3797 | 312606.3122 | 33.25 | 68.6
71721 | 2021-04-05 15:16 | 34.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6221 | μmol/L | 11.4374 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.967 | 154676.8661 | 312598.618 | 33.25 | 68.6