## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70786 | 2021-04-05 14:41 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.8665 | μmol/L | 10.9346 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136934.8684 | 275942.0343 | 26.25 | 74
70795 | 2021-04-05 14:41 | 0.32837 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.7506 | μmol/L | 10.9467 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136910.9735 | 275926.3982 | 26.25 | 74
70804 | 2021-04-05 14:42 | 0.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.839 | μmol/L | 10.9528 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136898.5468 | 275917.633 | 26.25 | 74
70813 | 2021-04-05 14:42 | 0.99506 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6987 | μmol/L | 10.965 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136882.0794 | 275905.6538 | 26.25 | 74
70822 | 2021-04-05 14:42 | 1.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6987 | μmol/L | 10.965 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136877.5117 | 275911.6716 | 26.25 | 74
70831 | 2021-04-05 14:43 | 1.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.6407 | μmol/L | 10.971 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136855.4732 | 275889.8751 | 26.25 | 74
70840 | 2021-04-05 14:43 | 1.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.4914 | μmol/L | 10.9893 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136848.6741 | 275887.8998 | 26.25 | 74
70849 | 2021-04-05 14:43 | 2.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.4001 | μmol/L | 11.0014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.003 | 136841.7078 | 275889.7295 | 26.25 | 74
70858 | 2021-04-05 14:44 | 2.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3848 | μmol/L | 10.9954 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136842.2751 | 275876.5977 | 26.25 | 74
70867 | 2021-04-05 14:44 | 2.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3513 | μmol/L | 11.0014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136830.8065 | 275878.1775 | 26.25 | 74
70876 | 2021-04-05 14:44 | 3.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.3666 | μmol/L | 11.0075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.002 | 136831.5417 | 275856.779 | 26.25 | 74
70885 | 2021-04-05 14:45 | 3.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1201 | μmol/L | 11.0257 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136820.6679 | 275853.6511 | 26.25 | 74
70894 | 2021-04-05 14:45 | 3.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1201 | μmol/L | 11.0257 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136824.533 | 275839.0452 | 26.25 | 74
70903 | 2021-04-05 14:45 | 4.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9802 | μmol/L | 11.0379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136825.6624 | 275836.2528 | 26.25 | 74
70912 | 2021-04-05 14:46 | 4.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8982 | μmol/L | 11.044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136813.9953 | 275823.801 | 26.25 | 74
70921 | 2021-04-05 14:46 | 4.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8738 | μmol/L | 11.044 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.008 | 136814.9637 | 275821.135 | 26.25 | 74
70930 | 2021-04-05 14:46 | 5.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7828 | μmol/L | 11.0561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136804.6897 | 275805.899 | 26.25 | 74
70939 | 2021-04-05 14:47 | 5.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8071 | μmol/L | 11.0561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136800.1397 | 275799.2032 | 26.25 | 74
70948 | 2021-04-05 14:47 | 5.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6918 | μmol/L | 11.0683 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136797.7572 | 275787.1181 | 26.25 | 74
70957 | 2021-04-05 14:47 | 6.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7161 | μmol/L | 11.0683 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136782.6548 | 275786.8485 | 26.25 | 74
70966 | 2021-04-05 14:48 | 6.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6584 | μmol/L | 11.0744 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.005 | 136782.1746 | 275784.0395 | 26.25 | 74
70975 | 2021-04-05 14:48 | 6.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6737 | μmol/L | 11.0805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.002 | 136764.4366 | 275784.0461 | 26.25 | 74
70984 | 2021-04-05 14:48 | 7.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5099 | μmol/L | 11.0926 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136759.3825 | 275771.7226 | 26.25 | 74
70993 | 2021-04-05 14:49 | 7.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5342 | μmol/L | 11.0926 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.003 | 136748.6496 | 275760.2821 | 26.25 | 74
71002 | 2021-04-05 14:49 | 7.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5009 | μmol/L | 11.0987 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.002 | 136738.0798 | 275750.3015 | 26.25 | 74
71011 | 2021-04-05 14:49 | 8.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.3615 | μmol/L | 11.1108 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.003 | 136729.4465 | 275741.739 | 26.25 | 74
71020 | 2021-04-05 14:50 | 8.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2797 | μmol/L | 11.1169 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136725.3745 | 275739.535 | 26.25 | 74
71029 | 2021-04-05 14:50 | 8.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2221 | μmol/L | 11.123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136733.627 | 275741.2724 | 26.25 | 74
71038 | 2021-04-05 14:50 | 9.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2068 | μmol/L | 11.1169 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136732.6863 | 275712.7894 | 26.25 | 74
71047 | 2021-04-05 14:51 | 9.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0676 | μmol/L | 11.1291 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.008 | 136738.1749 | 275706.9486 | 26.25 | 74
71056 | 2021-04-05 14:51 | 9.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.1493 | μmol/L | 11.123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136743.7114 | 275680.4385 | 26.25 | 74
71065 | 2021-04-05 14:51 | 10.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0101 | μmol/L | 11.1352 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.008 | 136746.2179 | 275695.3775 | 26.25 | 74
71074 | 2021-04-05 14:52 | 10.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9042 | μmol/L | 11.1412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136738.5143 | 275680.184 | 26.25 | 74
71083 | 2021-04-05 14:52 | 10.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9042 | μmol/L | 11.1412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136743.8436 | 275673.2849 | 26.25 | 74
71092 | 2021-04-05 14:52 | 11.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8225 | μmol/L | 11.1473 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136743.0812 | 275662.1746 | 26.25 | 74
71101 | 2021-04-05 14:53 | 11.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6924 | μmol/L | 11.1534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136742.7645 | 275658.0787 | 26.25 | 74
71110 | 2021-04-05 14:53 | 11.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6593 | μmol/L | 11.1595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136745.104 | 275651.0017 | 26.25 | 74
71119 | 2021-04-05 14:53 | 12.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5866 | μmol/L | 11.1595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136749.2638 | 275653.6074 | 26.25 | 74
71128 | 2021-04-05 14:54 | 12.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4873 | μmol/L | 11.1777 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136739.0796 | 275633.5418 | 26.25 | 74
71137 | 2021-04-05 14:54 | 12.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4478 | μmol/L | 11.1716 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136760.979 | 275644.5954 | 26.25 | 74
71146 | 2021-04-05 14:54 | 13.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3179 | μmol/L | 11.1777 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136769.2495 | 275617.4938 | 26.25 | 74
71155 | 2021-04-05 14:55 | 13.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2123 | μmol/L | 11.1838 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.022 | 136763.6748 | 275609.5225 | 26.25 | 74
71164 | 2021-04-05 14:55 | 13.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0736 | μmol/L | 11.1959 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.023 | 136762.9378 | 275605.4558 | 26.25 | 74
71173 | 2021-04-05 14:55 | 14.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1067 | μmol/L | 11.1899 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.024 | 136769.9262 | 275596.6419 | 26.25 | 74
71182 | 2021-04-05 14:56 | 14.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.122 | μmol/L | 11.1959 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.021 | 136778.3061 | 275588.3751 | 26.25 | 74
71191 | 2021-04-05 14:56 | 14.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9528 | μmol/L | 11.1959 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.028 | 136780.307 | 275596.1505 | 26.25 | 74
71200 | 2021-04-05 14:56 | 15.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9681 | μmol/L | 11.202 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.025 | 136788.6029 | 275577.9018 | 26.25 | 74
71209 | 2021-04-05 14:57 | 15.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8956 | μmol/L | 11.202 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.028 | 136800.8286 | 275572.2268 | 26.25 | 74
71218 | 2021-04-05 14:57 | 15.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8143 | μmol/L | 11.2081 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136811.8718 | 275567.2984 | 26.25 | 74
71227 | 2021-04-05 14:57 | 16.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.766 | μmol/L | 11.2081 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.031 | 136823.332 | 275547.9699 | 26.25 | 74
71236 | 2021-04-05 14:58 | 16.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5159 | μmol/L | 11.2142 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.039 | 136832.1435 | 275559.5771 | 26.25 | 74
71245 | 2021-04-05 14:58 | 16.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5071 | μmol/L | 11.2203 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.037 | 136832.7632 | 275540.897 | 26.25 | 74
71254 | 2021-04-05 14:58 | 17.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2965 | μmol/L | 11.2324 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.041 | 136840.2908 | 275534.2255 | 26.25 | 74
71263 | 2021-04-05 14:59 | 17.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2789 | μmol/L | 11.2446 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.037 | 136832.2299 | 275531.8677 | 26.25 | 74
71272 | 2021-04-05 14:59 | 17.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3206 | μmol/L | 11.2324 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.04 | 136835.3298 | 275522.5562 | 26.25 | 74
71281 | 2021-04-05 14:59 | 18.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3777 | μmol/L | 11.2263 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.04 | 136834.0805 | 275511.9143 | 26.25 | 74
71290 | 2021-04-05 15:00 | 18.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1913 | μmol/L | 11.2385 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.043 | 136850.7608 | 275509.0455 | 26.25 | 74
71299 | 2021-04-05 15:00 | 18.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0621 | μmol/L | 11.2446 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.046 | 136853.3502 | 275495.5415 | 26.25 | 74
71308 | 2021-04-05 15:00 | 19.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0051 | μmol/L | 11.2506 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.046 | 136870.3235 | 275492.903 | 26.25 | 74
71317 | 2021-04-05 15:01 | 19.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.957 | μmol/L | 11.2506 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.048 | 136872.8531 | 275486.2328 | 26.25 | 74
71326 | 2021-04-05 15:01 | 19.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9482 | μmol/L | 11.2567 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.046 | 136888.334 | 275488.4286 | 26.25 | 74
71335 | 2021-04-05 15:01 | 20.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.771 | μmol/L | 11.2628 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.051 | 136898.0164 | 275470.1647 | 26.25 | 74
71344 | 2021-04-05 15:02 | 20.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6989 | μmol/L | 11.2628 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.054 | 136911.3265 | 275473.5909 | 26.25 | 74
71353 | 2021-04-05 15:02 | 20.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.618 | μmol/L | 11.2689 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.055 | 136921.1251 | 275466.6783 | 26.25 | 74
71362 | 2021-04-05 15:02 | 21.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5547 | μmol/L | 11.2628 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.06 | 136929.3406 | 275464.5322 | 26.25 | 74
71371 | 2021-04-05 15:03 | 21.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4258 | μmol/L | 11.2689 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.063 | 136942.6471 | 275436.9819 | 26.25 | 74
71380 | 2021-04-05 15:03 | 21.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2882 | μmol/L | 11.281 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.064 | 136962.6606 | 275444.9661 | 26.25 | 74
71389 | 2021-04-05 15:03 | 22.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3778 | μmol/L | 11.2689 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.065 | 136967.4842 | 275443.3489 | 26.25 | 74
71398 | 2021-04-05 15:04 | 22.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1682 | μmol/L | 11.281 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.069 | 136979.9999 | 275446.6856 | 26.25 | 74
71407 | 2021-04-05 15:04 | 22.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1443 | μmol/L | 11.281 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.07 | 136989.5384 | 275424.3509 | 26.25 | 74
71416 | 2021-04-05 15:04 | 23.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0635 | μmol/L | 11.2871 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.071 | 136988.4301 | 275426.7594 | 26.25 | 74
71425 | 2021-04-05 15:05 | 23.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0156 | μmol/L | 11.2871 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.073 | 137006.9514 | 275415.6346 | 26.25 | 74
71434 | 2021-04-05 15:05 | 23.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8958 | μmol/L | 11.2871 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 137013.3474 | 275414.3424 | 26.25 | 74
71443 | 2021-04-05 15:05 | 24.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8391 | μmol/L | 11.2932 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 137019.6187 | 275405.479 | 26.25 | 74
71452 | 2021-04-05 15:06 | 24.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.63 | μmol/L | 11.3054 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.082 | 137034.5835 | 275404.1778 | 26.25 | 74
71461 | 2021-04-05 15:06 | 24.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6387 | μmol/L | 11.2993 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.084 | 137045.4552 | 275383.3972 | 26.25 | 74
71470 | 2021-04-05 15:06 | 25.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5821 | μmol/L | 11.3054 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.084 | 137052.9205 | 275386.979 | 26.25 | 74
71479 | 2021-04-05 15:07 | 25.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4537 | μmol/L | 11.3114 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.087 | 137075.268 | 275394.3669 | 26.25 | 74
71488 | 2021-04-05 15:07 | 25.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3429 | μmol/L | 11.3054 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.094 | 137084.6417 | 275382.2417 | 26.25 | 74
71497 | 2021-04-05 15:07 | 26.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3581 | μmol/L | 11.3114 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.091 | 137083.8204 | 275380.2371 | 26.25 | 74
71506 | 2021-04-05 15:08 | 26.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3254 | μmol/L | 11.3175 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.09 | 137086.7612 | 275365.7935 | 26.25 | 74
71515 | 2021-04-05 15:08 | 26.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2864 | μmol/L | 11.3114 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.094 | 137083.9858 | 275363.1416 | 26.25 | 74
71524 | 2021-04-05 15:08 | 27.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1255 | μmol/L | 11.3236 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.096 | 137087.5035 | 275339.7775 | 26.25 | 74
71533 | 2021-04-05 15:09 | 27.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0212 | μmol/L | 11.3297 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.098 | 137093.602 | 275362.6462 | 26.25 | 74
71542 | 2021-04-05 15:09 | 27.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0451 | μmol/L | 11.3297 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.097 | 137088.2831 | 275348.7032 | 26.25 | 74
71551 | 2021-04-05 15:09 | 28.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0212 | μmol/L | 11.3297 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.098 | 137092.3277 | 275335.6661 | 26.25 | 74
71560 | 2021-04-05 15:10 | 28.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0539 | μmol/L | 11.3236 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.099 | 137101.5218 | 275336.8267 | 26.25 | 74
71569 | 2021-04-05 15:10 | 28.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9322 | μmol/L | 11.3418 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.097 | 137105.4058 | 275323.2349 | 26.25 | 74
71578 | 2021-04-05 15:10 | 29.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8454 | μmol/L | 11.3357 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.103 | 137106.7331 | 275324.8458 | 26.25 | 74
71587 | 2021-04-05 15:11 | 29.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8128 | μmol/L | 11.3418 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.102 | 137103.9412 | 275306.1874 | 26.25 | 74
71596 | 2021-04-05 15:11 | 29.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.789 | μmol/L | 11.3418 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.103 | 137101.2418 | 275316.191 | 26.25 | 74
71605 | 2021-04-05 15:11 | 30.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8128 | μmol/L | 11.3418 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.102 | 137090.6182 | 275319.3077 | 26.25 | 74
71614 | 2021-04-05 15:12 | 30.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.7715 | μmol/L | 11.354 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.099 | 137082.0352 | 275306.1978 | 26.25 | 74
71623 | 2021-04-05 15:12 | 30.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8757 | μmol/L | 11.3479 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.097 | 137058.9383 | 275297.758 | 26.25 | 74
71632 | 2021-04-05 15:12 | 31.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8908 | μmol/L | 11.354 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.094 | 137023.9645 | 275297.9985 | 26.25 | 74
71641 | 2021-04-05 15:13 | 31.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0906 | μmol/L | 11.3479 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.088 | 136997.7184 | 275282.0036 | 26.25 | 74
71650 | 2021-04-05 15:13 | 31.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0667 | μmol/L | 11.3479 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.089 | 136977.408 | 275290.1017 | 26.25 | 74
71659 | 2021-04-05 15:13 | 32.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0406 | μmol/L | 11.3661 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.083 | 136952.0036 | 275275.7656 | 26.25 | 74
71668 | 2021-04-05 15:14 | 32.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.097 | μmol/L | 11.3601 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.083 | 136947.3009 | 275269.2006 | 26.25 | 74
71677 | 2021-04-05 15:14 | 32.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0167 | μmol/L | 11.3661 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.084 | 136954.5955 | 275274.7395 | 26.25 | 74
71686 | 2021-04-05 15:14 | 33.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8973 | μmol/L | 11.3661 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.089 | 136964.3261 | 275262.4397 | 26.25 | 74
71695 | 2021-04-05 15:15 | 33.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8496 | μmol/L | 11.3661 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.091 | 136978.155 | 275262.6336 | 26.25 | 74
71704 | 2021-04-05 15:15 | 33.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.7129 | μmol/L | 11.3783 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.092 | 136986.1949 | 275253.0173 | 26.25 | 74
71713 | 2021-04-05 15:15 | 34.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.6262 | μmol/L | 11.3722 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.098 | 137010.4839 | 275249.0314 | 26.25 | 74
71722 | 2021-04-05 15:16 | 34.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5547 | μmol/L | 11.3722 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.101 | 137036.9387 | 275237.1219 | 26.25 | 74