## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71723 | 2021-04-05 16:15 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6602 | μmol/L | 11.0276 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.953 | 135872.966 | 303957.0609 | 59.9307 | 38.1
71731 | 2021-04-05 16:15 | 0.32983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6764 | μmol/L | 11.0337 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.95 | 135860.9296 | 303960.4687 | 59.9307 | 38.1
71740 | 2021-04-05 16:15 | 0.66279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7248 | μmol/L | 11.0337 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.948 | 135853.9081 | 303970.0692 | 59.9307 | 38.1
71749 | 2021-04-05 16:16 | 0.99639 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5633 | μmol/L | 11.0459 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.95 | 135841.5507 | 303944.8387 | 59.9307 | 38.1
71758 | 2021-04-05 16:16 | 1.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.636 | μmol/L | 11.0459 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.947 | 135825.1094 | 303937.4425 | 59.9307 | 38.1
71767 | 2021-04-05 16:16 | 1.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5472 | μmol/L | 11.0581 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.946 | 135814.3878 | 303924.4956 | 59.9307 | 38.1
71776 | 2021-04-05 16:17 | 1.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.523 | μmol/L | 11.0581 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.947 | 135808.5917 | 303916.9013 | 59.9307 | 38.1
71785 | 2021-04-05 16:17 | 2.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.402 | μmol/L | 11.0763 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.945 | 135806.1487 | 303910.0875 | 59.9307 | 38.1
71794 | 2021-04-05 16:17 | 2.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5391 | μmol/L | 11.0641 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.944 | 135801.1819 | 303901.6861 | 59.9307 | 38.1
71803 | 2021-04-05 16:18 | 2.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3939 | μmol/L | 11.0824 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135796.6334 | 303917.6791 | 59.9307 | 38.1
71812 | 2021-04-05 16:18 | 3.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4504 | μmol/L | 11.0763 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135773.319 | 303889.1286 | 59.9307 | 38.1
71821 | 2021-04-05 16:18 | 3.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3939 | μmol/L | 11.0824 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135774.6408 | 303889.388 | 59.9307 | 38.1
71830 | 2021-04-05 16:19 | 3.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3939 | μmol/L | 11.0824 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135774.2639 | 303877.9475 | 59.9307 | 38.1
71839 | 2021-04-05 16:19 | 4.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4908 | μmol/L | 11.0824 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 135764.3426 | 303861.0942 | 59.9307 | 38.1
71848 | 2021-04-05 16:19 | 4.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3779 | μmol/L | 11.0946 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 135764.8451 | 303861.3243 | 59.9307 | 38.1
71857 | 2021-04-05 16:20 | 4.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3457 | μmol/L | 11.1007 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 135757.7435 | 303864.7624 | 59.9307 | 38.1
71866 | 2021-04-05 16:20 | 5.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2489 | μmol/L | 11.1007 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.942 | 135756.9026 | 303855.4963 | 59.9307 | 38.1
71875 | 2021-04-05 16:20 | 5.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3699 | μmol/L | 11.1007 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.937 | 135745.9193 | 303858.4915 | 59.9307 | 38.1
71884 | 2021-04-05 16:21 | 5.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1683 | μmol/L | 11.1068 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135735.8345 | 303842.2464 | 59.9307 | 38.1
71893 | 2021-04-05 16:21 | 6.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2973 | μmol/L | 11.1007 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.94 | 135733.4237 | 303842.5635 | 59.9307 | 38.1
71902 | 2021-04-05 16:21 | 6.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1281 | μmol/L | 11.119 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.94 | 135731.4276 | 303834.1377 | 59.9307 | 38.1
71911 | 2021-04-05 16:22 | 6.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1523 | μmol/L | 11.119 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 135726.3219 | 303831.4372 | 59.9307 | 38.1
71920 | 2021-04-05 16:22 | 7.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1927 | μmol/L | 11.1251 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.935 | 135710.0644 | 303818.6506 | 59.9307 | 38.1
71929 | 2021-04-05 16:22 | 7.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9992 | μmol/L | 11.1251 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.943 | 135721.5671 | 303827.0804 | 59.9307 | 38.1
71938 | 2021-04-05 16:23 | 7.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0075 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 135719.0955 | 303814.4493 | 59.9307 | 38.1
71947 | 2021-04-05 16:23 | 8.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1443 | μmol/L | 11.1251 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.937 | 135712.904 | 303823.6878 | 59.9307 | 38.1
71956 | 2021-04-05 16:23 | 8.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0075 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 135709.9444 | 303813.3893 | 59.9307 | 38.1
71965 | 2021-04-05 16:24 | 8.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8224 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.941 | 135704.8449 | 303805.2131 | 59.9307 | 38.1
71974 | 2021-04-05 16:24 | 9.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0558 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.936 | 135698.4737 | 303778.6379 | 59.9307 | 38.1
71983 | 2021-04-05 16:24 | 9.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8707 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 135703.2254 | 303797.7233 | 59.9307 | 38.1
71992 | 2021-04-05 16:25 | 9.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8949 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 135701.6501 | 303796.4583 | 59.9307 | 38.1
72001 | 2021-04-05 16:25 | 10.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7661 | μmol/L | 11.1555 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.941 | 135691.6543 | 303776.7949 | 59.9307 | 38.1
72010 | 2021-04-05 16:25 | 10.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9432 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.936 | 135688.5526 | 303778.8177 | 59.9307 | 38.1
72019 | 2021-04-05 16:26 | 10.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7823 | μmol/L | 11.1616 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 135694.2548 | 303767.4417 | 59.9307 | 38.1
72028 | 2021-04-05 16:26 | 11.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7985 | μmol/L | 11.1677 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.935 | 135683.7889 | 303765.1758 | 59.9307 | 38.1
72037 | 2021-04-05 16:26 | 11.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6778 | μmol/L | 11.1677 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.94 | 135683.5925 | 303772.9829 | 59.9307 | 38.1
72046 | 2021-04-05 16:27 | 11.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7744 | μmol/L | 11.1677 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.936 | 135677.3016 | 303757.5098 | 59.9307 | 38.1
72055 | 2021-04-05 16:27 | 12.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8227 | μmol/L | 11.1677 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.934 | 135674.8042 | 303758.5557 | 59.9307 | 38.1
72064 | 2021-04-05 16:27 | 12.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5333 | μmol/L | 11.186 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 135660.2601 | 303749.4571 | 59.9307 | 38.1
72073 | 2021-04-05 16:28 | 12.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7102 | μmol/L | 11.1799 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.934 | 135646.8341 | 303748.8154 | 59.9307 | 38.1
72082 | 2021-04-05 16:28 | 13.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7023 | μmol/L | 11.186 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.932 | 135639.3966 | 303750.1615 | 59.9307 | 38.1
72091 | 2021-04-05 16:28 | 13.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6985 | μmol/L | 11.186 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.932 | 135620.0206 | 303751.0144 | 59.9307 | 38.1
72100 | 2021-04-05 16:29 | 13.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7506 | μmol/L | 11.186 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.93 | 135608.1163 | 303730.2577 | 59.9307 | 38.1
72109 | 2021-04-05 16:29 | 14.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7427 | μmol/L | 11.1921 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.928 | 135594.0233 | 303739.0611 | 59.9307 | 38.1
72118 | 2021-04-05 16:29 | 14.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.791 | μmol/L | 11.1921 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.926 | 135574.6247 | 303712.2387 | 59.9307 | 38.1
72127 | 2021-04-05 16:30 | 14.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7473 | μmol/L | 11.2043 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.923 | 135560.999 | 303720.3439 | 59.9307 | 38.1
72136 | 2021-04-05 16:30 | 15.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6669 | μmol/L | 11.2104 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.924 | 135547.3724 | 303691.5364 | 59.9307 | 38.1
72145 | 2021-04-05 16:30 | 15.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7994 | μmol/L | 11.2043 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.921 | 135542.3221 | 303701.7952 | 59.9307 | 38.1
72154 | 2021-04-05 16:31 | 15.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7673 | μmol/L | 11.2104 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.92 | 135536.7529 | 303723.6505 | 59.9307 | 38.1
72163 | 2021-04-05 16:31 | 16.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8844 | μmol/L | 11.2104 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.915 | 135517.6413 | 303700.3286 | 59.9307 | 38.1
72172 | 2021-04-05 16:31 | 16.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7798 | μmol/L | 11.2165 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.917 | 135515.9639 | 303700.2814 | 59.9307 | 38.1
72181 | 2021-04-05 16:32 | 16.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7556 | μmol/L | 11.2165 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.918 | 135501.304 | 303686.4814 | 59.9307 | 38.1
72190 | 2021-04-05 16:32 | 17.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8523 | μmol/L | 11.2165 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.914 | 135487.6572 | 303684.1825 | 59.9307 | 38.1
72199 | 2021-04-05 16:32 | 17.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7236 | μmol/L | 11.2226 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.917 | 135484.8984 | 303694.8362 | 59.9307 | 38.1
72208 | 2021-04-05 16:33 | 17.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7678 | μmol/L | 11.2286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.913 | 135464.1128 | 303677.1826 | 59.9307 | 38.1
72217 | 2021-04-05 16:33 | 18.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8444 | μmol/L | 11.2226 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.912 | 135460.6832 | 303676.1522 | 59.9307 | 38.1
72226 | 2021-04-05 16:33 | 18.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9129 | μmol/L | 11.2286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.907 | 135444.5163 | 303683.0033 | 59.9307 | 38.1
72235 | 2021-04-05 16:34 | 18.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7804 | μmol/L | 11.2347 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.91 | 135447.1053 | 303683.3709 | 59.9307 | 38.1
72244 | 2021-04-05 16:34 | 19.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8287 | μmol/L | 11.2347 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.908 | 135435.6197 | 303678.6141 | 59.9307 | 38.1
72253 | 2021-04-05 16:34 | 19.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7684 | μmol/L | 11.2469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.906 | 135423.1969 | 303653.8362 | 59.9307 | 38.1
72262 | 2021-04-05 16:35 | 19.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8246 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.906 | 135413.502 | 303654.9088 | 59.9307 | 38.1
72271 | 2021-04-05 16:35 | 20.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7085 | μmol/L | 11.253 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.906 | 135406.6762 | 303661.515 | 59.9307 | 38.1
72280 | 2021-04-05 16:35 | 20.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7327 | μmol/L | 11.253 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.905 | 135396.4071 | 303665.8558 | 59.9307 | 38.1
72289 | 2021-04-05 16:36 | 20.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7568 | μmol/L | 11.253 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.904 | 135384.8511 | 303640.6337 | 59.9307 | 38.1
72298 | 2021-04-05 16:36 | 21.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8052 | μmol/L | 11.253 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.902 | 135378.1154 | 303650.5456 | 59.9307 | 38.1
72307 | 2021-04-05 16:36 | 21.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7007 | μmol/L | 11.2591 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.904 | 135370.2708 | 303635.6873 | 59.9307 | 38.1
72316 | 2021-04-05 16:37 | 21.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6725 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.903 | 135368.9661 | 303629.4252 | 59.9307 | 38.1
72325 | 2021-04-05 16:37 | 22.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7208 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.901 | 135356.6343 | 303635.1107 | 59.9307 | 38.1
72334 | 2021-04-05 16:37 | 22.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8175 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.897 | 135363.1798 | 303644.8745 | 59.9307 | 38.1
72343 | 2021-04-05 16:38 | 22.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8736 | μmol/L | 11.2591 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.897 | 135344.9157 | 303626.1765 | 59.9307 | 38.1
72352 | 2021-04-05 16:38 | 23.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7412 | μmol/L | 11.2652 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.9 | 135342.8125 | 303621.0609 | 59.9307 | 38.1
72361 | 2021-04-05 16:38 | 23.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6125 | μmol/L | 11.2713 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.903 | 135337.2285 | 303633.8336 | 59.9307 | 38.1
72370 | 2021-04-05 16:39 | 23.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6289 | μmol/L | 11.2774 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.9 | 135335.8918 | 303620.0019 | 59.9307 | 38.1
72379 | 2021-04-05 16:39 | 24.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6452 | μmol/L | 11.2835 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.897 | 135335.0373 | 303627.044 | 59.9307 | 38.1
72388 | 2021-04-05 16:39 | 24.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.681 | μmol/L | 11.2774 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.898 | 135325.6733 | 303619.0643 | 59.9307 | 38.1
72397 | 2021-04-05 16:40 | 24.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5891 | μmol/L | 11.2896 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.897 | 135320.5623 | 303630.1575 | 59.9307 | 38.1
72406 | 2021-04-05 16:40 | 25.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6732 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.896 | 135487.8527 | 303622.1792 | 59.9307 | 38.1
72415 | 2021-04-05 16:40 | 25.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6858 | μmol/L | 11.2896 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.893 | 135482.5331 | 303614.8252 | 59.9307 | 38.1
72424 | 2021-04-05 16:41 | 25.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6858 | μmol/L | 11.2896 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.893 | 135489.1442 | 303618.0159 | 59.9307 | 38.1
72433 | 2021-04-05 16:41 | 26.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5813 | μmol/L | 11.2957 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.895 | 135480.9955 | 303615.7802 | 59.9307 | 38.1
72442 | 2021-04-05 16:41 | 26.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5774 | μmol/L | 11.3018 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.893 | 135470.5602 | 303601.1103 | 59.9307 | 38.1
72451 | 2021-04-05 16:42 | 26.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6093 | μmol/L | 11.2957 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.894 | 135472.4701 | 303600.3268 | 59.9307 | 38.1
72460 | 2021-04-05 16:42 | 27.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6297 | μmol/L | 11.2957 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.893 | 135474.3998 | 303615.1407 | 59.9307 | 38.1
72469 | 2021-04-05 16:42 | 27.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5736 | μmol/L | 11.3018 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.893 | 135459.0904 | 303605.6502 | 59.9307 | 38.1
72478 | 2021-04-05 16:43 | 27.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6179 | μmol/L | 11.3079 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.889 | 135453.1772 | 303616.0699 | 59.9307 | 38.1
72487 | 2021-04-05 16:43 | 28.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7223 | μmol/L | 11.3018 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.887 | 135457.5477 | 303611.6476 | 59.9307 | 38.1
72496 | 2021-04-05 16:43 | 28.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5618 | μmol/L | 11.314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.889 | 135442.195 | 303582.3987 | 59.9307 | 38.1
72505 | 2021-04-05 16:44 | 28.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6547 | μmol/L | 11.314 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.885 | 135443.5785 | 303598.4754 | 59.9307 | 38.1
72514 | 2021-04-05 16:44 | 29.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6063 | μmol/L | 11.314 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.887 | 135439.0355 | 303591.5563 | 59.9307 | 38.1
72523 | 2021-04-05 16:44 | 29.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6547 | μmol/L | 11.314 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.885 | 135432.4709 | 303593.1858 | 59.9307 | 38.1
72532 | 2021-04-05 16:45 | 29.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6383 | μmol/L | 11.3079 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.888 | 135427.3145 | 303587.5753 | 59.9307 | 38.1
72541 | 2021-04-05 16:45 | 30.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5667 | μmol/L | 11.3261 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.884 | 135419.9169 | 303587.9471 | 59.9307 | 38.1
72550 | 2021-04-05 16:45 | 30.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5908 | μmol/L | 11.3261 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.883 | 135418.9823 | 303593.0467 | 59.9307 | 38.1
72559 | 2021-04-05 16:46 | 30.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5667 | μmol/L | 11.3261 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.884 | 135420.6035 | 303600.0594 | 59.9307 | 38.1
72568 | 2021-04-05 16:46 | 31.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5705 | μmol/L | 11.3261 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.884 | 135412.4192 | 303584.9738 | 59.9307 | 38.1
72577 | 2021-04-05 16:46 | 31.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6469 | μmol/L | 11.32 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.883 | 135410.969 | 303593.084 | 59.9307 | 38.1
72586 | 2021-04-05 16:47 | 31.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5627 | μmol/L | 11.3322 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.882 | 135395.222 | 303581.9564 | 59.9307 | 38.1
72595 | 2021-04-05 16:47 | 32.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5831 | μmol/L | 11.3322 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.881 | 135401.6193 | 303581.9893 | 59.9307 | 38.1
72604 | 2021-04-05 16:47 | 32.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5386 | μmol/L | 11.3322 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.883 | 135398.932 | 303589.2878 | 59.9307 | 38.1
72613 | 2021-04-05 16:48 | 32.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4825 | μmol/L | 11.3383 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.883 | 135385.8994 | 303588.5832 | 59.9307 | 38.1
72622 | 2021-04-05 16:48 | 33.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5067 | μmol/L | 11.3383 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.882 | 135378.2073 | 303577.1435 | 59.9307 | 38.1
72631 | 2021-04-05 16:48 | 33.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4951 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.88 | 135377.5448 | 303575.5434 | 59.9307 | 38.1
72640 | 2021-04-05 16:49 | 33.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5193 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.879 | 135377.6714 | 303557.172 | 59.9307 | 38.1
72649 | 2021-04-05 16:49 | 34.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5918 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.876 | 135366.2995 | 303575.6009 | 59.9307 | 38.1
72658 | 2021-04-05 16:49 | 34.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.584 | μmol/L | 11.3505 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135365.2445 | 303573.5813 | 59.9307 | 38.1
72667 | 2021-04-05 16:50 | 34.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6401 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135347.6701 | 303558.8464 | 59.9307 | 38.1
72676 | 2021-04-05 16:50 | 35.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6082 | μmol/L | 11.3505 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135349.3828 | 303546.6002 | 59.9307 | 38.1
72685 | 2021-04-05 16:50 | 35.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6884 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135333.8218 | 303562.0038 | 59.9307 | 38.1
72694 | 2021-04-05 16:51 | 35.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4555 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.877 | 135343.9552 | 303558.0126 | 59.9307 | 38.1
72703 | 2021-04-05 16:51 | 36.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.528 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135338.9146 | 303564.9109 | 59.9307 | 38.1
72712 | 2021-04-05 16:51 | 36.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6247 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 135330.985 | 303565.5224 | 59.9307 | 38.1
72721 | 2021-04-05 16:52 | 36.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.528 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135329.0904 | 303559.6691 | 59.9307 | 38.1
72730 | 2021-04-05 16:52 | 37.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5763 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135329.4945 | 303556.8381 | 59.9307 | 38.1
72739 | 2021-04-05 16:52 | 37.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5686 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 135332.218 | 303560.2663 | 59.9307 | 38.1
72748 | 2021-04-05 16:53 | 37.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4884 | μmol/L | 11.3688 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.871 | 135329.5403 | 303550.7073 | 59.9307 | 38.1
72757 | 2021-04-05 16:53 | 38.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4643 | μmol/L | 11.3688 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135335.8344 | 303550.0677 | 59.9307 | 38.1
72766 | 2021-04-05 16:53 | 38.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4401 | μmol/L | 11.3688 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135338.359 | 303561.5941 | 59.9307 | 38.1
72775 | 2021-04-05 16:54 | 38.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3841 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135336.0377 | 303565.0938 | 59.9307 | 38.1
72784 | 2021-04-05 16:54 | 39.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3523 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135336.901 | 303547.7831 | 59.9307 | 38.1
72793 | 2021-04-05 16:54 | 39.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.36 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135329.1973 | 303528.7602 | 59.9307 | 38.1
72802 | 2021-04-05 16:55 | 39.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.36 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135331.4619 | 303541.8719 | 59.9307 | 38.1
72811 | 2021-04-05 16:55 | 40.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.248 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 135330.361 | 303551.3717 | 59.9307 | 38.1
72820 | 2021-04-05 16:55 | 40.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3523 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135335.772 | 303560.6489 | 59.9307 | 38.1
72829 | 2021-04-05 16:56 | 40.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2722 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135327.7485 | 303538.3072 | 59.9307 | 38.1
72838 | 2021-04-05 16:56 | 41.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2722 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135324.4616 | 303546.4739 | 59.9307 | 38.1
72847 | 2021-04-05 16:56 | 41.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3446 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 135321.3081 | 303531.5557 | 59.9307 | 38.1
72856 | 2021-04-05 16:57 | 41.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2162 | μmol/L | 11.3932 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 135316.1947 | 303553.3598 | 59.9307 | 38.1
72865 | 2021-04-05 16:57 | 42.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2404 | μmol/L | 11.3932 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 135325.606 | 303551.5332 | 59.9307 | 38.1
72874 | 2021-04-05 16:57 | 42.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2645 | μmol/L | 11.3932 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.871 | 135324.7533 | 303565.5788 | 59.9307 | 38.1