## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71724 | 2021-04-05 16:15 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7052 | μmol/L | 10.9536 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.172 | 112717.4982 | 218581.1575 | 27.3 | 43.4
71733 | 2021-04-05 16:15 | 0.32824 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6944 | μmol/L | 10.9597 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.17 | 112718.5256 | 218581.452 | 27.3 | 43.4
71742 | 2021-04-05 16:15 | 0.66211 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.777 | μmol/L | 10.9597 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.167 | 112692.9208 | 218596.1303 | 27.3 | 43.4
71751 | 2021-04-05 16:16 | 0.99522 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6011 | μmol/L | 10.9658 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.171 | 112693.5565 | 218607.1433 | 27.3 | 43.4
71760 | 2021-04-05 16:16 | 1.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5354 | μmol/L | 10.9719 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.171 | 112671.4564 | 218589.5574 | 27.3 | 43.4
71769 | 2021-04-05 16:16 | 1.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6179 | μmol/L | 10.9719 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.168 | 112655.2614 | 218579.7791 | 27.3 | 43.4
71778 | 2021-04-05 16:17 | 1.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6346 | μmol/L | 10.978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.165 | 112641.8239 | 218578.2673 | 27.3 | 43.4
71787 | 2021-04-05 16:17 | 2.3287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6621 | μmol/L | 10.978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.164 | 112619.57 | 218572.0293 | 27.3 | 43.4
71796 | 2021-04-05 16:17 | 2.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5688 | μmol/L | 10.9841 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.165 | 112607.7795 | 218561.7924 | 27.3 | 43.4
71805 | 2021-04-05 16:18 | 2.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4649 | μmol/L | 10.9963 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.164 | 112596.2092 | 218566.5845 | 27.3 | 43.4
71814 | 2021-04-05 16:18 | 3.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6406 | μmol/L | 10.9902 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.16 | 112580.2405 | 218545.3648 | 27.3 | 43.4
71823 | 2021-04-05 16:18 | 3.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4816 | μmol/L | 11.0024 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.161 | 112574.3522 | 218552.1747 | 27.3 | 43.4
71832 | 2021-04-05 16:19 | 3.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5091 | μmol/L | 11.0024 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.16 | 112562.5032 | 218550.6887 | 27.3 | 43.4
71841 | 2021-04-05 16:19 | 4.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4709 | μmol/L | 11.0085 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.159 | 112557.426 | 218546.1925 | 27.3 | 43.4
71850 | 2021-04-05 16:19 | 4.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3228 | μmol/L | 11.0145 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.162 | 112538.6029 | 218546.1315 | 27.3 | 43.4
71859 | 2021-04-05 16:20 | 4.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5259 | μmol/L | 11.0085 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.157 | 112527.4633 | 218542.5629 | 27.3 | 43.4
71868 | 2021-04-05 16:20 | 5.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.532 | μmol/L | 11.0206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.152 | 112522.3094 | 218543.6342 | 27.3 | 43.4
71877 | 2021-04-05 16:20 | 5.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4113 | μmol/L | 11.0267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.154 | 112508.1734 | 218540.475 | 27.3 | 43.4
71886 | 2021-04-05 16:21 | 5.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3564 | μmol/L | 11.0267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112503.8307 | 218539.8741 | 27.3 | 43.4
71895 | 2021-04-05 16:21 | 6.3284 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4007 | μmol/L | 11.0328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.152 | 112481.8378 | 218530.6021 | 27.3 | 43.4
71904 | 2021-04-05 16:21 | 6.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6589 | μmol/L | 11.0267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112477.9312 | 218527.9818 | 27.3 | 43.4
71913 | 2021-04-05 16:22 | 6.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4175 | μmol/L | 11.0389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.149 | 112454.2404 | 218529.7812 | 27.3 | 43.4
71922 | 2021-04-05 16:22 | 7.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4618 | μmol/L | 11.045 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112450.8079 | 218520.3832 | 27.3 | 43.4
71931 | 2021-04-05 16:22 | 7.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5275 | μmol/L | 11.0389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112432.2199 | 218529.1123 | 27.3 | 43.4
71940 | 2021-04-05 16:23 | 7.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.413 | μmol/L | 11.0572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.142 | 112433.6761 | 218532.1377 | 27.3 | 43.4
71949 | 2021-04-05 16:23 | 8.3287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4405 | μmol/L | 11.0572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.141 | 112404.2598 | 218515.1305 | 27.3 | 43.4
71958 | 2021-04-05 16:23 | 8.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.523 | μmol/L | 11.0572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.138 | 112405.0868 | 218509.6524 | 27.3 | 43.4
71967 | 2021-04-05 16:24 | 8.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.468 | μmol/L | 11.0572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.14 | 112390.7549 | 218512.6897 | 27.3 | 43.4
71976 | 2021-04-05 16:24 | 9.3284 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4024 | μmol/L | 11.0633 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.14 | 112386.4815 | 218501.0705 | 27.3 | 43.4
71985 | 2021-04-05 16:24 | 9.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4468 | μmol/L | 11.0694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112376.5625 | 218504.7618 | 27.3 | 43.4
71994 | 2021-04-05 16:25 | 9.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4086 | μmol/L | 11.0755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112373.5038 | 218509.0284 | 27.3 | 43.4
72003 | 2021-04-05 16:25 | 10.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2437 | μmol/L | 11.0755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.141 | 112372.6395 | 218497.7589 | 27.3 | 43.4
72012 | 2021-04-05 16:25 | 10.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1675 | μmol/L | 11.0877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.139 | 112362.4062 | 218500.7932 | 27.3 | 43.4
72021 | 2021-04-05 16:26 | 10.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2225 | μmol/L | 11.0877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.137 | 112372.1559 | 218490.9226 | 27.3 | 43.4
72030 | 2021-04-05 16:26 | 11.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1844 | μmol/L | 11.0938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112358.3258 | 218488.7175 | 27.3 | 43.4
72039 | 2021-04-05 16:26 | 11.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0745 | μmol/L | 11.0938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.14 | 112366.9274 | 218486.1112 | 27.3 | 43.4
72048 | 2021-04-05 16:27 | 11.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1188 | μmol/L | 11.0999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112353.5118 | 218479.5117 | 27.3 | 43.4
72057 | 2021-04-05 16:27 | 12.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2013 | μmol/L | 11.0999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112350.6172 | 218472.9478 | 27.3 | 43.4
72066 | 2021-04-05 16:27 | 12.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0639 | μmol/L | 11.0999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.138 | 112352.6918 | 218480.266 | 27.3 | 43.4
72075 | 2021-04-05 16:28 | 12.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0533 | μmol/L | 11.106 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112339.863 | 218474.5529 | 27.3 | 43.4
72084 | 2021-04-05 16:28 | 13.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.9878 | μmol/L | 11.1121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112336.6011 | 218475.7561 | 27.3 | 43.4
72093 | 2021-04-05 16:28 | 13.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.9878 | μmol/L | 11.1121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112338.9326 | 218483.353 | 27.3 | 43.4
72102 | 2021-04-05 16:29 | 13.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.7027 | μmol/L | 11.1182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.144 | 112357.5518 | 218480.4392 | 27.3 | 43.4
72111 | 2021-04-05 16:29 | 14.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.5718 | μmol/L | 11.1304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.144 | 112353.8114 | 218466.5415 | 27.3 | 43.4
72120 | 2021-04-05 16:29 | 14.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.7196 | μmol/L | 11.1243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.141 | 112376.0441 | 218473.1278 | 27.3 | 43.4
72129 | 2021-04-05 16:30 | 14.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.6098 | μmol/L | 11.1243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112374.7905 | 218453.7098 | 27.3 | 43.4
72138 | 2021-04-05 16:30 | 15.3284 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.4347 | μmol/L | 11.1304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.149 | 112394.6501 | 218460.1768 | 27.3 | 43.4
72147 | 2021-04-05 16:30 | 15.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.4347 | μmol/L | 11.1304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.149 | 112391.9696 | 218455.045 | 27.3 | 43.4
72156 | 2021-04-05 16:31 | 15.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.2598 | μmol/L | 11.1365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.153 | 112408.615 | 218452.6773 | 27.3 | 43.4
72165 | 2021-04-05 16:31 | 16.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.2218 | μmol/L | 11.1426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.152 | 112407.3497 | 218456.9522 | 27.3 | 43.4
72174 | 2021-04-05 16:31 | 16.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0196 | μmol/L | 11.1487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.157 | 112425.0464 | 218458.3919 | 27.3 | 43.4
72183 | 2021-04-05 16:32 | 16.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.047 | μmol/L | 11.1487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112419.8576 | 218447.963 | 27.3 | 43.4
72192 | 2021-04-05 16:32 | 17.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8996 | μmol/L | 11.1547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.159 | 112427.4713 | 218440.9538 | 27.3 | 43.4
72201 | 2021-04-05 16:32 | 17.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9544 | μmol/L | 11.1547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.157 | 112425.3604 | 218436.9423 | 27.3 | 43.4
72210 | 2021-04-05 16:33 | 17.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0639 | μmol/L | 11.1547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.153 | 112419.7093 | 218434.9823 | 27.3 | 43.4
72219 | 2021-04-05 16:33 | 18.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9439 | μmol/L | 11.1608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.155 | 112426.3156 | 218440.7774 | 27.3 | 43.4
72228 | 2021-04-05 16:33 | 18.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8513 | μmol/L | 11.1669 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112412.595 | 218443.7209 | 27.3 | 43.4
72237 | 2021-04-05 16:34 | 18.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8681 | μmol/L | 11.173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.153 | 112411.5911 | 218436.8049 | 27.3 | 43.4
72246 | 2021-04-05 16:34 | 19.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7861 | μmol/L | 11.173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112397.2546 | 218434.9116 | 27.3 | 43.4
72255 | 2021-04-05 16:34 | 19.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8681 | μmol/L | 11.173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.153 | 112400.8445 | 218425.6638 | 27.3 | 43.4
72264 | 2021-04-05 16:35 | 19.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8408 | μmol/L | 11.173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.154 | 112381.4127 | 218420.8537 | 27.3 | 43.4
72273 | 2021-04-05 16:35 | 20.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8472 | μmol/L | 11.1852 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.149 | 112378.7081 | 218426.8303 | 27.3 | 43.4
72282 | 2021-04-05 16:35 | 20.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9398 | μmol/L | 11.1791 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.148 | 112362.4284 | 218427.155 | 27.3 | 43.4
72291 | 2021-04-05 16:36 | 20.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8367 | μmol/L | 11.1913 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.147 | 112356.3498 | 218424.2012 | 27.3 | 43.4
72300 | 2021-04-05 16:36 | 21.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8915 | μmol/L | 11.1913 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112343.7507 | 218418.0458 | 27.3 | 43.4
72309 | 2021-04-05 16:36 | 21.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8915 | μmol/L | 11.1913 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112329.2509 | 218412.0051 | 27.3 | 43.4
72318 | 2021-04-05 16:37 | 21.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.881 | μmol/L | 11.1974 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.143 | 112328.3937 | 218412.8997 | 27.3 | 43.4
72327 | 2021-04-05 16:37 | 22.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9801 | μmol/L | 11.2035 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.137 | 112315.3117 | 218405.1738 | 27.3 | 43.4
72336 | 2021-04-05 16:37 | 22.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0453 | μmol/L | 11.1974 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.137 | 112304.6428 | 218401.517 | 27.3 | 43.4
72345 | 2021-04-05 16:38 | 22.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.778 | μmol/L | 11.2096 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.142 | 112290.7869 | 218402.14 | 27.3 | 43.4
72354 | 2021-04-05 16:38 | 23.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0244 | μmol/L | 11.2096 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112289.0456 | 218398.4385 | 27.3 | 43.4
72363 | 2021-04-05 16:38 | 23.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9214 | μmol/L | 11.2218 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112270.3005 | 218399.0584 | 27.3 | 43.4
72372 | 2021-04-05 16:39 | 23.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.894 | μmol/L | 11.2218 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112267.048 | 218401.765 | 27.3 | 43.4
72381 | 2021-04-05 16:39 | 24.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9045 | μmol/L | 11.2157 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112255.8025 | 218409.4853 | 27.3 | 43.4
72390 | 2021-04-05 16:39 | 24.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9488 | μmol/L | 11.2218 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112246.6626 | 218406.3675 | 27.3 | 43.4
72399 | 2021-04-05 16:40 | 24.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.894 | μmol/L | 11.2218 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112242.3004 | 218400.192 | 27.3 | 43.4
72408 | 2021-04-05 16:40 | 25.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9828 | μmol/L | 11.234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112233.0293 | 218394.0927 | 27.3 | 43.4
72417 | 2021-04-05 16:40 | 25.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.928 | μmol/L | 11.234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.127 | 112220.1925 | 218393.8954 | 27.3 | 43.4
72426 | 2021-04-05 16:41 | 25.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9828 | μmol/L | 11.234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112204.1338 | 218394.5367 | 27.3 | 43.4
72435 | 2021-04-05 16:41 | 26.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9554 | μmol/L | 11.234 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.126 | 112205.4237 | 218392.1387 | 27.3 | 43.4
72444 | 2021-04-05 16:41 | 26.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9998 | μmol/L | 11.2401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112191.8589 | 218399.9129 | 27.3 | 43.4
72453 | 2021-04-05 16:42 | 26.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9998 | μmol/L | 11.2401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112192.2141 | 218378.6258 | 27.3 | 43.4
72462 | 2021-04-05 16:42 | 27.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9346 | μmol/L | 11.2462 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112182.0394 | 218393.0674 | 27.3 | 43.4
72471 | 2021-04-05 16:42 | 27.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.082 | μmol/L | 11.2401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112173.7128 | 218390.7209 | 27.3 | 43.4
72480 | 2021-04-05 16:43 | 27.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0064 | μmol/L | 11.2523 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.117 | 112156.6994 | 218380.817 | 27.3 | 43.4
72489 | 2021-04-05 16:43 | 28.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0612 | μmol/L | 11.2523 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.115 | 112156.3624 | 218381.0242 | 27.3 | 43.4
72498 | 2021-04-05 16:43 | 28.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9139 | μmol/L | 11.2584 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.118 | 112138.0884 | 218379.3504 | 27.3 | 43.4
72507 | 2021-04-05 16:44 | 28.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0887 | μmol/L | 11.2523 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.114 | 112142.8254 | 218375.2409 | 27.3 | 43.4
72516 | 2021-04-05 16:44 | 29.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0887 | μmol/L | 11.2523 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.114 | 112124.7467 | 218379.4668 | 27.3 | 43.4
72525 | 2021-04-05 16:44 | 29.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0405 | μmol/L | 11.2645 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.111 | 112126.033 | 218383.6912 | 27.3 | 43.4
72534 | 2021-04-05 16:45 | 29.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9857 | μmol/L | 11.2645 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.113 | 112109.5216 | 218381.1956 | 27.3 | 43.4
72543 | 2021-04-05 16:45 | 30.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1228 | μmol/L | 11.2645 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.108 | 112104.8398 | 218376.423 | 27.3 | 43.4
72552 | 2021-04-05 16:45 | 30.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0028 | μmol/L | 11.2706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.11 | 112094.4773 | 218378.6554 | 27.3 | 43.4
72561 | 2021-04-05 16:46 | 30.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0954 | μmol/L | 11.2645 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.109 | 112092.9983 | 218378.2374 | 27.3 | 43.4
72570 | 2021-04-05 16:46 | 31.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1228 | μmol/L | 11.2645 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.108 | 112092.096 | 218374.3839 | 27.3 | 43.4
72579 | 2021-04-05 16:46 | 31.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1124 | μmol/L | 11.2706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.106 | 112090.1799 | 218378.7682 | 27.3 | 43.4
72588 | 2021-04-05 16:47 | 31.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0199 | μmol/L | 11.2767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.107 | 112093.2528 | 218381.2668 | 27.3 | 43.4
72597 | 2021-04-05 16:47 | 32.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1673 | μmol/L | 11.2706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.104 | 112077.3148 | 218373.9308 | 27.3 | 43.4
72606 | 2021-04-05 16:47 | 32.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9925 | μmol/L | 11.2767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.108 | 112076.8978 | 218385.7609 | 27.3 | 43.4
72615 | 2021-04-05 16:48 | 32.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1021 | μmol/L | 11.2767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.104 | 112066.1041 | 218371.1761 | 27.3 | 43.4
72624 | 2021-04-05 16:48 | 33.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.1021 | μmol/L | 11.2767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.104 | 112076.9517 | 218368.0468 | 27.3 | 43.4
72633 | 2021-04-05 16:48 | 33.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7972 | μmol/L | 11.2949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.108 | 112071.9256 | 218358.5655 | 27.3 | 43.4
72642 | 2021-04-05 16:49 | 33.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.917 | μmol/L | 11.2889 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.106 | 112070.6626 | 218367.5251 | 27.3 | 43.4
72651 | 2021-04-05 16:49 | 34.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9615 | μmol/L | 11.2949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.102 | 112067.9963 | 218367.4394 | 27.3 | 43.4
72660 | 2021-04-05 16:49 | 34.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.0163 | μmol/L | 11.2949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.1 | 112062.7928 | 218367.2242 | 27.3 | 43.4
72669 | 2021-04-05 16:50 | 34.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9341 | μmol/L | 11.2949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.103 | 112063.1893 | 218372.4505 | 27.3 | 43.4
72678 | 2021-04-05 16:50 | 35.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9444 | μmol/L | 11.2889 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.105 | 112060.1025 | 218367.5299 | 27.3 | 43.4
72687 | 2021-04-05 16:50 | 35.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9238 | μmol/L | 11.301 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.101 | 112053.0745 | 218367.1966 | 27.3 | 43.4
72696 | 2021-04-05 16:51 | 35.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.869 | μmol/L | 11.301 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.103 | 112050.7072 | 218369.8589 | 27.3 | 43.4
72705 | 2021-04-05 16:51 | 36.3284 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8964 | μmol/L | 11.301 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.102 | 112052.7693 | 218378.34 | 27.3 | 43.4
72714 | 2021-04-05 16:51 | 36.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9512 | μmol/L | 11.301 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.1 | 112047.7722 | 218370.6334 | 27.3 | 43.4
72723 | 2021-04-05 16:52 | 36.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7663 | μmol/L | 11.3132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.102 | 112044.4208 | 218365.1425 | 27.3 | 43.4
72732 | 2021-04-05 16:52 | 37.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.9135 | μmol/L | 11.3071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112040.7025 | 218371.2553 | 27.3 | 43.4
72741 | 2021-04-05 16:52 | 37.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8656 | μmol/L | 11.3193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.096 | 112042.5531 | 218364.9861 | 27.3 | 43.4
72750 | 2021-04-05 16:53 | 37.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8759 | μmol/L | 11.3132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.098 | 112040.537 | 218364.965 | 27.3 | 43.4
72759 | 2021-04-05 16:53 | 38.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7834 | μmol/L | 11.3193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112038.0462 | 218362.5299 | 27.3 | 43.4
72768 | 2021-04-05 16:53 | 38.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.756 | μmol/L | 11.3193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.1 | 112029.7895 | 218364.2819 | 27.3 | 43.4
72777 | 2021-04-05 16:54 | 38.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7834 | μmol/L | 11.3193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112027.0282 | 218358.3689 | 27.3 | 43.4
72786 | 2021-04-05 16:54 | 39.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7458 | μmol/L | 11.3254 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.098 | 112024.2542 | 218357.9714 | 27.3 | 43.4
72795 | 2021-04-05 16:54 | 39.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.8279 | μmol/L | 11.3254 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.095 | 112028.3783 | 218366.9212 | 27.3 | 43.4
72804 | 2021-04-05 16:55 | 39.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.6534 | μmol/L | 11.3315 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112019.2871 | 218365.7784 | 27.3 | 43.4
72813 | 2021-04-05 16:55 | 40.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7184 | μmol/L | 11.3254 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112024.1502 | 218363.0943 | 27.3 | 43.4
72822 | 2021-04-05 16:55 | 40.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7458 | μmol/L | 11.3254 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.098 | 112020.1566 | 218356.3958 | 27.3 | 43.4
72831 | 2021-04-05 16:56 | 40.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.6636 | μmol/L | 11.3254 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.101 | 112031.8398 | 218356.8914 | 27.3 | 43.4
72840 | 2021-04-05 16:56 | 41.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.5712 | μmol/L | 11.3315 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.102 | 112020.0326 | 218355.199 | 27.3 | 43.4
72849 | 2021-04-05 16:56 | 41.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.6534 | μmol/L | 11.3315 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.099 | 112029.6729 | 218364.146 | 27.3 | 43.4
72858 | 2021-04-05 16:57 | 41.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.6705 | μmol/L | 11.3376 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.096 | 112023.5402 | 218360.547 | 27.3 | 43.4
72867 | 2021-04-05 16:57 | 42.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.7081 | μmol/L | 11.3315 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.097 | 112031.1708 | 218359.7276 | 27.3 | 43.4
72876 | 2021-04-05 16:57 | 42.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 320.6603 | μmol/L | 11.3437 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.094 | 112026.5937 | 218364.7704 | 27.3 | 43.4