## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71725 | 2021-04-05 16:15 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3243 | μmol/L | 11.0695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.076 | 106607.6713 | 301666.1161 | 28.7 | 67.6
71734 | 2021-04-05 16:15 | 0.32794 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2925 | μmol/L | 11.0755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.075 | 106606.8621 | 301668.1916 | 28.7 | 67.6
71743 | 2021-04-05 16:16 | 0.66098 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3962 | μmol/L | 11.0695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.073 | 106598.8392 | 301682.8623 | 28.7 | 67.6
71752 | 2021-04-05 16:16 | 0.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4123 | μmol/L | 11.0755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.07 | 106579.673 | 301665.5448 | 28.7 | 67.6
71761 | 2021-04-05 16:16 | 1.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4123 | μmol/L | 11.0755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.07 | 106585.6471 | 301685.2292 | 28.7 | 67.6
71770 | 2021-04-05 16:17 | 1.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3006 | μmol/L | 11.0877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.07 | 106567.9752 | 301673.4314 | 28.7 | 67.6
71779 | 2021-04-05 16:17 | 1.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3245 | μmol/L | 11.0877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.069 | 106561.1568 | 301671.1176 | 28.7 | 67.6
71788 | 2021-04-05 16:17 | 2.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2608 | μmol/L | 11.0998 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.067 | 106554.6625 | 301688.1921 | 28.7 | 67.6
71797 | 2021-04-05 16:18 | 2.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3646 | μmol/L | 11.0937 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.065 | 106548.9177 | 301656.3722 | 28.7 | 67.6
71806 | 2021-04-05 16:18 | 2.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3327 | μmol/L | 11.0998 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.064 | 106527.0103 | 301663.4488 | 28.7 | 67.6
71815 | 2021-04-05 16:18 | 3.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3806 | μmol/L | 11.0998 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.062 | 106532.9932 | 301665.3872 | 28.7 | 67.6
71824 | 2021-04-05 16:19 | 3.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2451 | μmol/L | 11.1119 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.063 | 106521.2777 | 301654.4096 | 28.7 | 67.6
71833 | 2021-04-05 16:19 | 3.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.293 | μmol/L | 11.1119 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.061 | 106512.2737 | 301645.1424 | 28.7 | 67.6
71842 | 2021-04-05 16:19 | 4.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3169 | μmol/L | 11.1119 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.06 | 106501.6397 | 301639.3196 | 28.7 | 67.6
71851 | 2021-04-05 16:20 | 4.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2132 | μmol/L | 11.118 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.062 | 106497.4491 | 301642.672 | 28.7 | 67.6
71860 | 2021-04-05 16:20 | 4.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1814 | μmol/L | 11.1241 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.061 | 106477.8253 | 301645.6086 | 28.7 | 67.6
71869 | 2021-04-05 16:20 | 5.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2533 | μmol/L | 11.1241 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.058 | 106462.3487 | 301637.3618 | 28.7 | 67.6
71878 | 2021-04-05 16:21 | 5.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2376 | μmol/L | 11.1362 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.054 | 106460.5429 | 301653.1457 | 28.7 | 67.6
71887 | 2021-04-05 16:21 | 5.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3173 | μmol/L | 11.1302 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.053 | 106435.3998 | 301640.6938 | 28.7 | 67.6
71896 | 2021-04-05 16:21 | 6.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3652 | μmol/L | 11.1302 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.051 | 106443.7598 | 301624.0384 | 28.7 | 67.6
71905 | 2021-04-05 16:22 | 6.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3731 | μmol/L | 11.1241 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.053 | 106433.7917 | 301615.9153 | 28.7 | 67.6
71914 | 2021-04-05 16:22 | 6.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4053 | μmol/L | 11.1362 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.047 | 106431.2006 | 301618.6784 | 28.7 | 67.6
71923 | 2021-04-05 16:22 | 7.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3016 | μmol/L | 11.1423 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.049 | 106426.6336 | 301634.6565 | 28.7 | 67.6
71932 | 2021-04-05 16:23 | 7.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.15 | μmol/L | 11.1484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.053 | 106419.9607 | 301617.4363 | 28.7 | 67.6
71941 | 2021-04-05 16:23 | 7.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1979 | μmol/L | 11.1484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.051 | 106410.4097 | 301610.1208 | 28.7 | 67.6
71950 | 2021-04-05 16:23 | 8.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1901 | μmol/L | 11.1544 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.049 | 106403.1628 | 301612.9698 | 28.7 | 67.6
71959 | 2021-04-05 16:24 | 8.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3177 | μmol/L | 11.1484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.046 | 106391.2374 | 301593.1886 | 28.7 | 67.6
71968 | 2021-04-05 16:24 | 8.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.262 | μmol/L | 11.1544 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.046 | 106391.7671 | 301598.9068 | 28.7 | 67.6
71977 | 2021-04-05 16:24 | 9.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0786 | μmol/L | 11.1666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.049 | 106379.7674 | 301579.8086 | 28.7 | 67.6
71986 | 2021-04-05 16:25 | 9.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2781 | μmol/L | 11.1605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106368.1086 | 301576.3804 | 28.7 | 67.6
71995 | 2021-04-05 16:25 | 9.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2625 | μmol/L | 11.1726 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106366.2589 | 301568.1911 | 28.7 | 67.6
72004 | 2021-04-05 16:25 | 10.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2463 | μmol/L | 11.1666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 106340.611 | 301559.2766 | 28.7 | 67.6
72013 | 2021-04-05 16:26 | 10.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1828 | μmol/L | 11.1787 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106346.5025 | 301557.6876 | 28.7 | 67.6
72022 | 2021-04-05 16:26 | 10.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2146 | μmol/L | 11.1726 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106335.913 | 301556.6814 | 28.7 | 67.6
72031 | 2021-04-05 16:26 | 11.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2068 | μmol/L | 11.1787 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106327.4439 | 301565.6222 | 28.7 | 67.6
72040 | 2021-04-05 16:27 | 11.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.175 | μmol/L | 11.1848 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106305.1678 | 301547.3301 | 28.7 | 67.6
72049 | 2021-04-05 16:27 | 11.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1912 | μmol/L | 11.1908 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106307.8688 | 301538.2789 | 28.7 | 67.6
72058 | 2021-04-05 16:27 | 12.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1672 | μmol/L | 11.1908 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106299.059 | 301531.8254 | 28.7 | 67.6
72067 | 2021-04-05 16:28 | 12.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1432 | μmol/L | 11.1908 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106291.9949 | 301517.9121 | 28.7 | 67.6
72076 | 2021-04-05 16:28 | 12.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1517 | μmol/L | 11.203 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 106285.625 | 301519.8989 | 28.7 | 67.6
72085 | 2021-04-05 16:28 | 13.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1115 | μmol/L | 11.1969 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106276.8683 | 301528.2394 | 28.7 | 67.6
72094 | 2021-04-05 16:29 | 13.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1277 | μmol/L | 11.203 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106277.7408 | 301527.0094 | 28.7 | 67.6
72103 | 2021-04-05 16:29 | 13.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.096 | μmol/L | 11.2091 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 106275.007 | 301513.5347 | 28.7 | 67.6
72112 | 2021-04-05 16:29 | 14.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1517 | μmol/L | 11.203 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 106275.4743 | 301503.5503 | 28.7 | 67.6
72121 | 2021-04-05 16:30 | 14.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.072 | μmol/L | 11.2091 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106262.4503 | 301518.829 | 28.7 | 67.6
72130 | 2021-04-05 16:30 | 14.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0002 | μmol/L | 11.2091 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106273.6288 | 301520.328 | 28.7 | 67.6
72139 | 2021-04-05 16:30 | 15.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9924 | μmol/L | 11.2151 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 106255.5284 | 301502.0389 | 28.7 | 67.6
72148 | 2021-04-05 16:31 | 15.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0086 | μmol/L | 11.2212 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.031 | 106262.7416 | 301496.9569 | 28.7 | 67.6
72157 | 2021-04-05 16:31 | 15.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0643 | μmol/L | 11.2151 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.031 | 106251.8354 | 301478.5257 | 28.7 | 67.6
72166 | 2021-04-05 16:31 | 16.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9051 | μmol/L | 11.2273 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106255.3504 | 301471.244 | 28.7 | 67.6
72175 | 2021-04-05 16:32 | 16.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8572 | μmol/L | 11.2273 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106264.678 | 301479.5451 | 28.7 | 67.6
72184 | 2021-04-05 16:32 | 16.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7777 | μmol/L | 11.2333 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106263.2297 | 301464.3868 | 28.7 | 67.6
72193 | 2021-04-05 16:32 | 17.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8494 | μmol/L | 11.2333 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106265.7007 | 301475.286 | 28.7 | 67.6
72202 | 2021-04-05 16:33 | 17.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8494 | μmol/L | 11.2333 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106263.6201 | 301458.2156 | 28.7 | 67.6
72211 | 2021-04-05 16:33 | 17.9942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.6742 | μmol/L | 11.2394 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106261.6142 | 301462.7022 | 28.7 | 67.6
72220 | 2021-04-05 16:33 | 18.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7699 | μmol/L | 11.2394 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 106257.2658 | 301471.901 | 28.7 | 67.6
72229 | 2021-04-05 16:34 | 18.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.6187 | μmol/L | 11.2455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106257.7445 | 301458.6732 | 28.7 | 67.6
72238 | 2021-04-05 16:34 | 18.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5153 | μmol/L | 11.2515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106253.1938 | 301443.896 | 28.7 | 67.6
72247 | 2021-04-05 16:34 | 19.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.6904 | μmol/L | 11.2455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106258.1445 | 301444.9145 | 28.7 | 67.6
72256 | 2021-04-05 16:35 | 19.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.587 | μmol/L | 11.2515 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106249.4589 | 301444.0124 | 28.7 | 67.6
72265 | 2021-04-05 16:35 | 19.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5315 | μmol/L | 11.2576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106252.8277 | 301443.862 | 28.7 | 67.6
72274 | 2021-04-05 16:35 | 20.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5554 | μmol/L | 11.2576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106256.2362 | 301443.2976 | 28.7 | 67.6
72283 | 2021-04-05 16:36 | 20.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5076 | μmol/L | 11.2576 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106249.4783 | 301424.7522 | 28.7 | 67.6
72292 | 2021-04-05 16:36 | 20.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4205 | μmol/L | 11.2697 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106245.6558 | 301423.5123 | 28.7 | 67.6
72301 | 2021-04-05 16:36 | 21.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4521 | μmol/L | 11.2637 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106244.7691 | 301409.4664 | 28.7 | 67.6
72310 | 2021-04-05 16:37 | 21.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4521 | μmol/L | 11.2637 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106248.4509 | 301422.2499 | 28.7 | 67.6
72319 | 2021-04-05 16:37 | 21.9942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.365 | μmol/L | 11.2758 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106254.1668 | 301431.8158 | 28.7 | 67.6
72328 | 2021-04-05 16:37 | 22.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2694 | μmol/L | 11.2758 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106257.7723 | 301425.0994 | 28.7 | 67.6
72337 | 2021-04-05 16:38 | 22.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2933 | μmol/L | 11.2758 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106267.7532 | 301427.2647 | 28.7 | 67.6
72346 | 2021-04-05 16:38 | 22.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1901 | μmol/L | 11.2819 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 106259.1992 | 301411.2268 | 28.7 | 67.6
72355 | 2021-04-05 16:38 | 23.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1586 | μmol/L | 11.288 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106259.5451 | 301418.9904 | 28.7 | 67.6
72364 | 2021-04-05 16:39 | 23.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2379 | μmol/L | 11.2819 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106260.2075 | 301411.0671 | 28.7 | 67.6
72373 | 2021-04-05 16:39 | 23.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0793 | μmol/L | 11.294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 106265.2928 | 301400.4153 | 28.7 | 67.6
72382 | 2021-04-05 16:39 | 24.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.278 | μmol/L | 11.288 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106258.6558 | 301398.988 | 28.7 | 67.6
72391 | 2021-04-05 16:40 | 24.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1108 | μmol/L | 11.288 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106260.8615 | 301408.6961 | 28.7 | 67.6
72400 | 2021-04-05 16:40 | 24.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0793 | μmol/L | 11.294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 106255.2437 | 301406.3969 | 28.7 | 67.6
72409 | 2021-04-05 16:40 | 25.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9838 | μmol/L | 11.294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.046 | 106260.4479 | 301406.8346 | 28.7 | 67.6
72418 | 2021-04-05 16:41 | 25.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0554 | μmol/L | 11.294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106255.4018 | 301405.864 | 28.7 | 67.6
72427 | 2021-04-05 16:41 | 25.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.127 | μmol/L | 11.294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106245.5693 | 301389.9517 | 28.7 | 67.6
72436 | 2021-04-05 16:41 | 26.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0239 | μmol/L | 11.3001 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 106249.6895 | 301392.3003 | 28.7 | 67.6
72445 | 2021-04-05 16:42 | 26.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9208 | μmol/L | 11.3062 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.044 | 106233.4233 | 301373.1254 | 28.7 | 67.6
72454 | 2021-04-05 16:42 | 26.9942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0401 | μmol/L | 11.3062 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106234.5038 | 301376.8002 | 28.7 | 67.6
72463 | 2021-04-05 16:42 | 27.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1117 | μmol/L | 11.3062 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106239.0316 | 301387.3698 | 28.7 | 67.6
72472 | 2021-04-05 16:43 | 27.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0563 | μmol/L | 11.3122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106240.4273 | 301378.6094 | 28.7 | 67.6
72481 | 2021-04-05 16:43 | 27.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0563 | μmol/L | 11.3122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106241.4993 | 301384.6617 | 28.7 | 67.6
72490 | 2021-04-05 16:43 | 28.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0802 | μmol/L | 11.3122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106243.0596 | 301391.216 | 28.7 | 67.6
72499 | 2021-04-05 16:44 | 28.6608 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0086 | μmol/L | 11.3122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106230.7132 | 301377.3326 | 28.7 | 67.6
72508 | 2021-04-05 16:44 | 28.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0086 | μmol/L | 11.3122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106234.7787 | 301374.1893 | 28.7 | 67.6
72517 | 2021-04-05 16:44 | 29.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8816 | μmol/L | 11.3183 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106228.2113 | 301369.7081 | 28.7 | 67.6
72526 | 2021-04-05 16:45 | 29.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7948 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106228.1133 | 301368.8524 | 28.7 | 67.6
72535 | 2021-04-05 16:45 | 29.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7948 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106222.0471 | 301372.7733 | 28.7 | 67.6
72544 | 2021-04-05 16:45 | 30.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8501 | μmol/L | 11.3244 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106218.6397 | 301374.4285 | 28.7 | 67.6
72553 | 2021-04-05 16:46 | 30.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.811 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 106215.8849 | 301369.0331 | 28.7 | 67.6
72562 | 2021-04-05 16:46 | 30.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7081 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106204.3782 | 301359.2876 | 28.7 | 67.6
72571 | 2021-04-05 16:46 | 31.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9141 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106201.0576 | 301364.6084 | 28.7 | 67.6
72580 | 2021-04-05 16:47 | 31.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8587 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106191.2325 | 301356.1218 | 28.7 | 67.6
72589 | 2021-04-05 16:47 | 31.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7796 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106197.9291 | 301353.1641 | 28.7 | 67.6
72598 | 2021-04-05 16:47 | 32.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9704 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.028 | 106183.8525 | 301352.8217 | 28.7 | 67.6
72607 | 2021-04-05 16:48 | 32.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8273 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 106191.8856 | 301337.2338 | 28.7 | 67.6
72616 | 2021-04-05 16:48 | 32.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9465 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.029 | 106180.4845 | 301341.2291 | 28.7 | 67.6
72625 | 2021-04-05 16:48 | 33.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9389 | μmol/L | 11.3486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106176.5141 | 301334.3981 | 28.7 | 67.6
72634 | 2021-04-05 16:49 | 33.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9227 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 106174.754 | 301350.8141 | 28.7 | 67.6
72643 | 2021-04-05 16:49 | 33.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8912 | μmol/L | 11.3486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.029 | 106168.6592 | 301347.292 | 28.7 | 67.6
72652 | 2021-04-05 16:49 | 34.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8598 | μmol/L | 11.3547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.028 | 106162.232 | 301329.1062 | 28.7 | 67.6
72661 | 2021-04-05 16:50 | 34.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9552 | μmol/L | 11.3547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106154.5204 | 301333.3332 | 28.7 | 67.6
72670 | 2021-04-05 16:50 | 34.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8836 | μmol/L | 11.3547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106149.7258 | 301336.1337 | 28.7 | 67.6
72679 | 2021-04-05 16:50 | 35.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7806 | μmol/L | 11.3608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.029 | 106147.0314 | 301331.4879 | 28.7 | 67.6
72688 | 2021-04-05 16:51 | 35.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8522 | μmol/L | 11.3608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.026 | 106144.5713 | 301336.6722 | 28.7 | 67.6
72697 | 2021-04-05 16:51 | 35.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0029 | μmol/L | 11.3547 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 106141.4835 | 301329.2086 | 28.7 | 67.6
72706 | 2021-04-05 16:51 | 36.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9953 | μmol/L | 11.3608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 106138.9081 | 301333.3968 | 28.7 | 67.6
72715 | 2021-04-05 16:52 | 36.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8283 | μmol/L | 11.3608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106138.2805 | 301339.8075 | 28.7 | 67.6
72724 | 2021-04-05 16:52 | 36.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8446 | μmol/L | 11.3669 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106131.0715 | 301338.8401 | 28.7 | 67.6
72733 | 2021-04-05 16:52 | 37.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8522 | μmol/L | 11.3608 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.026 | 106133.2695 | 301331.5235 | 28.7 | 67.6
72742 | 2021-04-05 16:53 | 37.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8684 | μmol/L | 11.3669 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106125.7061 | 301338.2496 | 28.7 | 67.6
72751 | 2021-04-05 16:53 | 37.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.837 | μmol/L | 11.3729 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 106124.1898 | 301330.1884 | 28.7 | 67.6
72760 | 2021-04-05 16:53 | 38.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8446 | μmol/L | 11.3669 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106123.7065 | 301329.2116 | 28.7 | 67.6
72769 | 2021-04-05 16:54 | 38.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7893 | μmol/L | 11.3729 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106124.9406 | 301321.7897 | 28.7 | 67.6
72778 | 2021-04-05 16:54 | 38.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8608 | μmol/L | 11.3729 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.021 | 106128.255 | 301331.427 | 28.7 | 67.6
72787 | 2021-04-05 16:54 | 39.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8533 | μmol/L | 11.379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 106118.1614 | 301314.5442 | 28.7 | 67.6
72796 | 2021-04-05 16:55 | 39.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8847 | μmol/L | 11.3729 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 106120.5437 | 301321.3963 | 28.7 | 67.6
72805 | 2021-04-05 16:55 | 39.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8533 | μmol/L | 11.379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 106116.2383 | 301333.5613 | 28.7 | 67.6
72814 | 2021-04-05 16:55 | 40.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7503 | μmol/L | 11.3851 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.021 | 106111.579 | 301329.6326 | 28.7 | 67.6
72823 | 2021-04-05 16:56 | 40.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7817 | μmol/L | 11.379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 106112.0499 | 301320.8432 | 28.7 | 67.6
72832 | 2021-04-05 16:56 | 40.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8131 | μmol/L | 11.3729 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106109.6779 | 301321.0559 | 28.7 | 67.6
72841 | 2021-04-05 16:56 | 41.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.798 | μmol/L | 11.3851 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 106120.2757 | 301333.2705 | 28.7 | 67.6
72850 | 2021-04-05 16:57 | 41.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7741 | μmol/L | 11.3851 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 106112.0007 | 301328.2846 | 28.7 | 67.6
72859 | 2021-04-05 16:57 | 41.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6473 | μmol/L | 11.3911 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106106.6388 | 301309.2663 | 28.7 | 67.6
72868 | 2021-04-05 16:57 | 42.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7026 | μmol/L | 11.3851 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106117.4063 | 301324.1373 | 28.7 | 67.6
72877 | 2021-04-05 16:58 | 42.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6235 | μmol/L | 11.3911 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106120.057 | 301325.5854 | 28.7 | 67.6